## Sheet1
4294A REV1.11
DATE: Oct 6 2016
MEASURE PARAMETER: IMPEDANCE RESISTANCE - REACTANCE
ADAPTER: 7mm
SWEEP TYPE: LOG FREQ
NUMBER of POINTS: 801
POINT DELAY TIME: 0 Sec
SWEEP DELAY TIME: 0 Sec
OSC LEVEL: 500 mVolt
DC BIAS: OFF
BW: 5
SWEEP AVERAGING: OFF
POINT AVERAGING: OFF
TRACE: A
FORMAT: LINEAR
Frequency | Data Real | Data Imag | Data Trace Real | Data Trace Imag
40 | 0.0031474 | 0.0065698 | 0.0031474 | 0
40.748 | 0.0035811 | 0.0063131 | 0.0035811 | 0
41.511 | 0.0032402 | 0.0070323 | 0.0032402 | 0
42.287 | 0.0034387 | 0.0070141 | 0.0034387 | 0
43.078 | 0.0031482 | 0.0071662 | 0.0031482 | 0
43.884 | 0.0033083 | 0.0073213 | 0.0033083 | 0
44.705 | 0.0033033 | 0.0073169 | 0.0033033 | 0
45.541 | 0.0033085 | 0.0074218 | 0.0033085 | 0
46.393 | 0.0031932 | 0.0078212 | 0.0031932 | 0
47.261 | 0.003607 | 0.0077565 | 0.003607 | 0
48.145 | 0.0028632 | 0.0080312 | 0.0028632 | 0
49.046 | 0.0034768 | 0.0080676 | 0.0034768 | 0
49.963 | 0.0038419 | 0.00745 | 0.0038419 | 0
50.898 | 0.0034061 | 0.0081445 | 0.0034061 | 0
51.85 | 0.0036223 | 0.0078787 | 0.0036223 | 0
52.82 | 0.0035154 | 0.0083022 | 0.0035154 | 0
53.808 | 0.0034213 | 0.0086251 | 0.0034213 | 0
54.815 | 0.003507 | 0.0087936 | 0.003507 | 0
55.84 | 0.0033015 | 0.0088508 | 0.0033015 | 0
56.885 | 0.0033567 | 0.0091704 | 0.0033567 | 0
57.949 | 0.0032862 | 0.0094198 | 0.0032862 | 0
59.033 | 0.0035487 | 0.0095807 | 0.0035487 | 0
60.137 | 0.0031262 | 0.0097747 | 0.0031262 | 0
61.262 | 0.0035934 | 0.0099019 | 0.0035934 | 0
62.408 | 0.003439 | 0.0097901 | 0.003439 | 0
63.575 | 0.0035161 | 0.010078 | 0.0035161 | 0
64.765 | 0.0032419 | 0.010308 | 0.0032419 | 0
65.976 | 0.003535 | 0.010729 | 0.003535 | 0
67.21 | 0.0035761 | 0.010684 | 0.0035761 | 0
68.468 | 0.0034841 | 0.010995 | 0.0034841 | 0
69.749 | 0.0036016 | 0.01127 | 0.0036016 | 0
71.053 | 0.0034948 | 0.011451 | 0.0034948 | 0
72.382 | 0.0034619 | 0.011603 | 0.0034619 | 0
73.736 | 0.0035149 | 0.011978 | 0.0035149 | 0
75.116 | 0.0035111 | 0.01191 | 0.0035111 | 0
76.521 | 0.0033892 | 0.012151 | 0.0033892 | 0
77.952 | 0.0036503 | 0.012269 | 0.0036503 | 0
79.411 | 0.0034311 | 0.01279 | 0.0034311 | 0
80.896 | 0.0036666 | 0.012957 | 0.0036666 | 0
82.41 | 0.0035753 | 0.013272 | 0.0035753 | 0
83.951 | 0.0033771 | 0.013371 | 0.0033771 | 0
85.522 | 0.0037366 | 0.013729 | 0.0037366 | 0
87.121 | 0.0035109 | 0.013986 | 0.0035109 | 0
88.751 | 0.003475 | 0.014082 | 0.003475 | 0
90.411 | 0.0035028 | 0.014283 | 0.0035028 | 0
92.103 | 0.0033237 | 0.01479 | 0.0033237 | 0
93.826 | 0.0036969 | 0.014899 | 0.0036969 | 0
95.581 | 0.0035662 | 0.015295 | 0.0035662 | 0
97.369 | 0.0035464 | 0.015624 | 0.0035464 | 0
99.19 | 0.0035801 | 0.015775 | 0.0035801 | 0
101.046 | 0.0035577 | 0.015959 | 0.0035577 | 0
102.936 | 0.0033566 | 0.01631 | 0.0033566 | 0
104.862 | 0.0036078 | 0.016719 | 0.0036078 | 0
106.823 | 0.0036716 | 0.016956 | 0.0036716 | 0
108.822 | 0.003633 | 0.017302 | 0.003633 | 0
110.857 | 0.0034369 | 0.01762 | 0.0034369 | 0
112.931 | 0.0034858 | 0.017933 | 0.0034858 | 0
115.044 | 0.003464 | 0.018404 | 0.003464 | 0
117.196 | 0.0035385 | 0.018642 | 0.0035385 | 0
119.388 | 0.0035252 | 0.019009 | 0.0035252 | 0
121.621 | 0.0036782 | 0.019483 | 0.0036782 | 0
123.897 | 0.0034696 | 0.019788 | 0.0034696 | 0
126.214 | 0.0035894 | 0.020078 | 0.0035894 | 0
128.575 | 0.0035522 | 0.020625 | 0.0035522 | 0
130.98 | 0.0035116 | 0.020813 | 0.0035116 | 0
133.431 | 0.0035675 | 0.02119 | 0.0035675 | 0
135.927 | 0.0036467 | 0.021663 | 0.0036467 | 0
138.469 | 0.0035557 | 0.022015 | 0.0035557 | 0
141.06 | 0.0036641 | 0.022512 | 0.0036641 | 0
143.699 | 0.003471 | 0.022971 | 0.003471 | 0
146.387 | 0.0034933 | 0.023334 | 0.0034933 | 0
149.125 | 0.0036459 | 0.023856 | 0.0036459 | 0
151.915 | 0.0036652 | 0.024146 | 0.0036652 | 0
154.757 | 0.0035269 | 0.024705 | 0.0035269 | 0
157.652 | 0.0035633 | 0.025203 | 0.0035633 | 0
160.601 | 0.0036974 | 0.025618 | 0.0036974 | 0
163.605 | 0.0037225 | 0.026217 | 0.0037225 | 0
166.666 | 0.0035687 | 0.026506 | 0.0035687 | 0
169.783 | 0.003746 | 0.027185 | 0.003746 | 0
172.959 | 0.0038437 | 0.02755 | 0.0038437 | 0
176.195 | 0.0035817 | 0.028055 | 0.0035817 | 0
179.491 | 0.0036615 | 0.028436 | 0.0036615 | 0
182.849 | 0.0036237 | 0.029236 | 0.0036237 | 0
186.269 | 0.0037355 | 0.029807 | 0.0037355 | 0
189.754 | 0.003502 | 0.030228 | 0.003502 | 0
193.303 | 0.0035292 | 0.030908 | 0.0035292 | 0
196.919 | 0.0036319 | 0.031398 | 0.0036319 | 0
200.603 | 0.0038513 | 0.032123 | 0.0038513 | 0
204.356 | 0.0036255 | 0.032569 | 0.0036255 | 0
208.178 | 0.0034921 | 0.033153 | 0.0034921 | 0
212.073 | 0.0036556 | 0.034056 | 0.0036556 | 0
216.04 | 0.0036904 | 0.034793 | 0.0036904 | 0
220.081 | 0.0036401 | 0.035134 | 0.0036401 | 0
224.198 | 0.0036329 | 0.035791 | 0.0036329 | 0
228.392 | 0.0036749 | 0.036457 | 0.0036749 | 0
232.665 | 0.0038287 | 0.03708 | 0.0038287 | 0
237.017 | 0.0037179 | 0.037885 | 0.0037179 | 0
241.451 | 0.0034559 | 0.038493 | 0.0034559 | 0
245.968 | 0.0037678 | 0.039307 | 0.0037678 | 0
250.569 | 0.0036932 | 0.040235 | 0.0036932 | 0
255.256 | 0.0036748 | 0.040735 | 0.0036748 | 0
260.031 | 0.0038428 | 0.041516 | 0.0038428 | 0
264.896 | 0.0036684 | 0.042271 | 0.0036684 | 0
269.851 | 0.0037817 | 0.043194 | 0.0037817 | 0
274.899 | 0.0037502 | 0.043874 | 0.0037502 | 0
280.042 | 0.0035624 | 0.04497 | 0.0035624 | 0
285.28 | 0.0038499 | 0.045447 | 0.0038499 | 0
290.617 | 0.003747 | 0.046459 | 0.003747 | 0
296.053 | 0.0037247 | 0.047571 | 0.0037247 | 0
301.591 | 0.0038002 | 0.048262 | 0.0038002 | 0
307.233 | 0.0037704 | 0.049062 | 0.0037704 | 0
312.981 | 0.0037717 | 0.050035 | 0.0037717 | 0
318.835 | 0.0036519 | 0.050916 | 0.0036519 | 0
324.8 | 0.0038151 | 0.051792 | 0.0038151 | 0
330.876 | 0.0036914 | 0.052778 | 0.0036914 | 0
337.065 | 0.0037052 | 0.053856 | 0.0037052 | 0
343.371 | 0.0037162 | 0.05472 | 0.0037162 | 0
349.794 | 0.0038745 | 0.055907 | 0.0038745 | 0
356.338 | 0.003842 | 0.056893 | 0.003842 | 0
363.003 | 0.0038313 | 0.057916 | 0.0038313 | 0
369.794 | 0.0038432 | 0.05916 | 0.0038432 | 0
376.712 | 0.0039206 | 0.059947 | 0.0039206 | 0
383.759 | 0.0039781 | 0.061302 | 0.0039781 | 0
390.938 | 0.0038356 | 0.062341 | 0.0038356 | 0
398.251 | 0.003919 | 0.063541 | 0.003919 | 0
405.701 | 0.0039338 | 0.064789 | 0.0039338 | 0
413.29 | 0.0039844 | 0.066051 | 0.0039844 | 0
421.021 | 0.0038585 | 0.067051 | 0.0038585 | 0
428.897 | 0.0039307 | 0.068516 | 0.0039307 | 0
436.92 | 0.0037981 | 0.069825 | 0.0037981 | 0
445.094 | 0.0038358 | 0.071004 | 0.0038358 | 0
453.42 | 0.0039335 | 0.072411 | 0.0039335 | 0
461.902 | 0.0039853 | 0.073746 | 0.0039853 | 0
470.543 | 0.0039953 | 0.075019 | 0.0039953 | 0
479.345 | 0.0041822 | 0.076491 | 0.0041822 | 0
488.312 | 0.0041197 | 0.077927 | 0.0041197 | 0
497.447 | 0.0040329 | 0.079402 | 0.0040329 | 0
506.752 | 0.0042347 | 0.08074 | 0.0042347 | 0
516.232 | 0.0039962 | 0.082515 | 0.0039962 | 0
525.889 | 0.0042146 | 0.084002 | 0.0042146 | 0
535.727 | 0.0042214 | 0.08551 | 0.0042214 | 0
545.748 | 0.0042282 | 0.087127 | 0.0042282 | 0
555.957 | 0.0042146 | 0.088673 | 0.0042146 | 0
566.358 | 0.004282 | 0.090389 | 0.004282 | 0
576.952 | 0.0042229 | 0.092115 | 0.0042229 | 0
587.745 | 0.0043485 | 0.093626 | 0.0043485 | 0
598.74 | 0.0043077 | 0.095537 | 0.0043077 | 0
609.94 | 0.0042195 | 0.097297 | 0.0042195 | 0
621.35 | 0.0043913 | 0.099008 | 0.0043913 | 0
632.974 | 0.0042741 | 0.10093 | 0.0042741 | 0
644.815 | 0.0044376 | 0.10288 | 0.0044376 | 0
656.877 | 0.0044677 | 0.10487 | 0.0044677 | 0
669.165 | 0.0044175 | 0.10683 | 0.0044175 | 0
681.683 | 0.0043351 | 0.10872 | 0.0043351 | 0
694.435 | 0.0044996 | 0.11085 | 0.0044996 | 0
707.425 | 0.0044845 | 0.11279 | 0.0044845 | 0
720.659 | 0.0044433 | 0.11489 | 0.0044433 | 0
734.14 | 0.0045335 | 0.11716 | 0.0045335 | 0
747.874 | 0.0044797 | 0.11928 | 0.0044797 | 0
761.864 | 0.0046309 | 0.12166 | 0.0046309 | 0
776.116 | 0.0047597 | 0.12391 | 0.0047597 | 0
790.634 | 0.0046494 | 0.1262 | 0.0046494 | 0
805.425 | 0.0047298 | 0.12855 | 0.0047298 | 0
820.491 | 0.0047961 | 0.131 | 0.0047961 | 0
835.84 | 0.0047508 | 0.13326 | 0.0047508 | 0
851.476 | 0.0047737 | 0.13571 | 0.0047737 | 0
867.404 | 0.0049289 | 0.13838 | 0.0049289 | 0
883.63 | 0.0050236 | 0.1409 | 0.0050236 | 0
900.16 | 0.0048013 | 0.14358 | 0.0048013 | 0
916.999 | 0.0049991 | 0.1462 | 0.0049991 | 0
934.153 | 0.0049315 | 0.14912 | 0.0049315 | 0
951.628 | 0.0050487 | 0.15193 | 0.0050487 | 0
969.43 | 0.0051595 | 0.15464 | 0.0051595 | 0
987.565 | 0.0051173 | 0.15754 | 0.0051173 | 0
1006.039 | 0.0051996 | 0.16057 | 0.0051996 | 0
1024.859 | 0.005056 | 0.1635 | 0.005056 | 0
1044.03 | 0.0054707 | 0.16653 | 0.0054707 | 0
1063.561 | 0.0053276 | 0.16963 | 0.0053276 | 0
1083.457 | 0.0055699 | 0.17275 | 0.0055699 | 0
1103.724 | 0.005476 | 0.17606 | 0.005476 | 0
1124.372 | 0.0055462 | 0.17946 | 0.0055462 | 0
1145.405 | 0.0057052 | 0.18265 | 0.0057052 | 0
1166.832 | 0.0058187 | 0.18615 | 0.0058187 | 0
1188.659 | 0.0058323 | 0.18954 | 0.0058323 | 0
1210.895 | 0.0060744 | 0.1932 | 0.0060744 | 0
1233.547 | 0.0059826 | 0.19674 | 0.0059826 | 0
1256.623 | 0.0060283 | 0.20038 | 0.0060283 | 0
1280.13 | 0.0062068 | 0.2041 | 0.0062068 | 0
1304.077 | 0.0063804 | 0.20799 | 0.0063804 | 0
1328.472 | 0.0063468 | 0.21191 | 0.0063468 | 0
1353.323 | 0.0064152 | 0.21589 | 0.0064152 | 0
1378.639 | 0.0065377 | 0.21991 | 0.0065377 | 0
1404.429 | 0.006726 | 0.22398 | 0.006726 | 0
1430.701 | 0.0068223 | 0.22806 | 0.0068223 | 0
1457.465 | 0.0068251 | 0.23237 | 0.0068251 | 0
1484.729 | 0.007002 | 0.23678 | 0.007002 | 0
1512.504 | 0.0072062 | 0.24118 | 0.0072062 | 0
1540.798 | 0.0073862 | 0.24562 | 0.0073862 | 0
1569.621 | 0.0073895 | 0.25022 | 0.0073895 | 0
1598.984 | 0.0074149 | 0.25489 | 0.0074149 | 0
1628.895 | 0.0077861 | 0.25981 | 0.0077861 | 0
1659.367 | 0.0077673 | 0.26457 | 0.0077673 | 0
1690.408 | 0.0079275 | 0.26957 | 0.0079275 | 0
1722.03 | 0.008116 | 0.27468 | 0.008116 | 0
1754.243 | 0.0081974 | 0.27967 | 0.0081974 | 0
1787.059 | 0.0084007 | 0.28503 | 0.0084007 | 0
1820.489 | 0.0085358 | 0.29023 | 0.0085358 | 0
1854.545 | 0.0087547 | 0.2957 | 0.0087547 | 0
1889.237 | 0.008949 | 0.30113 | 0.008949 | 0
1924.579 | 0.0091806 | 0.30681 | 0.0091806 | 0
1960.581 | 0.0093977 | 0.31257 | 0.0093977 | 0
1997.257 | 0.0095535 | 0.31853 | 0.0095535 | 0
2034.619 | 0.0096697 | 0.3243 | 0.0096697 | 0
2072.68 | 0.0098907 | 0.3304 | 0.0098907 | 0
2111.453 | 0.010139 | 0.33645 | 0.010139 | 0
2150.952 | 0.010316 | 0.34286 | 0.010316 | 0
2191.189 | 0.010602 | 0.34927 | 0.010602 | 0
2232.179 | 0.010884 | 0.3557 | 0.010884 | 0
2273.936 | 0.011124 | 0.3625 | 0.011124 | 0
2316.473 | 0.011413 | 0.36915 | 0.011413 | 0
2359.807 | 0.011697 | 0.376 | 0.011697 | 0
2403.951 | 0.011906 | 0.38321 | 0.011906 | 0
2448.921 | 0.012227 | 0.39028 | 0.012227 | 0
2494.732 | 0.012602 | 0.39751 | 0.012602 | 0
2541.401 | 0.012927 | 0.4049 | 0.012927 | 0
2588.942 | 0.01305 | 0.41246 | 0.01305 | 0
2637.373 | 0.013472 | 0.42015 | 0.013472 | 0
2686.709 | 0.013839 | 0.42793 | 0.013839 | 0
2736.969 | 0.01429 | 0.43595 | 0.01429 | 0
2788.168 | 0.014623 | 0.44419 | 0.014623 | 0
2840.326 | 0.014958 | 0.4524 | 0.014958 | 0
2893.459 | 0.015524 | 0.46075 | 0.015524 | 0
2947.586 | 0.015953 | 0.46949 | 0.015953 | 0
3002.726 | 0.016283 | 0.4783 | 0.016283 | 0
3058.897 | 0.016733 | 0.48717 | 0.016733 | 0
3116.119 | 0.017161 | 0.49624 | 0.017161 | 0
3174.411 | 0.017615 | 0.50545 | 0.017615 | 0
3233.794 | 0.018226 | 0.51487 | 0.018226 | 0
3294.287 | 0.018611 | 0.52446 | 0.018611 | 0
3355.913 | 0.0193 | 0.53427 | 0.0193 | 0
3418.691 | 0.019623 | 0.54418 | 0.019623 | 0
3482.643 | 0.020325 | 0.55428 | 0.020325 | 0
3547.792 | 0.020778 | 0.56477 | 0.020778 | 0
3614.159 | 0.021568 | 0.57517 | 0.021568 | 0
3681.768 | 0.022268 | 0.58602 | 0.022268 | 0
3750.642 | 0.022848 | 0.59695 | 0.022848 | 0
3820.804 | 0.023581 | 0.60813 | 0.023581 | 0
3892.279 | 0.02435 | 0.61942 | 0.02435 | 0
3965.091 | 0.025055 | 0.63085 | 0.025055 | 0
4039.264 | 0.025776 | 0.64266 | 0.025776 | 0
4114.826 | 0.026599 | 0.6546 | 0.026599 | 0
4191.801 | 0.027288 | 0.66669 | 0.027288 | 0
4270.215 | 0.028224 | 0.67929 | 0.028224 | 0
4350.097 | 0.029119 | 0.69187 | 0.029119 | 0
4431.473 | 0.030019 | 0.70472 | 0.030019 | 0
4514.371 | 0.0309 | 0.718 | 0.0309 | 0
4598.82 | 0.031904 | 0.73118 | 0.031904 | 0
4684.849 | 0.033073 | 0.74491 | 0.033073 | 0
4772.487 | 0.034104 | 0.75877 | 0.034104 | 0
4861.765 | 0.035212 | 0.77271 | 0.035212 | 0
4952.712 | 0.036385 | 0.78723 | 0.036385 | 0
5045.361 | 0.037436 | 0.80195 | 0.037436 | 0
5139.744 | 0.038699 | 0.8168 | 0.038699 | 0
5235.891 | 0.040012 | 0.83201 | 0.040012 | 0
5333.837 | 0.041293 | 0.84744 | 0.041293 | 0
5433.616 | 0.042542 | 0.8632 | 0.042542 | 0
5535.261 | 0.044029 | 0.87928 | 0.044029 | 0
5638.808 | 0.045407 | 0.89572 | 0.045407 | 0
5744.291 | 0.046913 | 0.91232 | 0.046913 | 0
5851.748 | 0.048335 | 0.92924 | 0.048335 | 0
5961.215 | 0.050027 | 0.94645 | 0.050027 | 0
6072.73 | 0.051668 | 0.96402 | 0.051668 | 0
6186.33 | 0.053429 | 0.98199 | 0.053429 | 0
6302.056 | 0.055222 | 1.0001 | 0.055222 | 0
6419.947 | 0.057171 | 1.0187 | 0.057171 | 0
6540.043 | 0.059163 | 1.0378 | 0.059163 | 0
6662.386 | 0.061047 | 1.057 | 0.061047 | 0
6787.017 | 0.063059 | 1.0765 | 0.063059 | 0
6913.98 | 0.065232 | 1.0965 | 0.065232 | 0
7043.318 | 0.067435 | 1.1169 | 0.067435 | 0
7175.075 | 0.069757 | 1.1376 | 0.069757 | 0
7309.297 | 0.072261 | 1.1587 | 0.072261 | 0
7446.03 | 0.07483 | 1.1801 | 0.07483 | 0
7585.32 | 0.077414 | 1.2019 | 0.077414 | 0
7727.217 | 0.080005 | 1.2242 | 0.080005 | 0
7871.768 | 0.082766 | 1.2469 | 0.082766 | 0
8019.022 | 0.085663 | 1.2698 | 0.085663 | 0
8169.032 | 0.088372 | 1.2934 | 0.088372 | 0
8321.848 | 0.091472 | 1.3173 | 0.091472 | 0
8477.522 | 0.094864 | 1.3416 | 0.094864 | 0
8636.109 | 0.098142 | 1.3664 | 0.098142 | 0
8797.662 | 0.10165 | 1.3917 | 0.10165 | 0
8962.237 | 0.1051 | 1.4173 | 0.1051 | 0
9129.891 | 0.1088 | 1.4435 | 0.1088 | 0
9300.681 | 0.11229 | 1.4698 | 0.11229 | 0
9474.666 | 0.11667 | 1.497 | 0.11667 | 0
9651.906 | 0.1208 | 1.5248 | 0.1208 | 0
9832.461 | 0.12503 | 1.553 | 0.12503 | 0
10016.394 | 0.12951 | 1.5812 | 0.12951 | 0
10203.768 | 0.13391 | 1.6102 | 0.13391 | 0
10394.647 | 0.13839 | 1.6401 | 0.13839 | 0
10589.097 | 0.14323 | 1.67 | 0.14323 | 0
10787.184 | 0.14849 | 1.7007 | 0.14849 | 0
10988.977 | 0.15395 | 1.7319 | 0.15395 | 0
11194.544 | 0.15929 | 1.7636 | 0.15929 | 0
11403.957 | 0.16481 | 1.7958 | 0.16481 | 0
11617.288 | 0.17045 | 1.8288 | 0.17045 | 0
11834.609 | 0.17658 | 1.8624 | 0.17658 | 0
12055.996 | 0.18288 | 1.8964 | 0.18288 | 0
12281.524 | 0.18938 | 1.9312 | 0.18938 | 0
12511.27 | 0.19614 | 1.9665 | 0.19614 | 0
12745.315 | 0.20328 | 2.0023 | 0.20328 | 0
12983.738 | 0.2104 | 2.0389 | 0.2104 | 0
13226.621 | 0.21792 | 2.0759 | 0.21792 | 0
13474.047 | 0.22574 | 2.1136 | 0.22574 | 0
13726.103 | 0.23358 | 2.1518 | 0.23358 | 0
13982.873 | 0.24203 | 2.191 | 0.24203 | 0
14244.446 | 0.25023 | 2.2306 | 0.25023 | 0
14510.913 | 0.25944 | 2.2712 | 0.25944 | 0
14782.364 | 0.26841 | 2.312 | 0.26841 | 0
15058.894 | 0.27815 | 2.3539 | 0.27815 | 0
15340.596 | 0.2881 | 2.3966 | 0.2881 | 0
15627.568 | 0.29791 | 2.4399 | 0.29791 | 0
15919.908 | 0.30865 | 2.4838 | 0.30865 | 0
16217.718 | 0.31976 | 2.5283 | 0.31976 | 0
16521.098 | 0.33067 | 2.5739 | 0.33067 | 0
16830.153 | 0.34288 | 2.6202 | 0.34288 | 0
17144.99 | 0.35489 | 2.6671 | 0.35489 | 0
17465.716 | 0.36783 | 2.7147 | 0.36783 | 0
17792.442 | 0.38034 | 2.7632 | 0.38034 | 0
18125.28 | 0.39429 | 2.8129 | 0.39429 | 0
18464.344 | 0.40783 | 2.8625 | 0.40783 | 0
18809.752 | 0.42225 | 2.9137 | 0.42225 | 0
19161.62 | 0.43712 | 2.9652 | 0.43712 | 0
19520.071 | 0.45278 | 3.0178 | 0.45278 | 0
19885.227 | 0.46834 | 3.0712 | 0.46834 | 0
20257.214 | 0.48503 | 3.1252 | 0.48503 | 0
20636.16 | 0.50206 | 3.1799 | 0.50206 | 0
21022.195 | 0.51959 | 3.2359 | 0.51959 | 0
21415.451 | 0.53803 | 3.2929 | 0.53803 | 0
21816.063 | 0.5571 | 3.3505 | 0.5571 | 0
22224.17 | 0.57633 | 3.4088 | 0.57633 | 0
22639.911 | 0.59686 | 3.4681 | 0.59686 | 0
23063.429 | 0.61755 | 3.5282 | 0.61755 | 0
23494.87 | 0.6394 | 3.5894 | 0.6394 | 0
23934.382 | 0.66168 | 3.6517 | 0.66168 | 0
24382.115 | 0.68473 | 3.7143 | 0.68473 | 0
24838.224 | 0.70913 | 3.778 | 0.70913 | 0
25302.866 | 0.7335 | 3.8426 | 0.7335 | 0
25776.199 | 0.75886 | 3.9083 | 0.75886 | 0
26258.387 | 0.78472 | 3.9748 | 0.78472 | 0
26749.595 | 0.81213 | 4.0426 | 0.81213 | 0
27249.992 | 0.84025 | 4.1105 | 0.84025 | 0
27759.749 | 0.86936 | 4.1797 | 0.86936 | 0
28279.043 | 0.89929 | 4.2499 | 0.89929 | 0
28808.051 | 0.92995 | 4.321 | 0.92995 | 0
29346.955 | 0.96204 | 4.3932 | 0.96204 | 0
29895.939 | 0.99484 | 4.4665 | 0.99484 | 0
30455.194 | 1.0285 | 4.54 | 1.0285 | 0
31024.911 | 1.0628 | 4.6147 | 1.0628 | 0
31605.284 | 1.0993 | 4.6902 | 1.0993 | 0
32196.515 | 1.1365 | 4.7669 | 1.1365 | 0
32798.806 | 1.1744 | 4.8444 | 1.1744 | 0
33412.364 | 1.2138 | 4.9228 | 1.2138 | 0
34037.399 | 1.2547 | 5.0021 | 1.2547 | 0
34674.127 | 1.2968 | 5.0821 | 1.2968 | 0
35322.766 | 1.3389 | 5.1629 | 1.3389 | 0
35983.538 | 1.3833 | 5.2449 | 1.3833 | 0
36656.672 | 1.4293 | 5.3274 | 1.4293 | 0
37342.397 | 1.4766 | 5.4108 | 1.4766 | 0
38040.951 | 1.525 | 5.4951 | 1.525 | 0
38752.572 | 1.5742 | 5.5802 | 1.5742 | 0
39477.505 | 1.6257 | 5.6659 | 1.6257 | 0
40215.999 | 1.6791 | 5.7526 | 1.6791 | 0
40968.308 | 1.7331 | 5.8399 | 1.7331 | 0
41734.69 | 1.7891 | 5.9279 | 1.7891 | 0
42515.409 | 1.8462 | 6.0166 | 1.8462 | 0
43310.732 | 1.9059 | 6.1061 | 1.9059 | 0
44120.933 | 1.9658 | 6.1969 | 1.9658 | 0
44946.291 | 2.0274 | 6.2879 | 2.0274 | 0
45787.088 | 2.091 | 6.3789 | 2.091 | 0
46643.613 | 2.1575 | 6.4707 | 2.1575 | 0
47516.162 | 2.2244 | 6.5628 | 2.2244 | 0
48405.033 | 2.2932 | 6.6551 | 2.2932 | 0
49310.532 | 2.3644 | 6.7485 | 2.3644 | 0
50232.969 | 2.4359 | 6.8422 | 2.4359 | 0
51172.663 | 2.5102 | 6.9369 | 2.5102 | 0
52129.935 | 2.5866 | 7.0312 | 2.5866 | 0
53105.114 | 2.664 | 7.1265 | 2.664 | 0
54098.536 | 2.7447 | 7.2218 | 2.7447 | 0
55110.542 | 2.8267 | 7.3166 | 2.8267 | 0
56141.478 | 2.9097 | 7.4126 | 2.9097 | 0
57191.701 | 2.9943 | 7.5084 | 2.9943 | 0
58261.569 | 3.0811 | 7.6046 | 3.0811 | 0
59351.451 | 3.1705 | 7.701 | 3.1705 | 0
60461.722 | 3.2604 | 7.7971 | 3.2604 | 0
61592.761 | 3.3549 | 7.8926 | 3.3549 | 0
62744.959 | 3.4493 | 7.9888 | 3.4493 | 0
63918.711 | 3.5461 | 8.0846 | 3.5461 | 0
65114.419 | 3.6444 | 8.1804 | 3.6444 | 0
66332.496 | 3.7445 | 8.2761 | 3.7445 | 0
67573.358 | 3.8479 | 8.3712 | 3.8479 | 0
68837.434 | 3.9518 | 8.4661 | 3.9518 | 0
70125.155 | 4.0587 | 8.5608 | 4.0587 | 0
71436.966 | 4.1667 | 8.6554 | 4.1667 | 0
72773.317 | 4.2764 | 8.7495 | 4.2764 | 0
74134.666 | 4.3882 | 8.8434 | 4.3882 | 0
75521.481 | 4.5023 | 8.9365 | 4.5023 | 0
76934.24 | 4.6175 | 9.0281 | 4.6175 | 0
78373.426 | 4.735 | 9.1197 | 4.735 | 0
79839.535 | 4.854 | 9.2103 | 4.854 | 0
81333.069 | 4.9749 | 9.3008 | 4.9749 | 0
82854.543 | 5.0971 | 9.3897 | 5.0971 | 0
84404.479 | 5.2215 | 9.4789 | 5.2215 | 0
85983.409 | 5.3479 | 9.5661 | 5.3479 | 0
87591.876 | 5.4752 | 9.6529 | 5.4752 | 0
89230.431 | 5.604 | 9.74 | 5.604 | 0
90899.639 | 5.7342 | 9.8248 | 5.7342 | 0
92600.072 | 5.8671 | 9.9091 | 5.8671 | 0
94332.314 | 5.9999 | 9.9923 | 5.9999 | 0
96096.961 | 6.1343 | 10.074 | 6.1343 | 0
97894.619 | 6.2699 | 10.1543 | 6.2699 | 0
99725.905 | 6.4077 | 10.2347 | 6.4077 | 0
101591.449 | 6.5463 | 10.3132 | 6.5463 | 0
103491.89 | 6.6855 | 10.391 | 6.6855 | 0
105427.883 | 6.8268 | 10.4673 | 6.8268 | 0
107400.091 | 6.9683 | 10.5422 | 6.9683 | 0
109409.193 | 7.111 | 10.6165 | 7.111 | 0
111455.879 | 7.2538 | 10.69 | 7.2538 | 0
113540.852 | 7.3981 | 10.7627 | 7.3981 | 0
115664.827 | 7.5431 | 10.8328 | 7.5431 | 0
117828.536 | 7.6898 | 10.9019 | 7.6898 | 0
120032.72 | 7.8355 | 10.9701 | 7.8355 | 0
122278.137 | 7.9834 | 11.0365 | 7.9834 | 0
124565.558 | 8.1303 | 11.1027 | 8.1303 | 0
126895.769 | 8.2788 | 11.168 | 8.2788 | 0
129269.572 | 8.4278 | 11.2305 | 8.4278 | 0
131687.78 | 8.5766 | 11.2939 | 8.5766 | 0
134151.225 | 8.7254 | 11.3547 | 8.7254 | 0
136660.752 | 8.8739 | 11.4153 | 8.8739 | 0
139217.225 | 9.0243 | 11.4749 | 9.0243 | 0
141821.521 | 9.174 | 11.5325 | 9.174 | 0
144474.535 | 9.3245 | 11.5902 | 9.3245 | 0
147177.178 | 9.4748 | 11.6479 | 9.4748 | 0
149930.378 | 9.6243 | 11.7035 | 9.6243 | 0
152735.082 | 9.7753 | 11.7579 | 9.7753 | 0
155592.253 | 9.9244 | 11.8123 | 9.9244 | 0
158502.871 | 10.0748 | 11.8663 | 10.0748 | 0
161467.938 | 10.224 | 11.9183 | 10.224 | 0
164488.472 | 10.3741 | 11.9698 | 10.3741 | 0
167565.51 | 10.5244 | 12.021 | 10.5244 | 0
170700.109 | 10.6737 | 12.0725 | 10.6737 | 0
173893.346 | 10.8224 | 12.1224 | 10.8224 | 0
177146.318 | 10.9708 | 12.1721 | 10.9708 | 0
180460.142 | 11.1196 | 12.2223 | 11.1196 | 0
183835.957 | 11.2676 | 12.2717 | 11.2676 | 0
187274.923 | 11.4156 | 12.3203 | 11.4156 | 0
190778.22 | 11.5619 | 12.3691 | 11.5619 | 0
194347.053 | 11.7097 | 12.4183 | 11.7097 | 0
197982.646 | 11.8558 | 12.4666 | 11.8558 | 0
201686.25 | 12.0037 | 12.5135 | 12.0037 | 0
205459.135 | 12.1489 | 12.5623 | 12.1489 | 0
209302.599 | 12.2946 | 12.6109 | 12.2946 | 0
213217.962 | 12.4394 | 12.6595 | 12.4394 | 0
217206.568 | 12.5839 | 12.7088 | 12.5839 | 0
221269.788 | 12.7287 | 12.7585 | 12.7287 | 0
225409.017 | 12.8724 | 12.8073 | 12.8724 | 0
229625.678 | 13.0166 | 12.8568 | 13.0166 | 0
233921.218 | 13.1597 | 12.9082 | 13.1597 | 0
238297.114 | 13.3027 | 12.9587 | 13.3027 | 0
242754.869 | 13.4458 | 13.0082 | 13.4458 | 0
247296.013 | 13.5887 | 13.0599 | 13.5887 | 0
251922.107 | 13.7301 | 13.1125 | 13.7301 | 0
256634.741 | 13.8726 | 13.1659 | 13.8726 | 0
261435.532 | 14.0151 | 13.2195 | 14.0151 | 0
266326.13 | 14.1571 | 13.2733 | 14.1571 | 0
271308.215 | 14.2978 | 13.3294 | 14.2978 | 0
276383.499 | 14.4399 | 13.3852 | 14.4399 | 0
281553.724 | 14.58 | 13.4439 | 14.58 | 0
286820.667 | 14.7224 | 13.5009 | 14.7224 | 0
292186.138 | 14.8649 | 13.5592 | 14.8649 | 0
297651.978 | 15.0066 | 13.6202 | 15.0066 | 0
303220.067 | 15.1481 | 13.6813 | 15.1481 | 0
308892.316 | 15.2909 | 13.7425 | 15.2909 | 0
314670.675 | 15.4341 | 13.8056 | 15.4341 | 0
320557.127 | 15.5759 | 13.8708 | 15.5759 | 0
326553.695 | 15.7196 | 13.9338 | 15.7196 | 0
332662.44 | 15.8636 | 14.0006 | 15.8636 | 0
338885.459 | 16.0068 | 14.0688 | 16.0068 | 0
345224.89 | 16.1513 | 14.1373 | 16.1513 | 0
351682.912 | 16.2956 | 14.2076 | 16.2956 | 0
358261.741 | 16.4422 | 14.2786 | 16.4422 | 0
364963.639 | 16.5881 | 14.3499 | 16.5881 | 0
371790.907 | 16.7346 | 14.4227 | 16.7346 | 0
378745.891 | 16.8812 | 14.4978 | 16.8812 | 0
385830.98 | 17.0307 | 14.5717 | 17.0307 | 0
393048.607 | 17.1789 | 14.649 | 17.1789 | 0
400401.253 | 17.3278 | 14.7276 | 17.3278 | 0
407891.442 | 17.4782 | 14.8071 | 17.4782 | 0
415521.748 | 17.6274 | 14.8868 | 17.6274 | 0
423294.792 | 17.7802 | 14.9686 | 17.7802 | 0
431213.244 | 17.9324 | 15.0515 | 17.9324 | 0
439279.824 | 18.0852 | 15.1368 | 18.0852 | 0
447497.303 | 18.2393 | 15.2228 | 18.2393 | 0
455868.505 | 18.3953 | 15.3101 | 18.3953 | 0
464396.304 | 18.5503 | 15.3979 | 18.5503 | 0
473083.63 | 18.7094 | 15.4863 | 18.7094 | 0
481933.467 | 18.867 | 15.5781 | 18.867 | 0
490948.855 | 19.0275 | 15.6685 | 19.0275 | 0
500132.892 | 19.1884 | 15.7624 | 19.1884 | 0
509488.732 | 19.3515 | 15.8589 | 19.3515 | 0
519019.589 | 19.5171 | 15.9528 | 19.5171 | 0
528728.737 | 19.6816 | 16.0514 | 19.6816 | 0
538619.511 | 19.8496 | 16.1489 | 19.8496 | 0
548695.309 | 20.0188 | 16.2484 | 20.0188 | 0
558959.592 | 20.19 | 16.3485 | 20.19 | 0
569415.885 | 20.3622 | 16.4496 | 20.3622 | 0
580067.782 | 20.5371 | 16.5518 | 20.5371 | 0
590918.941 | 20.7131 | 16.6537 | 20.7131 | 0
601973.089 | 20.8912 | 16.7567 | 20.8912 | 0
613234.023 | 21.0687 | 16.861 | 21.0687 | 0
624705.613 | 21.2504 | 16.9648 | 21.2504 | 0
636391.799 | 21.4327 | 17.071 | 21.4327 | 0
648296.594 | 21.6161 | 17.1749 | 21.6161 | 0
660424.089 | 21.7996 | 17.2843 | 21.7996 | 0
672778.45 | 21.9868 | 17.3908 | 21.9868 | 0
685363.919 | 22.175 | 17.4995 | 22.175 | 0
698184.822 | 22.3627 | 17.6098 | 22.3627 | 0
711245.562 | 22.5537 | 17.7187 | 22.5537 | 0
724550.625 | 22.7464 | 17.8278 | 22.7464 | 0
738104.581 | 22.9393 | 17.9395 | 22.9393 | 0
751912.088 | 23.1363 | 18.0528 | 23.1363 | 0
765977.888 | 23.3325 | 18.1687 | 23.3325 | 0
780306.813 | 23.5338 | 18.2827 | 23.5338 | 0
794903.784 | 23.735 | 18.3991 | 23.735 | 0
809773.817 | 23.9394 | 18.5177 | 23.9394 | 0
824922.019 | 24.1478 | 18.634 | 24.1478 | 0
840353.595 | 24.3577 | 18.7518 | 24.3577 | 0
856073.844 | 24.5692 | 18.8711 | 24.5692 | 0
872088.167 | 24.7809 | 18.9895 | 24.7809 | 0
888402.066 | 24.997 | 19.1078 | 24.997 | 0
905021.144 | 25.2143 | 19.2259 | 25.2143 | 0
921951.11 | 25.4344 | 19.3452 | 25.4344 | 0
939197.78 | 25.6541 | 19.4624 | 25.6541 | 0
956767.078 | 25.8764 | 19.5806 | 25.8764 | 0
974665.041 | 26.0994 | 19.6991 | 26.0994 | 0
992897.815 | 26.326 | 19.8147 | 26.326 | 0
1011471.664 | 26.5529 | 19.9337 | 26.5529 | 0
1030392.969 | 26.7807 | 20.0516 | 26.7807 | 0
1049668.229 | 27.01 | 20.1687 | 27.01 | 0
1069304.066 | 27.2394 | 20.2895 | 27.2394 | 0
1089307.225 | 27.4706 | 20.4116 | 27.4706 | 0
1109684.577 | 27.7111 | 20.5325 | 27.7111 | 0
1130443.122 | 27.9482 | 20.6553 | 27.9482 | 0
1151589.992 | 28.187 | 20.7797 | 28.187 | 0
1173132.449 | 28.4292 | 20.9037 | 28.4292 | 0
1195077.895 | 28.6707 | 21.028 | 28.6707 | 0
1217433.868 | 28.918 | 21.1513 | 28.918 | 0
1240208.048 | 29.1657 | 21.2766 | 29.1657 | 0
1263408.258 | 29.417 | 21.3994 | 29.417 | 0
1287042.467 | 29.6702 | 21.5233 | 29.6702 | 0
1311118.794 | 29.9255 | 21.6447 | 29.9255 | 0
1335645.511 | 30.1825 | 21.7664 | 30.1825 | 0
1360631.041 | 30.4417 | 21.8882 | 30.4417 | 0
1386083.968 | 30.7036 | 22.0079 | 30.7036 | 0
1412013.036 | 30.9657 | 22.1284 | 30.9657 | 0
1438427.152 | 31.2267 | 22.247 | 31.2267 | 0
1465335.388 | 31.4914 | 22.3691 | 31.4914 | 0
1492746.989 | 31.7553 | 22.4894 | 31.7553 | 0
1520671.371 | 32.0209 | 22.6115 | 32.0209 | 0
1549118.126 | 32.2887 | 22.7338 | 32.2887 | 0
1578097.027 | 32.558 | 22.8588 | 32.558 | 0
1607618.027 | 32.8306 | 22.9813 | 32.8306 | 0
1637691.267 | 33.105 | 23.1085 | 33.105 | 0
1668327.08 | 33.381 | 23.2335 | 33.381 | 0
1699535.987 | 33.6609 | 23.3603 | 33.6609 | 0
1731328.71 | 33.9446 | 23.4844 | 33.9446 | 0
1763716.171 | 34.2306 | 23.6094 | 34.2306 | 0
1796709.494 | 34.518 | 23.733 | 34.518 | 0
1830320.013 | 34.8096 | 23.8532 | 34.8096 | 0
1864559.275 | 35.1013 | 23.9748 | 35.1013 | 0
1899439.041 | 35.3939 | 24.0943 | 35.3939 | 0
1934971.292 | 35.6897 | 24.216 | 35.6897 | 0
1971168.235 | 35.9847 | 24.3347 | 35.9847 | 0
2008042.303 | 36.2813 | 24.4536 | 36.2813 | 0
2045606.164 | 36.5773 | 24.5731 | 36.5773 | 0
2083872.721 | 36.8755 | 24.6968 | 36.8755 | 0
2122855.119 | 37.1759 | 24.819 | 37.1759 | 0
2162566.75 | 37.479 | 24.9429 | 37.479 | 0
2203021.254 | 37.7856 | 25.0661 | 37.7856 | 0
2244232.529 | 38.0952 | 25.1891 | 38.0952 | 0
2286214.732 | 38.4082 | 25.3117 | 38.4082 | 0
2328982.283 | 38.7263 | 25.4339 | 38.7263 | 0
2372549.874 | 39.0441 | 25.5552 | 39.0441 | 0
2416932.472 | 39.3641 | 25.6757 | 39.3641 | 0
2462145.321 | 39.6861 | 25.7948 | 39.6861 | 0
2508203.954 | 40.0089 | 25.9117 | 40.0089 | 0
2555124.193 | 40.3338 | 26.0293 | 40.3338 | 0
2602922.155 | 40.6624 | 26.1451 | 40.6624 | 0
2651614.259 | 40.9889 | 26.2619 | 40.9889 | 0
2701217.233 | 41.3192 | 26.3788 | 41.3192 | 0
2751748.114 | 41.6495 | 26.4957 | 41.6495 | 0
2803224.263 | 41.9836 | 26.6133 | 41.9836 | 0
2855663.36 | 42.3199 | 26.7304 | 42.3199 | 0
2909083.42 | 42.6596 | 26.8477 | 42.6596 | 0
2963502.794 | 43.0023 | 26.9661 | 43.0023 | 0
3018940.175 | 43.3491 | 27.0825 | 43.3491 | 0
3075414.607 | 43.6991 | 27.1979 | 43.6991 | 0
3132945.49 | 44.0499 | 27.3108 | 44.0499 | 0
3191552.586 | 44.403 | 27.4226 | 44.403 | 0
3251256.028 | 44.7574 | 27.5326 | 44.7574 | 0
3312076.324 | 45.1136 | 27.6416 | 45.1136 | 0
3374034.369 | 45.47 | 27.7505 | 45.47 | 0
3437151.444 | 45.8305 | 27.8602 | 45.8305 | 0
3501449.232 | 46.1921 | 27.9699 | 46.1921 | 0
3566949.82 | 46.5554 | 28.0786 | 46.5554 | 0
3633675.708 | 46.9228 | 28.186 | 46.9228 | 0
3701649.818 | 47.2933 | 28.2956 | 47.2933 | 0
3770895.5 | 47.6684 | 28.4014 | 47.6684 | 0
3841436.541 | 48.0448 | 28.508 | 48.0448 | 0
3913297.172 | 48.425 | 28.6098 | 48.425 | 0
3986502.079 | 48.8076 | 28.7111 | 48.8076 | 0
4061076.409 | 49.1884 | 28.8137 | 49.1884 | 0
4137045.779 | 49.5737 | 28.9111 | 49.5737 | 0
4214436.286 | 49.9594 | 29.0093 | 49.9594 | 0
4293274.514 | 50.3489 | 29.1069 | 50.3489 | 0
4373587.546 | 50.7426 | 29.2041 | 50.7426 | 0
4455402.971 | 51.1358 | 29.3011 | 51.1358 | 0
4538748.893 | 51.5356 | 29.3947 | 51.5356 | 0
4623653.943 | 51.9373 | 29.4886 | 51.9373 | 0
4710147.286 | 52.3424 | 29.5801 | 52.3424 | 0
4798258.636 | 52.7488 | 29.6694 | 52.7488 | 0
4888018.258 | 53.1572 | 29.7555 | 53.1572 | 0
4979456.988 | 53.5691 | 29.8409 | 53.5691 | 0
5072606.235 | 53.9741 | 29.916 | 53.9741 | 0
5167497.998 | 54.3892 | 30.0011 | 54.3892 | 0
5264164.874 | 54.8068 | 30.0812 | 54.8068 | 0
5362640.068 | 55.2273 | 30.1626 | 55.2273 | 0
5462957.409 | 55.6524 | 30.239 | 55.6524 | 0
5565151.358 | 56.0798 | 30.3174 | 56.0798 | 0
5669257.019 | 56.5092 | 30.3896 | 56.5092 | 0
5775310.154 | 56.9413 | 30.4618 | 56.9413 | 0
5883347.193 | 57.3761 | 30.5308 | 57.3761 | 0
5993405.251 | 57.8146 | 30.5957 | 57.8146 | 0
6105522.132 | 58.2549 | 30.6596 | 58.2549 | 0
6219736.351 | 58.6963 | 30.7211 | 58.6963 | 0
6336087.142 | 59.1406 | 30.7785 | 59.1406 | 0
6454614.473 | 59.5879 | 30.8384 | 59.5879 | 0
6575359.061 | 60.0406 | 30.8924 | 60.0406 | 0
6698362.382 | 60.4938 | 30.9438 | 60.4938 | 0
6823666.69 | 60.9498 | 30.9902 | 60.9498 | 0
6951315.03 | 61.4094 | 31.0374 | 61.4094 | 0
7081351.249 | 61.8708 | 31.0802 | 61.8708 | 0
7213820.018 | 62.3362 | 31.1207 | 62.3362 | 0
7348766.842 | 62.8032 | 31.1606 | 62.8032 | 0
7486238.077 | 63.2726 | 31.1959 | 63.2726 | 0
7626280.946 | 63.7449 | 31.2287 | 63.7449 | 0
7768943.556 | 64.2208 | 31.2541 | 64.2208 | 0
7914274.913 | 64.6975 | 31.281 | 64.6975 | 0
8062324.942 | 65.1765 | 31.2977 | 65.1765 | 0
8213144.5 | 65.6612 | 31.3175 | 65.6612 | 0
8366785.394 | 66.1456 | 31.3314 | 66.1456 | 0
8523300.405 | 66.6356 | 31.3432 | 66.6356 | 0
8682743.296 | 67.1262 | 31.3518 | 67.1262 | 0
8845168.838 | 67.6219 | 31.3566 | 67.6219 | 0
9010632.828 | 68.1174 | 31.3553 | 68.1174 | 0
9179192.104 | 68.617 | 31.3517 | 68.617 | 0
9350904.569 | 69.1184 | 31.3439 | 69.1184 | 0
9525829.209 | 69.6228 | 31.3317 | 69.6228 | 0
9704026.113 | 70.1325 | 31.3161 | 70.1325 | 0
9885556.495 | 70.6408 | 31.2936 | 70.6408 | 0
10070482.713 | 71.1553 | 31.2683 | 71.1553 | 0
10258868.291 | 71.6712 | 31.237 | 71.6712 | 0
10450777.943 | 72.191 | 31.2021 | 72.191 | 0
10646277.594 | 72.7112 | 31.1619 | 72.7112 | 0
10845434.398 | 73.2361 | 31.1164 | 73.2361 | 0
11048316.772 | 73.7637 | 31.0644 | 73.7637 | 0
11254994.406 | 74.2929 | 31.0101 | 74.2929 | 0
11465538.299 | 74.8237 | 30.9466 | 74.8237 | 0
11680020.774 | 75.3587 | 30.8799 | 75.3587 | 0
11898515.511 | 75.8966 | 30.8073 | 75.8966 | 0
12121097.565 | 76.4356 | 30.7267 | 76.4356 | 0
12347843.396 | 76.9754 | 30.6445 | 76.9754 | 0
12578830.895 | 77.5216 | 30.5532 | 77.5216 | 0
12814139.41 | 78.067 | 30.4562 | 78.067 | 0
13053849.773 | 78.6163 | 30.3531 | 78.6163 | 0
13298044.327 | 79.1655 | 30.2407 | 79.1655 | 0
13546806.958 | 79.7195 | 30.1249 | 79.7195 | 0
13800223.119 | 80.2751 | 30.0001 | 80.2751 | 0
14058379.861 | 80.8325 | 29.8698 | 80.8325 | 0
14321365.866 | 81.3922 | 29.7325 | 81.3922 | 0
14589271.474 | 81.9548 | 29.584 | 81.9548 | 0
14862188.714 | 82.5184 | 29.4275 | 82.5184 | 0
15140211.336 | 83.0823 | 29.2657 | 83.0823 | 0
15423434.847 | 83.649 | 29.0955 | 83.649 | 0
15711956.537 | 84.2186 | 28.9163 | 84.2186 | 0
16005875.519 | 84.7892 | 28.7311 | 84.7892 | 0
16305292.756 | 85.361 | 28.5358 | 85.361 | 0
16610311.105 | 85.9356 | 28.3313 | 85.9356 | 0
16921035.342 | 86.5116 | 28.1161 | 86.5116 | 0
17237572.207 | 87.0887 | 27.8916 | 87.0887 | 0
17560030.435 | 87.6655 | 27.6603 | 87.6655 | 0
17888520.795 | 88.2428 | 27.4203 | 88.2428 | 0
18223156.128 | 88.8227 | 27.1673 | 88.8227 | 0
18564051.386 | 89.4023 | 26.9061 | 89.4023 | 0
18911323.673 | 89.9864 | 26.63 | 89.9864 | 0
19265092.28 | 90.5663 | 26.347 | 90.5663 | 0
19625478.734 | 91.1485 | 26.0514 | 91.1485 | 0
19992606.831 | 91.7298 | 25.7438 | 91.7298 | 0
20366602.687 | 92.309 | 25.4283 | 92.309 | 0
20747594.774 | 92.8902 | 25.0994 | 92.8902 | 0
21135713.969 | 93.4707 | 24.7559 | 93.4707 | 0
21531093.596 | 94.0511 | 24.4051 | 94.0511 | 0
21933869.474 | 94.6281 | 24.038 | 94.6281 | 0
22344179.963 | 95.2081 | 23.6607 | 95.2081 | 0
22762166.01 | 95.7849 | 23.2691 | 95.7849 | 0
23187971.201 | 96.358 | 22.8656 | 96.358 | 0
23621741.804 | 96.9319 | 22.4481 | 96.9319 | 0
24063626.828 | 97.4999 | 22.015 | 97.4999 | 0
24513778.065 | 98.0678 | 21.5695 | 98.0678 | 0
24972350.151 | 98.6312 | 21.1093 | 98.6312 | 0
25439500.61 | 99.1921 | 20.6354 | 99.1921 | 0
25915389.916 | 99.7477 | 20.146 | 99.7477 | 0
26400181.545 | 100.3017 | 19.6426 | 100.3017 | 0
26894042.029 | 100.8506 | 19.1215 | 100.8506 | 0
27397141.017 | 101.3932 | 18.5891 | 101.3932 | 0
27909651.331 | 101.9302 | 18.0369 | 101.9302 | 0
28431749.025 | 102.4627 | 17.4702 | 102.4627 | 0
28963613.449 | 102.9878 | 16.8875 | 102.9878 | 0
29505427.305 | 103.508 | 16.2918 | 103.508 | 0
30057376.714 | 104.0204 | 15.676 | 104.0204 | 0
30619651.28 | 104.5235 | 15.0437 | 104.5235 | 0
31192444.152 | 105.019 | 14.3957 | 105.019 | 0
31775952.093 | 105.5079 | 13.7291 | 105.5079 | 0
32370375.546 | 105.9847 | 13.0503 | 105.9847 | 0
32975918.706 | 106.4529 | 12.3521 | 106.4529 | 0
33592789.584 | 106.911 | 11.6348 | 106.911 | 0
34221200.085 | 107.3582 | 10.8977 | 107.3582 | 0
34861366.079 | 107.7871 | 10.1497 | 107.7871 | 0
35513507.47 | 108.2115 | 9.3791 | 108.2115 | 0
36177848.28 | 108.618 | 8.5908 | 108.618 | 0
36854616.72 | 109.0147 | 7.7895 | 109.0147 | 0
37544045.269 | 109.3926 | 6.9678 | 109.3926 | 0
38246370.756 | 109.7571 | 6.1272 | 109.7571 | 0
38961834.441 | 110.1031 | 5.2716 | 110.1031 | 0
39690682.097 | 110.4318 | 4.399 | 110.4318 | 0
40433164.092 | 110.7441 | 3.5091 | 110.7441 | 0
41189535.482 | 111.0383 | 2.603 | 111.0383 | 0
41960056.09 | 111.3095 | 1.6813 | 111.3095 | 0
42744990.601 | 111.5647 | 0.74108 | 111.5647 | 0
43544608.654 | 111.799 | -0.21545 | 111.799 | 0
44359184.928 | 112.0068 | -1.1873 | 112.0068 | 0
45188999.242 | 112.1966 | -2.1701 | 112.1966 | 0
46034336.65 | 112.3602 | -3.1704 | 112.3602 | 0
46895487.538 | 112.5019 | -4.1867 | 112.5019 | 0
47772747.725 | 112.6179 | -5.2156 | 112.6179 | 0
48666418.561 | 112.7068 | -6.2539 | 112.7068 | 0
49576807.036 | 112.7706 | -7.3063 | 112.7706 | 0
50504225.883 | 112.807 | -8.375 | 112.807 | 0
51448993.684 | 112.8143 | -9.4518 | 112.8143 | 0
52411434.979 | 112.7905 | -10.5373 | 112.7905 | 0
53391880.383 | 112.7375 | -11.6341 | 112.7375 | 0
54390666.692 | 112.6611 | -12.7387 | 112.6611 | 0
55408137.005 | 112.5469 | -13.8518 | 112.5469 | 0
56444640.838 | 112.4015 | -14.9692 | 112.4015 | 0
57500534.246 | 112.2254 | -16.0942 | 112.2254 | 0
58576179.943 | 112.016 | -17.2232 | 112.016 | 0
59671947.43 | 111.7716 | -18.3564 | 111.7716 | 0
60788213.119 | 111.4976 | -19.4898 | 111.4976 | 0
61925360.465 | 111.1853 | -20.6286 | 111.1853 | 0
63083780.093 | 110.8437 | -21.7653 | 110.8437 | 0
64263869.939 | 110.464 | -22.8986 | 110.464 | 0
65466035.381 | 110.0483 | -24.033 | 110.0483 | 0
66690689.381 | 109.5988 | -25.1608 | 109.5988 | 0
67938252.626 | 109.1144 | -26.2853 | 109.1144 | 0
69209153.672 | 108.5922 | -27.4009 | 108.5922 | 0
70503829.092 | 108.0378 | -28.5096 | 108.0378 | 0
71822723.627 | 107.4415 | -29.61 | 107.4415 | 0
73166290.337 | 106.8197 | -30.7007 | 106.8197 | 0
74534990.757 | 106.1614 | -31.7763 | 106.1614 | 0
75929295.056 | 105.462 | -32.8408 | 105.462 | 0
77349682.198 | 104.7345 | -33.8923 | 104.7345 | 0
78796640.108 | 103.9701 | -34.9289 | 103.9701 | 0
80270665.836 | 103.1693 | -35.9427 | 103.1693 | 0
81772265.733 | 102.3418 | -36.9438 | 102.3418 | 0
83301955.621 | 101.4788 | -37.9256 | 101.4788 | 0
84860260.97 | 100.5879 | -38.885 | 100.5879 | 0
86447717.083 | 99.6622 | -39.8243 | 99.6622 | 0
88064869.273 | 98.7022 | -40.7383 | 98.7022 | 0
89712273.057 | 97.7194 | -41.6292 | 97.7194 | 0
91390494.342 | 96.7091 | -42.4963 | 96.7091 | 0
93100109.623 | 95.669 | -43.3362 | 95.669 | 0
94841706.177 | 94.6007 | -44.1501 | 94.6007 | 0
96615882.27 | 93.5122 | -44.9372 | 93.5122 | 0
98423247.356 | 92.3912 | -45.6942 | 92.3912 | 0
100264422.293 | 91.2492 | -46.4237 | 91.2492 | 0
102140039.551 | 90.0894 | -47.1207 | 90.0894 | 0
104050743.434 | 88.9058 | -47.7874 | 88.9058 | 0
105997190.296 | 87.702 | -48.4252 | 87.702 | 0
107980048.771 | 86.4762 | -49.0267 | 86.4762 | 0
110000000 | 85.238 | -49.5967 | 85.238 | 0
TRACE: B
FORMAT: LINEAR
Frequency | Data Real | Data Imag | Data Trace Real | Data Trace Imag
40 | 0.0031474 | 0.0065698 | 0.0065698 | 0
40.748 | 0.0035811 | 0.0063131 | 0.0063131 | 0
41.511 | 0.0032402 | 0.0070323 | 0.0070323 | 0
42.287 | 0.0034387 | 0.0070141 | 0.0070141 | 0
43.078 | 0.0031482 | 0.0071662 | 0.0071662 | 0
43.884 | 0.0033083 | 0.0073213 | 0.0073213 | 0
44.705 | 0.0033033 | 0.0073169 | 0.0073169 | 0
45.541 | 0.0033085 | 0.0074218 | 0.0074218 | 0
46.393 | 0.0031932 | 0.0078212 | 0.0078212 | 0
47.261 | 0.003607 | 0.0077565 | 0.0077565 | 0
48.145 | 0.0028632 | 0.0080312 | 0.0080312 | 0
49.046 | 0.0034768 | 0.0080676 | 0.0080676 | 0
49.963 | 0.0038419 | 0.00745 | 0.00745 | 0
50.898 | 0.0034061 | 0.0081445 | 0.0081445 | 0
51.85 | 0.0036223 | 0.0078787 | 0.0078787 | 0
52.82 | 0.0035154 | 0.0083022 | 0.0083022 | 0
53.808 | 0.0034213 | 0.0086251 | 0.0086251 | 0
54.815 | 0.003507 | 0.0087936 | 0.0087936 | 0
55.84 | 0.0033015 | 0.0088508 | 0.0088508 | 0
56.885 | 0.0033567 | 0.0091704 | 0.0091704 | 0
57.949 | 0.0032862 | 0.0094198 | 0.0094198 | 0
59.033 | 0.0035487 | 0.0095807 | 0.0095807 | 0
60.137 | 0.0031262 | 0.0097747 | 0.0097747 | 0
61.262 | 0.0035934 | 0.0099019 | 0.0099019 | 0
62.408 | 0.003439 | 0.0097901 | 0.0097901 | 0
63.575 | 0.0035161 | 0.010078 | 0.010078 | 0
64.765 | 0.0032419 | 0.010308 | 0.010308 | 0
65.976 | 0.003535 | 0.010729 | 0.010729 | 0
67.21 | 0.0035761 | 0.010684 | 0.010684 | 0
68.468 | 0.0034841 | 0.010995 | 0.010995 | 0
69.749 | 0.0036016 | 0.01127 | 0.01127 | 0
71.053 | 0.0034948 | 0.011451 | 0.011451 | 0
72.382 | 0.0034619 | 0.011603 | 0.011603 | 0
73.736 | 0.0035149 | 0.011978 | 0.011978 | 0
75.116 | 0.0035111 | 0.01191 | 0.01191 | 0
76.521 | 0.0033892 | 0.012151 | 0.012151 | 0
77.952 | 0.0036503 | 0.012269 | 0.012269 | 0
79.411 | 0.0034311 | 0.01279 | 0.01279 | 0
80.896 | 0.0036666 | 0.012957 | 0.012957 | 0
82.41 | 0.0035753 | 0.013272 | 0.013272 | 0
83.951 | 0.0033771 | 0.013371 | 0.013371 | 0
85.522 | 0.0037366 | 0.013729 | 0.013729 | 0
87.121 | 0.0035109 | 0.013986 | 0.013986 | 0
88.751 | 0.003475 | 0.014082 | 0.014082 | 0
90.411 | 0.0035028 | 0.014283 | 0.014283 | 0
92.103 | 0.0033237 | 0.01479 | 0.01479 | 0
93.826 | 0.0036969 | 0.014899 | 0.014899 | 0
95.581 | 0.0035662 | 0.015295 | 0.015295 | 0
97.369 | 0.0035464 | 0.015624 | 0.015624 | 0
99.19 | 0.0035801 | 0.015775 | 0.015775 | 0
101.046 | 0.0035577 | 0.015959 | 0.015959 | 0
102.936 | 0.0033566 | 0.01631 | 0.01631 | 0
104.862 | 0.0036078 | 0.016719 | 0.016719 | 0
106.823 | 0.0036716 | 0.016956 | 0.016956 | 0
108.822 | 0.003633 | 0.017302 | 0.017302 | 0
110.857 | 0.0034369 | 0.01762 | 0.01762 | 0
112.931 | 0.0034858 | 0.017933 | 0.017933 | 0
115.044 | 0.003464 | 0.018404 | 0.018404 | 0
117.196 | 0.0035385 | 0.018642 | 0.018642 | 0
119.388 | 0.0035252 | 0.019009 | 0.019009 | 0
121.621 | 0.0036782 | 0.019483 | 0.019483 | 0
123.897 | 0.0034696 | 0.019788 | 0.019788 | 0
126.214 | 0.0035894 | 0.020078 | 0.020078 | 0
128.575 | 0.0035522 | 0.020625 | 0.020625 | 0
130.98 | 0.0035116 | 0.020813 | 0.020813 | 0
133.431 | 0.0035675 | 0.02119 | 0.02119 | 0
135.927 | 0.0036467 | 0.021663 | 0.021663 | 0
138.469 | 0.0035557 | 0.022015 | 0.022015 | 0
141.06 | 0.0036641 | 0.022512 | 0.022512 | 0
143.699 | 0.003471 | 0.022971 | 0.022971 | 0
146.387 | 0.0034933 | 0.023334 | 0.023334 | 0
149.125 | 0.0036459 | 0.023856 | 0.023856 | 0
151.915 | 0.0036652 | 0.024146 | 0.024146 | 0
154.757 | 0.0035269 | 0.024705 | 0.024705 | 0
157.652 | 0.0035633 | 0.025203 | 0.025203 | 0
160.601 | 0.0036974 | 0.025618 | 0.025618 | 0
163.605 | 0.0037225 | 0.026217 | 0.026217 | 0
166.666 | 0.0035687 | 0.026506 | 0.026506 | 0
169.783 | 0.003746 | 0.027185 | 0.027185 | 0
172.959 | 0.0038437 | 0.02755 | 0.02755 | 0
176.195 | 0.0035817 | 0.028055 | 0.028055 | 0
179.491 | 0.0036615 | 0.028436 | 0.028436 | 0
182.849 | 0.0036237 | 0.029236 | 0.029236 | 0
186.269 | 0.0037355 | 0.029807 | 0.029807 | 0
189.754 | 0.003502 | 0.030228 | 0.030228 | 0
193.303 | 0.0035292 | 0.030908 | 0.030908 | 0
196.919 | 0.0036319 | 0.031398 | 0.031398 | 0
200.603 | 0.0038513 | 0.032123 | 0.032123 | 0
204.356 | 0.0036255 | 0.032569 | 0.032569 | 0
208.178 | 0.0034921 | 0.033153 | 0.033153 | 0
212.073 | 0.0036556 | 0.034056 | 0.034056 | 0
216.04 | 0.0036904 | 0.034793 | 0.034793 | 0
220.081 | 0.0036401 | 0.035134 | 0.035134 | 0
224.198 | 0.0036329 | 0.035791 | 0.035791 | 0
228.392 | 0.0036749 | 0.036457 | 0.036457 | 0
232.665 | 0.0038287 | 0.03708 | 0.03708 | 0
237.017 | 0.0037179 | 0.037885 | 0.037885 | 0
241.451 | 0.0034559 | 0.038493 | 0.038493 | 0
245.968 | 0.0037678 | 0.039307 | 0.039307 | 0
250.569 | 0.0036932 | 0.040235 | 0.040235 | 0
255.256 | 0.0036748 | 0.040735 | 0.040735 | 0
260.031 | 0.0038428 | 0.041516 | 0.041516 | 0
264.896 | 0.0036684 | 0.042271 | 0.042271 | 0
269.851 | 0.0037817 | 0.043194 | 0.043194 | 0
274.899 | 0.0037502 | 0.043874 | 0.043874 | 0
280.042 | 0.0035624 | 0.04497 | 0.04497 | 0
285.28 | 0.0038499 | 0.045447 | 0.045447 | 0
290.617 | 0.003747 | 0.046459 | 0.046459 | 0
296.053 | 0.0037247 | 0.047571 | 0.047571 | 0
301.591 | 0.0038002 | 0.048262 | 0.048262 | 0
307.233 | 0.0037704 | 0.049062 | 0.049062 | 0
312.981 | 0.0037717 | 0.050035 | 0.050035 | 0
318.835 | 0.0036519 | 0.050916 | 0.050916 | 0
324.8 | 0.0038151 | 0.051792 | 0.051792 | 0
330.876 | 0.0036914 | 0.052778 | 0.052778 | 0
337.065 | 0.0037052 | 0.053856 | 0.053856 | 0
343.371 | 0.0037162 | 0.05472 | 0.05472 | 0
349.794 | 0.0038745 | 0.055907 | 0.055907 | 0
356.338 | 0.003842 | 0.056893 | 0.056893 | 0
363.003 | 0.0038313 | 0.057916 | 0.057916 | 0
369.794 | 0.0038432 | 0.05916 | 0.05916 | 0
376.712 | 0.0039206 | 0.059947 | 0.059947 | 0
383.759 | 0.0039781 | 0.061302 | 0.061302 | 0
390.938 | 0.0038356 | 0.062341 | 0.062341 | 0
398.251 | 0.003919 | 0.063541 | 0.063541 | 0
405.701 | 0.0039338 | 0.064789 | 0.064789 | 0
413.29 | 0.0039844 | 0.066051 | 0.066051 | 0
421.021 | 0.0038585 | 0.067051 | 0.067051 | 0
428.897 | 0.0039307 | 0.068516 | 0.068516 | 0
436.92 | 0.0037981 | 0.069825 | 0.069825 | 0
445.094 | 0.0038358 | 0.071004 | 0.071004 | 0
453.42 | 0.0039335 | 0.072411 | 0.072411 | 0
461.902 | 0.0039853 | 0.073746 | 0.073746 | 0
470.543 | 0.0039953 | 0.075019 | 0.075019 | 0
479.345 | 0.0041822 | 0.076491 | 0.076491 | 0
488.312 | 0.0041197 | 0.077927 | 0.077927 | 0
497.447 | 0.0040329 | 0.079402 | 0.079402 | 0
506.752 | 0.0042347 | 0.08074 | 0.08074 | 0
516.232 | 0.0039962 | 0.082515 | 0.082515 | 0
525.889 | 0.0042146 | 0.084002 | 0.084002 | 0
535.727 | 0.0042214 | 0.08551 | 0.08551 | 0
545.748 | 0.0042282 | 0.087127 | 0.087127 | 0
555.957 | 0.0042146 | 0.088673 | 0.088673 | 0
566.358 | 0.004282 | 0.090389 | 0.090389 | 0
576.952 | 0.0042229 | 0.092115 | 0.092115 | 0
587.745 | 0.0043485 | 0.093626 | 0.093626 | 0
598.74 | 0.0043077 | 0.095537 | 0.095537 | 0
609.94 | 0.0042195 | 0.097297 | 0.097297 | 0
621.35 | 0.0043913 | 0.099008 | 0.099008 | 0
632.974 | 0.0042741 | 0.10093 | 0.10093 | 0
644.815 | 0.0044376 | 0.10288 | 0.10288 | 0
656.877 | 0.0044677 | 0.10487 | 0.10487 | 0
669.165 | 0.0044175 | 0.10683 | 0.10683 | 0
681.683 | 0.0043351 | 0.10872 | 0.10872 | 0
694.435 | 0.0044996 | 0.11085 | 0.11085 | 0
707.425 | 0.0044845 | 0.11279 | 0.11279 | 0
720.659 | 0.0044433 | 0.11489 | 0.11489 | 0
734.14 | 0.0045335 | 0.11716 | 0.11716 | 0
747.874 | 0.0044797 | 0.11928 | 0.11928 | 0
761.864 | 0.0046309 | 0.12166 | 0.12166 | 0
776.116 | 0.0047597 | 0.12391 | 0.12391 | 0
790.634 | 0.0046494 | 0.1262 | 0.1262 | 0
805.425 | 0.0047298 | 0.12855 | 0.12855 | 0
820.491 | 0.0047961 | 0.131 | 0.131 | 0
835.84 | 0.0047508 | 0.13326 | 0.13326 | 0
851.476 | 0.0047737 | 0.13571 | 0.13571 | 0
867.404 | 0.0049289 | 0.13838 | 0.13838 | 0
883.63 | 0.0050236 | 0.1409 | 0.1409 | 0
900.16 | 0.0048013 | 0.14358 | 0.14358 | 0
916.999 | 0.0049991 | 0.1462 | 0.1462 | 0
934.153 | 0.0049315 | 0.14912 | 0.14912 | 0
951.628 | 0.0050487 | 0.15193 | 0.15193 | 0
969.43 | 0.0051595 | 0.15464 | 0.15464 | 0
987.565 | 0.0051173 | 0.15754 | 0.15754 | 0
1006.039 | 0.0051996 | 0.16057 | 0.16057 | 0
1024.859 | 0.005056 | 0.1635 | 0.1635 | 0
1044.03 | 0.0054707 | 0.16653 | 0.16653 | 0
1063.561 | 0.0053276 | 0.16963 | 0.16963 | 0
1083.457 | 0.0055699 | 0.17275 | 0.17275 | 0
1103.724 | 0.005476 | 0.17606 | 0.17606 | 0
1124.372 | 0.0055462 | 0.17946 | 0.17946 | 0
1145.405 | 0.0057052 | 0.18265 | 0.18265 | 0
1166.832 | 0.0058187 | 0.18615 | 0.18615 | 0
1188.659 | 0.0058323 | 0.18954 | 0.18954 | 0
1210.895 | 0.0060744 | 0.1932 | 0.1932 | 0
1233.547 | 0.0059826 | 0.19674 | 0.19674 | 0
1256.623 | 0.0060283 | 0.20038 | 0.20038 | 0
1280.13 | 0.0062068 | 0.2041 | 0.2041 | 0
1304.077 | 0.0063804 | 0.20799 | 0.20799 | 0
1328.472 | 0.0063468 | 0.21191 | 0.21191 | 0
1353.323 | 0.0064152 | 0.21589 | 0.21589 | 0
1378.639 | 0.0065377 | 0.21991 | 0.21991 | 0
1404.429 | 0.006726 | 0.22398 | 0.22398 | 0
1430.701 | 0.0068223 | 0.22806 | 0.22806 | 0
1457.465 | 0.0068251 | 0.23237 | 0.23237 | 0
1484.729 | 0.007002 | 0.23678 | 0.23678 | 0
1512.504 | 0.0072062 | 0.24118 | 0.24118 | 0
1540.798 | 0.0073862 | 0.24562 | 0.24562 | 0
1569.621 | 0.0073895 | 0.25022 | 0.25022 | 0
1598.984 | 0.0074149 | 0.25489 | 0.25489 | 0
1628.895 | 0.0077861 | 0.25981 | 0.25981 | 0
1659.367 | 0.0077673 | 0.26457 | 0.26457 | 0
1690.408 | 0.0079275 | 0.26957 | 0.26957 | 0
1722.03 | 0.008116 | 0.27468 | 0.27468 | 0
1754.243 | 0.0081974 | 0.27967 | 0.27967 | 0
1787.059 | 0.0084007 | 0.28503 | 0.28503 | 0
1820.489 | 0.0085358 | 0.29023 | 0.29023 | 0
1854.545 | 0.0087547 | 0.2957 | 0.2957 | 0
1889.237 | 0.008949 | 0.30113 | 0.30113 | 0
1924.579 | 0.0091806 | 0.30681 | 0.30681 | 0
1960.581 | 0.0093977 | 0.31257 | 0.31257 | 0
1997.257 | 0.0095535 | 0.31853 | 0.31853 | 0
2034.619 | 0.0096697 | 0.3243 | 0.3243 | 0
2072.68 | 0.0098907 | 0.3304 | 0.3304 | 0
2111.453 | 0.010139 | 0.33645 | 0.33645 | 0
2150.952 | 0.010316 | 0.34286 | 0.34286 | 0
2191.189 | 0.010602 | 0.34927 | 0.34927 | 0
2232.179 | 0.010884 | 0.3557 | 0.3557 | 0
2273.936 | 0.011124 | 0.3625 | 0.3625 | 0
2316.473 | 0.011413 | 0.36915 | 0.36915 | 0
2359.807 | 0.011697 | 0.376 | 0.376 | 0
2403.951 | 0.011906 | 0.38321 | 0.38321 | 0
2448.921 | 0.012227 | 0.39028 | 0.39028 | 0
2494.732 | 0.012602 | 0.39751 | 0.39751 | 0
2541.401 | 0.012927 | 0.4049 | 0.4049 | 0
2588.942 | 0.01305 | 0.41246 | 0.41246 | 0
2637.373 | 0.013472 | 0.42015 | 0.42015 | 0
2686.709 | 0.013839 | 0.42793 | 0.42793 | 0
2736.969 | 0.01429 | 0.43595 | 0.43595 | 0
2788.168 | 0.014623 | 0.44419 | 0.44419 | 0
2840.326 | 0.014958 | 0.4524 | 0.4524 | 0
2893.459 | 0.015524 | 0.46075 | 0.46075 | 0
2947.586 | 0.015953 | 0.46949 | 0.46949 | 0
3002.726 | 0.016283 | 0.4783 | 0.4783 | 0
3058.897 | 0.016733 | 0.48717 | 0.48717 | 0
3116.119 | 0.017161 | 0.49624 | 0.49624 | 0
3174.411 | 0.017615 | 0.50545 | 0.50545 | 0
3233.794 | 0.018226 | 0.51487 | 0.51487 | 0
3294.287 | 0.018611 | 0.52446 | 0.52446 | 0
3355.913 | 0.0193 | 0.53427 | 0.53427 | 0
3418.691 | 0.019623 | 0.54418 | 0.54418 | 0
3482.643 | 0.020325 | 0.55428 | 0.55428 | 0
3547.792 | 0.020778 | 0.56477 | 0.56477 | 0
3614.159 | 0.021568 | 0.57517 | 0.57517 | 0
3681.768 | 0.022268 | 0.58602 | 0.58602 | 0
3750.642 | 0.022848 | 0.59695 | 0.59695 | 0
3820.804 | 0.023581 | 0.60813 | 0.60813 | 0
3892.279 | 0.02435 | 0.61942 | 0.61942 | 0
3965.091 | 0.025055 | 0.63085 | 0.63085 | 0
4039.264 | 0.025776 | 0.64266 | 0.64266 | 0
4114.826 | 0.026599 | 0.6546 | 0.6546 | 0
4191.801 | 0.027288 | 0.66669 | 0.66669 | 0
4270.215 | 0.028224 | 0.67929 | 0.67929 | 0
4350.097 | 0.029119 | 0.69187 | 0.69187 | 0
4431.473 | 0.030019 | 0.70472 | 0.70472 | 0
4514.371 | 0.0309 | 0.718 | 0.718 | 0
4598.82 | 0.031904 | 0.73118 | 0.73118 | 0
4684.849 | 0.033073 | 0.74491 | 0.74491 | 0
4772.487 | 0.034104 | 0.75877 | 0.75877 | 0
4861.765 | 0.035212 | 0.77271 | 0.77271 | 0
4952.712 | 0.036385 | 0.78723 | 0.78723 | 0
5045.361 | 0.037436 | 0.80195 | 0.80195 | 0
5139.744 | 0.038699 | 0.8168 | 0.8168 | 0
5235.891 | 0.040012 | 0.83201 | 0.83201 | 0
5333.837 | 0.041293 | 0.84744 | 0.84744 | 0
5433.616 | 0.042542 | 0.8632 | 0.8632 | 0
5535.261 | 0.044029 | 0.87928 | 0.87928 | 0
5638.808 | 0.045407 | 0.89572 | 0.89572 | 0
5744.291 | 0.046913 | 0.91232 | 0.91232 | 0
5851.748 | 0.048335 | 0.92924 | 0.92924 | 0
5961.215 | 0.050027 | 0.94645 | 0.94645 | 0
6072.73 | 0.051668 | 0.96402 | 0.96402 | 0
6186.33 | 0.053429 | 0.98199 | 0.98199 | 0
6302.056 | 0.055222 | 1.0001 | 1.0001 | 0
6419.947 | 0.057171 | 1.0187 | 1.0187 | 0
6540.043 | 0.059163 | 1.0378 | 1.0378 | 0
6662.386 | 0.061047 | 1.057 | 1.057 | 0
6787.017 | 0.063059 | 1.0765 | 1.0765 | 0
6913.98 | 0.065232 | 1.0965 | 1.0965 | 0
7043.318 | 0.067435 | 1.1169 | 1.1169 | 0
7175.075 | 0.069757 | 1.1376 | 1.1376 | 0
7309.297 | 0.072261 | 1.1587 | 1.1587 | 0
7446.03 | 0.07483 | 1.1801 | 1.1801 | 0
7585.32 | 0.077414 | 1.2019 | 1.2019 | 0
7727.217 | 0.080005 | 1.2242 | 1.2242 | 0
7871.768 | 0.082766 | 1.2469 | 1.2469 | 0
8019.022 | 0.085663 | 1.2698 | 1.2698 | 0
8169.032 | 0.088372 | 1.2934 | 1.2934 | 0
8321.848 | 0.091472 | 1.3173 | 1.3173 | 0
8477.522 | 0.094864 | 1.3416 | 1.3416 | 0
8636.109 | 0.098142 | 1.3664 | 1.3664 | 0
8797.662 | 0.10165 | 1.3917 | 1.3917 | 0
8962.237 | 0.1051 | 1.4173 | 1.4173 | 0
9129.891 | 0.1088 | 1.4435 | 1.4435 | 0
9300.681 | 0.11229 | 1.4698 | 1.4698 | 0
9474.666 | 0.11667 | 1.497 | 1.497 | 0
9651.906 | 0.1208 | 1.5248 | 1.5248 | 0
9832.461 | 0.12503 | 1.553 | 1.553 | 0
10016.394 | 0.12951 | 1.5812 | 1.5812 | 0
10203.768 | 0.13391 | 1.6102 | 1.6102 | 0
10394.647 | 0.13839 | 1.6401 | 1.6401 | 0
10589.097 | 0.14323 | 1.67 | 1.67 | 0
10787.184 | 0.14849 | 1.7007 | 1.7007 | 0
10988.977 | 0.15395 | 1.7319 | 1.7319 | 0
11194.544 | 0.15929 | 1.7636 | 1.7636 | 0
11403.957 | 0.16481 | 1.7958 | 1.7958 | 0
11617.288 | 0.17045 | 1.8288 | 1.8288 | 0
11834.609 | 0.17658 | 1.8624 | 1.8624 | 0
12055.996 | 0.18288 | 1.8964 | 1.8964 | 0
12281.524 | 0.18938 | 1.9312 | 1.9312 | 0
12511.27 | 0.19614 | 1.9665 | 1.9665 | 0
12745.315 | 0.20328 | 2.0023 | 2.0023 | 0
12983.738 | 0.2104 | 2.0389 | 2.0389 | 0
13226.621 | 0.21792 | 2.0759 | 2.0759 | 0
13474.047 | 0.22574 | 2.1136 | 2.1136 | 0
13726.103 | 0.23358 | 2.1518 | 2.1518 | 0
13982.873 | 0.24203 | 2.191 | 2.191 | 0
14244.446 | 0.25023 | 2.2306 | 2.2306 | 0
14510.913 | 0.25944 | 2.2712 | 2.2712 | 0
14782.364 | 0.26841 | 2.312 | 2.312 | 0
15058.894 | 0.27815 | 2.3539 | 2.3539 | 0
15340.596 | 0.2881 | 2.3966 | 2.3966 | 0
15627.568 | 0.29791 | 2.4399 | 2.4399 | 0
15919.908 | 0.30865 | 2.4838 | 2.4838 | 0
16217.718 | 0.31976 | 2.5283 | 2.5283 | 0
16521.098 | 0.33067 | 2.5739 | 2.5739 | 0
16830.153 | 0.34288 | 2.6202 | 2.6202 | 0
17144.99 | 0.35489 | 2.6671 | 2.6671 | 0
17465.716 | 0.36783 | 2.7147 | 2.7147 | 0
17792.442 | 0.38034 | 2.7632 | 2.7632 | 0
18125.28 | 0.39429 | 2.8129 | 2.8129 | 0
18464.344 | 0.40783 | 2.8625 | 2.8625 | 0
18809.752 | 0.42225 | 2.9137 | 2.9137 | 0
19161.62 | 0.43712 | 2.9652 | 2.9652 | 0
19520.071 | 0.45278 | 3.0178 | 3.0178 | 0
19885.227 | 0.46834 | 3.0712 | 3.0712 | 0
20257.214 | 0.48503 | 3.1252 | 3.1252 | 0
20636.16 | 0.50206 | 3.1799 | 3.1799 | 0
21022.195 | 0.51959 | 3.2359 | 3.2359 | 0
21415.451 | 0.53803 | 3.2929 | 3.2929 | 0
21816.063 | 0.5571 | 3.3505 | 3.3505 | 0
22224.17 | 0.57633 | 3.4088 | 3.4088 | 0
22639.911 | 0.59686 | 3.4681 | 3.4681 | 0
23063.429 | 0.61755 | 3.5282 | 3.5282 | 0
23494.87 | 0.6394 | 3.5894 | 3.5894 | 0
23934.382 | 0.66168 | 3.6517 | 3.6517 | 0
24382.115 | 0.68473 | 3.7143 | 3.7143 | 0
24838.224 | 0.70913 | 3.778 | 3.778 | 0
25302.866 | 0.7335 | 3.8426 | 3.8426 | 0
25776.199 | 0.75886 | 3.9083 | 3.9083 | 0
26258.387 | 0.78472 | 3.9748 | 3.9748 | 0
26749.595 | 0.81213 | 4.0426 | 4.0426 | 0
27249.992 | 0.84025 | 4.1105 | 4.1105 | 0
27759.749 | 0.86936 | 4.1797 | 4.1797 | 0
28279.043 | 0.89929 | 4.2499 | 4.2499 | 0
28808.051 | 0.92995 | 4.321 | 4.321 | 0
29346.955 | 0.96204 | 4.3932 | 4.3932 | 0
29895.939 | 0.99484 | 4.4665 | 4.4665 | 0
30455.194 | 1.0285 | 4.54 | 4.54 | 0
31024.911 | 1.0628 | 4.6147 | 4.6147 | 0
31605.284 | 1.0993 | 4.6902 | 4.6902 | 0
32196.515 | 1.1365 | 4.7669 | 4.7669 | 0
32798.806 | 1.1744 | 4.8444 | 4.8444 | 0
33412.364 | 1.2138 | 4.9228 | 4.9228 | 0
34037.399 | 1.2547 | 5.0021 | 5.0021 | 0
34674.127 | 1.2968 | 5.0821 | 5.0821 | 0
35322.766 | 1.3389 | 5.1629 | 5.1629 | 0
35983.538 | 1.3833 | 5.2449 | 5.2449 | 0
36656.672 | 1.4293 | 5.3274 | 5.3274 | 0
37342.397 | 1.4766 | 5.4108 | 5.4108 | 0
38040.951 | 1.525 | 5.4951 | 5.4951 | 0
38752.572 | 1.5742 | 5.5802 | 5.5802 | 0
39477.505 | 1.6257 | 5.6659 | 5.6659 | 0
40215.999 | 1.6791 | 5.7526 | 5.7526 | 0
40968.308 | 1.7331 | 5.8399 | 5.8399 | 0
41734.69 | 1.7891 | 5.9279 | 5.9279 | 0
42515.409 | 1.8462 | 6.0166 | 6.0166 | 0
43310.732 | 1.9059 | 6.1061 | 6.1061 | 0
44120.933 | 1.9658 | 6.1969 | 6.1969 | 0
44946.291 | 2.0274 | 6.2879 | 6.2879 | 0
45787.088 | 2.091 | 6.3789 | 6.3789 | 0
46643.613 | 2.1575 | 6.4707 | 6.4707 | 0
47516.162 | 2.2244 | 6.5628 | 6.5628 | 0
48405.033 | 2.2932 | 6.6551 | 6.6551 | 0
49310.532 | 2.3644 | 6.7485 | 6.7485 | 0
50232.969 | 2.4359 | 6.8422 | 6.8422 | 0
51172.663 | 2.5102 | 6.9369 | 6.9369 | 0
52129.935 | 2.5866 | 7.0312 | 7.0312 | 0
53105.114 | 2.664 | 7.1265 | 7.1265 | 0
54098.536 | 2.7447 | 7.2218 | 7.2218 | 0
55110.542 | 2.8267 | 7.3166 | 7.3166 | 0
56141.478 | 2.9097 | 7.4126 | 7.4126 | 0
57191.701 | 2.9943 | 7.5084 | 7.5084 | 0
58261.569 | 3.0811 | 7.6046 | 7.6046 | 0
59351.451 | 3.1705 | 7.701 | 7.701 | 0
60461.722 | 3.2604 | 7.7971 | 7.7971 | 0
61592.761 | 3.3549 | 7.8926 | 7.8926 | 0
62744.959 | 3.4493 | 7.9888 | 7.9888 | 0
63918.711 | 3.5461 | 8.0846 | 8.0846 | 0
65114.419 | 3.6444 | 8.1804 | 8.1804 | 0
66332.496 | 3.7445 | 8.2761 | 8.2761 | 0
67573.358 | 3.8479 | 8.3712 | 8.3712 | 0
68837.434 | 3.9518 | 8.4661 | 8.4661 | 0
70125.155 | 4.0587 | 8.5608 | 8.5608 | 0
71436.966 | 4.1667 | 8.6554 | 8.6554 | 0
72773.317 | 4.2764 | 8.7495 | 8.7495 | 0
74134.666 | 4.3882 | 8.8434 | 8.8434 | 0
75521.481 | 4.5023 | 8.9365 | 8.9365 | 0
76934.24 | 4.6175 | 9.0281 | 9.0281 | 0
78373.426 | 4.735 | 9.1197 | 9.1197 | 0
79839.535 | 4.854 | 9.2103 | 9.2103 | 0
81333.069 | 4.9749 | 9.3008 | 9.3008 | 0
82854.543 | 5.0971 | 9.3897 | 9.3897 | 0
84404.479 | 5.2215 | 9.4789 | 9.4789 | 0
85983.409 | 5.3479 | 9.5661 | 9.5661 | 0
87591.876 | 5.4752 | 9.6529 | 9.6529 | 0
89230.431 | 5.604 | 9.74 | 9.74 | 0
90899.639 | 5.7342 | 9.8248 | 9.8248 | 0
92600.072 | 5.8671 | 9.9091 | 9.9091 | 0
94332.314 | 5.9999 | 9.9923 | 9.9923 | 0
96096.961 | 6.1343 | 10.074 | 10.074 | 0
97894.619 | 6.2699 | 10.1543 | 10.1543 | 0
99725.905 | 6.4077 | 10.2347 | 10.2347 | 0
101591.449 | 6.5463 | 10.3132 | 10.3132 | 0
103491.89 | 6.6855 | 10.391 | 10.391 | 0
105427.883 | 6.8268 | 10.4673 | 10.4673 | 0
107400.091 | 6.9683 | 10.5422 | 10.5422 | 0
109409.193 | 7.111 | 10.6165 | 10.6165 | 0
111455.879 | 7.2538 | 10.69 | 10.69 | 0
113540.852 | 7.3981 | 10.7627 | 10.7627 | 0
115664.827 | 7.5431 | 10.8328 | 10.8328 | 0
117828.536 | 7.6898 | 10.9019 | 10.9019 | 0
120032.72 | 7.8355 | 10.9701 | 10.9701 | 0
122278.137 | 7.9834 | 11.0365 | 11.0365 | 0
124565.558 | 8.1303 | 11.1027 | 11.1027 | 0
126895.769 | 8.2788 | 11.168 | 11.168 | 0
129269.572 | 8.4278 | 11.2305 | 11.2305 | 0
131687.78 | 8.5766 | 11.2939 | 11.2939 | 0
134151.225 | 8.7254 | 11.3547 | 11.3547 | 0
136660.752 | 8.8739 | 11.4153 | 11.4153 | 0
139217.225 | 9.0243 | 11.4749 | 11.4749 | 0
141821.521 | 9.174 | 11.5325 | 11.5325 | 0
144474.535 | 9.3245 | 11.5902 | 11.5902 | 0
147177.178 | 9.4748 | 11.6479 | 11.6479 | 0
149930.378 | 9.6243 | 11.7035 | 11.7035 | 0
152735.082 | 9.7753 | 11.7579 | 11.7579 | 0
155592.253 | 9.9244 | 11.8123 | 11.8123 | 0
158502.871 | 10.0748 | 11.8663 | 11.8663 | 0
161467.938 | 10.224 | 11.9183 | 11.9183 | 0
164488.472 | 10.3741 | 11.9698 | 11.9698 | 0
167565.51 | 10.5244 | 12.021 | 12.021 | 0
170700.109 | 10.6737 | 12.0725 | 12.0725 | 0
173893.346 | 10.8224 | 12.1224 | 12.1224 | 0
177146.318 | 10.9708 | 12.1721 | 12.1721 | 0
180460.142 | 11.1196 | 12.2223 | 12.2223 | 0
183835.957 | 11.2676 | 12.2717 | 12.2717 | 0
187274.923 | 11.4156 | 12.3203 | 12.3203 | 0
190778.22 | 11.5619 | 12.3691 | 12.3691 | 0
194347.053 | 11.7097 | 12.4183 | 12.4183 | 0
197982.646 | 11.8558 | 12.4666 | 12.4666 | 0
201686.25 | 12.0037 | 12.5135 | 12.5135 | 0
205459.135 | 12.1489 | 12.5623 | 12.5623 | 0
209302.599 | 12.2946 | 12.6109 | 12.6109 | 0
213217.962 | 12.4394 | 12.6595 | 12.6595 | 0
217206.568 | 12.5839 | 12.7088 | 12.7088 | 0
221269.788 | 12.7287 | 12.7585 | 12.7585 | 0
225409.017 | 12.8724 | 12.8073 | 12.8073 | 0
229625.678 | 13.0166 | 12.8568 | 12.8568 | 0
233921.218 | 13.1597 | 12.9082 | 12.9082 | 0
238297.114 | 13.3027 | 12.9587 | 12.9587 | 0
242754.869 | 13.4458 | 13.0082 | 13.0082 | 0
247296.013 | 13.5887 | 13.0599 | 13.0599 | 0
251922.107 | 13.7301 | 13.1125 | 13.1125 | 0
256634.741 | 13.8726 | 13.1659 | 13.1659 | 0
261435.532 | 14.0151 | 13.2195 | 13.2195 | 0
266326.13 | 14.1571 | 13.2733 | 13.2733 | 0
271308.215 | 14.2978 | 13.3294 | 13.3294 | 0
276383.499 | 14.4399 | 13.3852 | 13.3852 | 0
281553.724 | 14.58 | 13.4439 | 13.4439 | 0
286820.667 | 14.7224 | 13.5009 | 13.5009 | 0
292186.138 | 14.8649 | 13.5592 | 13.5592 | 0
297651.978 | 15.0066 | 13.6202 | 13.6202 | 0
303220.067 | 15.1481 | 13.6813 | 13.6813 | 0
308892.316 | 15.2909 | 13.7425 | 13.7425 | 0
314670.675 | 15.4341 | 13.8056 | 13.8056 | 0
320557.127 | 15.5759 | 13.8708 | 13.8708 | 0
326553.695 | 15.7196 | 13.9338 | 13.9338 | 0
332662.44 | 15.8636 | 14.0006 | 14.0006 | 0
338885.459 | 16.0068 | 14.0688 | 14.0688 | 0
345224.89 | 16.1513 | 14.1373 | 14.1373 | 0
351682.912 | 16.2956 | 14.2076 | 14.2076 | 0
358261.741 | 16.4422 | 14.2786 | 14.2786 | 0
364963.639 | 16.5881 | 14.3499 | 14.3499 | 0
371790.907 | 16.7346 | 14.4227 | 14.4227 | 0
378745.891 | 16.8812 | 14.4978 | 14.4978 | 0
385830.98 | 17.0307 | 14.5717 | 14.5717 | 0
393048.607 | 17.1789 | 14.649 | 14.649 | 0
400401.253 | 17.3278 | 14.7276 | 14.7276 | 0
407891.442 | 17.4782 | 14.8071 | 14.8071 | 0
415521.748 | 17.6274 | 14.8868 | 14.8868 | 0
423294.792 | 17.7802 | 14.9686 | 14.9686 | 0
431213.244 | 17.9324 | 15.0515 | 15.0515 | 0
439279.824 | 18.0852 | 15.1368 | 15.1368 | 0
447497.303 | 18.2393 | 15.2228 | 15.2228 | 0
455868.505 | 18.3953 | 15.3101 | 15.3101 | 0
464396.304 | 18.5503 | 15.3979 | 15.3979 | 0
473083.63 | 18.7094 | 15.4863 | 15.4863 | 0
481933.467 | 18.867 | 15.5781 | 15.5781 | 0
490948.855 | 19.0275 | 15.6685 | 15.6685 | 0
500132.892 | 19.1884 | 15.7624 | 15.7624 | 0
509488.732 | 19.3515 | 15.8589 | 15.8589 | 0
519019.589 | 19.5171 | 15.9528 | 15.9528 | 0
528728.737 | 19.6816 | 16.0514 | 16.0514 | 0
538619.511 | 19.8496 | 16.1489 | 16.1489 | 0
548695.309 | 20.0188 | 16.2484 | 16.2484 | 0
558959.592 | 20.19 | 16.3485 | 16.3485 | 0
569415.885 | 20.3622 | 16.4496 | 16.4496 | 0
580067.782 | 20.5371 | 16.5518 | 16.5518 | 0
590918.941 | 20.7131 | 16.6537 | 16.6537 | 0
601973.089 | 20.8912 | 16.7567 | 16.7567 | 0
613234.023 | 21.0687 | 16.861 | 16.861 | 0
624705.613 | 21.2504 | 16.9648 | 16.9648 | 0
636391.799 | 21.4327 | 17.071 | 17.071 | 0
648296.594 | 21.6161 | 17.1749 | 17.1749 | 0
660424.089 | 21.7996 | 17.2843 | 17.2843 | 0
672778.45 | 21.9868 | 17.3908 | 17.3908 | 0
685363.919 | 22.175 | 17.4995 | 17.4995 | 0
698184.822 | 22.3627 | 17.6098 | 17.6098 | 0
711245.562 | 22.5537 | 17.7187 | 17.7187 | 0
724550.625 | 22.7464 | 17.8278 | 17.8278 | 0
738104.581 | 22.9393 | 17.9395 | 17.9395 | 0
751912.088 | 23.1363 | 18.0528 | 18.0528 | 0
765977.888 | 23.3325 | 18.1687 | 18.1687 | 0
780306.813 | 23.5338 | 18.2827 | 18.2827 | 0
794903.784 | 23.735 | 18.3991 | 18.3991 | 0
809773.817 | 23.9394 | 18.5177 | 18.5177 | 0
824922.019 | 24.1478 | 18.634 | 18.634 | 0
840353.595 | 24.3577 | 18.7518 | 18.7518 | 0
856073.844 | 24.5692 | 18.8711 | 18.8711 | 0
872088.167 | 24.7809 | 18.9895 | 18.9895 | 0
888402.066 | 24.997 | 19.1078 | 19.1078 | 0
905021.144 | 25.2143 | 19.2259 | 19.2259 | 0
921951.11 | 25.4344 | 19.3452 | 19.3452 | 0
939197.78 | 25.6541 | 19.4624 | 19.4624 | 0
956767.078 | 25.8764 | 19.5806 | 19.5806 | 0
974665.041 | 26.0994 | 19.6991 | 19.6991 | 0
992897.815 | 26.326 | 19.8147 | 19.8147 | 0
1011471.664 | 26.5529 | 19.9337 | 19.9337 | 0
1030392.969 | 26.7807 | 20.0516 | 20.0516 | 0
1049668.229 | 27.01 | 20.1687 | 20.1687 | 0
1069304.066 | 27.2394 | 20.2895 | 20.2895 | 0
1089307.225 | 27.4706 | 20.4116 | 20.4116 | 0
1109684.577 | 27.7111 | 20.5325 | 20.5325 | 0
1130443.122 | 27.9482 | 20.6553 | 20.6553 | 0
1151589.992 | 28.187 | 20.7797 | 20.7797 | 0
1173132.449 | 28.4292 | 20.9037 | 20.9037 | 0
1195077.895 | 28.6707 | 21.028 | 21.028 | 0
1217433.868 | 28.918 | 21.1513 | 21.1513 | 0
1240208.048 | 29.1657 | 21.2766 | 21.2766 | 0
1263408.258 | 29.417 | 21.3994 | 21.3994 | 0
1287042.467 | 29.6702 | 21.5233 | 21.5233 | 0
1311118.794 | 29.9255 | 21.6447 | 21.6447 | 0
1335645.511 | 30.1825 | 21.7664 | 21.7664 | 0
1360631.041 | 30.4417 | 21.8882 | 21.8882 | 0
1386083.968 | 30.7036 | 22.0079 | 22.0079 | 0
1412013.036 | 30.9657 | 22.1284 | 22.1284 | 0
1438427.152 | 31.2267 | 22.247 | 22.247 | 0
1465335.388 | 31.4914 | 22.3691 | 22.3691 | 0
1492746.989 | 31.7553 | 22.4894 | 22.4894 | 0
1520671.371 | 32.0209 | 22.6115 | 22.6115 | 0
1549118.126 | 32.2887 | 22.7338 | 22.7338 | 0
1578097.027 | 32.558 | 22.8588 | 22.8588 | 0
1607618.027 | 32.8306 | 22.9813 | 22.9813 | 0
1637691.267 | 33.105 | 23.1085 | 23.1085 | 0
1668327.08 | 33.381 | 23.2335 | 23.2335 | 0
1699535.987 | 33.6609 | 23.3603 | 23.3603 | 0
1731328.71 | 33.9446 | 23.4844 | 23.4844 | 0
1763716.171 | 34.2306 | 23.6094 | 23.6094 | 0
1796709.494 | 34.518 | 23.733 | 23.733 | 0
1830320.013 | 34.8096 | 23.8532 | 23.8532 | 0
1864559.275 | 35.1013 | 23.9748 | 23.9748 | 0
1899439.041 | 35.3939 | 24.0943 | 24.0943 | 0
1934971.292 | 35.6897 | 24.216 | 24.216 | 0
1971168.235 | 35.9847 | 24.3347 | 24.3347 | 0
2008042.303 | 36.2813 | 24.4536 | 24.4536 | 0
2045606.164 | 36.5773 | 24.5731 | 24.5731 | 0
2083872.721 | 36.8755 | 24.6968 | 24.6968 | 0
2122855.119 | 37.1759 | 24.819 | 24.819 | 0
2162566.75 | 37.479 | 24.9429 | 24.9429 | 0
2203021.254 | 37.7856 | 25.0661 | 25.0661 | 0
2244232.529 | 38.0952 | 25.1891 | 25.1891 | 0
2286214.732 | 38.4082 | 25.3117 | 25.3117 | 0
2328982.283 | 38.7263 | 25.4339 | 25.4339 | 0
2372549.874 | 39.0441 | 25.5552 | 25.5552 | 0
2416932.472 | 39.3641 | 25.6757 | 25.6757 | 0
2462145.321 | 39.6861 | 25.7948 | 25.7948 | 0
2508203.954 | 40.0089 | 25.9117 | 25.9117 | 0
2555124.193 | 40.3338 | 26.0293 | 26.0293 | 0
2602922.155 | 40.6624 | 26.1451 | 26.1451 | 0
2651614.259 | 40.9889 | 26.2619 | 26.2619 | 0
2701217.233 | 41.3192 | 26.3788 | 26.3788 | 0
2751748.114 | 41.6495 | 26.4957 | 26.4957 | 0
2803224.263 | 41.9836 | 26.6133 | 26.6133 | 0
2855663.36 | 42.3199 | 26.7304 | 26.7304 | 0
2909083.42 | 42.6596 | 26.8477 | 26.8477 | 0
2963502.794 | 43.0023 | 26.9661 | 26.9661 | 0
3018940.175 | 43.3491 | 27.0825 | 27.0825 | 0
3075414.607 | 43.6991 | 27.1979 | 27.1979 | 0
3132945.49 | 44.0499 | 27.3108 | 27.3108 | 0
3191552.586 | 44.403 | 27.4226 | 27.4226 | 0
3251256.028 | 44.7574 | 27.5326 | 27.5326 | 0
3312076.324 | 45.1136 | 27.6416 | 27.6416 | 0
3374034.369 | 45.47 | 27.7505 | 27.7505 | 0
3437151.444 | 45.8305 | 27.8602 | 27.8602 | 0
3501449.232 | 46.1921 | 27.9699 | 27.9699 | 0
3566949.82 | 46.5554 | 28.0786 | 28.0786 | 0
3633675.708 | 46.9228 | 28.186 | 28.186 | 0
3701649.818 | 47.2933 | 28.2956 | 28.2956 | 0
3770895.5 | 47.6684 | 28.4014 | 28.4014 | 0
3841436.541 | 48.0448 | 28.508 | 28.508 | 0
3913297.172 | 48.425 | 28.6098 | 28.6098 | 0
3986502.079 | 48.8076 | 28.7111 | 28.7111 | 0
4061076.409 | 49.1884 | 28.8137 | 28.8137 | 0
4137045.779 | 49.5737 | 28.9111 | 28.9111 | 0
4214436.286 | 49.9594 | 29.0093 | 29.0093 | 0
4293274.514 | 50.3489 | 29.1069 | 29.1069 | 0
4373587.546 | 50.7426 | 29.2041 | 29.2041 | 0
4455402.971 | 51.1358 | 29.3011 | 29.3011 | 0
4538748.893 | 51.5356 | 29.3947 | 29.3947 | 0
4623653.943 | 51.9373 | 29.4886 | 29.4886 | 0
4710147.286 | 52.3424 | 29.5801 | 29.5801 | 0
4798258.636 | 52.7488 | 29.6694 | 29.6694 | 0
4888018.258 | 53.1572 | 29.7555 | 29.7555 | 0
4979456.988 | 53.5691 | 29.8409 | 29.8409 | 0
5072606.235 | 53.9741 | 29.916 | 29.916 | 0
5167497.998 | 54.3892 | 30.0011 | 30.0011 | 0
5264164.874 | 54.8068 | 30.0812 | 30.0812 | 0
5362640.068 | 55.2273 | 30.1626 | 30.1626 | 0
5462957.409 | 55.6524 | 30.239 | 30.239 | 0
5565151.358 | 56.0798 | 30.3174 | 30.3174 | 0
5669257.019 | 56.5092 | 30.3896 | 30.3896 | 0
5775310.154 | 56.9413 | 30.4618 | 30.4618 | 0
5883347.193 | 57.3761 | 30.5308 | 30.5308 | 0
5993405.251 | 57.8146 | 30.5957 | 30.5957 | 0
6105522.132 | 58.2549 | 30.6596 | 30.6596 | 0
6219736.351 | 58.6963 | 30.7211 | 30.7211 | 0
6336087.142 | 59.1406 | 30.7785 | 30.7785 | 0
6454614.473 | 59.5879 | 30.8384 | 30.8384 | 0
6575359.061 | 60.0406 | 30.8924 | 30.8924 | 0
6698362.382 | 60.4938 | 30.9438 | 30.9438 | 0
6823666.69 | 60.9498 | 30.9902 | 30.9902 | 0
6951315.03 | 61.4094 | 31.0374 | 31.0374 | 0
7081351.249 | 61.8708 | 31.0802 | 31.0802 | 0
7213820.018 | 62.3362 | 31.1207 | 31.1207 | 0
7348766.842 | 62.8032 | 31.1606 | 31.1606 | 0
7486238.077 | 63.2726 | 31.1959 | 31.1959 | 0
7626280.946 | 63.7449 | 31.2287 | 31.2287 | 0
7768943.556 | 64.2208 | 31.2541 | 31.2541 | 0
7914274.913 | 64.6975 | 31.281 | 31.281 | 0
8062324.942 | 65.1765 | 31.2977 | 31.2977 | 0
8213144.5 | 65.6612 | 31.3175 | 31.3175 | 0
8366785.394 | 66.1456 | 31.3314 | 31.3314 | 0
8523300.405 | 66.6356 | 31.3432 | 31.3432 | 0
8682743.296 | 67.1262 | 31.3518 | 31.3518 | 0
8845168.838 | 67.6219 | 31.3566 | 31.3566 | 0
9010632.828 | 68.1174 | 31.3553 | 31.3553 | 0
9179192.104 | 68.617 | 31.3517 | 31.3517 | 0
9350904.569 | 69.1184 | 31.3439 | 31.3439 | 0
9525829.209 | 69.6228 | 31.3317 | 31.3317 | 0
9704026.113 | 70.1325 | 31.3161 | 31.3161 | 0
9885556.495 | 70.6408 | 31.2936 | 31.2936 | 0
10070482.713 | 71.1553 | 31.2683 | 31.2683 | 0
10258868.291 | 71.6712 | 31.237 | 31.237 | 0
10450777.943 | 72.191 | 31.2021 | 31.2021 | 0
10646277.594 | 72.7112 | 31.1619 | 31.1619 | 0
10845434.398 | 73.2361 | 31.1164 | 31.1164 | 0
11048316.772 | 73.7637 | 31.0644 | 31.0644 | 0
11254994.406 | 74.2929 | 31.0101 | 31.0101 | 0
11465538.299 | 74.8237 | 30.9466 | 30.9466 | 0
11680020.774 | 75.3587 | 30.8799 | 30.8799 | 0
11898515.511 | 75.8966 | 30.8073 | 30.8073 | 0
12121097.565 | 76.4356 | 30.7267 | 30.7267 | 0
12347843.396 | 76.9754 | 30.6445 | 30.6445 | 0
12578830.895 | 77.5216 | 30.5532 | 30.5532 | 0
12814139.41 | 78.067 | 30.4562 | 30.4562 | 0
13053849.773 | 78.6163 | 30.3531 | 30.3531 | 0
13298044.327 | 79.1655 | 30.2407 | 30.2407 | 0
13546806.958 | 79.7195 | 30.1249 | 30.1249 | 0
13800223.119 | 80.2751 | 30.0001 | 30.0001 | 0
14058379.861 | 80.8325 | 29.8698 | 29.8698 | 0
14321365.866 | 81.3922 | 29.7325 | 29.7325 | 0
14589271.474 | 81.9548 | 29.584 | 29.584 | 0
14862188.714 | 82.5184 | 29.4275 | 29.4275 | 0
15140211.336 | 83.0823 | 29.2657 | 29.2657 | 0
15423434.847 | 83.649 | 29.0955 | 29.0955 | 0
15711956.537 | 84.2186 | 28.9163 | 28.9163 | 0
16005875.519 | 84.7892 | 28.7311 | 28.7311 | 0
16305292.756 | 85.361 | 28.5358 | 28.5358 | 0
16610311.105 | 85.9356 | 28.3313 | 28.3313 | 0
16921035.342 | 86.5116 | 28.1161 | 28.1161 | 0
17237572.207 | 87.0887 | 27.8916 | 27.8916 | 0
17560030.435 | 87.6655 | 27.6603 | 27.6603 | 0
17888520.795 | 88.2428 | 27.4203 | 27.4203 | 0
18223156.128 | 88.8227 | 27.1673 | 27.1673 | 0
18564051.386 | 89.4023 | 26.9061 | 26.9061 | 0
18911323.673 | 89.9864 | 26.63 | 26.63 | 0
19265092.28 | 90.5663 | 26.347 | 26.347 | 0
19625478.734 | 91.1485 | 26.0514 | 26.0514 | 0
19992606.831 | 91.7298 | 25.7438 | 25.7438 | 0
20366602.687 | 92.309 | 25.4283 | 25.4283 | 0
20747594.774 | 92.8902 | 25.0994 | 25.0994 | 0
21135713.969 | 93.4707 | 24.7559 | 24.7559 | 0
21531093.596 | 94.0511 | 24.4051 | 24.4051 | 0
21933869.474 | 94.6281 | 24.038 | 24.038 | 0
22344179.963 | 95.2081 | 23.6607 | 23.6607 | 0
22762166.01 | 95.7849 | 23.2691 | 23.2691 | 0
23187971.201 | 96.358 | 22.8656 | 22.8656 | 0
23621741.804 | 96.9319 | 22.4481 | 22.4481 | 0
24063626.828 | 97.4999 | 22.015 | 22.015 | 0
24513778.065 | 98.0678 | 21.5695 | 21.5695 | 0
24972350.151 | 98.6312 | 21.1093 | 21.1093 | 0
25439500.61 | 99.1921 | 20.6354 | 20.6354 | 0
25915389.916 | 99.7477 | 20.146 | 20.146 | 0
26400181.545 | 100.3017 | 19.6426 | 19.6426 | 0
26894042.029 | 100.8506 | 19.1215 | 19.1215 | 0
27397141.017 | 101.3932 | 18.5891 | 18.5891 | 0
27909651.331 | 101.9302 | 18.0369 | 18.0369 | 0
28431749.025 | 102.4627 | 17.4702 | 17.4702 | 0
28963613.449 | 102.9878 | 16.8875 | 16.8875 | 0
29505427.305 | 103.508 | 16.2918 | 16.2918 | 0
30057376.714 | 104.0204 | 15.676 | 15.676 | 0
30619651.28 | 104.5235 | 15.0437 | 15.0437 | 0
31192444.152 | 105.019 | 14.3957 | 14.3957 | 0
31775952.093 | 105.5079 | 13.7291 | 13.7291 | 0
32370375.546 | 105.9847 | 13.0503 | 13.0503 | 0
32975918.706 | 106.4529 | 12.3521 | 12.3521 | 0
33592789.584 | 106.911 | 11.6348 | 11.6348 | 0
34221200.085 | 107.3582 | 10.8977 | 10.8977 | 0
34861366.079 | 107.7871 | 10.1497 | 10.1497 | 0
35513507.47 | 108.2115 | 9.3791 | 9.3791 | 0
36177848.28 | 108.618 | 8.5908 | 8.5908 | 0
36854616.72 | 109.0147 | 7.7895 | 7.7895 | 0
37544045.269 | 109.3926 | 6.9678 | 6.9678 | 0
38246370.756 | 109.7571 | 6.1272 | 6.1272 | 0
38961834.441 | 110.1031 | 5.2716 | 5.2716 | 0
39690682.097 | 110.4318 | 4.399 | 4.399 | 0
40433164.092 | 110.7441 | 3.5091 | 3.5091 | 0
41189535.482 | 111.0383 | 2.603 | 2.603 | 0
41960056.09 | 111.3095 | 1.6813 | 1.6813 | 0
42744990.601 | 111.5647 | 0.74108 | 0.74108 | 0
43544608.654 | 111.799 | -0.21545 | -0.21545 | 0
44359184.928 | 112.0068 | -1.1873 | -1.1873 | 0
45188999.242 | 112.1966 | -2.1701 | -2.1701 | 0
46034336.65 | 112.3602 | -3.1704 | -3.1704 | 0
46895487.538 | 112.5019 | -4.1867 | -4.1867 | 0
47772747.725 | 112.6179 | -5.2156 | -5.2156 | 0
48666418.561 | 112.7068 | -6.2539 | -6.2539 | 0
49576807.036 | 112.7706 | -7.3063 | -7.3063 | 0
50504225.883 | 112.807 | -8.375 | -8.375 | 0
51448993.684 | 112.8143 | -9.4518 | -9.4518 | 0
52411434.979 | 112.7905 | -10.5373 | -10.5373 | 0
53391880.383 | 112.7375 | -11.6341 | -11.6341 | 0
54390666.692 | 112.6611 | -12.7387 | -12.7387 | 0
55408137.005 | 112.5469 | -13.8518 | -13.8518 | 0
56444640.838 | 112.4015 | -14.9692 | -14.9692 | 0
57500534.246 | 112.2254 | -16.0942 | -16.0942 | 0
58576179.943 | 112.016 | -17.2232 | -17.2232 | 0
59671947.43 | 111.7716 | -18.3564 | -18.3564 | 0
60788213.119 | 111.4976 | -19.4898 | -19.4898 | 0
61925360.465 | 111.1853 | -20.6286 | -20.6286 | 0
63083780.093 | 110.8437 | -21.7653 | -21.7653 | 0
64263869.939 | 110.464 | -22.8986 | -22.8986 | 0
65466035.381 | 110.0483 | -24.033 | -24.033 | 0
66690689.381 | 109.5988 | -25.1608 | -25.1608 | 0
67938252.626 | 109.1144 | -26.2853 | -26.2853 | 0
69209153.672 | 108.5922 | -27.4009 | -27.4009 | 0
70503829.092 | 108.0378 | -28.5096 | -28.5096 | 0
71822723.627 | 107.4415 | -29.61 | -29.61 | 0
73166290.337 | 106.8197 | -30.7007 | -30.7007 | 0
74534990.757 | 106.1614 | -31.7763 | -31.7763 | 0
75929295.056 | 105.462 | -32.8408 | -32.8408 | 0
77349682.198 | 104.7345 | -33.8923 | -33.8923 | 0
78796640.108 | 103.9701 | -34.9289 | -34.9289 | 0
80270665.836 | 103.1693 | -35.9427 | -35.9427 | 0
81772265.733 | 102.3418 | -36.9438 | -36.9438 | 0
83301955.621 | 101.4788 | -37.9256 | -37.9256 | 0
84860260.97 | 100.5879 | -38.885 | -38.885 | 0
86447717.083 | 99.6622 | -39.8243 | -39.8243 | 0
88064869.273 | 98.7022 | -40.7383 | -40.7383 | 0
89712273.057 | 97.7194 | -41.6292 | -41.6292 | 0
91390494.342 | 96.7091 | -42.4963 | -42.4963 | 0
93100109.623 | 95.669 | -43.3362 | -43.3362 | 0
94841706.177 | 94.6007 | -44.1501 | -44.1501 | 0
96615882.27 | 93.5122 | -44.9372 | -44.9372 | 0
98423247.356 | 92.3912 | -45.6942 | -45.6942 | 0
100264422.293 | 91.2492 | -46.4237 | -46.4237 | 0
102140039.551 | 90.0894 | -47.1207 | -47.1207 | 0
104050743.434 | 88.9058 | -47.7874 | -47.7874 | 0
105997190.296 | 87.702 | -48.4252 | -48.4252 | 0
107980048.771 | 86.4762 | -49.0267 | -49.0267 | 0
110000000 | 85.238 | -49.5967 | -49.5967 | 0