## 03-Feb-16 16h 7m 48s
4294A REV1.11
DATE: Feb 3 2016
MEASURE PARAMETER: IMPEDANCE RESISTANCE - REACTANCE
ADAPTER: PROBE
SWEEP TYPE: LOG FREQ
NUMBER of POINTS: 801
POINT DELAY TIME: 0 Sec
SWEEP DELAY TIME: 0 Sec
OSC LEVEL: 500 mVolt
DC BIAS: OFF
BW: 3
SWEEP AVERAGING: OFF
POINT AVERAGING: OFF
TRACE: A
FORMAT: LINEAR
Frequency | Data Real | Data Imag | Data Trace Real | Data Trace Imag
9000 | 346.3777 | -20944.08 | 346.3777 | 0
9097.528 | 337.9596 | -20723.8 | 337.9596 | 0
9196.114 | 335.0851 | -20500.54 | 335.0851 | 0
9295.767 | 332.2743 | -20274.66 | 332.2743 | 0
9396.501 | 326.3934 | -20066.06 | 326.3934 | 0
9498.326 | 320.9585 | -19858.19 | 320.9585 | 0
9601.254 | 311.9443 | -19644.2 | 311.9443 | 0
9705.298 | 315.698 | -19440.13 | 315.698 | 0
9810.469 | 309.9643 | -19226.82 | 309.9643 | 0
9916.78 | 306.1476 | -19026.43 | 306.1476 | 0
10024.243 | 299.1962 | -18822.6 | 299.1962 | 0
10132.871 | 296.2471 | -18620.8 | 296.2471 | 0
10242.676 | 292.3259 | -18420.96 | 292.3259 | 0
10353.67 | 291.0994 | -18227.08 | 291.0994 | 0
10465.868 | 284.9877 | -18034.43 | 284.9877 | 0
10579.281 | 277.9861 | -17840.75 | 277.9861 | 0
10693.923 | 278.7387 | -17648.5 | 278.7387 | 0
10809.808 | 277.5507 | -17466.12 | 277.5507 | 0
10926.948 | 273.6508 | -17280.25 | 273.6508 | 0
11045.358 | 268.3091 | -17092.56 | 268.3091 | 0
11165.051 | 272.3781 | -16910.55 | 272.3781 | 0
11286.041 | 262.3536 | -16740.56 | 262.3536 | 0
11408.342 | 262.7817 | -16554.17 | 262.7817 | 0
11531.968 | 255.825 | -16379.52 | 255.825 | 0
11656.934 | 256.5076 | -16203.85 | 256.5076 | 0
11783.254 | 248.0985 | -16030.66 | 248.0985 | 0
11910.943 | 248.002 | -15860.04 | 248.002 | 0
12040.016 | 246.4232 | -15689.56 | 246.4232 | 0
12170.487 | 244.3571 | -15524.34 | 244.3571 | 0
12302.373 | 237.7846 | -15359.34 | 237.7846 | 0
12435.687 | 234.0938 | -15197.87 | 234.0938 | 0
12570.446 | 231.8634 | -15036.12 | 231.8634 | 0
12706.666 | 229.1373 | -14876.69 | 229.1373 | 0
12844.361 | 227.3834 | -14721.31 | 227.3834 | 0
12983.549 | 224.4955 | -14563.64 | 224.4955 | 0
13124.245 | 220.4622 | -14408.54 | 220.4622 | 0
13266.466 | 220.0633 | -14252.5 | 220.0633 | 0
13410.228 | 215.4581 | -14100.14 | 215.4581 | 0
13555.548 | 213.3556 | -13954.87 | 213.3556 | 0
13702.442 | 209.0442 | -13803.84 | 209.0442 | 0
13850.928 | 210.183 | -13656.05 | 210.183 | 0
14001.024 | 208.0879 | -13507.68 | 208.0879 | 0
14152.746 | 201.3754 | -13365.66 | 201.3754 | 0
14306.112 | 200.7219 | -13223.88 | 200.7219 | 0
14461.14 | 204.0196 | -13085.41 | 204.0196 | 0
14617.848 | 198.8816 | -12943.52 | 198.8816 | 0
14776.254 | 194.8026 | -12806.88 | 194.8026 | 0
14936.376 | 192.0056 | -12670.55 | 192.0056 | 0
15098.234 | 188.8452 | -12536.13 | 188.8452 | 0
15261.846 | 186.5822 | -12403.12 | 186.5822 | 0
15427.231 | 187.4954 | -12271.96 | 187.4954 | 0
15594.408 | 183.2286 | -12139.79 | 183.2286 | 0
15763.396 | 179.6477 | -12010.51 | 179.6477 | 0
15934.216 | 180.1861 | -11883.14 | 180.1861 | 0
16106.887 | 176.2533 | -11756.1 | 176.2533 | 0
16281.429 | 174.9593 | -11632.9 | 174.9593 | 0
16457.863 | 172.1634 | -11508.66 | 172.1634 | 0
16636.208 | 171.1435 | -11385.98 | 171.1435 | 0
16816.486 | 170.393 | -11265.58 | 170.393 | 0
16998.718 | 167.5506 | -11145.99 | 167.5506 | 0
17182.924 | 166.057 | -11027.04 | 166.057 | 0
17369.127 | 165.0619 | -10908.27 | 165.0619 | 0
17557.347 | 163.1492 | -10790.89 | 163.1492 | 0
17747.607 | 159.1022 | -10678.04 | 159.1022 | 0
17939.929 | 157.7844 | -10564.31 | 157.7844 | 0
18134.334 | 157.2952 | -10449.45 | 157.2952 | 0
18330.847 | 154.5721 | -10338.9 | 154.5721 | 0
18529.489 | 153.6173 | -10224.45 | 153.6173 | 0
18730.283 | 150.9063 | -10124.38 | 150.9063 | 0
18933.254 | 150.2635 | -10013.83 | 150.2635 | 0
19138.424 | 140.7035 | -9919.064 | 140.7035 | 0
19345.817 | 146.9402 | -9787.422 | 146.9402 | 0
19555.458 | 137.8159 | -9697.555 | 137.8159 | 0
19767.37 | 110.9252 | -9545.652 | 110.9252 | 0
19981.579 | 114.3431 | -9474.441 | 114.3431 | 0
20198.109 | 101.8907 | -9361.814 | 101.8907 | 0
20416.986 | 146.346 | -9282.08 | 146.346 | 0
20638.234 | 144.2383 | -9189.424 | 144.2383 | 0
20861.88 | 142.1616 | -9095.107 | 142.1616 | 0
21087.949 | 136.2225 | -8994.943 | 136.2225 | 0
21316.469 | 134.2215 | -8893.74 | 134.2215 | 0
21547.464 | 134.4269 | -8804.557 | 134.4269 | 0
21780.963 | 129.5451 | -8712.404 | 129.5451 | 0
22016.992 | 131.5492 | -8617.555 | 131.5492 | 0
22255.579 | 125.4555 | -8529.391 | 125.4555 | 0
22496.751 | 125.9275 | -8435.564 | 125.9275 | 0
22740.537 | 122.9452 | -8346.52 | 122.9452 | 0
22986.964 | 122.4857 | -8255.797 | 122.4857 | 0
23236.062 | 124.8415 | -8168.422 | 124.8415 | 0
23487.86 | 120.1512 | -8082.009 | 120.1512 | 0
23742.386 | 119.6397 | -7997.304 | 119.6397 | 0
23999.67 | 117.2859 | -7910.019 | 117.2859 | 0
24259.742 | 118.6764 | -7826.759 | 118.6764 | 0
24522.632 | 116.9491 | -7742.705 | 116.9491 | 0
24788.371 | 113.2434 | -7661.661 | 113.2434 | 0
25056.99 | 113.6621 | -7578.068 | 113.6621 | 0
25328.52 | 113.1986 | -7498.506 | 113.1986 | 0
25602.992 | 110.483 | -7417.494 | 110.483 | 0
25880.438 | 109.1933 | -7337.341 | 109.1933 | 0
26160.891 | 107.7553 | -7260.487 | 107.7553 | 0
26444.383 | 107.7558 | -7182.144 | 107.7558 | 0
26730.948 | 105.4546 | -7107.426 | 105.4546 | 0
27020.617 | 106.4273 | -7030.953 | 106.4273 | 0
27313.426 | 102.7801 | -6957.491 | 102.7801 | 0
27609.407 | 104.7683 | -6883.241 | 104.7683 | 0
27908.596 | 103.1689 | -6807.931 | 103.1689 | 0
28211.027 | 100.4953 | -6735.958 | 100.4953 | 0
28516.736 | 100.1 | -6663.702 | 100.1 | 0
28825.757 | 99.3624 | -6593.279 | 99.3624 | 0
29138.127 | 97.0587 | -6524.01 | 97.0587 | 0
29453.882 | 94.807 | -6453.015 | 94.807 | 0
29773.058 | 94.9498 | -6384.514 | 94.9498 | 0
30095.694 | 94.2465 | -6316.5 | 94.2465 | 0
30421.825 | 93.3432 | -6249.463 | 93.3432 | 0
30751.491 | 92.9495 | -6182.114 | 92.9495 | 0
31084.729 | 92.488 | -6116.298 | 92.488 | 0
31421.578 | 90.2115 | -6050.371 | 90.2115 | 0
31762.078 | 91.3617 | -5985.599 | 91.3617 | 0
32106.267 | 88.5536 | -5922.164 | 88.5536 | 0
32454.186 | 87.1967 | -5859.888 | 87.1967 | 0
32805.876 | 88.1499 | -5797.125 | 88.1499 | 0
33161.376 | 89.0552 | -5734.588 | 89.0552 | 0
33520.729 | 86.0284 | -5672.261 | 86.0284 | 0
33883.976 | 84.4973 | -5612.116 | 84.4973 | 0
34251.159 | 83.6215 | -5552.654 | 83.6215 | 0
34622.321 | 83.7879 | -5493.903 | 83.7879 | 0
34997.505 | 82.8255 | -5434.927 | 82.8255 | 0
35376.755 | 82.7229 | -5376.759 | 82.7229 | 0
35760.115 | 81.2849 | -5319.604 | 81.2849 | 0
36147.629 | 80.7876 | -5262.25 | 80.7876 | 0
36539.342 | 80.7231 | -5206.273 | 80.7231 | 0
36935.301 | 77.8294 | -5151.053 | 77.8294 | 0
37335.549 | 78.6851 | -5097.985 | 78.6851 | 0
37740.136 | 75.7946 | -5043.876 | 75.7946 | 0
38149.106 | 83.8089 | -4985.803 | 83.8089 | 0
38562.508 | 74.5791 | -4932.6 | 74.5791 | 0
38980.39 | 78.3636 | -4882.986 | 78.3636 | 0
39402.801 | 74.7858 | -4829.973 | 74.7858 | 0
39829.789 | 73.245 | -4778.122 | 73.245 | 0
40261.404 | 71.5109 | -4725.826 | 71.5109 | 0
40697.696 | 74.166 | -4676.015 | 74.166 | 0
41138.716 | 72.546 | -4625.194 | 72.546 | 0
41584.515 | 71.665 | -4576.154 | 71.665 | 0
42035.145 | 70.4647 | -4528.408 | 70.4647 | 0
42490.658 | 72.0524 | -4478.831 | 72.0524 | 0
42951.108 | 70.7054 | -4429.651 | 70.7054 | 0
43416.547 | 67.9599 | -4383.88 | 67.9599 | 0
43887.03 | 68.5172 | -4336.837 | 68.5172 | 0
44362.611 | 66.9893 | -4289.915 | 66.9893 | 0
44843.346 | 66.844 | -4244.55 | 66.844 | 0
45329.29 | 67.405 | -4199.259 | 67.405 | 0
45820.5 | 66.7033 | -4154.471 | 66.7033 | 0
46317.033 | 64.4309 | -4109.557 | 64.4309 | 0
46818.947 | 64.0592 | -4065.604 | 64.0592 | 0
47326.3 | 64.276 | -4021.366 | 64.276 | 0
47839.151 | 63.7257 | -3978.799 | 63.7257 | 0
48357.559 | 63.219 | -3935.796 | 63.219 | 0
48881.585 | 63.0584 | -3893.584 | 63.0584 | 0
49411.29 | 61.1068 | -3851.432 | 61.1068 | 0
49946.734 | 61.343 | -3810.939 | 61.343 | 0
50487.982 | 61.0409 | -3769.638 | 61.0409 | 0
51035.094 | 59.5986 | -3729.813 | 59.5986 | 0
51588.135 | 60.444 | -3689.729 | 60.444 | 0
52147.169 | 59.2638 | -3649.317 | 59.2638 | 0
52712.261 | 58.9692 | -3610.893 | 58.9692 | 0
53283.477 | 59.0923 | -3571.45 | 59.0923 | 0
53860.882 | 58.8331 | -3533.528 | 58.8331 | 0
54444.545 | 57.7213 | -3495.738 | 57.7213 | 0
55034.533 | 56.7901 | -3458.139 | 56.7901 | 0
55630.914 | 56.113 | -3421.194 | 56.113 | 0
56233.757 | 56.3125 | -3383.829 | 56.3125 | 0
56843.134 | 56.6879 | -3347.692 | 56.6879 | 0
57459.113 | 55.0039 | -3311.632 | 55.0039 | 0
58081.768 | 54.6302 | -3275.807 | 54.6302 | 0
58711.171 | 54.1504 | -3240.784 | 54.1504 | 0
59347.393 | 54.6098 | -3206.043 | 54.6098 | 0
59990.511 | 53.475 | -3171.979 | 53.475 | 0
60640.597 | 52.4591 | -3136.523 | 52.4591 | 0
61297.728 | 53.4221 | -3103.75 | 53.4221 | 0
61961.98 | 54.0465 | -3069.953 | 54.0465 | 0
62633.43 | 52.9732 | -3037.333 | 52.9732 | 0
63312.156 | 52.1694 | -3004.361 | 52.1694 | 0
63998.238 | 52.0244 | -2971.476 | 52.0244 | 0
64691.754 | 51.512 | -2939.625 | 51.512 | 0
65392.785 | 50.1421 | -2908.642 | 50.1421 | 0
66101.413 | 51.1025 | -2876.854 | 51.1025 | 0
66817.72 | 50.8502 | -2845.727 | 50.8502 | 0
67541.789 | 50.0612 | -2814.993 | 50.0612 | 0
68273.705 | 50.009 | -2784.688 | 50.009 | 0
69013.552 | 49.0407 | -2754.627 | 49.0407 | 0
69761.416 | 48.8964 | -2724.64 | 48.8964 | 0
70517.385 | 48.6431 | -2695.679 | 48.6431 | 0
71281.546 | 48.5018 | -2665.951 | 48.5018 | 0
72053.987 | 48.3215 | -2637.335 | 48.3215 | 0
72834.799 | 49.2176 | -2608.631 | 49.2176 | 0
73624.072 | 48.0609 | -2580.284 | 48.0609 | 0
74421.899 | 47.4143 | -2552.155 | 47.4143 | 0
75228.371 | 47.3404 | -2524.958 | 47.3404 | 0
76043.582 | 47.3306 | -2497.532 | 47.3306 | 0
76867.627 | 46.7542 | -2470.842 | 46.7542 | 0
77700.602 | 46.3552 | -2443.965 | 46.3552 | 0
78542.603 | 45.8843 | -2417.053 | 45.8843 | 0
79393.729 | 45.8557 | -2391.191 | 45.8557 | 0
80254.078 | 45.8595 | -2365.094 | 45.8595 | 0
81123.75 | 45.0044 | -2339.442 | 45.0044 | 0
82002.847 | 44.7993 | -2313.843 | 44.7993 | 0
82891.47 | 44.4403 | -2288.62 | 44.4403 | 0
83789.722 | 44.3097 | -2264.23 | 44.3097 | 0
84697.708 | 43.8698 | -2239.4 | 43.8698 | 0
85615.534 | 43.7052 | -2215.001 | 43.7052 | 0
86543.305 | 43.3304 | -2190.951 | 43.3304 | 0
87481.13 | 43.2769 | -2167.09 | 43.2769 | 0
88429.118 | 42.8781 | -2143.636 | 42.8781 | 0
89387.379 | 42.6365 | -2120.375 | 42.6365 | 0
90356.024 | 42.7094 | -2097.122 | 42.7094 | 0
91335.166 | 42.8209 | -2074.357 | 42.8209 | 0
92324.919 | 42.6864 | -2051.413 | 42.6864 | 0
93325.396 | 42.0703 | -2029.544 | 42.0703 | 0
94336.716 | 41.7722 | -2007.182 | 41.7722 | 0
95358.994 | 41.6039 | -1985.255 | 41.6039 | 0
96392.35 | 42.0247 | -1963.324 | 42.0247 | 0
97436.905 | 41.5559 | -1941.842 | 41.5559 | 0
98492.779 | 41.942 | -1920.531 | 41.942 | 0
99560.094 | 41.3975 | -1899.55 | 41.3975 | 0
100638.976 | 40.9914 | -1878.954 | 40.9914 | 0
101729.549 | 40.7121 | -1858.176 | 40.7121 | 0
102831.939 | 40.6445 | -1837.663 | 40.6445 | 0
103946.276 | 41.0564 | -1817.512 | 41.0564 | 0
105072.689 | 40.47 | -1797.548 | 40.47 | 0
106211.307 | 40.0904 | -1777.5 | 40.0904 | 0
107362.265 | 40.3769 | -1758.419 | 40.3769 | 0
108525.694 | 40.2495 | -1739.014 | 40.2495 | 0
109701.732 | 40.1196 | -1719.542 | 40.1196 | 0
110890.513 | 39.5929 | -1700.856 | 39.5929 | 0
112092.176 | 39.8066 | -1681.955 | 39.8066 | 0
113306.862 | 39.8863 | -1663.48 | 39.8863 | 0
114534.71 | 39.7535 | -1644.825 | 39.7535 | 0
115775.864 | 39.496 | -1627.01 | 39.496 | 0
117030.467 | 38.9679 | -1608.707 | 38.9679 | 0
118298.666 | 39.2944 | -1590.96 | 39.2944 | 0
119580.608 | 39.312 | -1573.513 | 39.312 | 0
120876.442 | 39.3066 | -1556.052 | 39.3066 | 0
122186.318 | 38.6568 | -1538.427 | 38.6568 | 0
123510.388 | 39.3079 | -1521.447 | 39.3079 | 0
124848.807 | 38.9199 | -1504.717 | 38.9199 | 0
126201.729 | 39.3893 | -1487.57 | 39.3893 | 0
127569.312 | 38.6775 | -1471.105 | 38.6775 | 0
128951.715 | 38.6826 | -1454.798 | 38.6826 | 0
130349.099 | 38.617 | -1438.491 | 38.617 | 0
131761.625 | 38.7762 | -1422.391 | 38.7762 | 0
133189.458 | 38.5626 | -1406.494 | 38.5626 | 0
134632.764 | 38.634 | -1390.731 | 38.634 | 0
136091.71 | 38.6314 | -1375.123 | 38.6314 | 0
137566.466 | 38.4705 | -1359.687 | 38.4705 | 0
139057.203 | 38.4656 | -1344.447 | 38.4656 | 0
140564.094 | 38.4654 | -1329.326 | 38.4654 | 0
142087.315 | 38.6012 | -1314.274 | 38.6012 | 0
143627.042 | 38.5958 | -1299.452 | 38.5958 | 0
145183.455 | 38.1277 | -1284.906 | 38.1277 | 0
146756.733 | 38.3717 | -1270.399 | 38.3717 | 0
148347.061 | 38.6337 | -1255.814 | 38.6337 | 0
149954.621 | 38.4007 | -1241.573 | 38.4007 | 0
151579.603 | 38.5986 | -1227.669 | 38.5986 | 0
153222.193 | 38.5047 | -1213.719 | 38.5047 | 0
154882.583 | 38.7515 | -1199.782 | 38.7515 | 0
156560.966 | 38.6677 | -1186.14 | 38.6677 | 0
158257.537 | 38.5968 | -1172.638 | 38.5968 | 0
159972.492 | 38.4451 | -1159.302 | 38.4451 | 0
161706.032 | 38.9771 | -1145.994 | 38.9771 | 0
163458.357 | 38.9067 | -1132.94 | 38.9067 | 0
165229.671 | 39.0117 | -1119.924 | 39.0117 | 0
167020.18 | 38.6651 | -1106.976 | 38.6651 | 0
168830.092 | 38.9318 | -1094.485 | 38.9318 | 0
170659.617 | 38.8991 | -1081.762 | 38.8991 | 0
172508.968 | 39.0893 | -1069.199 | 39.0893 | 0
174378.359 | 39.2357 | -1056.922 | 39.2357 | 0
176268.007 | 39.3521 | -1044.663 | 39.3521 | 0
178178.133 | 39.5193 | -1032.434 | 39.5193 | 0
180108.958 | 39.602 | -1020.549 | 39.602 | 0
182060.706 | 39.5852 | -1008.576 | 39.5852 | 0
184033.605 | 39.7754 | -996.8182 | 39.7754 | 0
186027.882 | 39.9444 | -985.1826 | 39.9444 | 0
188043.771 | 40.0587 | -973.5964 | 40.0587 | 0
190081.504 | 40.1016 | -962.1416 | 40.1016 | 0
192141.32 | 40.2203 | -950.949 | 40.2203 | 0
194223.457 | 40.4905 | -939.7313 | 40.4905 | 0
196328.157 | 40.5572 | -928.5951 | 40.5572 | 0
198455.664 | 40.6153 | -917.6696 | 40.6153 | 0
200606.226 | 41.0002 | -906.6451 | 41.0002 | 0
202780.093 | 41.0647 | -896.007 | 41.0647 | 0
204977.516 | 41.2699 | -885.314 | 41.2699 | 0
207198.752 | 41.3726 | -874.686 | 41.3726 | 0
209444.059 | 41.4521 | -864.2909 | 41.4521 | 0
211713.696 | 41.8542 | -853.7766 | 41.8542 | 0
214007.929 | 42.0542 | -843.6516 | 42.0542 | 0
216327.023 | 42.2493 | -833.6368 | 42.2493 | 0
218671.247 | 42.5399 | -823.5332 | 42.5399 | 0
221040.875 | 42.6255 | -813.4904 | 42.6255 | 0
223436.182 | 42.9386 | -803.5499 | 42.9386 | 0
225857.445 | 43.0507 | -793.8223 | 43.0507 | 0
228304.946 | 43.3637 | -784.0804 | 43.3637 | 0
230778.969 | 43.7036 | -774.4542 | 43.7036 | 0
233279.802 | 44.0551 | -764.998 | 44.0551 | 0
235807.736 | 44.2435 | -755.6272 | 44.2435 | 0
238363.063 | 44.4889 | -746.2975 | 44.4889 | 0
240946.081 | 44.808 | -736.981 | 44.808 | 0
243557.09 | 45.1354 | -727.8263 | 45.1354 | 0
246196.393 | 45.3275 | -718.7788 | 45.3275 | 0
248864.297 | 45.6129 | -709.7926 | 45.6129 | 0
251561.111 | 45.9782 | -700.8375 | 45.9782 | 0
254287.15 | 46.4238 | -691.9979 | 46.4238 | 0
257042.729 | 46.7293 | -683.2727 | 46.7293 | 0
259828.169 | 47.0332 | -674.6459 | 47.0332 | 0
262643.793 | 47.4399 | -666.0447 | 47.4399 | 0
265489.929 | 47.9317 | -657.5403 | 47.9317 | 0
268366.907 | 48.082 | -649.0935 | 48.082 | 0
271275.061 | 48.6514 | -640.7646 | 48.6514 | 0
274214.729 | 49.0906 | -632.5342 | 49.0906 | 0
277186.254 | 49.4253 | -624.2804 | 49.4253 | 0
280189.979 | 49.7941 | -616.1105 | 49.7941 | 0
283226.253 | 50.3083 | -608.0188 | 50.3083 | 0
286295.431 | 50.7381 | -600.1025 | 50.7381 | 0
289397.867 | 51.3114 | -592.1558 | 51.3114 | 0
292533.923 | 51.6747 | -584.3361 | 51.6747 | 0
295703.963 | 52.0667 | -576.5906 | 52.0667 | 0
298908.355 | 52.6054 | -568.8248 | 52.6054 | 0
302147.471 | 53.2126 | -561.2115 | 53.2126 | 0
305421.688 | 53.6388 | -553.5991 | 53.6388 | 0
308731.386 | 54.142 | -546.057 | 54.142 | 0
312076.949 | 54.7946 | -538.6819 | 54.7946 | 0
315458.767 | 55.2745 | -531.2791 | 55.2745 | 0
318877.231 | 55.9677 | -523.9353 | 55.9677 | 0
322332.74 | 56.4516 | -516.6503 | 56.4516 | 0
325825.694 | 57.2216 | -509.4186 | 57.2216 | 0
329356.5 | 57.9208 | -502.2783 | 57.9208 | 0
332925.567 | 58.4457 | -495.1863 | 58.4457 | 0
336533.31 | 59.1837 | -488.2181 | 59.1837 | 0
340180.149 | 59.8521 | -481.2742 | 59.8521 | 0
343866.506 | 60.5886 | -474.3348 | 60.5886 | 0
347592.811 | 61.2207 | -467.4675 | 61.2207 | 0
351359.495 | 62.0179 | -460.678 | 62.0179 | 0
355166.998 | 62.7517 | -453.939 | 62.7517 | 0
359015.76 | 63.5271 | -447.245 | 63.5271 | 0
362906.229 | 64.3632 | -440.5637 | 64.3632 | 0
366838.858 | 65.1967 | -433.9899 | 65.1967 | 0
370814.102 | 66.0074 | -427.5118 | 66.0074 | 0
374832.424 | 66.921 | -421.0021 | 66.921 | 0
378894.29 | 67.8128 | -414.5985 | 67.8128 | 0
383000.173 | 68.7215 | -408.1935 | 68.7215 | 0
387150.549 | 69.7036 | -401.8195 | 69.7036 | 0
391345.9 | 70.717 | -395.5134 | 70.717 | 0
395586.715 | 71.6527 | -389.2869 | 71.6527 | 0
399873.485 | 72.7862 | -383.0523 | 72.7862 | 0
404206.708 | 73.832 | -376.8857 | 73.832 | 0
408586.888 | 74.9464 | -370.8713 | 74.9464 | 0
413014.535 | 76.0445 | -364.7835 | 76.0445 | 0
417490.161 | 77.2524 | -358.769 | 77.2524 | 0
422014.287 | 78.4907 | -352.8796 | 78.4907 | 0
426587.439 | 79.6677 | -346.9081 | 79.6677 | 0
431210.148 | 80.9675 | -341.0612 | 80.9675 | 0
435882.951 | 82.2772 | -335.2404 | 82.2772 | 0
440606.39 | 83.7112 | -329.5392 | 83.7112 | 0
445381.015 | 85.0522 | -323.7702 | 85.0522 | 0
450207.38 | 86.5474 | -318.0801 | 86.5474 | 0
455086.046 | 88.0627 | -312.3987 | 88.0627 | 0
460017.58 | 89.5586 | -306.8995 | 89.5586 | 0
465002.554 | 91.1352 | -301.3274 | 91.1352 | 0
470041.548 | 92.8014 | -295.8452 | 92.8014 | 0
475135.147 | 94.4702 | -290.3608 | 94.4702 | 0
480283.942 | 96.2191 | -284.9731 | 96.2191 | 0
485488.532 | 98.0504 | -279.5931 | 98.0504 | 0
490749.522 | 99.9174 | -274.3561 | 99.9174 | 0
496067.522 | 101.8494 | -269.0762 | 101.8494 | 0
501443.151 | 103.8172 | -263.8099 | 103.8172 | 0
506877.033 | 105.9349 | -258.6585 | 105.9349 | 0
512369.799 | 108.0593 | -253.5566 | 108.0593 | 0
517922.087 | 110.25 | -248.4746 | 110.25 | 0
523534.542 | 112.555 | -243.5025 | 112.555 | 0
529207.817 | 114.9409 | -238.5646 | 114.9409 | 0
534942.57 | 117.4047 | -233.6748 | 117.4047 | 0
540739.468 | 119.9167 | -228.8974 | 119.9167 | 0
546599.184 | 122.5264 | -224.1553 | 122.5264 | 0
552522.398 | 125.203 | -219.4718 | 125.203 | 0
558509.8 | 128.0826 | -214.897 | 128.0826 | 0
564562.083 | 130.9679 | -210.3777 | 130.9679 | 0
570679.952 | 133.9576 | -205.9827 | 133.9576 | 0
576864.118 | 137.0977 | -201.5997 | 137.0977 | 0
583115.298 | 140.2718 | -197.3671 | 140.2718 | 0
589434.219 | 143.6743 | -193.2252 | 143.6743 | 0
595821.614 | 147.0723 | -189.2064 | 147.0723 | 0
602278.227 | 150.6362 | -185.2552 | 150.6362 | 0
608804.807 | 154.3544 | -181.4462 | 154.3544 | 0
615402.111 | 158.1451 | -177.7882 | 158.1451 | 0
622070.908 | 162.0999 | -174.235 | 162.0999 | 0
628811.971 | 166.1312 | -170.871 | 166.1312 | 0
635626.083 | 170.3289 | -167.6937 | 170.3289 | 0
642514.036 | 174.6157 | -164.6532 | 174.6157 | 0
649476.63 | 179.0467 | -161.8256 | 179.0467 | 0
656514.675 | 183.6231 | -159.1875 | 183.6231 | 0
663628.987 | 188.3054 | -156.7151 | 188.3054 | 0
670820.393 | 193.0868 | -154.5336 | 193.0868 | 0
678089.729 | 197.9946 | -152.5977 | 197.9946 | 0
685437.839 | 203.0335 | -150.9516 | 203.0335 | 0
692865.577 | 208.1139 | -149.523 | 208.1139 | 0
700373.805 | 213.2864 | -148.3993 | 213.2864 | 0
707963.396 | 218.5849 | -147.6618 | 218.5849 | 0
715635.231 | 223.864 | -147.2128 | 223.864 | 0
723390.203 | 229.2271 | -147.108 | 229.2271 | 0
731229.21 | 234.5703 | -147.3781 | 234.5703 | 0
739153.166 | 239.9236 | -148.119 | 239.9236 | 0
747162.989 | 245.2785 | -149.1629 | 245.2785 | 0
755259.61 | 250.5777 | -150.6186 | 250.5777 | 0
763443.97 | 255.7568 | -152.5673 | 255.7568 | 0
771717.02 | 260.7991 | -154.9119 | 260.7991 | 0
780079.721 | 265.6756 | -157.668 | 265.6756 | 0
788533.044 | 270.3905 | -160.902 | 270.3905 | 0
797077.971 | 274.7972 | -164.5289 | 274.7972 | 0
805715.496 | 278.9501 | -168.6305 | 278.9501 | 0
814446.62 | 282.6707 | -173.2076 | 282.6707 | 0
823272.36 | 286.1002 | -178.0406 | 286.1002 | 0
832193.739 | 289.0521 | -183.3313 | 289.0521 | 0
841211.795 | 291.6184 | -188.9369 | 291.6184 | 0
850327.575 | 293.6079 | -194.8522 | 293.6079 | 0
859542.138 | 295.0174 | -201.0335 | 295.0174 | 0
868856.555 | 295.8802 | -207.375 | 295.8802 | 0
878271.907 | 296.1126 | -213.8294 | 296.1126 | 0
887789.288 | 295.7192 | -220.3775 | 295.7192 | 0
897409.804 | 294.6225 | -227.0826 | 294.6225 | 0
907134.573 | 293.0282 | -233.5891 | 293.0282 | 0
916964.724 | 290.7818 | -240.0344 | 290.7818 | 0
926901.4 | 287.8676 | -246.2891 | 287.8676 | 0
936945.754 | 284.2867 | -252.4279 | 284.2867 | 0
947098.953 | 280.2814 | -258.1475 | 280.2814 | 0
957362.178 | 275.6655 | -263.4887 | 275.6655 | 0
967736.62 | 270.6944 | -268.466 | 270.6944 | 0
978223.484 | 265.0867 | -273.0612 | 265.0867 | 0
988823.99 | 259.2682 | -277.1115 | 259.2682 | 0
999539.367 | 253.1053 | -280.7701 | 253.1053 | 0
1010370.861 | 246.6319 | -283.9066 | 246.6319 | 0
1021319.731 | 240.0634 | -286.443 | 240.0634 | 0
1032387.248 | 233.3082 | -288.5439 | 233.3082 | 0
1043574.698 | 226.4762 | -290.0785 | 226.4762 | 0
1054883.381 | 219.5294 | -291.1718 | 219.5294 | 0
1066314.61 | 212.6457 | -291.7752 | 212.6457 | 0
1077869.714 | 205.8459 | -291.8693 | 205.8459 | 0
1089550.034 | 199.0172 | -291.5997 | 199.0172 | 0
1101356.928 | 192.3001 | -290.8625 | 192.3001 | 0
1113291.767 | 185.8188 | -289.8124 | 185.8188 | 0
1125355.937 | 179.4764 | -288.2971 | 179.4764 | 0
1137550.841 | 173.3569 | -286.6223 | 173.3569 | 0
1149877.895 | 167.3316 | -284.6099 | 167.3316 | 0
1162338.531 | 161.5345 | -282.2038 | 161.5345 | 0
1174934.196 | 155.9763 | -279.6973 | 155.9763 | 0
1187666.354 | 150.6591 | -276.94 | 150.6591 | 0
1200536.484 | 145.5406 | -273.978 | 145.5406 | 0
1213546.081 | 140.6504 | -270.783 | 140.6504 | 0
1226696.656 | 135.8779 | -267.566 | 135.8779 | 0
1239989.738 | 131.4545 | -264.1014 | 131.4545 | 0
1253426.869 | 127.2381 | -260.6202 | 127.2381 | 0
1267009.612 | 123.2397 | -257.0346 | 123.2397 | 0
1280739.544 | 119.3279 | -253.3806 | 119.3279 | 0
1294618.26 | 115.6727 | -249.6804 | 115.6727 | 0
1308647.373 | 112.2566 | -245.846 | 112.2566 | 0
1322828.512 | 108.9443 | -241.994 | 108.9443 | 0
1337163.325 | 105.927 | -238.1288 | 105.927 | 0
1351653.477 | 103.0229 | -234.2361 | 103.0229 | 0
1366300.651 | 100.2421 | -230.3546 | 100.2421 | 0
1381106.549 | 97.732 | -226.4624 | 97.732 | 0
1396072.891 | 95.2573 | -222.6133 | 95.2573 | 0
1411201.415 | 92.9625 | -218.6996 | 92.9625 | 0
1426493.88 | 90.816 | -214.7954 | 90.816 | 0
1441952.061 | 88.8841 | -210.9481 | 88.8841 | 0
1457577.754 | 86.9581 | -207.111 | 86.9581 | 0
1473372.775 | 85.1543 | -203.2881 | 85.1543 | 0
1489338.959 | 83.5541 | -199.434 | 83.5541 | 0
1505478.16 | 82.0094 | -195.6706 | 82.0094 | 0
1521792.253 | 80.5901 | -191.9499 | 80.5901 | 0
1538283.134 | 79.2816 | -188.2258 | 79.2816 | 0
1554952.717 | 78.0509 | -184.5504 | 78.0509 | 0
1571802.941 | 76.9404 | -180.8918 | 76.9404 | 0
1588835.762 | 75.8784 | -177.2944 | 75.8784 | 0
1606053.158 | 74.9287 | -173.7208 | 74.9287 | 0
1623457.131 | 74.1022 | -170.1525 | 74.1022 | 0
1641049.702 | 73.3144 | -166.6697 | 73.3144 | 0
1658832.914 | 72.5863 | -163.1919 | 72.5863 | 0
1676808.834 | 71.9587 | -159.7589 | 71.9587 | 0
1694979.549 | 71.3962 | -156.3389 | 71.3962 | 0
1713347.172 | 70.9216 | -153.0007 | 70.9216 | 0
1731913.834 | 70.5037 | -149.6777 | 70.5037 | 0
1750681.695 | 70.16 | -146.3931 | 70.16 | 0
1769652.932 | 69.859 | -143.1274 | 69.859 | 0
1788829.752 | 69.6393 | -139.928 | 69.6393 | 0
1808214.38 | 69.456 | -136.7591 | 69.456 | 0
1827809.07 | 69.3591 | -133.649 | 69.3591 | 0
1847616.098 | 69.2847 | -130.5457 | 69.2847 | 0
1867637.764 | 69.2966 | -127.4879 | 69.2966 | 0
1887876.395 | 69.3778 | -124.4577 | 69.3778 | 0
1908334.341 | 69.484 | -121.4767 | 69.484 | 0
1929013.98 | 69.6454 | -118.5487 | 69.6454 | 0
1949917.713 | 69.8657 | -115.6539 | 69.8657 | 0
1971047.969 | 70.16 | -112.7724 | 70.16 | 0
1992407.203 | 70.4835 | -109.9475 | 70.4835 | 0
2013997.896 | 70.869 | -107.1624 | 70.869 | 0
2035822.556 | 71.2909 | -104.4127 | 71.2909 | 0
2057883.719 | 71.7784 | -101.6811 | 71.7784 | 0
2080183.947 | 72.3084 | -99.0168 | 72.3084 | 0
2102725.832 | 72.8729 | -96.3971 | 72.8729 | 0
2125511.991 | 73.502 | -93.7955 | 73.502 | 0
2148545.072 | 74.1754 | -91.2641 | 74.1754 | 0
2171827.751 | 74.895 | -88.7516 | 74.895 | 0
2195362.732 | 75.6527 | -86.2929 | 75.6527 | 0
2219152.75 | 76.4627 | -83.8778 | 76.4627 | 0
2243200.568 | 77.3241 | -81.5118 | 77.3241 | 0
2267508.979 | 78.2219 | -79.1853 | 78.2219 | 0
2292080.809 | 79.1686 | -76.8991 | 79.1686 | 0
2316918.911 | 80.1559 | -74.6777 | 80.1559 | 0
2342026.17 | 81.1878 | -72.4901 | 81.1878 | 0
2367405.504 | 82.2575 | -70.3547 | 82.2575 | 0
2393059.861 | 83.3568 | -68.2691 | 83.3568 | 0
2418992.221 | 84.5367 | -66.2321 | 84.5367 | 0
2445205.597 | 85.7276 | -64.2625 | 85.7276 | 0
2471703.033 | 86.9608 | -62.329 | 86.9608 | 0
2498487.609 | 88.2307 | -60.4482 | 88.2307 | 0
2525562.435 | 89.556 | -58.6257 | 89.556 | 0
2552930.657 | 90.9085 | -56.8558 | 90.9085 | 0
2580595.454 | 92.2981 | -55.1541 | 92.2981 | 0
2608560.041 | 93.7296 | -53.5017 | 93.7296 | 0
2636827.666 | 95.2034 | -51.9007 | 95.2034 | 0
2665401.612 | 96.709 | -50.3668 | 96.709 | 0
2694285.2 | 98.2694 | -48.9107 | 98.2694 | 0
2723481.784 | 99.8441 | -47.4975 | 99.8441 | 0
2752994.756 | 101.4754 | -46.1593 | 101.4754 | 0
2782827.546 | 103.137 | -44.8786 | 103.137 | 0
2812983.618 | 104.839 | -43.6859 | 104.839 | 0
2843466.476 | 106.5809 | -42.568 | 106.5809 | 0
2874279.66 | 108.3541 | -41.525 | 108.3541 | 0
2905426.752 | 110.1714 | -40.5804 | 110.1714 | 0
2936911.369 | 112.0227 | -39.7287 | 112.0227 | 0
2968737.168 | 113.8931 | -38.9528 | 113.8931 | 0
3000907.847 | 115.8058 | -38.2794 | 115.8058 | 0
3033427.143 | 117.7372 | -37.7274 | 117.7372 | 0
3066298.834 | 119.7004 | -37.2958 | 119.7004 | 0
3099526.739 | 121.6681 | -36.9595 | 121.6681 | 0
3133114.717 | 123.6568 | -36.7389 | 123.6568 | 0
3167066.671 | 125.6385 | -36.6827 | 125.6385 | 0
3201386.545 | 127.6231 | -36.7548 | 127.6231 | 0
3236078.326 | 129.5508 | -36.9462 | 129.5508 | 0
3271146.044 | 131.4875 | -37.2933 | 131.4875 | 0
3306593.772 | 133.3706 | -37.7793 | 133.3706 | 0
3342425.63 | 135.2162 | -38.4096 | 135.2162 | 0
3378645.779 | 136.9485 | -39.2075 | 136.9485 | 0
3415258.427 | 138.6113 | -40.0987 | 138.6113 | 0
3452267.827 | 140.1727 | -41.1816 | 140.1727 | 0
3489678.279 | 141.617 | -42.3659 | 141.617 | 0
3527494.129 | 142.9599 | -43.6687 | 142.9599 | 0
3565719.77 | 144.1314 | -45.073 | 144.1314 | 0
3604359.643 | 145.1336 | -46.5859 | 145.1336 | 0
3643418.236 | 145.9849 | -48.1772 | 145.9849 | 0
3682900.087 | 146.6211 | -49.8346 | 146.6211 | 0
3722809.783 | 147.0967 | -51.4676 | 147.0967 | 0
3763151.959 | 147.3787 | -53.1904 | 147.3787 | 0
3803931.303 | 147.4904 | -54.9294 | 147.4904 | 0
3845152.552 | 147.3569 | -56.6119 | 147.3569 | 0
3886820.494 | 147.0879 | -58.2125 | 147.0879 | 0
3928939.97 | 146.5991 | -59.7658 | 146.5991 | 0
3971515.874 | 145.9749 | -61.2217 | 145.9749 | 0
4014553.15 | 145.2014 | -62.5468 | 145.2014 | 0
4058056.8 | 144.2675 | -63.7765 | 144.2675 | 0
4102031.876 | 143.2198 | -64.807 | 143.2198 | 0
4146483.487 | 142.0499 | -65.7261 | 142.0499 | 0
4191416.798 | 140.849 | -66.4515 | 140.849 | 0
4236837.027 | 139.5873 | -67.0255 | 139.5873 | 0
4282749.453 | 138.2925 | -67.4289 | 138.2925 | 0
4329159.408 | 136.9866 | -67.6383 | 136.9866 | 0
4376072.284 | 135.7193 | -67.6844 | 135.7193 | 0
4423493.53 | 134.4789 | -67.5597 | 134.4789 | 0
4471428.656 | 133.323 | -67.315 | 133.323 | 0
4519883.231 | 132.2258 | -66.8774 | 132.2258 | 0
4568862.882 | 131.2498 | -66.3568 | 131.2498 | 0
4618373.301 | 130.396 | -65.7051 | 130.396 | 0
4668420.24 | 129.652 | -64.9336 | 129.652 | 0
4719009.511 | 129.0651 | -64.1214 | 129.0651 | 0
4770146.991 | 128.6135 | -63.2401 | 128.6135 | 0
4821838.623 | 128.3322 | -62.3233 | 128.3322 | 0
4874090.41 | 128.1961 | -61.3751 | 128.1961 | 0
4926908.423 | 128.2163 | -60.456 | 128.2163 | 0
4980298.798 | 128.4127 | -59.5659 | 128.4127 | 0
5034267.736 | 128.6854 | -58.7185 | 128.6854 | 0
5088821.509 | 129.1808 | -57.9336 | 129.1808 | 0
5143966.452 | 129.8002 | -57.2549 | 129.8002 | 0
5199708.973 | 130.5551 | -56.6924 | 130.5551 | 0
5256055.547 | 131.435 | -56.2398 | 131.435 | 0
5313012.72 | 132.4017 | -55.9637 | 132.4017 | 0
5370587.108 | 133.4463 | -55.8171 | 133.4463 | 0
5428785.401 | 134.557 | -55.8693 | 134.557 | 0
5487614.358 | 135.68 | -56.0906 | 135.68 | 0
5547080.815 | 136.8024 | -56.4957 | 136.8024 | 0
5607191.679 | 137.8997 | -57.0979 | 137.8997 | 0
5667953.934 | 138.9445 | -57.8628 | 138.9445 | 0
5729374.638 | 139.9266 | -58.79 | 139.9266 | 0
5791460.926 | 140.7983 | -59.8966 | 140.7983 | 0
5854220.012 | 141.5414 | -61.1253 | 141.5414 | 0
5917659.186 | 142.1729 | -62.4546 | 142.1729 | 0
5981785.817 | 142.6566 | -63.8707 | 142.6566 | 0
6046607.356 | 142.9859 | -65.3756 | 142.9859 | 0
6112131.333 | 143.1867 | -66.8959 | 143.1867 | 0
6178365.359 | 143.2361 | -68.4636 | 143.2361 | 0
6245317.129 | 143.154 | -70.04 | 143.154 | 0
6312994.421 | 142.9401 | -71.622 | 142.9401 | 0
6381405.098 | 142.6373 | -73.1614 | 142.6373 | 0
6450557.105 | 142.184 | -74.6916 | 142.184 | 0
6520458.478 | 141.6549 | -76.2126 | 141.6549 | 0
6591117.335 | 141.0606 | -77.6674 | 141.0606 | 0
6662541.887 | 140.339 | -79.0803 | 140.339 | 0
6734740.429 | 139.6075 | -80.4582 | 139.6075 | 0
6807721.35 | 138.7583 | -81.8586 | 138.7583 | 0
6881493.128 | 137.892 | -83.1925 | 137.892 | 0
6956064.332 | 136.9536 | -84.488 | 136.9536 | 0
7031443.627 | 135.9713 | -85.7724 | 135.9713 | 0
7107639.768 | 134.9142 | -87.0528 | 134.9142 | 0
7184661.607 | 133.8053 | -88.3165 | 133.8053 | 0
7262518.093 | 132.6236 | -89.5507 | 132.6236 | 0
7341218.269 | 131.328 | -90.7846 | 131.328 | 0
7420771.279 | 130.0043 | -91.9796 | 130.0043 | 0
7501186.364 | 128.5523 | -93.1229 | 128.5523 | 0
7582472.866 | 127.0428 | -94.2031 | 127.0428 | 0
7664640.227 | 125.4326 | -95.2288 | 125.4326 | 0
7747697.994 | 123.6957 | -96.1744 | 123.6957 | 0
7831655.816 | 121.8979 | -96.9406 | 121.8979 | 0
7916523.445 | 120.1021 | -97.6106 | 120.1021 | 0
8002310.742 | 118.3232 | -98.1677 | 118.3232 | 0
8089027.671 | 116.4954 | -98.6364 | 116.4954 | 0
8176684.307 | 114.7118 | -98.983 | 114.7118 | 0
8265290.832 | 112.9663 | -99.2526 | 112.9663 | 0
8354857.541 | 111.2333 | -99.4217 | 111.2333 | 0
8445394.839 | 109.5763 | -99.5112 | 109.5763 | 0
8536913.243 | 107.9824 | -99.5776 | 107.9824 | 0
8629423.384 | 106.4527 | -99.5926 | 106.4527 | 0
8722936.011 | 104.9455 | -99.5905 | 104.9455 | 0
8817461.986 | 103.5413 | -99.5641 | 103.5413 | 0
8913012.29 | 102.1563 | -99.5616 | 102.1563 | 0
9009598.024 | 100.8239 | -99.5491 | 100.8239 | 0
9107230.407 | 99.5131 | -99.5875 | 99.5131 | 0
9205920.783 | 98.217 | -99.6365 | 98.217 | 0
9305680.615 | 96.9496 | -99.7018 | 96.9496 | 0
9406521.494 | 95.6796 | -99.8303 | 95.6796 | 0
9508455.133 | 94.401 | -99.9863 | 94.401 | 0
9611493.375 | 93.0858 | -100.1872 | 93.0858 | 0
9715648.189 | 91.7516 | -100.3987 | 91.7516 | 0
9820931.676 | 90.3316 | -100.6596 | 90.3316 | 0
9927356.065 | 88.8692 | -100.9357 | 88.8692 | 0
10034933.721 | 87.3337 | -101.2294 | 87.3337 | 0
10143677.141 | 85.7064 | -101.5001 | 85.7064 | 0
10253598.957 | 83.9933 | -101.7389 | 83.9933 | 0
10364711.94 | 82.1997 | -101.9301 | 82.1997 | 0
10477028.997 | 80.3272 | -102.0592 | 80.3272 | 0
10590563.176 | 78.3737 | -102.1106 | 78.3737 | 0
10705327.666 | 76.3436 | -102.0934 | 76.3436 | 0
10821335.801 | 74.287 | -101.9403 | 74.287 | 0
10938601.056 | 72.1753 | -101.7 | 72.1753 | 0
11057137.054 | 70.0471 | -101.313 | 70.0471 | 0
11176957.566 | 67.9221 | -100.8221 | 67.9221 | 0
11298076.511 | 65.8187 | -100.1881 | 65.8187 | 0
11420507.96 | 63.7539 | -99.4237 | 63.7539 | 0
11544266.136 | 61.752 | -98.568 | 61.752 | 0
11669365.415 | 59.8349 | -97.6178 | 59.8349 | 0
11795820.331 | 57.9988 | -96.584 | 57.9988 | 0
11923645.574 | 56.2593 | -95.5058 | 56.2593 | 0
12052855.993 | 54.5875 | -94.3859 | 54.5875 | 0
12183466.6 | 53.0205 | -93.2454 | 53.0205 | 0
12315492.566 | 51.5371 | -92.1003 | 51.5371 | 0
12448949.23 | 50.1299 | -90.9716 | 50.1299 | 0
12583852.095 | 48.7785 | -89.8484 | 48.7785 | 0
12720216.834 | 47.4644 | -88.7553 | 47.4644 | 0
12858059.286 | 46.2038 | -87.7003 | 46.2038 | 0
12997395.467 | 44.9326 | -86.6765 | 44.9326 | 0
13138241.562 | 43.6839 | -85.6734 | 43.6839 | 0
13280613.934 | 42.4014 | -84.6887 | 42.4014 | 0
13424529.122 | 41.099 | -83.7055 | 41.099 | 0
13570003.846 | 39.7555 | -82.7192 | 39.7555 | 0
13717055.004 | 38.3982 | -81.6703 | 38.3982 | 0
13865699.679 | 37.0083 | -80.6023 | 37.0083 | 0
14015955.141 | 35.6089 | -79.4653 | 35.6089 | 0
14167838.844 | 34.1997 | -78.2637 | 34.1997 | 0
14321368.433 | 32.8041 | -76.9916 | 32.8041 | 0
14476561.742 | 31.4258 | -75.6275 | 31.4258 | 0
14633436.802 | 30.0893 | -74.2006 | 30.0893 | 0
14792011.837 | 28.812 | -72.6901 | 28.812 | 0
14952305.267 | 27.6069 | -71.1101 | 27.6069 | 0
15114335.715 | 26.4846 | -69.4932 | 26.4846 | 0
15278122.004 | 25.4398 | -67.8466 | 25.4398 | 0
15443683.161 | 24.4606 | -66.1517 | 24.4606 | 0
15611038.419 | 23.5841 | -64.4241 | 23.5841 | 0
15780207.219 | 22.8165 | -62.6868 | 22.8165 | 0
15951209.215 | 22.1487 | -60.9544 | 22.1487 | 0
16124064.272 | 21.6244 | -59.2416 | 21.6244 | 0
16298792.471 | 21.229 | -57.6463 | 21.229 | 0
16475414.109 | 20.8116 | -56.2028 | 20.8116 | 0
16653949.704 | 20.3662 | -54.7822 | 20.3662 | 0
16834419.999 | 19.9187 | -53.3578 | 19.9187 | 0
17016845.957 | 19.5476 | -51.928 | 19.5476 | 0
17201248.771 | 19.2031 | -50.5892 | 19.2031 | 0
17387649.865 | 18.8329 | -49.3124 | 18.8329 | 0
17576070.891 | 18.4529 | -48.0686 | 18.4529 | 0
17766533.738 | 18.0575 | -46.8677 | 18.0575 | 0
17959060.534 | 17.6007 | -45.6786 | 17.6007 | 0
18153673.644 | 17.126 | -44.4116 | 17.126 | 0
18350395.676 | 16.6522 | -43.135 | 16.6522 | 0
18549249.483 | 16.2396 | -41.8203 | 16.2396 | 0
18750258.167 | 15.9213 | -40.5931 | 15.9213 | 0
18953445.079 | 15.5521 | -39.5121 | 15.5521 | 0
19158833.823 | 15.0304 | -38.4062 | 15.0304 | 0
19366448.26 | 14.4667 | -37.1768 | 14.4667 | 0
19576312.507 | 13.9383 | -35.8712 | 13.9383 | 0
19788450.945 | 13.4439 | -34.5586 | 13.4439 | 0
20002888.218 | 12.9473 | -33.2522 | 12.9473 | 0
20219649.238 | 12.423 | -31.9558 | 12.423 | 0
20438759.186 | 11.8538 | -30.6044 | 11.8538 | 0
20660243.516 | 11.2953 | -29.1388 | 11.2953 | 0
20884127.957 | 10.8112 | -27.5631 | 10.8112 | 0
21110438.52 | 10.4446 | -25.9391 | 10.4446 | 0
21339201.493 | 10.1924 | -24.3236 | 10.1924 | 0
21570443.453 | 10.0253 | -22.7707 | 10.0253 | 0
21804191.264 | 9.9179 | -21.2961 | 9.9179 | 0
22040472.079 | 9.812 | -19.926 | 9.812 | 0
22279313.348 | 9.626 | -18.6025 | 9.626 | 0
22520742.818 | 9.3936 | -17.2364 | 9.3936 | 0
22764788.534 | 9.1629 | -15.8451 | 9.1629 | 0
23011478.848 | 8.9378 | -14.4341 | 8.9378 | 0
23260842.419 | 8.7233 | -13.0093 | 8.7233 | 0
23512908.214 | 8.5195 | -11.584 | 8.5195 | 0
23767705.517 | 8.3077 | -10.1627 | 8.3077 | 0
24025263.927 | 8.0409 | -8.7198 | 8.0409 | 0
24285613.366 | 7.7955 | -7.1893 | 7.7955 | 0
24548784.077 | 7.5927 | -5.6295 | 7.5927 | 0
24814806.635 | 7.4167 | -4.057 | 7.4167 | 0
25083711.942 | 7.2577 | -2.4587 | 7.2577 | 0
25355531.237 | 7.1317 | -0.83186 | 7.1317 | 0
25630296.099 | 7.0355 | 0.79985 | 7.0355 | 0
25908038.446 | 6.952 | 2.4513 | 6.952 | 0
26188790.544 | 6.9008 | 4.1315 | 6.9008 | 0
26472585.009 | 6.8868 | 5.8177 | 6.8868 | 0
26759454.808 | 6.8985 | 7.5092 | 6.8985 | 0
27049433.268 | 6.9359 | 9.2051 | 6.9359 | 0
27342554.075 | 6.9912 | 10.8958 | 6.9912 | 0
27638851.282 | 7.0586 | 12.5925 | 7.0586 | 0
27938359.31 | 7.1333 | 14.2815 | 7.1333 | 0
28241112.952 | 7.2023 | 15.965 | 7.2023 | 0
28547147.38 | 7.2368 | 17.653 | 7.2368 | 0
28856498.145 | 7.2195 | 19.3718 | 7.2195 | 0
29169201.186 | 7.1614 | 21.1755 | 7.1614 | 0
29485292.829 | 7.1084 | 23.0697 | 7.1084 | 0
29804809.795 | 7.064 | 25.0447 | 7.064 | 0
30127789.202 | 7.045 | 27.1208 | 7.045 | 0
30454268.571 | 7.0742 | 29.3011 | 7.0742 | 0
30784285.828 | 7.1781 | 31.5588 | 7.1781 | 0
31117879.314 | 7.3562 | 33.8835 | 7.3562 | 0
31455087.78 | 7.6164 | 36.2495 | 7.6164 | 0
31795950.401 | 7.9236 | 38.6396 | 7.9236 | 0
32140506.776 | 8.2772 | 41.0863 | 8.2772 | 0
32488796.93 | 8.6835 | 43.5888 | 8.6835 | 0
32840861.326 | 9.1398 | 46.1551 | 9.1398 | 0
33196740.864 | 9.6341 | 48.7804 | 9.6341 | 0
33556476.884 | 10.1852 | 51.492 | 10.1852 | 0
33920111.179 | 10.8064 | 54.2844 | 10.8064 | 0
34287685.992 | 11.5001 | 57.1591 | 11.5001 | 0
34659244.025 | 12.2853 | 60.1129 | 12.2853 | 0
35034828.441 | 13.156 | 63.1493 | 13.156 | 0
35414482.872 | 14.1278 | 66.238 | 14.1278 | 0
35798251.423 | 15.1899 | 69.3572 | 15.1899 | 0
36186178.677 | 16.2529 | 72.451 | 16.2529 | 0
36578309.699 | 17.1913 | 75.6221 | 17.1913 | 0
36974690.043 | 17.9432 | 79.076 | 17.9432 | 0
37375365.757 | 18.6657 | 83.0526 | 18.6657 | 0
37780383.389 | 19.6372 | 87.6051 | 19.6372 | 0
38189789.988 | 21.1135 | 92.6383 | 21.1135 | 0
38603633.116 | 23.2632 | 97.8994 | 23.2632 | 0
39021960.849 | 26.0357 | 103.128 | 26.0357 | 0
39444821.785 | 29.2269 | 108.0512 | 29.2269 | 0
39872265.048 | 32.4173 | 112.5835 | 32.4173 | 0
40304340.294 | 34.9821 | 117.1068 | 34.9821 | 0
40741097.717 | 36.9836 | 122.5637 | 36.9836 | 0
41182588.056 | 39.0675 | 129.5747 | 39.0675 | 0
41628862.598 | 42.1118 | 138.2554 | 42.1118 | 0
42079973.189 | 46.8391 | 148.1342 | 46.8391 | 0
42535972.233 | 53.3774 | 158.7696 | 53.3774 | 0
42996912.705 | 62.1204 | 169.9344 | 62.1204 | 0
43462848.151 | 71.3116 | 180.596 | 71.3116 | 0
43933832.701 | 83.2848 | 192.6468 | 83.2848 | 0
44409921.068 | 97.7451 | 205.8656 | 97.7451 | 0
44891168.56 | 115.9024 | 220.407 | 115.9024 | 0
45377631.084 | 139.0067 | 237.2697 | 139.0067 | 0
45869365.152 | 172.7231 | 257.2959 | 172.7231 | 0
46366427.89 | 224.9508 | 274.2972 | 224.9508 | 0
46868877.041 | 300.6852 | 273.7922 | 300.6852 | 0
47376770.975 | 390.3522 | 231.4929 | 390.3522 | 0
47890168.695 | 460.8769 | 136.3738 | 460.8769 | 0
48409129.842 | 471.0674 | 7.3654 | 471.0674 | 0
48933714.704 | 413.2863 | -101.4035 | 413.2863 | 0
49463984.223 | 322.0774 | -160.124 | 322.0774 | 0
50000000 | 233.8511 | -162.9101 | 233.8511 | 0
TRACE: B
FORMAT: LINEAR
Frequency | Data Real | Data Imag | Data Trace Real | Data Trace Imag
9000 | 346.3777 | -20944.08 | -20944.08 | 0
9097.528 | 337.9596 | -20723.8 | -20723.8 | 0
9196.114 | 335.0851 | -20500.54 | -20500.54 | 0
9295.767 | 332.2743 | -20274.66 | -20274.66 | 0
9396.501 | 326.3934 | -20066.06 | -20066.06 | 0
9498.326 | 320.9585 | -19858.19 | -19858.19 | 0
9601.254 | 311.9443 | -19644.2 | -19644.2 | 0
9705.298 | 315.698 | -19440.13 | -19440.13 | 0
9810.469 | 309.9643 | -19226.82 | -19226.82 | 0
9916.78 | 306.1476 | -19026.43 | -19026.43 | 0
10024.243 | 299.1962 | -18822.6 | -18822.6 | 0
10132.871 | 296.2471 | -18620.8 | -18620.8 | 0
10242.676 | 292.3259 | -18420.96 | -18420.96 | 0
10353.67 | 291.0994 | -18227.08 | -18227.08 | 0
10465.868 | 284.9877 | -18034.43 | -18034.43 | 0
10579.281 | 277.9861 | -17840.75 | -17840.75 | 0
10693.923 | 278.7387 | -17648.5 | -17648.5 | 0
10809.808 | 277.5507 | -17466.12 | -17466.12 | 0
10926.948 | 273.6508 | -17280.25 | -17280.25 | 0
11045.358 | 268.3091 | -17092.56 | -17092.56 | 0
11165.051 | 272.3781 | -16910.55 | -16910.55 | 0
11286.041 | 262.3536 | -16740.56 | -16740.56 | 0
11408.342 | 262.7817 | -16554.17 | -16554.17 | 0
11531.968 | 255.825 | -16379.52 | -16379.52 | 0
11656.934 | 256.5076 | -16203.85 | -16203.85 | 0
11783.254 | 248.0985 | -16030.66 | -16030.66 | 0
11910.943 | 248.002 | -15860.04 | -15860.04 | 0
12040.016 | 246.4232 | -15689.56 | -15689.56 | 0
12170.487 | 244.3571 | -15524.34 | -15524.34 | 0
12302.373 | 237.7846 | -15359.34 | -15359.34 | 0
12435.687 | 234.0938 | -15197.87 | -15197.87 | 0
12570.446 | 231.8634 | -15036.12 | -15036.12 | 0
12706.666 | 229.1373 | -14876.69 | -14876.69 | 0
12844.361 | 227.3834 | -14721.31 | -14721.31 | 0
12983.549 | 224.4955 | -14563.64 | -14563.64 | 0
13124.245 | 220.4622 | -14408.54 | -14408.54 | 0
13266.466 | 220.0633 | -14252.5 | -14252.5 | 0
13410.228 | 215.4581 | -14100.14 | -14100.14 | 0
13555.548 | 213.3556 | -13954.87 | -13954.87 | 0
13702.442 | 209.0442 | -13803.84 | -13803.84 | 0
13850.928 | 210.183 | -13656.05 | -13656.05 | 0
14001.024 | 208.0879 | -13507.68 | -13507.68 | 0
14152.746 | 201.3754 | -13365.66 | -13365.66 | 0
14306.112 | 200.7219 | -13223.88 | -13223.88 | 0
14461.14 | 204.0196 | -13085.41 | -13085.41 | 0
14617.848 | 198.8816 | -12943.52 | -12943.52 | 0
14776.254 | 194.8026 | -12806.88 | -12806.88 | 0
14936.376 | 192.0056 | -12670.55 | -12670.55 | 0
15098.234 | 188.8452 | -12536.13 | -12536.13 | 0
15261.846 | 186.5822 | -12403.12 | -12403.12 | 0
15427.231 | 187.4954 | -12271.96 | -12271.96 | 0
15594.408 | 183.2286 | -12139.79 | -12139.79 | 0
15763.396 | 179.6477 | -12010.51 | -12010.51 | 0
15934.216 | 180.1861 | -11883.14 | -11883.14 | 0
16106.887 | 176.2533 | -11756.1 | -11756.1 | 0
16281.429 | 174.9593 | -11632.9 | -11632.9 | 0
16457.863 | 172.1634 | -11508.66 | -11508.66 | 0
16636.208 | 171.1435 | -11385.98 | -11385.98 | 0
16816.486 | 170.393 | -11265.58 | -11265.58 | 0
16998.718 | 167.5506 | -11145.99 | -11145.99 | 0
17182.924 | 166.057 | -11027.04 | -11027.04 | 0
17369.127 | 165.0619 | -10908.27 | -10908.27 | 0
17557.347 | 163.1492 | -10790.89 | -10790.89 | 0
17747.607 | 159.1022 | -10678.04 | -10678.04 | 0
17939.929 | 157.7844 | -10564.31 | -10564.31 | 0
18134.334 | 157.2952 | -10449.45 | -10449.45 | 0
18330.847 | 154.5721 | -10338.9 | -10338.9 | 0
18529.489 | 153.6173 | -10224.45 | -10224.45 | 0
18730.283 | 150.9063 | -10124.38 | -10124.38 | 0
18933.254 | 150.2635 | -10013.83 | -10013.83 | 0
19138.424 | 140.7035 | -9919.064 | -9919.064 | 0
19345.817 | 146.9402 | -9787.422 | -9787.422 | 0
19555.458 | 137.8159 | -9697.555 | -9697.555 | 0
19767.37 | 110.9252 | -9545.652 | -9545.652 | 0
19981.579 | 114.3431 | -9474.441 | -9474.441 | 0
20198.109 | 101.8907 | -9361.814 | -9361.814 | 0
20416.986 | 146.346 | -9282.08 | -9282.08 | 0
20638.234 | 144.2383 | -9189.424 | -9189.424 | 0
20861.88 | 142.1616 | -9095.107 | -9095.107 | 0
21087.949 | 136.2225 | -8994.943 | -8994.943 | 0
21316.469 | 134.2215 | -8893.74 | -8893.74 | 0
21547.464 | 134.4269 | -8804.557 | -8804.557 | 0
21780.963 | 129.5451 | -8712.404 | -8712.404 | 0
22016.992 | 131.5492 | -8617.555 | -8617.555 | 0
22255.579 | 125.4555 | -8529.391 | -8529.391 | 0
22496.751 | 125.9275 | -8435.564 | -8435.564 | 0
22740.537 | 122.9452 | -8346.52 | -8346.52 | 0
22986.964 | 122.4857 | -8255.797 | -8255.797 | 0
23236.062 | 124.8415 | -8168.422 | -8168.422 | 0
23487.86 | 120.1512 | -8082.009 | -8082.009 | 0
23742.386 | 119.6397 | -7997.304 | -7997.304 | 0
23999.67 | 117.2859 | -7910.019 | -7910.019 | 0
24259.742 | 118.6764 | -7826.759 | -7826.759 | 0
24522.632 | 116.9491 | -7742.705 | -7742.705 | 0
24788.371 | 113.2434 | -7661.661 | -7661.661 | 0
25056.99 | 113.6621 | -7578.068 | -7578.068 | 0
25328.52 | 113.1986 | -7498.506 | -7498.506 | 0
25602.992 | 110.483 | -7417.494 | -7417.494 | 0
25880.438 | 109.1933 | -7337.341 | -7337.341 | 0
26160.891 | 107.7553 | -7260.487 | -7260.487 | 0
26444.383 | 107.7558 | -7182.144 | -7182.144 | 0
26730.948 | 105.4546 | -7107.426 | -7107.426 | 0
27020.617 | 106.4273 | -7030.953 | -7030.953 | 0
27313.426 | 102.7801 | -6957.491 | -6957.491 | 0
27609.407 | 104.7683 | -6883.241 | -6883.241 | 0
27908.596 | 103.1689 | -6807.931 | -6807.931 | 0
28211.027 | 100.4953 | -6735.958 | -6735.958 | 0
28516.736 | 100.1 | -6663.702 | -6663.702 | 0
28825.757 | 99.3624 | -6593.279 | -6593.279 | 0
29138.127 | 97.0587 | -6524.01 | -6524.01 | 0
29453.882 | 94.807 | -6453.015 | -6453.015 | 0
29773.058 | 94.9498 | -6384.514 | -6384.514 | 0
30095.694 | 94.2465 | -6316.5 | -6316.5 | 0
30421.825 | 93.3432 | -6249.463 | -6249.463 | 0
30751.491 | 92.9495 | -6182.114 | -6182.114 | 0
31084.729 | 92.488 | -6116.298 | -6116.298 | 0
31421.578 | 90.2115 | -6050.371 | -6050.371 | 0
31762.078 | 91.3617 | -5985.599 | -5985.599 | 0
32106.267 | 88.5536 | -5922.164 | -5922.164 | 0
32454.186 | 87.1967 | -5859.888 | -5859.888 | 0
32805.876 | 88.1499 | -5797.125 | -5797.125 | 0
33161.376 | 89.0552 | -5734.588 | -5734.588 | 0
33520.729 | 86.0284 | -5672.261 | -5672.261 | 0
33883.976 | 84.4973 | -5612.116 | -5612.116 | 0
34251.159 | 83.6215 | -5552.654 | -5552.654 | 0
34622.321 | 83.7879 | -5493.903 | -5493.903 | 0
34997.505 | 82.8255 | -5434.927 | -5434.927 | 0
35376.755 | 82.7229 | -5376.759 | -5376.759 | 0
35760.115 | 81.2849 | -5319.604 | -5319.604 | 0
36147.629 | 80.7876 | -5262.25 | -5262.25 | 0
36539.342 | 80.7231 | -5206.273 | -5206.273 | 0
36935.301 | 77.8294 | -5151.053 | -5151.053 | 0
37335.549 | 78.6851 | -5097.985 | -5097.985 | 0
37740.136 | 75.7946 | -5043.876 | -5043.876 | 0
38149.106 | 83.8089 | -4985.803 | -4985.803 | 0
38562.508 | 74.5791 | -4932.6 | -4932.6 | 0
38980.39 | 78.3636 | -4882.986 | -4882.986 | 0
39402.801 | 74.7858 | -4829.973 | -4829.973 | 0
39829.789 | 73.245 | -4778.122 | -4778.122 | 0
40261.404 | 71.5109 | -4725.826 | -4725.826 | 0
40697.696 | 74.166 | -4676.015 | -4676.015 | 0
41138.716 | 72.546 | -4625.194 | -4625.194 | 0
41584.515 | 71.665 | -4576.154 | -4576.154 | 0
42035.145 | 70.4647 | -4528.408 | -4528.408 | 0
42490.658 | 72.0524 | -4478.831 | -4478.831 | 0
42951.108 | 70.7054 | -4429.651 | -4429.651 | 0
43416.547 | 67.9599 | -4383.88 | -4383.88 | 0
43887.03 | 68.5172 | -4336.837 | -4336.837 | 0
44362.611 | 66.9893 | -4289.915 | -4289.915 | 0
44843.346 | 66.844 | -4244.55 | -4244.55 | 0
45329.29 | 67.405 | -4199.259 | -4199.259 | 0
45820.5 | 66.7033 | -4154.471 | -4154.471 | 0
46317.033 | 64.4309 | -4109.557 | -4109.557 | 0
46818.947 | 64.0592 | -4065.604 | -4065.604 | 0
47326.3 | 64.276 | -4021.366 | -4021.366 | 0
47839.151 | 63.7257 | -3978.799 | -3978.799 | 0
48357.559 | 63.219 | -3935.796 | -3935.796 | 0
48881.585 | 63.0584 | -3893.584 | -3893.584 | 0
49411.29 | 61.1068 | -3851.432 | -3851.432 | 0
49946.734 | 61.343 | -3810.939 | -3810.939 | 0
50487.982 | 61.0409 | -3769.638 | -3769.638 | 0
51035.094 | 59.5986 | -3729.813 | -3729.813 | 0
51588.135 | 60.444 | -3689.729 | -3689.729 | 0
52147.169 | 59.2638 | -3649.317 | -3649.317 | 0
52712.261 | 58.9692 | -3610.893 | -3610.893 | 0
53283.477 | 59.0923 | -3571.45 | -3571.45 | 0
53860.882 | 58.8331 | -3533.528 | -3533.528 | 0
54444.545 | 57.7213 | -3495.738 | -3495.738 | 0
55034.533 | 56.7901 | -3458.139 | -3458.139 | 0
55630.914 | 56.113 | -3421.194 | -3421.194 | 0
56233.757 | 56.3125 | -3383.829 | -3383.829 | 0
56843.134 | 56.6879 | -3347.692 | -3347.692 | 0
57459.113 | 55.0039 | -3311.632 | -3311.632 | 0
58081.768 | 54.6302 | -3275.807 | -3275.807 | 0
58711.171 | 54.1504 | -3240.784 | -3240.784 | 0
59347.393 | 54.6098 | -3206.043 | -3206.043 | 0
59990.511 | 53.475 | -3171.979 | -3171.979 | 0
60640.597 | 52.4591 | -3136.523 | -3136.523 | 0
61297.728 | 53.4221 | -3103.75 | -3103.75 | 0
61961.98 | 54.0465 | -3069.953 | -3069.953 | 0
62633.43 | 52.9732 | -3037.333 | -3037.333 | 0
63312.156 | 52.1694 | -3004.361 | -3004.361 | 0
63998.238 | 52.0244 | -2971.476 | -2971.476 | 0
64691.754 | 51.512 | -2939.625 | -2939.625 | 0
65392.785 | 50.1421 | -2908.642 | -2908.642 | 0
66101.413 | 51.1025 | -2876.854 | -2876.854 | 0
66817.72 | 50.8502 | -2845.727 | -2845.727 | 0
67541.789 | 50.0612 | -2814.993 | -2814.993 | 0
68273.705 | 50.009 | -2784.688 | -2784.688 | 0
69013.552 | 49.0407 | -2754.627 | -2754.627 | 0
69761.416 | 48.8964 | -2724.64 | -2724.64 | 0
70517.385 | 48.6431 | -2695.679 | -2695.679 | 0
71281.546 | 48.5018 | -2665.951 | -2665.951 | 0
72053.987 | 48.3215 | -2637.335 | -2637.335 | 0
72834.799 | 49.2176 | -2608.631 | -2608.631 | 0
73624.072 | 48.0609 | -2580.284 | -2580.284 | 0
74421.899 | 47.4143 | -2552.155 | -2552.155 | 0
75228.371 | 47.3404 | -2524.958 | -2524.958 | 0
76043.582 | 47.3306 | -2497.532 | -2497.532 | 0
76867.627 | 46.7542 | -2470.842 | -2470.842 | 0
77700.602 | 46.3552 | -2443.965 | -2443.965 | 0
78542.603 | 45.8843 | -2417.053 | -2417.053 | 0
79393.729 | 45.8557 | -2391.191 | -2391.191 | 0
80254.078 | 45.8595 | -2365.094 | -2365.094 | 0
81123.75 | 45.0044 | -2339.442 | -2339.442 | 0
82002.847 | 44.7993 | -2313.843 | -2313.843 | 0
82891.47 | 44.4403 | -2288.62 | -2288.62 | 0
83789.722 | 44.3097 | -2264.23 | -2264.23 | 0
84697.708 | 43.8698 | -2239.4 | -2239.4 | 0
85615.534 | 43.7052 | -2215.001 | -2215.001 | 0
86543.305 | 43.3304 | -2190.951 | -2190.951 | 0
87481.13 | 43.2769 | -2167.09 | -2167.09 | 0
88429.118 | 42.8781 | -2143.636 | -2143.636 | 0
89387.379 | 42.6365 | -2120.375 | -2120.375 | 0
90356.024 | 42.7094 | -2097.122 | -2097.122 | 0
91335.166 | 42.8209 | -2074.357 | -2074.357 | 0
92324.919 | 42.6864 | -2051.413 | -2051.413 | 0
93325.396 | 42.0703 | -2029.544 | -2029.544 | 0
94336.716 | 41.7722 | -2007.182 | -2007.182 | 0
95358.994 | 41.6039 | -1985.255 | -1985.255 | 0
96392.35 | 42.0247 | -1963.324 | -1963.324 | 0
97436.905 | 41.5559 | -1941.842 | -1941.842 | 0
98492.779 | 41.942 | -1920.531 | -1920.531 | 0
99560.094 | 41.3975 | -1899.55 | -1899.55 | 0
100638.976 | 40.9914 | -1878.954 | -1878.954 | 0
101729.549 | 40.7121 | -1858.176 | -1858.176 | 0
102831.939 | 40.6445 | -1837.663 | -1837.663 | 0
103946.276 | 41.0564 | -1817.512 | -1817.512 | 0
105072.689 | 40.47 | -1797.548 | -1797.548 | 0
106211.307 | 40.0904 | -1777.5 | -1777.5 | 0
107362.265 | 40.3769 | -1758.419 | -1758.419 | 0
108525.694 | 40.2495 | -1739.014 | -1739.014 | 0
109701.732 | 40.1196 | -1719.542 | -1719.542 | 0
110890.513 | 39.5929 | -1700.856 | -1700.856 | 0
112092.176 | 39.8066 | -1681.955 | -1681.955 | 0
113306.862 | 39.8863 | -1663.48 | -1663.48 | 0
114534.71 | 39.7535 | -1644.825 | -1644.825 | 0
115775.864 | 39.496 | -1627.01 | -1627.01 | 0
117030.467 | 38.9679 | -1608.707 | -1608.707 | 0
118298.666 | 39.2944 | -1590.96 | -1590.96 | 0
119580.608 | 39.312 | -1573.513 | -1573.513 | 0
120876.442 | 39.3066 | -1556.052 | -1556.052 | 0
122186.318 | 38.6568 | -1538.427 | -1538.427 | 0
123510.388 | 39.3079 | -1521.447 | -1521.447 | 0
124848.807 | 38.9199 | -1504.717 | -1504.717 | 0
126201.729 | 39.3893 | -1487.57 | -1487.57 | 0
127569.312 | 38.6775 | -1471.105 | -1471.105 | 0
128951.715 | 38.6826 | -1454.798 | -1454.798 | 0
130349.099 | 38.617 | -1438.491 | -1438.491 | 0
131761.625 | 38.7762 | -1422.391 | -1422.391 | 0
133189.458 | 38.5626 | -1406.494 | -1406.494 | 0
134632.764 | 38.634 | -1390.731 | -1390.731 | 0
136091.71 | 38.6314 | -1375.123 | -1375.123 | 0
137566.466 | 38.4705 | -1359.687 | -1359.687 | 0
139057.203 | 38.4656 | -1344.447 | -1344.447 | 0
140564.094 | 38.4654 | -1329.326 | -1329.326 | 0
142087.315 | 38.6012 | -1314.274 | -1314.274 | 0
143627.042 | 38.5958 | -1299.452 | -1299.452 | 0
145183.455 | 38.1277 | -1284.906 | -1284.906 | 0
146756.733 | 38.3717 | -1270.399 | -1270.399 | 0
148347.061 | 38.6337 | -1255.814 | -1255.814 | 0
149954.621 | 38.4007 | -1241.573 | -1241.573 | 0
151579.603 | 38.5986 | -1227.669 | -1227.669 | 0
153222.193 | 38.5047 | -1213.719 | -1213.719 | 0
154882.583 | 38.7515 | -1199.782 | -1199.782 | 0
156560.966 | 38.6677 | -1186.14 | -1186.14 | 0
158257.537 | 38.5968 | -1172.638 | -1172.638 | 0
159972.492 | 38.4451 | -1159.302 | -1159.302 | 0
161706.032 | 38.9771 | -1145.994 | -1145.994 | 0
163458.357 | 38.9067 | -1132.94 | -1132.94 | 0
165229.671 | 39.0117 | -1119.924 | -1119.924 | 0
167020.18 | 38.6651 | -1106.976 | -1106.976 | 0
168830.092 | 38.9318 | -1094.485 | -1094.485 | 0
170659.617 | 38.8991 | -1081.762 | -1081.762 | 0
172508.968 | 39.0893 | -1069.199 | -1069.199 | 0
174378.359 | 39.2357 | -1056.922 | -1056.922 | 0
176268.007 | 39.3521 | -1044.663 | -1044.663 | 0
178178.133 | 39.5193 | -1032.434 | -1032.434 | 0
180108.958 | 39.602 | -1020.549 | -1020.549 | 0
182060.706 | 39.5852 | -1008.576 | -1008.576 | 0
184033.605 | 39.7754 | -996.8182 | -996.8182 | 0
186027.882 | 39.9444 | -985.1826 | -985.1826 | 0
188043.771 | 40.0587 | -973.5964 | -973.5964 | 0
190081.504 | 40.1016 | -962.1416 | -962.1416 | 0
192141.32 | 40.2203 | -950.949 | -950.949 | 0
194223.457 | 40.4905 | -939.7313 | -939.7313 | 0
196328.157 | 40.5572 | -928.5951 | -928.5951 | 0
198455.664 | 40.6153 | -917.6696 | -917.6696 | 0
200606.226 | 41.0002 | -906.6451 | -906.6451 | 0
202780.093 | 41.0647 | -896.007 | -896.007 | 0
204977.516 | 41.2699 | -885.314 | -885.314 | 0
207198.752 | 41.3726 | -874.686 | -874.686 | 0
209444.059 | 41.4521 | -864.2909 | -864.2909 | 0
211713.696 | 41.8542 | -853.7766 | -853.7766 | 0
214007.929 | 42.0542 | -843.6516 | -843.6516 | 0
216327.023 | 42.2493 | -833.6368 | -833.6368 | 0
218671.247 | 42.5399 | -823.5332 | -823.5332 | 0
221040.875 | 42.6255 | -813.4904 | -813.4904 | 0
223436.182 | 42.9386 | -803.5499 | -803.5499 | 0
225857.445 | 43.0507 | -793.8223 | -793.8223 | 0
228304.946 | 43.3637 | -784.0804 | -784.0804 | 0
230778.969 | 43.7036 | -774.4542 | -774.4542 | 0
233279.802 | 44.0551 | -764.998 | -764.998 | 0
235807.736 | 44.2435 | -755.6272 | -755.6272 | 0
238363.063 | 44.4889 | -746.2975 | -746.2975 | 0
240946.081 | 44.808 | -736.981 | -736.981 | 0
243557.09 | 45.1354 | -727.8263 | -727.8263 | 0
246196.393 | 45.3275 | -718.7788 | -718.7788 | 0
248864.297 | 45.6129 | -709.7926 | -709.7926 | 0
251561.111 | 45.9782 | -700.8375 | -700.8375 | 0
254287.15 | 46.4238 | -691.9979 | -691.9979 | 0
257042.729 | 46.7293 | -683.2727 | -683.2727 | 0
259828.169 | 47.0332 | -674.6459 | -674.6459 | 0
262643.793 | 47.4399 | -666.0447 | -666.0447 | 0
265489.929 | 47.9317 | -657.5403 | -657.5403 | 0
268366.907 | 48.082 | -649.0935 | -649.0935 | 0
271275.061 | 48.6514 | -640.7646 | -640.7646 | 0
274214.729 | 49.0906 | -632.5342 | -632.5342 | 0
277186.254 | 49.4253 | -624.2804 | -624.2804 | 0
280189.979 | 49.7941 | -616.1105 | -616.1105 | 0
283226.253 | 50.3083 | -608.0188 | -608.0188 | 0
286295.431 | 50.7381 | -600.1025 | -600.1025 | 0
289397.867 | 51.3114 | -592.1558 | -592.1558 | 0
292533.923 | 51.6747 | -584.3361 | -584.3361 | 0
295703.963 | 52.0667 | -576.5906 | -576.5906 | 0
298908.355 | 52.6054 | -568.8248 | -568.8248 | 0
302147.471 | 53.2126 | -561.2115 | -561.2115 | 0
305421.688 | 53.6388 | -553.5991 | -553.5991 | 0
308731.386 | 54.142 | -546.057 | -546.057 | 0
312076.949 | 54.7946 | -538.6819 | -538.6819 | 0
315458.767 | 55.2745 | -531.2791 | -531.2791 | 0
318877.231 | 55.9677 | -523.9353 | -523.9353 | 0
322332.74 | 56.4516 | -516.6503 | -516.6503 | 0
325825.694 | 57.2216 | -509.4186 | -509.4186 | 0
329356.5 | 57.9208 | -502.2783 | -502.2783 | 0
332925.567 | 58.4457 | -495.1863 | -495.1863 | 0
336533.31 | 59.1837 | -488.2181 | -488.2181 | 0
340180.149 | 59.8521 | -481.2742 | -481.2742 | 0
343866.506 | 60.5886 | -474.3348 | -474.3348 | 0
347592.811 | 61.2207 | -467.4675 | -467.4675 | 0
351359.495 | 62.0179 | -460.678 | -460.678 | 0
355166.998 | 62.7517 | -453.939 | -453.939 | 0
359015.76 | 63.5271 | -447.245 | -447.245 | 0
362906.229 | 64.3632 | -440.5637 | -440.5637 | 0
366838.858 | 65.1967 | -433.9899 | -433.9899 | 0
370814.102 | 66.0074 | -427.5118 | -427.5118 | 0
374832.424 | 66.921 | -421.0021 | -421.0021 | 0
378894.29 | 67.8128 | -414.5985 | -414.5985 | 0
383000.173 | 68.7215 | -408.1935 | -408.1935 | 0
387150.549 | 69.7036 | -401.8195 | -401.8195 | 0
391345.9 | 70.717 | -395.5134 | -395.5134 | 0
395586.715 | 71.6527 | -389.2869 | -389.2869 | 0
399873.485 | 72.7862 | -383.0523 | -383.0523 | 0
404206.708 | 73.832 | -376.8857 | -376.8857 | 0
408586.888 | 74.9464 | -370.8713 | -370.8713 | 0
413014.535 | 76.0445 | -364.7835 | -364.7835 | 0
417490.161 | 77.2524 | -358.769 | -358.769 | 0
422014.287 | 78.4907 | -352.8796 | -352.8796 | 0
426587.439 | 79.6677 | -346.9081 | -346.9081 | 0
431210.148 | 80.9675 | -341.0612 | -341.0612 | 0
435882.951 | 82.2772 | -335.2404 | -335.2404 | 0
440606.39 | 83.7112 | -329.5392 | -329.5392 | 0
445381.015 | 85.0522 | -323.7702 | -323.7702 | 0
450207.38 | 86.5474 | -318.0801 | -318.0801 | 0
455086.046 | 88.0627 | -312.3987 | -312.3987 | 0
460017.58 | 89.5586 | -306.8995 | -306.8995 | 0
465002.554 | 91.1352 | -301.3274 | -301.3274 | 0
470041.548 | 92.8014 | -295.8452 | -295.8452 | 0
475135.147 | 94.4702 | -290.3608 | -290.3608 | 0
480283.942 | 96.2191 | -284.9731 | -284.9731 | 0
485488.532 | 98.0504 | -279.5931 | -279.5931 | 0
490749.522 | 99.9174 | -274.3561 | -274.3561 | 0
496067.522 | 101.8494 | -269.0762 | -269.0762 | 0
501443.151 | 103.8172 | -263.8099 | -263.8099 | 0
506877.033 | 105.9349 | -258.6585 | -258.6585 | 0
512369.799 | 108.0593 | -253.5566 | -253.5566 | 0
517922.087 | 110.25 | -248.4746 | -248.4746 | 0
523534.542 | 112.555 | -243.5025 | -243.5025 | 0
529207.817 | 114.9409 | -238.5646 | -238.5646 | 0
534942.57 | 117.4047 | -233.6748 | -233.6748 | 0
540739.468 | 119.9167 | -228.8974 | -228.8974 | 0
546599.184 | 122.5264 | -224.1553 | -224.1553 | 0
552522.398 | 125.203 | -219.4718 | -219.4718 | 0
558509.8 | 128.0826 | -214.897 | -214.897 | 0
564562.083 | 130.9679 | -210.3777 | -210.3777 | 0
570679.952 | 133.9576 | -205.9827 | -205.9827 | 0
576864.118 | 137.0977 | -201.5997 | -201.5997 | 0
583115.298 | 140.2718 | -197.3671 | -197.3671 | 0
589434.219 | 143.6743 | -193.2252 | -193.2252 | 0
595821.614 | 147.0723 | -189.2064 | -189.2064 | 0
602278.227 | 150.6362 | -185.2552 | -185.2552 | 0
608804.807 | 154.3544 | -181.4462 | -181.4462 | 0
615402.111 | 158.1451 | -177.7882 | -177.7882 | 0
622070.908 | 162.0999 | -174.235 | -174.235 | 0
628811.971 | 166.1312 | -170.871 | -170.871 | 0
635626.083 | 170.3289 | -167.6937 | -167.6937 | 0
642514.036 | 174.6157 | -164.6532 | -164.6532 | 0
649476.63 | 179.0467 | -161.8256 | -161.8256 | 0
656514.675 | 183.6231 | -159.1875 | -159.1875 | 0
663628.987 | 188.3054 | -156.7151 | -156.7151 | 0
670820.393 | 193.0868 | -154.5336 | -154.5336 | 0
678089.729 | 197.9946 | -152.5977 | -152.5977 | 0
685437.839 | 203.0335 | -150.9516 | -150.9516 | 0
692865.577 | 208.1139 | -149.523 | -149.523 | 0
700373.805 | 213.2864 | -148.3993 | -148.3993 | 0
707963.396 | 218.5849 | -147.6618 | -147.6618 | 0
715635.231 | 223.864 | -147.2128 | -147.2128 | 0
723390.203 | 229.2271 | -147.108 | -147.108 | 0
731229.21 | 234.5703 | -147.3781 | -147.3781 | 0
739153.166 | 239.9236 | -148.119 | -148.119 | 0
747162.989 | 245.2785 | -149.1629 | -149.1629 | 0
755259.61 | 250.5777 | -150.6186 | -150.6186 | 0
763443.97 | 255.7568 | -152.5673 | -152.5673 | 0
771717.02 | 260.7991 | -154.9119 | -154.9119 | 0
780079.721 | 265.6756 | -157.668 | -157.668 | 0
788533.044 | 270.3905 | -160.902 | -160.902 | 0
797077.971 | 274.7972 | -164.5289 | -164.5289 | 0
805715.496 | 278.9501 | -168.6305 | -168.6305 | 0
814446.62 | 282.6707 | -173.2076 | -173.2076 | 0
823272.36 | 286.1002 | -178.0406 | -178.0406 | 0
832193.739 | 289.0521 | -183.3313 | -183.3313 | 0
841211.795 | 291.6184 | -188.9369 | -188.9369 | 0
850327.575 | 293.6079 | -194.8522 | -194.8522 | 0
859542.138 | 295.0174 | -201.0335 | -201.0335 | 0
868856.555 | 295.8802 | -207.375 | -207.375 | 0
878271.907 | 296.1126 | -213.8294 | -213.8294 | 0
887789.288 | 295.7192 | -220.3775 | -220.3775 | 0
897409.804 | 294.6225 | -227.0826 | -227.0826 | 0
907134.573 | 293.0282 | -233.5891 | -233.5891 | 0
916964.724 | 290.7818 | -240.0344 | -240.0344 | 0
926901.4 | 287.8676 | -246.2891 | -246.2891 | 0
936945.754 | 284.2867 | -252.4279 | -252.4279 | 0
947098.953 | 280.2814 | -258.1475 | -258.1475 | 0
957362.178 | 275.6655 | -263.4887 | -263.4887 | 0
967736.62 | 270.6944 | -268.466 | -268.466 | 0
978223.484 | 265.0867 | -273.0612 | -273.0612 | 0
988823.99 | 259.2682 | -277.1115 | -277.1115 | 0
999539.367 | 253.1053 | -280.7701 | -280.7701 | 0
1010370.861 | 246.6319 | -283.9066 | -283.9066 | 0
1021319.731 | 240.0634 | -286.443 | -286.443 | 0
1032387.248 | 233.3082 | -288.5439 | -288.5439 | 0
1043574.698 | 226.4762 | -290.0785 | -290.0785 | 0
1054883.381 | 219.5294 | -291.1718 | -291.1718 | 0
1066314.61 | 212.6457 | -291.7752 | -291.7752 | 0
1077869.714 | 205.8459 | -291.8693 | -291.8693 | 0
1089550.034 | 199.0172 | -291.5997 | -291.5997 | 0
1101356.928 | 192.3001 | -290.8625 | -290.8625 | 0
1113291.767 | 185.8188 | -289.8124 | -289.8124 | 0
1125355.937 | 179.4764 | -288.2971 | -288.2971 | 0
1137550.841 | 173.3569 | -286.6223 | -286.6223 | 0
1149877.895 | 167.3316 | -284.6099 | -284.6099 | 0
1162338.531 | 161.5345 | -282.2038 | -282.2038 | 0
1174934.196 | 155.9763 | -279.6973 | -279.6973 | 0
1187666.354 | 150.6591 | -276.94 | -276.94 | 0
1200536.484 | 145.5406 | -273.978 | -273.978 | 0
1213546.081 | 140.6504 | -270.783 | -270.783 | 0
1226696.656 | 135.8779 | -267.566 | -267.566 | 0
1239989.738 | 131.4545 | -264.1014 | -264.1014 | 0
1253426.869 | 127.2381 | -260.6202 | -260.6202 | 0
1267009.612 | 123.2397 | -257.0346 | -257.0346 | 0
1280739.544 | 119.3279 | -253.3806 | -253.3806 | 0
1294618.26 | 115.6727 | -249.6804 | -249.6804 | 0
1308647.373 | 112.2566 | -245.846 | -245.846 | 0
1322828.512 | 108.9443 | -241.994 | -241.994 | 0
1337163.325 | 105.927 | -238.1288 | -238.1288 | 0
1351653.477 | 103.0229 | -234.2361 | -234.2361 | 0
1366300.651 | 100.2421 | -230.3546 | -230.3546 | 0
1381106.549 | 97.732 | -226.4624 | -226.4624 | 0
1396072.891 | 95.2573 | -222.6133 | -222.6133 | 0
1411201.415 | 92.9625 | -218.6996 | -218.6996 | 0
1426493.88 | 90.816 | -214.7954 | -214.7954 | 0
1441952.061 | 88.8841 | -210.9481 | -210.9481 | 0
1457577.754 | 86.9581 | -207.111 | -207.111 | 0
1473372.775 | 85.1543 | -203.2881 | -203.2881 | 0
1489338.959 | 83.5541 | -199.434 | -199.434 | 0
1505478.16 | 82.0094 | -195.6706 | -195.6706 | 0
1521792.253 | 80.5901 | -191.9499 | -191.9499 | 0
1538283.134 | 79.2816 | -188.2258 | -188.2258 | 0
1554952.717 | 78.0509 | -184.5504 | -184.5504 | 0
1571802.941 | 76.9404 | -180.8918 | -180.8918 | 0
1588835.762 | 75.8784 | -177.2944 | -177.2944 | 0
1606053.158 | 74.9287 | -173.7208 | -173.7208 | 0
1623457.131 | 74.1022 | -170.1525 | -170.1525 | 0
1641049.702 | 73.3144 | -166.6697 | -166.6697 | 0
1658832.914 | 72.5863 | -163.1919 | -163.1919 | 0
1676808.834 | 71.9587 | -159.7589 | -159.7589 | 0
1694979.549 | 71.3962 | -156.3389 | -156.3389 | 0
1713347.172 | 70.9216 | -153.0007 | -153.0007 | 0
1731913.834 | 70.5037 | -149.6777 | -149.6777 | 0
1750681.695 | 70.16 | -146.3931 | -146.3931 | 0
1769652.932 | 69.859 | -143.1274 | -143.1274 | 0
1788829.752 | 69.6393 | -139.928 | -139.928 | 0
1808214.38 | 69.456 | -136.7591 | -136.7591 | 0
1827809.07 | 69.3591 | -133.649 | -133.649 | 0
1847616.098 | 69.2847 | -130.5457 | -130.5457 | 0
1867637.764 | 69.2966 | -127.4879 | -127.4879 | 0
1887876.395 | 69.3778 | -124.4577 | -124.4577 | 0
1908334.341 | 69.484 | -121.4767 | -121.4767 | 0
1929013.98 | 69.6454 | -118.5487 | -118.5487 | 0
1949917.713 | 69.8657 | -115.6539 | -115.6539 | 0
1971047.969 | 70.16 | -112.7724 | -112.7724 | 0
1992407.203 | 70.4835 | -109.9475 | -109.9475 | 0
2013997.896 | 70.869 | -107.1624 | -107.1624 | 0
2035822.556 | 71.2909 | -104.4127 | -104.4127 | 0
2057883.719 | 71.7784 | -101.6811 | -101.6811 | 0
2080183.947 | 72.3084 | -99.0168 | -99.0168 | 0
2102725.832 | 72.8729 | -96.3971 | -96.3971 | 0
2125511.991 | 73.502 | -93.7955 | -93.7955 | 0
2148545.072 | 74.1754 | -91.2641 | -91.2641 | 0
2171827.751 | 74.895 | -88.7516 | -88.7516 | 0
2195362.732 | 75.6527 | -86.2929 | -86.2929 | 0
2219152.75 | 76.4627 | -83.8778 | -83.8778 | 0
2243200.568 | 77.3241 | -81.5118 | -81.5118 | 0
2267508.979 | 78.2219 | -79.1853 | -79.1853 | 0
2292080.809 | 79.1686 | -76.8991 | -76.8991 | 0
2316918.911 | 80.1559 | -74.6777 | -74.6777 | 0
2342026.17 | 81.1878 | -72.4901 | -72.4901 | 0
2367405.504 | 82.2575 | -70.3547 | -70.3547 | 0
2393059.861 | 83.3568 | -68.2691 | -68.2691 | 0
2418992.221 | 84.5367 | -66.2321 | -66.2321 | 0
2445205.597 | 85.7276 | -64.2625 | -64.2625 | 0
2471703.033 | 86.9608 | -62.329 | -62.329 | 0
2498487.609 | 88.2307 | -60.4482 | -60.4482 | 0
2525562.435 | 89.556 | -58.6257 | -58.6257 | 0
2552930.657 | 90.9085 | -56.8558 | -56.8558 | 0
2580595.454 | 92.2981 | -55.1541 | -55.1541 | 0
2608560.041 | 93.7296 | -53.5017 | -53.5017 | 0
2636827.666 | 95.2034 | -51.9007 | -51.9007 | 0
2665401.612 | 96.709 | -50.3668 | -50.3668 | 0
2694285.2 | 98.2694 | -48.9107 | -48.9107 | 0
2723481.784 | 99.8441 | -47.4975 | -47.4975 | 0
2752994.756 | 101.4754 | -46.1593 | -46.1593 | 0
2782827.546 | 103.137 | -44.8786 | -44.8786 | 0
2812983.618 | 104.839 | -43.6859 | -43.6859 | 0
2843466.476 | 106.5809 | -42.568 | -42.568 | 0
2874279.66 | 108.3541 | -41.525 | -41.525 | 0
2905426.752 | 110.1714 | -40.5804 | -40.5804 | 0
2936911.369 | 112.0227 | -39.7287 | -39.7287 | 0
2968737.168 | 113.8931 | -38.9528 | -38.9528 | 0
3000907.847 | 115.8058 | -38.2794 | -38.2794 | 0
3033427.143 | 117.7372 | -37.7274 | -37.7274 | 0
3066298.834 | 119.7004 | -37.2958 | -37.2958 | 0
3099526.739 | 121.6681 | -36.9595 | -36.9595 | 0
3133114.717 | 123.6568 | -36.7389 | -36.7389 | 0
3167066.671 | 125.6385 | -36.6827 | -36.6827 | 0
3201386.545 | 127.6231 | -36.7548 | -36.7548 | 0
3236078.326 | 129.5508 | -36.9462 | -36.9462 | 0
3271146.044 | 131.4875 | -37.2933 | -37.2933 | 0
3306593.772 | 133.3706 | -37.7793 | -37.7793 | 0
3342425.63 | 135.2162 | -38.4096 | -38.4096 | 0
3378645.779 | 136.9485 | -39.2075 | -39.2075 | 0
3415258.427 | 138.6113 | -40.0987 | -40.0987 | 0
3452267.827 | 140.1727 | -41.1816 | -41.1816 | 0
3489678.279 | 141.617 | -42.3659 | -42.3659 | 0
3527494.129 | 142.9599 | -43.6687 | -43.6687 | 0
3565719.77 | 144.1314 | -45.073 | -45.073 | 0
3604359.643 | 145.1336 | -46.5859 | -46.5859 | 0
3643418.236 | 145.9849 | -48.1772 | -48.1772 | 0
3682900.087 | 146.6211 | -49.8346 | -49.8346 | 0
3722809.783 | 147.0967 | -51.4676 | -51.4676 | 0
3763151.959 | 147.3787 | -53.1904 | -53.1904 | 0
3803931.303 | 147.4904 | -54.9294 | -54.9294 | 0
3845152.552 | 147.3569 | -56.6119 | -56.6119 | 0
3886820.494 | 147.0879 | -58.2125 | -58.2125 | 0
3928939.97 | 146.5991 | -59.7658 | -59.7658 | 0
3971515.874 | 145.9749 | -61.2217 | -61.2217 | 0
4014553.15 | 145.2014 | -62.5468 | -62.5468 | 0
4058056.8 | 144.2675 | -63.7765 | -63.7765 | 0
4102031.876 | 143.2198 | -64.807 | -64.807 | 0
4146483.487 | 142.0499 | -65.7261 | -65.7261 | 0
4191416.798 | 140.849 | -66.4515 | -66.4515 | 0
4236837.027 | 139.5873 | -67.0255 | -67.0255 | 0
4282749.453 | 138.2925 | -67.4289 | -67.4289 | 0
4329159.408 | 136.9866 | -67.6383 | -67.6383 | 0
4376072.284 | 135.7193 | -67.6844 | -67.6844 | 0
4423493.53 | 134.4789 | -67.5597 | -67.5597 | 0
4471428.656 | 133.323 | -67.315 | -67.315 | 0
4519883.231 | 132.2258 | -66.8774 | -66.8774 | 0
4568862.882 | 131.2498 | -66.3568 | -66.3568 | 0
4618373.301 | 130.396 | -65.7051 | -65.7051 | 0
4668420.24 | 129.652 | -64.9336 | -64.9336 | 0
4719009.511 | 129.0651 | -64.1214 | -64.1214 | 0
4770146.991 | 128.6135 | -63.2401 | -63.2401 | 0
4821838.623 | 128.3322 | -62.3233 | -62.3233 | 0
4874090.41 | 128.1961 | -61.3751 | -61.3751 | 0
4926908.423 | 128.2163 | -60.456 | -60.456 | 0
4980298.798 | 128.4127 | -59.5659 | -59.5659 | 0
5034267.736 | 128.6854 | -58.7185 | -58.7185 | 0
5088821.509 | 129.1808 | -57.9336 | -57.9336 | 0
5143966.452 | 129.8002 | -57.2549 | -57.2549 | 0
5199708.973 | 130.5551 | -56.6924 | -56.6924 | 0
5256055.547 | 131.435 | -56.2398 | -56.2398 | 0
5313012.72 | 132.4017 | -55.9637 | -55.9637 | 0
5370587.108 | 133.4463 | -55.8171 | -55.8171 | 0
5428785.401 | 134.557 | -55.8693 | -55.8693 | 0
5487614.358 | 135.68 | -56.0906 | -56.0906 | 0
5547080.815 | 136.8024 | -56.4957 | -56.4957 | 0
5607191.679 | 137.8997 | -57.0979 | -57.0979 | 0
5667953.934 | 138.9445 | -57.8628 | -57.8628 | 0
5729374.638 | 139.9266 | -58.79 | -58.79 | 0
5791460.926 | 140.7983 | -59.8966 | -59.8966 | 0
5854220.012 | 141.5414 | -61.1253 | -61.1253 | 0
5917659.186 | 142.1729 | -62.4546 | -62.4546 | 0
5981785.817 | 142.6566 | -63.8707 | -63.8707 | 0
6046607.356 | 142.9859 | -65.3756 | -65.3756 | 0
6112131.333 | 143.1867 | -66.8959 | -66.8959 | 0
6178365.359 | 143.2361 | -68.4636 | -68.4636 | 0
6245317.129 | 143.154 | -70.04 | -70.04 | 0
6312994.421 | 142.9401 | -71.622 | -71.622 | 0
6381405.098 | 142.6373 | -73.1614 | -73.1614 | 0
6450557.105 | 142.184 | -74.6916 | -74.6916 | 0
6520458.478 | 141.6549 | -76.2126 | -76.2126 | 0
6591117.335 | 141.0606 | -77.6674 | -77.6674 | 0
6662541.887 | 140.339 | -79.0803 | -79.0803 | 0
6734740.429 | 139.6075 | -80.4582 | -80.4582 | 0
6807721.35 | 138.7583 | -81.8586 | -81.8586 | 0
6881493.128 | 137.892 | -83.1925 | -83.1925 | 0
6956064.332 | 136.9536 | -84.488 | -84.488 | 0
7031443.627 | 135.9713 | -85.7724 | -85.7724 | 0
7107639.768 | 134.9142 | -87.0528 | -87.0528 | 0
7184661.607 | 133.8053 | -88.3165 | -88.3165 | 0
7262518.093 | 132.6236 | -89.5507 | -89.5507 | 0
7341218.269 | 131.328 | -90.7846 | -90.7846 | 0
7420771.279 | 130.0043 | -91.9796 | -91.9796 | 0
7501186.364 | 128.5523 | -93.1229 | -93.1229 | 0
7582472.866 | 127.0428 | -94.2031 | -94.2031 | 0
7664640.227 | 125.4326 | -95.2288 | -95.2288 | 0
7747697.994 | 123.6957 | -96.1744 | -96.1744 | 0
7831655.816 | 121.8979 | -96.9406 | -96.9406 | 0
7916523.445 | 120.1021 | -97.6106 | -97.6106 | 0
8002310.742 | 118.3232 | -98.1677 | -98.1677 | 0
8089027.671 | 116.4954 | -98.6364 | -98.6364 | 0
8176684.307 | 114.7118 | -98.983 | -98.983 | 0
8265290.832 | 112.9663 | -99.2526 | -99.2526 | 0
8354857.541 | 111.2333 | -99.4217 | -99.4217 | 0
8445394.839 | 109.5763 | -99.5112 | -99.5112 | 0
8536913.243 | 107.9824 | -99.5776 | -99.5776 | 0
8629423.384 | 106.4527 | -99.5926 | -99.5926 | 0
8722936.011 | 104.9455 | -99.5905 | -99.5905 | 0
8817461.986 | 103.5413 | -99.5641 | -99.5641 | 0
8913012.29 | 102.1563 | -99.5616 | -99.5616 | 0
9009598.024 | 100.8239 | -99.5491 | -99.5491 | 0
9107230.407 | 99.5131 | -99.5875 | -99.5875 | 0
9205920.783 | 98.217 | -99.6365 | -99.6365 | 0
9305680.615 | 96.9496 | -99.7018 | -99.7018 | 0
9406521.494 | 95.6796 | -99.8303 | -99.8303 | 0
9508455.133 | 94.401 | -99.9863 | -99.9863 | 0
9611493.375 | 93.0858 | -100.1872 | -100.1872 | 0
9715648.189 | 91.7516 | -100.3987 | -100.3987 | 0
9820931.676 | 90.3316 | -100.6596 | -100.6596 | 0
9927356.065 | 88.8692 | -100.9357 | -100.9357 | 0
10034933.721 | 87.3337 | -101.2294 | -101.2294 | 0
10143677.141 | 85.7064 | -101.5001 | -101.5001 | 0
10253598.957 | 83.9933 | -101.7389 | -101.7389 | 0
10364711.94 | 82.1997 | -101.9301 | -101.9301 | 0
10477028.997 | 80.3272 | -102.0592 | -102.0592 | 0
10590563.176 | 78.3737 | -102.1106 | -102.1106 | 0
10705327.666 | 76.3436 | -102.0934 | -102.0934 | 0
10821335.801 | 74.287 | -101.9403 | -101.9403 | 0
10938601.056 | 72.1753 | -101.7 | -101.7 | 0
11057137.054 | 70.0471 | -101.313 | -101.313 | 0
11176957.566 | 67.9221 | -100.8221 | -100.8221 | 0
11298076.511 | 65.8187 | -100.1881 | -100.1881 | 0
11420507.96 | 63.7539 | -99.4237 | -99.4237 | 0
11544266.136 | 61.752 | -98.568 | -98.568 | 0
11669365.415 | 59.8349 | -97.6178 | -97.6178 | 0
11795820.331 | 57.9988 | -96.584 | -96.584 | 0
11923645.574 | 56.2593 | -95.5058 | -95.5058 | 0
12052855.993 | 54.5875 | -94.3859 | -94.3859 | 0
12183466.6 | 53.0205 | -93.2454 | -93.2454 | 0
12315492.566 | 51.5371 | -92.1003 | -92.1003 | 0
12448949.23 | 50.1299 | -90.9716 | -90.9716 | 0
12583852.095 | 48.7785 | -89.8484 | -89.8484 | 0
12720216.834 | 47.4644 | -88.7553 | -88.7553 | 0
12858059.286 | 46.2038 | -87.7003 | -87.7003 | 0
12997395.467 | 44.9326 | -86.6765 | -86.6765 | 0
13138241.562 | 43.6839 | -85.6734 | -85.6734 | 0
13280613.934 | 42.4014 | -84.6887 | -84.6887 | 0
13424529.122 | 41.099 | -83.7055 | -83.7055 | 0
13570003.846 | 39.7555 | -82.7192 | -82.7192 | 0
13717055.004 | 38.3982 | -81.6703 | -81.6703 | 0
13865699.679 | 37.0083 | -80.6023 | -80.6023 | 0
14015955.141 | 35.6089 | -79.4653 | -79.4653 | 0
14167838.844 | 34.1997 | -78.2637 | -78.2637 | 0
14321368.433 | 32.8041 | -76.9916 | -76.9916 | 0
14476561.742 | 31.4258 | -75.6275 | -75.6275 | 0
14633436.802 | 30.0893 | -74.2006 | -74.2006 | 0
14792011.837 | 28.812 | -72.6901 | -72.6901 | 0
14952305.267 | 27.6069 | -71.1101 | -71.1101 | 0
15114335.715 | 26.4846 | -69.4932 | -69.4932 | 0
15278122.004 | 25.4398 | -67.8466 | -67.8466 | 0
15443683.161 | 24.4606 | -66.1517 | -66.1517 | 0
15611038.419 | 23.5841 | -64.4241 | -64.4241 | 0
15780207.219 | 22.8165 | -62.6868 | -62.6868 | 0
15951209.215 | 22.1487 | -60.9544 | -60.9544 | 0
16124064.272 | 21.6244 | -59.2416 | -59.2416 | 0
16298792.471 | 21.229 | -57.6463 | -57.6463 | 0
16475414.109 | 20.8116 | -56.2028 | -56.2028 | 0
16653949.704 | 20.3662 | -54.7822 | -54.7822 | 0
16834419.999 | 19.9187 | -53.3578 | -53.3578 | 0
17016845.957 | 19.5476 | -51.928 | -51.928 | 0
17201248.771 | 19.2031 | -50.5892 | -50.5892 | 0
17387649.865 | 18.8329 | -49.3124 | -49.3124 | 0
17576070.891 | 18.4529 | -48.0686 | -48.0686 | 0
17766533.738 | 18.0575 | -46.8677 | -46.8677 | 0
17959060.534 | 17.6007 | -45.6786 | -45.6786 | 0
18153673.644 | 17.126 | -44.4116 | -44.4116 | 0
18350395.676 | 16.6522 | -43.135 | -43.135 | 0
18549249.483 | 16.2396 | -41.8203 | -41.8203 | 0
18750258.167 | 15.9213 | -40.5931 | -40.5931 | 0
18953445.079 | 15.5521 | -39.5121 | -39.5121 | 0
19158833.823 | 15.0304 | -38.4062 | -38.4062 | 0
19366448.26 | 14.4667 | -37.1768 | -37.1768 | 0
19576312.507 | 13.9383 | -35.8712 | -35.8712 | 0
19788450.945 | 13.4439 | -34.5586 | -34.5586 | 0
20002888.218 | 12.9473 | -33.2522 | -33.2522 | 0
20219649.238 | 12.423 | -31.9558 | -31.9558 | 0
20438759.186 | 11.8538 | -30.6044 | -30.6044 | 0
20660243.516 | 11.2953 | -29.1388 | -29.1388 | 0
20884127.957 | 10.8112 | -27.5631 | -27.5631 | 0
21110438.52 | 10.4446 | -25.9391 | -25.9391 | 0
21339201.493 | 10.1924 | -24.3236 | -24.3236 | 0
21570443.453 | 10.0253 | -22.7707 | -22.7707 | 0
21804191.264 | 9.9179 | -21.2961 | -21.2961 | 0
22040472.079 | 9.812 | -19.926 | -19.926 | 0
22279313.348 | 9.626 | -18.6025 | -18.6025 | 0
22520742.818 | 9.3936 | -17.2364 | -17.2364 | 0
22764788.534 | 9.1629 | -15.8451 | -15.8451 | 0
23011478.848 | 8.9378 | -14.4341 | -14.4341 | 0
23260842.419 | 8.7233 | -13.0093 | -13.0093 | 0
23512908.214 | 8.5195 | -11.584 | -11.584 | 0
23767705.517 | 8.3077 | -10.1627 | -10.1627 | 0
24025263.927 | 8.0409 | -8.7198 | -8.7198 | 0
24285613.366 | 7.7955 | -7.1893 | -7.1893 | 0
24548784.077 | 7.5927 | -5.6295 | -5.6295 | 0
24814806.635 | 7.4167 | -4.057 | -4.057 | 0
25083711.942 | 7.2577 | -2.4587 | -2.4587 | 0
25355531.237 | 7.1317 | -0.83186 | -0.83186 | 0
25630296.099 | 7.0355 | 0.79985 | 0.79985 | 0
25908038.446 | 6.952 | 2.4513 | 2.4513 | 0
26188790.544 | 6.9008 | 4.1315 | 4.1315 | 0
26472585.009 | 6.8868 | 5.8177 | 5.8177 | 0
26759454.808 | 6.8985 | 7.5092 | 7.5092 | 0
27049433.268 | 6.9359 | 9.2051 | 9.2051 | 0
27342554.075 | 6.9912 | 10.8958 | 10.8958 | 0
27638851.282 | 7.0586 | 12.5925 | 12.5925 | 0
27938359.31 | 7.1333 | 14.2815 | 14.2815 | 0
28241112.952 | 7.2023 | 15.965 | 15.965 | 0
28547147.38 | 7.2368 | 17.653 | 17.653 | 0
28856498.145 | 7.2195 | 19.3718 | 19.3718 | 0
29169201.186 | 7.1614 | 21.1755 | 21.1755 | 0
29485292.829 | 7.1084 | 23.0697 | 23.0697 | 0
29804809.795 | 7.064 | 25.0447 | 25.0447 | 0
30127789.202 | 7.045 | 27.1208 | 27.1208 | 0
30454268.571 | 7.0742 | 29.3011 | 29.3011 | 0
30784285.828 | 7.1781 | 31.5588 | 31.5588 | 0
31117879.314 | 7.3562 | 33.8835 | 33.8835 | 0
31455087.78 | 7.6164 | 36.2495 | 36.2495 | 0
31795950.401 | 7.9236 | 38.6396 | 38.6396 | 0
32140506.776 | 8.2772 | 41.0863 | 41.0863 | 0
32488796.93 | 8.6835 | 43.5888 | 43.5888 | 0
32840861.326 | 9.1398 | 46.1551 | 46.1551 | 0
33196740.864 | 9.6341 | 48.7804 | 48.7804 | 0
33556476.884 | 10.1852 | 51.492 | 51.492 | 0
33920111.179 | 10.8064 | 54.2844 | 54.2844 | 0
34287685.992 | 11.5001 | 57.1591 | 57.1591 | 0
34659244.025 | 12.2853 | 60.1129 | 60.1129 | 0
35034828.441 | 13.156 | 63.1493 | 63.1493 | 0
35414482.872 | 14.1278 | 66.238 | 66.238 | 0
35798251.423 | 15.1899 | 69.3572 | 69.3572 | 0
36186178.677 | 16.2529 | 72.451 | 72.451 | 0
36578309.699 | 17.1913 | 75.6221 | 75.6221 | 0
36974690.043 | 17.9432 | 79.076 | 79.076 | 0
37375365.757 | 18.6657 | 83.0526 | 83.0526 | 0
37780383.389 | 19.6372 | 87.6051 | 87.6051 | 0
38189789.988 | 21.1135 | 92.6383 | 92.6383 | 0
38603633.116 | 23.2632 | 97.8994 | 97.8994 | 0
39021960.849 | 26.0357 | 103.128 | 103.128 | 0
39444821.785 | 29.2269 | 108.0512 | 108.0512 | 0
39872265.048 | 32.4173 | 112.5835 | 112.5835 | 0
40304340.294 | 34.9821 | 117.1068 | 117.1068 | 0
40741097.717 | 36.9836 | 122.5637 | 122.5637 | 0
41182588.056 | 39.0675 | 129.5747 | 129.5747 | 0
41628862.598 | 42.1118 | 138.2554 | 138.2554 | 0
42079973.189 | 46.8391 | 148.1342 | 148.1342 | 0
42535972.233 | 53.3774 | 158.7696 | 158.7696 | 0
42996912.705 | 62.1204 | 169.9344 | 169.9344 | 0
43462848.151 | 71.3116 | 180.596 | 180.596 | 0
43933832.701 | 83.2848 | 192.6468 | 192.6468 | 0
44409921.068 | 97.7451 | 205.8656 | 205.8656 | 0
44891168.56 | 115.9024 | 220.407 | 220.407 | 0
45377631.084 | 139.0067 | 237.2697 | 237.2697 | 0
45869365.152 | 172.7231 | 257.2959 | 257.2959 | 0
46366427.89 | 224.9508 | 274.2972 | 274.2972 | 0
46868877.041 | 300.6852 | 273.7922 | 273.7922 | 0
47376770.975 | 390.3522 | 231.4929 | 231.4929 | 0
47890168.695 | 460.8769 | 136.3738 | 136.3738 | 0
48409129.842 | 471.0674 | 7.3654 | 7.3654 | 0
48933714.704 | 413.2863 | -101.4035 | -101.4035 | 0
49463984.223 | 322.0774 | -160.124 | -160.124 | 0
50000000 | 233.8511 | -162.9101 | -162.9101 | 0