## 03-Feb-16 16h 43m 58s
4294A REV1.11
DATE: Feb 3 2016
MEASURE PARAMETER: IMPEDANCE RESISTANCE - REACTANCE
ADAPTER: PROBE
SWEEP TYPE: LOG FREQ
NUMBER of POINTS: 801
POINT DELAY TIME: 0 Sec
SWEEP DELAY TIME: 0 Sec
OSC LEVEL: 500 mVolt
DC BIAS: OFF
BW: 3
SWEEP AVERAGING: OFF
POINT AVERAGING: OFF
TRACE: A
FORMAT: LINEAR
Frequency | Data Real | Data Imag | Data Trace Real | Data Trace Imag
9000 | 2.8332 | 16.4792 | 2.8332 | 0
9097.528 | 2.8692 | 16.6429 | 2.8692 | 0
9196.114 | 2.908 | 16.8022 | 2.908 | 0
9295.767 | 2.9493 | 16.9671 | 2.9493 | 0
9396.501 | 2.9917 | 17.1315 | 2.9917 | 0
9498.326 | 3.0273 | 17.2933 | 3.0273 | 0
9601.254 | 3.0764 | 17.4585 | 3.0764 | 0
9705.298 | 3.1198 | 17.631 | 3.1198 | 0
9810.469 | 3.1586 | 17.7993 | 3.1586 | 0
9916.78 | 3.1974 | 17.9729 | 3.1974 | 0
10024.243 | 3.2404 | 18.1462 | 3.2404 | 0
10132.871 | 3.2862 | 18.318 | 3.2862 | 0
10242.676 | 3.3275 | 18.4955 | 3.3275 | 0
10353.67 | 3.3737 | 18.6731 | 3.3737 | 0
10465.868 | 3.4195 | 18.8612 | 3.4195 | 0
10579.281 | 3.4617 | 19.0384 | 3.4617 | 0
10693.923 | 3.5119 | 19.2162 | 3.5119 | 0
10809.808 | 3.561 | 19.4036 | 3.561 | 0
10926.948 | 3.6052 | 19.5917 | 3.6052 | 0
11045.358 | 3.6571 | 19.7763 | 3.6571 | 0
11165.051 | 3.7014 | 19.9678 | 3.7014 | 0
11286.041 | 3.7486 | 20.1547 | 3.7486 | 0
11408.342 | 3.7983 | 20.3488 | 3.7983 | 0
11531.968 | 3.8524 | 20.5456 | 3.8524 | 0
11656.934 | 3.9065 | 20.7428 | 3.9065 | 0
11783.254 | 3.9579 | 20.9381 | 3.9579 | 0
11910.943 | 4.0106 | 21.1392 | 4.0106 | 0
12040.016 | 4.067 | 21.3449 | 4.067 | 0
12170.487 | 4.1248 | 21.5495 | 4.1248 | 0
12302.373 | 4.1735 | 21.7493 | 4.1735 | 0
12435.687 | 4.2296 | 21.9551 | 4.2296 | 0
12570.446 | 4.2881 | 22.1744 | 4.2881 | 0
12706.666 | 4.3465 | 22.3781 | 4.3465 | 0
12844.361 | 4.3973 | 22.5933 | 4.3973 | 0
12983.549 | 4.4621 | 22.8116 | 4.4621 | 0
13124.245 | 4.5202 | 23.0275 | 4.5202 | 0
13266.466 | 4.5808 | 23.2492 | 4.5808 | 0
13410.228 | 4.6475 | 23.4638 | 4.6475 | 0
13555.548 | 4.7063 | 23.694 | 4.7063 | 0
13702.442 | 4.7766 | 23.9123 | 4.7766 | 0
13850.928 | 4.8281 | 24.1375 | 4.8281 | 0
14001.024 | 4.8903 | 24.3678 | 4.8903 | 0
14152.746 | 4.9663 | 24.5958 | 4.9663 | 0
14306.112 | 5.0235 | 24.8334 | 5.0235 | 0
14461.14 | 5.0933 | 25.0706 | 5.0933 | 0
14617.848 | 5.1604 | 25.303 | 5.1604 | 0
14776.254 | 5.2359 | 25.5409 | 5.2359 | 0
14936.376 | 5.3103 | 25.7843 | 5.3103 | 0
15098.234 | 5.3715 | 26.031 | 5.3715 | 0
15261.846 | 5.4404 | 26.274 | 5.4404 | 0
15427.231 | 5.5114 | 26.5216 | 5.5114 | 0
15594.408 | 5.593 | 26.769 | 5.593 | 0
15763.396 | 5.669 | 27.0232 | 5.669 | 0
15934.216 | 5.7431 | 27.2791 | 5.7431 | 0
16106.887 | 5.8302 | 27.5334 | 5.8302 | 0
16281.429 | 5.8933 | 27.7902 | 5.8933 | 0
16457.863 | 5.9672 | 28.0549 | 5.9672 | 0
16636.208 | 6.0586 | 28.3178 | 6.0586 | 0
16816.486 | 6.153 | 28.5885 | 6.153 | 0
16998.718 | 6.2197 | 28.8537 | 6.2197 | 0
17182.924 | 6.303 | 29.1241 | 6.303 | 0
17369.127 | 6.3832 | 29.401 | 6.3832 | 0
17557.347 | 6.4827 | 29.6731 | 6.4827 | 0
17747.607 | 6.5677 | 29.9508 | 6.5677 | 0
17939.929 | 6.6554 | 30.2263 | 6.6554 | 0
18134.334 | 6.7397 | 30.5154 | 6.7397 | 0
18330.847 | 6.8304 | 30.8014 | 6.8304 | 0
18529.489 | 6.9186 | 31.0818 | 6.9186 | 0
18730.283 | 7.0152 | 31.3775 | 7.0152 | 0
18933.254 | 7.1114 | 31.6657 | 7.1114 | 0
19138.424 | 7.2038 | 31.9549 | 7.2038 | 0
19345.817 | 7.3006 | 32.2578 | 7.3006 | 0
19555.458 | 7.3889 | 32.559 | 7.3889 | 0
19767.37 | 7.4947 | 32.8605 | 7.4947 | 0
19981.579 | 7.6002 | 33.1681 | 7.6002 | 0
20198.109 | 7.692 | 33.4715 | 7.692 | 0
20416.986 | 7.7975 | 33.7742 | 7.7975 | 0
20638.234 | 7.9149 | 34.0919 | 7.9149 | 0
20861.88 | 8.0109 | 34.412 | 8.0109 | 0
21087.949 | 8.1149 | 34.731 | 8.1149 | 0
21316.469 | 8.2256 | 35.0431 | 8.2256 | 0
21547.464 | 8.3366 | 35.3673 | 8.3366 | 0
21780.963 | 8.4474 | 35.689 | 8.4474 | 0
22016.992 | 8.5658 | 36.029 | 8.5658 | 0
22255.579 | 8.674 | 36.3531 | 8.674 | 0
22496.751 | 8.7877 | 36.6863 | 8.7877 | 0
22740.537 | 8.9135 | 37.0194 | 8.9135 | 0
22986.964 | 9.0358 | 37.3628 | 9.0358 | 0
23236.062 | 9.1583 | 37.6959 | 9.1583 | 0
23487.86 | 9.2803 | 38.0461 | 9.2803 | 0
23742.386 | 9.3958 | 38.3887 | 9.3958 | 0
23999.67 | 9.5238 | 38.7379 | 9.5238 | 0
24259.742 | 9.6565 | 39.0964 | 9.6565 | 0
24522.632 | 9.7841 | 39.4505 | 9.7841 | 0
24788.371 | 9.9128 | 39.8159 | 9.9128 | 0
25056.99 | 10.0455 | 40.1709 | 10.0455 | 0
25328.52 | 10.1799 | 40.5416 | 10.1799 | 0
25602.992 | 10.3189 | 40.9005 | 10.3189 | 0
25880.438 | 10.4447 | 41.2704 | 10.4447 | 0
26160.891 | 10.5931 | 41.6483 | 10.5931 | 0
26444.383 | 10.7334 | 42.0251 | 10.7334 | 0
26730.948 | 10.8698 | 42.4011 | 10.8698 | 0
27020.617 | 11.0094 | 42.7885 | 11.0094 | 0
27313.426 | 11.1631 | 43.1739 | 11.1631 | 0
27609.407 | 11.309 | 43.5603 | 11.309 | 0
27908.596 | 11.4668 | 43.9483 | 11.4668 | 0
28211.027 | 11.6124 | 44.3411 | 11.6124 | 0
28516.736 | 11.7639 | 44.7458 | 11.7639 | 0
28825.757 | 11.9251 | 45.1457 | 11.9251 | 0
29138.127 | 12.0751 | 45.5473 | 12.0751 | 0
29453.882 | 12.2429 | 45.9611 | 12.2429 | 0
29773.058 | 12.4023 | 46.3656 | 12.4023 | 0
30095.694 | 12.5681 | 46.7771 | 12.5681 | 0
30421.825 | 12.7211 | 47.1985 | 12.7211 | 0
30751.491 | 12.9075 | 47.6222 | 12.9075 | 0
31084.729 | 13.0694 | 48.0437 | 13.0694 | 0
31421.578 | 13.2358 | 48.47 | 13.2358 | 0
31762.078 | 13.4204 | 48.8963 | 13.4204 | 0
32106.267 | 13.5754 | 49.3304 | 13.5754 | 0
32454.186 | 13.7713 | 49.7627 | 13.7713 | 0
32805.876 | 13.9408 | 50.2025 | 13.9408 | 0
33161.376 | 14.1369 | 50.645 | 14.1369 | 0
33520.729 | 14.3136 | 51.089 | 14.3136 | 0
33883.976 | 14.4962 | 51.5402 | 14.4962 | 0
34251.159 | 14.6942 | 51.9916 | 14.6942 | 0
34622.321 | 14.8807 | 52.4569 | 14.8807 | 0
34997.505 | 15.0711 | 52.9153 | 15.0711 | 0
35376.755 | 15.2645 | 53.3783 | 15.2645 | 0
35760.115 | 15.4524 | 53.8389 | 15.4524 | 0
36147.629 | 15.6544 | 54.3188 | 15.6544 | 0
36539.342 | 15.8535 | 54.7883 | 15.8535 | 0
36935.301 | 16.0635 | 55.2757 | 16.0635 | 0
37335.549 | 16.2777 | 55.7516 | 16.2777 | 0
37740.136 | 16.4834 | 56.2401 | 16.4834 | 0
38149.106 | 16.6908 | 56.7259 | 16.6908 | 0
38562.508 | 16.9171 | 57.2142 | 16.9171 | 0
38980.39 | 17.1318 | 57.7182 | 17.1318 | 0
39402.801 | 17.347 | 58.2207 | 17.347 | 0
39829.789 | 17.5701 | 58.7162 | 17.5701 | 0
40261.404 | 17.7955 | 59.2172 | 17.7955 | 0
40697.696 | 18.0252 | 59.7336 | 18.0252 | 0
41138.716 | 18.2547 | 60.2542 | 18.2547 | 0
41584.515 | 18.4882 | 60.764 | 18.4882 | 0
42035.145 | 18.7128 | 61.2953 | 18.7128 | 0
42490.658 | 18.9589 | 61.8159 | 18.9589 | 0
42951.108 | 19.1991 | 62.3434 | 19.1991 | 0
43416.547 | 19.4506 | 62.8809 | 19.4506 | 0
43887.03 | 19.6895 | 63.4172 | 19.6895 | 0
44362.611 | 19.9485 | 63.956 | 19.9485 | 0
44843.346 | 20.193 | 64.5046 | 20.193 | 0
45329.29 | 20.4514 | 65.0479 | 20.4514 | 0
45820.5 | 20.7049 | 65.6134 | 20.7049 | 0
46317.033 | 20.9646 | 66.1695 | 20.9646 | 0
46818.947 | 21.2293 | 66.7185 | 21.2293 | 0
47326.3 | 21.4946 | 67.2795 | 21.4946 | 0
47839.151 | 21.7634 | 67.8429 | 21.7634 | 0
48357.559 | 22.0062 | 68.43 | 22.0062 | 0
48881.585 | 22.2843 | 68.996 | 22.2843 | 0
49411.29 | 22.5651 | 69.5738 | 22.5651 | 0
49946.734 | 22.8465 | 70.1723 | 22.8465 | 0
50487.982 | 23.1273 | 70.7706 | 23.1273 | 0
51035.094 | 23.3995 | 71.3714 | 23.3995 | 0
51588.135 | 23.7013 | 71.9728 | 23.7013 | 0
52147.169 | 23.987 | 72.5762 | 23.987 | 0
52712.261 | 24.2777 | 73.1902 | 24.2777 | 0
53283.477 | 24.5581 | 73.8023 | 24.5581 | 0
53860.882 | 24.8655 | 74.4383 | 24.8655 | 0
54444.545 | 25.1763 | 75.0396 | 25.1763 | 0
55034.533 | 25.4916 | 75.6717 | 25.4916 | 0
55630.914 | 25.8085 | 76.2992 | 25.8085 | 0
56233.757 | 26.0991 | 76.9577 | 26.0991 | 0
56843.134 | 26.4127 | 77.6066 | 26.4127 | 0
57459.113 | 26.7453 | 78.2438 | 26.7453 | 0
58081.768 | 27.0563 | 78.9081 | 27.0563 | 0
58711.171 | 27.3898 | 79.569 | 27.3898 | 0
59347.393 | 27.715 | 80.2315 | 27.715 | 0
59990.511 | 28.0469 | 80.9013 | 28.0469 | 0
60640.597 | 28.3906 | 81.5778 | 28.3906 | 0
61297.728 | 28.7427 | 82.2443 | 28.7427 | 0
61961.98 | 29.0787 | 82.9321 | 29.0787 | 0
62633.43 | 29.4374 | 83.6229 | 29.4374 | 0
63312.156 | 29.7789 | 84.3244 | 29.7789 | 0
63998.238 | 30.1094 | 85.0337 | 30.1094 | 0
64691.754 | 30.4937 | 85.7173 | 30.4937 | 0
65392.785 | 30.8472 | 86.4454 | 30.8472 | 0
66101.413 | 31.2027 | 87.1527 | 31.2027 | 0
66817.72 | 31.5887 | 87.8605 | 31.5887 | 0
67541.789 | 31.9398 | 88.6088 | 31.9398 | 0
68273.705 | 32.3269 | 89.3308 | 32.3269 | 0
69013.552 | 32.717 | 90.0776 | 32.717 | 0
69761.416 | 33.1083 | 90.8255 | 33.1083 | 0
70517.385 | 33.4818 | 91.5677 | 33.4818 | 0
71281.546 | 33.8712 | 92.3382 | 33.8712 | 0
72053.987 | 34.2688 | 93.0867 | 34.2688 | 0
72834.799 | 34.6806 | 93.863 | 34.6806 | 0
73624.072 | 35.0908 | 94.6286 | 35.0908 | 0
74421.899 | 35.5094 | 95.4326 | 35.5094 | 0
75228.371 | 35.9115 | 96.2028 | 35.9115 | 0
76043.582 | 36.3393 | 97.0117 | 36.3393 | 0
76867.627 | 36.7474 | 97.8103 | 36.7474 | 0
77700.602 | 37.1961 | 98.6215 | 37.1961 | 0
78542.603 | 37.5803 | 99.4318 | 37.5803 | 0
79393.729 | 38.0493 | 100.2538 | 38.0493 | 0
80254.078 | 38.4654 | 101.0956 | 38.4654 | 0
81123.75 | 38.9117 | 101.9233 | 38.9117 | 0
82002.847 | 39.4049 | 102.754 | 39.4049 | 0
82891.47 | 39.8454 | 103.6171 | 39.8454 | 0
83789.722 | 40.3104 | 104.473 | 40.3104 | 0
84697.708 | 40.7825 | 105.343 | 40.7825 | 0
85615.534 | 41.2389 | 106.193 | 41.2389 | 0
86543.305 | 41.7238 | 107.1023 | 41.7238 | 0
87481.13 | 42.206 | 107.9815 | 42.206 | 0
88429.118 | 42.6873 | 108.8585 | 42.6873 | 0
89387.379 | 43.2069 | 109.7857 | 43.2069 | 0
90356.024 | 43.6708 | 110.6958 | 43.6708 | 0
91335.166 | 44.1867 | 111.596 | 44.1867 | 0
92324.919 | 44.6947 | 112.5249 | 44.6947 | 0
93325.396 | 45.199 | 113.4774 | 45.199 | 0
94336.716 | 45.7528 | 114.4209 | 45.7528 | 0
95358.994 | 46.265 | 115.3579 | 46.265 | 0
96392.35 | 46.7797 | 116.3444 | 46.7797 | 0
97436.905 | 47.3292 | 117.3048 | 47.3292 | 0
98492.779 | 47.8864 | 118.2677 | 47.8864 | 0
99560.094 | 48.4419 | 119.2637 | 48.4419 | 0
100638.976 | 49.0125 | 120.2639 | 49.0125 | 0
101729.549 | 49.5913 | 121.254 | 49.5913 | 0
102831.939 | 50.1597 | 122.2901 | 50.1597 | 0
103946.276 | 50.716 | 123.3044 | 50.716 | 0
105072.689 | 51.3297 | 124.331 | 51.3297 | 0
106211.307 | 51.9223 | 125.3875 | 51.9223 | 0
107362.265 | 52.521 | 126.4236 | 52.521 | 0
108525.694 | 53.1389 | 127.504 | 53.1389 | 0
109701.732 | 53.7685 | 128.5604 | 53.7685 | 0
110890.513 | 54.4086 | 129.6259 | 54.4086 | 0
112092.176 | 55.0271 | 130.7282 | 55.0271 | 0
113306.862 | 55.6587 | 131.8304 | 55.6587 | 0
114534.71 | 56.3319 | 132.9446 | 56.3319 | 0
115775.864 | 56.9873 | 134.0769 | 56.9873 | 0
117030.467 | 57.6422 | 135.2191 | 57.6422 | 0
118298.666 | 58.334 | 136.3338 | 58.334 | 0
119580.608 | 59.0307 | 137.5064 | 59.0307 | 0
120876.442 | 59.6903 | 138.6832 | 59.6903 | 0
122186.318 | 60.4154 | 139.8596 | 60.4154 | 0
123510.388 | 61.1521 | 141.047 | 61.1521 | 0
124848.807 | 61.8582 | 142.26 | 61.8582 | 0
126201.729 | 62.6043 | 143.474 | 62.6043 | 0
127569.312 | 63.35 | 144.7124 | 63.35 | 0
128951.715 | 64.1208 | 145.9452 | 64.1208 | 0
130349.099 | 64.8821 | 147.1914 | 64.8821 | 0
131761.625 | 65.6437 | 148.4535 | 65.6437 | 0
133189.458 | 66.4579 | 149.737 | 66.4579 | 0
134632.764 | 67.2555 | 151.0336 | 67.2555 | 0
136091.71 | 68.087 | 152.3204 | 68.087 | 0
137566.466 | 68.9097 | 153.6542 | 68.9097 | 0
139057.203 | 69.7561 | 154.9725 | 69.7561 | 0
140564.094 | 70.6281 | 156.29 | 70.6281 | 0
142087.315 | 71.48 | 157.6678 | 71.48 | 0
143627.042 | 72.3829 | 159.0426 | 72.3829 | 0
145183.455 | 73.2894 | 160.4229 | 73.2894 | 0
146756.733 | 74.1668 | 161.8264 | 74.1668 | 0
148347.061 | 75.1033 | 163.2227 | 75.1033 | 0
149954.621 | 76.0451 | 164.6655 | 76.0451 | 0
151579.603 | 77.0168 | 166.0935 | 77.0168 | 0
153222.193 | 77.961 | 167.569 | 77.961 | 0
154882.583 | 78.9505 | 169.0499 | 78.9505 | 0
156560.966 | 79.9979 | 170.5182 | 79.9979 | 0
158257.537 | 81.015 | 172.0362 | 81.015 | 0
159972.492 | 82.051 | 173.5468 | 82.051 | 0
161706.032 | 83.0952 | 175.0922 | 83.0952 | 0
163458.357 | 84.1942 | 176.6508 | 84.1942 | 0
165229.671 | 85.2811 | 178.2176 | 85.2811 | 0
167020.18 | 86.401 | 179.789 | 86.401 | 0
168830.092 | 87.5232 | 181.4092 | 87.5232 | 0
170659.617 | 88.7407 | 183.0229 | 88.7407 | 0
172508.968 | 89.9081 | 184.6793 | 89.9081 | 0
174378.359 | 91.1269 | 186.3255 | 91.1269 | 0
176268.007 | 92.3278 | 187.9783 | 92.3278 | 0
178178.133 | 93.5848 | 189.726 | 93.5848 | 0
180108.958 | 94.8331 | 191.4257 | 94.8331 | 0
182060.706 | 96.1656 | 193.1352 | 96.1656 | 0
184033.605 | 97.4783 | 194.8586 | 97.4783 | 0
186027.882 | 98.7811 | 196.6872 | 98.7811 | 0
188043.771 | 100.1756 | 198.4513 | 100.1756 | 0
190081.504 | 101.6172 | 200.2398 | 101.6172 | 0
192141.32 | 103.0545 | 202.0794 | 103.0545 | 0
194223.457 | 104.4545 | 203.9115 | 104.4545 | 0
196328.157 | 105.9987 | 205.7889 | 105.9987 | 0
198455.664 | 107.4918 | 207.6642 | 107.4918 | 0
200606.226 | 109.0655 | 209.592 | 109.0655 | 0
202780.093 | 110.5973 | 211.538 | 110.5973 | 0
204977.516 | 112.2696 | 213.4256 | 112.2696 | 0
207198.752 | 113.9285 | 215.4181 | 113.9285 | 0
209444.059 | 115.6147 | 217.4452 | 115.6147 | 0
211713.696 | 117.304 | 219.4931 | 117.304 | 0
214007.929 | 119.0727 | 221.4955 | 119.0727 | 0
216327.023 | 120.9279 | 223.5624 | 120.9279 | 0
218671.247 | 122.7997 | 225.6327 | 122.7997 | 0
221040.875 | 124.6506 | 227.7527 | 124.6506 | 0
223436.182 | 126.5659 | 229.9016 | 126.5659 | 0
225857.445 | 128.5476 | 232.0757 | 128.5476 | 0
228304.946 | 130.5691 | 234.2261 | 130.5691 | 0
230778.969 | 132.64 | 236.4742 | 132.64 | 0
233279.802 | 134.7993 | 238.6787 | 134.7993 | 0
235807.736 | 136.9545 | 240.9511 | 136.9545 | 0
238363.063 | 139.1401 | 243.2517 | 139.1401 | 0
240946.081 | 141.4813 | 245.5508 | 141.4813 | 0
243557.09 | 143.8006 | 247.8808 | 143.8006 | 0
246196.393 | 146.2474 | 250.2043 | 146.2474 | 0
248864.297 | 148.6651 | 252.6355 | 148.6651 | 0
251561.111 | 151.1915 | 255.0304 | 151.1915 | 0
254287.15 | 153.8578 | 257.3964 | 153.8578 | 0
257042.729 | 156.4224 | 259.9279 | 156.4224 | 0
259828.169 | 159.1749 | 262.3371 | 159.1749 | 0
262643.793 | 161.9878 | 264.8984 | 161.9878 | 0
265489.929 | 164.8353 | 267.4747 | 164.8353 | 0
268366.907 | 167.7508 | 270.0195 | 167.7508 | 0
271275.061 | 170.8571 | 272.636 | 170.8571 | 0
274214.729 | 174.0195 | 275.1907 | 174.0195 | 0
277186.254 | 177.2923 | 277.7906 | 177.2923 | 0
280189.979 | 180.5011 | 280.4976 | 180.5011 | 0
283226.253 | 183.8676 | 283.1975 | 183.8676 | 0
286295.431 | 187.464 | 285.8988 | 187.464 | 0
289397.867 | 190.9909 | 288.5975 | 190.9909 | 0
292533.923 | 194.7071 | 291.3159 | 194.7071 | 0
295703.963 | 198.5356 | 294.0663 | 198.5356 | 0
298908.355 | 202.4906 | 296.8753 | 202.4906 | 0
302147.471 | 206.4846 | 299.7292 | 206.4846 | 0
305421.688 | 210.7431 | 302.5126 | 210.7431 | 0
308731.386 | 215.0782 | 305.3386 | 215.0782 | 0
312076.949 | 219.5082 | 308.1796 | 219.5082 | 0
315458.767 | 224.0692 | 311.0569 | 224.0692 | 0
318877.231 | 228.9259 | 313.8698 | 228.9259 | 0
322332.74 | 233.7203 | 316.7758 | 233.7203 | 0
325825.694 | 238.8436 | 319.6862 | 238.8436 | 0
329356.5 | 244.0544 | 322.4995 | 244.0544 | 0
332925.567 | 249.4786 | 325.2867 | 249.4786 | 0
336533.31 | 255.0185 | 328.2046 | 255.0185 | 0
340180.149 | 260.8904 | 331.0345 | 260.8904 | 0
343866.506 | 266.8226 | 333.9067 | 266.8226 | 0
347592.811 | 272.9569 | 336.5616 | 272.9569 | 0
351359.495 | 279.3286 | 339.3512 | 279.3286 | 0
355166.998 | 286.0305 | 342.1063 | 286.0305 | 0
359015.76 | 292.8068 | 344.774 | 292.8068 | 0
362906.229 | 299.8565 | 347.3242 | 299.8565 | 0
366838.858 | 307.2992 | 349.9243 | 307.2992 | 0
370814.102 | 314.8472 | 352.2971 | 314.8472 | 0
374832.424 | 322.7159 | 354.7806 | 322.7159 | 0
378894.29 | 331.0637 | 356.8545 | 331.0637 | 0
383000.173 | 339.3506 | 359.1257 | 339.3506 | 0
387150.549 | 348.16 | 361.1296 | 348.16 | 0
391345.9 | 357.1902 | 362.9904 | 357.1902 | 0
395586.715 | 366.5754 | 364.623 | 366.5754 | 0
399873.485 | 376.1974 | 366.2162 | 376.1974 | 0
404206.708 | 386.3435 | 367.3968 | 386.3435 | 0
408586.888 | 396.635 | 368.46 | 396.635 | 0
413014.535 | 407.3304 | 369.3351 | 407.3304 | 0
417490.161 | 418.5048 | 369.7076 | 418.5048 | 0
422014.287 | 429.8617 | 369.8851 | 429.8617 | 0
426587.439 | 441.6366 | 369.6641 | 441.6366 | 0
431210.148 | 453.9199 | 369.0073 | 453.9199 | 0
435882.951 | 466.4369 | 367.9803 | 466.4369 | 0
440606.39 | 479.2761 | 366.4528 | 479.2761 | 0
445381.015 | 492.5123 | 364.3478 | 492.5123 | 0
450207.38 | 506.1303 | 361.6411 | 506.1303 | 0
455086.046 | 520.0248 | 358.4017 | 520.0248 | 0
460017.58 | 534.1315 | 354.5462 | 534.1315 | 0
465002.554 | 548.6031 | 349.7261 | 548.6031 | 0
470041.548 | 563.2479 | 344.3149 | 563.2479 | 0
475135.147 | 578.0349 | 337.9766 | 578.0349 | 0
480283.942 | 593.0308 | 330.8132 | 593.0308 | 0
485488.532 | 608.0472 | 322.6799 | 608.0472 | 0
490749.522 | 623.0197 | 313.608 | 623.0197 | 0
496067.522 | 638.0316 | 303.3801 | 638.0316 | 0
501443.151 | 652.6959 | 292.1387 | 652.6959 | 0
506877.033 | 667.152 | 279.8359 | 667.152 | 0
512369.799 | 681.349 | 266.5299 | 681.349 | 0
517922.087 | 694.8929 | 251.9089 | 694.8929 | 0
523534.542 | 707.8232 | 236.3806 | 707.8232 | 0
529207.817 | 720.0171 | 219.6893 | 720.0171 | 0
534942.57 | 731.3436 | 202.0556 | 731.3436 | 0
540739.468 | 741.6702 | 183.2776 | 741.6702 | 0
546599.184 | 750.9581 | 163.7809 | 750.9581 | 0
552522.398 | 758.9705 | 143.3605 | 758.9705 | 0
558509.8 | 765.6155 | 122.2424 | 765.6155 | 0
564562.083 | 770.9281 | 100.8279 | 770.9281 | 0
570679.952 | 774.7972 | 78.921 | 774.7972 | 0
576864.118 | 777.0847 | 56.8357 | 777.0847 | 0
583115.298 | 777.8615 | 34.8207 | 777.8615 | 0
589434.219 | 777.1968 | 12.7563 | 777.1968 | 0
595821.614 | 774.9288 | -8.8973 | 774.9288 | 0
602278.227 | 771.3579 | -30.1397 | 771.3579 | 0
608804.807 | 766.4048 | -50.8649 | 766.4048 | 0
615402.111 | 760.2694 | -70.7014 | 760.2694 | 0
622070.908 | 752.9899 | -89.8529 | 752.9899 | 0
628811.971 | 744.6691 | -107.96 | 744.6691 | 0
635626.083 | 735.5809 | -125.0481 | 735.5809 | 0
642514.036 | 725.7107 | -141.0271 | 725.7107 | 0
649476.63 | 715.2909 | -156.1419 | 715.2909 | 0
656514.675 | 704.5406 | -170.2541 | 704.5406 | 0
663628.987 | 693.5243 | -183.1768 | 693.5243 | 0
670820.393 | 682.3457 | -194.9172 | 682.3457 | 0
678089.729 | 671.0605 | -206.0242 | 671.0605 | 0
685437.839 | 659.9003 | -216.1476 | 659.9003 | 0
692865.577 | 648.8086 | -225.4815 | 648.8086 | 0
700373.805 | 637.9745 | -234.1127 | 637.9745 | 0
707963.396 | 627.333 | -242.0638 | 627.333 | 0
715635.231 | 616.9197 | -249.5303 | 616.9197 | 0
723390.203 | 606.8722 | -256.5435 | 606.8722 | 0
731229.21 | 597.0005 | -263.3459 | 597.0005 | 0
739153.166 | 587.4115 | -269.6226 | 587.4115 | 0
747162.989 | 578.1348 | -275.8907 | 578.1348 | 0
755259.61 | 569.0623 | -281.8459 | 569.0623 | 0
763443.97 | 560.0992 | -287.7161 | 560.0992 | 0
771717.02 | 551.2125 | -293.6221 | 551.2125 | 0
780079.721 | 542.4192 | -299.4525 | 542.4192 | 0
788533.044 | 533.6951 | -305.2151 | 533.6951 | 0
797077.971 | 524.8517 | -310.9656 | 524.8517 | 0
805715.496 | 515.9114 | -316.8528 | 515.9114 | 0
814446.62 | 506.8442 | -322.4453 | 506.8442 | 0
823272.36 | 497.5829 | -328.015 | 497.5829 | 0
832193.739 | 488.0707 | -333.503 | 488.0707 | 0
841211.795 | 478.1713 | -338.9177 | 478.1713 | 0
850327.575 | 468.1886 | -344.1051 | 468.1886 | 0
859542.138 | 457.821 | -348.9365 | 457.821 | 0
868856.555 | 447.211 | -353.5059 | 447.211 | 0
878271.907 | 436.3848 | -357.6952 | 436.3848 | 0
887789.288 | 425.2136 | -361.4501 | 425.2136 | 0
897409.804 | 413.9417 | -364.8631 | 413.9417 | 0
907134.573 | 402.4083 | -367.7118 | 402.4083 | 0
916964.724 | 390.8937 | -370.1253 | 390.8937 | 0
926901.4 | 379.1751 | -371.9398 | 379.1751 | 0
936945.754 | 367.4763 | -373.2711 | 367.4763 | 0
947098.953 | 355.7841 | -374.0814 | 355.7841 | 0
957362.178 | 344.1461 | -374.3584 | 344.1461 | 0
967736.62 | 332.6711 | -374.1155 | 332.6711 | 0
978223.484 | 321.2921 | -373.3066 | 321.2921 | 0
988823.99 | 310.1426 | -372.0796 | 310.1426 | 0
999539.367 | 299.2118 | -370.4285 | 299.2118 | 0
1010370.861 | 288.4786 | -368.278 | 288.4786 | 0
1021319.731 | 278.1446 | -365.7012 | 278.1446 | 0
1032387.248 | 268.0177 | -362.8309 | 268.0177 | 0
1043574.698 | 258.222 | -359.5647 | 258.222 | 0
1054883.381 | 248.795 | -356.0543 | 248.795 | 0
1066314.61 | 239.6686 | -352.2228 | 239.6686 | 0
1077869.714 | 230.9496 | -348.168 | 230.9496 | 0
1089550.034 | 222.5572 | -343.8511 | 222.5572 | 0
1101356.928 | 214.5514 | -339.3678 | 214.5514 | 0
1113291.767 | 206.8138 | -334.7224 | 206.8138 | 0
1125355.937 | 199.4764 | -329.944 | 199.4764 | 0
1137550.841 | 192.415 | -325.0607 | 192.415 | 0
1149877.895 | 185.718 | -320.087 | 185.718 | 0
1162338.531 | 179.3257 | -314.9672 | 179.3257 | 0
1174934.196 | 173.1857 | -309.8757 | 173.1857 | 0
1187666.354 | 167.3915 | -304.7446 | 167.3915 | 0
1200536.484 | 161.8429 | -299.5266 | 161.8429 | 0
1213546.081 | 156.7021 | -294.3404 | 156.7021 | 0
1226696.656 | 151.7301 | -289.1913 | 151.7301 | 0
1239989.738 | 146.954 | -283.9449 | 146.954 | 0
1253426.869 | 142.5349 | -278.7475 | 142.5349 | 0
1267009.612 | 138.2598 | -273.624 | 138.2598 | 0
1280739.544 | 134.3064 | -268.4511 | 134.3064 | 0
1294618.26 | 130.5021 | -263.3616 | 130.5021 | 0
1308647.373 | 126.8198 | -258.2995 | 126.8198 | 0
1322828.512 | 123.5149 | -253.2672 | 123.5149 | 0
1337163.325 | 120.2741 | -248.2927 | 120.2741 | 0
1351653.477 | 117.2792 | -243.4021 | 117.2792 | 0
1366300.651 | 114.4521 | -238.509 | 114.4521 | 0
1381106.549 | 111.7389 | -233.7088 | 111.7389 | 0
1396072.891 | 109.1924 | -228.9401 | 109.1924 | 0
1411201.415 | 106.796 | -224.2709 | 106.796 | 0
1426493.88 | 104.5328 | -219.5757 | 104.5328 | 0
1441952.061 | 102.4417 | -215.02 | 102.4417 | 0
1457577.754 | 100.4895 | -210.4688 | 100.4895 | 0
1473372.775 | 98.6257 | -206.0361 | 98.6257 | 0
1489338.959 | 96.879 | -201.6177 | 96.879 | 0
1505478.16 | 95.3035 | -197.2696 | 95.3035 | 0
1521792.253 | 93.7949 | -192.988 | 93.7949 | 0
1538283.134 | 92.4045 | -188.7758 | 92.4045 | 0
1554952.717 | 91.0925 | -184.5964 | 91.0925 | 0
1571802.941 | 89.8593 | -180.4768 | 89.8593 | 0
1588835.762 | 88.7859 | -176.4162 | 88.7859 | 0
1606053.158 | 87.7813 | -172.4248 | 87.7813 | 0
1623457.131 | 86.8966 | -168.4846 | 86.8966 | 0
1641049.702 | 85.9975 | -164.6279 | 85.9975 | 0
1658832.914 | 85.2691 | -160.7773 | 85.2691 | 0
1676808.834 | 84.5863 | -157.0239 | 84.5863 | 0
1694979.549 | 83.9846 | -153.2834 | 83.9846 | 0
1713347.172 | 83.5026 | -149.6353 | 83.5026 | 0
1731913.834 | 83.0403 | -146.0204 | 83.0403 | 0
1750681.695 | 82.6718 | -142.4612 | 82.6718 | 0
1769652.932 | 82.3854 | -138.9644 | 82.3854 | 0
1788829.752 | 82.147 | -135.5231 | 82.147 | 0
1808214.38 | 81.9763 | -132.1331 | 81.9763 | 0
1827809.07 | 81.892 | -128.7812 | 81.892 | 0
1847616.098 | 81.8589 | -125.4592 | 81.8589 | 0
1867637.764 | 81.8824 | -122.2294 | 81.8824 | 0
1887876.395 | 82.0085 | -119.0455 | 82.0085 | 0
1908334.341 | 82.1847 | -115.8902 | 82.1847 | 0
1929013.98 | 82.3896 | -112.8004 | 82.3896 | 0
1949917.713 | 82.6882 | -109.7644 | 82.6882 | 0
1971047.969 | 83.0465 | -106.7519 | 83.0465 | 0
1992407.203 | 83.4404 | -103.8012 | 83.4404 | 0
2013997.896 | 83.9271 | -100.9183 | 83.9271 | 0
2035822.556 | 84.4647 | -98.0797 | 84.4647 | 0
2057883.719 | 85.0605 | -95.287 | 85.0605 | 0
2080183.947 | 85.7073 | -92.5415 | 85.7073 | 0
2102725.832 | 86.4237 | -89.8534 | 86.4237 | 0
2125511.991 | 87.2 | -87.2336 | 87.2 | 0
2148545.072 | 88.0349 | -84.651 | 88.0349 | 0
2171827.751 | 88.9284 | -82.1388 | 88.9284 | 0
2195362.732 | 89.8621 | -79.6651 | 89.8621 | 0
2219152.75 | 90.8832 | -77.2738 | 90.8832 | 0
2243200.568 | 91.9532 | -74.93 | 91.9532 | 0
2267508.979 | 93.0917 | -72.6551 | 93.0917 | 0
2292080.809 | 94.2745 | -70.4462 | 94.2745 | 0
2316918.911 | 95.5268 | -68.2913 | 95.5268 | 0
2342026.17 | 96.8146 | -66.2312 | 96.8146 | 0
2367405.504 | 98.1931 | -64.2125 | 98.1931 | 0
2393059.861 | 99.6237 | -62.297 | 99.6237 | 0
2418992.221 | 101.0969 | -60.4564 | 101.0969 | 0
2445205.597 | 102.6484 | -58.6828 | 102.6484 | 0
2471703.033 | 104.2287 | -57.0306 | 104.2287 | 0
2498487.609 | 105.884 | -55.4449 | 105.884 | 0
2525562.435 | 107.5811 | -53.9618 | 107.5811 | 0
2552930.657 | 109.3259 | -52.5746 | 109.3259 | 0
2580595.454 | 111.1302 | -51.3009 | 111.1302 | 0
2608560.041 | 112.969 | -50.1521 | 112.969 | 0
2636827.666 | 114.8419 | -49.0953 | 114.8419 | 0
2665401.612 | 116.7537 | -48.1862 | 116.7537 | 0
2694285.2 | 118.6752 | -47.3987 | 118.6752 | 0
2723481.784 | 120.6347 | -46.749 | 120.6347 | 0
2752994.756 | 122.6042 | -46.2347 | 122.6042 | 0
2782827.546 | 124.5623 | -45.8669 | 124.5623 | 0
2812983.618 | 126.5347 | -45.6259 | 126.5347 | 0
2843466.476 | 128.464 | -45.57 | 128.464 | 0
2874279.66 | 130.3726 | -45.645 | 130.3726 | 0
2905426.752 | 132.2431 | -45.8886 | 132.2431 | 0
2936911.369 | 134.0473 | -46.2748 | 134.0473 | 0
2968737.168 | 135.7783 | -46.8016 | 135.7783 | 0
3000907.847 | 137.416 | -47.5245 | 137.416 | 0
3033427.143 | 138.9512 | -48.3539 | 138.9512 | 0
3066298.834 | 140.384 | -49.3091 | 140.384 | 0
3099526.739 | 141.7039 | -50.4175 | 141.7039 | 0
3133114.717 | 142.8527 | -51.6079 | 142.8527 | 0
3167066.671 | 143.864 | -52.8933 | 143.864 | 0
3201386.545 | 144.7069 | -54.3121 | 144.7069 | 0
3236078.326 | 145.3581 | -55.7523 | 145.3581 | 0
3271146.044 | 145.8634 | -57.2776 | 145.8634 | 0
3306593.772 | 146.168 | -58.8184 | 146.168 | 0
3342425.63 | 146.2595 | -60.3572 | 146.2595 | 0
3378645.779 | 146.1895 | -61.8945 | 146.1895 | 0
3415258.427 | 145.9378 | -63.375 | 145.9378 | 0
3452267.827 | 145.4657 | -64.8057 | 145.4657 | 0
3489678.279 | 144.8701 | -66.1556 | 144.8701 | 0
3527494.129 | 144.0819 | -67.4173 | 144.0819 | 0
3565719.77 | 143.1679 | -68.592 | 143.1679 | 0
3604359.643 | 142.1419 | -69.625 | 142.1419 | 0
3643418.236 | 140.9764 | -70.526 | 140.9764 | 0
3682900.087 | 139.7397 | -71.3052 | 139.7397 | 0
3722809.783 | 138.4046 | -71.9026 | 138.4046 | 0
3763151.959 | 137.0277 | -72.3485 | 137.0277 | 0
3803931.303 | 135.6124 | -72.6337 | 135.6124 | 0
3845152.552 | 134.1656 | -72.7635 | 134.1656 | 0
3886820.494 | 132.7307 | -72.7383 | 132.7307 | 0
3928939.97 | 131.3163 | -72.5346 | 131.3163 | 0
3971515.874 | 129.9299 | -72.1968 | 129.9299 | 0
4014553.15 | 128.5816 | -71.7215 | 128.5816 | 0
4058056.8 | 127.299 | -71.1001 | 127.299 | 0
4102031.876 | 126.0906 | -70.3462 | 126.0906 | 0
4146483.487 | 125.0011 | -69.4963 | 125.0011 | 0
4191416.798 | 123.9532 | -68.5287 | 123.9532 | 0
4236837.027 | 123.0449 | -67.4405 | 123.0449 | 0
4282749.453 | 122.2514 | -66.2583 | 122.2514 | 0
4329159.408 | 121.5594 | -65.0066 | 121.5594 | 0
4376072.284 | 121.0206 | -63.6827 | 121.0206 | 0
4423493.53 | 120.5975 | -62.3026 | 120.5975 | 0
4471428.656 | 120.3411 | -60.8774 | 120.3411 | 0
4519883.231 | 120.246 | -59.3849 | 120.246 | 0
4568862.882 | 120.3098 | -57.8788 | 120.3098 | 0
4618373.301 | 120.532 | -56.379 | 120.532 | 0
4668420.24 | 120.9216 | -54.8665 | 120.9216 | 0
4719009.511 | 121.5264 | -53.3669 | 121.5264 | 0
4770146.991 | 122.2929 | -51.9069 | 122.2929 | 0
4821838.623 | 123.2562 | -50.5208 | 123.2562 | 0
4874090.41 | 124.4145 | -49.2088 | 124.4145 | 0
4926908.423 | 125.7734 | -48.0002 | 125.7734 | 0
4980298.798 | 127.2975 | -46.9158 | 127.2975 | 0
5034267.736 | 128.975 | -45.9746 | 128.975 | 0
5088821.509 | 130.8871 | -45.218 | 130.8871 | 0
5143966.452 | 132.9686 | -44.6597 | 132.9686 | 0
5199708.973 | 135.2029 | -44.3529 | 135.2029 | 0
5256055.547 | 137.5325 | -44.2988 | 137.5325 | 0
5313012.72 | 140.0227 | -44.5432 | 140.0227 | 0
5370587.108 | 142.5621 | -45.1174 | 142.5621 | 0
5428785.401 | 145.1796 | -46.0187 | 145.1796 | 0
5487614.358 | 147.7522 | -47.3036 | 147.7522 | 0
5547080.815 | 150.2912 | -48.9591 | 150.2912 | 0
5607191.679 | 152.7026 | -51.0306 | 152.7026 | 0
5667953.934 | 154.9366 | -53.4633 | 154.9366 | 0
5729374.638 | 156.9566 | -56.2582 | 156.9566 | 0
5791460.926 | 158.6672 | -59.433 | 158.6672 | 0
5854220.012 | 160.0163 | -62.9138 | 160.0163 | 0
5917659.186 | 160.9392 | -66.5931 | 160.9392 | 0
5981785.817 | 161.4346 | -70.4925 | 161.4346 | 0
6046607.356 | 161.4342 | -74.5122 | 161.4342 | 0
6112131.333 | 160.981 | -78.5601 | 160.981 | 0
6178365.359 | 160.0397 | -82.6082 | 160.0397 | 0
6245317.129 | 158.5711 | -86.5597 | 158.5711 | 0
6312994.421 | 156.6319 | -90.3384 | 156.6319 | 0
6381405.098 | 154.2621 | -93.8702 | 154.2621 | 0
6450557.105 | 151.5065 | -97.066 | 151.5065 | 0
6520458.478 | 148.4191 | -99.9258 | 148.4191 | 0
6591117.335 | 145.0348 | -102.3637 | 145.0348 | 0
6662541.887 | 141.4839 | -104.3714 | 141.4839 | 0
6734740.429 | 137.8461 | -105.9158 | 137.8461 | 0
6807721.35 | 134.147 | -107.0486 | 134.147 | 0
6881493.128 | 130.4847 | -107.7 | 130.4847 | 0
6956064.332 | 126.9355 | -107.997 | 126.9355 | 0
7031443.627 | 123.5358 | -107.9303 | 123.5358 | 0
7107639.768 | 120.3539 | -107.5406 | 120.3539 | 0
7184661.607 | 117.3963 | -106.9 | 117.3963 | 0
7262518.093 | 114.7086 | -106.0584 | 114.7086 | 0
7341218.269 | 112.2729 | -105.0681 | 112.2729 | 0
7420771.279 | 110.1037 | -104.0092 | 110.1037 | 0
7501186.364 | 108.2126 | -102.8672 | 108.2126 | 0
7582472.866 | 106.557 | -101.7681 | 106.557 | 0
7664640.227 | 105.1146 | -100.6742 | 105.1146 | 0
7747697.994 | 103.8516 | -99.6555 | 103.8516 | 0
7831655.816 | 102.7491 | -98.7343 | 102.7491 | 0
7916523.445 | 101.7754 | -97.8949 | 101.7754 | 0
8002310.742 | 100.9132 | -97.1791 | 100.9132 | 0
8089027.671 | 100.1073 | -96.5596 | 100.1073 | 0
8176684.307 | 99.3364 | -96.0479 | 99.3364 | 0
8265290.832 | 98.5911 | -95.6279 | 98.5911 | 0
8354857.541 | 97.8564 | -95.2745 | 97.8564 | 0
8445394.839 | 97.1415 | -94.9868 | 97.1415 | 0
8536913.243 | 96.4226 | -94.7631 | 96.4226 | 0
8629423.384 | 95.6947 | -94.6313 | 95.6947 | 0
8722936.011 | 94.9441 | -94.5229 | 94.9441 | 0
8817461.986 | 94.1816 | -94.4794 | 94.1816 | 0
8913012.29 | 93.3808 | -94.4432 | 93.3808 | 0
9009598.024 | 92.5726 | -94.4674 | 92.5726 | 0
9107230.407 | 91.7286 | -94.5062 | 91.7286 | 0
9205920.783 | 90.8673 | -94.5888 | 90.8673 | 0
9305680.615 | 89.9708 | -94.6888 | 89.9708 | 0
9406521.494 | 89.053 | -94.8256 | 89.053 | 0
9508455.133 | 88.1079 | -94.9891 | 88.1079 | 0
9611493.375 | 87.1204 | -95.1653 | 87.1204 | 0
9715648.189 | 86.0924 | -95.3814 | 86.0924 | 0
9820931.676 | 84.9988 | -95.6142 | 84.9988 | 0
9927356.065 | 83.8523 | -95.8589 | 83.8523 | 0
10034933.721 | 82.6459 | -96.1206 | 82.6459 | 0
10143677.141 | 81.3571 | -96.3689 | 81.3571 | 0
10253598.957 | 80.0017 | -96.6023 | 80.0017 | 0
10364711.94 | 78.5639 | -96.812 | 78.5639 | 0
10477028.997 | 77.0655 | -96.9754 | 77.0655 | 0
10590563.176 | 75.494 | -97.0842 | 75.494 | 0
10705327.666 | 73.8691 | -97.1339 | 73.8691 | 0
10821335.801 | 72.1813 | -97.1106 | 72.1813 | 0
10938601.056 | 70.4393 | -97.0117 | 70.4393 | 0
11057137.054 | 68.6952 | -96.8197 | 68.6952 | 0
11176957.566 | 66.9256 | -96.5251 | 66.9256 | 0
11298076.511 | 65.1642 | -96.1518 | 65.1642 | 0
11420507.96 | 63.4117 | -95.6969 | 63.4117 | 0
11544266.136 | 61.6845 | -95.1669 | 61.6845 | 0
11669365.415 | 59.991 | -94.5674 | 59.991 | 0
11795820.331 | 58.3204 | -93.9055 | 58.3204 | 0
11923645.574 | 56.6878 | -93.178 | 56.6878 | 0
12052855.993 | 55.1296 | -92.4055 | 55.1296 | 0
12183466.6 | 53.6173 | -91.6202 | 53.6173 | 0
12315492.566 | 52.1495 | -90.8266 | 52.1495 | 0
12448949.23 | 50.7031 | -90.0275 | 50.7031 | 0
12583852.095 | 49.2757 | -89.2303 | 49.2757 | 0
12720216.834 | 47.8565 | -88.4282 | 47.8565 | 0
12858059.286 | 46.4237 | -87.6292 | 46.4237 | 0
12997395.467 | 44.9684 | -86.822 | 44.9684 | 0
13138241.562 | 43.4955 | -85.9833 | 43.4955 | 0
13280613.934 | 41.9917 | -85.1127 | 41.9917 | 0
13424529.122 | 40.4541 | -84.188 | 40.4541 | 0
13570003.846 | 38.8894 | -83.2019 | 38.8894 | 0
13717055.004 | 37.3261 | -82.1216 | 37.3261 | 0
13865699.679 | 35.7445 | -80.9572 | 35.7445 | 0
14015955.141 | 34.1748 | -79.6981 | 34.1748 | 0
14167838.844 | 32.6336 | -78.3349 | 32.6336 | 0
14321368.433 | 31.1376 | -76.8737 | 31.1376 | 0
14476561.742 | 29.7153 | -75.3039 | 29.7153 | 0
14633436.802 | 28.339 | -73.646 | 28.339 | 0
14792011.837 | 27.0729 | -71.8932 | 27.0729 | 0
14952305.267 | 25.9108 | -70.0584 | 25.9108 | 0
15114335.715 | 24.8768 | -68.1844 | 24.8768 | 0
15278122.004 | 23.9392 | -66.2711 | 23.9392 | 0
15443683.161 | 23.1115 | -64.3084 | 23.1115 | 0
15611038.419 | 22.4273 | -62.3075 | 22.4273 | 0
15780207.219 | 21.8843 | -60.3065 | 21.8843 | 0
15951209.215 | 21.4833 | -58.3216 | 21.4833 | 0
16124064.272 | 21.2374 | -56.3828 | 21.2374 | 0
16298792.471 | 21.1262 | -54.5687 | 21.1262 | 0
16475414.109 | 20.96 | -52.877 | 20.96 | 0
16653949.704 | 20.7954 | -51.1067 | 20.7954 | 0
16834419.999 | 20.6588 | -49.2728 | 20.6588 | 0
17016845.957 | 20.6672 | -47.2915 | 20.6672 | 0
17201248.771 | 20.9404 | -45.2895 | 20.9404 | 0
17387649.865 | 21.4716 | -43.2604 | 21.4716 | 0
17576070.891 | 22.4191 | -41.204 | 22.4191 | 0
17766533.738 | 23.9938 | -39.3744 | 23.9938 | 0
17959060.534 | 26.1665 | -38.2229 | 26.1665 | 0
18153673.644 | 28.7713 | -38.3837 | 28.7713 | 0
18350395.676 | 30.5427 | -40.5436 | 30.5427 | 0
18549249.483 | 29.7696 | -43.3957 | 29.7696 | 0
18750258.167 | 26.9657 | -44.6883 | 26.9657 | 0
18953445.079 | 23.9491 | -43.909 | 23.9491 | 0
19158833.823 | 21.7177 | -41.7618 | 21.7177 | 0
19366448.26 | 20.417 | -39.0834 | 20.417 | 0
19576312.507 | 19.8043 | -36.1692 | 19.8043 | 0
19788450.945 | 19.9072 | -33.0575 | 19.9072 | 0
20002888.218 | 20.8439 | -29.9104 | 20.8439 | 0
20219649.238 | 22.8481 | -26.6791 | 22.8481 | 0
20438759.186 | 26.5894 | -23.7617 | 26.5894 | 0
20660243.516 | 32.5652 | -22.6648 | 32.5652 | 0
20884127.957 | 39.3906 | -25.8362 | 39.3906 | 0
21110438.52 | 42.8065 | -33.5428 | 42.8065 | 0
21339201.493 | 40.2793 | -41.4275 | 40.2793 | 0
21570443.453 | 34.4555 | -45.6304 | 34.4555 | 0
21804191.264 | 28.6375 | -46.3729 | 28.6375 | 0
22040472.079 | 24.098 | -45.2456 | 24.098 | 0
22279313.348 | 20.751 | -43.4664 | 20.751 | 0
22520742.818 | 18.1683 | -41.4746 | 18.1683 | 0
22764788.534 | 16.1244 | -39.3879 | 16.1244 | 0
23011478.848 | 14.5007 | -37.2881 | 14.5007 | 0
23260842.419 | 13.2054 | -35.2159 | 13.2054 | 0
23512908.214 | 12.1581 | -33.2132 | 12.1581 | 0
23767705.517 | 11.2905 | -31.286 | 11.2905 | 0
24025263.927 | 10.5488 | -29.4192 | 10.5488 | 0
24285613.366 | 9.9121 | -27.6 | 9.9121 | 0
24548784.077 | 9.3754 | -25.8275 | 9.3754 | 0
24814806.635 | 8.904 | -24.0915 | 8.904 | 0
25083711.942 | 8.4896 | -22.3944 | 8.4896 | 0
25355531.237 | 8.1346 | -20.7212 | 8.1346 | 0
25630296.099 | 7.8202 | -19.0779 | 7.8202 | 0
25908038.446 | 7.5467 | -17.4585 | 7.5467 | 0
26188790.544 | 7.3021 | -15.86 | 7.3021 | 0
26472585.009 | 7.0869 | -14.2772 | 7.0869 | 0
26759454.808 | 6.8874 | -12.7031 | 6.8874 | 0
27049433.268 | 6.7137 | -11.1336 | 6.7137 | 0
27342554.075 | 6.5586 | -9.5597 | 6.5586 | 0
27638851.282 | 6.4297 | -7.9831 | 6.4297 | 0
27938359.31 | 6.3261 | -6.4049 | 6.3261 | 0
28241112.952 | 6.2489 | -4.8249 | 6.2489 | 0
28547147.38 | 6.1925 | -3.2425 | 6.1925 | 0
28856498.145 | 6.1555 | -1.656 | 6.1555 | 0
29169201.186 | 6.1371 | -0.061308 | 6.1371 | 0
29485292.829 | 6.1374 | 1.5462 | 6.1374 | 0
29804809.795 | 6.1499 | 3.1685 | 6.1499 | 0
30127789.202 | 6.1863 | 4.8139 | 6.1863 | 0
30454268.571 | 6.2476 | 6.4857 | 6.2476 | 0
30784285.828 | 6.3429 | 8.1827 | 6.3429 | 0
31117879.314 | 6.4703 | 9.9029 | 6.4703 | 0
31455087.78 | 6.6365 | 11.6454 | 6.6365 | 0
31795950.401 | 6.84 | 13.4104 | 6.84 | 0
32140506.776 | 7.0859 | 15.2013 | 7.0859 | 0
32488796.93 | 7.3792 | 17.015 | 7.3792 | 0
32840861.326 | 7.7241 | 18.8461 | 7.7241 | 0
33196740.864 | 8.1161 | 20.695 | 8.1161 | 0
33556476.884 | 8.5581 | 22.5609 | 8.5581 | 0
33920111.179 | 9.0474 | 24.4416 | 9.0474 | 0
34287685.992 | 9.5934 | 26.3457 | 9.5934 | 0
34659244.025 | 10.2015 | 28.2848 | 10.2015 | 0
35034828.441 | 10.9032 | 30.2446 | 10.9032 | 0
35414482.872 | 11.7178 | 32.1966 | 11.7178 | 0
35798251.423 | 12.6437 | 34.0565 | 12.6437 | 0
36186178.677 | 13.5817 | 35.8002 | 13.5817 | 0
36578309.699 | 14.4166 | 37.454 | 14.4166 | 0
36974690.043 | 15.0839 | 39.177 | 15.0839 | 0
37375365.757 | 15.673 | 41.1547 | 15.673 | 0
37780383.389 | 16.3886 | 43.4575 | 16.3886 | 0
38189789.988 | 17.4902 | 45.9725 | 17.4902 | 0
38603633.116 | 19.0622 | 48.4506 | 19.0622 | 0
39021960.849 | 21.0292 | 50.5953 | 21.0292 | 0
39444821.785 | 23.1047 | 52.2066 | 23.1047 | 0
39872265.048 | 24.8981 | 53.3633 | 24.8981 | 0
40304340.294 | 26.148 | 54.3753 | 26.148 | 0
40741097.717 | 26.8701 | 55.719 | 26.8701 | 0
41182588.056 | 27.4343 | 57.7254 | 27.4343 | 0
41628862.598 | 28.2933 | 60.384 | 28.2933 | 0
42079973.189 | 29.783 | 63.4162 | 29.783 | 0
42535972.233 | 32.0426 | 66.4905 | 32.0426 | 0
42996912.705 | 34.9894 | 69.1559 | 34.9894 | 0
43462848.151 | 38.1928 | 71.1005 | 38.1928 | 0
43933832.701 | 41.1235 | 72.5155 | 41.1235 | 0
44409921.068 | 43.6269 | 73.9036 | 43.6269 | 0
44891168.56 | 46.0625 | 75.6316 | 46.0625 | 0
45377631.084 | 48.8284 | 77.6751 | 48.8284 | 0
45869365.152 | 52.2417 | 79.7479 | 52.2417 | 0
46366427.89 | 56.2564 | 81.3076 | 56.2564 | 0
46868877.041 | 60.4377 | 82.1028 | 60.4377 | 0
47376770.975 | 64.4045 | 82.3034 | 64.4045 | 0
47890168.695 | 68.0771 | 82.266 | 68.0771 | 0
48409129.842 | 71.6695 | 82.0284 | 71.6695 | 0
48933714.704 | 75.2055 | 81.39 | 75.2055 | 0
49463984.223 | 78.6663 | 80.3873 | 78.6663 | 0
50000000 | 81.9167 | 78.3879 | 81.9167 | 0
TRACE: B
FORMAT: LINEAR
Frequency | Data Real | Data Imag | Data Trace Real | Data Trace Imag
9000 | 2.8332 | 16.4792 | 16.4792 | 0
9097.528 | 2.8692 | 16.6429 | 16.6429 | 0
9196.114 | 2.908 | 16.8022 | 16.8022 | 0
9295.767 | 2.9493 | 16.9671 | 16.9671 | 0
9396.501 | 2.9917 | 17.1315 | 17.1315 | 0
9498.326 | 3.0273 | 17.2933 | 17.2933 | 0
9601.254 | 3.0764 | 17.4585 | 17.4585 | 0
9705.298 | 3.1198 | 17.631 | 17.631 | 0
9810.469 | 3.1586 | 17.7993 | 17.7993 | 0
9916.78 | 3.1974 | 17.9729 | 17.9729 | 0
10024.243 | 3.2404 | 18.1462 | 18.1462 | 0
10132.871 | 3.2862 | 18.318 | 18.318 | 0
10242.676 | 3.3275 | 18.4955 | 18.4955 | 0
10353.67 | 3.3737 | 18.6731 | 18.6731 | 0
10465.868 | 3.4195 | 18.8612 | 18.8612 | 0
10579.281 | 3.4617 | 19.0384 | 19.0384 | 0
10693.923 | 3.5119 | 19.2162 | 19.2162 | 0
10809.808 | 3.561 | 19.4036 | 19.4036 | 0
10926.948 | 3.6052 | 19.5917 | 19.5917 | 0
11045.358 | 3.6571 | 19.7763 | 19.7763 | 0
11165.051 | 3.7014 | 19.9678 | 19.9678 | 0
11286.041 | 3.7486 | 20.1547 | 20.1547 | 0
11408.342 | 3.7983 | 20.3488 | 20.3488 | 0
11531.968 | 3.8524 | 20.5456 | 20.5456 | 0
11656.934 | 3.9065 | 20.7428 | 20.7428 | 0
11783.254 | 3.9579 | 20.9381 | 20.9381 | 0
11910.943 | 4.0106 | 21.1392 | 21.1392 | 0
12040.016 | 4.067 | 21.3449 | 21.3449 | 0
12170.487 | 4.1248 | 21.5495 | 21.5495 | 0
12302.373 | 4.1735 | 21.7493 | 21.7493 | 0
12435.687 | 4.2296 | 21.9551 | 21.9551 | 0
12570.446 | 4.2881 | 22.1744 | 22.1744 | 0
12706.666 | 4.3465 | 22.3781 | 22.3781 | 0
12844.361 | 4.3973 | 22.5933 | 22.5933 | 0
12983.549 | 4.4621 | 22.8116 | 22.8116 | 0
13124.245 | 4.5202 | 23.0275 | 23.0275 | 0
13266.466 | 4.5808 | 23.2492 | 23.2492 | 0
13410.228 | 4.6475 | 23.4638 | 23.4638 | 0
13555.548 | 4.7063 | 23.694 | 23.694 | 0
13702.442 | 4.7766 | 23.9123 | 23.9123 | 0
13850.928 | 4.8281 | 24.1375 | 24.1375 | 0
14001.024 | 4.8903 | 24.3678 | 24.3678 | 0
14152.746 | 4.9663 | 24.5958 | 24.5958 | 0
14306.112 | 5.0235 | 24.8334 | 24.8334 | 0
14461.14 | 5.0933 | 25.0706 | 25.0706 | 0
14617.848 | 5.1604 | 25.303 | 25.303 | 0
14776.254 | 5.2359 | 25.5409 | 25.5409 | 0
14936.376 | 5.3103 | 25.7843 | 25.7843 | 0
15098.234 | 5.3715 | 26.031 | 26.031 | 0
15261.846 | 5.4404 | 26.274 | 26.274 | 0
15427.231 | 5.5114 | 26.5216 | 26.5216 | 0
15594.408 | 5.593 | 26.769 | 26.769 | 0
15763.396 | 5.669 | 27.0232 | 27.0232 | 0
15934.216 | 5.7431 | 27.2791 | 27.2791 | 0
16106.887 | 5.8302 | 27.5334 | 27.5334 | 0
16281.429 | 5.8933 | 27.7902 | 27.7902 | 0
16457.863 | 5.9672 | 28.0549 | 28.0549 | 0
16636.208 | 6.0586 | 28.3178 | 28.3178 | 0
16816.486 | 6.153 | 28.5885 | 28.5885 | 0
16998.718 | 6.2197 | 28.8537 | 28.8537 | 0
17182.924 | 6.303 | 29.1241 | 29.1241 | 0
17369.127 | 6.3832 | 29.401 | 29.401 | 0
17557.347 | 6.4827 | 29.6731 | 29.6731 | 0
17747.607 | 6.5677 | 29.9508 | 29.9508 | 0
17939.929 | 6.6554 | 30.2263 | 30.2263 | 0
18134.334 | 6.7397 | 30.5154 | 30.5154 | 0
18330.847 | 6.8304 | 30.8014 | 30.8014 | 0
18529.489 | 6.9186 | 31.0818 | 31.0818 | 0
18730.283 | 7.0152 | 31.3775 | 31.3775 | 0
18933.254 | 7.1114 | 31.6657 | 31.6657 | 0
19138.424 | 7.2038 | 31.9549 | 31.9549 | 0
19345.817 | 7.3006 | 32.2578 | 32.2578 | 0
19555.458 | 7.3889 | 32.559 | 32.559 | 0
19767.37 | 7.4947 | 32.8605 | 32.8605 | 0
19981.579 | 7.6002 | 33.1681 | 33.1681 | 0
20198.109 | 7.692 | 33.4715 | 33.4715 | 0
20416.986 | 7.7975 | 33.7742 | 33.7742 | 0
20638.234 | 7.9149 | 34.0919 | 34.0919 | 0
20861.88 | 8.0109 | 34.412 | 34.412 | 0
21087.949 | 8.1149 | 34.731 | 34.731 | 0
21316.469 | 8.2256 | 35.0431 | 35.0431 | 0
21547.464 | 8.3366 | 35.3673 | 35.3673 | 0
21780.963 | 8.4474 | 35.689 | 35.689 | 0
22016.992 | 8.5658 | 36.029 | 36.029 | 0
22255.579 | 8.674 | 36.3531 | 36.3531 | 0
22496.751 | 8.7877 | 36.6863 | 36.6863 | 0
22740.537 | 8.9135 | 37.0194 | 37.0194 | 0
22986.964 | 9.0358 | 37.3628 | 37.3628 | 0
23236.062 | 9.1583 | 37.6959 | 37.6959 | 0
23487.86 | 9.2803 | 38.0461 | 38.0461 | 0
23742.386 | 9.3958 | 38.3887 | 38.3887 | 0
23999.67 | 9.5238 | 38.7379 | 38.7379 | 0
24259.742 | 9.6565 | 39.0964 | 39.0964 | 0
24522.632 | 9.7841 | 39.4505 | 39.4505 | 0
24788.371 | 9.9128 | 39.8159 | 39.8159 | 0
25056.99 | 10.0455 | 40.1709 | 40.1709 | 0
25328.52 | 10.1799 | 40.5416 | 40.5416 | 0
25602.992 | 10.3189 | 40.9005 | 40.9005 | 0
25880.438 | 10.4447 | 41.2704 | 41.2704 | 0
26160.891 | 10.5931 | 41.6483 | 41.6483 | 0
26444.383 | 10.7334 | 42.0251 | 42.0251 | 0
26730.948 | 10.8698 | 42.4011 | 42.4011 | 0
27020.617 | 11.0094 | 42.7885 | 42.7885 | 0
27313.426 | 11.1631 | 43.1739 | 43.1739 | 0
27609.407 | 11.309 | 43.5603 | 43.5603 | 0
27908.596 | 11.4668 | 43.9483 | 43.9483 | 0
28211.027 | 11.6124 | 44.3411 | 44.3411 | 0
28516.736 | 11.7639 | 44.7458 | 44.7458 | 0
28825.757 | 11.9251 | 45.1457 | 45.1457 | 0
29138.127 | 12.0751 | 45.5473 | 45.5473 | 0
29453.882 | 12.2429 | 45.9611 | 45.9611 | 0
29773.058 | 12.4023 | 46.3656 | 46.3656 | 0
30095.694 | 12.5681 | 46.7771 | 46.7771 | 0
30421.825 | 12.7211 | 47.1985 | 47.1985 | 0
30751.491 | 12.9075 | 47.6222 | 47.6222 | 0
31084.729 | 13.0694 | 48.0437 | 48.0437 | 0
31421.578 | 13.2358 | 48.47 | 48.47 | 0
31762.078 | 13.4204 | 48.8963 | 48.8963 | 0
32106.267 | 13.5754 | 49.3304 | 49.3304 | 0
32454.186 | 13.7713 | 49.7627 | 49.7627 | 0
32805.876 | 13.9408 | 50.2025 | 50.2025 | 0
33161.376 | 14.1369 | 50.645 | 50.645 | 0
33520.729 | 14.3136 | 51.089 | 51.089 | 0
33883.976 | 14.4962 | 51.5402 | 51.5402 | 0
34251.159 | 14.6942 | 51.9916 | 51.9916 | 0
34622.321 | 14.8807 | 52.4569 | 52.4569 | 0
34997.505 | 15.0711 | 52.9153 | 52.9153 | 0
35376.755 | 15.2645 | 53.3783 | 53.3783 | 0
35760.115 | 15.4524 | 53.8389 | 53.8389 | 0
36147.629 | 15.6544 | 54.3188 | 54.3188 | 0
36539.342 | 15.8535 | 54.7883 | 54.7883 | 0
36935.301 | 16.0635 | 55.2757 | 55.2757 | 0
37335.549 | 16.2777 | 55.7516 | 55.7516 | 0
37740.136 | 16.4834 | 56.2401 | 56.2401 | 0
38149.106 | 16.6908 | 56.7259 | 56.7259 | 0
38562.508 | 16.9171 | 57.2142 | 57.2142 | 0
38980.39 | 17.1318 | 57.7182 | 57.7182 | 0
39402.801 | 17.347 | 58.2207 | 58.2207 | 0
39829.789 | 17.5701 | 58.7162 | 58.7162 | 0
40261.404 | 17.7955 | 59.2172 | 59.2172 | 0
40697.696 | 18.0252 | 59.7336 | 59.7336 | 0
41138.716 | 18.2547 | 60.2542 | 60.2542 | 0
41584.515 | 18.4882 | 60.764 | 60.764 | 0
42035.145 | 18.7128 | 61.2953 | 61.2953 | 0
42490.658 | 18.9589 | 61.8159 | 61.8159 | 0
42951.108 | 19.1991 | 62.3434 | 62.3434 | 0
43416.547 | 19.4506 | 62.8809 | 62.8809 | 0
43887.03 | 19.6895 | 63.4172 | 63.4172 | 0
44362.611 | 19.9485 | 63.956 | 63.956 | 0
44843.346 | 20.193 | 64.5046 | 64.5046 | 0
45329.29 | 20.4514 | 65.0479 | 65.0479 | 0
45820.5 | 20.7049 | 65.6134 | 65.6134 | 0
46317.033 | 20.9646 | 66.1695 | 66.1695 | 0
46818.947 | 21.2293 | 66.7185 | 66.7185 | 0
47326.3 | 21.4946 | 67.2795 | 67.2795 | 0
47839.151 | 21.7634 | 67.8429 | 67.8429 | 0
48357.559 | 22.0062 | 68.43 | 68.43 | 0
48881.585 | 22.2843 | 68.996 | 68.996 | 0
49411.29 | 22.5651 | 69.5738 | 69.5738 | 0
49946.734 | 22.8465 | 70.1723 | 70.1723 | 0
50487.982 | 23.1273 | 70.7706 | 70.7706 | 0
51035.094 | 23.3995 | 71.3714 | 71.3714 | 0
51588.135 | 23.7013 | 71.9728 | 71.9728 | 0
52147.169 | 23.987 | 72.5762 | 72.5762 | 0
52712.261 | 24.2777 | 73.1902 | 73.1902 | 0
53283.477 | 24.5581 | 73.8023 | 73.8023 | 0
53860.882 | 24.8655 | 74.4383 | 74.4383 | 0
54444.545 | 25.1763 | 75.0396 | 75.0396 | 0
55034.533 | 25.4916 | 75.6717 | 75.6717 | 0
55630.914 | 25.8085 | 76.2992 | 76.2992 | 0
56233.757 | 26.0991 | 76.9577 | 76.9577 | 0
56843.134 | 26.4127 | 77.6066 | 77.6066 | 0
57459.113 | 26.7453 | 78.2438 | 78.2438 | 0
58081.768 | 27.0563 | 78.9081 | 78.9081 | 0
58711.171 | 27.3898 | 79.569 | 79.569 | 0
59347.393 | 27.715 | 80.2315 | 80.2315 | 0
59990.511 | 28.0469 | 80.9013 | 80.9013 | 0
60640.597 | 28.3906 | 81.5778 | 81.5778 | 0
61297.728 | 28.7427 | 82.2443 | 82.2443 | 0
61961.98 | 29.0787 | 82.9321 | 82.9321 | 0
62633.43 | 29.4374 | 83.6229 | 83.6229 | 0
63312.156 | 29.7789 | 84.3244 | 84.3244 | 0
63998.238 | 30.1094 | 85.0337 | 85.0337 | 0
64691.754 | 30.4937 | 85.7173 | 85.7173 | 0
65392.785 | 30.8472 | 86.4454 | 86.4454 | 0
66101.413 | 31.2027 | 87.1527 | 87.1527 | 0
66817.72 | 31.5887 | 87.8605 | 87.8605 | 0
67541.789 | 31.9398 | 88.6088 | 88.6088 | 0
68273.705 | 32.3269 | 89.3308 | 89.3308 | 0
69013.552 | 32.717 | 90.0776 | 90.0776 | 0
69761.416 | 33.1083 | 90.8255 | 90.8255 | 0
70517.385 | 33.4818 | 91.5677 | 91.5677 | 0
71281.546 | 33.8712 | 92.3382 | 92.3382 | 0
72053.987 | 34.2688 | 93.0867 | 93.0867 | 0
72834.799 | 34.6806 | 93.863 | 93.863 | 0
73624.072 | 35.0908 | 94.6286 | 94.6286 | 0
74421.899 | 35.5094 | 95.4326 | 95.4326 | 0
75228.371 | 35.9115 | 96.2028 | 96.2028 | 0
76043.582 | 36.3393 | 97.0117 | 97.0117 | 0
76867.627 | 36.7474 | 97.8103 | 97.8103 | 0
77700.602 | 37.1961 | 98.6215 | 98.6215 | 0
78542.603 | 37.5803 | 99.4318 | 99.4318 | 0
79393.729 | 38.0493 | 100.2538 | 100.2538 | 0
80254.078 | 38.4654 | 101.0956 | 101.0956 | 0
81123.75 | 38.9117 | 101.9233 | 101.9233 | 0
82002.847 | 39.4049 | 102.754 | 102.754 | 0
82891.47 | 39.8454 | 103.6171 | 103.6171 | 0
83789.722 | 40.3104 | 104.473 | 104.473 | 0
84697.708 | 40.7825 | 105.343 | 105.343 | 0
85615.534 | 41.2389 | 106.193 | 106.193 | 0
86543.305 | 41.7238 | 107.1023 | 107.1023 | 0
87481.13 | 42.206 | 107.9815 | 107.9815 | 0
88429.118 | 42.6873 | 108.8585 | 108.8585 | 0
89387.379 | 43.2069 | 109.7857 | 109.7857 | 0
90356.024 | 43.6708 | 110.6958 | 110.6958 | 0
91335.166 | 44.1867 | 111.596 | 111.596 | 0
92324.919 | 44.6947 | 112.5249 | 112.5249 | 0
93325.396 | 45.199 | 113.4774 | 113.4774 | 0
94336.716 | 45.7528 | 114.4209 | 114.4209 | 0
95358.994 | 46.265 | 115.3579 | 115.3579 | 0
96392.35 | 46.7797 | 116.3444 | 116.3444 | 0
97436.905 | 47.3292 | 117.3048 | 117.3048 | 0
98492.779 | 47.8864 | 118.2677 | 118.2677 | 0
99560.094 | 48.4419 | 119.2637 | 119.2637 | 0
100638.976 | 49.0125 | 120.2639 | 120.2639 | 0
101729.549 | 49.5913 | 121.254 | 121.254 | 0
102831.939 | 50.1597 | 122.2901 | 122.2901 | 0
103946.276 | 50.716 | 123.3044 | 123.3044 | 0
105072.689 | 51.3297 | 124.331 | 124.331 | 0
106211.307 | 51.9223 | 125.3875 | 125.3875 | 0
107362.265 | 52.521 | 126.4236 | 126.4236 | 0
108525.694 | 53.1389 | 127.504 | 127.504 | 0
109701.732 | 53.7685 | 128.5604 | 128.5604 | 0
110890.513 | 54.4086 | 129.6259 | 129.6259 | 0
112092.176 | 55.0271 | 130.7282 | 130.7282 | 0
113306.862 | 55.6587 | 131.8304 | 131.8304 | 0
114534.71 | 56.3319 | 132.9446 | 132.9446 | 0
115775.864 | 56.9873 | 134.0769 | 134.0769 | 0
117030.467 | 57.6422 | 135.2191 | 135.2191 | 0
118298.666 | 58.334 | 136.3338 | 136.3338 | 0
119580.608 | 59.0307 | 137.5064 | 137.5064 | 0
120876.442 | 59.6903 | 138.6832 | 138.6832 | 0
122186.318 | 60.4154 | 139.8596 | 139.8596 | 0
123510.388 | 61.1521 | 141.047 | 141.047 | 0
124848.807 | 61.8582 | 142.26 | 142.26 | 0
126201.729 | 62.6043 | 143.474 | 143.474 | 0
127569.312 | 63.35 | 144.7124 | 144.7124 | 0
128951.715 | 64.1208 | 145.9452 | 145.9452 | 0
130349.099 | 64.8821 | 147.1914 | 147.1914 | 0
131761.625 | 65.6437 | 148.4535 | 148.4535 | 0
133189.458 | 66.4579 | 149.737 | 149.737 | 0
134632.764 | 67.2555 | 151.0336 | 151.0336 | 0
136091.71 | 68.087 | 152.3204 | 152.3204 | 0
137566.466 | 68.9097 | 153.6542 | 153.6542 | 0
139057.203 | 69.7561 | 154.9725 | 154.9725 | 0
140564.094 | 70.6281 | 156.29 | 156.29 | 0
142087.315 | 71.48 | 157.6678 | 157.6678 | 0
143627.042 | 72.3829 | 159.0426 | 159.0426 | 0
145183.455 | 73.2894 | 160.4229 | 160.4229 | 0
146756.733 | 74.1668 | 161.8264 | 161.8264 | 0
148347.061 | 75.1033 | 163.2227 | 163.2227 | 0
149954.621 | 76.0451 | 164.6655 | 164.6655 | 0
151579.603 | 77.0168 | 166.0935 | 166.0935 | 0
153222.193 | 77.961 | 167.569 | 167.569 | 0
154882.583 | 78.9505 | 169.0499 | 169.0499 | 0
156560.966 | 79.9979 | 170.5182 | 170.5182 | 0
158257.537 | 81.015 | 172.0362 | 172.0362 | 0
159972.492 | 82.051 | 173.5468 | 173.5468 | 0
161706.032 | 83.0952 | 175.0922 | 175.0922 | 0
163458.357 | 84.1942 | 176.6508 | 176.6508 | 0
165229.671 | 85.2811 | 178.2176 | 178.2176 | 0
167020.18 | 86.401 | 179.789 | 179.789 | 0
168830.092 | 87.5232 | 181.4092 | 181.4092 | 0
170659.617 | 88.7407 | 183.0229 | 183.0229 | 0
172508.968 | 89.9081 | 184.6793 | 184.6793 | 0
174378.359 | 91.1269 | 186.3255 | 186.3255 | 0
176268.007 | 92.3278 | 187.9783 | 187.9783 | 0
178178.133 | 93.5848 | 189.726 | 189.726 | 0
180108.958 | 94.8331 | 191.4257 | 191.4257 | 0
182060.706 | 96.1656 | 193.1352 | 193.1352 | 0
184033.605 | 97.4783 | 194.8586 | 194.8586 | 0
186027.882 | 98.7811 | 196.6872 | 196.6872 | 0
188043.771 | 100.1756 | 198.4513 | 198.4513 | 0
190081.504 | 101.6172 | 200.2398 | 200.2398 | 0
192141.32 | 103.0545 | 202.0794 | 202.0794 | 0
194223.457 | 104.4545 | 203.9115 | 203.9115 | 0
196328.157 | 105.9987 | 205.7889 | 205.7889 | 0
198455.664 | 107.4918 | 207.6642 | 207.6642 | 0
200606.226 | 109.0655 | 209.592 | 209.592 | 0
202780.093 | 110.5973 | 211.538 | 211.538 | 0
204977.516 | 112.2696 | 213.4256 | 213.4256 | 0
207198.752 | 113.9285 | 215.4181 | 215.4181 | 0
209444.059 | 115.6147 | 217.4452 | 217.4452 | 0
211713.696 | 117.304 | 219.4931 | 219.4931 | 0
214007.929 | 119.0727 | 221.4955 | 221.4955 | 0
216327.023 | 120.9279 | 223.5624 | 223.5624 | 0
218671.247 | 122.7997 | 225.6327 | 225.6327 | 0
221040.875 | 124.6506 | 227.7527 | 227.7527 | 0
223436.182 | 126.5659 | 229.9016 | 229.9016 | 0
225857.445 | 128.5476 | 232.0757 | 232.0757 | 0
228304.946 | 130.5691 | 234.2261 | 234.2261 | 0
230778.969 | 132.64 | 236.4742 | 236.4742 | 0
233279.802 | 134.7993 | 238.6787 | 238.6787 | 0
235807.736 | 136.9545 | 240.9511 | 240.9511 | 0
238363.063 | 139.1401 | 243.2517 | 243.2517 | 0
240946.081 | 141.4813 | 245.5508 | 245.5508 | 0
243557.09 | 143.8006 | 247.8808 | 247.8808 | 0
246196.393 | 146.2474 | 250.2043 | 250.2043 | 0
248864.297 | 148.6651 | 252.6355 | 252.6355 | 0
251561.111 | 151.1915 | 255.0304 | 255.0304 | 0
254287.15 | 153.8578 | 257.3964 | 257.3964 | 0
257042.729 | 156.4224 | 259.9279 | 259.9279 | 0
259828.169 | 159.1749 | 262.3371 | 262.3371 | 0
262643.793 | 161.9878 | 264.8984 | 264.8984 | 0
265489.929 | 164.8353 | 267.4747 | 267.4747 | 0
268366.907 | 167.7508 | 270.0195 | 270.0195 | 0
271275.061 | 170.8571 | 272.636 | 272.636 | 0
274214.729 | 174.0195 | 275.1907 | 275.1907 | 0
277186.254 | 177.2923 | 277.7906 | 277.7906 | 0
280189.979 | 180.5011 | 280.4976 | 280.4976 | 0
283226.253 | 183.8676 | 283.1975 | 283.1975 | 0
286295.431 | 187.464 | 285.8988 | 285.8988 | 0
289397.867 | 190.9909 | 288.5975 | 288.5975 | 0
292533.923 | 194.7071 | 291.3159 | 291.3159 | 0
295703.963 | 198.5356 | 294.0663 | 294.0663 | 0
298908.355 | 202.4906 | 296.8753 | 296.8753 | 0
302147.471 | 206.4846 | 299.7292 | 299.7292 | 0
305421.688 | 210.7431 | 302.5126 | 302.5126 | 0
308731.386 | 215.0782 | 305.3386 | 305.3386 | 0
312076.949 | 219.5082 | 308.1796 | 308.1796 | 0
315458.767 | 224.0692 | 311.0569 | 311.0569 | 0
318877.231 | 228.9259 | 313.8698 | 313.8698 | 0
322332.74 | 233.7203 | 316.7758 | 316.7758 | 0
325825.694 | 238.8436 | 319.6862 | 319.6862 | 0
329356.5 | 244.0544 | 322.4995 | 322.4995 | 0
332925.567 | 249.4786 | 325.2867 | 325.2867 | 0
336533.31 | 255.0185 | 328.2046 | 328.2046 | 0
340180.149 | 260.8904 | 331.0345 | 331.0345 | 0
343866.506 | 266.8226 | 333.9067 | 333.9067 | 0
347592.811 | 272.9569 | 336.5616 | 336.5616 | 0
351359.495 | 279.3286 | 339.3512 | 339.3512 | 0
355166.998 | 286.0305 | 342.1063 | 342.1063 | 0
359015.76 | 292.8068 | 344.774 | 344.774 | 0
362906.229 | 299.8565 | 347.3242 | 347.3242 | 0
366838.858 | 307.2992 | 349.9243 | 349.9243 | 0
370814.102 | 314.8472 | 352.2971 | 352.2971 | 0
374832.424 | 322.7159 | 354.7806 | 354.7806 | 0
378894.29 | 331.0637 | 356.8545 | 356.8545 | 0
383000.173 | 339.3506 | 359.1257 | 359.1257 | 0
387150.549 | 348.16 | 361.1296 | 361.1296 | 0
391345.9 | 357.1902 | 362.9904 | 362.9904 | 0
395586.715 | 366.5754 | 364.623 | 364.623 | 0
399873.485 | 376.1974 | 366.2162 | 366.2162 | 0
404206.708 | 386.3435 | 367.3968 | 367.3968 | 0
408586.888 | 396.635 | 368.46 | 368.46 | 0
413014.535 | 407.3304 | 369.3351 | 369.3351 | 0
417490.161 | 418.5048 | 369.7076 | 369.7076 | 0
422014.287 | 429.8617 | 369.8851 | 369.8851 | 0
426587.439 | 441.6366 | 369.6641 | 369.6641 | 0
431210.148 | 453.9199 | 369.0073 | 369.0073 | 0
435882.951 | 466.4369 | 367.9803 | 367.9803 | 0
440606.39 | 479.2761 | 366.4528 | 366.4528 | 0
445381.015 | 492.5123 | 364.3478 | 364.3478 | 0
450207.38 | 506.1303 | 361.6411 | 361.6411 | 0
455086.046 | 520.0248 | 358.4017 | 358.4017 | 0
460017.58 | 534.1315 | 354.5462 | 354.5462 | 0
465002.554 | 548.6031 | 349.7261 | 349.7261 | 0
470041.548 | 563.2479 | 344.3149 | 344.3149 | 0
475135.147 | 578.0349 | 337.9766 | 337.9766 | 0
480283.942 | 593.0308 | 330.8132 | 330.8132 | 0
485488.532 | 608.0472 | 322.6799 | 322.6799 | 0
490749.522 | 623.0197 | 313.608 | 313.608 | 0
496067.522 | 638.0316 | 303.3801 | 303.3801 | 0
501443.151 | 652.6959 | 292.1387 | 292.1387 | 0
506877.033 | 667.152 | 279.8359 | 279.8359 | 0
512369.799 | 681.349 | 266.5299 | 266.5299 | 0
517922.087 | 694.8929 | 251.9089 | 251.9089 | 0
523534.542 | 707.8232 | 236.3806 | 236.3806 | 0
529207.817 | 720.0171 | 219.6893 | 219.6893 | 0
534942.57 | 731.3436 | 202.0556 | 202.0556 | 0
540739.468 | 741.6702 | 183.2776 | 183.2776 | 0
546599.184 | 750.9581 | 163.7809 | 163.7809 | 0
552522.398 | 758.9705 | 143.3605 | 143.3605 | 0
558509.8 | 765.6155 | 122.2424 | 122.2424 | 0
564562.083 | 770.9281 | 100.8279 | 100.8279 | 0
570679.952 | 774.7972 | 78.921 | 78.921 | 0
576864.118 | 777.0847 | 56.8357 | 56.8357 | 0
583115.298 | 777.8615 | 34.8207 | 34.8207 | 0
589434.219 | 777.1968 | 12.7563 | 12.7563 | 0
595821.614 | 774.9288 | -8.8973 | -8.8973 | 0
602278.227 | 771.3579 | -30.1397 | -30.1397 | 0
608804.807 | 766.4048 | -50.8649 | -50.8649 | 0
615402.111 | 760.2694 | -70.7014 | -70.7014 | 0
622070.908 | 752.9899 | -89.8529 | -89.8529 | 0
628811.971 | 744.6691 | -107.96 | -107.96 | 0
635626.083 | 735.5809 | -125.0481 | -125.0481 | 0
642514.036 | 725.7107 | -141.0271 | -141.0271 | 0
649476.63 | 715.2909 | -156.1419 | -156.1419 | 0
656514.675 | 704.5406 | -170.2541 | -170.2541 | 0
663628.987 | 693.5243 | -183.1768 | -183.1768 | 0
670820.393 | 682.3457 | -194.9172 | -194.9172 | 0
678089.729 | 671.0605 | -206.0242 | -206.0242 | 0
685437.839 | 659.9003 | -216.1476 | -216.1476 | 0
692865.577 | 648.8086 | -225.4815 | -225.4815 | 0
700373.805 | 637.9745 | -234.1127 | -234.1127 | 0
707963.396 | 627.333 | -242.0638 | -242.0638 | 0
715635.231 | 616.9197 | -249.5303 | -249.5303 | 0
723390.203 | 606.8722 | -256.5435 | -256.5435 | 0
731229.21 | 597.0005 | -263.3459 | -263.3459 | 0
739153.166 | 587.4115 | -269.6226 | -269.6226 | 0
747162.989 | 578.1348 | -275.8907 | -275.8907 | 0
755259.61 | 569.0623 | -281.8459 | -281.8459 | 0
763443.97 | 560.0992 | -287.7161 | -287.7161 | 0
771717.02 | 551.2125 | -293.6221 | -293.6221 | 0
780079.721 | 542.4192 | -299.4525 | -299.4525 | 0
788533.044 | 533.6951 | -305.2151 | -305.2151 | 0
797077.971 | 524.8517 | -310.9656 | -310.9656 | 0
805715.496 | 515.9114 | -316.8528 | -316.8528 | 0
814446.62 | 506.8442 | -322.4453 | -322.4453 | 0
823272.36 | 497.5829 | -328.015 | -328.015 | 0
832193.739 | 488.0707 | -333.503 | -333.503 | 0
841211.795 | 478.1713 | -338.9177 | -338.9177 | 0
850327.575 | 468.1886 | -344.1051 | -344.1051 | 0
859542.138 | 457.821 | -348.9365 | -348.9365 | 0
868856.555 | 447.211 | -353.5059 | -353.5059 | 0
878271.907 | 436.3848 | -357.6952 | -357.6952 | 0
887789.288 | 425.2136 | -361.4501 | -361.4501 | 0
897409.804 | 413.9417 | -364.8631 | -364.8631 | 0
907134.573 | 402.4083 | -367.7118 | -367.7118 | 0
916964.724 | 390.8937 | -370.1253 | -370.1253 | 0
926901.4 | 379.1751 | -371.9398 | -371.9398 | 0
936945.754 | 367.4763 | -373.2711 | -373.2711 | 0
947098.953 | 355.7841 | -374.0814 | -374.0814 | 0
957362.178 | 344.1461 | -374.3584 | -374.3584 | 0
967736.62 | 332.6711 | -374.1155 | -374.1155 | 0
978223.484 | 321.2921 | -373.3066 | -373.3066 | 0
988823.99 | 310.1426 | -372.0796 | -372.0796 | 0
999539.367 | 299.2118 | -370.4285 | -370.4285 | 0
1010370.861 | 288.4786 | -368.278 | -368.278 | 0
1021319.731 | 278.1446 | -365.7012 | -365.7012 | 0
1032387.248 | 268.0177 | -362.8309 | -362.8309 | 0
1043574.698 | 258.222 | -359.5647 | -359.5647 | 0
1054883.381 | 248.795 | -356.0543 | -356.0543 | 0
1066314.61 | 239.6686 | -352.2228 | -352.2228 | 0
1077869.714 | 230.9496 | -348.168 | -348.168 | 0
1089550.034 | 222.5572 | -343.8511 | -343.8511 | 0
1101356.928 | 214.5514 | -339.3678 | -339.3678 | 0
1113291.767 | 206.8138 | -334.7224 | -334.7224 | 0
1125355.937 | 199.4764 | -329.944 | -329.944 | 0
1137550.841 | 192.415 | -325.0607 | -325.0607 | 0
1149877.895 | 185.718 | -320.087 | -320.087 | 0
1162338.531 | 179.3257 | -314.9672 | -314.9672 | 0
1174934.196 | 173.1857 | -309.8757 | -309.8757 | 0
1187666.354 | 167.3915 | -304.7446 | -304.7446 | 0
1200536.484 | 161.8429 | -299.5266 | -299.5266 | 0
1213546.081 | 156.7021 | -294.3404 | -294.3404 | 0
1226696.656 | 151.7301 | -289.1913 | -289.1913 | 0
1239989.738 | 146.954 | -283.9449 | -283.9449 | 0
1253426.869 | 142.5349 | -278.7475 | -278.7475 | 0
1267009.612 | 138.2598 | -273.624 | -273.624 | 0
1280739.544 | 134.3064 | -268.4511 | -268.4511 | 0
1294618.26 | 130.5021 | -263.3616 | -263.3616 | 0
1308647.373 | 126.8198 | -258.2995 | -258.2995 | 0
1322828.512 | 123.5149 | -253.2672 | -253.2672 | 0
1337163.325 | 120.2741 | -248.2927 | -248.2927 | 0
1351653.477 | 117.2792 | -243.4021 | -243.4021 | 0
1366300.651 | 114.4521 | -238.509 | -238.509 | 0
1381106.549 | 111.7389 | -233.7088 | -233.7088 | 0
1396072.891 | 109.1924 | -228.9401 | -228.9401 | 0
1411201.415 | 106.796 | -224.2709 | -224.2709 | 0
1426493.88 | 104.5328 | -219.5757 | -219.5757 | 0
1441952.061 | 102.4417 | -215.02 | -215.02 | 0
1457577.754 | 100.4895 | -210.4688 | -210.4688 | 0
1473372.775 | 98.6257 | -206.0361 | -206.0361 | 0
1489338.959 | 96.879 | -201.6177 | -201.6177 | 0
1505478.16 | 95.3035 | -197.2696 | -197.2696 | 0
1521792.253 | 93.7949 | -192.988 | -192.988 | 0
1538283.134 | 92.4045 | -188.7758 | -188.7758 | 0
1554952.717 | 91.0925 | -184.5964 | -184.5964 | 0
1571802.941 | 89.8593 | -180.4768 | -180.4768 | 0
1588835.762 | 88.7859 | -176.4162 | -176.4162 | 0
1606053.158 | 87.7813 | -172.4248 | -172.4248 | 0
1623457.131 | 86.8966 | -168.4846 | -168.4846 | 0
1641049.702 | 85.9975 | -164.6279 | -164.6279 | 0
1658832.914 | 85.2691 | -160.7773 | -160.7773 | 0
1676808.834 | 84.5863 | -157.0239 | -157.0239 | 0
1694979.549 | 83.9846 | -153.2834 | -153.2834 | 0
1713347.172 | 83.5026 | -149.6353 | -149.6353 | 0
1731913.834 | 83.0403 | -146.0204 | -146.0204 | 0
1750681.695 | 82.6718 | -142.4612 | -142.4612 | 0
1769652.932 | 82.3854 | -138.9644 | -138.9644 | 0
1788829.752 | 82.147 | -135.5231 | -135.5231 | 0
1808214.38 | 81.9763 | -132.1331 | -132.1331 | 0
1827809.07 | 81.892 | -128.7812 | -128.7812 | 0
1847616.098 | 81.8589 | -125.4592 | -125.4592 | 0
1867637.764 | 81.8824 | -122.2294 | -122.2294 | 0
1887876.395 | 82.0085 | -119.0455 | -119.0455 | 0
1908334.341 | 82.1847 | -115.8902 | -115.8902 | 0
1929013.98 | 82.3896 | -112.8004 | -112.8004 | 0
1949917.713 | 82.6882 | -109.7644 | -109.7644 | 0
1971047.969 | 83.0465 | -106.7519 | -106.7519 | 0
1992407.203 | 83.4404 | -103.8012 | -103.8012 | 0
2013997.896 | 83.9271 | -100.9183 | -100.9183 | 0
2035822.556 | 84.4647 | -98.0797 | -98.0797 | 0
2057883.719 | 85.0605 | -95.287 | -95.287 | 0
2080183.947 | 85.7073 | -92.5415 | -92.5415 | 0
2102725.832 | 86.4237 | -89.8534 | -89.8534 | 0
2125511.991 | 87.2 | -87.2336 | -87.2336 | 0
2148545.072 | 88.0349 | -84.651 | -84.651 | 0
2171827.751 | 88.9284 | -82.1388 | -82.1388 | 0
2195362.732 | 89.8621 | -79.6651 | -79.6651 | 0
2219152.75 | 90.8832 | -77.2738 | -77.2738 | 0
2243200.568 | 91.9532 | -74.93 | -74.93 | 0
2267508.979 | 93.0917 | -72.6551 | -72.6551 | 0
2292080.809 | 94.2745 | -70.4462 | -70.4462 | 0
2316918.911 | 95.5268 | -68.2913 | -68.2913 | 0
2342026.17 | 96.8146 | -66.2312 | -66.2312 | 0
2367405.504 | 98.1931 | -64.2125 | -64.2125 | 0
2393059.861 | 99.6237 | -62.297 | -62.297 | 0
2418992.221 | 101.0969 | -60.4564 | -60.4564 | 0
2445205.597 | 102.6484 | -58.6828 | -58.6828 | 0
2471703.033 | 104.2287 | -57.0306 | -57.0306 | 0
2498487.609 | 105.884 | -55.4449 | -55.4449 | 0
2525562.435 | 107.5811 | -53.9618 | -53.9618 | 0
2552930.657 | 109.3259 | -52.5746 | -52.5746 | 0
2580595.454 | 111.1302 | -51.3009 | -51.3009 | 0
2608560.041 | 112.969 | -50.1521 | -50.1521 | 0
2636827.666 | 114.8419 | -49.0953 | -49.0953 | 0
2665401.612 | 116.7537 | -48.1862 | -48.1862 | 0
2694285.2 | 118.6752 | -47.3987 | -47.3987 | 0
2723481.784 | 120.6347 | -46.749 | -46.749 | 0
2752994.756 | 122.6042 | -46.2347 | -46.2347 | 0
2782827.546 | 124.5623 | -45.8669 | -45.8669 | 0
2812983.618 | 126.5347 | -45.6259 | -45.6259 | 0
2843466.476 | 128.464 | -45.57 | -45.57 | 0
2874279.66 | 130.3726 | -45.645 | -45.645 | 0
2905426.752 | 132.2431 | -45.8886 | -45.8886 | 0
2936911.369 | 134.0473 | -46.2748 | -46.2748 | 0
2968737.168 | 135.7783 | -46.8016 | -46.8016 | 0
3000907.847 | 137.416 | -47.5245 | -47.5245 | 0
3033427.143 | 138.9512 | -48.3539 | -48.3539 | 0
3066298.834 | 140.384 | -49.3091 | -49.3091 | 0
3099526.739 | 141.7039 | -50.4175 | -50.4175 | 0
3133114.717 | 142.8527 | -51.6079 | -51.6079 | 0
3167066.671 | 143.864 | -52.8933 | -52.8933 | 0
3201386.545 | 144.7069 | -54.3121 | -54.3121 | 0
3236078.326 | 145.3581 | -55.7523 | -55.7523 | 0
3271146.044 | 145.8634 | -57.2776 | -57.2776 | 0
3306593.772 | 146.168 | -58.8184 | -58.8184 | 0
3342425.63 | 146.2595 | -60.3572 | -60.3572 | 0
3378645.779 | 146.1895 | -61.8945 | -61.8945 | 0
3415258.427 | 145.9378 | -63.375 | -63.375 | 0
3452267.827 | 145.4657 | -64.8057 | -64.8057 | 0
3489678.279 | 144.8701 | -66.1556 | -66.1556 | 0
3527494.129 | 144.0819 | -67.4173 | -67.4173 | 0
3565719.77 | 143.1679 | -68.592 | -68.592 | 0
3604359.643 | 142.1419 | -69.625 | -69.625 | 0
3643418.236 | 140.9764 | -70.526 | -70.526 | 0
3682900.087 | 139.7397 | -71.3052 | -71.3052 | 0
3722809.783 | 138.4046 | -71.9026 | -71.9026 | 0
3763151.959 | 137.0277 | -72.3485 | -72.3485 | 0
3803931.303 | 135.6124 | -72.6337 | -72.6337 | 0
3845152.552 | 134.1656 | -72.7635 | -72.7635 | 0
3886820.494 | 132.7307 | -72.7383 | -72.7383 | 0
3928939.97 | 131.3163 | -72.5346 | -72.5346 | 0
3971515.874 | 129.9299 | -72.1968 | -72.1968 | 0
4014553.15 | 128.5816 | -71.7215 | -71.7215 | 0
4058056.8 | 127.299 | -71.1001 | -71.1001 | 0
4102031.876 | 126.0906 | -70.3462 | -70.3462 | 0
4146483.487 | 125.0011 | -69.4963 | -69.4963 | 0
4191416.798 | 123.9532 | -68.5287 | -68.5287 | 0
4236837.027 | 123.0449 | -67.4405 | -67.4405 | 0
4282749.453 | 122.2514 | -66.2583 | -66.2583 | 0
4329159.408 | 121.5594 | -65.0066 | -65.0066 | 0
4376072.284 | 121.0206 | -63.6827 | -63.6827 | 0
4423493.53 | 120.5975 | -62.3026 | -62.3026 | 0
4471428.656 | 120.3411 | -60.8774 | -60.8774 | 0
4519883.231 | 120.246 | -59.3849 | -59.3849 | 0
4568862.882 | 120.3098 | -57.8788 | -57.8788 | 0
4618373.301 | 120.532 | -56.379 | -56.379 | 0
4668420.24 | 120.9216 | -54.8665 | -54.8665 | 0
4719009.511 | 121.5264 | -53.3669 | -53.3669 | 0
4770146.991 | 122.2929 | -51.9069 | -51.9069 | 0
4821838.623 | 123.2562 | -50.5208 | -50.5208 | 0
4874090.41 | 124.4145 | -49.2088 | -49.2088 | 0
4926908.423 | 125.7734 | -48.0002 | -48.0002 | 0
4980298.798 | 127.2975 | -46.9158 | -46.9158 | 0
5034267.736 | 128.975 | -45.9746 | -45.9746 | 0
5088821.509 | 130.8871 | -45.218 | -45.218 | 0
5143966.452 | 132.9686 | -44.6597 | -44.6597 | 0
5199708.973 | 135.2029 | -44.3529 | -44.3529 | 0
5256055.547 | 137.5325 | -44.2988 | -44.2988 | 0
5313012.72 | 140.0227 | -44.5432 | -44.5432 | 0
5370587.108 | 142.5621 | -45.1174 | -45.1174 | 0
5428785.401 | 145.1796 | -46.0187 | -46.0187 | 0
5487614.358 | 147.7522 | -47.3036 | -47.3036 | 0
5547080.815 | 150.2912 | -48.9591 | -48.9591 | 0
5607191.679 | 152.7026 | -51.0306 | -51.0306 | 0
5667953.934 | 154.9366 | -53.4633 | -53.4633 | 0
5729374.638 | 156.9566 | -56.2582 | -56.2582 | 0
5791460.926 | 158.6672 | -59.433 | -59.433 | 0
5854220.012 | 160.0163 | -62.9138 | -62.9138 | 0
5917659.186 | 160.9392 | -66.5931 | -66.5931 | 0
5981785.817 | 161.4346 | -70.4925 | -70.4925 | 0
6046607.356 | 161.4342 | -74.5122 | -74.5122 | 0
6112131.333 | 160.981 | -78.5601 | -78.5601 | 0
6178365.359 | 160.0397 | -82.6082 | -82.6082 | 0
6245317.129 | 158.5711 | -86.5597 | -86.5597 | 0
6312994.421 | 156.6319 | -90.3384 | -90.3384 | 0
6381405.098 | 154.2621 | -93.8702 | -93.8702 | 0
6450557.105 | 151.5065 | -97.066 | -97.066 | 0
6520458.478 | 148.4191 | -99.9258 | -99.9258 | 0
6591117.335 | 145.0348 | -102.3637 | -102.3637 | 0
6662541.887 | 141.4839 | -104.3714 | -104.3714 | 0
6734740.429 | 137.8461 | -105.9158 | -105.9158 | 0
6807721.35 | 134.147 | -107.0486 | -107.0486 | 0
6881493.128 | 130.4847 | -107.7 | -107.7 | 0
6956064.332 | 126.9355 | -107.997 | -107.997 | 0
7031443.627 | 123.5358 | -107.9303 | -107.9303 | 0
7107639.768 | 120.3539 | -107.5406 | -107.5406 | 0
7184661.607 | 117.3963 | -106.9 | -106.9 | 0
7262518.093 | 114.7086 | -106.0584 | -106.0584 | 0
7341218.269 | 112.2729 | -105.0681 | -105.0681 | 0
7420771.279 | 110.1037 | -104.0092 | -104.0092 | 0
7501186.364 | 108.2126 | -102.8672 | -102.8672 | 0
7582472.866 | 106.557 | -101.7681 | -101.7681 | 0
7664640.227 | 105.1146 | -100.6742 | -100.6742 | 0
7747697.994 | 103.8516 | -99.6555 | -99.6555 | 0
7831655.816 | 102.7491 | -98.7343 | -98.7343 | 0
7916523.445 | 101.7754 | -97.8949 | -97.8949 | 0
8002310.742 | 100.9132 | -97.1791 | -97.1791 | 0
8089027.671 | 100.1073 | -96.5596 | -96.5596 | 0
8176684.307 | 99.3364 | -96.0479 | -96.0479 | 0
8265290.832 | 98.5911 | -95.6279 | -95.6279 | 0
8354857.541 | 97.8564 | -95.2745 | -95.2745 | 0
8445394.839 | 97.1415 | -94.9868 | -94.9868 | 0
8536913.243 | 96.4226 | -94.7631 | -94.7631 | 0
8629423.384 | 95.6947 | -94.6313 | -94.6313 | 0
8722936.011 | 94.9441 | -94.5229 | -94.5229 | 0
8817461.986 | 94.1816 | -94.4794 | -94.4794 | 0
8913012.29 | 93.3808 | -94.4432 | -94.4432 | 0
9009598.024 | 92.5726 | -94.4674 | -94.4674 | 0
9107230.407 | 91.7286 | -94.5062 | -94.5062 | 0
9205920.783 | 90.8673 | -94.5888 | -94.5888 | 0
9305680.615 | 89.9708 | -94.6888 | -94.6888 | 0
9406521.494 | 89.053 | -94.8256 | -94.8256 | 0
9508455.133 | 88.1079 | -94.9891 | -94.9891 | 0
9611493.375 | 87.1204 | -95.1653 | -95.1653 | 0
9715648.189 | 86.0924 | -95.3814 | -95.3814 | 0
9820931.676 | 84.9988 | -95.6142 | -95.6142 | 0
9927356.065 | 83.8523 | -95.8589 | -95.8589 | 0
10034933.721 | 82.6459 | -96.1206 | -96.1206 | 0
10143677.141 | 81.3571 | -96.3689 | -96.3689 | 0
10253598.957 | 80.0017 | -96.6023 | -96.6023 | 0
10364711.94 | 78.5639 | -96.812 | -96.812 | 0
10477028.997 | 77.0655 | -96.9754 | -96.9754 | 0
10590563.176 | 75.494 | -97.0842 | -97.0842 | 0
10705327.666 | 73.8691 | -97.1339 | -97.1339 | 0
10821335.801 | 72.1813 | -97.1106 | -97.1106 | 0
10938601.056 | 70.4393 | -97.0117 | -97.0117 | 0
11057137.054 | 68.6952 | -96.8197 | -96.8197 | 0
11176957.566 | 66.9256 | -96.5251 | -96.5251 | 0
11298076.511 | 65.1642 | -96.1518 | -96.1518 | 0
11420507.96 | 63.4117 | -95.6969 | -95.6969 | 0
11544266.136 | 61.6845 | -95.1669 | -95.1669 | 0
11669365.415 | 59.991 | -94.5674 | -94.5674 | 0
11795820.331 | 58.3204 | -93.9055 | -93.9055 | 0
11923645.574 | 56.6878 | -93.178 | -93.178 | 0
12052855.993 | 55.1296 | -92.4055 | -92.4055 | 0
12183466.6 | 53.6173 | -91.6202 | -91.6202 | 0
12315492.566 | 52.1495 | -90.8266 | -90.8266 | 0
12448949.23 | 50.7031 | -90.0275 | -90.0275 | 0
12583852.095 | 49.2757 | -89.2303 | -89.2303 | 0
12720216.834 | 47.8565 | -88.4282 | -88.4282 | 0
12858059.286 | 46.4237 | -87.6292 | -87.6292 | 0
12997395.467 | 44.9684 | -86.822 | -86.822 | 0
13138241.562 | 43.4955 | -85.9833 | -85.9833 | 0
13280613.934 | 41.9917 | -85.1127 | -85.1127 | 0
13424529.122 | 40.4541 | -84.188 | -84.188 | 0
13570003.846 | 38.8894 | -83.2019 | -83.2019 | 0
13717055.004 | 37.3261 | -82.1216 | -82.1216 | 0
13865699.679 | 35.7445 | -80.9572 | -80.9572 | 0
14015955.141 | 34.1748 | -79.6981 | -79.6981 | 0
14167838.844 | 32.6336 | -78.3349 | -78.3349 | 0
14321368.433 | 31.1376 | -76.8737 | -76.8737 | 0
14476561.742 | 29.7153 | -75.3039 | -75.3039 | 0
14633436.802 | 28.339 | -73.646 | -73.646 | 0
14792011.837 | 27.0729 | -71.8932 | -71.8932 | 0
14952305.267 | 25.9108 | -70.0584 | -70.0584 | 0
15114335.715 | 24.8768 | -68.1844 | -68.1844 | 0
15278122.004 | 23.9392 | -66.2711 | -66.2711 | 0
15443683.161 | 23.1115 | -64.3084 | -64.3084 | 0
15611038.419 | 22.4273 | -62.3075 | -62.3075 | 0
15780207.219 | 21.8843 | -60.3065 | -60.3065 | 0
15951209.215 | 21.4833 | -58.3216 | -58.3216 | 0
16124064.272 | 21.2374 | -56.3828 | -56.3828 | 0
16298792.471 | 21.1262 | -54.5687 | -54.5687 | 0
16475414.109 | 20.96 | -52.877 | -52.877 | 0
16653949.704 | 20.7954 | -51.1067 | -51.1067 | 0
16834419.999 | 20.6588 | -49.2728 | -49.2728 | 0
17016845.957 | 20.6672 | -47.2915 | -47.2915 | 0
17201248.771 | 20.9404 | -45.2895 | -45.2895 | 0
17387649.865 | 21.4716 | -43.2604 | -43.2604 | 0
17576070.891 | 22.4191 | -41.204 | -41.204 | 0
17766533.738 | 23.9938 | -39.3744 | -39.3744 | 0
17959060.534 | 26.1665 | -38.2229 | -38.2229 | 0
18153673.644 | 28.7713 | -38.3837 | -38.3837 | 0
18350395.676 | 30.5427 | -40.5436 | -40.5436 | 0
18549249.483 | 29.7696 | -43.3957 | -43.3957 | 0
18750258.167 | 26.9657 | -44.6883 | -44.6883 | 0
18953445.079 | 23.9491 | -43.909 | -43.909 | 0
19158833.823 | 21.7177 | -41.7618 | -41.7618 | 0
19366448.26 | 20.417 | -39.0834 | -39.0834 | 0
19576312.507 | 19.8043 | -36.1692 | -36.1692 | 0
19788450.945 | 19.9072 | -33.0575 | -33.0575 | 0
20002888.218 | 20.8439 | -29.9104 | -29.9104 | 0
20219649.238 | 22.8481 | -26.6791 | -26.6791 | 0
20438759.186 | 26.5894 | -23.7617 | -23.7617 | 0
20660243.516 | 32.5652 | -22.6648 | -22.6648 | 0
20884127.957 | 39.3906 | -25.8362 | -25.8362 | 0
21110438.52 | 42.8065 | -33.5428 | -33.5428 | 0
21339201.493 | 40.2793 | -41.4275 | -41.4275 | 0
21570443.453 | 34.4555 | -45.6304 | -45.6304 | 0
21804191.264 | 28.6375 | -46.3729 | -46.3729 | 0
22040472.079 | 24.098 | -45.2456 | -45.2456 | 0
22279313.348 | 20.751 | -43.4664 | -43.4664 | 0
22520742.818 | 18.1683 | -41.4746 | -41.4746 | 0
22764788.534 | 16.1244 | -39.3879 | -39.3879 | 0
23011478.848 | 14.5007 | -37.2881 | -37.2881 | 0
23260842.419 | 13.2054 | -35.2159 | -35.2159 | 0
23512908.214 | 12.1581 | -33.2132 | -33.2132 | 0
23767705.517 | 11.2905 | -31.286 | -31.286 | 0
24025263.927 | 10.5488 | -29.4192 | -29.4192 | 0
24285613.366 | 9.9121 | -27.6 | -27.6 | 0
24548784.077 | 9.3754 | -25.8275 | -25.8275 | 0
24814806.635 | 8.904 | -24.0915 | -24.0915 | 0
25083711.942 | 8.4896 | -22.3944 | -22.3944 | 0
25355531.237 | 8.1346 | -20.7212 | -20.7212 | 0
25630296.099 | 7.8202 | -19.0779 | -19.0779 | 0
25908038.446 | 7.5467 | -17.4585 | -17.4585 | 0
26188790.544 | 7.3021 | -15.86 | -15.86 | 0
26472585.009 | 7.0869 | -14.2772 | -14.2772 | 0
26759454.808 | 6.8874 | -12.7031 | -12.7031 | 0
27049433.268 | 6.7137 | -11.1336 | -11.1336 | 0
27342554.075 | 6.5586 | -9.5597 | -9.5597 | 0
27638851.282 | 6.4297 | -7.9831 | -7.9831 | 0
27938359.31 | 6.3261 | -6.4049 | -6.4049 | 0
28241112.952 | 6.2489 | -4.8249 | -4.8249 | 0
28547147.38 | 6.1925 | -3.2425 | -3.2425 | 0
28856498.145 | 6.1555 | -1.656 | -1.656 | 0
29169201.186 | 6.1371 | -0.061308 | -0.061308 | 0
29485292.829 | 6.1374 | 1.5462 | 1.5462 | 0
29804809.795 | 6.1499 | 3.1685 | 3.1685 | 0
30127789.202 | 6.1863 | 4.8139 | 4.8139 | 0
30454268.571 | 6.2476 | 6.4857 | 6.4857 | 0
30784285.828 | 6.3429 | 8.1827 | 8.1827 | 0
31117879.314 | 6.4703 | 9.9029 | 9.9029 | 0
31455087.78 | 6.6365 | 11.6454 | 11.6454 | 0
31795950.401 | 6.84 | 13.4104 | 13.4104 | 0
32140506.776 | 7.0859 | 15.2013 | 15.2013 | 0
32488796.93 | 7.3792 | 17.015 | 17.015 | 0
32840861.326 | 7.7241 | 18.8461 | 18.8461 | 0
33196740.864 | 8.1161 | 20.695 | 20.695 | 0
33556476.884 | 8.5581 | 22.5609 | 22.5609 | 0
33920111.179 | 9.0474 | 24.4416 | 24.4416 | 0
34287685.992 | 9.5934 | 26.3457 | 26.3457 | 0
34659244.025 | 10.2015 | 28.2848 | 28.2848 | 0
35034828.441 | 10.9032 | 30.2446 | 30.2446 | 0
35414482.872 | 11.7178 | 32.1966 | 32.1966 | 0
35798251.423 | 12.6437 | 34.0565 | 34.0565 | 0
36186178.677 | 13.5817 | 35.8002 | 35.8002 | 0
36578309.699 | 14.4166 | 37.454 | 37.454 | 0
36974690.043 | 15.0839 | 39.177 | 39.177 | 0
37375365.757 | 15.673 | 41.1547 | 41.1547 | 0
37780383.389 | 16.3886 | 43.4575 | 43.4575 | 0
38189789.988 | 17.4902 | 45.9725 | 45.9725 | 0
38603633.116 | 19.0622 | 48.4506 | 48.4506 | 0
39021960.849 | 21.0292 | 50.5953 | 50.5953 | 0
39444821.785 | 23.1047 | 52.2066 | 52.2066 | 0
39872265.048 | 24.8981 | 53.3633 | 53.3633 | 0
40304340.294 | 26.148 | 54.3753 | 54.3753 | 0
40741097.717 | 26.8701 | 55.719 | 55.719 | 0
41182588.056 | 27.4343 | 57.7254 | 57.7254 | 0
41628862.598 | 28.2933 | 60.384 | 60.384 | 0
42079973.189 | 29.783 | 63.4162 | 63.4162 | 0
42535972.233 | 32.0426 | 66.4905 | 66.4905 | 0
42996912.705 | 34.9894 | 69.1559 | 69.1559 | 0
43462848.151 | 38.1928 | 71.1005 | 71.1005 | 0
43933832.701 | 41.1235 | 72.5155 | 72.5155 | 0
44409921.068 | 43.6269 | 73.9036 | 73.9036 | 0
44891168.56 | 46.0625 | 75.6316 | 75.6316 | 0
45377631.084 | 48.8284 | 77.6751 | 77.6751 | 0
45869365.152 | 52.2417 | 79.7479 | 79.7479 | 0
46366427.89 | 56.2564 | 81.3076 | 81.3076 | 0
46868877.041 | 60.4377 | 82.1028 | 82.1028 | 0
47376770.975 | 64.4045 | 82.3034 | 82.3034 | 0
47890168.695 | 68.0771 | 82.266 | 82.266 | 0
48409129.842 | 71.6695 | 82.0284 | 82.0284 | 0
48933714.704 | 75.2055 | 81.39 | 81.39 | 0
49463984.223 | 78.6663 | 80.3873 | 80.3873 | 0
50000000 | 81.9167 | 78.3879 | 78.3879 | 0