## 03-Feb-16 16h 47m 40s
4294A REV1.11
DATE: Feb 3 2016
MEASURE PARAMETER: IMPEDANCE RESISTANCE - REACTANCE
ADAPTER: PROBE
SWEEP TYPE: LOG FREQ
NUMBER of POINTS: 801
POINT DELAY TIME: 0 Sec
SWEEP DELAY TIME: 0 Sec
OSC LEVEL: 500 mVolt
DC BIAS: OFF
BW: 3
SWEEP AVERAGING: OFF
POINT AVERAGING: OFF
TRACE: A
FORMAT: LINEAR
Frequency | Data Real | Data Imag | Data Trace Real | Data Trace Imag
9000 | 2.3963 | 14.5881 | 2.3963 | 0
9097.528 | 2.4225 | 14.7308 | 2.4225 | 0
9196.114 | 2.4543 | 14.8724 | 2.4543 | 0
9295.767 | 2.4938 | 15.0168 | 2.4938 | 0
9396.501 | 2.5249 | 15.1655 | 2.5249 | 0
9498.326 | 2.5572 | 15.3102 | 2.5572 | 0
9601.254 | 2.6003 | 15.4608 | 2.6003 | 0
9705.298 | 2.6226 | 15.6143 | 2.6226 | 0
9810.469 | 2.6634 | 15.7663 | 2.6634 | 0
9916.78 | 2.704 | 15.9195 | 2.704 | 0
10024.243 | 2.7293 | 16.0675 | 2.7293 | 0
10132.871 | 2.7706 | 16.2224 | 2.7706 | 0
10242.676 | 2.8076 | 16.3847 | 2.8076 | 0
10353.67 | 2.8462 | 16.5439 | 2.8462 | 0
10465.868 | 2.8825 | 16.707 | 2.8825 | 0
10579.281 | 2.924 | 16.8623 | 2.924 | 0
10693.923 | 2.9648 | 17.0298 | 2.9648 | 0
10809.808 | 2.9998 | 17.1892 | 2.9998 | 0
10926.948 | 3.0411 | 17.355 | 3.0411 | 0
11045.358 | 3.0848 | 17.525 | 3.0848 | 0
11165.051 | 3.1254 | 17.6977 | 3.1254 | 0
11286.041 | 3.1628 | 17.8655 | 3.1628 | 0
11408.342 | 3.2075 | 18.0391 | 3.2075 | 0
11531.968 | 3.2501 | 18.2126 | 3.2501 | 0
11656.934 | 3.2915 | 18.39 | 3.2915 | 0
11783.254 | 3.3401 | 18.5637 | 3.3401 | 0
11910.943 | 3.3811 | 18.7448 | 3.3811 | 0
12040.016 | 3.4253 | 18.9261 | 3.4253 | 0
12170.487 | 3.4689 | 19.1091 | 3.4689 | 0
12302.373 | 3.5203 | 19.2901 | 3.5203 | 0
12435.687 | 3.5706 | 19.4742 | 3.5706 | 0
12570.446 | 3.6195 | 19.6623 | 3.6195 | 0
12706.666 | 3.6648 | 19.854 | 3.6648 | 0
12844.361 | 3.7101 | 20.0463 | 3.7101 | 0
12983.549 | 3.7645 | 20.2379 | 3.7645 | 0
13124.245 | 3.8118 | 20.4317 | 3.8118 | 0
13266.466 | 3.868 | 20.622 | 3.868 | 0
13410.228 | 3.9158 | 20.823 | 3.9158 | 0
13555.548 | 3.9698 | 21.0239 | 3.9698 | 0
13702.442 | 4.0279 | 21.2246 | 4.0279 | 0
13850.928 | 4.0766 | 21.4263 | 4.0766 | 0
14001.024 | 4.1294 | 21.6325 | 4.1294 | 0
14152.746 | 4.1865 | 21.8382 | 4.1865 | 0
14306.112 | 4.2431 | 22.0489 | 4.2431 | 0
14461.14 | 4.3015 | 22.2562 | 4.3015 | 0
14617.848 | 4.3617 | 22.4694 | 4.3617 | 0
14776.254 | 4.4145 | 22.6881 | 4.4145 | 0
14936.376 | 4.4674 | 22.9008 | 4.4674 | 0
15098.234 | 4.5287 | 23.1166 | 4.5287 | 0
15261.846 | 4.5946 | 23.3332 | 4.5946 | 0
15427.231 | 4.6598 | 23.555 | 4.6598 | 0
15594.408 | 4.7176 | 23.7844 | 4.7176 | 0
15763.396 | 4.7781 | 24.0109 | 4.7781 | 0
15934.216 | 4.8478 | 24.24 | 4.8478 | 0
16106.887 | 4.9094 | 24.467 | 4.9094 | 0
16281.429 | 4.9753 | 24.7013 | 4.9753 | 0
16457.863 | 5.0448 | 24.9325 | 5.0448 | 0
16636.208 | 5.1111 | 25.1755 | 5.1111 | 0
16816.486 | 5.1808 | 25.4107 | 5.1808 | 0
16998.718 | 5.2549 | 25.6514 | 5.2549 | 0
17182.924 | 5.3147 | 25.8939 | 5.3147 | 0
17369.127 | 5.395 | 26.1375 | 5.395 | 0
17557.347 | 5.4627 | 26.3834 | 5.4627 | 0
17747.607 | 5.5324 | 26.6382 | 5.5324 | 0
17939.929 | 5.6104 | 26.8847 | 5.6104 | 0
18134.334 | 5.6877 | 27.1331 | 5.6877 | 0
18330.847 | 5.7689 | 27.3882 | 5.7689 | 0
18529.489 | 5.8405 | 27.6441 | 5.8405 | 0
18730.283 | 5.9156 | 27.9095 | 5.9156 | 0
18933.254 | 5.9962 | 28.1704 | 5.9962 | 0
19138.424 | 6.0711 | 28.4351 | 6.0711 | 0
19345.817 | 6.1622 | 28.7021 | 6.1622 | 0
19555.458 | 6.2466 | 28.9693 | 6.2466 | 0
19767.37 | 6.33 | 29.2398 | 6.33 | 0
19981.579 | 6.4138 | 29.5169 | 6.4138 | 0
20198.109 | 6.5005 | 29.7869 | 6.5005 | 0
20416.986 | 6.5819 | 30.0677 | 6.5819 | 0
20638.234 | 6.6764 | 30.3504 | 6.6764 | 0
20861.88 | 6.7603 | 30.6296 | 6.7603 | 0
21087.949 | 6.8512 | 30.9191 | 6.8512 | 0
21316.469 | 6.9437 | 31.2127 | 6.9437 | 0
21547.464 | 7.0307 | 31.4959 | 7.0307 | 0
21780.963 | 7.1289 | 31.7856 | 7.1289 | 0
22016.992 | 7.2231 | 32.0878 | 7.2231 | 0
22255.579 | 7.3214 | 32.3799 | 7.3214 | 0
22496.751 | 7.4187 | 32.6818 | 7.4187 | 0
22740.537 | 7.5225 | 32.9833 | 7.5225 | 0
22986.964 | 7.6218 | 33.2822 | 7.6218 | 0
23236.062 | 7.7192 | 33.5904 | 7.7192 | 0
23487.86 | 7.8322 | 33.906 | 7.8322 | 0
23742.386 | 7.9274 | 34.2171 | 7.9274 | 0
23999.67 | 8.049 | 34.535 | 8.049 | 0
24259.742 | 8.1453 | 34.8471 | 8.1453 | 0
24522.632 | 8.2539 | 35.1746 | 8.2539 | 0
24788.371 | 8.3625 | 35.5025 | 8.3625 | 0
25056.99 | 8.4709 | 35.8297 | 8.4709 | 0
25328.52 | 8.5983 | 36.1493 | 8.5983 | 0
25602.992 | 8.7023 | 36.4853 | 8.7023 | 0
25880.438 | 8.8241 | 36.8144 | 8.8241 | 0
26160.891 | 8.9305 | 37.1516 | 8.9305 | 0
26444.383 | 9.051 | 37.4973 | 9.051 | 0
26730.948 | 9.1806 | 37.8339 | 9.1806 | 0
27020.617 | 9.3047 | 38.1829 | 9.3047 | 0
27313.426 | 9.4109 | 38.5316 | 9.4109 | 0
27609.407 | 9.5486 | 38.8769 | 9.5486 | 0
27908.596 | 9.6779 | 39.2341 | 9.6779 | 0
28211.027 | 9.8024 | 39.5888 | 9.8024 | 0
28516.736 | 9.9286 | 39.9473 | 9.9286 | 0
28825.757 | 10.0607 | 40.3166 | 10.0607 | 0
29138.127 | 10.1975 | 40.6814 | 10.1975 | 0
29453.882 | 10.3297 | 41.0515 | 10.3297 | 0
29773.058 | 10.4572 | 41.4211 | 10.4572 | 0
30095.694 | 10.5996 | 41.7913 | 10.5996 | 0
30421.825 | 10.7442 | 42.1736 | 10.7442 | 0
30751.491 | 10.8761 | 42.5488 | 10.8761 | 0
31084.729 | 11.0243 | 42.9325 | 11.0243 | 0
31421.578 | 11.1733 | 43.322 | 11.1733 | 0
31762.078 | 11.319 | 43.7026 | 11.319 | 0
32106.267 | 11.4635 | 44.103 | 11.4635 | 0
32454.186 | 11.6114 | 44.4984 | 11.6114 | 0
32805.876 | 11.7661 | 44.8953 | 11.7661 | 0
33161.376 | 11.9207 | 45.2966 | 11.9207 | 0
33520.729 | 12.0727 | 45.7022 | 12.0727 | 0
33883.976 | 12.2363 | 46.1099 | 12.2363 | 0
34251.159 | 12.4052 | 46.5189 | 12.4052 | 0
34622.321 | 12.5546 | 46.943 | 12.5546 | 0
34997.505 | 12.7242 | 47.3547 | 12.7242 | 0
35376.755 | 12.8805 | 47.7739 | 12.8805 | 0
35760.115 | 13.0499 | 48.2071 | 13.0499 | 0
36147.629 | 13.21 | 48.6311 | 13.21 | 0
36539.342 | 13.3858 | 49.0656 | 13.3858 | 0
36935.301 | 13.5627 | 49.5061 | 13.5627 | 0
37335.549 | 13.7447 | 49.9341 | 13.7447 | 0
37740.136 | 13.9216 | 50.3733 | 13.9216 | 0
38149.106 | 14.0912 | 50.822 | 14.0912 | 0
38562.508 | 14.2821 | 51.2679 | 14.2821 | 0
38980.39 | 14.4566 | 51.7218 | 14.4566 | 0
39402.801 | 14.6346 | 52.1812 | 14.6346 | 0
39829.789 | 14.8321 | 52.6271 | 14.8321 | 0
40261.404 | 15.0123 | 53.0989 | 15.0123 | 0
40697.696 | 15.2165 | 53.5643 | 15.2165 | 0
41138.716 | 15.405 | 54.0411 | 15.405 | 0
41584.515 | 15.6017 | 54.5135 | 15.6017 | 0
42035.145 | 15.8117 | 54.9894 | 15.8117 | 0
42490.658 | 16.0186 | 55.4667 | 16.0186 | 0
42951.108 | 16.2075 | 55.9575 | 16.2075 | 0
43416.547 | 16.4231 | 56.4349 | 16.4231 | 0
43887.03 | 16.6266 | 56.9345 | 16.6266 | 0
44362.611 | 16.845 | 57.4282 | 16.845 | 0
44843.346 | 17.05 | 57.9243 | 17.05 | 0
45329.29 | 17.251 | 58.4295 | 17.251 | 0
45820.5 | 17.4855 | 58.9406 | 17.4855 | 0
46317.033 | 17.7014 | 59.447 | 17.7014 | 0
46818.947 | 17.927 | 59.9526 | 17.927 | 0
47326.3 | 18.1582 | 60.4687 | 18.1582 | 0
47839.151 | 18.3753 | 60.989 | 18.3753 | 0
48357.559 | 18.6013 | 61.5139 | 18.6013 | 0
48881.585 | 18.8377 | 62.0495 | 18.8377 | 0
49411.29 | 19.0731 | 62.5855 | 19.0731 | 0
49946.734 | 19.2959 | 63.1275 | 19.2959 | 0
50487.982 | 19.5456 | 63.6681 | 19.5456 | 0
51035.094 | 19.7835 | 64.2125 | 19.7835 | 0
51588.135 | 20.0285 | 64.7669 | 20.0285 | 0
52147.169 | 20.2802 | 65.3388 | 20.2802 | 0
52712.261 | 20.5195 | 65.8953 | 20.5195 | 0
53283.477 | 20.7877 | 66.4606 | 20.7877 | 0
53860.882 | 21.033 | 67.0356 | 21.033 | 0
54444.545 | 21.2918 | 67.6055 | 21.2918 | 0
55034.533 | 21.5439 | 68.1886 | 21.5439 | 0
55630.914 | 21.8242 | 68.7711 | 21.8242 | 0
56233.757 | 22.1073 | 69.351 | 22.1073 | 0
56843.134 | 22.3464 | 69.9612 | 22.3464 | 0
57459.113 | 22.6325 | 70.555 | 22.6325 | 0
58081.768 | 22.9198 | 71.1589 | 22.9198 | 0
58711.171 | 23.1858 | 71.7629 | 23.1858 | 0
59347.393 | 23.479 | 72.376 | 23.479 | 0
59990.511 | 23.7659 | 72.9831 | 23.7659 | 0
60640.597 | 24.0598 | 73.6064 | 24.0598 | 0
61297.728 | 24.3247 | 74.2441 | 24.3247 | 0
61961.98 | 24.621 | 74.8574 | 24.621 | 0
62633.43 | 24.9244 | 75.4978 | 24.9244 | 0
63312.156 | 25.2189 | 76.1409 | 25.2189 | 0
63998.238 | 25.5043 | 76.7963 | 25.5043 | 0
64691.754 | 25.843 | 77.4466 | 25.843 | 0
65392.785 | 26.1513 | 78.0995 | 26.1513 | 0
66101.413 | 26.4695 | 78.7615 | 26.4695 | 0
66817.72 | 26.7912 | 79.4288 | 26.7912 | 0
67541.789 | 27.105 | 80.0995 | 27.105 | 0
68273.705 | 27.4281 | 80.7798 | 27.4281 | 0
69013.552 | 27.758 | 81.463 | 27.758 | 0
69761.416 | 28.074 | 82.1543 | 28.074 | 0
70517.385 | 28.4043 | 82.8557 | 28.4043 | 0
71281.546 | 28.7532 | 83.5648 | 28.7532 | 0
72053.987 | 29.0883 | 84.2606 | 29.0883 | 0
72834.799 | 29.4399 | 84.9624 | 29.4399 | 0
73624.072 | 29.7967 | 85.6885 | 29.7967 | 0
74421.899 | 30.1554 | 86.4111 | 30.1554 | 0
75228.371 | 30.5101 | 87.1455 | 30.5101 | 0
76043.582 | 30.8665 | 87.8834 | 30.8665 | 0
76867.627 | 31.2349 | 88.6096 | 31.2349 | 0
77700.602 | 31.5963 | 89.3694 | 31.5963 | 0
78542.603 | 31.979 | 90.138 | 31.979 | 0
79393.729 | 32.3491 | 90.8818 | 32.3491 | 0
80254.078 | 32.7129 | 91.6564 | 32.7129 | 0
81123.75 | 33.1075 | 92.4338 | 33.1075 | 0
82002.847 | 33.4993 | 93.2133 | 33.4993 | 0
82891.47 | 33.8516 | 94.0153 | 33.8516 | 0
83789.722 | 34.2987 | 94.8032 | 34.2987 | 0
84697.708 | 34.7042 | 95.5852 | 34.7042 | 0
85615.534 | 35.1079 | 96.4142 | 35.1079 | 0
86543.305 | 35.5128 | 97.2275 | 35.5128 | 0
87481.13 | 35.9122 | 98.0465 | 35.9122 | 0
88429.118 | 36.3697 | 98.8829 | 36.3697 | 0
89387.379 | 36.7987 | 99.6955 | 36.7987 | 0
90356.024 | 37.2195 | 100.559 | 37.2195 | 0
91335.166 | 37.6615 | 101.4161 | 37.6615 | 0
92324.919 | 38.089 | 102.2603 | 38.089 | 0
93325.396 | 38.528 | 103.1436 | 38.528 | 0
94336.716 | 38.9942 | 104.024 | 38.9942 | 0
95358.994 | 39.4687 | 104.8992 | 39.4687 | 0
96392.35 | 39.9062 | 105.8107 | 39.9062 | 0
97436.905 | 40.3757 | 106.7081 | 40.3757 | 0
98492.779 | 40.8788 | 107.5932 | 40.8788 | 0
99560.094 | 41.3422 | 108.5108 | 41.3422 | 0
100638.976 | 41.8287 | 109.4216 | 41.8287 | 0
101729.549 | 42.3087 | 110.3622 | 42.3087 | 0
102831.939 | 42.808 | 111.3243 | 42.808 | 0
103946.276 | 43.3343 | 112.2618 | 43.3343 | 0
105072.689 | 43.8001 | 113.2287 | 43.8001 | 0
106211.307 | 44.3569 | 114.1807 | 44.3569 | 0
107362.265 | 44.8805 | 115.1685 | 44.8805 | 0
108525.694 | 45.3964 | 116.1526 | 45.3964 | 0
109701.732 | 45.9552 | 117.1518 | 45.9552 | 0
110890.513 | 46.5018 | 118.1357 | 46.5018 | 0
112092.176 | 47.0395 | 119.1566 | 47.0395 | 0
113306.862 | 47.5975 | 120.1773 | 47.5975 | 0
114534.71 | 48.1782 | 121.223 | 48.1782 | 0
115775.864 | 48.7486 | 122.2577 | 48.7486 | 0
117030.467 | 49.3255 | 123.3318 | 49.3255 | 0
118298.666 | 49.9117 | 124.3834 | 49.9117 | 0
119580.608 | 50.5109 | 125.4451 | 50.5109 | 0
120876.442 | 51.0953 | 126.5356 | 51.0953 | 0
122186.318 | 51.731 | 127.6227 | 51.731 | 0
123510.388 | 52.3513 | 128.7255 | 52.3513 | 0
124848.807 | 53.0002 | 129.8511 | 53.0002 | 0
126201.729 | 53.6334 | 130.9598 | 53.6334 | 0
127569.312 | 54.2839 | 132.1161 | 54.2839 | 0
128951.715 | 54.9412 | 133.2743 | 54.9412 | 0
130349.099 | 55.5879 | 134.4313 | 55.5879 | 0
131761.625 | 56.2907 | 135.5915 | 56.2907 | 0
133189.458 | 56.9549 | 136.7821 | 56.9549 | 0
134632.764 | 57.6696 | 137.9572 | 57.6696 | 0
136091.71 | 58.3847 | 139.1598 | 58.3847 | 0
137566.466 | 59.1151 | 140.3908 | 59.1151 | 0
139057.203 | 59.8161 | 141.6217 | 59.8161 | 0
140564.094 | 60.5722 | 142.857 | 60.5722 | 0
142087.315 | 61.3358 | 144.1226 | 61.3358 | 0
143627.042 | 62.0704 | 145.3733 | 62.0704 | 0
145183.455 | 62.8907 | 146.6503 | 62.8907 | 0
146756.733 | 63.6476 | 147.9618 | 63.6476 | 0
148347.061 | 64.4489 | 149.2807 | 64.4489 | 0
149954.621 | 65.2893 | 150.5905 | 65.2893 | 0
151579.603 | 66.0997 | 151.9197 | 66.0997 | 0
153222.193 | 66.943 | 153.2548 | 66.943 | 0
154882.583 | 67.8397 | 154.6301 | 67.8397 | 0
156560.966 | 68.688 | 156.0101 | 68.688 | 0
158257.537 | 69.5821 | 157.3974 | 69.5821 | 0
159972.492 | 70.4559 | 158.8045 | 70.4559 | 0
161706.032 | 71.4005 | 160.2528 | 71.4005 | 0
163458.357 | 72.2928 | 161.681 | 72.2928 | 0
165229.671 | 73.2633 | 163.1094 | 73.2633 | 0
167020.18 | 74.2096 | 164.5838 | 74.2096 | 0
168830.092 | 75.2039 | 166.0607 | 75.2039 | 0
170659.617 | 76.2179 | 167.5642 | 76.2179 | 0
172508.968 | 77.2331 | 169.0775 | 77.2331 | 0
174378.359 | 78.2635 | 170.6035 | 78.2635 | 0
176268.007 | 79.3282 | 172.1403 | 79.3282 | 0
178178.133 | 80.3385 | 173.7289 | 80.3385 | 0
180108.958 | 81.4547 | 175.2767 | 81.4547 | 0
182060.706 | 82.5547 | 176.8854 | 82.5547 | 0
184033.605 | 83.6898 | 178.5171 | 83.6898 | 0
186027.882 | 84.8783 | 180.1294 | 84.8783 | 0
188043.771 | 86.0462 | 181.8235 | 86.0462 | 0
190081.504 | 87.2749 | 183.4088 | 87.2749 | 0
192141.32 | 88.4453 | 185.1425 | 88.4453 | 0
194223.457 | 89.7301 | 186.8502 | 89.7301 | 0
196328.157 | 90.9727 | 188.5844 | 90.9727 | 0
198455.664 | 92.2937 | 190.332 | 92.2937 | 0
200606.226 | 93.5904 | 192.0804 | 93.5904 | 0
202780.093 | 94.9533 | 193.8758 | 94.9533 | 0
204977.516 | 96.3612 | 195.6449 | 96.3612 | 0
207198.752 | 97.7685 | 197.4815 | 97.7685 | 0
209444.059 | 99.1416 | 199.3643 | 99.1416 | 0
211713.696 | 100.6019 | 201.193 | 100.6019 | 0
214007.929 | 102.1537 | 203.0455 | 102.1537 | 0
216327.023 | 103.6147 | 204.9803 | 103.6147 | 0
218671.247 | 105.213 | 206.8835 | 105.213 | 0
221040.875 | 106.7997 | 208.8715 | 106.7997 | 0
223436.182 | 108.4364 | 210.8169 | 108.4364 | 0
225857.445 | 110.0997 | 212.7634 | 110.0997 | 0
228304.946 | 111.7951 | 214.8003 | 111.7951 | 0
230778.969 | 113.5132 | 216.8828 | 113.5132 | 0
233279.802 | 115.3118 | 218.9515 | 115.3118 | 0
235807.736 | 117.1461 | 220.9766 | 117.1461 | 0
238363.063 | 119.015 | 223.0878 | 119.015 | 0
240946.081 | 120.9069 | 225.2552 | 120.9069 | 0
243557.09 | 122.8526 | 227.4328 | 122.8526 | 0
246196.393 | 124.8654 | 229.5904 | 124.8654 | 0
248864.297 | 126.8929 | 231.8026 | 126.8929 | 0
251561.111 | 128.9967 | 234.046 | 128.9967 | 0
254287.15 | 131.1624 | 236.3129 | 131.1624 | 0
257042.729 | 133.3607 | 238.5586 | 133.3607 | 0
259828.169 | 135.6 | 240.8704 | 135.6 | 0
262643.793 | 137.9276 | 243.2409 | 137.9276 | 0
265489.929 | 140.3173 | 245.6181 | 140.3173 | 0
268366.907 | 142.7735 | 247.9703 | 142.7735 | 0
271275.061 | 145.2194 | 250.3867 | 145.2194 | 0
274214.729 | 147.8345 | 252.8525 | 147.8345 | 0
277186.254 | 150.4963 | 255.2663 | 150.4963 | 0
280189.979 | 153.1168 | 257.7823 | 153.1168 | 0
283226.253 | 155.9126 | 260.3278 | 155.9126 | 0
286295.431 | 158.766 | 262.8228 | 158.766 | 0
289397.867 | 161.7112 | 265.3683 | 161.7112 | 0
292533.923 | 164.7256 | 268.0359 | 164.7256 | 0
295703.963 | 167.845 | 270.6465 | 167.845 | 0
298908.355 | 171.0336 | 273.2978 | 171.0336 | 0
302147.471 | 174.3008 | 275.9524 | 174.3008 | 0
305421.688 | 177.7028 | 278.6281 | 177.7028 | 0
308731.386 | 181.1451 | 281.3677 | 181.1451 | 0
312076.949 | 184.744 | 284.1796 | 184.744 | 0
315458.767 | 188.3926 | 286.9571 | 188.3926 | 0
318877.231 | 192.2573 | 289.6948 | 192.2573 | 0
322332.74 | 196.1821 | 292.5507 | 196.1821 | 0
325825.694 | 200.2781 | 295.3739 | 200.2781 | 0
329356.5 | 204.3842 | 298.2324 | 204.3842 | 0
332925.567 | 208.6652 | 301.1337 | 208.6652 | 0
336533.31 | 213.1185 | 303.9259 | 213.1185 | 0
340180.149 | 217.7363 | 306.9546 | 217.7363 | 0
343866.506 | 222.4148 | 309.8276 | 222.4148 | 0
347592.811 | 227.3495 | 312.7481 | 227.3495 | 0
351359.495 | 232.4206 | 315.6502 | 232.4206 | 0
355166.998 | 237.6975 | 318.5652 | 237.6975 | 0
359015.76 | 243.0457 | 321.5013 | 243.0457 | 0
362906.229 | 248.6164 | 324.4459 | 248.6164 | 0
366838.858 | 254.4001 | 327.3453 | 254.4001 | 0
370814.102 | 260.3107 | 330.3044 | 260.3107 | 0
374832.424 | 266.6412 | 333.1413 | 266.6412 | 0
378894.29 | 272.9503 | 335.9873 | 272.9503 | 0
383000.173 | 279.6419 | 338.8068 | 279.6419 | 0
387150.549 | 286.4523 | 341.6565 | 286.4523 | 0
391345.9 | 293.6797 | 344.3039 | 293.6797 | 0
395586.715 | 300.9986 | 347.1655 | 300.9986 | 0
399873.485 | 308.666 | 349.6247 | 308.666 | 0
404206.708 | 316.5507 | 352.1923 | 316.5507 | 0
408586.888 | 324.8948 | 354.6813 | 324.8948 | 0
413014.535 | 333.3257 | 356.9693 | 333.3257 | 0
417490.161 | 342.1361 | 359.201 | 342.1361 | 0
422014.287 | 351.31 | 361.3024 | 351.31 | 0
426587.439 | 360.7668 | 363.2605 | 360.7668 | 0
431210.148 | 370.7253 | 364.9067 | 370.7253 | 0
435882.951 | 380.9033 | 366.5068 | 380.9033 | 0
440606.39 | 391.4695 | 367.8466 | 391.4695 | 0
445381.015 | 402.3632 | 368.9368 | 402.3632 | 0
450207.38 | 413.7239 | 369.7073 | 413.7239 | 0
455086.046 | 425.4277 | 370.1962 | 425.4277 | 0
460017.58 | 437.5794 | 370.2825 | 437.5794 | 0
465002.554 | 450.1332 | 370.1465 | 450.1332 | 0
470041.548 | 463.1572 | 369.3982 | 463.1572 | 0
475135.147 | 476.4358 | 368.2858 | 476.4358 | 0
480283.942 | 490.2477 | 366.632 | 490.2477 | 0
485488.532 | 504.3325 | 364.5032 | 504.3325 | 0
490749.522 | 519.0162 | 361.5707 | 519.0162 | 0
496067.522 | 533.9312 | 358.1503 | 533.9312 | 0
501443.151 | 549.2717 | 353.8934 | 549.2717 | 0
506877.033 | 564.9008 | 348.7775 | 564.9008 | 0
512369.799 | 580.8333 | 342.912 | 580.8333 | 0
517922.087 | 596.9882 | 336.2205 | 596.9882 | 0
523534.542 | 613.4417 | 328.308 | 613.4417 | 0
529207.817 | 629.88 | 319.5353 | 629.88 | 0
534942.57 | 646.4879 | 309.4368 | 646.4879 | 0
540739.468 | 662.9548 | 298.358 | 662.9548 | 0
546599.184 | 679.469 | 286.024 | 679.469 | 0
552522.398 | 695.6506 | 272.4681 | 695.6506 | 0
558509.8 | 711.588 | 257.543 | 711.588 | 0
564562.083 | 726.8606 | 241.3501 | 726.8606 | 0
570679.952 | 741.6676 | 223.7591 | 741.6676 | 0
576864.118 | 755.6866 | 204.8622 | 755.6866 | 0
583115.298 | 768.7863 | 184.651 | 768.7863 | 0
589434.219 | 780.8331 | 163.3024 | 780.8331 | 0
595821.614 | 791.6749 | 140.6361 | 791.6749 | 0
602278.227 | 801.1476 | 117.1121 | 801.1476 | 0
608804.807 | 809.0767 | 92.4374 | 809.0767 | 0
615402.111 | 815.4116 | 66.8911 | 815.4116 | 0
622070.908 | 820.0865 | 40.9549 | 820.0865 | 0
628811.971 | 822.833 | 14.4413 | 822.833 | 0
635626.083 | 823.7711 | -12.3807 | 823.7711 | 0
642514.036 | 822.7704 | -39.2293 | 822.7704 | 0
649476.63 | 819.8677 | -66.0232 | 819.8677 | 0
656514.675 | 815.0579 | -92.4327 | 815.0579 | 0
663628.987 | 808.479 | -118.3482 | 808.479 | 0
670820.393 | 800.0991 | -143.609 | 800.0991 | 0
678089.729 | 790.1731 | -167.8483 | 790.1731 | 0
685437.839 | 778.7208 | -191.1685 | 778.7208 | 0
692865.577 | 765.9723 | -213.3304 | 765.9723 | 0
700373.805 | 751.9867 | -234.313 | 751.9867 | 0
707963.396 | 736.9164 | -253.9261 | 736.9164 | 0
715635.231 | 721.0269 | -272.0775 | 721.0269 | 0
723390.203 | 704.3746 | -289.1235 | 704.3746 | 0
731229.21 | 687.1434 | -304.6663 | 687.1434 | 0
739153.166 | 669.4506 | -318.79 | 669.4506 | 0
747162.989 | 651.6123 | -331.5353 | 651.6123 | 0
755259.61 | 633.4023 | -343.1722 | 633.4023 | 0
763443.97 | 615.1144 | -353.4726 | 615.1144 | 0
771717.02 | 596.8959 | -362.587 | 596.8959 | 0
780079.721 | 578.741 | -370.5898 | 578.741 | 0
788533.044 | 560.6399 | -377.5784 | 560.6399 | 0
797077.971 | 542.8568 | -383.5428 | 542.8568 | 0
805715.496 | 525.1051 | -388.5695 | 525.1051 | 0
814446.62 | 507.781 | -392.6482 | 507.781 | 0
823272.36 | 490.743 | -395.8798 | 490.743 | 0
832193.739 | 473.8936 | -398.4654 | 473.8936 | 0
841211.795 | 457.5764 | -400.1291 | 457.5764 | 0
850327.575 | 441.4493 | -401.2302 | 441.4493 | 0
859542.138 | 425.8075 | -401.5878 | 425.8075 | 0
868856.555 | 410.5805 | -401.1953 | 410.5805 | 0
878271.907 | 395.7141 | -400.4675 | 395.7141 | 0
887789.288 | 381.2533 | -399.0989 | 381.2533 | 0
897409.804 | 367.2956 | -397.2021 | 367.2956 | 0
907134.573 | 353.7205 | -394.8329 | 353.7205 | 0
916964.724 | 340.6881 | -392.0541 | 340.6881 | 0
926901.4 | 328.0482 | -388.8746 | 328.0482 | 0
936945.754 | 315.8053 | -385.3797 | 315.8053 | 0
947098.953 | 304.1741 | -381.4987 | 304.1741 | 0
957362.178 | 292.8358 | -377.3016 | 292.8358 | 0
967736.62 | 282.1207 | -372.8898 | 282.1207 | 0
978223.484 | 271.7006 | -368.2704 | 271.7006 | 0
988823.99 | 261.8112 | -363.4174 | 261.8112 | 0
999539.367 | 252.3345 | -358.356 | 252.3345 | 0
1010370.861 | 243.328 | -353.1592 | 243.328 | 0
1021319.731 | 234.6621 | -347.856 | 234.6621 | 0
1032387.248 | 226.4257 | -342.424 | 226.4257 | 0
1043574.698 | 218.6525 | -336.8848 | 218.6525 | 0
1054883.381 | 211.1752 | -331.2052 | 211.1752 | 0
1066314.61 | 204.1092 | -325.6046 | 204.1092 | 0
1077869.714 | 197.4089 | -319.9887 | 197.4089 | 0
1089550.034 | 191.1191 | -314.2734 | 191.1191 | 0
1101356.928 | 185.1165 | -308.5389 | 185.1165 | 0
1113291.767 | 179.4384 | -302.9337 | 179.4384 | 0
1125355.937 | 174.0648 | -297.1714 | 174.0648 | 0
1137550.841 | 168.8789 | -291.5502 | 168.8789 | 0
1149877.895 | 164.0893 | -285.9836 | 164.0893 | 0
1162338.531 | 159.5459 | -280.3228 | 159.5459 | 0
1174934.196 | 155.2543 | -274.8732 | 155.2543 | 0
1187666.354 | 151.2593 | -269.4022 | 151.2593 | 0
1200536.484 | 147.4684 | -263.8965 | 147.4684 | 0
1213546.081 | 143.8691 | -258.6272 | 143.8691 | 0
1226696.656 | 140.5622 | -253.322 | 140.5622 | 0
1239989.738 | 137.3971 | -248.0373 | 137.3971 | 0
1253426.869 | 134.4368 | -242.9125 | 134.4368 | 0
1267009.612 | 131.699 | -237.8006 | 131.699 | 0
1280739.544 | 129.0801 | -232.7954 | 129.0801 | 0
1294618.26 | 126.7218 | -227.8421 | 126.7218 | 0
1308647.373 | 124.4549 | -222.9901 | 124.4549 | 0
1322828.512 | 122.3776 | -218.1574 | 122.3776 | 0
1337163.325 | 120.536 | -213.4347 | 120.536 | 0
1351653.477 | 118.7256 | -208.7814 | 118.7256 | 0
1366300.651 | 117.1113 | -204.2478 | 117.1113 | 0
1381106.549 | 115.6488 | -199.7769 | 115.6488 | 0
1396072.891 | 114.3171 | -195.3402 | 114.3171 | 0
1411201.415 | 113.0878 | -191.0153 | 113.0878 | 0
1426493.88 | 112.0281 | -186.7781 | 112.0281 | 0
1441952.061 | 111.0712 | -182.6029 | 111.0712 | 0
1457577.754 | 110.1973 | -178.548 | 110.1973 | 0
1473372.775 | 109.4665 | -174.5214 | 109.4665 | 0
1489338.959 | 108.8172 | -170.616 | 108.8172 | 0
1505478.16 | 108.3365 | -166.75 | 108.3365 | 0
1521792.253 | 107.9211 | -162.9915 | 107.9211 | 0
1538283.134 | 107.6366 | -159.3076 | 107.6366 | 0
1554952.717 | 107.4352 | -155.7387 | 107.4352 | 0
1571802.941 | 107.3558 | -152.2413 | 107.3558 | 0
1588835.762 | 107.3644 | -148.8087 | 107.3644 | 0
1606053.158 | 107.4588 | -145.4869 | 107.4588 | 0
1623457.131 | 107.6225 | -142.2509 | 107.6225 | 0
1641049.702 | 107.9176 | -139.118 | 107.9176 | 0
1658832.914 | 108.2745 | -136.065 | 108.2745 | 0
1676808.834 | 108.7166 | -133.0918 | 108.7166 | 0
1694979.549 | 109.3011 | -130.2768 | 109.3011 | 0
1713347.172 | 109.886 | -127.5425 | 109.886 | 0
1731913.834 | 110.5947 | -124.9068 | 110.5947 | 0
1750681.695 | 111.3736 | -122.3918 | 111.3736 | 0
1769652.932 | 112.1865 | -120.0091 | 112.1865 | 0
1788829.752 | 113.1279 | -117.7241 | 113.1279 | 0
1808214.38 | 114.0882 | -115.5593 | 114.0882 | 0
1827809.07 | 115.1202 | -113.5532 | 115.1202 | 0
1847616.098 | 116.2251 | -111.6762 | 116.2251 | 0
1867637.764 | 117.3529 | -109.9265 | 117.3529 | 0
1887876.395 | 118.5135 | -108.3333 | 118.5135 | 0
1908334.341 | 119.739 | -106.9098 | 119.739 | 0
1929013.98 | 120.9594 | -105.6021 | 120.9594 | 0
1949917.713 | 122.199 | -104.4555 | 122.199 | 0
1971047.969 | 123.4722 | -103.4735 | 123.4722 | 0
1992407.203 | 124.7029 | -102.6729 | 124.7029 | 0
2013997.896 | 125.9142 | -102.046 | 125.9142 | 0
2035822.556 | 127.102 | -101.5911 | 127.102 | 0
2057883.719 | 128.2415 | -101.2982 | 128.2415 | 0
2080183.947 | 129.2805 | -101.1728 | 129.2805 | 0
2102725.832 | 130.2949 | -101.2064 | 130.2949 | 0
2125511.991 | 131.1872 | -101.4226 | 131.1872 | 0
2148545.072 | 131.9451 | -101.7749 | 131.9451 | 0
2171827.751 | 132.6056 | -102.2721 | 132.6056 | 0
2195362.732 | 133.0992 | -102.905 | 133.0992 | 0
2219152.75 | 133.4427 | -103.6679 | 133.4427 | 0
2243200.568 | 133.5831 | -104.4911 | 133.5831 | 0
2267508.979 | 133.5394 | -105.4409 | 133.5394 | 0
2292080.809 | 133.2886 | -106.444 | 133.2886 | 0
2316918.911 | 132.8601 | -107.4623 | 132.8601 | 0
2342026.17 | 132.1974 | -108.5407 | 132.1974 | 0
2367405.504 | 131.3419 | -109.5578 | 131.3419 | 0
2393059.861 | 130.2675 | -110.5647 | 130.2675 | 0
2418992.221 | 128.9698 | -111.4829 | 128.9698 | 0
2445205.597 | 127.4875 | -112.3438 | 127.4875 | 0
2471703.033 | 125.8153 | -113.0715 | 125.8153 | 0
2498487.609 | 123.9691 | -113.6772 | 123.9691 | 0
2525562.435 | 121.9766 | -114.1343 | 121.9766 | 0
2552930.657 | 119.8689 | -114.4431 | 119.8689 | 0
2580595.454 | 117.6395 | -114.5635 | 117.6395 | 0
2608560.041 | 115.3094 | -114.4943 | 115.3094 | 0
2636827.666 | 112.9255 | -114.2522 | 112.9255 | 0
2665401.612 | 110.5214 | -113.7832 | 110.5214 | 0
2694285.2 | 108.0697 | -113.1576 | 108.0697 | 0
2723481.784 | 105.6369 | -112.3033 | 105.6369 | 0
2752994.756 | 103.214 | -111.2864 | 103.214 | 0
2782827.546 | 100.8454 | -110.0813 | 100.8454 | 0
2812983.618 | 98.5053 | -108.7083 | 98.5053 | 0
2843466.476 | 96.2678 | -107.1597 | 96.2678 | 0
2874279.66 | 94.0863 | -105.4769 | 94.0863 | 0
2905426.752 | 92.0083 | -103.6606 | 92.0083 | 0
2936911.369 | 90.0607 | -101.6963 | 90.0607 | 0
2968737.168 | 88.2057 | -99.6587 | 88.2057 | 0
3000907.847 | 86.4518 | -97.4972 | 86.4518 | 0
3033427.143 | 84.8266 | -95.2367 | 84.8266 | 0
3066298.834 | 83.346 | -92.9072 | 83.346 | 0
3099526.739 | 81.9744 | -90.5156 | 81.9744 | 0
3133114.717 | 80.7313 | -88.0626 | 80.7313 | 0
3167066.671 | 79.6382 | -85.573 | 79.6382 | 0
3201386.545 | 78.672 | -83.0143 | 78.672 | 0
3236078.326 | 77.8235 | -80.4597 | 77.8235 | 0
3271146.044 | 77.1093 | -77.8674 | 77.1093 | 0
3306593.772 | 76.5197 | -75.2538 | 76.5197 | 0
3342425.63 | 76.0431 | -72.6418 | 76.0431 | 0
3378645.779 | 75.704 | -70.0358 | 75.704 | 0
3415258.427 | 75.4836 | -67.4192 | 75.4836 | 0
3452267.827 | 75.3815 | -64.8238 | 75.3815 | 0
3489678.279 | 75.3944 | -62.2265 | 75.3944 | 0
3527494.129 | 75.5377 | -59.664 | 75.5377 | 0
3565719.77 | 75.7906 | -57.1228 | 75.7906 | 0
3604359.643 | 76.1688 | -54.6221 | 76.1688 | 0
3643418.236 | 76.6493 | -52.1449 | 76.6493 | 0
3682900.087 | 77.2446 | -49.7053 | 77.2446 | 0
3722809.783 | 77.9582 | -47.327 | 77.9582 | 0
3763151.959 | 78.7834 | -45.0005 | 78.7834 | 0
3803931.303 | 79.7139 | -42.7167 | 79.7139 | 0
3845152.552 | 80.7572 | -40.5057 | 80.7572 | 0
3886820.494 | 81.9061 | -38.3739 | 81.9061 | 0
3928939.97 | 83.1675 | -36.2981 | 83.1675 | 0
3971515.874 | 84.5319 | -34.3086 | 84.5319 | 0
4014553.15 | 85.9939 | -32.423 | 85.9939 | 0
4058056.8 | 87.5552 | -30.626 | 87.5552 | 0
4102031.876 | 89.2174 | -28.9302 | 89.2174 | 0
4146483.487 | 90.9677 | -27.3663 | 90.9677 | 0
4191416.798 | 92.8018 | -25.9235 | 92.8018 | 0
4236837.027 | 94.703 | -24.6119 | 94.703 | 0
4282749.453 | 96.6931 | -23.4357 | 96.6931 | 0
4329159.408 | 98.7563 | -22.4265 | 98.7563 | 0
4376072.284 | 100.8487 | -21.5682 | 100.8487 | 0
4423493.53 | 102.9893 | -20.8769 | 102.9893 | 0
4471428.656 | 105.1518 | -20.3705 | 105.1518 | 0
4519883.231 | 107.3155 | -20.0608 | 107.3155 | 0
4568862.882 | 109.4844 | -19.9327 | 109.4844 | 0
4618373.301 | 111.6169 | -19.9878 | 111.6169 | 0
4668420.24 | 113.697 | -20.2303 | 113.697 | 0
4719009.511 | 115.7045 | -20.693 | 115.7045 | 0
4770146.991 | 117.6075 | -21.2998 | 117.6075 | 0
4821838.623 | 119.4021 | -22.1098 | 119.4021 | 0
4874090.41 | 121.0355 | -23.0682 | 121.0355 | 0
4926908.423 | 122.5326 | -24.1856 | 122.5326 | 0
4980298.798 | 123.7875 | -25.4093 | 123.7875 | 0
5034267.736 | 124.8161 | -26.6988 | 124.8161 | 0
5088821.509 | 125.6776 | -28.0602 | 125.6776 | 0
5143966.452 | 126.3497 | -29.45 | 126.3497 | 0
5199708.973 | 126.7969 | -30.8096 | 126.7969 | 0
5256055.547 | 127.0504 | -32.1228 | 127.0504 | 0
5313012.72 | 127.1203 | -33.3874 | 127.1203 | 0
5370587.108 | 127.0336 | -34.5283 | 127.0336 | 0
5428785.401 | 126.8063 | -35.5861 | 126.8063 | 0
5487614.358 | 126.4343 | -36.489 | 126.4343 | 0
5547080.815 | 125.9859 | -37.2718 | 125.9859 | 0
5607191.679 | 125.4517 | -37.8751 | 125.4517 | 0
5667953.934 | 124.8799 | -38.3425 | 124.8799 | 0
5729374.638 | 124.2969 | -38.6382 | 124.2969 | 0
5791460.926 | 123.7147 | -38.8144 | 123.7147 | 0
5854220.012 | 123.1661 | -38.8098 | 123.1661 | 0
5917659.186 | 122.6779 | -38.6743 | 122.6779 | 0
5981785.817 | 122.233 | -38.4136 | 122.233 | 0
6046607.356 | 121.9008 | -38.0341 | 121.9008 | 0
6112131.333 | 121.6708 | -37.5774 | 121.6708 | 0
6178365.359 | 121.5526 | -37.0346 | 121.5526 | 0
6245317.129 | 121.5664 | -36.4335 | 121.5664 | 0
6312994.421 | 121.7181 | -35.7627 | 121.7181 | 0
6381405.098 | 122.0271 | -35.0994 | 122.0271 | 0
6450557.105 | 122.4418 | -34.4133 | 122.4418 | 0
6520458.478 | 123.0169 | -33.7286 | 123.0169 | 0
6591117.335 | 123.753 | -33.0707 | 123.753 | 0
6662541.887 | 124.6291 | -32.4522 | 124.6291 | 0
6734740.429 | 125.6409 | -31.8971 | 125.6409 | 0
6807721.35 | 126.8479 | -31.4043 | 126.8479 | 0
6881493.128 | 128.1909 | -31.0158 | 128.1909 | 0
6956064.332 | 129.6875 | -30.7538 | 129.6875 | 0
7031443.627 | 131.3282 | -30.6345 | 131.3282 | 0
7107639.768 | 133.1082 | -30.6932 | 133.1082 | 0
7184661.607 | 135.0134 | -30.9512 | 135.0134 | 0
7262518.093 | 137.0407 | -31.4352 | 137.0407 | 0
7341218.269 | 139.1396 | -32.2139 | 139.1396 | 0
7420771.279 | 141.2999 | -33.269 | 141.2999 | 0
7501186.364 | 143.453 | -34.6437 | 143.453 | 0
7582472.866 | 145.5544 | -36.3335 | 145.5544 | 0
7664640.227 | 147.5776 | -38.3635 | 147.5776 | 0
7747697.994 | 149.4239 | -40.7645 | 149.4239 | 0
7831655.816 | 151.0531 | -43.5089 | 151.0531 | 0
7916523.445 | 152.3481 | -46.5298 | 152.3481 | 0
8002310.742 | 153.261 | -49.8045 | 153.261 | 0
8089027.671 | 153.7661 | -53.2187 | 153.7661 | 0
8176684.307 | 153.8034 | -56.6885 | 153.8034 | 0
8265290.832 | 153.3369 | -60.107 | 153.3369 | 0
8354857.541 | 152.5031 | -63.2804 | 152.5031 | 0
8445394.839 | 151.413 | -66.2296 | 151.413 | 0
8536913.243 | 150.1392 | -68.9538 | 150.1392 | 0
8629423.384 | 148.6879 | -71.4654 | 148.6879 | 0
8722936.011 | 147.1296 | -73.7638 | 147.1296 | 0
8817461.986 | 145.4993 | -75.7867 | 145.4993 | 0
8913012.29 | 143.9204 | -77.6273 | 143.9204 | 0
9009598.024 | 142.3515 | -79.312 | 142.3515 | 0
9107230.407 | 140.86 | -80.8714 | 140.86 | 0
9205920.783 | 139.4532 | -82.3798 | 139.4532 | 0
9305680.615 | 138.1337 | -83.8727 | 138.1337 | 0
9406521.494 | 136.8404 | -85.3427 | 136.8404 | 0
9508455.133 | 135.5968 | -86.9347 | 135.5968 | 0
9611493.375 | 134.3326 | -88.5628 | 134.3326 | 0
9715648.189 | 133.0225 | -90.2789 | 133.0225 | 0
9820931.676 | 131.6253 | -92.0868 | 131.6253 | 0
9927356.065 | 130.1032 | -93.9431 | 130.1032 | 0
10034933.721 | 128.4521 | -95.8546 | 128.4521 | 0
10143677.141 | 126.6203 | -97.7777 | 126.6203 | 0
10253598.957 | 124.6068 | -99.7156 | 124.6068 | 0
10364711.94 | 122.3977 | -101.5927 | 122.3977 | 0
10477028.997 | 119.9918 | -103.4053 | 119.9918 | 0
10590563.176 | 117.4025 | -105.0964 | 117.4025 | 0
10705327.666 | 114.6527 | -106.6402 | 114.6527 | 0
10821335.801 | 111.748 | -108.0554 | 111.748 | 0
10938601.056 | 108.7122 | -109.2449 | 108.7122 | 0
11057137.054 | 105.5698 | -110.263 | 105.5698 | 0
11176957.566 | 102.3478 | -111.056 | 102.3478 | 0
11298076.511 | 99.1097 | -111.666 | 99.1097 | 0
11420507.96 | 95.8451 | -112.0264 | 95.8451 | 0
11544266.136 | 92.6135 | -112.2073 | 92.6135 | 0
11669365.415 | 89.3689 | -112.1875 | 89.3689 | 0
11795820.331 | 86.1947 | -111.9808 | 86.1947 | 0
11923645.574 | 83.0971 | -111.6029 | 83.0971 | 0
12052855.993 | 80.1448 | -111.0995 | 80.1448 | 0
12183466.6 | 77.2513 | -110.497 | 77.2513 | 0
12315492.566 | 74.4375 | -109.8225 | 74.4375 | 0
12448949.23 | 71.7001 | -109.0633 | 71.7001 | 0
12583852.095 | 69.0125 | -108.2479 | 69.0125 | 0
12720216.834 | 66.3926 | -107.3591 | 66.3926 | 0
12858059.286 | 63.7972 | -106.4339 | 63.7972 | 0
12997395.467 | 61.2451 | -105.4321 | 61.2451 | 0
13138241.562 | 58.7111 | -104.3691 | 58.7111 | 0
13280613.934 | 56.2177 | -103.2101 | 56.2177 | 0
13424529.122 | 53.7506 | -101.9791 | 53.7506 | 0
13570003.846 | 51.3153 | -100.6473 | 51.3153 | 0
13717055.004 | 48.9468 | -99.2232 | 48.9468 | 0
13865699.679 | 46.6129 | -97.6954 | 46.6129 | 0
14015955.141 | 44.3595 | -96.0735 | 44.3595 | 0
14167838.844 | 42.1989 | -94.3597 | 42.1989 | 0
14321368.433 | 40.113 | -92.5574 | 40.113 | 0
14476561.742 | 38.141 | -90.6719 | 38.141 | 0
14633436.802 | 36.2643 | -88.7328 | 36.2643 | 0
14792011.837 | 34.5005 | -86.7308 | 34.5005 | 0
14952305.267 | 32.8721 | -84.6769 | 32.8721 | 0
15114335.715 | 31.3516 | -82.6043 | 31.3516 | 0
15278122.004 | 29.9399 | -80.5103 | 29.9399 | 0
15443683.161 | 28.6167 | -78.3957 | 28.6167 | 0
15611038.419 | 27.4178 | -76.2797 | 27.4178 | 0
15780207.219 | 26.3337 | -74.1563 | 26.3337 | 0
15951209.215 | 25.3494 | -72.0523 | 25.3494 | 0
16124064.272 | 24.4723 | -69.9686 | 24.4723 | 0
16298792.471 | 23.6909 | -67.9366 | 23.6909 | 0
16475414.109 | 22.9333 | -65.9773 | 22.9333 | 0
16653949.704 | 22.185 | -64.0143 | 22.185 | 0
16834419.999 | 21.4691 | -62.0456 | 21.4691 | 0
17016845.957 | 20.7951 | -59.9931 | 20.7951 | 0
17201248.771 | 20.2414 | -57.9057 | 20.2414 | 0
17387649.865 | 19.7926 | -55.7845 | 19.7926 | 0
17576070.891 | 19.4764 | -53.5915 | 19.4764 | 0
17766533.738 | 19.3783 | -51.3694 | 19.3783 | 0
17959060.534 | 19.538 | -49.1778 | 19.538 | 0
18153673.644 | 20.0704 | -47.056 | 20.0704 | 0
18350395.676 | 21.1338 | -45.2793 | 21.1338 | 0
18549249.483 | 22.5961 | -44.3278 | 22.5961 | 0
18750258.167 | 23.7253 | -44.6307 | 23.7253 | 0
18953445.079 | 23.4163 | -45.6658 | 23.4163 | 0
19158833.823 | 21.576 | -45.9952 | 21.576 | 0
19366448.26 | 19.3752 | -45.0905 | 19.3752 | 0
19576312.507 | 17.5637 | -43.3565 | 17.5637 | 0
19788450.945 | 16.3 | -41.2732 | 16.3 | 0
20002888.218 | 15.3861 | -39.1371 | 15.3861 | 0
20219649.238 | 14.6387 | -36.9347 | 14.6387 | 0
20438759.186 | 14.0648 | -34.6625 | 14.0648 | 0
20660243.516 | 13.6671 | -32.3563 | 13.6671 | 0
20884127.957 | 13.4295 | -30.0283 | 13.4295 | 0
21110438.52 | 13.3576 | -27.6727 | 13.3576 | 0
21339201.493 | 13.4946 | -25.2723 | 13.4946 | 0
21570443.453 | 13.8728 | -22.8832 | 13.8728 | 0
21804191.264 | 14.4974 | -20.583 | 14.4974 | 0
22040472.079 | 15.2663 | -18.4917 | 15.2663 | 0
22279313.348 | 16.0114 | -16.5329 | 16.0114 | 0
22520742.818 | 16.7739 | -14.5534 | 16.7739 | 0
22764788.534 | 17.6322 | -12.5165 | 17.6322 | 0
23011478.848 | 18.6798 | -10.4105 | 18.6798 | 0
23260842.419 | 20.0037 | -8.2692 | 20.0037 | 0
23512908.214 | 21.6565 | -6.2279 | 21.6565 | 0
23767705.517 | 23.4571 | -4.3986 | 23.4571 | 0
24025263.927 | 25.4454 | -2.242 | 25.4454 | 0
24285613.366 | 28.3236 | -0.25477 | 28.3236 | 0
24548784.077 | 31.7841 | 1.4611 | 31.7841 | 0
24814806.635 | 36.3644 | 2.8116 | 36.3644 | 0
25083711.942 | 42.5245 | 2.7391 | 42.5245 | 0
25355531.237 | 49.4259 | -0.27817 | 49.4259 | 0
25630296.099 | 55.2582 | -6.8016 | 55.2582 | 0
25908038.446 | 57.6739 | -16.6244 | 57.6739 | 0
26188790.544 | 54.4397 | -26.6265 | 54.4397 | 0
26472585.009 | 47.2713 | -33.1672 | 47.2713 | 0
26759454.808 | 39.2368 | -35.7027 | 39.2368 | 0
27049433.268 | 32.1273 | -35.3125 | 32.1273 | 0
27342554.075 | 26.5008 | -33.3268 | 26.5008 | 0
27638851.282 | 22.2285 | -30.6463 | 22.2285 | 0
27938359.31 | 18.9883 | -27.7253 | 18.9883 | 0
28241112.952 | 16.5253 | -24.7924 | 16.5253 | 0
28547147.38 | 14.6264 | -21.9413 | 14.6264 | 0
28856498.145 | 13.1227 | -19.2066 | 13.1227 | 0
29169201.186 | 11.9226 | -16.5767 | 11.9226 | 0
29485292.829 | 10.9521 | -14.0447 | 10.9521 | 0
29804809.795 | 10.1695 | -11.6055 | 10.1695 | 0
30127789.202 | 9.5328 | -9.2484 | 9.5328 | 0
30454268.571 | 9.0171 | -6.964 | 9.0171 | 0
30784285.828 | 8.6018 | -4.7374 | 8.6018 | 0
31117879.314 | 8.2641 | -2.5663 | 8.2641 | 0
31455087.78 | 7.9997 | -0.43586 | 7.9997 | 0
31795950.401 | 7.7955 | 1.6552 | 7.7955 | 0
32140506.776 | 7.6442 | 3.7173 | 7.6442 | 0
32488796.93 | 7.5419 | 5.751 | 7.5419 | 0
32840861.326 | 7.4857 | 7.7615 | 7.4857 | 0
33196740.864 | 7.4659 | 9.7538 | 7.4659 | 0
33556476.884 | 7.4788 | 11.7266 | 7.4788 | 0
33920111.179 | 7.5118 | 13.6928 | 7.5118 | 0
34287685.992 | 7.5667 | 15.6606 | 7.5667 | 0
34659244.025 | 7.644 | 17.6491 | 7.644 | 0
35034828.441 | 7.762 | 19.6593 | 7.762 | 0
35414482.872 | 7.9375 | 21.6839 | 7.9375 | 0
35798251.423 | 8.1672 | 23.7015 | 8.1672 | 0
36186178.677 | 8.43 | 25.6941 | 8.43 | 0
36578309.699 | 8.6838 | 27.683 | 8.6838 | 0
36974690.043 | 8.925 | 29.7019 | 8.925 | 0
37375365.757 | 9.1859 | 31.8083 | 9.1859 | 0
37780383.389 | 9.5144 | 33.9884 | 9.5144 | 0
38189789.988 | 9.9409 | 36.2112 | 9.9409 | 0
38603633.116 | 10.4735 | 38.4384 | 10.4735 | 0
39021960.849 | 11.0807 | 40.6499 | 11.0807 | 0
39444821.785 | 11.7568 | 42.8351 | 11.7568 | 0
39872265.048 | 12.4729 | 44.9937 | 12.4729 | 0
40304340.294 | 13.1782 | 47.1347 | 13.1782 | 0
40741097.717 | 13.9197 | 49.3184 | 13.9197 | 0
41182588.056 | 14.7166 | 51.5328 | 14.7166 | 0
41628862.598 | 15.5735 | 53.6993 | 15.5735 | 0
42079973.189 | 16.3999 | 55.8304 | 16.3999 | 0
42535972.233 | 17.1553 | 57.9863 | 17.1553 | 0
42996912.705 | 17.8847 | 60.2315 | 17.8847 | 0
43462848.151 | 18.5338 | 62.5812 | 18.5338 | 0
43933832.701 | 19.0942 | 65.1469 | 19.0942 | 0
44409921.068 | 19.6705 | 68.0827 | 19.6705 | 0
44891168.56 | 20.5142 | 71.4139 | 20.5142 | 0
45377631.084 | 21.761 | 75.0361 | 21.761 | 0
45869365.152 | 23.5853 | 78.8452 | 23.5853 | 0
46366427.89 | 26.0297 | 82.4821 | 26.0297 | 0
46868877.041 | 28.8925 | 85.7859 | 28.8925 | 0
47376770.975 | 31.9722 | 88.693 | 31.9722 | 0
47890168.695 | 35.1488 | 91.5017 | 35.1488 | 0
48409129.842 | 38.8055 | 94.0603 | 38.8055 | 0
48933714.704 | 42.8185 | 96.0048 | 42.8185 | 0
49463984.223 | 47.1802 | 97.157 | 47.1802 | 0
50000000 | 50.9916 | 96.5104 | 50.9916 | 0
TRACE: B
FORMAT: LINEAR
Frequency | Data Real | Data Imag | Data Trace Real | Data Trace Imag
9000 | 2.3963 | 14.5881 | 14.5881 | 0
9097.528 | 2.4225 | 14.7308 | 14.7308 | 0
9196.114 | 2.4543 | 14.8724 | 14.8724 | 0
9295.767 | 2.4938 | 15.0168 | 15.0168 | 0
9396.501 | 2.5249 | 15.1655 | 15.1655 | 0
9498.326 | 2.5572 | 15.3102 | 15.3102 | 0
9601.254 | 2.6003 | 15.4608 | 15.4608 | 0
9705.298 | 2.6226 | 15.6143 | 15.6143 | 0
9810.469 | 2.6634 | 15.7663 | 15.7663 | 0
9916.78 | 2.704 | 15.9195 | 15.9195 | 0
10024.243 | 2.7293 | 16.0675 | 16.0675 | 0
10132.871 | 2.7706 | 16.2224 | 16.2224 | 0
10242.676 | 2.8076 | 16.3847 | 16.3847 | 0
10353.67 | 2.8462 | 16.5439 | 16.5439 | 0
10465.868 | 2.8825 | 16.707 | 16.707 | 0
10579.281 | 2.924 | 16.8623 | 16.8623 | 0
10693.923 | 2.9648 | 17.0298 | 17.0298 | 0
10809.808 | 2.9998 | 17.1892 | 17.1892 | 0
10926.948 | 3.0411 | 17.355 | 17.355 | 0
11045.358 | 3.0848 | 17.525 | 17.525 | 0
11165.051 | 3.1254 | 17.6977 | 17.6977 | 0
11286.041 | 3.1628 | 17.8655 | 17.8655 | 0
11408.342 | 3.2075 | 18.0391 | 18.0391 | 0
11531.968 | 3.2501 | 18.2126 | 18.2126 | 0
11656.934 | 3.2915 | 18.39 | 18.39 | 0
11783.254 | 3.3401 | 18.5637 | 18.5637 | 0
11910.943 | 3.3811 | 18.7448 | 18.7448 | 0
12040.016 | 3.4253 | 18.9261 | 18.9261 | 0
12170.487 | 3.4689 | 19.1091 | 19.1091 | 0
12302.373 | 3.5203 | 19.2901 | 19.2901 | 0
12435.687 | 3.5706 | 19.4742 | 19.4742 | 0
12570.446 | 3.6195 | 19.6623 | 19.6623 | 0
12706.666 | 3.6648 | 19.854 | 19.854 | 0
12844.361 | 3.7101 | 20.0463 | 20.0463 | 0
12983.549 | 3.7645 | 20.2379 | 20.2379 | 0
13124.245 | 3.8118 | 20.4317 | 20.4317 | 0
13266.466 | 3.868 | 20.622 | 20.622 | 0
13410.228 | 3.9158 | 20.823 | 20.823 | 0
13555.548 | 3.9698 | 21.0239 | 21.0239 | 0
13702.442 | 4.0279 | 21.2246 | 21.2246 | 0
13850.928 | 4.0766 | 21.4263 | 21.4263 | 0
14001.024 | 4.1294 | 21.6325 | 21.6325 | 0
14152.746 | 4.1865 | 21.8382 | 21.8382 | 0
14306.112 | 4.2431 | 22.0489 | 22.0489 | 0
14461.14 | 4.3015 | 22.2562 | 22.2562 | 0
14617.848 | 4.3617 | 22.4694 | 22.4694 | 0
14776.254 | 4.4145 | 22.6881 | 22.6881 | 0
14936.376 | 4.4674 | 22.9008 | 22.9008 | 0
15098.234 | 4.5287 | 23.1166 | 23.1166 | 0
15261.846 | 4.5946 | 23.3332 | 23.3332 | 0
15427.231 | 4.6598 | 23.555 | 23.555 | 0
15594.408 | 4.7176 | 23.7844 | 23.7844 | 0
15763.396 | 4.7781 | 24.0109 | 24.0109 | 0
15934.216 | 4.8478 | 24.24 | 24.24 | 0
16106.887 | 4.9094 | 24.467 | 24.467 | 0
16281.429 | 4.9753 | 24.7013 | 24.7013 | 0
16457.863 | 5.0448 | 24.9325 | 24.9325 | 0
16636.208 | 5.1111 | 25.1755 | 25.1755 | 0
16816.486 | 5.1808 | 25.4107 | 25.4107 | 0
16998.718 | 5.2549 | 25.6514 | 25.6514 | 0
17182.924 | 5.3147 | 25.8939 | 25.8939 | 0
17369.127 | 5.395 | 26.1375 | 26.1375 | 0
17557.347 | 5.4627 | 26.3834 | 26.3834 | 0
17747.607 | 5.5324 | 26.6382 | 26.6382 | 0
17939.929 | 5.6104 | 26.8847 | 26.8847 | 0
18134.334 | 5.6877 | 27.1331 | 27.1331 | 0
18330.847 | 5.7689 | 27.3882 | 27.3882 | 0
18529.489 | 5.8405 | 27.6441 | 27.6441 | 0
18730.283 | 5.9156 | 27.9095 | 27.9095 | 0
18933.254 | 5.9962 | 28.1704 | 28.1704 | 0
19138.424 | 6.0711 | 28.4351 | 28.4351 | 0
19345.817 | 6.1622 | 28.7021 | 28.7021 | 0
19555.458 | 6.2466 | 28.9693 | 28.9693 | 0
19767.37 | 6.33 | 29.2398 | 29.2398 | 0
19981.579 | 6.4138 | 29.5169 | 29.5169 | 0
20198.109 | 6.5005 | 29.7869 | 29.7869 | 0
20416.986 | 6.5819 | 30.0677 | 30.0677 | 0
20638.234 | 6.6764 | 30.3504 | 30.3504 | 0
20861.88 | 6.7603 | 30.6296 | 30.6296 | 0
21087.949 | 6.8512 | 30.9191 | 30.9191 | 0
21316.469 | 6.9437 | 31.2127 | 31.2127 | 0
21547.464 | 7.0307 | 31.4959 | 31.4959 | 0
21780.963 | 7.1289 | 31.7856 | 31.7856 | 0
22016.992 | 7.2231 | 32.0878 | 32.0878 | 0
22255.579 | 7.3214 | 32.3799 | 32.3799 | 0
22496.751 | 7.4187 | 32.6818 | 32.6818 | 0
22740.537 | 7.5225 | 32.9833 | 32.9833 | 0
22986.964 | 7.6218 | 33.2822 | 33.2822 | 0
23236.062 | 7.7192 | 33.5904 | 33.5904 | 0
23487.86 | 7.8322 | 33.906 | 33.906 | 0
23742.386 | 7.9274 | 34.2171 | 34.2171 | 0
23999.67 | 8.049 | 34.535 | 34.535 | 0
24259.742 | 8.1453 | 34.8471 | 34.8471 | 0
24522.632 | 8.2539 | 35.1746 | 35.1746 | 0
24788.371 | 8.3625 | 35.5025 | 35.5025 | 0
25056.99 | 8.4709 | 35.8297 | 35.8297 | 0
25328.52 | 8.5983 | 36.1493 | 36.1493 | 0
25602.992 | 8.7023 | 36.4853 | 36.4853 | 0
25880.438 | 8.8241 | 36.8144 | 36.8144 | 0
26160.891 | 8.9305 | 37.1516 | 37.1516 | 0
26444.383 | 9.051 | 37.4973 | 37.4973 | 0
26730.948 | 9.1806 | 37.8339 | 37.8339 | 0
27020.617 | 9.3047 | 38.1829 | 38.1829 | 0
27313.426 | 9.4109 | 38.5316 | 38.5316 | 0
27609.407 | 9.5486 | 38.8769 | 38.8769 | 0
27908.596 | 9.6779 | 39.2341 | 39.2341 | 0
28211.027 | 9.8024 | 39.5888 | 39.5888 | 0
28516.736 | 9.9286 | 39.9473 | 39.9473 | 0
28825.757 | 10.0607 | 40.3166 | 40.3166 | 0
29138.127 | 10.1975 | 40.6814 | 40.6814 | 0
29453.882 | 10.3297 | 41.0515 | 41.0515 | 0
29773.058 | 10.4572 | 41.4211 | 41.4211 | 0
30095.694 | 10.5996 | 41.7913 | 41.7913 | 0
30421.825 | 10.7442 | 42.1736 | 42.1736 | 0
30751.491 | 10.8761 | 42.5488 | 42.5488 | 0
31084.729 | 11.0243 | 42.9325 | 42.9325 | 0
31421.578 | 11.1733 | 43.322 | 43.322 | 0
31762.078 | 11.319 | 43.7026 | 43.7026 | 0
32106.267 | 11.4635 | 44.103 | 44.103 | 0
32454.186 | 11.6114 | 44.4984 | 44.4984 | 0
32805.876 | 11.7661 | 44.8953 | 44.8953 | 0
33161.376 | 11.9207 | 45.2966 | 45.2966 | 0
33520.729 | 12.0727 | 45.7022 | 45.7022 | 0
33883.976 | 12.2363 | 46.1099 | 46.1099 | 0
34251.159 | 12.4052 | 46.5189 | 46.5189 | 0
34622.321 | 12.5546 | 46.943 | 46.943 | 0
34997.505 | 12.7242 | 47.3547 | 47.3547 | 0
35376.755 | 12.8805 | 47.7739 | 47.7739 | 0
35760.115 | 13.0499 | 48.2071 | 48.2071 | 0
36147.629 | 13.21 | 48.6311 | 48.6311 | 0
36539.342 | 13.3858 | 49.0656 | 49.0656 | 0
36935.301 | 13.5627 | 49.5061 | 49.5061 | 0
37335.549 | 13.7447 | 49.9341 | 49.9341 | 0
37740.136 | 13.9216 | 50.3733 | 50.3733 | 0
38149.106 | 14.0912 | 50.822 | 50.822 | 0
38562.508 | 14.2821 | 51.2679 | 51.2679 | 0
38980.39 | 14.4566 | 51.7218 | 51.7218 | 0
39402.801 | 14.6346 | 52.1812 | 52.1812 | 0
39829.789 | 14.8321 | 52.6271 | 52.6271 | 0
40261.404 | 15.0123 | 53.0989 | 53.0989 | 0
40697.696 | 15.2165 | 53.5643 | 53.5643 | 0
41138.716 | 15.405 | 54.0411 | 54.0411 | 0
41584.515 | 15.6017 | 54.5135 | 54.5135 | 0
42035.145 | 15.8117 | 54.9894 | 54.9894 | 0
42490.658 | 16.0186 | 55.4667 | 55.4667 | 0
42951.108 | 16.2075 | 55.9575 | 55.9575 | 0
43416.547 | 16.4231 | 56.4349 | 56.4349 | 0
43887.03 | 16.6266 | 56.9345 | 56.9345 | 0
44362.611 | 16.845 | 57.4282 | 57.4282 | 0
44843.346 | 17.05 | 57.9243 | 57.9243 | 0
45329.29 | 17.251 | 58.4295 | 58.4295 | 0
45820.5 | 17.4855 | 58.9406 | 58.9406 | 0
46317.033 | 17.7014 | 59.447 | 59.447 | 0
46818.947 | 17.927 | 59.9526 | 59.9526 | 0
47326.3 | 18.1582 | 60.4687 | 60.4687 | 0
47839.151 | 18.3753 | 60.989 | 60.989 | 0
48357.559 | 18.6013 | 61.5139 | 61.5139 | 0
48881.585 | 18.8377 | 62.0495 | 62.0495 | 0
49411.29 | 19.0731 | 62.5855 | 62.5855 | 0
49946.734 | 19.2959 | 63.1275 | 63.1275 | 0
50487.982 | 19.5456 | 63.6681 | 63.6681 | 0
51035.094 | 19.7835 | 64.2125 | 64.2125 | 0
51588.135 | 20.0285 | 64.7669 | 64.7669 | 0
52147.169 | 20.2802 | 65.3388 | 65.3388 | 0
52712.261 | 20.5195 | 65.8953 | 65.8953 | 0
53283.477 | 20.7877 | 66.4606 | 66.4606 | 0
53860.882 | 21.033 | 67.0356 | 67.0356 | 0
54444.545 | 21.2918 | 67.6055 | 67.6055 | 0
55034.533 | 21.5439 | 68.1886 | 68.1886 | 0
55630.914 | 21.8242 | 68.7711 | 68.7711 | 0
56233.757 | 22.1073 | 69.351 | 69.351 | 0
56843.134 | 22.3464 | 69.9612 | 69.9612 | 0
57459.113 | 22.6325 | 70.555 | 70.555 | 0
58081.768 | 22.9198 | 71.1589 | 71.1589 | 0
58711.171 | 23.1858 | 71.7629 | 71.7629 | 0
59347.393 | 23.479 | 72.376 | 72.376 | 0
59990.511 | 23.7659 | 72.9831 | 72.9831 | 0
60640.597 | 24.0598 | 73.6064 | 73.6064 | 0
61297.728 | 24.3247 | 74.2441 | 74.2441 | 0
61961.98 | 24.621 | 74.8574 | 74.8574 | 0
62633.43 | 24.9244 | 75.4978 | 75.4978 | 0
63312.156 | 25.2189 | 76.1409 | 76.1409 | 0
63998.238 | 25.5043 | 76.7963 | 76.7963 | 0
64691.754 | 25.843 | 77.4466 | 77.4466 | 0
65392.785 | 26.1513 | 78.0995 | 78.0995 | 0
66101.413 | 26.4695 | 78.7615 | 78.7615 | 0
66817.72 | 26.7912 | 79.4288 | 79.4288 | 0
67541.789 | 27.105 | 80.0995 | 80.0995 | 0
68273.705 | 27.4281 | 80.7798 | 80.7798 | 0
69013.552 | 27.758 | 81.463 | 81.463 | 0
69761.416 | 28.074 | 82.1543 | 82.1543 | 0
70517.385 | 28.4043 | 82.8557 | 82.8557 | 0
71281.546 | 28.7532 | 83.5648 | 83.5648 | 0
72053.987 | 29.0883 | 84.2606 | 84.2606 | 0
72834.799 | 29.4399 | 84.9624 | 84.9624 | 0
73624.072 | 29.7967 | 85.6885 | 85.6885 | 0
74421.899 | 30.1554 | 86.4111 | 86.4111 | 0
75228.371 | 30.5101 | 87.1455 | 87.1455 | 0
76043.582 | 30.8665 | 87.8834 | 87.8834 | 0
76867.627 | 31.2349 | 88.6096 | 88.6096 | 0
77700.602 | 31.5963 | 89.3694 | 89.3694 | 0
78542.603 | 31.979 | 90.138 | 90.138 | 0
79393.729 | 32.3491 | 90.8818 | 90.8818 | 0
80254.078 | 32.7129 | 91.6564 | 91.6564 | 0
81123.75 | 33.1075 | 92.4338 | 92.4338 | 0
82002.847 | 33.4993 | 93.2133 | 93.2133 | 0
82891.47 | 33.8516 | 94.0153 | 94.0153 | 0
83789.722 | 34.2987 | 94.8032 | 94.8032 | 0
84697.708 | 34.7042 | 95.5852 | 95.5852 | 0
85615.534 | 35.1079 | 96.4142 | 96.4142 | 0
86543.305 | 35.5128 | 97.2275 | 97.2275 | 0
87481.13 | 35.9122 | 98.0465 | 98.0465 | 0
88429.118 | 36.3697 | 98.8829 | 98.8829 | 0
89387.379 | 36.7987 | 99.6955 | 99.6955 | 0
90356.024 | 37.2195 | 100.559 | 100.559 | 0
91335.166 | 37.6615 | 101.4161 | 101.4161 | 0
92324.919 | 38.089 | 102.2603 | 102.2603 | 0
93325.396 | 38.528 | 103.1436 | 103.1436 | 0
94336.716 | 38.9942 | 104.024 | 104.024 | 0
95358.994 | 39.4687 | 104.8992 | 104.8992 | 0
96392.35 | 39.9062 | 105.8107 | 105.8107 | 0
97436.905 | 40.3757 | 106.7081 | 106.7081 | 0
98492.779 | 40.8788 | 107.5932 | 107.5932 | 0
99560.094 | 41.3422 | 108.5108 | 108.5108 | 0
100638.976 | 41.8287 | 109.4216 | 109.4216 | 0
101729.549 | 42.3087 | 110.3622 | 110.3622 | 0
102831.939 | 42.808 | 111.3243 | 111.3243 | 0
103946.276 | 43.3343 | 112.2618 | 112.2618 | 0
105072.689 | 43.8001 | 113.2287 | 113.2287 | 0
106211.307 | 44.3569 | 114.1807 | 114.1807 | 0
107362.265 | 44.8805 | 115.1685 | 115.1685 | 0
108525.694 | 45.3964 | 116.1526 | 116.1526 | 0
109701.732 | 45.9552 | 117.1518 | 117.1518 | 0
110890.513 | 46.5018 | 118.1357 | 118.1357 | 0
112092.176 | 47.0395 | 119.1566 | 119.1566 | 0
113306.862 | 47.5975 | 120.1773 | 120.1773 | 0
114534.71 | 48.1782 | 121.223 | 121.223 | 0
115775.864 | 48.7486 | 122.2577 | 122.2577 | 0
117030.467 | 49.3255 | 123.3318 | 123.3318 | 0
118298.666 | 49.9117 | 124.3834 | 124.3834 | 0
119580.608 | 50.5109 | 125.4451 | 125.4451 | 0
120876.442 | 51.0953 | 126.5356 | 126.5356 | 0
122186.318 | 51.731 | 127.6227 | 127.6227 | 0
123510.388 | 52.3513 | 128.7255 | 128.7255 | 0
124848.807 | 53.0002 | 129.8511 | 129.8511 | 0
126201.729 | 53.6334 | 130.9598 | 130.9598 | 0
127569.312 | 54.2839 | 132.1161 | 132.1161 | 0
128951.715 | 54.9412 | 133.2743 | 133.2743 | 0
130349.099 | 55.5879 | 134.4313 | 134.4313 | 0
131761.625 | 56.2907 | 135.5915 | 135.5915 | 0
133189.458 | 56.9549 | 136.7821 | 136.7821 | 0
134632.764 | 57.6696 | 137.9572 | 137.9572 | 0
136091.71 | 58.3847 | 139.1598 | 139.1598 | 0
137566.466 | 59.1151 | 140.3908 | 140.3908 | 0
139057.203 | 59.8161 | 141.6217 | 141.6217 | 0
140564.094 | 60.5722 | 142.857 | 142.857 | 0
142087.315 | 61.3358 | 144.1226 | 144.1226 | 0
143627.042 | 62.0704 | 145.3733 | 145.3733 | 0
145183.455 | 62.8907 | 146.6503 | 146.6503 | 0
146756.733 | 63.6476 | 147.9618 | 147.9618 | 0
148347.061 | 64.4489 | 149.2807 | 149.2807 | 0
149954.621 | 65.2893 | 150.5905 | 150.5905 | 0
151579.603 | 66.0997 | 151.9197 | 151.9197 | 0
153222.193 | 66.943 | 153.2548 | 153.2548 | 0
154882.583 | 67.8397 | 154.6301 | 154.6301 | 0
156560.966 | 68.688 | 156.0101 | 156.0101 | 0
158257.537 | 69.5821 | 157.3974 | 157.3974 | 0
159972.492 | 70.4559 | 158.8045 | 158.8045 | 0
161706.032 | 71.4005 | 160.2528 | 160.2528 | 0
163458.357 | 72.2928 | 161.681 | 161.681 | 0
165229.671 | 73.2633 | 163.1094 | 163.1094 | 0
167020.18 | 74.2096 | 164.5838 | 164.5838 | 0
168830.092 | 75.2039 | 166.0607 | 166.0607 | 0
170659.617 | 76.2179 | 167.5642 | 167.5642 | 0
172508.968 | 77.2331 | 169.0775 | 169.0775 | 0
174378.359 | 78.2635 | 170.6035 | 170.6035 | 0
176268.007 | 79.3282 | 172.1403 | 172.1403 | 0
178178.133 | 80.3385 | 173.7289 | 173.7289 | 0
180108.958 | 81.4547 | 175.2767 | 175.2767 | 0
182060.706 | 82.5547 | 176.8854 | 176.8854 | 0
184033.605 | 83.6898 | 178.5171 | 178.5171 | 0
186027.882 | 84.8783 | 180.1294 | 180.1294 | 0
188043.771 | 86.0462 | 181.8235 | 181.8235 | 0
190081.504 | 87.2749 | 183.4088 | 183.4088 | 0
192141.32 | 88.4453 | 185.1425 | 185.1425 | 0
194223.457 | 89.7301 | 186.8502 | 186.8502 | 0
196328.157 | 90.9727 | 188.5844 | 188.5844 | 0
198455.664 | 92.2937 | 190.332 | 190.332 | 0
200606.226 | 93.5904 | 192.0804 | 192.0804 | 0
202780.093 | 94.9533 | 193.8758 | 193.8758 | 0
204977.516 | 96.3612 | 195.6449 | 195.6449 | 0
207198.752 | 97.7685 | 197.4815 | 197.4815 | 0
209444.059 | 99.1416 | 199.3643 | 199.3643 | 0
211713.696 | 100.6019 | 201.193 | 201.193 | 0
214007.929 | 102.1537 | 203.0455 | 203.0455 | 0
216327.023 | 103.6147 | 204.9803 | 204.9803 | 0
218671.247 | 105.213 | 206.8835 | 206.8835 | 0
221040.875 | 106.7997 | 208.8715 | 208.8715 | 0
223436.182 | 108.4364 | 210.8169 | 210.8169 | 0
225857.445 | 110.0997 | 212.7634 | 212.7634 | 0
228304.946 | 111.7951 | 214.8003 | 214.8003 | 0
230778.969 | 113.5132 | 216.8828 | 216.8828 | 0
233279.802 | 115.3118 | 218.9515 | 218.9515 | 0
235807.736 | 117.1461 | 220.9766 | 220.9766 | 0
238363.063 | 119.015 | 223.0878 | 223.0878 | 0
240946.081 | 120.9069 | 225.2552 | 225.2552 | 0
243557.09 | 122.8526 | 227.4328 | 227.4328 | 0
246196.393 | 124.8654 | 229.5904 | 229.5904 | 0
248864.297 | 126.8929 | 231.8026 | 231.8026 | 0
251561.111 | 128.9967 | 234.046 | 234.046 | 0
254287.15 | 131.1624 | 236.3129 | 236.3129 | 0
257042.729 | 133.3607 | 238.5586 | 238.5586 | 0
259828.169 | 135.6 | 240.8704 | 240.8704 | 0
262643.793 | 137.9276 | 243.2409 | 243.2409 | 0
265489.929 | 140.3173 | 245.6181 | 245.6181 | 0
268366.907 | 142.7735 | 247.9703 | 247.9703 | 0
271275.061 | 145.2194 | 250.3867 | 250.3867 | 0
274214.729 | 147.8345 | 252.8525 | 252.8525 | 0
277186.254 | 150.4963 | 255.2663 | 255.2663 | 0
280189.979 | 153.1168 | 257.7823 | 257.7823 | 0
283226.253 | 155.9126 | 260.3278 | 260.3278 | 0
286295.431 | 158.766 | 262.8228 | 262.8228 | 0
289397.867 | 161.7112 | 265.3683 | 265.3683 | 0
292533.923 | 164.7256 | 268.0359 | 268.0359 | 0
295703.963 | 167.845 | 270.6465 | 270.6465 | 0
298908.355 | 171.0336 | 273.2978 | 273.2978 | 0
302147.471 | 174.3008 | 275.9524 | 275.9524 | 0
305421.688 | 177.7028 | 278.6281 | 278.6281 | 0
308731.386 | 181.1451 | 281.3677 | 281.3677 | 0
312076.949 | 184.744 | 284.1796 | 284.1796 | 0
315458.767 | 188.3926 | 286.9571 | 286.9571 | 0
318877.231 | 192.2573 | 289.6948 | 289.6948 | 0
322332.74 | 196.1821 | 292.5507 | 292.5507 | 0
325825.694 | 200.2781 | 295.3739 | 295.3739 | 0
329356.5 | 204.3842 | 298.2324 | 298.2324 | 0
332925.567 | 208.6652 | 301.1337 | 301.1337 | 0
336533.31 | 213.1185 | 303.9259 | 303.9259 | 0
340180.149 | 217.7363 | 306.9546 | 306.9546 | 0
343866.506 | 222.4148 | 309.8276 | 309.8276 | 0
347592.811 | 227.3495 | 312.7481 | 312.7481 | 0
351359.495 | 232.4206 | 315.6502 | 315.6502 | 0
355166.998 | 237.6975 | 318.5652 | 318.5652 | 0
359015.76 | 243.0457 | 321.5013 | 321.5013 | 0
362906.229 | 248.6164 | 324.4459 | 324.4459 | 0
366838.858 | 254.4001 | 327.3453 | 327.3453 | 0
370814.102 | 260.3107 | 330.3044 | 330.3044 | 0
374832.424 | 266.6412 | 333.1413 | 333.1413 | 0
378894.29 | 272.9503 | 335.9873 | 335.9873 | 0
383000.173 | 279.6419 | 338.8068 | 338.8068 | 0
387150.549 | 286.4523 | 341.6565 | 341.6565 | 0
391345.9 | 293.6797 | 344.3039 | 344.3039 | 0
395586.715 | 300.9986 | 347.1655 | 347.1655 | 0
399873.485 | 308.666 | 349.6247 | 349.6247 | 0
404206.708 | 316.5507 | 352.1923 | 352.1923 | 0
408586.888 | 324.8948 | 354.6813 | 354.6813 | 0
413014.535 | 333.3257 | 356.9693 | 356.9693 | 0
417490.161 | 342.1361 | 359.201 | 359.201 | 0
422014.287 | 351.31 | 361.3024 | 361.3024 | 0
426587.439 | 360.7668 | 363.2605 | 363.2605 | 0
431210.148 | 370.7253 | 364.9067 | 364.9067 | 0
435882.951 | 380.9033 | 366.5068 | 366.5068 | 0
440606.39 | 391.4695 | 367.8466 | 367.8466 | 0
445381.015 | 402.3632 | 368.9368 | 368.9368 | 0
450207.38 | 413.7239 | 369.7073 | 369.7073 | 0
455086.046 | 425.4277 | 370.1962 | 370.1962 | 0
460017.58 | 437.5794 | 370.2825 | 370.2825 | 0
465002.554 | 450.1332 | 370.1465 | 370.1465 | 0
470041.548 | 463.1572 | 369.3982 | 369.3982 | 0
475135.147 | 476.4358 | 368.2858 | 368.2858 | 0
480283.942 | 490.2477 | 366.632 | 366.632 | 0
485488.532 | 504.3325 | 364.5032 | 364.5032 | 0
490749.522 | 519.0162 | 361.5707 | 361.5707 | 0
496067.522 | 533.9312 | 358.1503 | 358.1503 | 0
501443.151 | 549.2717 | 353.8934 | 353.8934 | 0
506877.033 | 564.9008 | 348.7775 | 348.7775 | 0
512369.799 | 580.8333 | 342.912 | 342.912 | 0
517922.087 | 596.9882 | 336.2205 | 336.2205 | 0
523534.542 | 613.4417 | 328.308 | 328.308 | 0
529207.817 | 629.88 | 319.5353 | 319.5353 | 0
534942.57 | 646.4879 | 309.4368 | 309.4368 | 0
540739.468 | 662.9548 | 298.358 | 298.358 | 0
546599.184 | 679.469 | 286.024 | 286.024 | 0
552522.398 | 695.6506 | 272.4681 | 272.4681 | 0
558509.8 | 711.588 | 257.543 | 257.543 | 0
564562.083 | 726.8606 | 241.3501 | 241.3501 | 0
570679.952 | 741.6676 | 223.7591 | 223.7591 | 0
576864.118 | 755.6866 | 204.8622 | 204.8622 | 0
583115.298 | 768.7863 | 184.651 | 184.651 | 0
589434.219 | 780.8331 | 163.3024 | 163.3024 | 0
595821.614 | 791.6749 | 140.6361 | 140.6361 | 0
602278.227 | 801.1476 | 117.1121 | 117.1121 | 0
608804.807 | 809.0767 | 92.4374 | 92.4374 | 0
615402.111 | 815.4116 | 66.8911 | 66.8911 | 0
622070.908 | 820.0865 | 40.9549 | 40.9549 | 0
628811.971 | 822.833 | 14.4413 | 14.4413 | 0
635626.083 | 823.7711 | -12.3807 | -12.3807 | 0
642514.036 | 822.7704 | -39.2293 | -39.2293 | 0
649476.63 | 819.8677 | -66.0232 | -66.0232 | 0
656514.675 | 815.0579 | -92.4327 | -92.4327 | 0
663628.987 | 808.479 | -118.3482 | -118.3482 | 0
670820.393 | 800.0991 | -143.609 | -143.609 | 0
678089.729 | 790.1731 | -167.8483 | -167.8483 | 0
685437.839 | 778.7208 | -191.1685 | -191.1685 | 0
692865.577 | 765.9723 | -213.3304 | -213.3304 | 0
700373.805 | 751.9867 | -234.313 | -234.313 | 0
707963.396 | 736.9164 | -253.9261 | -253.9261 | 0
715635.231 | 721.0269 | -272.0775 | -272.0775 | 0
723390.203 | 704.3746 | -289.1235 | -289.1235 | 0
731229.21 | 687.1434 | -304.6663 | -304.6663 | 0
739153.166 | 669.4506 | -318.79 | -318.79 | 0
747162.989 | 651.6123 | -331.5353 | -331.5353 | 0
755259.61 | 633.4023 | -343.1722 | -343.1722 | 0
763443.97 | 615.1144 | -353.4726 | -353.4726 | 0
771717.02 | 596.8959 | -362.587 | -362.587 | 0
780079.721 | 578.741 | -370.5898 | -370.5898 | 0
788533.044 | 560.6399 | -377.5784 | -377.5784 | 0
797077.971 | 542.8568 | -383.5428 | -383.5428 | 0
805715.496 | 525.1051 | -388.5695 | -388.5695 | 0
814446.62 | 507.781 | -392.6482 | -392.6482 | 0
823272.36 | 490.743 | -395.8798 | -395.8798 | 0
832193.739 | 473.8936 | -398.4654 | -398.4654 | 0
841211.795 | 457.5764 | -400.1291 | -400.1291 | 0
850327.575 | 441.4493 | -401.2302 | -401.2302 | 0
859542.138 | 425.8075 | -401.5878 | -401.5878 | 0
868856.555 | 410.5805 | -401.1953 | -401.1953 | 0
878271.907 | 395.7141 | -400.4675 | -400.4675 | 0
887789.288 | 381.2533 | -399.0989 | -399.0989 | 0
897409.804 | 367.2956 | -397.2021 | -397.2021 | 0
907134.573 | 353.7205 | -394.8329 | -394.8329 | 0
916964.724 | 340.6881 | -392.0541 | -392.0541 | 0
926901.4 | 328.0482 | -388.8746 | -388.8746 | 0
936945.754 | 315.8053 | -385.3797 | -385.3797 | 0
947098.953 | 304.1741 | -381.4987 | -381.4987 | 0
957362.178 | 292.8358 | -377.3016 | -377.3016 | 0
967736.62 | 282.1207 | -372.8898 | -372.8898 | 0
978223.484 | 271.7006 | -368.2704 | -368.2704 | 0
988823.99 | 261.8112 | -363.4174 | -363.4174 | 0
999539.367 | 252.3345 | -358.356 | -358.356 | 0
1010370.861 | 243.328 | -353.1592 | -353.1592 | 0
1021319.731 | 234.6621 | -347.856 | -347.856 | 0
1032387.248 | 226.4257 | -342.424 | -342.424 | 0
1043574.698 | 218.6525 | -336.8848 | -336.8848 | 0
1054883.381 | 211.1752 | -331.2052 | -331.2052 | 0
1066314.61 | 204.1092 | -325.6046 | -325.6046 | 0
1077869.714 | 197.4089 | -319.9887 | -319.9887 | 0
1089550.034 | 191.1191 | -314.2734 | -314.2734 | 0
1101356.928 | 185.1165 | -308.5389 | -308.5389 | 0
1113291.767 | 179.4384 | -302.9337 | -302.9337 | 0
1125355.937 | 174.0648 | -297.1714 | -297.1714 | 0
1137550.841 | 168.8789 | -291.5502 | -291.5502 | 0
1149877.895 | 164.0893 | -285.9836 | -285.9836 | 0
1162338.531 | 159.5459 | -280.3228 | -280.3228 | 0
1174934.196 | 155.2543 | -274.8732 | -274.8732 | 0
1187666.354 | 151.2593 | -269.4022 | -269.4022 | 0
1200536.484 | 147.4684 | -263.8965 | -263.8965 | 0
1213546.081 | 143.8691 | -258.6272 | -258.6272 | 0
1226696.656 | 140.5622 | -253.322 | -253.322 | 0
1239989.738 | 137.3971 | -248.0373 | -248.0373 | 0
1253426.869 | 134.4368 | -242.9125 | -242.9125 | 0
1267009.612 | 131.699 | -237.8006 | -237.8006 | 0
1280739.544 | 129.0801 | -232.7954 | -232.7954 | 0
1294618.26 | 126.7218 | -227.8421 | -227.8421 | 0
1308647.373 | 124.4549 | -222.9901 | -222.9901 | 0
1322828.512 | 122.3776 | -218.1574 | -218.1574 | 0
1337163.325 | 120.536 | -213.4347 | -213.4347 | 0
1351653.477 | 118.7256 | -208.7814 | -208.7814 | 0
1366300.651 | 117.1113 | -204.2478 | -204.2478 | 0
1381106.549 | 115.6488 | -199.7769 | -199.7769 | 0
1396072.891 | 114.3171 | -195.3402 | -195.3402 | 0
1411201.415 | 113.0878 | -191.0153 | -191.0153 | 0
1426493.88 | 112.0281 | -186.7781 | -186.7781 | 0
1441952.061 | 111.0712 | -182.6029 | -182.6029 | 0
1457577.754 | 110.1973 | -178.548 | -178.548 | 0
1473372.775 | 109.4665 | -174.5214 | -174.5214 | 0
1489338.959 | 108.8172 | -170.616 | -170.616 | 0
1505478.16 | 108.3365 | -166.75 | -166.75 | 0
1521792.253 | 107.9211 | -162.9915 | -162.9915 | 0
1538283.134 | 107.6366 | -159.3076 | -159.3076 | 0
1554952.717 | 107.4352 | -155.7387 | -155.7387 | 0
1571802.941 | 107.3558 | -152.2413 | -152.2413 | 0
1588835.762 | 107.3644 | -148.8087 | -148.8087 | 0
1606053.158 | 107.4588 | -145.4869 | -145.4869 | 0
1623457.131 | 107.6225 | -142.2509 | -142.2509 | 0
1641049.702 | 107.9176 | -139.118 | -139.118 | 0
1658832.914 | 108.2745 | -136.065 | -136.065 | 0
1676808.834 | 108.7166 | -133.0918 | -133.0918 | 0
1694979.549 | 109.3011 | -130.2768 | -130.2768 | 0
1713347.172 | 109.886 | -127.5425 | -127.5425 | 0
1731913.834 | 110.5947 | -124.9068 | -124.9068 | 0
1750681.695 | 111.3736 | -122.3918 | -122.3918 | 0
1769652.932 | 112.1865 | -120.0091 | -120.0091 | 0
1788829.752 | 113.1279 | -117.7241 | -117.7241 | 0
1808214.38 | 114.0882 | -115.5593 | -115.5593 | 0
1827809.07 | 115.1202 | -113.5532 | -113.5532 | 0
1847616.098 | 116.2251 | -111.6762 | -111.6762 | 0
1867637.764 | 117.3529 | -109.9265 | -109.9265 | 0
1887876.395 | 118.5135 | -108.3333 | -108.3333 | 0
1908334.341 | 119.739 | -106.9098 | -106.9098 | 0
1929013.98 | 120.9594 | -105.6021 | -105.6021 | 0
1949917.713 | 122.199 | -104.4555 | -104.4555 | 0
1971047.969 | 123.4722 | -103.4735 | -103.4735 | 0
1992407.203 | 124.7029 | -102.6729 | -102.6729 | 0
2013997.896 | 125.9142 | -102.046 | -102.046 | 0
2035822.556 | 127.102 | -101.5911 | -101.5911 | 0
2057883.719 | 128.2415 | -101.2982 | -101.2982 | 0
2080183.947 | 129.2805 | -101.1728 | -101.1728 | 0
2102725.832 | 130.2949 | -101.2064 | -101.2064 | 0
2125511.991 | 131.1872 | -101.4226 | -101.4226 | 0
2148545.072 | 131.9451 | -101.7749 | -101.7749 | 0
2171827.751 | 132.6056 | -102.2721 | -102.2721 | 0
2195362.732 | 133.0992 | -102.905 | -102.905 | 0
2219152.75 | 133.4427 | -103.6679 | -103.6679 | 0
2243200.568 | 133.5831 | -104.4911 | -104.4911 | 0
2267508.979 | 133.5394 | -105.4409 | -105.4409 | 0
2292080.809 | 133.2886 | -106.444 | -106.444 | 0
2316918.911 | 132.8601 | -107.4623 | -107.4623 | 0
2342026.17 | 132.1974 | -108.5407 | -108.5407 | 0
2367405.504 | 131.3419 | -109.5578 | -109.5578 | 0
2393059.861 | 130.2675 | -110.5647 | -110.5647 | 0
2418992.221 | 128.9698 | -111.4829 | -111.4829 | 0
2445205.597 | 127.4875 | -112.3438 | -112.3438 | 0
2471703.033 | 125.8153 | -113.0715 | -113.0715 | 0
2498487.609 | 123.9691 | -113.6772 | -113.6772 | 0
2525562.435 | 121.9766 | -114.1343 | -114.1343 | 0
2552930.657 | 119.8689 | -114.4431 | -114.4431 | 0
2580595.454 | 117.6395 | -114.5635 | -114.5635 | 0
2608560.041 | 115.3094 | -114.4943 | -114.4943 | 0
2636827.666 | 112.9255 | -114.2522 | -114.2522 | 0
2665401.612 | 110.5214 | -113.7832 | -113.7832 | 0
2694285.2 | 108.0697 | -113.1576 | -113.1576 | 0
2723481.784 | 105.6369 | -112.3033 | -112.3033 | 0
2752994.756 | 103.214 | -111.2864 | -111.2864 | 0
2782827.546 | 100.8454 | -110.0813 | -110.0813 | 0
2812983.618 | 98.5053 | -108.7083 | -108.7083 | 0
2843466.476 | 96.2678 | -107.1597 | -107.1597 | 0
2874279.66 | 94.0863 | -105.4769 | -105.4769 | 0
2905426.752 | 92.0083 | -103.6606 | -103.6606 | 0
2936911.369 | 90.0607 | -101.6963 | -101.6963 | 0
2968737.168 | 88.2057 | -99.6587 | -99.6587 | 0
3000907.847 | 86.4518 | -97.4972 | -97.4972 | 0
3033427.143 | 84.8266 | -95.2367 | -95.2367 | 0
3066298.834 | 83.346 | -92.9072 | -92.9072 | 0
3099526.739 | 81.9744 | -90.5156 | -90.5156 | 0
3133114.717 | 80.7313 | -88.0626 | -88.0626 | 0
3167066.671 | 79.6382 | -85.573 | -85.573 | 0
3201386.545 | 78.672 | -83.0143 | -83.0143 | 0
3236078.326 | 77.8235 | -80.4597 | -80.4597 | 0
3271146.044 | 77.1093 | -77.8674 | -77.8674 | 0
3306593.772 | 76.5197 | -75.2538 | -75.2538 | 0
3342425.63 | 76.0431 | -72.6418 | -72.6418 | 0
3378645.779 | 75.704 | -70.0358 | -70.0358 | 0
3415258.427 | 75.4836 | -67.4192 | -67.4192 | 0
3452267.827 | 75.3815 | -64.8238 | -64.8238 | 0
3489678.279 | 75.3944 | -62.2265 | -62.2265 | 0
3527494.129 | 75.5377 | -59.664 | -59.664 | 0
3565719.77 | 75.7906 | -57.1228 | -57.1228 | 0
3604359.643 | 76.1688 | -54.6221 | -54.6221 | 0
3643418.236 | 76.6493 | -52.1449 | -52.1449 | 0
3682900.087 | 77.2446 | -49.7053 | -49.7053 | 0
3722809.783 | 77.9582 | -47.327 | -47.327 | 0
3763151.959 | 78.7834 | -45.0005 | -45.0005 | 0
3803931.303 | 79.7139 | -42.7167 | -42.7167 | 0
3845152.552 | 80.7572 | -40.5057 | -40.5057 | 0
3886820.494 | 81.9061 | -38.3739 | -38.3739 | 0
3928939.97 | 83.1675 | -36.2981 | -36.2981 | 0
3971515.874 | 84.5319 | -34.3086 | -34.3086 | 0
4014553.15 | 85.9939 | -32.423 | -32.423 | 0
4058056.8 | 87.5552 | -30.626 | -30.626 | 0
4102031.876 | 89.2174 | -28.9302 | -28.9302 | 0
4146483.487 | 90.9677 | -27.3663 | -27.3663 | 0
4191416.798 | 92.8018 | -25.9235 | -25.9235 | 0
4236837.027 | 94.703 | -24.6119 | -24.6119 | 0
4282749.453 | 96.6931 | -23.4357 | -23.4357 | 0
4329159.408 | 98.7563 | -22.4265 | -22.4265 | 0
4376072.284 | 100.8487 | -21.5682 | -21.5682 | 0
4423493.53 | 102.9893 | -20.8769 | -20.8769 | 0
4471428.656 | 105.1518 | -20.3705 | -20.3705 | 0
4519883.231 | 107.3155 | -20.0608 | -20.0608 | 0
4568862.882 | 109.4844 | -19.9327 | -19.9327 | 0
4618373.301 | 111.6169 | -19.9878 | -19.9878 | 0
4668420.24 | 113.697 | -20.2303 | -20.2303 | 0
4719009.511 | 115.7045 | -20.693 | -20.693 | 0
4770146.991 | 117.6075 | -21.2998 | -21.2998 | 0
4821838.623 | 119.4021 | -22.1098 | -22.1098 | 0
4874090.41 | 121.0355 | -23.0682 | -23.0682 | 0
4926908.423 | 122.5326 | -24.1856 | -24.1856 | 0
4980298.798 | 123.7875 | -25.4093 | -25.4093 | 0
5034267.736 | 124.8161 | -26.6988 | -26.6988 | 0
5088821.509 | 125.6776 | -28.0602 | -28.0602 | 0
5143966.452 | 126.3497 | -29.45 | -29.45 | 0
5199708.973 | 126.7969 | -30.8096 | -30.8096 | 0
5256055.547 | 127.0504 | -32.1228 | -32.1228 | 0
5313012.72 | 127.1203 | -33.3874 | -33.3874 | 0
5370587.108 | 127.0336 | -34.5283 | -34.5283 | 0
5428785.401 | 126.8063 | -35.5861 | -35.5861 | 0
5487614.358 | 126.4343 | -36.489 | -36.489 | 0
5547080.815 | 125.9859 | -37.2718 | -37.2718 | 0
5607191.679 | 125.4517 | -37.8751 | -37.8751 | 0
5667953.934 | 124.8799 | -38.3425 | -38.3425 | 0
5729374.638 | 124.2969 | -38.6382 | -38.6382 | 0
5791460.926 | 123.7147 | -38.8144 | -38.8144 | 0
5854220.012 | 123.1661 | -38.8098 | -38.8098 | 0
5917659.186 | 122.6779 | -38.6743 | -38.6743 | 0
5981785.817 | 122.233 | -38.4136 | -38.4136 | 0
6046607.356 | 121.9008 | -38.0341 | -38.0341 | 0
6112131.333 | 121.6708 | -37.5774 | -37.5774 | 0
6178365.359 | 121.5526 | -37.0346 | -37.0346 | 0
6245317.129 | 121.5664 | -36.4335 | -36.4335 | 0
6312994.421 | 121.7181 | -35.7627 | -35.7627 | 0
6381405.098 | 122.0271 | -35.0994 | -35.0994 | 0
6450557.105 | 122.4418 | -34.4133 | -34.4133 | 0
6520458.478 | 123.0169 | -33.7286 | -33.7286 | 0
6591117.335 | 123.753 | -33.0707 | -33.0707 | 0
6662541.887 | 124.6291 | -32.4522 | -32.4522 | 0
6734740.429 | 125.6409 | -31.8971 | -31.8971 | 0
6807721.35 | 126.8479 | -31.4043 | -31.4043 | 0
6881493.128 | 128.1909 | -31.0158 | -31.0158 | 0
6956064.332 | 129.6875 | -30.7538 | -30.7538 | 0
7031443.627 | 131.3282 | -30.6345 | -30.6345 | 0
7107639.768 | 133.1082 | -30.6932 | -30.6932 | 0
7184661.607 | 135.0134 | -30.9512 | -30.9512 | 0
7262518.093 | 137.0407 | -31.4352 | -31.4352 | 0
7341218.269 | 139.1396 | -32.2139 | -32.2139 | 0
7420771.279 | 141.2999 | -33.269 | -33.269 | 0
7501186.364 | 143.453 | -34.6437 | -34.6437 | 0
7582472.866 | 145.5544 | -36.3335 | -36.3335 | 0
7664640.227 | 147.5776 | -38.3635 | -38.3635 | 0
7747697.994 | 149.4239 | -40.7645 | -40.7645 | 0
7831655.816 | 151.0531 | -43.5089 | -43.5089 | 0
7916523.445 | 152.3481 | -46.5298 | -46.5298 | 0
8002310.742 | 153.261 | -49.8045 | -49.8045 | 0
8089027.671 | 153.7661 | -53.2187 | -53.2187 | 0
8176684.307 | 153.8034 | -56.6885 | -56.6885 | 0
8265290.832 | 153.3369 | -60.107 | -60.107 | 0
8354857.541 | 152.5031 | -63.2804 | -63.2804 | 0
8445394.839 | 151.413 | -66.2296 | -66.2296 | 0
8536913.243 | 150.1392 | -68.9538 | -68.9538 | 0
8629423.384 | 148.6879 | -71.4654 | -71.4654 | 0
8722936.011 | 147.1296 | -73.7638 | -73.7638 | 0
8817461.986 | 145.4993 | -75.7867 | -75.7867 | 0
8913012.29 | 143.9204 | -77.6273 | -77.6273 | 0
9009598.024 | 142.3515 | -79.312 | -79.312 | 0
9107230.407 | 140.86 | -80.8714 | -80.8714 | 0
9205920.783 | 139.4532 | -82.3798 | -82.3798 | 0
9305680.615 | 138.1337 | -83.8727 | -83.8727 | 0
9406521.494 | 136.8404 | -85.3427 | -85.3427 | 0
9508455.133 | 135.5968 | -86.9347 | -86.9347 | 0
9611493.375 | 134.3326 | -88.5628 | -88.5628 | 0
9715648.189 | 133.0225 | -90.2789 | -90.2789 | 0
9820931.676 | 131.6253 | -92.0868 | -92.0868 | 0
9927356.065 | 130.1032 | -93.9431 | -93.9431 | 0
10034933.721 | 128.4521 | -95.8546 | -95.8546 | 0
10143677.141 | 126.6203 | -97.7777 | -97.7777 | 0
10253598.957 | 124.6068 | -99.7156 | -99.7156 | 0
10364711.94 | 122.3977 | -101.5927 | -101.5927 | 0
10477028.997 | 119.9918 | -103.4053 | -103.4053 | 0
10590563.176 | 117.4025 | -105.0964 | -105.0964 | 0
10705327.666 | 114.6527 | -106.6402 | -106.6402 | 0
10821335.801 | 111.748 | -108.0554 | -108.0554 | 0
10938601.056 | 108.7122 | -109.2449 | -109.2449 | 0
11057137.054 | 105.5698 | -110.263 | -110.263 | 0
11176957.566 | 102.3478 | -111.056 | -111.056 | 0
11298076.511 | 99.1097 | -111.666 | -111.666 | 0
11420507.96 | 95.8451 | -112.0264 | -112.0264 | 0
11544266.136 | 92.6135 | -112.2073 | -112.2073 | 0
11669365.415 | 89.3689 | -112.1875 | -112.1875 | 0
11795820.331 | 86.1947 | -111.9808 | -111.9808 | 0
11923645.574 | 83.0971 | -111.6029 | -111.6029 | 0
12052855.993 | 80.1448 | -111.0995 | -111.0995 | 0
12183466.6 | 77.2513 | -110.497 | -110.497 | 0
12315492.566 | 74.4375 | -109.8225 | -109.8225 | 0
12448949.23 | 71.7001 | -109.0633 | -109.0633 | 0
12583852.095 | 69.0125 | -108.2479 | -108.2479 | 0
12720216.834 | 66.3926 | -107.3591 | -107.3591 | 0
12858059.286 | 63.7972 | -106.4339 | -106.4339 | 0
12997395.467 | 61.2451 | -105.4321 | -105.4321 | 0
13138241.562 | 58.7111 | -104.3691 | -104.3691 | 0
13280613.934 | 56.2177 | -103.2101 | -103.2101 | 0
13424529.122 | 53.7506 | -101.9791 | -101.9791 | 0
13570003.846 | 51.3153 | -100.6473 | -100.6473 | 0
13717055.004 | 48.9468 | -99.2232 | -99.2232 | 0
13865699.679 | 46.6129 | -97.6954 | -97.6954 | 0
14015955.141 | 44.3595 | -96.0735 | -96.0735 | 0
14167838.844 | 42.1989 | -94.3597 | -94.3597 | 0
14321368.433 | 40.113 | -92.5574 | -92.5574 | 0
14476561.742 | 38.141 | -90.6719 | -90.6719 | 0
14633436.802 | 36.2643 | -88.7328 | -88.7328 | 0
14792011.837 | 34.5005 | -86.7308 | -86.7308 | 0
14952305.267 | 32.8721 | -84.6769 | -84.6769 | 0
15114335.715 | 31.3516 | -82.6043 | -82.6043 | 0
15278122.004 | 29.9399 | -80.5103 | -80.5103 | 0
15443683.161 | 28.6167 | -78.3957 | -78.3957 | 0
15611038.419 | 27.4178 | -76.2797 | -76.2797 | 0
15780207.219 | 26.3337 | -74.1563 | -74.1563 | 0
15951209.215 | 25.3494 | -72.0523 | -72.0523 | 0
16124064.272 | 24.4723 | -69.9686 | -69.9686 | 0
16298792.471 | 23.6909 | -67.9366 | -67.9366 | 0
16475414.109 | 22.9333 | -65.9773 | -65.9773 | 0
16653949.704 | 22.185 | -64.0143 | -64.0143 | 0
16834419.999 | 21.4691 | -62.0456 | -62.0456 | 0
17016845.957 | 20.7951 | -59.9931 | -59.9931 | 0
17201248.771 | 20.2414 | -57.9057 | -57.9057 | 0
17387649.865 | 19.7926 | -55.7845 | -55.7845 | 0
17576070.891 | 19.4764 | -53.5915 | -53.5915 | 0
17766533.738 | 19.3783 | -51.3694 | -51.3694 | 0
17959060.534 | 19.538 | -49.1778 | -49.1778 | 0
18153673.644 | 20.0704 | -47.056 | -47.056 | 0
18350395.676 | 21.1338 | -45.2793 | -45.2793 | 0
18549249.483 | 22.5961 | -44.3278 | -44.3278 | 0
18750258.167 | 23.7253 | -44.6307 | -44.6307 | 0
18953445.079 | 23.4163 | -45.6658 | -45.6658 | 0
19158833.823 | 21.576 | -45.9952 | -45.9952 | 0
19366448.26 | 19.3752 | -45.0905 | -45.0905 | 0
19576312.507 | 17.5637 | -43.3565 | -43.3565 | 0
19788450.945 | 16.3 | -41.2732 | -41.2732 | 0
20002888.218 | 15.3861 | -39.1371 | -39.1371 | 0
20219649.238 | 14.6387 | -36.9347 | -36.9347 | 0
20438759.186 | 14.0648 | -34.6625 | -34.6625 | 0
20660243.516 | 13.6671 | -32.3563 | -32.3563 | 0
20884127.957 | 13.4295 | -30.0283 | -30.0283 | 0
21110438.52 | 13.3576 | -27.6727 | -27.6727 | 0
21339201.493 | 13.4946 | -25.2723 | -25.2723 | 0
21570443.453 | 13.8728 | -22.8832 | -22.8832 | 0
21804191.264 | 14.4974 | -20.583 | -20.583 | 0
22040472.079 | 15.2663 | -18.4917 | -18.4917 | 0
22279313.348 | 16.0114 | -16.5329 | -16.5329 | 0
22520742.818 | 16.7739 | -14.5534 | -14.5534 | 0
22764788.534 | 17.6322 | -12.5165 | -12.5165 | 0
23011478.848 | 18.6798 | -10.4105 | -10.4105 | 0
23260842.419 | 20.0037 | -8.2692 | -8.2692 | 0
23512908.214 | 21.6565 | -6.2279 | -6.2279 | 0
23767705.517 | 23.4571 | -4.3986 | -4.3986 | 0
24025263.927 | 25.4454 | -2.242 | -2.242 | 0
24285613.366 | 28.3236 | -0.25477 | -0.25477 | 0
24548784.077 | 31.7841 | 1.4611 | 1.4611 | 0
24814806.635 | 36.3644 | 2.8116 | 2.8116 | 0
25083711.942 | 42.5245 | 2.7391 | 2.7391 | 0
25355531.237 | 49.4259 | -0.27817 | -0.27817 | 0
25630296.099 | 55.2582 | -6.8016 | -6.8016 | 0
25908038.446 | 57.6739 | -16.6244 | -16.6244 | 0
26188790.544 | 54.4397 | -26.6265 | -26.6265 | 0
26472585.009 | 47.2713 | -33.1672 | -33.1672 | 0
26759454.808 | 39.2368 | -35.7027 | -35.7027 | 0
27049433.268 | 32.1273 | -35.3125 | -35.3125 | 0
27342554.075 | 26.5008 | -33.3268 | -33.3268 | 0
27638851.282 | 22.2285 | -30.6463 | -30.6463 | 0
27938359.31 | 18.9883 | -27.7253 | -27.7253 | 0
28241112.952 | 16.5253 | -24.7924 | -24.7924 | 0
28547147.38 | 14.6264 | -21.9413 | -21.9413 | 0
28856498.145 | 13.1227 | -19.2066 | -19.2066 | 0
29169201.186 | 11.9226 | -16.5767 | -16.5767 | 0
29485292.829 | 10.9521 | -14.0447 | -14.0447 | 0
29804809.795 | 10.1695 | -11.6055 | -11.6055 | 0
30127789.202 | 9.5328 | -9.2484 | -9.2484 | 0
30454268.571 | 9.0171 | -6.964 | -6.964 | 0
30784285.828 | 8.6018 | -4.7374 | -4.7374 | 0
31117879.314 | 8.2641 | -2.5663 | -2.5663 | 0
31455087.78 | 7.9997 | -0.43586 | -0.43586 | 0
31795950.401 | 7.7955 | 1.6552 | 1.6552 | 0
32140506.776 | 7.6442 | 3.7173 | 3.7173 | 0
32488796.93 | 7.5419 | 5.751 | 5.751 | 0
32840861.326 | 7.4857 | 7.7615 | 7.7615 | 0
33196740.864 | 7.4659 | 9.7538 | 9.7538 | 0
33556476.884 | 7.4788 | 11.7266 | 11.7266 | 0
33920111.179 | 7.5118 | 13.6928 | 13.6928 | 0
34287685.992 | 7.5667 | 15.6606 | 15.6606 | 0
34659244.025 | 7.644 | 17.6491 | 17.6491 | 0
35034828.441 | 7.762 | 19.6593 | 19.6593 | 0
35414482.872 | 7.9375 | 21.6839 | 21.6839 | 0
35798251.423 | 8.1672 | 23.7015 | 23.7015 | 0
36186178.677 | 8.43 | 25.6941 | 25.6941 | 0
36578309.699 | 8.6838 | 27.683 | 27.683 | 0
36974690.043 | 8.925 | 29.7019 | 29.7019 | 0
37375365.757 | 9.1859 | 31.8083 | 31.8083 | 0
37780383.389 | 9.5144 | 33.9884 | 33.9884 | 0
38189789.988 | 9.9409 | 36.2112 | 36.2112 | 0
38603633.116 | 10.4735 | 38.4384 | 38.4384 | 0
39021960.849 | 11.0807 | 40.6499 | 40.6499 | 0
39444821.785 | 11.7568 | 42.8351 | 42.8351 | 0
39872265.048 | 12.4729 | 44.9937 | 44.9937 | 0
40304340.294 | 13.1782 | 47.1347 | 47.1347 | 0
40741097.717 | 13.9197 | 49.3184 | 49.3184 | 0
41182588.056 | 14.7166 | 51.5328 | 51.5328 | 0
41628862.598 | 15.5735 | 53.6993 | 53.6993 | 0
42079973.189 | 16.3999 | 55.8304 | 55.8304 | 0
42535972.233 | 17.1553 | 57.9863 | 57.9863 | 0
42996912.705 | 17.8847 | 60.2315 | 60.2315 | 0
43462848.151 | 18.5338 | 62.5812 | 62.5812 | 0
43933832.701 | 19.0942 | 65.1469 | 65.1469 | 0
44409921.068 | 19.6705 | 68.0827 | 68.0827 | 0
44891168.56 | 20.5142 | 71.4139 | 71.4139 | 0
45377631.084 | 21.761 | 75.0361 | 75.0361 | 0
45869365.152 | 23.5853 | 78.8452 | 78.8452 | 0
46366427.89 | 26.0297 | 82.4821 | 82.4821 | 0
46868877.041 | 28.8925 | 85.7859 | 85.7859 | 0
47376770.975 | 31.9722 | 88.693 | 88.693 | 0
47890168.695 | 35.1488 | 91.5017 | 91.5017 | 0
48409129.842 | 38.8055 | 94.0603 | 94.0603 | 0
48933714.704 | 42.8185 | 96.0048 | 96.0048 | 0
49463984.223 | 47.1802 | 97.157 | 97.157 | 0
50000000 | 50.9916 | 96.5104 | 96.5104 | 0