## 03-Feb-16 15h 54m 27s
4294A REV1.11
DATE: Feb 3 2016
MEASURE PARAMETER: IMPEDANCE RESISTANCE - REACTANCE
ADAPTER: PROBE
SWEEP TYPE: LOG FREQ
NUMBER of POINTS: 801
POINT DELAY TIME: 0 Sec
SWEEP DELAY TIME: 0 Sec
OSC LEVEL: 500 mVolt
DC BIAS: OFF
BW: 3
SWEEP AVERAGING: OFF
POINT AVERAGING: OFF
TRACE: A
FORMAT: LINEAR
Frequency | Data Real | Data Imag | Data Trace Real | Data Trace Imag
9000 | 26.4368 | 10.3335 | 26.4368 | 0
9097.528 | 26.4705 | 10.428 | 26.4705 | 0
9196.114 | 26.4933 | 10.5368 | 26.4933 | 0
9295.767 | 26.5081 | 10.638 | 26.5081 | 0
9396.501 | 26.5349 | 10.7446 | 26.5349 | 0
9498.326 | 26.5486 | 10.86 | 26.5486 | 0
9601.254 | 26.5738 | 10.9532 | 26.5738 | 0
9705.298 | 26.6002 | 11.0724 | 26.6002 | 0
9810.469 | 26.6218 | 11.1772 | 26.6218 | 0
9916.78 | 26.6386 | 11.275 | 26.6386 | 0
10024.243 | 26.6608 | 11.3954 | 26.6608 | 0
10132.871 | 26.6808 | 11.5178 | 26.6808 | 0
10242.676 | 26.7125 | 11.6261 | 26.7125 | 0
10353.67 | 26.7345 | 11.7463 | 26.7345 | 0
10465.868 | 26.751 | 11.8684 | 26.751 | 0
10579.281 | 26.7789 | 11.987 | 26.7789 | 0
10693.923 | 26.8103 | 12.0935 | 26.8103 | 0
10809.808 | 26.8342 | 12.2163 | 26.8342 | 0
10926.948 | 26.853 | 12.346 | 26.853 | 0
11045.358 | 26.883 | 12.4585 | 26.883 | 0
11165.051 | 26.9046 | 12.5829 | 26.9046 | 0
11286.041 | 26.9306 | 12.7101 | 26.9306 | 0
11408.342 | 26.9624 | 12.831 | 26.9624 | 0
11531.968 | 26.9984 | 12.9636 | 26.9984 | 0
11656.934 | 27.0218 | 13.0904 | 27.0218 | 0
11783.254 | 27.0548 | 13.231 | 27.0548 | 0
11910.943 | 27.0771 | 13.3491 | 27.0771 | 0
12040.016 | 27.1093 | 13.4901 | 27.1093 | 0
12170.487 | 27.1299 | 13.6226 | 27.1299 | 0
12302.373 | 27.1613 | 13.7519 | 27.1613 | 0
12435.687 | 27.1955 | 13.892 | 27.1955 | 0
12570.446 | 27.2232 | 14.0368 | 27.2232 | 0
12706.666 | 27.259 | 14.1641 | 27.259 | 0
12844.361 | 27.2897 | 14.3009 | 27.2897 | 0
12983.549 | 27.326 | 14.4418 | 27.326 | 0
13124.245 | 27.3505 | 14.5841 | 27.3505 | 0
13266.466 | 27.3885 | 14.7331 | 27.3885 | 0
13410.228 | 27.4235 | 14.8703 | 27.4235 | 0
13555.548 | 27.4622 | 15.0135 | 27.4622 | 0
13702.442 | 27.4898 | 15.1765 | 27.4898 | 0
13850.928 | 27.5183 | 15.3163 | 27.5183 | 0
14001.024 | 27.5475 | 15.4797 | 27.5475 | 0
14152.746 | 27.5948 | 15.6114 | 27.5948 | 0
14306.112 | 27.6343 | 15.7805 | 27.6343 | 0
14461.14 | 27.6617 | 15.929 | 27.6617 | 0
14617.848 | 27.7019 | 16.0824 | 27.7019 | 0
14776.254 | 27.7464 | 16.2361 | 27.7464 | 0
14936.376 | 27.7798 | 16.397 | 27.7798 | 0
15098.234 | 27.8152 | 16.5565 | 27.8152 | 0
15261.846 | 27.8607 | 16.73 | 27.8607 | 0
15427.231 | 27.9036 | 16.8855 | 27.9036 | 0
15594.408 | 27.9465 | 17.0539 | 27.9465 | 0
15763.396 | 27.9856 | 17.2194 | 27.9856 | 0
15934.216 | 28.0245 | 17.3871 | 28.0245 | 0
16106.887 | 28.0738 | 17.5516 | 28.0738 | 0
16281.429 | 28.1068 | 17.741 | 28.1068 | 0
16457.863 | 28.1607 | 17.8936 | 28.1607 | 0
16636.208 | 28.2024 | 18.0812 | 28.2024 | 0
16816.486 | 28.2504 | 18.2545 | 28.2504 | 0
16998.718 | 28.2982 | 18.4283 | 28.2982 | 0
17182.924 | 28.3463 | 18.6058 | 28.3463 | 0
17369.127 | 28.3882 | 18.7912 | 28.3882 | 0
17557.347 | 28.4362 | 18.9676 | 28.4362 | 0
17747.607 | 28.4858 | 19.1605 | 28.4858 | 0
17939.929 | 28.5341 | 19.3463 | 28.5341 | 0
18134.334 | 28.5879 | 19.5339 | 28.5879 | 0
18330.847 | 28.6369 | 19.7195 | 28.6369 | 0
18529.489 | 28.6898 | 19.9018 | 28.6898 | 0
18730.283 | 28.7433 | 20.0966 | 28.7433 | 0
18933.254 | 28.7907 | 20.2907 | 28.7907 | 0
19138.424 | 28.8525 | 20.4837 | 28.8525 | 0
19345.817 | 28.9077 | 20.6795 | 28.9077 | 0
19555.458 | 28.9535 | 20.8885 | 28.9535 | 0
19767.37 | 29.013 | 21.0826 | 29.013 | 0
19981.579 | 29.0713 | 21.2947 | 29.0713 | 0
20198.109 | 29.13 | 21.5005 | 29.13 | 0
20416.986 | 29.1903 | 21.7021 | 29.1903 | 0
20638.234 | 29.2522 | 21.9153 | 29.2522 | 0
20861.88 | 29.3175 | 22.113 | 29.3175 | 0
21087.949 | 29.3706 | 22.333 | 29.3706 | 0
21316.469 | 29.4355 | 22.5453 | 29.4355 | 0
21547.464 | 29.4933 | 22.763 | 29.4933 | 0
21780.963 | 29.5588 | 22.982 | 29.5588 | 0
22016.992 | 29.6369 | 23.1941 | 29.6369 | 0
22255.579 | 29.6944 | 23.4257 | 29.6944 | 0
22496.751 | 29.7676 | 23.6404 | 29.7676 | 0
22740.537 | 29.8389 | 23.8601 | 29.8389 | 0
22986.964 | 29.9003 | 24.0997 | 29.9003 | 0
23236.062 | 29.9772 | 24.3244 | 29.9772 | 0
23487.86 | 30.044 | 24.5515 | 30.044 | 0
23742.386 | 30.1155 | 24.7785 | 30.1155 | 0
23999.67 | 30.1928 | 25.0238 | 30.1928 | 0
24259.742 | 30.2641 | 25.256 | 30.2641 | 0
24522.632 | 30.3348 | 25.4926 | 30.3348 | 0
24788.371 | 30.4197 | 25.7273 | 30.4197 | 0
25056.99 | 30.5006 | 25.9733 | 30.5006 | 0
25328.52 | 30.5713 | 26.2163 | 30.5713 | 0
25602.992 | 30.6461 | 26.4719 | 30.6461 | 0
25880.438 | 30.738 | 26.7219 | 30.738 | 0
26160.891 | 30.8142 | 26.9697 | 30.8142 | 0
26444.383 | 30.9031 | 27.2266 | 30.9031 | 0
26730.948 | 30.9807 | 27.482 | 30.9807 | 0
27020.617 | 31.0683 | 27.738 | 31.0683 | 0
27313.426 | 31.1536 | 28.0031 | 31.1536 | 0
27609.407 | 31.242 | 28.258 | 31.242 | 0
27908.596 | 31.3312 | 28.5289 | 31.3312 | 0
28211.027 | 31.4117 | 28.7986 | 31.4117 | 0
28516.736 | 31.5173 | 29.0557 | 31.5173 | 0
28825.757 | 31.6041 | 29.3266 | 31.6041 | 0
29138.127 | 31.7124 | 29.5989 | 31.7124 | 0
29453.882 | 31.7944 | 29.8779 | 31.7944 | 0
29773.058 | 31.885 | 30.1568 | 31.885 | 0
30095.694 | 31.9941 | 30.4253 | 31.9941 | 0
30421.825 | 32.0855 | 30.7131 | 32.0855 | 0
30751.491 | 32.1915 | 30.9963 | 32.1915 | 0
31084.729 | 32.2943 | 31.2796 | 32.2943 | 0
31421.578 | 32.3896 | 31.5775 | 32.3896 | 0
31762.078 | 32.496 | 31.8698 | 32.496 | 0
32106.267 | 32.6026 | 32.1606 | 32.6026 | 0
32454.186 | 32.7239 | 32.4531 | 32.7239 | 0
32805.876 | 32.817 | 32.746 | 32.817 | 0
33161.376 | 32.9323 | 33.0465 | 32.9323 | 0
33520.729 | 33.0368 | 33.3636 | 33.0368 | 0
33883.976 | 33.1575 | 33.6637 | 33.1575 | 0
34251.159 | 33.2626 | 33.9702 | 33.2626 | 0
34622.321 | 33.3865 | 34.2796 | 33.3865 | 0
34997.505 | 33.5125 | 34.5886 | 33.5125 | 0
35376.755 | 33.6268 | 34.9002 | 33.6268 | 0
35760.115 | 33.743 | 35.2169 | 33.743 | 0
36147.629 | 33.8683 | 35.5366 | 33.8683 | 0
36539.342 | 33.9969 | 35.8624 | 33.9969 | 0
36935.301 | 34.1131 | 36.1966 | 34.1131 | 0
37335.549 | 34.2385 | 36.5188 | 34.2385 | 0
37740.136 | 34.3658 | 36.8428 | 34.3658 | 0
38149.106 | 34.5059 | 37.1788 | 34.5059 | 0
38562.508 | 34.6446 | 37.5073 | 34.6446 | 0
38980.39 | 34.7647 | 37.8441 | 34.7647 | 0
39402.801 | 34.8987 | 38.1953 | 34.8987 | 0
39829.789 | 35.0237 | 38.54 | 35.0237 | 0
40261.404 | 35.1848 | 38.8834 | 35.1848 | 0
40697.696 | 35.3223 | 39.2298 | 35.3223 | 0
41138.716 | 35.4645 | 39.5764 | 35.4645 | 0
41584.515 | 35.6136 | 39.9246 | 35.6136 | 0
42035.145 | 35.752 | 40.2823 | 35.752 | 0
42490.658 | 35.8986 | 40.6436 | 35.8986 | 0
42951.108 | 36.0519 | 41.0105 | 36.0519 | 0
43416.547 | 36.2015 | 41.372 | 36.2015 | 0
43887.03 | 36.3518 | 41.7414 | 36.3518 | 0
44362.611 | 36.525 | 42.102 | 36.525 | 0
44843.346 | 36.6694 | 42.4771 | 36.6694 | 0
45329.29 | 36.8344 | 42.8456 | 36.8344 | 0
45820.5 | 36.9909 | 43.2333 | 36.9909 | 0
46317.033 | 37.1525 | 43.6108 | 37.1525 | 0
46818.947 | 37.3175 | 43.9877 | 37.3175 | 0
47326.3 | 37.4921 | 44.3686 | 37.4921 | 0
47839.151 | 37.6591 | 44.7505 | 37.6591 | 0
48357.559 | 37.8262 | 45.145 | 37.8262 | 0
48881.585 | 38 | 45.5286 | 38 | 0
49411.29 | 38.147 | 45.9507 | 38.147 | 0
49946.734 | 38.3391 | 46.3257 | 38.3391 | 0
50487.982 | 38.5069 | 46.7331 | 38.5069 | 0
51035.094 | 38.6762 | 47.1546 | 38.6762 | 0
51588.135 | 38.8567 | 47.5637 | 38.8567 | 0
52147.169 | 39.0553 | 47.986 | 39.0553 | 0
52712.261 | 39.2412 | 48.3945 | 39.2412 | 0
53283.477 | 39.4046 | 48.8298 | 39.4046 | 0
53860.882 | 39.614 | 49.25 | 39.614 | 0
54444.545 | 39.7982 | 49.6769 | 39.7982 | 0
55034.533 | 39.9813 | 50.1089 | 39.9813 | 0
55630.914 | 40.1987 | 50.5408 | 40.1987 | 0
56233.757 | 40.4064 | 50.9722 | 40.4064 | 0
56843.134 | 40.597 | 51.4066 | 40.597 | 0
57459.113 | 40.8152 | 51.8506 | 40.8152 | 0
58081.768 | 41.015 | 52.2966 | 41.015 | 0
58711.171 | 41.2186 | 52.7609 | 41.2186 | 0
59347.393 | 41.4285 | 53.203 | 41.4285 | 0
59990.511 | 41.6417 | 53.6702 | 41.6417 | 0
60640.597 | 41.8438 | 54.1362 | 41.8438 | 0
61297.728 | 42.0728 | 54.5875 | 42.0728 | 0
61961.98 | 42.2899 | 55.0573 | 42.2899 | 0
62633.43 | 42.5058 | 55.5217 | 42.5058 | 0
63312.156 | 42.7334 | 56.0124 | 42.7334 | 0
63998.238 | 42.9598 | 56.4801 | 42.9598 | 0
64691.754 | 43.1965 | 56.9625 | 43.1965 | 0
65392.785 | 43.4339 | 57.4508 | 43.4339 | 0
66101.413 | 43.6785 | 57.931 | 43.6785 | 0
66817.72 | 43.9056 | 58.4231 | 43.9056 | 0
67541.789 | 44.14 | 58.9314 | 44.14 | 0
68273.705 | 44.3917 | 59.4144 | 44.3917 | 0
69013.552 | 44.6218 | 59.935 | 44.6218 | 0
69761.416 | 44.8712 | 60.4356 | 44.8712 | 0
70517.385 | 45.1275 | 60.9487 | 45.1275 | 0
71281.546 | 45.3713 | 61.4535 | 45.3713 | 0
72053.987 | 45.6432 | 61.99 | 45.6432 | 0
72834.799 | 45.8988 | 62.5065 | 45.8988 | 0
73624.072 | 46.1552 | 63.0341 | 46.1552 | 0
74421.899 | 46.4171 | 63.5607 | 46.4171 | 0
75228.371 | 46.6907 | 64.109 | 46.6907 | 0
76043.582 | 46.9759 | 64.6347 | 46.9759 | 0
76867.627 | 47.2379 | 65.1818 | 47.2379 | 0
77700.602 | 47.5112 | 65.7285 | 47.5112 | 0
78542.603 | 47.7908 | 66.2875 | 47.7908 | 0
79393.729 | 48.0717 | 66.8569 | 48.0717 | 0
80254.078 | 48.3682 | 67.4143 | 48.3682 | 0
81123.75 | 48.6619 | 67.9701 | 48.6619 | 0
82002.847 | 48.9416 | 68.5459 | 48.9416 | 0
82891.47 | 49.2435 | 69.1217 | 49.2435 | 0
83789.722 | 49.5438 | 69.7055 | 49.5438 | 0
84697.708 | 49.8491 | 70.294 | 49.8491 | 0
85615.534 | 50.1482 | 70.8821 | 50.1482 | 0
86543.305 | 50.45 | 71.4921 | 50.45 | 0
87481.13 | 50.7621 | 72.0722 | 50.7621 | 0
88429.118 | 51.1002 | 72.6811 | 51.1002 | 0
89387.379 | 51.4081 | 73.291 | 51.4081 | 0
90356.024 | 51.7246 | 73.9221 | 51.7246 | 0
91335.166 | 52.068 | 74.5157 | 52.068 | 0
92324.919 | 52.3926 | 75.1488 | 52.3926 | 0
93325.396 | 52.7297 | 75.7769 | 52.7297 | 0
94336.716 | 53.088 | 76.4086 | 53.088 | 0
95358.994 | 53.422 | 77.0536 | 53.422 | 0
96392.35 | 53.7472 | 77.7217 | 53.7472 | 0
97436.905 | 54.1076 | 78.3711 | 54.1076 | 0
98492.779 | 54.4582 | 79.027 | 54.4582 | 0
99560.094 | 54.8232 | 79.6927 | 54.8232 | 0
100638.976 | 55.1877 | 80.3497 | 55.1877 | 0
101729.549 | 55.5682 | 81.0282 | 55.5682 | 0
102831.939 | 55.9354 | 81.7105 | 55.9354 | 0
103946.276 | 56.3052 | 82.3942 | 56.3052 | 0
105072.689 | 56.6948 | 83.085 | 56.6948 | 0
106211.307 | 57.0694 | 83.7818 | 57.0694 | 0
107362.265 | 57.4727 | 84.4917 | 57.4727 | 0
108525.694 | 57.878 | 85.1901 | 57.878 | 0
109701.732 | 58.2862 | 85.9093 | 58.2862 | 0
110890.513 | 58.6685 | 86.6339 | 58.6685 | 0
112092.176 | 59.065 | 87.3625 | 59.065 | 0
113306.862 | 59.498 | 88.0825 | 59.498 | 0
114534.71 | 59.9159 | 88.8405 | 59.9159 | 0
115775.864 | 60.3328 | 89.5862 | 60.3328 | 0
117030.467 | 60.7751 | 90.3377 | 60.7751 | 0
118298.666 | 61.205 | 91.0939 | 61.205 | 0
119580.608 | 61.6747 | 91.866 | 61.6747 | 0
120876.442 | 62.0914 | 92.6467 | 62.0914 | 0
122186.318 | 62.5755 | 93.4176 | 62.5755 | 0
123510.388 | 63.0127 | 94.224 | 63.0127 | 0
124848.807 | 63.4937 | 95.0035 | 63.4937 | 0
126201.729 | 63.9655 | 95.7963 | 63.9655 | 0
127569.312 | 64.4456 | 96.6257 | 64.4456 | 0
128951.715 | 64.9544 | 97.4215 | 64.9544 | 0
130349.099 | 65.4299 | 98.2579 | 65.4299 | 0
131761.625 | 65.9234 | 99.0879 | 65.9234 | 0
133189.458 | 66.4539 | 99.9241 | 66.4539 | 0
134632.764 | 66.9679 | 100.7856 | 66.9679 | 0
136091.71 | 67.4955 | 101.6303 | 67.4955 | 0
137566.466 | 68.0066 | 102.4897 | 68.0066 | 0
139057.203 | 68.56 | 103.3634 | 68.56 | 0
140564.094 | 69.0829 | 104.2409 | 69.0829 | 0
142087.315 | 69.628 | 105.1325 | 69.628 | 0
143627.042 | 70.197 | 105.996 | 70.197 | 0
145183.455 | 70.7873 | 106.9181 | 70.7873 | 0
146756.733 | 71.3592 | 107.8087 | 71.3592 | 0
148347.061 | 71.9318 | 108.752 | 71.9318 | 0
149954.621 | 72.501 | 109.679 | 72.501 | 0
151579.603 | 73.1059 | 110.6086 | 73.1059 | 0
153222.193 | 73.7546 | 111.5538 | 73.7546 | 0
154882.583 | 74.371 | 112.5067 | 74.371 | 0
156560.966 | 74.9572 | 113.4753 | 74.9572 | 0
158257.537 | 75.6087 | 114.4624 | 75.6087 | 0
159972.492 | 76.2941 | 115.4335 | 76.2941 | 0
161706.032 | 76.9424 | 116.4246 | 76.9424 | 0
163458.357 | 77.5999 | 117.4107 | 77.5999 | 0
165229.671 | 78.2772 | 118.4386 | 78.2772 | 0
167020.18 | 78.9743 | 119.4527 | 78.9743 | 0
168830.092 | 79.7016 | 120.4638 | 79.7016 | 0
170659.617 | 80.4106 | 121.4993 | 80.4106 | 0
172508.968 | 81.1459 | 122.5482 | 81.1459 | 0
174378.359 | 81.87 | 123.6122 | 81.87 | 0
176268.007 | 82.5988 | 124.7018 | 82.5988 | 0
178178.133 | 83.367 | 125.7731 | 83.367 | 0
180108.958 | 84.1336 | 126.8603 | 84.1336 | 0
182060.706 | 84.9619 | 127.9737 | 84.9619 | 0
184033.605 | 85.764 | 129.0708 | 85.764 | 0
186027.882 | 86.5743 | 130.1603 | 86.5743 | 0
188043.771 | 87.3702 | 131.3174 | 87.3702 | 0
190081.504 | 88.2332 | 132.4404 | 88.2332 | 0
192141.32 | 89.0806 | 133.6111 | 89.0806 | 0
194223.457 | 89.9654 | 134.7827 | 89.9654 | 0
196328.157 | 90.8533 | 135.9572 | 90.8533 | 0
198455.664 | 91.7174 | 137.1429 | 91.7174 | 0
200606.226 | 92.6853 | 138.303 | 92.6853 | 0
202780.093 | 93.6094 | 139.525 | 93.6094 | 0
204977.516 | 94.5685 | 140.7416 | 94.5685 | 0
207198.752 | 95.5203 | 142.012 | 95.5203 | 0
209444.059 | 96.5142 | 143.2463 | 96.5142 | 0
211713.696 | 97.5252 | 144.4619 | 97.5252 | 0
214007.929 | 98.5199 | 145.742 | 98.5199 | 0
216327.023 | 99.6077 | 147.0394 | 99.6077 | 0
218671.247 | 100.6779 | 148.325 | 100.6779 | 0
221040.875 | 101.7601 | 149.6138 | 101.7601 | 0
223436.182 | 102.8431 | 150.969 | 102.8431 | 0
225857.445 | 103.9676 | 152.305 | 103.9676 | 0
228304.946 | 105.1341 | 153.6384 | 105.1341 | 0
230778.969 | 106.2941 | 155.0063 | 106.2941 | 0
233279.802 | 107.5086 | 156.3901 | 107.5086 | 0
235807.736 | 108.6692 | 157.7715 | 108.6692 | 0
238363.063 | 109.951 | 159.1881 | 109.951 | 0
240946.081 | 111.1835 | 160.5776 | 111.1835 | 0
243557.09 | 112.5061 | 162.0291 | 112.5061 | 0
246196.393 | 113.8612 | 163.4467 | 113.8612 | 0
248864.297 | 115.2133 | 164.9103 | 115.2133 | 0
251561.111 | 116.5547 | 166.3886 | 116.5547 | 0
254287.15 | 117.9863 | 167.8583 | 117.9863 | 0
257042.729 | 119.4295 | 169.3773 | 119.4295 | 0
259828.169 | 120.8314 | 170.9066 | 120.8314 | 0
262643.793 | 122.4053 | 172.4199 | 122.4053 | 0
265489.929 | 123.9259 | 173.9669 | 123.9259 | 0
268366.907 | 125.4735 | 175.5284 | 125.4735 | 0
271275.061 | 127.0981 | 177.0924 | 127.0981 | 0
274214.729 | 128.7456 | 178.7111 | 128.7456 | 0
277186.254 | 130.4018 | 180.2881 | 130.4018 | 0
280189.979 | 132.095 | 181.9218 | 132.095 | 0
283226.253 | 133.9005 | 183.5452 | 133.9005 | 0
286295.431 | 135.6124 | 185.2344 | 135.6124 | 0
289397.867 | 137.5456 | 186.8636 | 137.5456 | 0
292533.923 | 139.341 | 188.5919 | 139.341 | 0
295703.963 | 141.2877 | 190.2644 | 141.2877 | 0
298908.355 | 143.2399 | 192.0254 | 143.2399 | 0
302147.471 | 145.2848 | 193.7373 | 145.2848 | 0
305421.688 | 147.3388 | 195.4968 | 147.3388 | 0
308731.386 | 149.518 | 197.1818 | 149.518 | 0
312076.949 | 151.681 | 199.0015 | 151.681 | 0
315458.767 | 153.8942 | 200.7934 | 153.8942 | 0
318877.231 | 156.2279 | 202.6107 | 156.2279 | 0
322332.74 | 158.5661 | 204.4424 | 158.5661 | 0
325825.694 | 160.9566 | 206.2597 | 160.9566 | 0
329356.5 | 163.3805 | 208.1258 | 163.3805 | 0
332925.567 | 165.9566 | 209.9401 | 165.9566 | 0
336533.31 | 168.5966 | 211.8437 | 168.5966 | 0
340180.149 | 171.2676 | 213.7674 | 171.2676 | 0
343866.506 | 174.0288 | 215.6813 | 174.0288 | 0
347592.811 | 176.8452 | 217.6117 | 176.8452 | 0
351359.495 | 179.7268 | 219.468 | 179.7268 | 0
355166.998 | 182.762 | 221.4416 | 182.762 | 0
359015.76 | 185.8367 | 223.3221 | 185.8367 | 0
362906.229 | 189.0009 | 225.3298 | 189.0009 | 0
366838.858 | 192.251 | 227.2612 | 192.251 | 0
370814.102 | 195.5901 | 229.2172 | 195.5901 | 0
374832.424 | 199.1432 | 231.1716 | 199.1432 | 0
378894.29 | 202.6211 | 233.2289 | 202.6211 | 0
383000.173 | 206.2819 | 235.1471 | 206.2819 | 0
387150.549 | 210.0892 | 237.0632 | 210.0892 | 0
391345.9 | 213.9825 | 239.1223 | 213.9825 | 0
395586.715 | 218.0317 | 240.9775 | 218.0317 | 0
399873.485 | 222.1379 | 242.9283 | 222.1379 | 0
404206.708 | 226.398 | 244.9433 | 226.398 | 0
408586.888 | 230.8783 | 246.8094 | 230.8783 | 0
413014.535 | 235.3341 | 248.6785 | 235.3341 | 0
417490.161 | 240.0767 | 250.5352 | 240.0767 | 0
422014.287 | 244.9358 | 252.422 | 244.9358 | 0
426587.439 | 249.9481 | 254.2954 | 249.9481 | 0
431210.148 | 255.1497 | 256.0422 | 255.1497 | 0
435882.951 | 260.5118 | 257.7421 | 260.5118 | 0
440606.39 | 266.0984 | 259.3632 | 266.0984 | 0
445381.015 | 271.6917 | 261.0745 | 271.6917 | 0
450207.38 | 277.5918 | 262.6326 | 277.5918 | 0
455086.046 | 283.7062 | 264.1352 | 283.7062 | 0
460017.58 | 290.0042 | 265.5319 | 290.0042 | 0
465002.554 | 296.5428 | 266.7954 | 296.5428 | 0
470041.548 | 303.2081 | 267.9963 | 303.2081 | 0
475135.147 | 310.2318 | 269.1554 | 310.2318 | 0
480283.942 | 317.471 | 270.0502 | 317.471 | 0
485488.532 | 324.8724 | 270.8358 | 324.8724 | 0
490749.522 | 332.5195 | 271.5994 | 332.5195 | 0
496067.522 | 340.5455 | 271.8792 | 340.5455 | 0
501443.151 | 348.8409 | 272.2497 | 348.8409 | 0
506877.033 | 357.1899 | 272.2614 | 357.1899 | 0
512369.799 | 365.9265 | 272.098 | 365.9265 | 0
517922.087 | 374.834 | 271.6351 | 374.834 | 0
523534.542 | 384.2303 | 270.813 | 384.2303 | 0
529207.817 | 393.7475 | 269.7407 | 393.7475 | 0
534942.57 | 403.5582 | 268.3777 | 403.5582 | 0
540739.468 | 413.7299 | 266.5323 | 413.7299 | 0
546599.184 | 424.0123 | 264.4036 | 424.0123 | 0
552522.398 | 434.7314 | 261.7421 | 434.7314 | 0
558509.8 | 445.652 | 258.55 | 445.652 | 0
564562.083 | 456.7427 | 254.8585 | 456.7427 | 0
570679.952 | 468.0449 | 250.632 | 468.0449 | 0
576864.118 | 479.5791 | 245.7881 | 479.5791 | 0
583115.298 | 491.2654 | 240.2244 | 491.2654 | 0
589434.219 | 503.0245 | 234.1737 | 503.0245 | 0
595821.614 | 514.8917 | 227.1363 | 514.8917 | 0
602278.227 | 526.7939 | 219.4563 | 526.7939 | 0
608804.807 | 538.7305 | 210.8286 | 538.7305 | 0
615402.111 | 550.5704 | 201.3795 | 550.5704 | 0
622070.908 | 562.2429 | 191.15 | 562.2429 | 0
628811.971 | 573.6334 | 179.9043 | 573.6334 | 0
635626.083 | 584.7625 | 167.6171 | 584.7625 | 0
642514.036 | 595.5117 | 154.6167 | 595.5117 | 0
649476.63 | 605.6958 | 140.5336 | 605.6958 | 0
656514.675 | 615.267 | 125.3318 | 615.267 | 0
663628.987 | 624.1368 | 109.4624 | 624.1368 | 0
670820.393 | 632.2135 | 92.6622 | 632.2135 | 0
678089.729 | 639.3536 | 74.8923 | 639.3536 | 0
685437.839 | 645.3903 | 56.3873 | 645.3903 | 0
692865.577 | 650.3308 | 37.1361 | 650.3308 | 0
700373.805 | 654.0029 | 17.4384 | 654.0029 | 0
707963.396 | 656.3623 | -2.8078 | 656.3623 | 0
715635.231 | 657.304 | -23.4698 | 657.304 | 0
723390.203 | 656.7634 | -44.2253 | 656.7634 | 0
731229.21 | 654.7965 | -65.0585 | 654.7965 | 0
739153.166 | 651.3215 | -85.8318 | 651.3215 | 0
747162.989 | 646.3264 | -106.3216 | 646.3264 | 0
755259.61 | 639.8704 | -126.4277 | 639.8704 | 0
763443.97 | 631.9751 | -145.9464 | 631.9751 | 0
771717.02 | 622.8982 | -164.6755 | 622.8982 | 0
780079.721 | 612.4628 | -182.6954 | 612.4628 | 0
788533.044 | 600.8668 | -199.842 | 600.8668 | 0
797077.971 | 588.4102 | -215.6668 | 588.4102 | 0
805715.496 | 574.9064 | -230.6614 | 574.9064 | 0
814446.62 | 560.7344 | -244.2418 | 560.7344 | 0
823272.36 | 545.9062 | -256.8005 | 545.9062 | 0
832193.739 | 530.597 | -268.024 | 530.597 | 0
841211.795 | 514.9348 | -278.0339 | 514.9348 | 0
850327.575 | 498.9689 | -286.795 | 498.9689 | 0
859542.138 | 482.9457 | -294.3716 | 482.9457 | 0
868856.555 | 466.9244 | -300.7454 | 466.9244 | 0
878271.907 | 450.9618 | -306.028 | 450.9618 | 0
887789.288 | 435.2648 | -310.1962 | 435.2648 | 0
897409.804 | 419.723 | -313.4077 | 419.723 | 0
907134.573 | 404.5648 | -315.7423 | 404.5648 | 0
916964.724 | 389.8063 | -317.2229 | 389.8063 | 0
926901.4 | 375.3591 | -317.8287 | 375.3591 | 0
936945.754 | 361.4369 | -317.7491 | 361.4369 | 0
947098.953 | 347.9107 | -317.0143 | 347.9107 | 0
957362.178 | 335.015 | -315.6371 | 335.015 | 0
967736.62 | 322.5427 | -313.7518 | 322.5427 | 0
978223.484 | 310.608 | -311.3987 | 310.608 | 0
988823.99 | 299.1394 | -308.6511 | 299.1394 | 0
999539.367 | 288.2141 | -305.5055 | 288.2141 | 0
1010370.861 | 277.7994 | -302.0388 | 277.7994 | 0
1021319.731 | 267.9116 | -298.2884 | 267.9116 | 0
1032387.248 | 258.4197 | -294.2502 | 258.4197 | 0
1043574.698 | 249.5244 | -290.0229 | 249.5244 | 0
1054883.381 | 241.0953 | -285.6171 | 241.0953 | 0
1066314.61 | 232.9405 | -281.1433 | 232.9405 | 0
1077869.714 | 225.4095 | -276.4161 | 225.4095 | 0
1089550.034 | 218.1706 | -271.7331 | 218.1706 | 0
1101356.928 | 211.3801 | -266.8867 | 211.3801 | 0
1113291.767 | 204.9929 | -262.1138 | 204.9929 | 0
1125355.937 | 198.9417 | -257.199 | 198.9417 | 0
1137550.841 | 193.2222 | -252.2675 | 193.2222 | 0
1149877.895 | 187.8433 | -247.3893 | 187.8433 | 0
1162338.531 | 182.8212 | -242.473 | 182.8212 | 0
1174934.196 | 178.0951 | -237.5631 | 178.0951 | 0
1187666.354 | 173.6373 | -232.7017 | 173.6373 | 0
1200536.484 | 169.5421 | -227.856 | 169.5421 | 0
1213546.081 | 165.585 | -223.0754 | 165.585 | 0
1226696.656 | 161.925 | -218.3482 | 161.925 | 0
1239989.738 | 158.567 | -213.6407 | 158.567 | 0
1253426.869 | 155.3481 | -208.989 | 155.3481 | 0
1267009.612 | 152.4349 | -204.4088 | 152.4349 | 0
1280739.544 | 149.7076 | -199.9049 | 149.7076 | 0
1294618.26 | 147.1605 | -195.4786 | 147.1605 | 0
1308647.373 | 144.797 | -191.1104 | 144.797 | 0
1322828.512 | 142.6769 | -186.8325 | 142.6769 | 0
1337163.325 | 140.6451 | -182.6192 | 140.6451 | 0
1351653.477 | 138.8751 | -178.4559 | 138.8751 | 0
1366300.651 | 137.206 | -174.4263 | 137.206 | 0
1381106.549 | 135.7158 | -170.4756 | 135.7158 | 0
1396072.891 | 134.408 | -166.5404 | 134.408 | 0
1411201.415 | 133.1952 | -162.7492 | 133.1952 | 0
1426493.88 | 132.1214 | -159.0552 | 132.1214 | 0
1441952.061 | 131.2242 | -155.3873 | 131.2242 | 0
1457577.754 | 130.4147 | -151.8644 | 130.4147 | 0
1473372.775 | 129.7343 | -148.3962 | 129.7343 | 0
1489338.959 | 129.1434 | -145.0421 | 129.1434 | 0
1505478.16 | 128.7186 | -141.7822 | 128.7186 | 0
1521792.253 | 128.4246 | -138.5921 | 128.4246 | 0
1538283.134 | 128.162 | -135.4968 | 128.162 | 0
1554952.717 | 128.0225 | -132.5154 | 128.0225 | 0
1571802.941 | 127.9889 | -129.6428 | 127.9889 | 0
1588835.762 | 128.0612 | -126.8605 | 128.0612 | 0
1606053.158 | 128.2135 | -124.1805 | 128.2135 | 0
1623457.131 | 128.4345 | -121.6156 | 128.4345 | 0
1641049.702 | 128.7559 | -119.1483 | 128.7559 | 0
1658832.914 | 129.143 | -116.7793 | 129.143 | 0
1676808.834 | 129.6155 | -114.5471 | 129.6155 | 0
1694979.549 | 130.1323 | -112.4333 | 130.1323 | 0
1713347.172 | 130.7371 | -110.4064 | 130.7371 | 0
1731913.834 | 131.3877 | -108.528 | 131.3877 | 0
1750681.695 | 132.0849 | -106.7716 | 132.0849 | 0
1769652.932 | 132.8143 | -105.1154 | 132.8143 | 0
1788829.752 | 133.5991 | -103.6375 | 133.5991 | 0
1808214.38 | 134.4145 | -102.2225 | 134.4145 | 0
1827809.07 | 135.2538 | -101.004 | 135.2538 | 0
1847616.098 | 136.1109 | -99.892 | 136.1109 | 0
1867637.764 | 136.9831 | -98.9337 | 136.9831 | 0
1887876.395 | 137.8571 | -98.08 | 137.8571 | 0
1908334.341 | 138.7004 | -97.4015 | 138.7004 | 0
1929013.98 | 139.554 | -96.8257 | 139.554 | 0
1949917.713 | 140.3607 | -96.4378 | 140.3607 | 0
1971047.969 | 141.139 | -96.1665 | 141.139 | 0
1992407.203 | 141.8584 | -95.993 | 141.8584 | 0
2013997.896 | 142.518 | -95.9759 | 142.518 | 0
2035822.556 | 143.1006 | -96.0944 | 143.1006 | 0
2057883.719 | 143.6149 | -96.3107 | 143.6149 | 0
2080183.947 | 144.0007 | -96.6642 | 144.0007 | 0
2102725.832 | 144.301 | -97.1102 | 144.301 | 0
2125511.991 | 144.5343 | -97.6432 | 144.5343 | 0
2148545.072 | 144.5691 | -98.2796 | 144.5691 | 0
2171827.751 | 144.4828 | -98.9885 | 144.4828 | 0
2195362.732 | 144.3009 | -99.748 | 144.3009 | 0
2219152.75 | 143.9377 | -100.5714 | 143.9377 | 0
2243200.568 | 143.4277 | -101.4148 | 143.4277 | 0
2267508.979 | 142.8008 | -102.2595 | 142.8008 | 0
2292080.809 | 141.9767 | -103.1146 | 141.9767 | 0
2316918.911 | 141.0011 | -103.9669 | 141.0011 | 0
2342026.17 | 139.9078 | -104.8025 | 139.9078 | 0
2367405.504 | 138.6121 | -105.5338 | 138.6121 | 0
2393059.861 | 137.222 | -106.2411 | 137.222 | 0
2418992.221 | 135.697 | -106.8457 | 135.697 | 0
2445205.597 | 134.0489 | -107.3529 | 134.0489 | 0
2471703.033 | 132.2763 | -107.7787 | 132.2763 | 0
2498487.609 | 130.407 | -108.0837 | 130.407 | 0
2525562.435 | 128.4744 | -108.257 | 128.4744 | 0
2552930.657 | 126.4473 | -108.3122 | 126.4473 | 0
2580595.454 | 124.387 | -108.2457 | 124.387 | 0
2608560.041 | 122.2446 | -108.0117 | 122.2446 | 0
2636827.666 | 120.0998 | -107.6446 | 120.0998 | 0
2665401.612 | 117.9365 | -107.1764 | 117.9365 | 0
2694285.2 | 115.7698 | -106.5191 | 115.7698 | 0
2723481.784 | 113.6206 | -105.7278 | 113.6206 | 0
2752994.756 | 111.4888 | -104.8287 | 111.4888 | 0
2782827.546 | 109.3972 | -103.7851 | 109.3972 | 0
2812983.618 | 107.3466 | -102.6331 | 107.3466 | 0
2843466.476 | 105.3524 | -101.3179 | 105.3524 | 0
2874279.66 | 103.4196 | -99.9497 | 103.4196 | 0
2905426.752 | 101.5347 | -98.4534 | 101.5347 | 0
2936911.369 | 99.7614 | -96.8615 | 99.7614 | 0
2968737.168 | 98.0516 | -95.1852 | 98.0516 | 0
3000907.847 | 96.4183 | -93.4163 | 96.4183 | 0
3033427.143 | 94.8982 | -91.5785 | 94.8982 | 0
3066298.834 | 93.4535 | -89.6885 | 93.4535 | 0
3099526.739 | 92.1305 | -87.7301 | 92.1305 | 0
3133114.717 | 90.8936 | -85.7268 | 90.8936 | 0
3167066.671 | 89.7494 | -83.6642 | 89.7494 | 0
3201386.545 | 88.7131 | -81.5873 | 88.7131 | 0
3236078.326 | 87.7723 | -79.4628 | 87.7723 | 0
3271146.044 | 86.9447 | -77.3243 | 86.9447 | 0
3306593.772 | 86.2066 | -75.1535 | 86.2066 | 0
3342425.63 | 85.5657 | -72.9784 | 85.5657 | 0
3378645.779 | 85.0365 | -70.7836 | 85.0365 | 0
3415258.427 | 84.5991 | -68.5974 | 84.5991 | 0
3452267.827 | 84.2467 | -66.4104 | 84.2467 | 0
3489678.279 | 84.0024 | -64.2194 | 84.0024 | 0
3527494.129 | 83.8595 | -62.0312 | 83.8595 | 0
3565719.77 | 83.803 | -59.8602 | 83.803 | 0
3604359.643 | 83.8348 | -57.7097 | 83.8348 | 0
3643418.236 | 83.9799 | -55.5777 | 83.9799 | 0
3682900.087 | 84.2027 | -53.4658 | 84.2027 | 0
3722809.783 | 84.5362 | -51.3685 | 84.5362 | 0
3763151.959 | 84.9433 | -49.3333 | 84.9433 | 0
3803931.303 | 85.4567 | -47.3143 | 85.4567 | 0
3845152.552 | 86.0553 | -45.3321 | 86.0553 | 0
3886820.494 | 86.7497 | -43.3976 | 86.7497 | 0
3928939.97 | 87.5224 | -41.5044 | 87.5224 | 0
3971515.874 | 88.4115 | -39.6613 | 88.4115 | 0
4014553.15 | 89.3786 | -37.8768 | 89.3786 | 0
4058056.8 | 90.4343 | -36.1556 | 90.4343 | 0
4102031.876 | 91.595 | -34.5151 | 91.595 | 0
4146483.487 | 92.8303 | -32.9528 | 92.8303 | 0
4191416.798 | 94.1602 | -31.4586 | 94.1602 | 0
4236837.027 | 95.5726 | -30.0791 | 95.5726 | 0
4282749.453 | 97.0624 | -28.7862 | 97.0624 | 0
4329159.408 | 98.6303 | -27.6266 | 98.6303 | 0
4376072.284 | 100.2561 | -26.5866 | 100.2561 | 0
4423493.53 | 101.9516 | -25.6625 | 101.9516 | 0
4471428.656 | 103.6872 | -24.889 | 103.6872 | 0
4519883.231 | 105.4655 | -24.2764 | 105.4655 | 0
4568862.882 | 107.2577 | -23.7933 | 107.2577 | 0
4618373.301 | 109.0553 | -23.4744 | 109.0553 | 0
4668420.24 | 110.844 | -23.3223 | 110.844 | 0
4719009.511 | 112.6067 | -23.3232 | 112.6067 | 0
4770146.991 | 114.3193 | -23.5106 | 114.3193 | 0
4821838.623 | 115.9697 | -23.8487 | 115.9697 | 0
4874090.41 | 117.5097 | -24.3256 | 117.5097 | 0
4926908.423 | 118.9341 | -24.9173 | 118.9341 | 0
4980298.798 | 120.2574 | -25.6305 | 120.2574 | 0
5034267.736 | 121.3658 | -26.4302 | 121.3658 | 0
5088821.509 | 122.3872 | -27.2991 | 122.3872 | 0
5143966.452 | 123.2715 | -28.2091 | 123.2715 | 0
5199708.973 | 124.0062 | -29.1386 | 124.0062 | 0
5256055.547 | 124.6022 | -30.0462 | 124.6022 | 0
5313012.72 | 125.0729 | -30.9542 | 125.0729 | 0
5370587.108 | 125.4234 | -31.8079 | 125.4234 | 0
5428785.401 | 125.6679 | -32.6171 | 125.6679 | 0
5487614.358 | 125.8282 | -33.3507 | 125.8282 | 0
5547080.815 | 125.9206 | -33.9986 | 125.9206 | 0
5607191.679 | 125.948 | -34.5756 | 125.948 | 0
5667953.934 | 125.9523 | -35.0416 | 125.9523 | 0
5729374.638 | 125.9634 | -35.4138 | 125.9634 | 0
5791460.926 | 125.959 | -35.7163 | 125.959 | 0
5854220.012 | 126.0044 | -35.9306 | 126.0044 | 0
5917659.186 | 126.0995 | -36.0804 | 126.0995 | 0
5981785.817 | 126.2403 | -36.1598 | 126.2403 | 0
6046607.356 | 126.4706 | -36.1957 | 126.4706 | 0
6112131.333 | 126.7987 | -36.2195 | 126.7987 | 0
6178365.359 | 127.2183 | -36.2345 | 127.2183 | 0
6245317.129 | 127.7345 | -36.2799 | 127.7345 | 0
6312994.421 | 128.3586 | -36.3642 | 128.3586 | 0
6381405.098 | 129.0666 | -36.5133 | 129.0666 | 0
6450557.105 | 129.8615 | -36.7462 | 129.8615 | 0
6520458.478 | 130.7173 | -37.0947 | 130.7173 | 0
6591117.335 | 131.6555 | -37.5334 | 131.6555 | 0
6662541.887 | 132.6066 | -38.1147 | 132.6066 | 0
6734740.429 | 133.5904 | -38.8702 | 133.5904 | 0
6807721.35 | 134.5702 | -39.7411 | 134.5702 | 0
6881493.128 | 135.5322 | -40.8057 | 135.5322 | 0
6956064.332 | 136.4223 | -42.0294 | 136.4223 | 0
7031443.627 | 137.2296 | -43.3661 | 137.2296 | 0
7107639.768 | 137.9215 | -44.8919 | 137.9215 | 0
7184661.607 | 138.4969 | -46.5317 | 138.4969 | 0
7262518.093 | 138.8858 | -48.295 | 138.8858 | 0
7341218.269 | 139.1013 | -50.1264 | 139.1013 | 0
7420771.279 | 139.1211 | -51.9957 | 139.1211 | 0
7501186.364 | 138.9456 | -53.8783 | 138.9456 | 0
7582472.866 | 138.5508 | -55.7618 | 138.5508 | 0
7664640.227 | 137.9915 | -57.577 | 137.9915 | 0
7747697.994 | 137.2057 | -59.3035 | 137.2057 | 0
7831655.816 | 136.2338 | -60.8693 | 136.2338 | 0
7916523.445 | 135.2184 | -62.2024 | 135.2184 | 0
8002310.742 | 134.2013 | -63.3885 | 134.2013 | 0
8089027.671 | 133.1622 | -64.496 | 133.1622 | 0
8176684.307 | 132.075 | -65.4522 | 132.075 | 0
8265290.832 | 131.0466 | -66.2745 | 131.0466 | 0
8354857.541 | 130.0806 | -67.0189 | 130.0806 | 0
8445394.839 | 129.1816 | -67.6326 | 129.1816 | 0
8536913.243 | 128.3604 | -68.1933 | 128.3604 | 0
8629423.384 | 127.6405 | -68.716 | 127.6405 | 0
8722936.011 | 127.0283 | -69.2178 | 127.0283 | 0
8817461.986 | 126.5148 | -69.7306 | 126.5148 | 0
8913012.29 | 126.1279 | -70.2877 | 126.1279 | 0
9009598.024 | 125.8107 | -70.9408 | 125.8107 | 0
9107230.407 | 125.6187 | -71.6827 | 125.6187 | 0
9205920.783 | 125.4271 | -72.5252 | 125.4271 | 0
9305680.615 | 125.3051 | -73.5317 | 125.3051 | 0
9406521.494 | 125.1694 | -74.6889 | 125.1694 | 0
9508455.133 | 124.9959 | -76.0034 | 124.9959 | 0
9611493.375 | 124.7747 | -77.4794 | 124.7747 | 0
9715648.189 | 124.4475 | -79.1368 | 124.4475 | 0
9820931.676 | 123.9993 | -80.9345 | 123.9993 | 0
9927356.065 | 123.3622 | -82.8464 | 123.3622 | 0
10034933.721 | 122.5469 | -84.8691 | 122.5469 | 0
10143677.141 | 121.52 | -86.9649 | 121.52 | 0
10253598.957 | 120.2335 | -89.1141 | 120.2335 | 0
10364711.94 | 118.7381 | -91.2578 | 118.7381 | 0
10477028.997 | 117.0116 | -93.3866 | 117.0116 | 0
10590563.176 | 115.027 | -95.4414 | 115.027 | 0
10705327.666 | 112.818 | -97.3898 | 112.818 | 0
10821335.801 | 110.384 | -99.217 | 110.384 | 0
10938601.056 | 107.7674 | -100.885 | 107.7674 | 0
11057137.054 | 104.9877 | -102.3407 | 104.9877 | 0
11176957.566 | 102.0763 | -103.6265 | 102.0763 | 0
11298076.511 | 99.0436 | -104.6642 | 99.0436 | 0
11420507.96 | 95.9364 | -105.4905 | 95.9364 | 0
11544266.136 | 92.7913 | -106.1037 | 92.7913 | 0
11669365.415 | 89.6278 | -106.4677 | 89.6278 | 0
11795820.331 | 86.5083 | -106.6261 | 86.5083 | 0
11923645.574 | 83.4326 | -106.6104 | 83.4326 | 0
12052855.993 | 80.4263 | -106.4519 | 80.4263 | 0
12183466.6 | 77.4554 | -106.1421 | 77.4554 | 0
12315492.566 | 74.5483 | -105.6968 | 74.5483 | 0
12448949.23 | 71.6899 | -105.1283 | 71.6899 | 0
12583852.095 | 68.9003 | -104.4515 | 68.9003 | 0
12720216.834 | 66.1853 | -103.6886 | 66.1853 | 0
12858059.286 | 63.531 | -102.8193 | 63.531 | 0
12997395.467 | 60.9243 | -101.8696 | 60.9243 | 0
13138241.562 | 58.3869 | -100.8336 | 58.3869 | 0
13280613.934 | 55.9046 | -99.7133 | 55.9046 | 0
13424529.122 | 53.4828 | -98.5062 | 53.4828 | 0
13570003.846 | 51.1179 | -97.2345 | 51.1179 | 0
13717055.004 | 48.8227 | -95.8757 | 48.8227 | 0
13865699.679 | 46.5845 | -94.4314 | 46.5845 | 0
14015955.141 | 44.4285 | -92.9319 | 44.4285 | 0
14167838.844 | 42.3403 | -91.3354 | 42.3403 | 0
14321368.433 | 40.3485 | -89.6858 | 40.3485 | 0
14476561.742 | 38.4318 | -87.9645 | 38.4318 | 0
14633436.802 | 36.6111 | -86.1861 | 36.6111 | 0
14792011.837 | 34.8924 | -84.3497 | 34.8924 | 0
14952305.267 | 33.2746 | -82.4667 | 33.2746 | 0
15114335.715 | 31.7934 | -80.5591 | 31.7934 | 0
15278122.004 | 30.3993 | -78.6517 | 30.3993 | 0
15443683.161 | 29.1094 | -76.7231 | 29.1094 | 0
15611038.419 | 27.9253 | -74.8033 | 27.9253 | 0
15780207.219 | 26.8476 | -72.9006 | 26.8476 | 0
15951209.215 | 25.859 | -71.0276 | 25.859 | 0
16124064.272 | 24.9719 | -69.1941 | 24.9719 | 0
16298792.471 | 24.1248 | -67.4681 | 24.1248 | 0
16475414.109 | 23.2374 | -65.7759 | 23.2374 | 0
16653949.704 | 22.3576 | -64.0627 | 22.3576 | 0
16834419.999 | 21.5141 | -62.2904 | 21.5141 | 0
17016845.957 | 20.7733 | -60.5021 | 20.7733 | 0
17201248.771 | 20.091 | -58.749 | 20.091 | 0
17387649.865 | 19.443 | -56.9966 | 19.443 | 0
17576070.891 | 18.8662 | -55.253 | 18.8662 | 0
17766533.738 | 18.3408 | -53.5381 | 18.3408 | 0
17959060.534 | 17.859 | -51.8201 | 17.859 | 0
18153673.644 | 17.4815 | -50.1075 | 17.4815 | 0
18350395.676 | 17.1764 | -48.4325 | 17.1764 | 0
18549249.483 | 16.9805 | -46.7939 | 16.9805 | 0
18750258.167 | 16.9025 | -45.2908 | 16.9025 | 0
18953445.079 | 16.8595 | -44.1328 | 16.8595 | 0
19158833.823 | 16.4907 | -43.2317 | 16.4907 | 0
19366448.26 | 15.7507 | -42.155 | 15.7507 | 0
19576312.507 | 14.9495 | -40.7384 | 14.9495 | 0
19788450.945 | 14.2829 | -39.1063 | 14.2829 | 0
20002888.218 | 13.7745 | -37.3997 | 13.7745 | 0
20219649.238 | 13.3718 | -35.7103 | 13.3718 | 0
20438759.186 | 13.0384 | -34.0374 | 13.0384 | 0
20660243.516 | 12.7623 | -32.3643 | 12.7623 | 0
20884127.957 | 12.5755 | -30.6729 | 12.5755 | 0
21110438.52 | 12.4904 | -28.9938 | 12.4904 | 0
21339201.493 | 12.5084 | -27.3673 | 12.5084 | 0
21570443.453 | 12.5859 | -25.8261 | 12.5859 | 0
21804191.264 | 12.688 | -24.3857 | 12.688 | 0
22040472.079 | 12.7496 | -23.0483 | 12.7496 | 0
22279313.348 | 12.739 | -21.7166 | 12.739 | 0
22520742.818 | 12.735 | -20.3462 | 12.735 | 0
22764788.534 | 12.762 | -18.9914 | 12.762 | 0
23011478.848 | 12.7847 | -17.6474 | 12.7847 | 0
23260842.419 | 12.8104 | -16.3023 | 12.8104 | 0
23512908.214 | 12.8507 | -14.9431 | 12.8507 | 0
23767705.517 | 12.9286 | -13.5708 | 12.9286 | 0
24025263.927 | 13.0492 | -12.2094 | 13.0492 | 0
24285613.366 | 13.2137 | -10.8824 | 13.2137 | 0
24548784.077 | 13.3914 | -9.5901 | 13.3914 | 0
24814806.635 | 13.5758 | -8.3236 | 13.5758 | 0
25083711.942 | 13.7723 | -7.0736 | 13.7723 | 0
25355531.237 | 13.9959 | -5.8519 | 13.9959 | 0
25630296.099 | 14.2141 | -4.6758 | 14.2141 | 0
25908038.446 | 14.4233 | -3.5093 | 14.4233 | 0
26188790.544 | 14.6456 | -2.3648 | 14.6456 | 0
26472585.009 | 14.8593 | -1.2596 | 14.8593 | 0
26759454.808 | 15.0525 | -0.17774 | 15.0525 | 0
27049433.268 | 15.2161 | 0.88784 | 15.2161 | 0
27342554.075 | 15.3472 | 1.9489 | 15.3472 | 0
27638851.282 | 15.4495 | 3.0213 | 15.4495 | 0
27938359.31 | 15.529 | 4.1095 | 15.529 | 0
28241112.952 | 15.5778 | 5.224 | 15.5778 | 0
28547147.38 | 15.6126 | 6.3991 | 15.6126 | 0
28856498.145 | 15.6699 | 7.624 | 15.6699 | 0
29169201.186 | 15.7646 | 8.8887 | 15.7646 | 0
29485292.829 | 15.9121 | 10.1727 | 15.9121 | 0
29804809.795 | 16.1025 | 11.453 | 16.1025 | 0
30127789.202 | 16.3302 | 12.7212 | 16.3302 | 0
30454268.571 | 16.5772 | 13.9681 | 16.5772 | 0
30784285.828 | 16.837 | 15.1951 | 16.837 | 0
31117879.314 | 17.0947 | 16.4083 | 17.0947 | 0
31455087.78 | 17.3428 | 17.6081 | 17.3428 | 0
31795950.401 | 17.5764 | 18.8169 | 17.5764 | 0
32140506.776 | 17.8112 | 20.0415 | 17.8112 | 0
32488796.93 | 18.0458 | 21.2809 | 18.0458 | 0
32840861.326 | 18.2813 | 22.5383 | 18.2813 | 0
33196740.864 | 18.5215 | 23.8239 | 18.5215 | 0
33556476.884 | 18.7856 | 25.1254 | 18.7856 | 0
33920111.179 | 19.0542 | 26.4539 | 19.0542 | 0
34287685.992 | 19.3512 | 27.7966 | 19.3512 | 0
34659244.025 | 19.6546 | 29.1561 | 19.6546 | 0
35034828.441 | 19.9873 | 30.5329 | 19.9873 | 0
35414482.872 | 20.351 | 31.9306 | 20.351 | 0
35798251.423 | 20.7559 | 33.3388 | 20.7559 | 0
36186178.677 | 21.1886 | 34.7147 | 21.1886 | 0
36578309.699 | 21.61 | 36.0558 | 21.61 | 0
36974690.043 | 21.9748 | 37.4122 | 21.9748 | 0
37375365.757 | 22.2944 | 38.85 | 22.2944 | 0
37780383.389 | 22.6577 | 40.3919 | 22.6577 | 0
38189789.988 | 23.1146 | 41.9724 | 23.1146 | 0
38603633.116 | 23.6495 | 43.5504 | 23.6495 | 0
39021960.849 | 24.2016 | 45.0801 | 24.2016 | 0
39444821.785 | 24.7333 | 46.6111 | 24.7333 | 0
39872265.048 | 25.2326 | 48.1862 | 25.2326 | 0
40304340.294 | 25.7158 | 49.849 | 25.7158 | 0
40741097.717 | 26.2583 | 51.6249 | 26.2583 | 0
41182588.056 | 26.9517 | 53.4965 | 26.9517 | 0
41628862.598 | 27.8246 | 55.3298 | 27.8246 | 0
42079973.189 | 28.8013 | 57.0102 | 28.8013 | 0
42535972.233 | 29.6976 | 58.5357 | 29.6976 | 0
42996912.705 | 30.4378 | 60.0174 | 30.4378 | 0
43462848.151 | 31.0094 | 61.5927 | 31.0094 | 0
43933832.701 | 31.4604 | 63.3798 | 31.4604 | 0
44409921.068 | 31.8885 | 65.4256 | 31.8885 | 0
44891168.56 | 32.4799 | 67.7621 | 32.4799 | 0
45377631.084 | 33.2941 | 70.2877 | 33.2941 | 0
45869365.152 | 34.3894 | 72.9036 | 34.3894 | 0
46366427.89 | 35.7109 | 75.4972 | 35.7109 | 0
46868877.041 | 37.1891 | 78.0171 | 37.1891 | 0
47376770.975 | 38.7378 | 80.5324 | 38.7378 | 0
47890168.695 | 40.4084 | 83.1606 | 40.4084 | 0
48409129.842 | 42.3071 | 85.8628 | 42.3071 | 0
48933714.704 | 44.5005 | 88.5253 | 44.5005 | 0
49463984.223 | 47.0097 | 91.1087 | 47.0097 | 0
50000000 | 49.7423 | 93.4665 | 49.7423 | 0
TRACE: B
FORMAT: LINEAR
Frequency | Data Real | Data Imag | Data Trace Real | Data Trace Imag
9000 | 26.4368 | 10.3335 | 10.3335 | 0
9097.528 | 26.4705 | 10.428 | 10.428 | 0
9196.114 | 26.4933 | 10.5368 | 10.5368 | 0
9295.767 | 26.5081 | 10.638 | 10.638 | 0
9396.501 | 26.5349 | 10.7446 | 10.7446 | 0
9498.326 | 26.5486 | 10.86 | 10.86 | 0
9601.254 | 26.5738 | 10.9532 | 10.9532 | 0
9705.298 | 26.6002 | 11.0724 | 11.0724 | 0
9810.469 | 26.6218 | 11.1772 | 11.1772 | 0
9916.78 | 26.6386 | 11.275 | 11.275 | 0
10024.243 | 26.6608 | 11.3954 | 11.3954 | 0
10132.871 | 26.6808 | 11.5178 | 11.5178 | 0
10242.676 | 26.7125 | 11.6261 | 11.6261 | 0
10353.67 | 26.7345 | 11.7463 | 11.7463 | 0
10465.868 | 26.751 | 11.8684 | 11.8684 | 0
10579.281 | 26.7789 | 11.987 | 11.987 | 0
10693.923 | 26.8103 | 12.0935 | 12.0935 | 0
10809.808 | 26.8342 | 12.2163 | 12.2163 | 0
10926.948 | 26.853 | 12.346 | 12.346 | 0
11045.358 | 26.883 | 12.4585 | 12.4585 | 0
11165.051 | 26.9046 | 12.5829 | 12.5829 | 0
11286.041 | 26.9306 | 12.7101 | 12.7101 | 0
11408.342 | 26.9624 | 12.831 | 12.831 | 0
11531.968 | 26.9984 | 12.9636 | 12.9636 | 0
11656.934 | 27.0218 | 13.0904 | 13.0904 | 0
11783.254 | 27.0548 | 13.231 | 13.231 | 0
11910.943 | 27.0771 | 13.3491 | 13.3491 | 0
12040.016 | 27.1093 | 13.4901 | 13.4901 | 0
12170.487 | 27.1299 | 13.6226 | 13.6226 | 0
12302.373 | 27.1613 | 13.7519 | 13.7519 | 0
12435.687 | 27.1955 | 13.892 | 13.892 | 0
12570.446 | 27.2232 | 14.0368 | 14.0368 | 0
12706.666 | 27.259 | 14.1641 | 14.1641 | 0
12844.361 | 27.2897 | 14.3009 | 14.3009 | 0
12983.549 | 27.326 | 14.4418 | 14.4418 | 0
13124.245 | 27.3505 | 14.5841 | 14.5841 | 0
13266.466 | 27.3885 | 14.7331 | 14.7331 | 0
13410.228 | 27.4235 | 14.8703 | 14.8703 | 0
13555.548 | 27.4622 | 15.0135 | 15.0135 | 0
13702.442 | 27.4898 | 15.1765 | 15.1765 | 0
13850.928 | 27.5183 | 15.3163 | 15.3163 | 0
14001.024 | 27.5475 | 15.4797 | 15.4797 | 0
14152.746 | 27.5948 | 15.6114 | 15.6114 | 0
14306.112 | 27.6343 | 15.7805 | 15.7805 | 0
14461.14 | 27.6617 | 15.929 | 15.929 | 0
14617.848 | 27.7019 | 16.0824 | 16.0824 | 0
14776.254 | 27.7464 | 16.2361 | 16.2361 | 0
14936.376 | 27.7798 | 16.397 | 16.397 | 0
15098.234 | 27.8152 | 16.5565 | 16.5565 | 0
15261.846 | 27.8607 | 16.73 | 16.73 | 0
15427.231 | 27.9036 | 16.8855 | 16.8855 | 0
15594.408 | 27.9465 | 17.0539 | 17.0539 | 0
15763.396 | 27.9856 | 17.2194 | 17.2194 | 0
15934.216 | 28.0245 | 17.3871 | 17.3871 | 0
16106.887 | 28.0738 | 17.5516 | 17.5516 | 0
16281.429 | 28.1068 | 17.741 | 17.741 | 0
16457.863 | 28.1607 | 17.8936 | 17.8936 | 0
16636.208 | 28.2024 | 18.0812 | 18.0812 | 0
16816.486 | 28.2504 | 18.2545 | 18.2545 | 0
16998.718 | 28.2982 | 18.4283 | 18.4283 | 0
17182.924 | 28.3463 | 18.6058 | 18.6058 | 0
17369.127 | 28.3882 | 18.7912 | 18.7912 | 0
17557.347 | 28.4362 | 18.9676 | 18.9676 | 0
17747.607 | 28.4858 | 19.1605 | 19.1605 | 0
17939.929 | 28.5341 | 19.3463 | 19.3463 | 0
18134.334 | 28.5879 | 19.5339 | 19.5339 | 0
18330.847 | 28.6369 | 19.7195 | 19.7195 | 0
18529.489 | 28.6898 | 19.9018 | 19.9018 | 0
18730.283 | 28.7433 | 20.0966 | 20.0966 | 0
18933.254 | 28.7907 | 20.2907 | 20.2907 | 0
19138.424 | 28.8525 | 20.4837 | 20.4837 | 0
19345.817 | 28.9077 | 20.6795 | 20.6795 | 0
19555.458 | 28.9535 | 20.8885 | 20.8885 | 0
19767.37 | 29.013 | 21.0826 | 21.0826 | 0
19981.579 | 29.0713 | 21.2947 | 21.2947 | 0
20198.109 | 29.13 | 21.5005 | 21.5005 | 0
20416.986 | 29.1903 | 21.7021 | 21.7021 | 0
20638.234 | 29.2522 | 21.9153 | 21.9153 | 0
20861.88 | 29.3175 | 22.113 | 22.113 | 0
21087.949 | 29.3706 | 22.333 | 22.333 | 0
21316.469 | 29.4355 | 22.5453 | 22.5453 | 0
21547.464 | 29.4933 | 22.763 | 22.763 | 0
21780.963 | 29.5588 | 22.982 | 22.982 | 0
22016.992 | 29.6369 | 23.1941 | 23.1941 | 0
22255.579 | 29.6944 | 23.4257 | 23.4257 | 0
22496.751 | 29.7676 | 23.6404 | 23.6404 | 0
22740.537 | 29.8389 | 23.8601 | 23.8601 | 0
22986.964 | 29.9003 | 24.0997 | 24.0997 | 0
23236.062 | 29.9772 | 24.3244 | 24.3244 | 0
23487.86 | 30.044 | 24.5515 | 24.5515 | 0
23742.386 | 30.1155 | 24.7785 | 24.7785 | 0
23999.67 | 30.1928 | 25.0238 | 25.0238 | 0
24259.742 | 30.2641 | 25.256 | 25.256 | 0
24522.632 | 30.3348 | 25.4926 | 25.4926 | 0
24788.371 | 30.4197 | 25.7273 | 25.7273 | 0
25056.99 | 30.5006 | 25.9733 | 25.9733 | 0
25328.52 | 30.5713 | 26.2163 | 26.2163 | 0
25602.992 | 30.6461 | 26.4719 | 26.4719 | 0
25880.438 | 30.738 | 26.7219 | 26.7219 | 0
26160.891 | 30.8142 | 26.9697 | 26.9697 | 0
26444.383 | 30.9031 | 27.2266 | 27.2266 | 0
26730.948 | 30.9807 | 27.482 | 27.482 | 0
27020.617 | 31.0683 | 27.738 | 27.738 | 0
27313.426 | 31.1536 | 28.0031 | 28.0031 | 0
27609.407 | 31.242 | 28.258 | 28.258 | 0
27908.596 | 31.3312 | 28.5289 | 28.5289 | 0
28211.027 | 31.4117 | 28.7986 | 28.7986 | 0
28516.736 | 31.5173 | 29.0557 | 29.0557 | 0
28825.757 | 31.6041 | 29.3266 | 29.3266 | 0
29138.127 | 31.7124 | 29.5989 | 29.5989 | 0
29453.882 | 31.7944 | 29.8779 | 29.8779 | 0
29773.058 | 31.885 | 30.1568 | 30.1568 | 0
30095.694 | 31.9941 | 30.4253 | 30.4253 | 0
30421.825 | 32.0855 | 30.7131 | 30.7131 | 0
30751.491 | 32.1915 | 30.9963 | 30.9963 | 0
31084.729 | 32.2943 | 31.2796 | 31.2796 | 0
31421.578 | 32.3896 | 31.5775 | 31.5775 | 0
31762.078 | 32.496 | 31.8698 | 31.8698 | 0
32106.267 | 32.6026 | 32.1606 | 32.1606 | 0
32454.186 | 32.7239 | 32.4531 | 32.4531 | 0
32805.876 | 32.817 | 32.746 | 32.746 | 0
33161.376 | 32.9323 | 33.0465 | 33.0465 | 0
33520.729 | 33.0368 | 33.3636 | 33.3636 | 0
33883.976 | 33.1575 | 33.6637 | 33.6637 | 0
34251.159 | 33.2626 | 33.9702 | 33.9702 | 0
34622.321 | 33.3865 | 34.2796 | 34.2796 | 0
34997.505 | 33.5125 | 34.5886 | 34.5886 | 0
35376.755 | 33.6268 | 34.9002 | 34.9002 | 0
35760.115 | 33.743 | 35.2169 | 35.2169 | 0
36147.629 | 33.8683 | 35.5366 | 35.5366 | 0
36539.342 | 33.9969 | 35.8624 | 35.8624 | 0
36935.301 | 34.1131 | 36.1966 | 36.1966 | 0
37335.549 | 34.2385 | 36.5188 | 36.5188 | 0
37740.136 | 34.3658 | 36.8428 | 36.8428 | 0
38149.106 | 34.5059 | 37.1788 | 37.1788 | 0
38562.508 | 34.6446 | 37.5073 | 37.5073 | 0
38980.39 | 34.7647 | 37.8441 | 37.8441 | 0
39402.801 | 34.8987 | 38.1953 | 38.1953 | 0
39829.789 | 35.0237 | 38.54 | 38.54 | 0
40261.404 | 35.1848 | 38.8834 | 38.8834 | 0
40697.696 | 35.3223 | 39.2298 | 39.2298 | 0
41138.716 | 35.4645 | 39.5764 | 39.5764 | 0
41584.515 | 35.6136 | 39.9246 | 39.9246 | 0
42035.145 | 35.752 | 40.2823 | 40.2823 | 0
42490.658 | 35.8986 | 40.6436 | 40.6436 | 0
42951.108 | 36.0519 | 41.0105 | 41.0105 | 0
43416.547 | 36.2015 | 41.372 | 41.372 | 0
43887.03 | 36.3518 | 41.7414 | 41.7414 | 0
44362.611 | 36.525 | 42.102 | 42.102 | 0
44843.346 | 36.6694 | 42.4771 | 42.4771 | 0
45329.29 | 36.8344 | 42.8456 | 42.8456 | 0
45820.5 | 36.9909 | 43.2333 | 43.2333 | 0
46317.033 | 37.1525 | 43.6108 | 43.6108 | 0
46818.947 | 37.3175 | 43.9877 | 43.9877 | 0
47326.3 | 37.4921 | 44.3686 | 44.3686 | 0
47839.151 | 37.6591 | 44.7505 | 44.7505 | 0
48357.559 | 37.8262 | 45.145 | 45.145 | 0
48881.585 | 38 | 45.5286 | 45.5286 | 0
49411.29 | 38.147 | 45.9507 | 45.9507 | 0
49946.734 | 38.3391 | 46.3257 | 46.3257 | 0
50487.982 | 38.5069 | 46.7331 | 46.7331 | 0
51035.094 | 38.6762 | 47.1546 | 47.1546 | 0
51588.135 | 38.8567 | 47.5637 | 47.5637 | 0
52147.169 | 39.0553 | 47.986 | 47.986 | 0
52712.261 | 39.2412 | 48.3945 | 48.3945 | 0
53283.477 | 39.4046 | 48.8298 | 48.8298 | 0
53860.882 | 39.614 | 49.25 | 49.25 | 0
54444.545 | 39.7982 | 49.6769 | 49.6769 | 0
55034.533 | 39.9813 | 50.1089 | 50.1089 | 0
55630.914 | 40.1987 | 50.5408 | 50.5408 | 0
56233.757 | 40.4064 | 50.9722 | 50.9722 | 0
56843.134 | 40.597 | 51.4066 | 51.4066 | 0
57459.113 | 40.8152 | 51.8506 | 51.8506 | 0
58081.768 | 41.015 | 52.2966 | 52.2966 | 0
58711.171 | 41.2186 | 52.7609 | 52.7609 | 0
59347.393 | 41.4285 | 53.203 | 53.203 | 0
59990.511 | 41.6417 | 53.6702 | 53.6702 | 0
60640.597 | 41.8438 | 54.1362 | 54.1362 | 0
61297.728 | 42.0728 | 54.5875 | 54.5875 | 0
61961.98 | 42.2899 | 55.0573 | 55.0573 | 0
62633.43 | 42.5058 | 55.5217 | 55.5217 | 0
63312.156 | 42.7334 | 56.0124 | 56.0124 | 0
63998.238 | 42.9598 | 56.4801 | 56.4801 | 0
64691.754 | 43.1965 | 56.9625 | 56.9625 | 0
65392.785 | 43.4339 | 57.4508 | 57.4508 | 0
66101.413 | 43.6785 | 57.931 | 57.931 | 0
66817.72 | 43.9056 | 58.4231 | 58.4231 | 0
67541.789 | 44.14 | 58.9314 | 58.9314 | 0
68273.705 | 44.3917 | 59.4144 | 59.4144 | 0
69013.552 | 44.6218 | 59.935 | 59.935 | 0
69761.416 | 44.8712 | 60.4356 | 60.4356 | 0
70517.385 | 45.1275 | 60.9487 | 60.9487 | 0
71281.546 | 45.3713 | 61.4535 | 61.4535 | 0
72053.987 | 45.6432 | 61.99 | 61.99 | 0
72834.799 | 45.8988 | 62.5065 | 62.5065 | 0
73624.072 | 46.1552 | 63.0341 | 63.0341 | 0
74421.899 | 46.4171 | 63.5607 | 63.5607 | 0
75228.371 | 46.6907 | 64.109 | 64.109 | 0
76043.582 | 46.9759 | 64.6347 | 64.6347 | 0
76867.627 | 47.2379 | 65.1818 | 65.1818 | 0
77700.602 | 47.5112 | 65.7285 | 65.7285 | 0
78542.603 | 47.7908 | 66.2875 | 66.2875 | 0
79393.729 | 48.0717 | 66.8569 | 66.8569 | 0
80254.078 | 48.3682 | 67.4143 | 67.4143 | 0
81123.75 | 48.6619 | 67.9701 | 67.9701 | 0
82002.847 | 48.9416 | 68.5459 | 68.5459 | 0
82891.47 | 49.2435 | 69.1217 | 69.1217 | 0
83789.722 | 49.5438 | 69.7055 | 69.7055 | 0
84697.708 | 49.8491 | 70.294 | 70.294 | 0
85615.534 | 50.1482 | 70.8821 | 70.8821 | 0
86543.305 | 50.45 | 71.4921 | 71.4921 | 0
87481.13 | 50.7621 | 72.0722 | 72.0722 | 0
88429.118 | 51.1002 | 72.6811 | 72.6811 | 0
89387.379 | 51.4081 | 73.291 | 73.291 | 0
90356.024 | 51.7246 | 73.9221 | 73.9221 | 0
91335.166 | 52.068 | 74.5157 | 74.5157 | 0
92324.919 | 52.3926 | 75.1488 | 75.1488 | 0
93325.396 | 52.7297 | 75.7769 | 75.7769 | 0
94336.716 | 53.088 | 76.4086 | 76.4086 | 0
95358.994 | 53.422 | 77.0536 | 77.0536 | 0
96392.35 | 53.7472 | 77.7217 | 77.7217 | 0
97436.905 | 54.1076 | 78.3711 | 78.3711 | 0
98492.779 | 54.4582 | 79.027 | 79.027 | 0
99560.094 | 54.8232 | 79.6927 | 79.6927 | 0
100638.976 | 55.1877 | 80.3497 | 80.3497 | 0
101729.549 | 55.5682 | 81.0282 | 81.0282 | 0
102831.939 | 55.9354 | 81.7105 | 81.7105 | 0
103946.276 | 56.3052 | 82.3942 | 82.3942 | 0
105072.689 | 56.6948 | 83.085 | 83.085 | 0
106211.307 | 57.0694 | 83.7818 | 83.7818 | 0
107362.265 | 57.4727 | 84.4917 | 84.4917 | 0
108525.694 | 57.878 | 85.1901 | 85.1901 | 0
109701.732 | 58.2862 | 85.9093 | 85.9093 | 0
110890.513 | 58.6685 | 86.6339 | 86.6339 | 0
112092.176 | 59.065 | 87.3625 | 87.3625 | 0
113306.862 | 59.498 | 88.0825 | 88.0825 | 0
114534.71 | 59.9159 | 88.8405 | 88.8405 | 0
115775.864 | 60.3328 | 89.5862 | 89.5862 | 0
117030.467 | 60.7751 | 90.3377 | 90.3377 | 0
118298.666 | 61.205 | 91.0939 | 91.0939 | 0
119580.608 | 61.6747 | 91.866 | 91.866 | 0
120876.442 | 62.0914 | 92.6467 | 92.6467 | 0
122186.318 | 62.5755 | 93.4176 | 93.4176 | 0
123510.388 | 63.0127 | 94.224 | 94.224 | 0
124848.807 | 63.4937 | 95.0035 | 95.0035 | 0
126201.729 | 63.9655 | 95.7963 | 95.7963 | 0
127569.312 | 64.4456 | 96.6257 | 96.6257 | 0
128951.715 | 64.9544 | 97.4215 | 97.4215 | 0
130349.099 | 65.4299 | 98.2579 | 98.2579 | 0
131761.625 | 65.9234 | 99.0879 | 99.0879 | 0
133189.458 | 66.4539 | 99.9241 | 99.9241 | 0
134632.764 | 66.9679 | 100.7856 | 100.7856 | 0
136091.71 | 67.4955 | 101.6303 | 101.6303 | 0
137566.466 | 68.0066 | 102.4897 | 102.4897 | 0
139057.203 | 68.56 | 103.3634 | 103.3634 | 0
140564.094 | 69.0829 | 104.2409 | 104.2409 | 0
142087.315 | 69.628 | 105.1325 | 105.1325 | 0
143627.042 | 70.197 | 105.996 | 105.996 | 0
145183.455 | 70.7873 | 106.9181 | 106.9181 | 0
146756.733 | 71.3592 | 107.8087 | 107.8087 | 0
148347.061 | 71.9318 | 108.752 | 108.752 | 0
149954.621 | 72.501 | 109.679 | 109.679 | 0
151579.603 | 73.1059 | 110.6086 | 110.6086 | 0
153222.193 | 73.7546 | 111.5538 | 111.5538 | 0
154882.583 | 74.371 | 112.5067 | 112.5067 | 0
156560.966 | 74.9572 | 113.4753 | 113.4753 | 0
158257.537 | 75.6087 | 114.4624 | 114.4624 | 0
159972.492 | 76.2941 | 115.4335 | 115.4335 | 0
161706.032 | 76.9424 | 116.4246 | 116.4246 | 0
163458.357 | 77.5999 | 117.4107 | 117.4107 | 0
165229.671 | 78.2772 | 118.4386 | 118.4386 | 0
167020.18 | 78.9743 | 119.4527 | 119.4527 | 0
168830.092 | 79.7016 | 120.4638 | 120.4638 | 0
170659.617 | 80.4106 | 121.4993 | 121.4993 | 0
172508.968 | 81.1459 | 122.5482 | 122.5482 | 0
174378.359 | 81.87 | 123.6122 | 123.6122 | 0
176268.007 | 82.5988 | 124.7018 | 124.7018 | 0
178178.133 | 83.367 | 125.7731 | 125.7731 | 0
180108.958 | 84.1336 | 126.8603 | 126.8603 | 0
182060.706 | 84.9619 | 127.9737 | 127.9737 | 0
184033.605 | 85.764 | 129.0708 | 129.0708 | 0
186027.882 | 86.5743 | 130.1603 | 130.1603 | 0
188043.771 | 87.3702 | 131.3174 | 131.3174 | 0
190081.504 | 88.2332 | 132.4404 | 132.4404 | 0
192141.32 | 89.0806 | 133.6111 | 133.6111 | 0
194223.457 | 89.9654 | 134.7827 | 134.7827 | 0
196328.157 | 90.8533 | 135.9572 | 135.9572 | 0
198455.664 | 91.7174 | 137.1429 | 137.1429 | 0
200606.226 | 92.6853 | 138.303 | 138.303 | 0
202780.093 | 93.6094 | 139.525 | 139.525 | 0
204977.516 | 94.5685 | 140.7416 | 140.7416 | 0
207198.752 | 95.5203 | 142.012 | 142.012 | 0
209444.059 | 96.5142 | 143.2463 | 143.2463 | 0
211713.696 | 97.5252 | 144.4619 | 144.4619 | 0
214007.929 | 98.5199 | 145.742 | 145.742 | 0
216327.023 | 99.6077 | 147.0394 | 147.0394 | 0
218671.247 | 100.6779 | 148.325 | 148.325 | 0
221040.875 | 101.7601 | 149.6138 | 149.6138 | 0
223436.182 | 102.8431 | 150.969 | 150.969 | 0
225857.445 | 103.9676 | 152.305 | 152.305 | 0
228304.946 | 105.1341 | 153.6384 | 153.6384 | 0
230778.969 | 106.2941 | 155.0063 | 155.0063 | 0
233279.802 | 107.5086 | 156.3901 | 156.3901 | 0
235807.736 | 108.6692 | 157.7715 | 157.7715 | 0
238363.063 | 109.951 | 159.1881 | 159.1881 | 0
240946.081 | 111.1835 | 160.5776 | 160.5776 | 0
243557.09 | 112.5061 | 162.0291 | 162.0291 | 0
246196.393 | 113.8612 | 163.4467 | 163.4467 | 0
248864.297 | 115.2133 | 164.9103 | 164.9103 | 0
251561.111 | 116.5547 | 166.3886 | 166.3886 | 0
254287.15 | 117.9863 | 167.8583 | 167.8583 | 0
257042.729 | 119.4295 | 169.3773 | 169.3773 | 0
259828.169 | 120.8314 | 170.9066 | 170.9066 | 0
262643.793 | 122.4053 | 172.4199 | 172.4199 | 0
265489.929 | 123.9259 | 173.9669 | 173.9669 | 0
268366.907 | 125.4735 | 175.5284 | 175.5284 | 0
271275.061 | 127.0981 | 177.0924 | 177.0924 | 0
274214.729 | 128.7456 | 178.7111 | 178.7111 | 0
277186.254 | 130.4018 | 180.2881 | 180.2881 | 0
280189.979 | 132.095 | 181.9218 | 181.9218 | 0
283226.253 | 133.9005 | 183.5452 | 183.5452 | 0
286295.431 | 135.6124 | 185.2344 | 185.2344 | 0
289397.867 | 137.5456 | 186.8636 | 186.8636 | 0
292533.923 | 139.341 | 188.5919 | 188.5919 | 0
295703.963 | 141.2877 | 190.2644 | 190.2644 | 0
298908.355 | 143.2399 | 192.0254 | 192.0254 | 0
302147.471 | 145.2848 | 193.7373 | 193.7373 | 0
305421.688 | 147.3388 | 195.4968 | 195.4968 | 0
308731.386 | 149.518 | 197.1818 | 197.1818 | 0
312076.949 | 151.681 | 199.0015 | 199.0015 | 0
315458.767 | 153.8942 | 200.7934 | 200.7934 | 0
318877.231 | 156.2279 | 202.6107 | 202.6107 | 0
322332.74 | 158.5661 | 204.4424 | 204.4424 | 0
325825.694 | 160.9566 | 206.2597 | 206.2597 | 0
329356.5 | 163.3805 | 208.1258 | 208.1258 | 0
332925.567 | 165.9566 | 209.9401 | 209.9401 | 0
336533.31 | 168.5966 | 211.8437 | 211.8437 | 0
340180.149 | 171.2676 | 213.7674 | 213.7674 | 0
343866.506 | 174.0288 | 215.6813 | 215.6813 | 0
347592.811 | 176.8452 | 217.6117 | 217.6117 | 0
351359.495 | 179.7268 | 219.468 | 219.468 | 0
355166.998 | 182.762 | 221.4416 | 221.4416 | 0
359015.76 | 185.8367 | 223.3221 | 223.3221 | 0
362906.229 | 189.0009 | 225.3298 | 225.3298 | 0
366838.858 | 192.251 | 227.2612 | 227.2612 | 0
370814.102 | 195.5901 | 229.2172 | 229.2172 | 0
374832.424 | 199.1432 | 231.1716 | 231.1716 | 0
378894.29 | 202.6211 | 233.2289 | 233.2289 | 0
383000.173 | 206.2819 | 235.1471 | 235.1471 | 0
387150.549 | 210.0892 | 237.0632 | 237.0632 | 0
391345.9 | 213.9825 | 239.1223 | 239.1223 | 0
395586.715 | 218.0317 | 240.9775 | 240.9775 | 0
399873.485 | 222.1379 | 242.9283 | 242.9283 | 0
404206.708 | 226.398 | 244.9433 | 244.9433 | 0
408586.888 | 230.8783 | 246.8094 | 246.8094 | 0
413014.535 | 235.3341 | 248.6785 | 248.6785 | 0
417490.161 | 240.0767 | 250.5352 | 250.5352 | 0
422014.287 | 244.9358 | 252.422 | 252.422 | 0
426587.439 | 249.9481 | 254.2954 | 254.2954 | 0
431210.148 | 255.1497 | 256.0422 | 256.0422 | 0
435882.951 | 260.5118 | 257.7421 | 257.7421 | 0
440606.39 | 266.0984 | 259.3632 | 259.3632 | 0
445381.015 | 271.6917 | 261.0745 | 261.0745 | 0
450207.38 | 277.5918 | 262.6326 | 262.6326 | 0
455086.046 | 283.7062 | 264.1352 | 264.1352 | 0
460017.58 | 290.0042 | 265.5319 | 265.5319 | 0
465002.554 | 296.5428 | 266.7954 | 266.7954 | 0
470041.548 | 303.2081 | 267.9963 | 267.9963 | 0
475135.147 | 310.2318 | 269.1554 | 269.1554 | 0
480283.942 | 317.471 | 270.0502 | 270.0502 | 0
485488.532 | 324.8724 | 270.8358 | 270.8358 | 0
490749.522 | 332.5195 | 271.5994 | 271.5994 | 0
496067.522 | 340.5455 | 271.8792 | 271.8792 | 0
501443.151 | 348.8409 | 272.2497 | 272.2497 | 0
506877.033 | 357.1899 | 272.2614 | 272.2614 | 0
512369.799 | 365.9265 | 272.098 | 272.098 | 0
517922.087 | 374.834 | 271.6351 | 271.6351 | 0
523534.542 | 384.2303 | 270.813 | 270.813 | 0
529207.817 | 393.7475 | 269.7407 | 269.7407 | 0
534942.57 | 403.5582 | 268.3777 | 268.3777 | 0
540739.468 | 413.7299 | 266.5323 | 266.5323 | 0
546599.184 | 424.0123 | 264.4036 | 264.4036 | 0
552522.398 | 434.7314 | 261.7421 | 261.7421 | 0
558509.8 | 445.652 | 258.55 | 258.55 | 0
564562.083 | 456.7427 | 254.8585 | 254.8585 | 0
570679.952 | 468.0449 | 250.632 | 250.632 | 0
576864.118 | 479.5791 | 245.7881 | 245.7881 | 0
583115.298 | 491.2654 | 240.2244 | 240.2244 | 0
589434.219 | 503.0245 | 234.1737 | 234.1737 | 0
595821.614 | 514.8917 | 227.1363 | 227.1363 | 0
602278.227 | 526.7939 | 219.4563 | 219.4563 | 0
608804.807 | 538.7305 | 210.8286 | 210.8286 | 0
615402.111 | 550.5704 | 201.3795 | 201.3795 | 0
622070.908 | 562.2429 | 191.15 | 191.15 | 0
628811.971 | 573.6334 | 179.9043 | 179.9043 | 0
635626.083 | 584.7625 | 167.6171 | 167.6171 | 0
642514.036 | 595.5117 | 154.6167 | 154.6167 | 0
649476.63 | 605.6958 | 140.5336 | 140.5336 | 0
656514.675 | 615.267 | 125.3318 | 125.3318 | 0
663628.987 | 624.1368 | 109.4624 | 109.4624 | 0
670820.393 | 632.2135 | 92.6622 | 92.6622 | 0
678089.729 | 639.3536 | 74.8923 | 74.8923 | 0
685437.839 | 645.3903 | 56.3873 | 56.3873 | 0
692865.577 | 650.3308 | 37.1361 | 37.1361 | 0
700373.805 | 654.0029 | 17.4384 | 17.4384 | 0
707963.396 | 656.3623 | -2.8078 | -2.8078 | 0
715635.231 | 657.304 | -23.4698 | -23.4698 | 0
723390.203 | 656.7634 | -44.2253 | -44.2253 | 0
731229.21 | 654.7965 | -65.0585 | -65.0585 | 0
739153.166 | 651.3215 | -85.8318 | -85.8318 | 0
747162.989 | 646.3264 | -106.3216 | -106.3216 | 0
755259.61 | 639.8704 | -126.4277 | -126.4277 | 0
763443.97 | 631.9751 | -145.9464 | -145.9464 | 0
771717.02 | 622.8982 | -164.6755 | -164.6755 | 0
780079.721 | 612.4628 | -182.6954 | -182.6954 | 0
788533.044 | 600.8668 | -199.842 | -199.842 | 0
797077.971 | 588.4102 | -215.6668 | -215.6668 | 0
805715.496 | 574.9064 | -230.6614 | -230.6614 | 0
814446.62 | 560.7344 | -244.2418 | -244.2418 | 0
823272.36 | 545.9062 | -256.8005 | -256.8005 | 0
832193.739 | 530.597 | -268.024 | -268.024 | 0
841211.795 | 514.9348 | -278.0339 | -278.0339 | 0
850327.575 | 498.9689 | -286.795 | -286.795 | 0
859542.138 | 482.9457 | -294.3716 | -294.3716 | 0
868856.555 | 466.9244 | -300.7454 | -300.7454 | 0
878271.907 | 450.9618 | -306.028 | -306.028 | 0
887789.288 | 435.2648 | -310.1962 | -310.1962 | 0
897409.804 | 419.723 | -313.4077 | -313.4077 | 0
907134.573 | 404.5648 | -315.7423 | -315.7423 | 0
916964.724 | 389.8063 | -317.2229 | -317.2229 | 0
926901.4 | 375.3591 | -317.8287 | -317.8287 | 0
936945.754 | 361.4369 | -317.7491 | -317.7491 | 0
947098.953 | 347.9107 | -317.0143 | -317.0143 | 0
957362.178 | 335.015 | -315.6371 | -315.6371 | 0
967736.62 | 322.5427 | -313.7518 | -313.7518 | 0
978223.484 | 310.608 | -311.3987 | -311.3987 | 0
988823.99 | 299.1394 | -308.6511 | -308.6511 | 0
999539.367 | 288.2141 | -305.5055 | -305.5055 | 0
1010370.861 | 277.7994 | -302.0388 | -302.0388 | 0
1021319.731 | 267.9116 | -298.2884 | -298.2884 | 0
1032387.248 | 258.4197 | -294.2502 | -294.2502 | 0
1043574.698 | 249.5244 | -290.0229 | -290.0229 | 0
1054883.381 | 241.0953 | -285.6171 | -285.6171 | 0
1066314.61 | 232.9405 | -281.1433 | -281.1433 | 0
1077869.714 | 225.4095 | -276.4161 | -276.4161 | 0
1089550.034 | 218.1706 | -271.7331 | -271.7331 | 0
1101356.928 | 211.3801 | -266.8867 | -266.8867 | 0
1113291.767 | 204.9929 | -262.1138 | -262.1138 | 0
1125355.937 | 198.9417 | -257.199 | -257.199 | 0
1137550.841 | 193.2222 | -252.2675 | -252.2675 | 0
1149877.895 | 187.8433 | -247.3893 | -247.3893 | 0
1162338.531 | 182.8212 | -242.473 | -242.473 | 0
1174934.196 | 178.0951 | -237.5631 | -237.5631 | 0
1187666.354 | 173.6373 | -232.7017 | -232.7017 | 0
1200536.484 | 169.5421 | -227.856 | -227.856 | 0
1213546.081 | 165.585 | -223.0754 | -223.0754 | 0
1226696.656 | 161.925 | -218.3482 | -218.3482 | 0
1239989.738 | 158.567 | -213.6407 | -213.6407 | 0
1253426.869 | 155.3481 | -208.989 | -208.989 | 0
1267009.612 | 152.4349 | -204.4088 | -204.4088 | 0
1280739.544 | 149.7076 | -199.9049 | -199.9049 | 0
1294618.26 | 147.1605 | -195.4786 | -195.4786 | 0
1308647.373 | 144.797 | -191.1104 | -191.1104 | 0
1322828.512 | 142.6769 | -186.8325 | -186.8325 | 0
1337163.325 | 140.6451 | -182.6192 | -182.6192 | 0
1351653.477 | 138.8751 | -178.4559 | -178.4559 | 0
1366300.651 | 137.206 | -174.4263 | -174.4263 | 0
1381106.549 | 135.7158 | -170.4756 | -170.4756 | 0
1396072.891 | 134.408 | -166.5404 | -166.5404 | 0
1411201.415 | 133.1952 | -162.7492 | -162.7492 | 0
1426493.88 | 132.1214 | -159.0552 | -159.0552 | 0
1441952.061 | 131.2242 | -155.3873 | -155.3873 | 0
1457577.754 | 130.4147 | -151.8644 | -151.8644 | 0
1473372.775 | 129.7343 | -148.3962 | -148.3962 | 0
1489338.959 | 129.1434 | -145.0421 | -145.0421 | 0
1505478.16 | 128.7186 | -141.7822 | -141.7822 | 0
1521792.253 | 128.4246 | -138.5921 | -138.5921 | 0
1538283.134 | 128.162 | -135.4968 | -135.4968 | 0
1554952.717 | 128.0225 | -132.5154 | -132.5154 | 0
1571802.941 | 127.9889 | -129.6428 | -129.6428 | 0
1588835.762 | 128.0612 | -126.8605 | -126.8605 | 0
1606053.158 | 128.2135 | -124.1805 | -124.1805 | 0
1623457.131 | 128.4345 | -121.6156 | -121.6156 | 0
1641049.702 | 128.7559 | -119.1483 | -119.1483 | 0
1658832.914 | 129.143 | -116.7793 | -116.7793 | 0
1676808.834 | 129.6155 | -114.5471 | -114.5471 | 0
1694979.549 | 130.1323 | -112.4333 | -112.4333 | 0
1713347.172 | 130.7371 | -110.4064 | -110.4064 | 0
1731913.834 | 131.3877 | -108.528 | -108.528 | 0
1750681.695 | 132.0849 | -106.7716 | -106.7716 | 0
1769652.932 | 132.8143 | -105.1154 | -105.1154 | 0
1788829.752 | 133.5991 | -103.6375 | -103.6375 | 0
1808214.38 | 134.4145 | -102.2225 | -102.2225 | 0
1827809.07 | 135.2538 | -101.004 | -101.004 | 0
1847616.098 | 136.1109 | -99.892 | -99.892 | 0
1867637.764 | 136.9831 | -98.9337 | -98.9337 | 0
1887876.395 | 137.8571 | -98.08 | -98.08 | 0
1908334.341 | 138.7004 | -97.4015 | -97.4015 | 0
1929013.98 | 139.554 | -96.8257 | -96.8257 | 0
1949917.713 | 140.3607 | -96.4378 | -96.4378 | 0
1971047.969 | 141.139 | -96.1665 | -96.1665 | 0
1992407.203 | 141.8584 | -95.993 | -95.993 | 0
2013997.896 | 142.518 | -95.9759 | -95.9759 | 0
2035822.556 | 143.1006 | -96.0944 | -96.0944 | 0
2057883.719 | 143.6149 | -96.3107 | -96.3107 | 0
2080183.947 | 144.0007 | -96.6642 | -96.6642 | 0
2102725.832 | 144.301 | -97.1102 | -97.1102 | 0
2125511.991 | 144.5343 | -97.6432 | -97.6432 | 0
2148545.072 | 144.5691 | -98.2796 | -98.2796 | 0
2171827.751 | 144.4828 | -98.9885 | -98.9885 | 0
2195362.732 | 144.3009 | -99.748 | -99.748 | 0
2219152.75 | 143.9377 | -100.5714 | -100.5714 | 0
2243200.568 | 143.4277 | -101.4148 | -101.4148 | 0
2267508.979 | 142.8008 | -102.2595 | -102.2595 | 0
2292080.809 | 141.9767 | -103.1146 | -103.1146 | 0
2316918.911 | 141.0011 | -103.9669 | -103.9669 | 0
2342026.17 | 139.9078 | -104.8025 | -104.8025 | 0
2367405.504 | 138.6121 | -105.5338 | -105.5338 | 0
2393059.861 | 137.222 | -106.2411 | -106.2411 | 0
2418992.221 | 135.697 | -106.8457 | -106.8457 | 0
2445205.597 | 134.0489 | -107.3529 | -107.3529 | 0
2471703.033 | 132.2763 | -107.7787 | -107.7787 | 0
2498487.609 | 130.407 | -108.0837 | -108.0837 | 0
2525562.435 | 128.4744 | -108.257 | -108.257 | 0
2552930.657 | 126.4473 | -108.3122 | -108.3122 | 0
2580595.454 | 124.387 | -108.2457 | -108.2457 | 0
2608560.041 | 122.2446 | -108.0117 | -108.0117 | 0
2636827.666 | 120.0998 | -107.6446 | -107.6446 | 0
2665401.612 | 117.9365 | -107.1764 | -107.1764 | 0
2694285.2 | 115.7698 | -106.5191 | -106.5191 | 0
2723481.784 | 113.6206 | -105.7278 | -105.7278 | 0
2752994.756 | 111.4888 | -104.8287 | -104.8287 | 0
2782827.546 | 109.3972 | -103.7851 | -103.7851 | 0
2812983.618 | 107.3466 | -102.6331 | -102.6331 | 0
2843466.476 | 105.3524 | -101.3179 | -101.3179 | 0
2874279.66 | 103.4196 | -99.9497 | -99.9497 | 0
2905426.752 | 101.5347 | -98.4534 | -98.4534 | 0
2936911.369 | 99.7614 | -96.8615 | -96.8615 | 0
2968737.168 | 98.0516 | -95.1852 | -95.1852 | 0
3000907.847 | 96.4183 | -93.4163 | -93.4163 | 0
3033427.143 | 94.8982 | -91.5785 | -91.5785 | 0
3066298.834 | 93.4535 | -89.6885 | -89.6885 | 0
3099526.739 | 92.1305 | -87.7301 | -87.7301 | 0
3133114.717 | 90.8936 | -85.7268 | -85.7268 | 0
3167066.671 | 89.7494 | -83.6642 | -83.6642 | 0
3201386.545 | 88.7131 | -81.5873 | -81.5873 | 0
3236078.326 | 87.7723 | -79.4628 | -79.4628 | 0
3271146.044 | 86.9447 | -77.3243 | -77.3243 | 0
3306593.772 | 86.2066 | -75.1535 | -75.1535 | 0
3342425.63 | 85.5657 | -72.9784 | -72.9784 | 0
3378645.779 | 85.0365 | -70.7836 | -70.7836 | 0
3415258.427 | 84.5991 | -68.5974 | -68.5974 | 0
3452267.827 | 84.2467 | -66.4104 | -66.4104 | 0
3489678.279 | 84.0024 | -64.2194 | -64.2194 | 0
3527494.129 | 83.8595 | -62.0312 | -62.0312 | 0
3565719.77 | 83.803 | -59.8602 | -59.8602 | 0
3604359.643 | 83.8348 | -57.7097 | -57.7097 | 0
3643418.236 | 83.9799 | -55.5777 | -55.5777 | 0
3682900.087 | 84.2027 | -53.4658 | -53.4658 | 0
3722809.783 | 84.5362 | -51.3685 | -51.3685 | 0
3763151.959 | 84.9433 | -49.3333 | -49.3333 | 0
3803931.303 | 85.4567 | -47.3143 | -47.3143 | 0
3845152.552 | 86.0553 | -45.3321 | -45.3321 | 0
3886820.494 | 86.7497 | -43.3976 | -43.3976 | 0
3928939.97 | 87.5224 | -41.5044 | -41.5044 | 0
3971515.874 | 88.4115 | -39.6613 | -39.6613 | 0
4014553.15 | 89.3786 | -37.8768 | -37.8768 | 0
4058056.8 | 90.4343 | -36.1556 | -36.1556 | 0
4102031.876 | 91.595 | -34.5151 | -34.5151 | 0
4146483.487 | 92.8303 | -32.9528 | -32.9528 | 0
4191416.798 | 94.1602 | -31.4586 | -31.4586 | 0
4236837.027 | 95.5726 | -30.0791 | -30.0791 | 0
4282749.453 | 97.0624 | -28.7862 | -28.7862 | 0
4329159.408 | 98.6303 | -27.6266 | -27.6266 | 0
4376072.284 | 100.2561 | -26.5866 | -26.5866 | 0
4423493.53 | 101.9516 | -25.6625 | -25.6625 | 0
4471428.656 | 103.6872 | -24.889 | -24.889 | 0
4519883.231 | 105.4655 | -24.2764 | -24.2764 | 0
4568862.882 | 107.2577 | -23.7933 | -23.7933 | 0
4618373.301 | 109.0553 | -23.4744 | -23.4744 | 0
4668420.24 | 110.844 | -23.3223 | -23.3223 | 0
4719009.511 | 112.6067 | -23.3232 | -23.3232 | 0
4770146.991 | 114.3193 | -23.5106 | -23.5106 | 0
4821838.623 | 115.9697 | -23.8487 | -23.8487 | 0
4874090.41 | 117.5097 | -24.3256 | -24.3256 | 0
4926908.423 | 118.9341 | -24.9173 | -24.9173 | 0
4980298.798 | 120.2574 | -25.6305 | -25.6305 | 0
5034267.736 | 121.3658 | -26.4302 | -26.4302 | 0
5088821.509 | 122.3872 | -27.2991 | -27.2991 | 0
5143966.452 | 123.2715 | -28.2091 | -28.2091 | 0
5199708.973 | 124.0062 | -29.1386 | -29.1386 | 0
5256055.547 | 124.6022 | -30.0462 | -30.0462 | 0
5313012.72 | 125.0729 | -30.9542 | -30.9542 | 0
5370587.108 | 125.4234 | -31.8079 | -31.8079 | 0
5428785.401 | 125.6679 | -32.6171 | -32.6171 | 0
5487614.358 | 125.8282 | -33.3507 | -33.3507 | 0
5547080.815 | 125.9206 | -33.9986 | -33.9986 | 0
5607191.679 | 125.948 | -34.5756 | -34.5756 | 0
5667953.934 | 125.9523 | -35.0416 | -35.0416 | 0
5729374.638 | 125.9634 | -35.4138 | -35.4138 | 0
5791460.926 | 125.959 | -35.7163 | -35.7163 | 0
5854220.012 | 126.0044 | -35.9306 | -35.9306 | 0
5917659.186 | 126.0995 | -36.0804 | -36.0804 | 0
5981785.817 | 126.2403 | -36.1598 | -36.1598 | 0
6046607.356 | 126.4706 | -36.1957 | -36.1957 | 0
6112131.333 | 126.7987 | -36.2195 | -36.2195 | 0
6178365.359 | 127.2183 | -36.2345 | -36.2345 | 0
6245317.129 | 127.7345 | -36.2799 | -36.2799 | 0
6312994.421 | 128.3586 | -36.3642 | -36.3642 | 0
6381405.098 | 129.0666 | -36.5133 | -36.5133 | 0
6450557.105 | 129.8615 | -36.7462 | -36.7462 | 0
6520458.478 | 130.7173 | -37.0947 | -37.0947 | 0
6591117.335 | 131.6555 | -37.5334 | -37.5334 | 0
6662541.887 | 132.6066 | -38.1147 | -38.1147 | 0
6734740.429 | 133.5904 | -38.8702 | -38.8702 | 0
6807721.35 | 134.5702 | -39.7411 | -39.7411 | 0
6881493.128 | 135.5322 | -40.8057 | -40.8057 | 0
6956064.332 | 136.4223 | -42.0294 | -42.0294 | 0
7031443.627 | 137.2296 | -43.3661 | -43.3661 | 0
7107639.768 | 137.9215 | -44.8919 | -44.8919 | 0
7184661.607 | 138.4969 | -46.5317 | -46.5317 | 0
7262518.093 | 138.8858 | -48.295 | -48.295 | 0
7341218.269 | 139.1013 | -50.1264 | -50.1264 | 0
7420771.279 | 139.1211 | -51.9957 | -51.9957 | 0
7501186.364 | 138.9456 | -53.8783 | -53.8783 | 0
7582472.866 | 138.5508 | -55.7618 | -55.7618 | 0
7664640.227 | 137.9915 | -57.577 | -57.577 | 0
7747697.994 | 137.2057 | -59.3035 | -59.3035 | 0
7831655.816 | 136.2338 | -60.8693 | -60.8693 | 0
7916523.445 | 135.2184 | -62.2024 | -62.2024 | 0
8002310.742 | 134.2013 | -63.3885 | -63.3885 | 0
8089027.671 | 133.1622 | -64.496 | -64.496 | 0
8176684.307 | 132.075 | -65.4522 | -65.4522 | 0
8265290.832 | 131.0466 | -66.2745 | -66.2745 | 0
8354857.541 | 130.0806 | -67.0189 | -67.0189 | 0
8445394.839 | 129.1816 | -67.6326 | -67.6326 | 0
8536913.243 | 128.3604 | -68.1933 | -68.1933 | 0
8629423.384 | 127.6405 | -68.716 | -68.716 | 0
8722936.011 | 127.0283 | -69.2178 | -69.2178 | 0
8817461.986 | 126.5148 | -69.7306 | -69.7306 | 0
8913012.29 | 126.1279 | -70.2877 | -70.2877 | 0
9009598.024 | 125.8107 | -70.9408 | -70.9408 | 0
9107230.407 | 125.6187 | -71.6827 | -71.6827 | 0
9205920.783 | 125.4271 | -72.5252 | -72.5252 | 0
9305680.615 | 125.3051 | -73.5317 | -73.5317 | 0
9406521.494 | 125.1694 | -74.6889 | -74.6889 | 0
9508455.133 | 124.9959 | -76.0034 | -76.0034 | 0
9611493.375 | 124.7747 | -77.4794 | -77.4794 | 0
9715648.189 | 124.4475 | -79.1368 | -79.1368 | 0
9820931.676 | 123.9993 | -80.9345 | -80.9345 | 0
9927356.065 | 123.3622 | -82.8464 | -82.8464 | 0
10034933.721 | 122.5469 | -84.8691 | -84.8691 | 0
10143677.141 | 121.52 | -86.9649 | -86.9649 | 0
10253598.957 | 120.2335 | -89.1141 | -89.1141 | 0
10364711.94 | 118.7381 | -91.2578 | -91.2578 | 0
10477028.997 | 117.0116 | -93.3866 | -93.3866 | 0
10590563.176 | 115.027 | -95.4414 | -95.4414 | 0
10705327.666 | 112.818 | -97.3898 | -97.3898 | 0
10821335.801 | 110.384 | -99.217 | -99.217 | 0
10938601.056 | 107.7674 | -100.885 | -100.885 | 0
11057137.054 | 104.9877 | -102.3407 | -102.3407 | 0
11176957.566 | 102.0763 | -103.6265 | -103.6265 | 0
11298076.511 | 99.0436 | -104.6642 | -104.6642 | 0
11420507.96 | 95.9364 | -105.4905 | -105.4905 | 0
11544266.136 | 92.7913 | -106.1037 | -106.1037 | 0
11669365.415 | 89.6278 | -106.4677 | -106.4677 | 0
11795820.331 | 86.5083 | -106.6261 | -106.6261 | 0
11923645.574 | 83.4326 | -106.6104 | -106.6104 | 0
12052855.993 | 80.4263 | -106.4519 | -106.4519 | 0
12183466.6 | 77.4554 | -106.1421 | -106.1421 | 0
12315492.566 | 74.5483 | -105.6968 | -105.6968 | 0
12448949.23 | 71.6899 | -105.1283 | -105.1283 | 0
12583852.095 | 68.9003 | -104.4515 | -104.4515 | 0
12720216.834 | 66.1853 | -103.6886 | -103.6886 | 0
12858059.286 | 63.531 | -102.8193 | -102.8193 | 0
12997395.467 | 60.9243 | -101.8696 | -101.8696 | 0
13138241.562 | 58.3869 | -100.8336 | -100.8336 | 0
13280613.934 | 55.9046 | -99.7133 | -99.7133 | 0
13424529.122 | 53.4828 | -98.5062 | -98.5062 | 0
13570003.846 | 51.1179 | -97.2345 | -97.2345 | 0
13717055.004 | 48.8227 | -95.8757 | -95.8757 | 0
13865699.679 | 46.5845 | -94.4314 | -94.4314 | 0
14015955.141 | 44.4285 | -92.9319 | -92.9319 | 0
14167838.844 | 42.3403 | -91.3354 | -91.3354 | 0
14321368.433 | 40.3485 | -89.6858 | -89.6858 | 0
14476561.742 | 38.4318 | -87.9645 | -87.9645 | 0
14633436.802 | 36.6111 | -86.1861 | -86.1861 | 0
14792011.837 | 34.8924 | -84.3497 | -84.3497 | 0
14952305.267 | 33.2746 | -82.4667 | -82.4667 | 0
15114335.715 | 31.7934 | -80.5591 | -80.5591 | 0
15278122.004 | 30.3993 | -78.6517 | -78.6517 | 0
15443683.161 | 29.1094 | -76.7231 | -76.7231 | 0
15611038.419 | 27.9253 | -74.8033 | -74.8033 | 0
15780207.219 | 26.8476 | -72.9006 | -72.9006 | 0
15951209.215 | 25.859 | -71.0276 | -71.0276 | 0
16124064.272 | 24.9719 | -69.1941 | -69.1941 | 0
16298792.471 | 24.1248 | -67.4681 | -67.4681 | 0
16475414.109 | 23.2374 | -65.7759 | -65.7759 | 0
16653949.704 | 22.3576 | -64.0627 | -64.0627 | 0
16834419.999 | 21.5141 | -62.2904 | -62.2904 | 0
17016845.957 | 20.7733 | -60.5021 | -60.5021 | 0
17201248.771 | 20.091 | -58.749 | -58.749 | 0
17387649.865 | 19.443 | -56.9966 | -56.9966 | 0
17576070.891 | 18.8662 | -55.253 | -55.253 | 0
17766533.738 | 18.3408 | -53.5381 | -53.5381 | 0
17959060.534 | 17.859 | -51.8201 | -51.8201 | 0
18153673.644 | 17.4815 | -50.1075 | -50.1075 | 0
18350395.676 | 17.1764 | -48.4325 | -48.4325 | 0
18549249.483 | 16.9805 | -46.7939 | -46.7939 | 0
18750258.167 | 16.9025 | -45.2908 | -45.2908 | 0
18953445.079 | 16.8595 | -44.1328 | -44.1328 | 0
19158833.823 | 16.4907 | -43.2317 | -43.2317 | 0
19366448.26 | 15.7507 | -42.155 | -42.155 | 0
19576312.507 | 14.9495 | -40.7384 | -40.7384 | 0
19788450.945 | 14.2829 | -39.1063 | -39.1063 | 0
20002888.218 | 13.7745 | -37.3997 | -37.3997 | 0
20219649.238 | 13.3718 | -35.7103 | -35.7103 | 0
20438759.186 | 13.0384 | -34.0374 | -34.0374 | 0
20660243.516 | 12.7623 | -32.3643 | -32.3643 | 0
20884127.957 | 12.5755 | -30.6729 | -30.6729 | 0
21110438.52 | 12.4904 | -28.9938 | -28.9938 | 0
21339201.493 | 12.5084 | -27.3673 | -27.3673 | 0
21570443.453 | 12.5859 | -25.8261 | -25.8261 | 0
21804191.264 | 12.688 | -24.3857 | -24.3857 | 0
22040472.079 | 12.7496 | -23.0483 | -23.0483 | 0
22279313.348 | 12.739 | -21.7166 | -21.7166 | 0
22520742.818 | 12.735 | -20.3462 | -20.3462 | 0
22764788.534 | 12.762 | -18.9914 | -18.9914 | 0
23011478.848 | 12.7847 | -17.6474 | -17.6474 | 0
23260842.419 | 12.8104 | -16.3023 | -16.3023 | 0
23512908.214 | 12.8507 | -14.9431 | -14.9431 | 0
23767705.517 | 12.9286 | -13.5708 | -13.5708 | 0
24025263.927 | 13.0492 | -12.2094 | -12.2094 | 0
24285613.366 | 13.2137 | -10.8824 | -10.8824 | 0
24548784.077 | 13.3914 | -9.5901 | -9.5901 | 0
24814806.635 | 13.5758 | -8.3236 | -8.3236 | 0
25083711.942 | 13.7723 | -7.0736 | -7.0736 | 0
25355531.237 | 13.9959 | -5.8519 | -5.8519 | 0
25630296.099 | 14.2141 | -4.6758 | -4.6758 | 0
25908038.446 | 14.4233 | -3.5093 | -3.5093 | 0
26188790.544 | 14.6456 | -2.3648 | -2.3648 | 0
26472585.009 | 14.8593 | -1.2596 | -1.2596 | 0
26759454.808 | 15.0525 | -0.17774 | -0.17774 | 0
27049433.268 | 15.2161 | 0.88784 | 0.88784 | 0
27342554.075 | 15.3472 | 1.9489 | 1.9489 | 0
27638851.282 | 15.4495 | 3.0213 | 3.0213 | 0
27938359.31 | 15.529 | 4.1095 | 4.1095 | 0
28241112.952 | 15.5778 | 5.224 | 5.224 | 0
28547147.38 | 15.6126 | 6.3991 | 6.3991 | 0
28856498.145 | 15.6699 | 7.624 | 7.624 | 0
29169201.186 | 15.7646 | 8.8887 | 8.8887 | 0
29485292.829 | 15.9121 | 10.1727 | 10.1727 | 0
29804809.795 | 16.1025 | 11.453 | 11.453 | 0
30127789.202 | 16.3302 | 12.7212 | 12.7212 | 0
30454268.571 | 16.5772 | 13.9681 | 13.9681 | 0
30784285.828 | 16.837 | 15.1951 | 15.1951 | 0
31117879.314 | 17.0947 | 16.4083 | 16.4083 | 0
31455087.78 | 17.3428 | 17.6081 | 17.6081 | 0
31795950.401 | 17.5764 | 18.8169 | 18.8169 | 0
32140506.776 | 17.8112 | 20.0415 | 20.0415 | 0
32488796.93 | 18.0458 | 21.2809 | 21.2809 | 0
32840861.326 | 18.2813 | 22.5383 | 22.5383 | 0
33196740.864 | 18.5215 | 23.8239 | 23.8239 | 0
33556476.884 | 18.7856 | 25.1254 | 25.1254 | 0
33920111.179 | 19.0542 | 26.4539 | 26.4539 | 0
34287685.992 | 19.3512 | 27.7966 | 27.7966 | 0
34659244.025 | 19.6546 | 29.1561 | 29.1561 | 0
35034828.441 | 19.9873 | 30.5329 | 30.5329 | 0
35414482.872 | 20.351 | 31.9306 | 31.9306 | 0
35798251.423 | 20.7559 | 33.3388 | 33.3388 | 0
36186178.677 | 21.1886 | 34.7147 | 34.7147 | 0
36578309.699 | 21.61 | 36.0558 | 36.0558 | 0
36974690.043 | 21.9748 | 37.4122 | 37.4122 | 0
37375365.757 | 22.2944 | 38.85 | 38.85 | 0
37780383.389 | 22.6577 | 40.3919 | 40.3919 | 0
38189789.988 | 23.1146 | 41.9724 | 41.9724 | 0
38603633.116 | 23.6495 | 43.5504 | 43.5504 | 0
39021960.849 | 24.2016 | 45.0801 | 45.0801 | 0
39444821.785 | 24.7333 | 46.6111 | 46.6111 | 0
39872265.048 | 25.2326 | 48.1862 | 48.1862 | 0
40304340.294 | 25.7158 | 49.849 | 49.849 | 0
40741097.717 | 26.2583 | 51.6249 | 51.6249 | 0
41182588.056 | 26.9517 | 53.4965 | 53.4965 | 0
41628862.598 | 27.8246 | 55.3298 | 55.3298 | 0
42079973.189 | 28.8013 | 57.0102 | 57.0102 | 0
42535972.233 | 29.6976 | 58.5357 | 58.5357 | 0
42996912.705 | 30.4378 | 60.0174 | 60.0174 | 0
43462848.151 | 31.0094 | 61.5927 | 61.5927 | 0
43933832.701 | 31.4604 | 63.3798 | 63.3798 | 0
44409921.068 | 31.8885 | 65.4256 | 65.4256 | 0
44891168.56 | 32.4799 | 67.7621 | 67.7621 | 0
45377631.084 | 33.2941 | 70.2877 | 70.2877 | 0
45869365.152 | 34.3894 | 72.9036 | 72.9036 | 0
46366427.89 | 35.7109 | 75.4972 | 75.4972 | 0
46868877.041 | 37.1891 | 78.0171 | 78.0171 | 0
47376770.975 | 38.7378 | 80.5324 | 80.5324 | 0
47890168.695 | 40.4084 | 83.1606 | 83.1606 | 0
48409129.842 | 42.3071 | 85.8628 | 85.8628 | 0
48933714.704 | 44.5005 | 88.5253 | 88.5253 | 0
49463984.223 | 47.0097 | 91.1087 | 91.1087 | 0
50000000 | 49.7423 | 93.4665 | 93.4665 | 0