## 03-Feb-16 16h 0m 21s
4294A REV1.11
DATE: Feb 3 2016
MEASURE PARAMETER: IMPEDANCE RESISTANCE - REACTANCE
ADAPTER: PROBE
SWEEP TYPE: LOG FREQ
NUMBER of POINTS: 801
POINT DELAY TIME: 0 Sec
SWEEP DELAY TIME: 0 Sec
OSC LEVEL: 500 mVolt
DC BIAS: OFF
BW: 3
SWEEP AVERAGING: OFF
POINT AVERAGING: OFF
TRACE: A
FORMAT: LINEAR
Frequency | Data Real | Data Imag | Data Trace Real | Data Trace Imag
9000 | 346.3604 | -20922.07 | 346.3604 | 0
9097.528 | 338.3184 | -20700.03 | 338.3184 | 0
9196.114 | 336.7861 | -20477.36 | 336.7861 | 0
9295.767 | 329.4116 | -20260.2 | 329.4116 | 0
9396.501 | 320.4388 | -20043.46 | 320.4388 | 0
9498.326 | 319.1486 | -19835.95 | 319.1486 | 0
9601.254 | 316.2988 | -19625.5 | 316.2988 | 0
9705.298 | 309.0708 | -19416.84 | 309.0708 | 0
9810.469 | 307.8772 | -19212.31 | 307.8772 | 0
9916.78 | 305.4234 | -19008.39 | 305.4234 | 0
10024.243 | 300.5003 | -18803.95 | 300.5003 | 0
10132.871 | 293.0192 | -18599.61 | 293.0192 | 0
10242.676 | 293.1695 | -18403.36 | 293.1695 | 0
10353.67 | 284.1759 | -18208.86 | 284.1759 | 0
10465.868 | 283.1263 | -18018.29 | 283.1263 | 0
10579.281 | 284.5701 | -17823.89 | 284.5701 | 0
10693.923 | 278.0112 | -17634.77 | 278.0112 | 0
10809.808 | 269.9266 | -17446.22 | 269.9266 | 0
10926.948 | 274.3497 | -17263.07 | 274.3497 | 0
11045.358 | 267.0538 | -17077.9 | 267.0538 | 0
11165.051 | 261.3284 | -16898.34 | 261.3284 | 0
11286.041 | 263.2262 | -16715.52 | 263.2262 | 0
11408.342 | 262.2395 | -16538.86 | 262.2395 | 0
11531.968 | 256.8485 | -16363.55 | 256.8485 | 0
11656.934 | 247.7717 | -16185.32 | 247.7717 | 0
11783.254 | 253.6917 | -16016.19 | 253.6917 | 0
11910.943 | 250.8447 | -15843.25 | 250.8447 | 0
12040.016 | 241.839 | -15674.58 | 241.839 | 0
12170.487 | 242.8384 | -15507.23 | 242.8384 | 0
12302.373 | 236.76 | -15346.93 | 236.76 | 0
12435.687 | 232.9492 | -15181.56 | 232.9492 | 0
12570.446 | 234.4319 | -15022.75 | 234.4319 | 0
12706.666 | 227.3075 | -14861.17 | 227.3075 | 0
12844.361 | 223.9968 | -14706.22 | 223.9968 | 0
12983.549 | 223.5605 | -14549.16 | 223.5605 | 0
13124.245 | 225.5546 | -14393.73 | 225.5546 | 0
13266.466 | 220.9621 | -14241.14 | 220.9621 | 0
13410.228 | 217.6679 | -14087.23 | 217.6679 | 0
13555.548 | 214.533 | -13935.75 | 214.533 | 0
13702.442 | 212.945 | -13787.49 | 212.945 | 0
13850.928 | 208.9344 | -13642.59 | 208.9344 | 0
14001.024 | 207.7062 | -13495.6 | 207.7062 | 0
14152.746 | 206.9059 | -13354.52 | 206.9059 | 0
14306.112 | 198.796 | -13208.67 | 198.796 | 0
14461.14 | 199.4848 | -13069.01 | 199.4848 | 0
14617.848 | 193.7042 | -12929.39 | 193.7042 | 0
14776.254 | 195.1627 | -12793.68 | 195.1627 | 0
14936.376 | 190.9834 | -12656.02 | 190.9834 | 0
15098.234 | 191.4772 | -12520.65 | 191.4772 | 0
15261.846 | 188.5251 | -12392.43 | 188.5251 | 0
15427.231 | 186.0995 | -12255.96 | 186.0995 | 0
15594.408 | 185.0479 | -12126.62 | 185.0479 | 0
15763.396 | 181.3602 | -11997.4 | 181.3602 | 0
15934.216 | 178.5101 | -11869.72 | 178.5101 | 0
16106.887 | 176.2922 | -11745.02 | 176.2922 | 0
16281.429 | 176.6114 | -11622.21 | 176.6114 | 0
16457.863 | 176.192 | -11494.61 | 176.192 | 0
16636.208 | 174.4131 | -11373.33 | 174.4131 | 0
16816.486 | 172.1097 | -11250.82 | 172.1097 | 0
16998.718 | 168.4315 | -11133.04 | 168.4315 | 0
17182.924 | 162.3455 | -11016.21 | 162.3455 | 0
17369.127 | 160.1854 | -10897.72 | 160.1854 | 0
17557.347 | 163.9278 | -10779.93 | 163.9278 | 0
17747.607 | 158.6744 | -10667.74 | 158.6744 | 0
17939.929 | 161.943 | -10551.55 | 161.943 | 0
18134.334 | 157.432 | -10441.44 | 157.432 | 0
18330.847 | 149.9446 | -10330.49 | 149.9446 | 0
18529.489 | 151.7908 | -10219.41 | 151.7908 | 0
18730.283 | 153.5478 | -10111.82 | 153.5478 | 0
18933.254 | 141.4725 | -10002.79 | 141.4725 | 0
19138.424 | 142.2284 | -9891.6 | 142.2284 | 0
19345.817 | 165.1052 | -9787.346 | 165.1052 | 0
19555.458 | 162.4703 | -9688.631 | 162.4703 | 0
19767.37 | 189.8306 | -9566.242 | 189.8306 | 0
19981.579 | 83.9932 | -9433.449 | 83.9932 | 0
20198.109 | 129.0716 | -9405.34 | 129.0716 | 0
20416.986 | 136.682 | -9279.051 | 136.682 | 0
20638.234 | 132.939 | -9180.555 | 132.939 | 0
20861.88 | 137.2511 | -9082.938 | 137.2511 | 0
21087.949 | 133.9084 | -8985.725 | 133.9084 | 0
21316.469 | 135.7321 | -8893.35 | 135.7321 | 0
21547.464 | 133.0614 | -8795.982 | 133.0614 | 0
21780.963 | 130.9686 | -8700.055 | 130.9686 | 0
22016.992 | 126.3888 | -8613.902 | 126.3888 | 0
22255.579 | 128.973 | -8518.473 | 128.973 | 0
22496.751 | 127.3252 | -8427.713 | 127.3252 | 0
22740.537 | 124.746 | -8337.572 | 124.746 | 0
22986.964 | 124.0534 | -8249.809 | 124.0534 | 0
23236.062 | 120.6082 | -8161.225 | 120.6082 | 0
23487.86 | 122.3905 | -8073.858 | 122.3905 | 0
23742.386 | 117.0543 | -7988.351 | 117.0543 | 0
23999.67 | 118.1759 | -7901.671 | 118.1759 | 0
24259.742 | 115.8348 | -7818.465 | 115.8348 | 0
24522.632 | 115.6274 | -7734.271 | 115.6274 | 0
24788.371 | 115.4057 | -7651.637 | 115.4057 | 0
25056.99 | 113.4958 | -7570.841 | 113.4958 | 0
25328.52 | 109.815 | -7490.849 | 109.815 | 0
25602.992 | 111.8788 | -7410.369 | 111.8788 | 0
25880.438 | 110.6092 | -7330.39 | 110.6092 | 0
26160.891 | 109.1952 | -7252.771 | 109.1952 | 0
26444.383 | 107.828 | -7176.025 | 107.828 | 0
26730.948 | 106.7876 | -7098.012 | 106.7876 | 0
27020.617 | 105.0805 | -7023.833 | 105.0805 | 0
27313.426 | 104.5416 | -6948.518 | 104.5416 | 0
27609.407 | 103.0652 | -6873.311 | 103.0652 | 0
27908.596 | 100.4998 | -6801.528 | 100.4998 | 0
28211.027 | 99.1512 | -6729.224 | 99.1512 | 0
28516.736 | 101.2563 | -6656.326 | 101.2563 | 0
28825.757 | 98.212 | -6585.387 | 98.212 | 0
29138.127 | 97.068 | -6514.654 | 97.068 | 0
29453.882 | 96.4521 | -6446.257 | 96.4521 | 0
29773.058 | 95.8565 | -6376.501 | 95.8565 | 0
30095.694 | 95.7865 | -6307.918 | 95.7865 | 0
30421.825 | 93.0564 | -6241.036 | 93.0564 | 0
30751.491 | 93.5551 | -6174.75 | 93.5551 | 0
31084.729 | 91.1108 | -6109.175 | 91.1108 | 0
31421.578 | 91.6586 | -6043.9 | 91.6586 | 0
31762.078 | 90.1634 | -5978.456 | 90.1634 | 0
32106.267 | 89.1587 | -5915.049 | 89.1587 | 0
32454.186 | 88.1285 | -5852.443 | 88.1285 | 0
32805.876 | 87.0059 | -5791.007 | 87.0059 | 0
33161.376 | 86.4823 | -5728.575 | 86.4823 | 0
33520.729 | 85.0013 | -5666.318 | 85.0013 | 0
33883.976 | 85.5815 | -5606.798 | 85.5815 | 0
34251.159 | 83.0246 | -5546.626 | 83.0246 | 0
34622.321 | 83.7331 | -5486.922 | 83.7331 | 0
34997.505 | 83.9141 | -5428.767 | 83.9141 | 0
35376.755 | 81.4282 | -5370.542 | 81.4282 | 0
35760.115 | 80.5058 | -5312.047 | 80.5058 | 0
36147.629 | 78.5475 | -5256.359 | 78.5475 | 0
36539.342 | 80.5864 | -5199.333 | 80.5864 | 0
36935.301 | 77.8309 | -5146.469 | 77.8309 | 0
37335.549 | 76.2186 | -5090.816 | 76.2186 | 0
37740.136 | 75.563 | -5034.098 | 75.563 | 0
38149.106 | 77.8347 | -4977.825 | 77.8347 | 0
38562.508 | 64.6096 | -4932.549 | 64.6096 | 0
38980.39 | 73.6208 | -4872.12 | 73.6208 | 0
39402.801 | 75.8804 | -4822.425 | 75.8804 | 0
39829.789 | 70.6521 | -4771.427 | 70.6521 | 0
40261.404 | 75.5596 | -4719.496 | 75.5596 | 0
40697.696 | 75.7018 | -4671.895 | 75.7018 | 0
41138.716 | 70.5132 | -4619.202 | 70.5132 | 0
41584.515 | 72.4261 | -4570.404 | 72.4261 | 0
42035.145 | 71.1367 | -4522.259 | 71.1367 | 0
42490.658 | 68.8334 | -4472.092 | 68.8334 | 0
42951.108 | 68.6857 | -4426.877 | 68.6857 | 0
43416.547 | 69.0445 | -4378.109 | 69.0445 | 0
43887.03 | 67.3715 | -4331.224 | 67.3715 | 0
44362.611 | 67.3983 | -4285.282 | 67.3983 | 0
44843.346 | 67.1896 | -4239.262 | 67.1896 | 0
45329.29 | 65.6816 | -4192.98 | 65.6816 | 0
45820.5 | 65.2182 | -4148.042 | 65.2182 | 0
46317.033 | 64.6033 | -4104.075 | 64.6033 | 0
46818.947 | 63.5364 | -4059.739 | 63.5364 | 0
47326.3 | 64.325 | -4015.956 | 64.325 | 0
47839.151 | 63.3744 | -3973.33 | 63.3744 | 0
48357.559 | 64.055 | -3930.324 | 64.055 | 0
48881.585 | 63.221 | -3888.241 | 63.221 | 0
49411.29 | 62.8647 | -3846.635 | 62.8647 | 0
49946.734 | 61.7805 | -3805.114 | 61.7805 | 0
50487.982 | 59.7785 | -3764.62 | 59.7785 | 0
51035.094 | 59.5176 | -3723.792 | 59.5176 | 0
51588.135 | 59.2192 | -3684.848 | 59.2192 | 0
52147.169 | 59.3041 | -3644.285 | 59.3041 | 0
52712.261 | 58.8434 | -3605.435 | 58.8434 | 0
53283.477 | 57.9891 | -3566.836 | 57.9891 | 0
53860.882 | 58.3682 | -3528.755 | 58.3682 | 0
54444.545 | 57.4808 | -3490.126 | 57.4808 | 0
55034.533 | 56.4909 | -3453.042 | 56.4909 | 0
55630.914 | 56.5222 | -3415.667 | 56.5222 | 0
56233.757 | 55.8321 | -3378.688 | 55.8321 | 0
56843.134 | 55.8987 | -3342.56 | 55.8987 | 0
57459.113 | 54.5604 | -3306.773 | 54.5604 | 0
58081.768 | 54.3477 | -3271.085 | 54.3477 | 0
58711.171 | 54.3413 | -3235.949 | 54.3413 | 0
59347.393 | 54.2552 | -3200.582 | 54.2552 | 0
59990.511 | 53.2482 | -3166.513 | 53.2482 | 0
60640.597 | 53.9824 | -3132.406 | 53.9824 | 0
61297.728 | 52.9173 | -3098.155 | 52.9173 | 0
61961.98 | 52.7304 | -3064.928 | 52.7304 | 0
62633.43 | 51.9457 | -3031.959 | 51.9457 | 0
63312.156 | 51.9806 | -2999.858 | 51.9806 | 0
63998.238 | 52.0675 | -2967.34 | 52.0675 | 0
64691.754 | 50.9002 | -2935.336 | 50.9002 | 0
65392.785 | 51.052 | -2902.639 | 51.052 | 0
66101.413 | 50.1791 | -2872.344 | 50.1791 | 0
66817.72 | 49.7867 | -2840.806 | 49.7867 | 0
67541.789 | 49.5924 | -2810.095 | 49.5924 | 0
68273.705 | 49.6122 | -2779.513 | 49.6122 | 0
69013.552 | 49.2742 | -2750.044 | 49.2742 | 0
69761.416 | 48.8132 | -2720.066 | 48.8132 | 0
70517.385 | 48.7681 | -2690.286 | 48.7681 | 0
71281.546 | 48.9442 | -2661.397 | 48.9442 | 0
72053.987 | 48.3931 | -2632.171 | 48.3931 | 0
72834.799 | 48.2079 | -2604.097 | 48.2079 | 0
73624.072 | 47.1037 | -2576.083 | 47.1037 | 0
74421.899 | 46.5016 | -2548.043 | 46.5016 | 0
75228.371 | 47.1149 | -2520.084 | 47.1149 | 0
76043.582 | 46.7192 | -2493.705 | 46.7192 | 0
76867.627 | 45.8957 | -2465.842 | 45.8957 | 0
77700.602 | 45.9813 | -2438.886 | 45.9813 | 0
78542.603 | 45.8546 | -2412.779 | 45.8546 | 0
79393.729 | 45.2053 | -2386.709 | 45.2053 | 0
80254.078 | 45.5166 | -2360.674 | 45.5166 | 0
81123.75 | 45.0873 | -2334.776 | 45.0873 | 0
82002.847 | 44.3055 | -2309.322 | 44.3055 | 0
82891.47 | 44.0893 | -2283.909 | 44.0893 | 0
83789.722 | 44.7343 | -2259.386 | 44.7343 | 0
84697.708 | 43.7896 | -2235 | 43.7896 | 0
85615.534 | 43.8924 | -2210.398 | 43.8924 | 0
86543.305 | 43.0205 | -2186.575 | 43.0205 | 0
87481.13 | 43.5201 | -2162.812 | 43.5201 | 0
88429.118 | 42.9012 | -2138.84 | 42.9012 | 0
89387.379 | 43.0818 | -2115.729 | 43.0818 | 0
90356.024 | 42.6935 | -2092.699 | 42.6935 | 0
91335.166 | 42.7961 | -2069.646 | 42.7961 | 0
92324.919 | 42.5069 | -2047.046 | 42.5069 | 0
93325.396 | 42.3932 | -2024.898 | 42.3932 | 0
94336.716 | 42.323 | -2002.615 | 42.323 | 0
95358.994 | 42.3054 | -1980.422 | 42.3054 | 0
96392.35 | 42.5442 | -1958.649 | 42.5442 | 0
97436.905 | 42.0144 | -1937.152 | 42.0144 | 0
98492.779 | 41.7893 | -1916.04 | 41.7893 | 0
99560.094 | 41.699 | -1894.812 | 41.699 | 0
100638.976 | 41.5266 | -1874.117 | 41.5266 | 0
101729.549 | 41.541 | -1853.572 | 41.541 | 0
102831.939 | 40.8401 | -1833.082 | 40.8401 | 0
103946.276 | 41.0777 | -1812.815 | 41.0777 | 0
105072.689 | 40.8096 | -1792.698 | 40.8096 | 0
106211.307 | 40.8738 | -1772.805 | 40.8738 | 0
107362.265 | 40.3087 | -1753.409 | 40.3087 | 0
108525.694 | 40.584 | -1734.148 | 40.584 | 0
109701.732 | 40.2502 | -1715.409 | 40.2502 | 0
110890.513 | 40.0058 | -1696.286 | 40.0058 | 0
112092.176 | 39.9778 | -1677.243 | 39.9778 | 0
113306.862 | 39.799 | -1658.675 | 39.799 | 0
114534.71 | 39.992 | -1640.516 | 39.992 | 0
115775.864 | 39.5702 | -1622.174 | 39.5702 | 0
117030.467 | 39.3894 | -1604.284 | 39.3894 | 0
118298.666 | 39.5601 | -1586.516 | 39.5601 | 0
119580.608 | 39.6558 | -1568.753 | 39.6558 | 0
120876.442 | 39.9447 | -1551.228 | 39.9447 | 0
122186.318 | 39.7321 | -1533.921 | 39.7321 | 0
123510.388 | 39.3028 | -1516.761 | 39.3028 | 0
124848.807 | 39.3188 | -1499.803 | 39.3188 | 0
126201.729 | 39.4819 | -1483.027 | 39.4819 | 0
127569.312 | 39.4409 | -1466.457 | 39.4409 | 0
128951.715 | 39.3589 | -1450.107 | 39.3589 | 0
130349.099 | 39.5917 | -1433.759 | 39.5917 | 0
131761.625 | 39.1928 | -1417.572 | 39.1928 | 0
133189.458 | 39.2058 | -1401.714 | 39.2058 | 0
134632.764 | 39.2675 | -1385.975 | 39.2675 | 0
136091.71 | 39.077 | -1370.269 | 39.077 | 0
137566.466 | 39.2338 | -1354.954 | 39.2338 | 0
139057.203 | 39.5633 | -1339.585 | 39.5633 | 0
140564.094 | 39.3443 | -1324.15 | 39.3443 | 0
142087.315 | 39.1962 | -1309.379 | 39.1962 | 0
143627.042 | 39.2475 | -1294.556 | 39.2475 | 0
145183.455 | 39.1861 | -1279.841 | 39.1861 | 0
146756.733 | 39.4505 | -1265.325 | 39.4505 | 0
148347.061 | 39.5114 | -1250.957 | 39.5114 | 0
149954.621 | 39.4998 | -1236.7 | 39.4998 | 0
151579.603 | 39.7116 | -1222.414 | 39.7116 | 0
153222.193 | 39.4463 | -1208.551 | 39.4463 | 0
154882.583 | 39.5538 | -1194.874 | 39.5538 | 0
156560.966 | 39.7566 | -1181.043 | 39.7566 | 0
158257.537 | 39.8402 | -1167.474 | 39.8402 | 0
159972.492 | 39.814 | -1154.276 | 39.814 | 0
161706.032 | 40.1791 | -1140.839 | 40.1791 | 0
163458.357 | 40.2737 | -1127.624 | 40.2737 | 0
165229.671 | 40.1825 | -1114.588 | 40.1825 | 0
167020.18 | 40.4027 | -1101.744 | 40.4027 | 0
168830.092 | 40.1754 | -1089.02 | 40.1754 | 0
170659.617 | 40.4431 | -1076.267 | 40.4431 | 0
172508.968 | 40.7143 | -1063.772 | 40.7143 | 0
174378.359 | 40.7325 | -1051.419 | 40.7325 | 0
176268.007 | 41.1144 | -1039.181 | 41.1144 | 0
178178.133 | 41.1097 | -1027.06 | 41.1097 | 0
180108.958 | 41.2526 | -1015.031 | 41.2526 | 0
182060.706 | 41.5892 | -1003.079 | 41.5892 | 0
184033.605 | 41.3873 | -991.2266 | 41.3873 | 0
186027.882 | 41.6582 | -979.4598 | 41.6582 | 0
188043.771 | 41.5664 | -968.059 | 41.5664 | 0
190081.504 | 42.0609 | -956.4852 | 42.0609 | 0
192141.32 | 42.2101 | -945.2427 | 42.2101 | 0
194223.457 | 42.5665 | -934.0027 | 42.5665 | 0
196328.157 | 42.6588 | -922.7864 | 42.6588 | 0
198455.664 | 43.0433 | -911.7791 | 43.0433 | 0
200606.226 | 43.0979 | -900.7335 | 43.0979 | 0
202780.093 | 43.3107 | -890.0023 | 43.3107 | 0
204977.516 | 43.358 | -879.4077 | 43.358 | 0
207198.752 | 43.6271 | -868.6906 | 43.6271 | 0
209444.059 | 43.9618 | -858.1459 | 43.9618 | 0
211713.696 | 44.2862 | -847.8431 | 44.2862 | 0
214007.929 | 44.5726 | -837.5156 | 44.5726 | 0
216327.023 | 44.8226 | -827.2561 | 44.8226 | 0
218671.247 | 45.1736 | -817.1396 | 45.1736 | 0
221040.875 | 45.4764 | -807.1788 | 45.4764 | 0
223436.182 | 45.6003 | -797.1547 | 45.6003 | 0
225857.445 | 45.9898 | -787.3823 | 45.9898 | 0
228304.946 | 46.2791 | -777.5901 | 46.2791 | 0
230778.969 | 46.5727 | -767.921 | 46.5727 | 0
233279.802 | 47.0418 | -758.4486 | 47.0418 | 0
235807.736 | 47.2364 | -749.0306 | 47.2364 | 0
238363.063 | 47.714 | -739.5214 | 47.714 | 0
240946.081 | 48.0742 | -730.2542 | 48.0742 | 0
243557.09 | 48.3097 | -721.0476 | 48.3097 | 0
246196.393 | 48.9114 | -711.9071 | 48.9114 | 0
248864.297 | 49.2823 | -702.9247 | 49.2823 | 0
251561.111 | 49.6168 | -693.9435 | 49.6168 | 0
254287.15 | 50.0341 | -684.9296 | 50.0341 | 0
257042.729 | 50.4898 | -676.2123 | 50.4898 | 0
259828.169 | 50.9013 | -667.5393 | 50.9013 | 0
262643.793 | 51.3947 | -658.7688 | 51.3947 | 0
265489.929 | 51.8678 | -650.3129 | 51.8678 | 0
268366.907 | 52.3247 | -641.7238 | 52.3247 | 0
271275.061 | 52.8867 | -633.337 | 52.8867 | 0
274214.729 | 53.359 | -625.0229 | 53.359 | 0
277186.254 | 53.7963 | -616.792 | 53.7963 | 0
280189.979 | 54.4716 | -608.5574 | 54.4716 | 0
283226.253 | 55.0404 | -600.4474 | 55.0404 | 0
286295.431 | 55.5374 | -592.4047 | 55.5374 | 0
289397.867 | 56.2584 | -584.3921 | 56.2584 | 0
292533.923 | 56.7874 | -576.4749 | 56.7874 | 0
295703.963 | 57.4406 | -568.6212 | 57.4406 | 0
298908.355 | 58.0652 | -560.8162 | 58.0652 | 0
302147.471 | 58.765 | -553.0927 | 58.765 | 0
305421.688 | 59.3848 | -545.4014 | 59.3848 | 0
308731.386 | 60.1757 | -537.8344 | 60.1757 | 0
312076.949 | 60.8718 | -530.2782 | 60.8718 | 0
315458.767 | 61.5575 | -522.851 | 61.5575 | 0
318877.231 | 62.2561 | -515.4749 | 62.2561 | 0
322332.74 | 63.1476 | -508.0755 | 63.1476 | 0
325825.694 | 63.9172 | -500.7988 | 63.9172 | 0
329356.5 | 64.6189 | -493.6393 | 64.6189 | 0
332925.567 | 65.5246 | -486.4343 | 65.5246 | 0
336533.31 | 66.4117 | -479.3333 | 66.4117 | 0
340180.149 | 67.3532 | -472.35 | 67.3532 | 0
343866.506 | 68.1912 | -465.3181 | 68.1912 | 0
347592.811 | 69.1445 | -458.3531 | 69.1445 | 0
351359.495 | 70.1799 | -451.5281 | 70.1799 | 0
355166.998 | 71.2147 | -444.6257 | 71.2147 | 0
359015.76 | 72.2142 | -437.8697 | 72.2142 | 0
362906.229 | 73.2839 | -431.1802 | 73.2839 | 0
366838.858 | 74.4243 | -424.4768 | 74.4243 | 0
370814.102 | 75.4902 | -417.8448 | 75.4902 | 0
374832.424 | 76.6578 | -411.2808 | 76.6578 | 0
378894.29 | 77.8261 | -404.8113 | 77.8261 | 0
383000.173 | 79.0657 | -398.3729 | 79.0657 | 0
387150.549 | 80.3647 | -391.8462 | 80.3647 | 0
391345.9 | 81.6911 | -385.5266 | 81.6911 | 0
395586.715 | 83.1181 | -379.2208 | 83.1181 | 0
399873.485 | 84.4299 | -372.9749 | 84.4299 | 0
404206.708 | 85.9015 | -366.7316 | 85.9015 | 0
408586.888 | 87.3384 | -360.588 | 87.3384 | 0
413014.535 | 88.9081 | -354.4695 | 88.9081 | 0
417490.161 | 90.4244 | -348.4291 | 90.4244 | 0
422014.287 | 92.0967 | -342.3979 | 92.0967 | 0
426587.439 | 93.7843 | -336.4387 | 93.7843 | 0
431210.148 | 95.5379 | -330.5823 | 95.5379 | 0
435882.951 | 97.3342 | -324.6659 | 97.3342 | 0
440606.39 | 99.2032 | -318.9258 | 99.2032 | 0
445381.015 | 101.1296 | -313.1193 | 101.1296 | 0
450207.38 | 103.1476 | -307.4426 | 103.1476 | 0
455086.046 | 105.1322 | -301.818 | 105.1322 | 0
460017.58 | 107.3145 | -296.2499 | 107.3145 | 0
465002.554 | 109.5574 | -290.7419 | 109.5574 | 0
470041.548 | 111.7887 | -285.2637 | 111.7887 | 0
475135.147 | 114.1591 | -279.8304 | 114.1591 | 0
480283.942 | 116.5789 | -274.4935 | 116.5789 | 0
485488.532 | 119.1521 | -269.2493 | 119.1521 | 0
490749.522 | 121.7871 | -264.0552 | 121.7871 | 0
496067.522 | 124.4792 | -258.899 | 124.4792 | 0
501443.151 | 127.2861 | -253.8734 | 127.2861 | 0
506877.033 | 130.1644 | -248.9255 | 130.1644 | 0
512369.799 | 133.2414 | -244.0059 | 133.2414 | 0
517922.087 | 136.3656 | -239.2619 | 136.3656 | 0
523534.542 | 139.5479 | -234.5367 | 139.5479 | 0
529207.817 | 142.9391 | -229.9421 | 142.9391 | 0
534942.57 | 146.3996 | -225.4648 | 146.3996 | 0
540739.468 | 149.9799 | -221.0847 | 149.9799 | 0
546599.184 | 153.6925 | -216.8576 | 153.6925 | 0
552522.398 | 157.5307 | -212.7313 | 157.5307 | 0
558509.8 | 161.4979 | -208.7932 | 161.4979 | 0
564562.083 | 165.6004 | -204.9612 | 165.6004 | 0
570679.952 | 169.8106 | -201.3248 | 169.8106 | 0
576864.118 | 174.2111 | -197.8448 | 174.2111 | 0
583115.298 | 178.746 | -194.5621 | 178.746 | 0
589434.219 | 183.3128 | -191.5483 | 183.3128 | 0
595821.614 | 188.1154 | -188.6344 | 188.1154 | 0
602278.227 | 193.0334 | -186.0869 | 193.0334 | 0
608804.807 | 197.9761 | -183.7475 | 197.9761 | 0
615402.111 | 203.1421 | -181.6345 | 203.1421 | 0
622070.908 | 208.4065 | -179.8297 | 208.4065 | 0
628811.971 | 213.7171 | -178.3467 | 213.7171 | 0
635626.083 | 219.1975 | -177.19 | 219.1975 | 0
642514.036 | 224.6404 | -176.4278 | 224.6404 | 0
649476.63 | 230.2431 | -175.9343 | 230.2431 | 0
656514.675 | 235.7944 | -175.9188 | 235.7944 | 0
663628.987 | 241.4359 | -176.271 | 241.4359 | 0
670820.393 | 247.0269 | -177.0219 | 247.0269 | 0
678089.729 | 252.5383 | -178.3214 | 252.5383 | 0
685437.839 | 257.939 | -180.0233 | 257.939 | 0
692865.577 | 263.306 | -182.2148 | 263.306 | 0
700373.805 | 268.4083 | -184.7922 | 268.4083 | 0
707963.396 | 273.3469 | -187.9578 | 273.3469 | 0
715635.231 | 277.9764 | -191.5042 | 277.9764 | 0
723390.203 | 282.2908 | -195.5786 | 282.2908 | 0
731229.21 | 286.3464 | -200.0917 | 286.3464 | 0
739153.166 | 289.8407 | -204.9716 | 289.8407 | 0
747162.989 | 292.931 | -210.3334 | 292.931 | 0
755259.61 | 295.5782 | -215.9736 | 295.5782 | 0
763443.97 | 297.5886 | -221.9589 | 297.5886 | 0
771717.02 | 299.012 | -228.1895 | 299.012 | 0
780079.721 | 299.8717 | -234.5842 | 299.8717 | 0
788533.044 | 300.0213 | -241.1663 | 300.0213 | 0
797077.971 | 299.5545 | -247.8923 | 299.5545 | 0
805715.496 | 298.397 | -254.5645 | 298.397 | 0
814446.62 | 296.5914 | -261.0398 | 296.5914 | 0
823272.36 | 294.0712 | -267.4616 | 294.0712 | 0
832193.739 | 290.9727 | -273.7595 | 290.9727 | 0
841211.795 | 287.2658 | -279.6867 | 287.2658 | 0
850327.575 | 282.998 | -285.3451 | 282.998 | 0
859542.138 | 278.3148 | -290.5284 | 278.3148 | 0
868856.555 | 273.0679 | -295.4132 | 273.0679 | 0
878271.907 | 267.3467 | -299.8891 | 267.3467 | 0
887789.288 | 261.4657 | -303.6782 | 261.4657 | 0
897409.804 | 255.1114 | -307.0629 | 255.1114 | 0
907134.573 | 248.6098 | -310.0519 | 248.6098 | 0
916964.724 | 241.844 | -312.4991 | 241.844 | 0
926901.4 | 235.038 | -314.3332 | 235.038 | 0
936945.754 | 228.1514 | -315.7108 | 228.1514 | 0
947098.953 | 221.1549 | -316.6396 | 221.1549 | 0
957362.178 | 214.1971 | -317.062 | 214.1971 | 0
967736.62 | 207.2533 | -316.9938 | 207.2533 | 0
978223.484 | 200.4537 | -316.5798 | 200.4537 | 0
988823.99 | 193.7285 | -315.8135 | 193.7285 | 0
999539.367 | 187.1594 | -314.5905 | 187.1594 | 0
1010370.861 | 180.7896 | -312.9775 | 180.7896 | 0
1021319.731 | 174.433 | -311.1083 | 174.433 | 0
1032387.248 | 168.4439 | -308.9994 | 168.4439 | 0
1043574.698 | 162.5888 | -306.5602 | 162.5888 | 0
1054883.381 | 156.9316 | -303.9449 | 156.9316 | 0
1066314.61 | 151.5064 | -301.0228 | 151.5064 | 0
1077869.714 | 146.2615 | -297.9468 | 146.2615 | 0
1089550.034 | 141.3253 | -294.7043 | 141.3253 | 0
1101356.928 | 136.4555 | -291.3376 | 136.4555 | 0
1113291.767 | 131.9469 | -287.8145 | 131.9469 | 0
1125355.937 | 127.6529 | -284.1755 | 127.6529 | 0
1137550.841 | 123.4393 | -280.4345 | 123.4393 | 0
1149877.895 | 119.537 | -276.7307 | 119.537 | 0
1162338.531 | 115.7681 | -272.8018 | 115.7681 | 0
1174934.196 | 112.2736 | -268.8706 | 112.2736 | 0
1187666.354 | 108.8793 | -264.9601 | 108.8793 | 0
1200536.484 | 105.7538 | -260.9831 | 105.7538 | 0
1213546.081 | 102.7198 | -257.0216 | 102.7198 | 0
1226696.656 | 99.8829 | -252.9763 | 99.8829 | 0
1239989.738 | 97.1795 | -248.9592 | 97.1795 | 0
1253426.869 | 94.6778 | -244.9521 | 94.6778 | 0
1267009.612 | 92.288 | -240.9553 | 92.288 | 0
1280739.544 | 90.1225 | -236.9291 | 90.1225 | 0
1294618.26 | 88.0049 | -232.9713 | 88.0049 | 0
1308647.373 | 86.0475 | -228.9776 | 86.0475 | 0
1322828.512 | 84.255 | -225.061 | 84.255 | 0
1337163.325 | 82.4681 | -221.1609 | 82.4681 | 0
1351653.477 | 80.9295 | -217.2661 | 80.9295 | 0
1366300.651 | 79.3944 | -213.4578 | 79.3944 | 0
1381106.549 | 78.0343 | -209.6269 | 78.0343 | 0
1396072.891 | 76.7023 | -205.8398 | 76.7023 | 0
1411201.415 | 75.5574 | -202.1101 | 75.5574 | 0
1426493.88 | 74.439 | -198.4268 | 74.439 | 0
1441952.061 | 73.4191 | -194.7588 | 73.4191 | 0
1457577.754 | 72.4697 | -191.1275 | 72.4697 | 0
1473372.775 | 71.6502 | -187.5571 | 71.6502 | 0
1489338.959 | 70.8698 | -184.0053 | 70.8698 | 0
1505478.16 | 70.1611 | -180.4965 | 70.1611 | 0
1521792.253 | 69.59 | -177.0594 | 69.59 | 0
1538283.134 | 69.0059 | -173.6189 | 69.0059 | 0
1554952.717 | 68.5241 | -170.2711 | 68.5241 | 0
1571802.941 | 68.1264 | -166.9171 | 68.1264 | 0
1588835.762 | 67.7853 | -163.6447 | 67.7853 | 0
1606053.158 | 67.4811 | -160.3959 | 67.4811 | 0
1623457.131 | 67.2788 | -157.1879 | 67.2788 | 0
1641049.702 | 67.103 | -154.0481 | 67.103 | 0
1658832.914 | 66.9966 | -150.9243 | 66.9966 | 0
1676808.834 | 66.9654 | -147.8331 | 66.9654 | 0
1694979.549 | 66.9698 | -144.828 | 66.9698 | 0
1713347.172 | 67.0064 | -141.8469 | 67.0064 | 0
1731913.834 | 67.1358 | -138.919 | 67.1358 | 0
1750681.695 | 67.2924 | -136.0331 | 67.2924 | 0
1769652.932 | 67.4949 | -133.1895 | 67.4949 | 0
1788829.752 | 67.7582 | -130.3975 | 67.7582 | 0
1808214.38 | 68.0553 | -127.6484 | 68.0553 | 0
1827809.07 | 68.4179 | -124.958 | 68.4179 | 0
1847616.098 | 68.8116 | -122.3225 | 68.8116 | 0
1867637.764 | 69.2745 | -119.7085 | 69.2745 | 0
1887876.395 | 69.7681 | -117.1688 | 69.7681 | 0
1908334.341 | 70.3105 | -114.7062 | 70.3105 | 0
1929013.98 | 70.8792 | -112.26 | 70.8792 | 0
1949917.713 | 71.5313 | -109.8848 | 71.5313 | 0
1971047.969 | 72.1868 | -107.5709 | 72.1868 | 0
1992407.203 | 72.8839 | -105.3053 | 72.8839 | 0
2013997.896 | 73.6261 | -103.1058 | 73.6261 | 0
2035822.556 | 74.416 | -100.9617 | 74.416 | 0
2057883.719 | 75.2126 | -98.9165 | 75.2126 | 0
2080183.947 | 76.0712 | -96.8964 | 76.0712 | 0
2102725.832 | 76.9487 | -94.9825 | 76.9487 | 0
2125511.991 | 77.842 | -93.1097 | 77.842 | 0
2148545.072 | 78.7569 | -91.3213 | 78.7569 | 0
2171827.751 | 79.708 | -89.5998 | 79.708 | 0
2195362.732 | 80.6449 | -87.965 | 80.6449 | 0
2219152.75 | 81.6266 | -86.4026 | 81.6266 | 0
2243200.568 | 82.5847 | -84.9259 | 82.5847 | 0
2267508.979 | 83.5778 | -83.5138 | 83.5778 | 0
2292080.809 | 84.5445 | -82.1934 | 84.5445 | 0
2316918.911 | 85.5167 | -80.9528 | 85.5167 | 0
2342026.17 | 86.4613 | -79.7785 | 86.4613 | 0
2367405.504 | 87.4116 | -78.6763 | 87.4116 | 0
2393059.861 | 88.3117 | -77.6702 | 88.3117 | 0
2418992.221 | 89.1877 | -76.7211 | 89.1877 | 0
2445205.597 | 90.0227 | -75.8542 | 90.0227 | 0
2471703.033 | 90.8199 | -75.0375 | 90.8199 | 0
2498487.609 | 91.5869 | -74.2662 | 91.5869 | 0
2525562.435 | 92.2914 | -73.5559 | 92.2914 | 0
2552930.657 | 92.944 | -72.9229 | 92.944 | 0
2580595.454 | 93.5259 | -72.2854 | 93.5259 | 0
2608560.041 | 94.064 | -71.7197 | 94.064 | 0
2636827.666 | 94.5399 | -71.1593 | 94.5399 | 0
2665401.612 | 94.963 | -70.6172 | 94.963 | 0
2694285.2 | 95.313 | -70.0949 | 95.313 | 0
2723481.784 | 95.6232 | -69.5802 | 95.6232 | 0
2752994.756 | 95.8593 | -69.0501 | 95.8593 | 0
2782827.546 | 96.0515 | -68.5129 | 96.0515 | 0
2812983.618 | 96.2167 | -67.9501 | 96.2167 | 0
2843466.476 | 96.3173 | -67.3837 | 96.3173 | 0
2874279.66 | 96.3975 | -66.7836 | 96.3975 | 0
2905426.752 | 96.4648 | -66.1657 | 96.4648 | 0
2936911.369 | 96.4966 | -65.5026 | 96.4966 | 0
2968737.168 | 96.5019 | -64.8172 | 96.5019 | 0
3000907.847 | 96.5021 | -64.1023 | 96.5021 | 0
3033427.143 | 96.5093 | -63.349 | 96.5093 | 0
3066298.834 | 96.5185 | -62.5783 | 96.5185 | 0
3099526.739 | 96.5418 | -61.789 | 96.5418 | 0
3133114.717 | 96.5893 | -60.9652 | 96.5893 | 0
3167066.671 | 96.651 | -60.1258 | 96.651 | 0
3201386.545 | 96.7144 | -59.2799 | 96.7144 | 0
3236078.326 | 96.8247 | -58.4187 | 96.8247 | 0
3271146.044 | 96.9624 | -57.5604 | 96.9624 | 0
3306593.772 | 97.1108 | -56.6905 | 97.1108 | 0
3342425.63 | 97.2909 | -55.837 | 97.2909 | 0
3378645.779 | 97.4923 | -55.0014 | 97.4923 | 0
3415258.427 | 97.7214 | -54.1523 | 97.7214 | 0
3452267.827 | 97.9696 | -53.3275 | 97.9696 | 0
3489678.279 | 98.2354 | -52.5316 | 98.2354 | 0
3527494.129 | 98.5194 | -51.7549 | 98.5194 | 0
3565719.77 | 98.8072 | -50.9927 | 98.8072 | 0
3604359.643 | 99.112 | -50.2612 | 99.112 | 0
3643418.236 | 99.4336 | -49.54 | 99.4336 | 0
3682900.087 | 99.7398 | -48.8531 | 99.7398 | 0
3722809.783 | 100.0656 | -48.1744 | 100.0656 | 0
3763151.959 | 100.3832 | -47.5322 | 100.3832 | 0
3803931.303 | 100.6813 | -46.9023 | 100.6813 | 0
3845152.552 | 100.9957 | -46.2885 | 100.9957 | 0
3886820.494 | 101.3064 | -45.6883 | 101.3064 | 0
3928939.97 | 101.598 | -45.104 | 101.598 | 0
3971515.874 | 101.8943 | -44.5234 | 101.8943 | 0
4014553.15 | 102.1849 | -43.941 | 102.1849 | 0
4058056.8 | 102.4799 | -43.3775 | 102.4799 | 0
4102031.876 | 102.7541 | -42.8029 | 102.7541 | 0
4146483.487 | 103.0502 | -42.2378 | 103.0502 | 0
4191416.798 | 103.3406 | -41.6892 | 103.3406 | 0
4236837.027 | 103.6408 | -41.1334 | 103.6408 | 0
4282749.453 | 103.9445 | -40.5989 | 103.9445 | 0
4329159.408 | 104.2493 | -40.0591 | 104.2493 | 0
4376072.284 | 104.5702 | -39.5245 | 104.5702 | 0
4423493.53 | 104.8928 | -38.9943 | 104.8928 | 0
4471428.656 | 105.2251 | -38.477 | 105.2251 | 0
4519883.231 | 105.578 | -37.9827 | 105.578 | 0
4568862.882 | 105.9296 | -37.4767 | 105.9296 | 0
4618373.301 | 106.2814 | -37.0063 | 106.2814 | 0
4668420.24 | 106.652 | -36.5242 | 106.652 | 0
4719009.511 | 107.0311 | -36.0882 | 107.0311 | 0
4770146.991 | 107.4128 | -35.6429 | 107.4128 | 0
4821838.623 | 107.7854 | -35.225 | 107.7854 | 0
4874090.41 | 108.1579 | -34.8306 | 108.1579 | 0
4926908.423 | 108.5451 | -34.4261 | 108.5451 | 0
4980298.798 | 108.9207 | -34.0615 | 108.9207 | 0
5034267.736 | 109.2337 | -33.6797 | 109.2337 | 0
5088821.509 | 109.6105 | -33.3406 | 109.6105 | 0
5143966.452 | 109.9774 | -32.9959 | 109.9774 | 0
5199708.973 | 110.3254 | -32.6537 | 110.3254 | 0
5256055.547 | 110.6811 | -32.3011 | 110.6811 | 0
5313012.72 | 111.0349 | -31.957 | 111.0349 | 0
5370587.108 | 111.4039 | -31.6236 | 111.4039 | 0
5428785.401 | 111.7547 | -31.2863 | 111.7547 | 0
5487614.358 | 112.0993 | -30.9562 | 112.0993 | 0
5547080.815 | 112.4489 | -30.639 | 112.4489 | 0
5607191.679 | 112.8037 | -30.2824 | 112.8037 | 0
5667953.934 | 113.1396 | -29.9179 | 113.1396 | 0
5729374.638 | 113.4828 | -29.5562 | 113.4828 | 0
5791460.926 | 113.8335 | -29.1712 | 113.8335 | 0
5854220.012 | 114.1763 | -28.7661 | 114.1763 | 0
5917659.186 | 114.542 | -28.3346 | 114.542 | 0
5981785.817 | 114.9243 | -27.8543 | 114.9243 | 0
6046607.356 | 115.3381 | -27.3306 | 115.3381 | 0
6112131.333 | 115.7931 | -26.7675 | 115.7931 | 0
6178365.359 | 116.3015 | -26.1765 | 116.3015 | 0
6245317.129 | 116.8947 | -25.5421 | 116.8947 | 0
6312994.421 | 117.5578 | -24.8942 | 117.5578 | 0
6381405.098 | 118.3067 | -24.2088 | 118.3067 | 0
6450557.105 | 119.1588 | -23.5238 | 119.1588 | 0
6520458.478 | 120.1198 | -22.8346 | 120.1198 | 0
6591117.335 | 121.2029 | -22.1496 | 121.2029 | 0
6662541.887 | 122.4306 | -21.4712 | 122.4306 | 0
6734740.429 | 123.8043 | -20.8477 | 123.8043 | 0
6807721.35 | 125.3251 | -20.2829 | 125.3251 | 0
6881493.128 | 126.9898 | -19.8003 | 126.9898 | 0
6956064.332 | 128.8517 | -19.4171 | 128.8517 | 0
7031443.627 | 130.8677 | -19.186 | 130.8677 | 0
7107639.768 | 133.0638 | -19.1391 | 133.0638 | 0
7184661.607 | 135.3965 | -19.2988 | 135.3965 | 0
7262518.093 | 137.877 | -19.7238 | 137.877 | 0
7341218.269 | 140.4807 | -20.4727 | 140.4807 | 0
7420771.279 | 143.1348 | -21.5359 | 143.1348 | 0
7501186.364 | 145.7945 | -23.002 | 145.7945 | 0
7582472.866 | 148.4045 | -24.868 | 148.4045 | 0
7664640.227 | 150.8674 | -27.1961 | 150.8674 | 0
7747697.994 | 152.9848 | -29.9359 | 152.9848 | 0
7831655.816 | 154.6951 | -32.9083 | 154.6951 | 0
7916523.445 | 156.1207 | -35.9983 | 156.1207 | 0
8002310.742 | 157.2469 | -39.2758 | 157.2469 | 0
8089027.671 | 157.9453 | -42.7532 | 157.9453 | 0
8176684.307 | 158.1868 | -46.2904 | 158.1868 | 0
8265290.832 | 157.9701 | -49.7715 | 157.9701 | 0
8354857.541 | 157.3573 | -53.0662 | 157.3573 | 0
8445394.839 | 156.3702 | -56.1237 | 156.3702 | 0
8536913.243 | 155.1396 | -58.8964 | 155.1396 | 0
8629423.384 | 153.7293 | -61.3328 | 153.7293 | 0
8722936.011 | 152.2768 | -63.4231 | 152.2768 | 0
8817461.986 | 150.7896 | -65.2087 | 150.7896 | 0
8913012.29 | 149.4518 | -66.7208 | 149.4518 | 0
9009598.024 | 148.2512 | -68.0337 | 148.2512 | 0
9107230.407 | 147.2395 | -69.2067 | 147.2395 | 0
9205920.783 | 146.4171 | -70.3731 | 146.4171 | 0
9305680.615 | 145.8503 | -71.5105 | 145.8503 | 0
9406521.494 | 145.4345 | -72.7827 | 145.4345 | 0
9508455.133 | 145.1846 | -74.2133 | 145.1846 | 0
9611493.375 | 145.0387 | -75.8797 | 145.0387 | 0
9715648.189 | 144.9223 | -77.7889 | 144.9223 | 0
9820931.676 | 144.7748 | -79.9809 | 144.7748 | 0
9927356.065 | 144.4686 | -82.4801 | 144.4686 | 0
10034933.721 | 143.9926 | -85.199 | 143.9926 | 0
10143677.141 | 143.2649 | -88.1987 | 143.2649 | 0
10253598.957 | 142.2175 | -91.3584 | 142.2175 | 0
10364711.94 | 140.769 | -94.6381 | 140.769 | 0
10477028.997 | 138.9287 | -98.013 | 138.9287 | 0
10590563.176 | 136.6799 | -101.3313 | 136.6799 | 0
10705327.666 | 134.0035 | -104.5643 | 134.0035 | 0
10821335.801 | 130.9087 | -107.6292 | 130.9087 | 0
10938601.056 | 127.467 | -110.4655 | 127.467 | 0
11057137.054 | 123.7151 | -113.0059 | 123.7151 | 0
11176957.566 | 119.674 | -115.1988 | 119.674 | 0
11298076.511 | 115.4252 | -117.0438 | 115.4252 | 0
11420507.96 | 111.0214 | -118.502 | 111.0214 | 0
11544266.136 | 106.5172 | -119.6003 | 106.5172 | 0
11669365.415 | 101.9334 | -120.2682 | 101.9334 | 0
11795820.331 | 97.3796 | -120.474 | 97.3796 | 0
11923645.574 | 92.9746 | -120.3377 | 92.9746 | 0
12052855.993 | 88.7394 | -119.9504 | 88.7394 | 0
12183466.6 | 84.625 | -119.2683 | 84.625 | 0
12315492.566 | 80.6718 | -118.3962 | 80.6718 | 0
12448949.23 | 76.8682 | -117.3242 | 76.8682 | 0
12583852.095 | 73.2331 | -116.0935 | 73.2331 | 0
12720216.834 | 69.7653 | -114.7031 | 69.7653 | 0
12858059.286 | 66.46 | -113.2029 | 66.46 | 0
12997395.467 | 63.2921 | -111.6047 | 63.2921 | 0
13138241.562 | 60.2879 | -109.92 | 60.2879 | 0
13280613.934 | 57.4124 | -108.1539 | 57.4124 | 0
13424529.122 | 54.6604 | -106.3329 | 54.6604 | 0
13570003.846 | 52.0483 | -104.4569 | 52.0483 | 0
13717055.004 | 49.5285 | -102.5233 | 49.5285 | 0
13865699.679 | 47.1351 | -100.5375 | 47.1351 | 0
14015955.141 | 44.8648 | -98.4901 | 44.8648 | 0
14167838.844 | 42.7009 | -96.4053 | 42.7009 | 0
14321368.433 | 40.6281 | -94.272 | 40.6281 | 0
14476561.742 | 38.6939 | -92.0943 | 38.6939 | 0
14633436.802 | 36.867 | -89.892 | 36.867 | 0
14792011.837 | 35.1803 | -87.6534 | 35.1803 | 0
14952305.267 | 33.6102 | -85.4013 | 33.6102 | 0
15114335.715 | 32.1882 | -83.1617 | 32.1882 | 0
15278122.004 | 30.868 | -80.9478 | 30.868 | 0
15443683.161 | 29.6321 | -78.7293 | 29.6321 | 0
15611038.419 | 28.5433 | -76.5303 | 28.5433 | 0
15780207.219 | 27.5578 | -74.3686 | 27.5578 | 0
15951209.215 | 26.6949 | -72.266 | 26.6949 | 0
16124064.272 | 25.9453 | -70.2622 | 25.9453 | 0
16298792.471 | 25.2523 | -68.4209 | 25.2523 | 0
16475414.109 | 24.4428 | -66.6826 | 24.4428 | 0
16653949.704 | 23.5926 | -64.8921 | 23.5926 | 0
16834419.999 | 22.7579 | -63.0509 | 22.7579 | 0
17016845.957 | 22.001 | -61.1657 | 22.001 | 0
17201248.771 | 21.3237 | -59.3433 | 21.3237 | 0
17387649.865 | 20.6468 | -57.5251 | 20.6468 | 0
17576070.891 | 20.0385 | -55.6686 | 20.0385 | 0
17766533.738 | 19.5333 | -53.8489 | 19.5333 | 0
17959060.534 | 19.0289 | -52.0578 | 19.0289 | 0
18153673.644 | 18.6117 | -50.2498 | 18.6117 | 0
18350395.676 | 18.3007 | -48.5125 | 18.3007 | 0
18549249.483 | 18.1425 | -46.8561 | 18.1425 | 0
18750258.167 | 18.1355 | -45.5137 | 18.1355 | 0
18953445.079 | 17.9538 | -44.4881 | 17.9538 | 0
19158833.823 | 17.3116 | -43.6133 | 17.3116 | 0
19366448.26 | 16.2265 | -42.452 | 16.2265 | 0
19576312.507 | 15.1303 | -40.8155 | 15.1303 | 0
19788450.945 | 14.3209 | -38.9819 | 14.3209 | 0
20002888.218 | 13.7328 | -37.1839 | 13.7328 | 0
20219649.238 | 13.2105 | -35.4327 | 13.2105 | 0
20438759.186 | 12.708 | -33.6721 | 12.708 | 0
20660243.516 | 12.2397 | -31.8745 | 12.2397 | 0
20884127.957 | 11.8384 | -30.044 | 11.8384 | 0
21110438.52 | 11.5308 | -28.2252 | 11.5308 | 0
21339201.493 | 11.3073 | -26.4329 | 11.3073 | 0
21570443.453 | 11.1689 | -24.6957 | 11.1689 | 0
21804191.264 | 11.1057 | -23.0558 | 11.1057 | 0
22040472.079 | 11.0108 | -21.5591 | 11.0108 | 0
22279313.348 | 10.7864 | -20.0961 | 10.7864 | 0
22520742.818 | 10.5178 | -18.5729 | 10.5178 | 0
22764788.534 | 10.2545 | -17.0394 | 10.2545 | 0
23011478.848 | 9.9751 | -15.4985 | 9.9751 | 0
23260842.419 | 9.684 | -13.93 | 9.684 | 0
23512908.214 | 9.3977 | -12.3231 | 9.3977 | 0
23767705.517 | 9.1407 | -10.6903 | 9.1407 | 0
24025263.927 | 8.8615 | -9.0379 | 8.8615 | 0
24285613.366 | 8.6309 | -7.3212 | 8.6309 | 0
24548784.077 | 8.4443 | -5.6008 | 8.4443 | 0
24814806.635 | 8.2746 | -3.8875 | 8.2746 | 0
25083711.942 | 8.1163 | -2.1573 | 8.1163 | 0
25355531.237 | 7.9927 | -0.41112 | 7.9927 | 0
25630296.099 | 7.887 | 1.3293 | 7.887 | 0
25908038.446 | 7.7812 | 3.0843 | 7.7812 | 0
26188790.544 | 7.7048 | 4.868 | 7.7048 | 0
26472585.009 | 7.6609 | 6.651 | 7.6609 | 0
26759454.808 | 7.6316 | 8.4272 | 7.6316 | 0
27049433.268 | 7.607 | 10.2008 | 7.607 | 0
27342554.075 | 7.5808 | 11.9817 | 7.5808 | 0
27638851.282 | 7.5629 | 13.7721 | 7.5629 | 0
27938359.31 | 7.5405 | 15.5604 | 7.5405 | 0
28241112.952 | 7.5032 | 17.3566 | 7.5032 | 0
28547147.38 | 7.4209 | 19.1618 | 7.4209 | 0
28856498.145 | 7.2816 | 21.021 | 7.2816 | 0
29169201.186 | 7.1153 | 22.9738 | 7.1153 | 0
29485292.829 | 6.9585 | 25.0202 | 6.9585 | 0
29804809.795 | 6.8234 | 27.1423 | 6.8234 | 0
30127789.202 | 6.7076 | 29.3551 | 6.7076 | 0
30454268.571 | 6.6427 | 31.6651 | 6.6427 | 0
30784285.828 | 6.637 | 34.044 | 6.637 | 0
31117879.314 | 6.6941 | 36.4823 | 6.6941 | 0
31455087.78 | 6.8143 | 38.9501 | 6.8143 | 0
31795950.401 | 6.9704 | 41.4416 | 6.9704 | 0
32140506.776 | 7.1303 | 43.9929 | 7.1303 | 0
32488796.93 | 7.327 | 46.6095 | 7.327 | 0
32840861.326 | 7.5412 | 49.3001 | 7.5412 | 0
33196740.864 | 7.7674 | 52.0643 | 7.7674 | 0
33556476.884 | 8.0314 | 54.9357 | 8.0314 | 0
33920111.179 | 8.3397 | 57.9101 | 8.3397 | 0
34287685.992 | 8.7028 | 60.9933 | 8.7028 | 0
34659244.025 | 9.1261 | 64.1794 | 9.1261 | 0
35034828.441 | 9.5882 | 67.4502 | 9.5882 | 0
35414482.872 | 10.0739 | 70.8734 | 10.0739 | 0
35798251.423 | 10.6558 | 74.4422 | 10.6558 | 0
36186178.677 | 11.3095 | 78.1155 | 11.3095 | 0
36578309.699 | 11.9635 | 81.8956 | 11.9635 | 0
36974690.043 | 12.581 | 85.8797 | 12.581 | 0
37375365.757 | 13.1583 | 90.1955 | 13.1583 | 0
37780383.389 | 13.8361 | 94.9497 | 13.8361 | 0
38189789.988 | 14.7696 | 100.1626 | 14.7696 | 0
38603633.116 | 16.088 | 105.7238 | 16.088 | 0
39021960.849 | 17.8257 | 111.5227 | 17.8257 | 0
39444821.785 | 19.9203 | 117.4388 | 19.9203 | 0
39872265.048 | 22.2089 | 123.3966 | 22.2089 | 0
40304340.294 | 24.3499 | 129.5781 | 24.3499 | 0
40741097.717 | 26.3647 | 136.4333 | 26.3647 | 0
41182588.056 | 28.5673 | 144.4585 | 28.5673 | 0
41628862.598 | 31.5709 | 153.6555 | 31.5709 | 0
42079973.189 | 35.6168 | 163.7803 | 35.6168 | 0
42535972.233 | 40.7514 | 174.8067 | 40.7514 | 0
42996912.705 | 47.2471 | 186.6028 | 47.2471 | 0
43462848.151 | 54.9229 | 199.2729 | 54.9229 | 0
43933832.701 | 64.0519 | 213.33 | 64.0519 | 0
44409921.068 | 75.0709 | 229.296 | 75.0709 | 0
44891168.56 | 88.7026 | 247.5765 | 88.7026 | 0
45377631.084 | 106.027 | 270.2919 | 106.027 | 0
45869365.152 | 132.7666 | 299.3225 | 132.7666 | 0
46366427.89 | 176.5305 | 330.5992 | 176.5305 | 0
46868877.041 | 244.3092 | 355.4326 | 244.3092 | 0
47376770.975 | 336.2082 | 354.6432 | 336.2082 | 0
47890168.695 | 438.3854 | 314.1364 | 438.3854 | 0
48409129.842 | 528.4771 | 222.1084 | 528.4771 | 0
48933714.704 | 575.0444 | 86.5429 | 575.0444 | 0
49463984.223 | 547.4385 | -69.0975 | 547.4385 | 0
50000000 | 437.8419 | -170.8543 | 437.8419 | 0
TRACE: B
FORMAT: LINEAR
Frequency | Data Real | Data Imag | Data Trace Real | Data Trace Imag
9000 | 346.3604 | -20922.07 | -20922.07 | 0
9097.528 | 338.3184 | -20700.03 | -20700.03 | 0
9196.114 | 336.7861 | -20477.36 | -20477.36 | 0
9295.767 | 329.4116 | -20260.2 | -20260.2 | 0
9396.501 | 320.4388 | -20043.46 | -20043.46 | 0
9498.326 | 319.1486 | -19835.95 | -19835.95 | 0
9601.254 | 316.2988 | -19625.5 | -19625.5 | 0
9705.298 | 309.0708 | -19416.84 | -19416.84 | 0
9810.469 | 307.8772 | -19212.31 | -19212.31 | 0
9916.78 | 305.4234 | -19008.39 | -19008.39 | 0
10024.243 | 300.5003 | -18803.95 | -18803.95 | 0
10132.871 | 293.0192 | -18599.61 | -18599.61 | 0
10242.676 | 293.1695 | -18403.36 | -18403.36 | 0
10353.67 | 284.1759 | -18208.86 | -18208.86 | 0
10465.868 | 283.1263 | -18018.29 | -18018.29 | 0
10579.281 | 284.5701 | -17823.89 | -17823.89 | 0
10693.923 | 278.0112 | -17634.77 | -17634.77 | 0
10809.808 | 269.9266 | -17446.22 | -17446.22 | 0
10926.948 | 274.3497 | -17263.07 | -17263.07 | 0
11045.358 | 267.0538 | -17077.9 | -17077.9 | 0
11165.051 | 261.3284 | -16898.34 | -16898.34 | 0
11286.041 | 263.2262 | -16715.52 | -16715.52 | 0
11408.342 | 262.2395 | -16538.86 | -16538.86 | 0
11531.968 | 256.8485 | -16363.55 | -16363.55 | 0
11656.934 | 247.7717 | -16185.32 | -16185.32 | 0
11783.254 | 253.6917 | -16016.19 | -16016.19 | 0
11910.943 | 250.8447 | -15843.25 | -15843.25 | 0
12040.016 | 241.839 | -15674.58 | -15674.58 | 0
12170.487 | 242.8384 | -15507.23 | -15507.23 | 0
12302.373 | 236.76 | -15346.93 | -15346.93 | 0
12435.687 | 232.9492 | -15181.56 | -15181.56 | 0
12570.446 | 234.4319 | -15022.75 | -15022.75 | 0
12706.666 | 227.3075 | -14861.17 | -14861.17 | 0
12844.361 | 223.9968 | -14706.22 | -14706.22 | 0
12983.549 | 223.5605 | -14549.16 | -14549.16 | 0
13124.245 | 225.5546 | -14393.73 | -14393.73 | 0
13266.466 | 220.9621 | -14241.14 | -14241.14 | 0
13410.228 | 217.6679 | -14087.23 | -14087.23 | 0
13555.548 | 214.533 | -13935.75 | -13935.75 | 0
13702.442 | 212.945 | -13787.49 | -13787.49 | 0
13850.928 | 208.9344 | -13642.59 | -13642.59 | 0
14001.024 | 207.7062 | -13495.6 | -13495.6 | 0
14152.746 | 206.9059 | -13354.52 | -13354.52 | 0
14306.112 | 198.796 | -13208.67 | -13208.67 | 0
14461.14 | 199.4848 | -13069.01 | -13069.01 | 0
14617.848 | 193.7042 | -12929.39 | -12929.39 | 0
14776.254 | 195.1627 | -12793.68 | -12793.68 | 0
14936.376 | 190.9834 | -12656.02 | -12656.02 | 0
15098.234 | 191.4772 | -12520.65 | -12520.65 | 0
15261.846 | 188.5251 | -12392.43 | -12392.43 | 0
15427.231 | 186.0995 | -12255.96 | -12255.96 | 0
15594.408 | 185.0479 | -12126.62 | -12126.62 | 0
15763.396 | 181.3602 | -11997.4 | -11997.4 | 0
15934.216 | 178.5101 | -11869.72 | -11869.72 | 0
16106.887 | 176.2922 | -11745.02 | -11745.02 | 0
16281.429 | 176.6114 | -11622.21 | -11622.21 | 0
16457.863 | 176.192 | -11494.61 | -11494.61 | 0
16636.208 | 174.4131 | -11373.33 | -11373.33 | 0
16816.486 | 172.1097 | -11250.82 | -11250.82 | 0
16998.718 | 168.4315 | -11133.04 | -11133.04 | 0
17182.924 | 162.3455 | -11016.21 | -11016.21 | 0
17369.127 | 160.1854 | -10897.72 | -10897.72 | 0
17557.347 | 163.9278 | -10779.93 | -10779.93 | 0
17747.607 | 158.6744 | -10667.74 | -10667.74 | 0
17939.929 | 161.943 | -10551.55 | -10551.55 | 0
18134.334 | 157.432 | -10441.44 | -10441.44 | 0
18330.847 | 149.9446 | -10330.49 | -10330.49 | 0
18529.489 | 151.7908 | -10219.41 | -10219.41 | 0
18730.283 | 153.5478 | -10111.82 | -10111.82 | 0
18933.254 | 141.4725 | -10002.79 | -10002.79 | 0
19138.424 | 142.2284 | -9891.6 | -9891.6 | 0
19345.817 | 165.1052 | -9787.346 | -9787.346 | 0
19555.458 | 162.4703 | -9688.631 | -9688.631 | 0
19767.37 | 189.8306 | -9566.242 | -9566.242 | 0
19981.579 | 83.9932 | -9433.449 | -9433.449 | 0
20198.109 | 129.0716 | -9405.34 | -9405.34 | 0
20416.986 | 136.682 | -9279.051 | -9279.051 | 0
20638.234 | 132.939 | -9180.555 | -9180.555 | 0
20861.88 | 137.2511 | -9082.938 | -9082.938 | 0
21087.949 | 133.9084 | -8985.725 | -8985.725 | 0
21316.469 | 135.7321 | -8893.35 | -8893.35 | 0
21547.464 | 133.0614 | -8795.982 | -8795.982 | 0
21780.963 | 130.9686 | -8700.055 | -8700.055 | 0
22016.992 | 126.3888 | -8613.902 | -8613.902 | 0
22255.579 | 128.973 | -8518.473 | -8518.473 | 0
22496.751 | 127.3252 | -8427.713 | -8427.713 | 0
22740.537 | 124.746 | -8337.572 | -8337.572 | 0
22986.964 | 124.0534 | -8249.809 | -8249.809 | 0
23236.062 | 120.6082 | -8161.225 | -8161.225 | 0
23487.86 | 122.3905 | -8073.858 | -8073.858 | 0
23742.386 | 117.0543 | -7988.351 | -7988.351 | 0
23999.67 | 118.1759 | -7901.671 | -7901.671 | 0
24259.742 | 115.8348 | -7818.465 | -7818.465 | 0
24522.632 | 115.6274 | -7734.271 | -7734.271 | 0
24788.371 | 115.4057 | -7651.637 | -7651.637 | 0
25056.99 | 113.4958 | -7570.841 | -7570.841 | 0
25328.52 | 109.815 | -7490.849 | -7490.849 | 0
25602.992 | 111.8788 | -7410.369 | -7410.369 | 0
25880.438 | 110.6092 | -7330.39 | -7330.39 | 0
26160.891 | 109.1952 | -7252.771 | -7252.771 | 0
26444.383 | 107.828 | -7176.025 | -7176.025 | 0
26730.948 | 106.7876 | -7098.012 | -7098.012 | 0
27020.617 | 105.0805 | -7023.833 | -7023.833 | 0
27313.426 | 104.5416 | -6948.518 | -6948.518 | 0
27609.407 | 103.0652 | -6873.311 | -6873.311 | 0
27908.596 | 100.4998 | -6801.528 | -6801.528 | 0
28211.027 | 99.1512 | -6729.224 | -6729.224 | 0
28516.736 | 101.2563 | -6656.326 | -6656.326 | 0
28825.757 | 98.212 | -6585.387 | -6585.387 | 0
29138.127 | 97.068 | -6514.654 | -6514.654 | 0
29453.882 | 96.4521 | -6446.257 | -6446.257 | 0
29773.058 | 95.8565 | -6376.501 | -6376.501 | 0
30095.694 | 95.7865 | -6307.918 | -6307.918 | 0
30421.825 | 93.0564 | -6241.036 | -6241.036 | 0
30751.491 | 93.5551 | -6174.75 | -6174.75 | 0
31084.729 | 91.1108 | -6109.175 | -6109.175 | 0
31421.578 | 91.6586 | -6043.9 | -6043.9 | 0
31762.078 | 90.1634 | -5978.456 | -5978.456 | 0
32106.267 | 89.1587 | -5915.049 | -5915.049 | 0
32454.186 | 88.1285 | -5852.443 | -5852.443 | 0
32805.876 | 87.0059 | -5791.007 | -5791.007 | 0
33161.376 | 86.4823 | -5728.575 | -5728.575 | 0
33520.729 | 85.0013 | -5666.318 | -5666.318 | 0
33883.976 | 85.5815 | -5606.798 | -5606.798 | 0
34251.159 | 83.0246 | -5546.626 | -5546.626 | 0
34622.321 | 83.7331 | -5486.922 | -5486.922 | 0
34997.505 | 83.9141 | -5428.767 | -5428.767 | 0
35376.755 | 81.4282 | -5370.542 | -5370.542 | 0
35760.115 | 80.5058 | -5312.047 | -5312.047 | 0
36147.629 | 78.5475 | -5256.359 | -5256.359 | 0
36539.342 | 80.5864 | -5199.333 | -5199.333 | 0
36935.301 | 77.8309 | -5146.469 | -5146.469 | 0
37335.549 | 76.2186 | -5090.816 | -5090.816 | 0
37740.136 | 75.563 | -5034.098 | -5034.098 | 0
38149.106 | 77.8347 | -4977.825 | -4977.825 | 0
38562.508 | 64.6096 | -4932.549 | -4932.549 | 0
38980.39 | 73.6208 | -4872.12 | -4872.12 | 0
39402.801 | 75.8804 | -4822.425 | -4822.425 | 0
39829.789 | 70.6521 | -4771.427 | -4771.427 | 0
40261.404 | 75.5596 | -4719.496 | -4719.496 | 0
40697.696 | 75.7018 | -4671.895 | -4671.895 | 0
41138.716 | 70.5132 | -4619.202 | -4619.202 | 0
41584.515 | 72.4261 | -4570.404 | -4570.404 | 0
42035.145 | 71.1367 | -4522.259 | -4522.259 | 0
42490.658 | 68.8334 | -4472.092 | -4472.092 | 0
42951.108 | 68.6857 | -4426.877 | -4426.877 | 0
43416.547 | 69.0445 | -4378.109 | -4378.109 | 0
43887.03 | 67.3715 | -4331.224 | -4331.224 | 0
44362.611 | 67.3983 | -4285.282 | -4285.282 | 0
44843.346 | 67.1896 | -4239.262 | -4239.262 | 0
45329.29 | 65.6816 | -4192.98 | -4192.98 | 0
45820.5 | 65.2182 | -4148.042 | -4148.042 | 0
46317.033 | 64.6033 | -4104.075 | -4104.075 | 0
46818.947 | 63.5364 | -4059.739 | -4059.739 | 0
47326.3 | 64.325 | -4015.956 | -4015.956 | 0
47839.151 | 63.3744 | -3973.33 | -3973.33 | 0
48357.559 | 64.055 | -3930.324 | -3930.324 | 0
48881.585 | 63.221 | -3888.241 | -3888.241 | 0
49411.29 | 62.8647 | -3846.635 | -3846.635 | 0
49946.734 | 61.7805 | -3805.114 | -3805.114 | 0
50487.982 | 59.7785 | -3764.62 | -3764.62 | 0
51035.094 | 59.5176 | -3723.792 | -3723.792 | 0
51588.135 | 59.2192 | -3684.848 | -3684.848 | 0
52147.169 | 59.3041 | -3644.285 | -3644.285 | 0
52712.261 | 58.8434 | -3605.435 | -3605.435 | 0
53283.477 | 57.9891 | -3566.836 | -3566.836 | 0
53860.882 | 58.3682 | -3528.755 | -3528.755 | 0
54444.545 | 57.4808 | -3490.126 | -3490.126 | 0
55034.533 | 56.4909 | -3453.042 | -3453.042 | 0
55630.914 | 56.5222 | -3415.667 | -3415.667 | 0
56233.757 | 55.8321 | -3378.688 | -3378.688 | 0
56843.134 | 55.8987 | -3342.56 | -3342.56 | 0
57459.113 | 54.5604 | -3306.773 | -3306.773 | 0
58081.768 | 54.3477 | -3271.085 | -3271.085 | 0
58711.171 | 54.3413 | -3235.949 | -3235.949 | 0
59347.393 | 54.2552 | -3200.582 | -3200.582 | 0
59990.511 | 53.2482 | -3166.513 | -3166.513 | 0
60640.597 | 53.9824 | -3132.406 | -3132.406 | 0
61297.728 | 52.9173 | -3098.155 | -3098.155 | 0
61961.98 | 52.7304 | -3064.928 | -3064.928 | 0
62633.43 | 51.9457 | -3031.959 | -3031.959 | 0
63312.156 | 51.9806 | -2999.858 | -2999.858 | 0
63998.238 | 52.0675 | -2967.34 | -2967.34 | 0
64691.754 | 50.9002 | -2935.336 | -2935.336 | 0
65392.785 | 51.052 | -2902.639 | -2902.639 | 0
66101.413 | 50.1791 | -2872.344 | -2872.344 | 0
66817.72 | 49.7867 | -2840.806 | -2840.806 | 0
67541.789 | 49.5924 | -2810.095 | -2810.095 | 0
68273.705 | 49.6122 | -2779.513 | -2779.513 | 0
69013.552 | 49.2742 | -2750.044 | -2750.044 | 0
69761.416 | 48.8132 | -2720.066 | -2720.066 | 0
70517.385 | 48.7681 | -2690.286 | -2690.286 | 0
71281.546 | 48.9442 | -2661.397 | -2661.397 | 0
72053.987 | 48.3931 | -2632.171 | -2632.171 | 0
72834.799 | 48.2079 | -2604.097 | -2604.097 | 0
73624.072 | 47.1037 | -2576.083 | -2576.083 | 0
74421.899 | 46.5016 | -2548.043 | -2548.043 | 0
75228.371 | 47.1149 | -2520.084 | -2520.084 | 0
76043.582 | 46.7192 | -2493.705 | -2493.705 | 0
76867.627 | 45.8957 | -2465.842 | -2465.842 | 0
77700.602 | 45.9813 | -2438.886 | -2438.886 | 0
78542.603 | 45.8546 | -2412.779 | -2412.779 | 0
79393.729 | 45.2053 | -2386.709 | -2386.709 | 0
80254.078 | 45.5166 | -2360.674 | -2360.674 | 0
81123.75 | 45.0873 | -2334.776 | -2334.776 | 0
82002.847 | 44.3055 | -2309.322 | -2309.322 | 0
82891.47 | 44.0893 | -2283.909 | -2283.909 | 0
83789.722 | 44.7343 | -2259.386 | -2259.386 | 0
84697.708 | 43.7896 | -2235 | -2235 | 0
85615.534 | 43.8924 | -2210.398 | -2210.398 | 0
86543.305 | 43.0205 | -2186.575 | -2186.575 | 0
87481.13 | 43.5201 | -2162.812 | -2162.812 | 0
88429.118 | 42.9012 | -2138.84 | -2138.84 | 0
89387.379 | 43.0818 | -2115.729 | -2115.729 | 0
90356.024 | 42.6935 | -2092.699 | -2092.699 | 0
91335.166 | 42.7961 | -2069.646 | -2069.646 | 0
92324.919 | 42.5069 | -2047.046 | -2047.046 | 0
93325.396 | 42.3932 | -2024.898 | -2024.898 | 0
94336.716 | 42.323 | -2002.615 | -2002.615 | 0
95358.994 | 42.3054 | -1980.422 | -1980.422 | 0
96392.35 | 42.5442 | -1958.649 | -1958.649 | 0
97436.905 | 42.0144 | -1937.152 | -1937.152 | 0
98492.779 | 41.7893 | -1916.04 | -1916.04 | 0
99560.094 | 41.699 | -1894.812 | -1894.812 | 0
100638.976 | 41.5266 | -1874.117 | -1874.117 | 0
101729.549 | 41.541 | -1853.572 | -1853.572 | 0
102831.939 | 40.8401 | -1833.082 | -1833.082 | 0
103946.276 | 41.0777 | -1812.815 | -1812.815 | 0
105072.689 | 40.8096 | -1792.698 | -1792.698 | 0
106211.307 | 40.8738 | -1772.805 | -1772.805 | 0
107362.265 | 40.3087 | -1753.409 | -1753.409 | 0
108525.694 | 40.584 | -1734.148 | -1734.148 | 0
109701.732 | 40.2502 | -1715.409 | -1715.409 | 0
110890.513 | 40.0058 | -1696.286 | -1696.286 | 0
112092.176 | 39.9778 | -1677.243 | -1677.243 | 0
113306.862 | 39.799 | -1658.675 | -1658.675 | 0
114534.71 | 39.992 | -1640.516 | -1640.516 | 0
115775.864 | 39.5702 | -1622.174 | -1622.174 | 0
117030.467 | 39.3894 | -1604.284 | -1604.284 | 0
118298.666 | 39.5601 | -1586.516 | -1586.516 | 0
119580.608 | 39.6558 | -1568.753 | -1568.753 | 0
120876.442 | 39.9447 | -1551.228 | -1551.228 | 0
122186.318 | 39.7321 | -1533.921 | -1533.921 | 0
123510.388 | 39.3028 | -1516.761 | -1516.761 | 0
124848.807 | 39.3188 | -1499.803 | -1499.803 | 0
126201.729 | 39.4819 | -1483.027 | -1483.027 | 0
127569.312 | 39.4409 | -1466.457 | -1466.457 | 0
128951.715 | 39.3589 | -1450.107 | -1450.107 | 0
130349.099 | 39.5917 | -1433.759 | -1433.759 | 0
131761.625 | 39.1928 | -1417.572 | -1417.572 | 0
133189.458 | 39.2058 | -1401.714 | -1401.714 | 0
134632.764 | 39.2675 | -1385.975 | -1385.975 | 0
136091.71 | 39.077 | -1370.269 | -1370.269 | 0
137566.466 | 39.2338 | -1354.954 | -1354.954 | 0
139057.203 | 39.5633 | -1339.585 | -1339.585 | 0
140564.094 | 39.3443 | -1324.15 | -1324.15 | 0
142087.315 | 39.1962 | -1309.379 | -1309.379 | 0
143627.042 | 39.2475 | -1294.556 | -1294.556 | 0
145183.455 | 39.1861 | -1279.841 | -1279.841 | 0
146756.733 | 39.4505 | -1265.325 | -1265.325 | 0
148347.061 | 39.5114 | -1250.957 | -1250.957 | 0
149954.621 | 39.4998 | -1236.7 | -1236.7 | 0
151579.603 | 39.7116 | -1222.414 | -1222.414 | 0
153222.193 | 39.4463 | -1208.551 | -1208.551 | 0
154882.583 | 39.5538 | -1194.874 | -1194.874 | 0
156560.966 | 39.7566 | -1181.043 | -1181.043 | 0
158257.537 | 39.8402 | -1167.474 | -1167.474 | 0
159972.492 | 39.814 | -1154.276 | -1154.276 | 0
161706.032 | 40.1791 | -1140.839 | -1140.839 | 0
163458.357 | 40.2737 | -1127.624 | -1127.624 | 0
165229.671 | 40.1825 | -1114.588 | -1114.588 | 0
167020.18 | 40.4027 | -1101.744 | -1101.744 | 0
168830.092 | 40.1754 | -1089.02 | -1089.02 | 0
170659.617 | 40.4431 | -1076.267 | -1076.267 | 0
172508.968 | 40.7143 | -1063.772 | -1063.772 | 0
174378.359 | 40.7325 | -1051.419 | -1051.419 | 0
176268.007 | 41.1144 | -1039.181 | -1039.181 | 0
178178.133 | 41.1097 | -1027.06 | -1027.06 | 0
180108.958 | 41.2526 | -1015.031 | -1015.031 | 0
182060.706 | 41.5892 | -1003.079 | -1003.079 | 0
184033.605 | 41.3873 | -991.2266 | -991.2266 | 0
186027.882 | 41.6582 | -979.4598 | -979.4598 | 0
188043.771 | 41.5664 | -968.059 | -968.059 | 0
190081.504 | 42.0609 | -956.4852 | -956.4852 | 0
192141.32 | 42.2101 | -945.2427 | -945.2427 | 0
194223.457 | 42.5665 | -934.0027 | -934.0027 | 0
196328.157 | 42.6588 | -922.7864 | -922.7864 | 0
198455.664 | 43.0433 | -911.7791 | -911.7791 | 0
200606.226 | 43.0979 | -900.7335 | -900.7335 | 0
202780.093 | 43.3107 | -890.0023 | -890.0023 | 0
204977.516 | 43.358 | -879.4077 | -879.4077 | 0
207198.752 | 43.6271 | -868.6906 | -868.6906 | 0
209444.059 | 43.9618 | -858.1459 | -858.1459 | 0
211713.696 | 44.2862 | -847.8431 | -847.8431 | 0
214007.929 | 44.5726 | -837.5156 | -837.5156 | 0
216327.023 | 44.8226 | -827.2561 | -827.2561 | 0
218671.247 | 45.1736 | -817.1396 | -817.1396 | 0
221040.875 | 45.4764 | -807.1788 | -807.1788 | 0
223436.182 | 45.6003 | -797.1547 | -797.1547 | 0
225857.445 | 45.9898 | -787.3823 | -787.3823 | 0
228304.946 | 46.2791 | -777.5901 | -777.5901 | 0
230778.969 | 46.5727 | -767.921 | -767.921 | 0
233279.802 | 47.0418 | -758.4486 | -758.4486 | 0
235807.736 | 47.2364 | -749.0306 | -749.0306 | 0
238363.063 | 47.714 | -739.5214 | -739.5214 | 0
240946.081 | 48.0742 | -730.2542 | -730.2542 | 0
243557.09 | 48.3097 | -721.0476 | -721.0476 | 0
246196.393 | 48.9114 | -711.9071 | -711.9071 | 0
248864.297 | 49.2823 | -702.9247 | -702.9247 | 0
251561.111 | 49.6168 | -693.9435 | -693.9435 | 0
254287.15 | 50.0341 | -684.9296 | -684.9296 | 0
257042.729 | 50.4898 | -676.2123 | -676.2123 | 0
259828.169 | 50.9013 | -667.5393 | -667.5393 | 0
262643.793 | 51.3947 | -658.7688 | -658.7688 | 0
265489.929 | 51.8678 | -650.3129 | -650.3129 | 0
268366.907 | 52.3247 | -641.7238 | -641.7238 | 0
271275.061 | 52.8867 | -633.337 | -633.337 | 0
274214.729 | 53.359 | -625.0229 | -625.0229 | 0
277186.254 | 53.7963 | -616.792 | -616.792 | 0
280189.979 | 54.4716 | -608.5574 | -608.5574 | 0
283226.253 | 55.0404 | -600.4474 | -600.4474 | 0
286295.431 | 55.5374 | -592.4047 | -592.4047 | 0
289397.867 | 56.2584 | -584.3921 | -584.3921 | 0
292533.923 | 56.7874 | -576.4749 | -576.4749 | 0
295703.963 | 57.4406 | -568.6212 | -568.6212 | 0
298908.355 | 58.0652 | -560.8162 | -560.8162 | 0
302147.471 | 58.765 | -553.0927 | -553.0927 | 0
305421.688 | 59.3848 | -545.4014 | -545.4014 | 0
308731.386 | 60.1757 | -537.8344 | -537.8344 | 0
312076.949 | 60.8718 | -530.2782 | -530.2782 | 0
315458.767 | 61.5575 | -522.851 | -522.851 | 0
318877.231 | 62.2561 | -515.4749 | -515.4749 | 0
322332.74 | 63.1476 | -508.0755 | -508.0755 | 0
325825.694 | 63.9172 | -500.7988 | -500.7988 | 0
329356.5 | 64.6189 | -493.6393 | -493.6393 | 0
332925.567 | 65.5246 | -486.4343 | -486.4343 | 0
336533.31 | 66.4117 | -479.3333 | -479.3333 | 0
340180.149 | 67.3532 | -472.35 | -472.35 | 0
343866.506 | 68.1912 | -465.3181 | -465.3181 | 0
347592.811 | 69.1445 | -458.3531 | -458.3531 | 0
351359.495 | 70.1799 | -451.5281 | -451.5281 | 0
355166.998 | 71.2147 | -444.6257 | -444.6257 | 0
359015.76 | 72.2142 | -437.8697 | -437.8697 | 0
362906.229 | 73.2839 | -431.1802 | -431.1802 | 0
366838.858 | 74.4243 | -424.4768 | -424.4768 | 0
370814.102 | 75.4902 | -417.8448 | -417.8448 | 0
374832.424 | 76.6578 | -411.2808 | -411.2808 | 0
378894.29 | 77.8261 | -404.8113 | -404.8113 | 0
383000.173 | 79.0657 | -398.3729 | -398.3729 | 0
387150.549 | 80.3647 | -391.8462 | -391.8462 | 0
391345.9 | 81.6911 | -385.5266 | -385.5266 | 0
395586.715 | 83.1181 | -379.2208 | -379.2208 | 0
399873.485 | 84.4299 | -372.9749 | -372.9749 | 0
404206.708 | 85.9015 | -366.7316 | -366.7316 | 0
408586.888 | 87.3384 | -360.588 | -360.588 | 0
413014.535 | 88.9081 | -354.4695 | -354.4695 | 0
417490.161 | 90.4244 | -348.4291 | -348.4291 | 0
422014.287 | 92.0967 | -342.3979 | -342.3979 | 0
426587.439 | 93.7843 | -336.4387 | -336.4387 | 0
431210.148 | 95.5379 | -330.5823 | -330.5823 | 0
435882.951 | 97.3342 | -324.6659 | -324.6659 | 0
440606.39 | 99.2032 | -318.9258 | -318.9258 | 0
445381.015 | 101.1296 | -313.1193 | -313.1193 | 0
450207.38 | 103.1476 | -307.4426 | -307.4426 | 0
455086.046 | 105.1322 | -301.818 | -301.818 | 0
460017.58 | 107.3145 | -296.2499 | -296.2499 | 0
465002.554 | 109.5574 | -290.7419 | -290.7419 | 0
470041.548 | 111.7887 | -285.2637 | -285.2637 | 0
475135.147 | 114.1591 | -279.8304 | -279.8304 | 0
480283.942 | 116.5789 | -274.4935 | -274.4935 | 0
485488.532 | 119.1521 | -269.2493 | -269.2493 | 0
490749.522 | 121.7871 | -264.0552 | -264.0552 | 0
496067.522 | 124.4792 | -258.899 | -258.899 | 0
501443.151 | 127.2861 | -253.8734 | -253.8734 | 0
506877.033 | 130.1644 | -248.9255 | -248.9255 | 0
512369.799 | 133.2414 | -244.0059 | -244.0059 | 0
517922.087 | 136.3656 | -239.2619 | -239.2619 | 0
523534.542 | 139.5479 | -234.5367 | -234.5367 | 0
529207.817 | 142.9391 | -229.9421 | -229.9421 | 0
534942.57 | 146.3996 | -225.4648 | -225.4648 | 0
540739.468 | 149.9799 | -221.0847 | -221.0847 | 0
546599.184 | 153.6925 | -216.8576 | -216.8576 | 0
552522.398 | 157.5307 | -212.7313 | -212.7313 | 0
558509.8 | 161.4979 | -208.7932 | -208.7932 | 0
564562.083 | 165.6004 | -204.9612 | -204.9612 | 0
570679.952 | 169.8106 | -201.3248 | -201.3248 | 0
576864.118 | 174.2111 | -197.8448 | -197.8448 | 0
583115.298 | 178.746 | -194.5621 | -194.5621 | 0
589434.219 | 183.3128 | -191.5483 | -191.5483 | 0
595821.614 | 188.1154 | -188.6344 | -188.6344 | 0
602278.227 | 193.0334 | -186.0869 | -186.0869 | 0
608804.807 | 197.9761 | -183.7475 | -183.7475 | 0
615402.111 | 203.1421 | -181.6345 | -181.6345 | 0
622070.908 | 208.4065 | -179.8297 | -179.8297 | 0
628811.971 | 213.7171 | -178.3467 | -178.3467 | 0
635626.083 | 219.1975 | -177.19 | -177.19 | 0
642514.036 | 224.6404 | -176.4278 | -176.4278 | 0
649476.63 | 230.2431 | -175.9343 | -175.9343 | 0
656514.675 | 235.7944 | -175.9188 | -175.9188 | 0
663628.987 | 241.4359 | -176.271 | -176.271 | 0
670820.393 | 247.0269 | -177.0219 | -177.0219 | 0
678089.729 | 252.5383 | -178.3214 | -178.3214 | 0
685437.839 | 257.939 | -180.0233 | -180.0233 | 0
692865.577 | 263.306 | -182.2148 | -182.2148 | 0
700373.805 | 268.4083 | -184.7922 | -184.7922 | 0
707963.396 | 273.3469 | -187.9578 | -187.9578 | 0
715635.231 | 277.9764 | -191.5042 | -191.5042 | 0
723390.203 | 282.2908 | -195.5786 | -195.5786 | 0
731229.21 | 286.3464 | -200.0917 | -200.0917 | 0
739153.166 | 289.8407 | -204.9716 | -204.9716 | 0
747162.989 | 292.931 | -210.3334 | -210.3334 | 0
755259.61 | 295.5782 | -215.9736 | -215.9736 | 0
763443.97 | 297.5886 | -221.9589 | -221.9589 | 0
771717.02 | 299.012 | -228.1895 | -228.1895 | 0
780079.721 | 299.8717 | -234.5842 | -234.5842 | 0
788533.044 | 300.0213 | -241.1663 | -241.1663 | 0
797077.971 | 299.5545 | -247.8923 | -247.8923 | 0
805715.496 | 298.397 | -254.5645 | -254.5645 | 0
814446.62 | 296.5914 | -261.0398 | -261.0398 | 0
823272.36 | 294.0712 | -267.4616 | -267.4616 | 0
832193.739 | 290.9727 | -273.7595 | -273.7595 | 0
841211.795 | 287.2658 | -279.6867 | -279.6867 | 0
850327.575 | 282.998 | -285.3451 | -285.3451 | 0
859542.138 | 278.3148 | -290.5284 | -290.5284 | 0
868856.555 | 273.0679 | -295.4132 | -295.4132 | 0
878271.907 | 267.3467 | -299.8891 | -299.8891 | 0
887789.288 | 261.4657 | -303.6782 | -303.6782 | 0
897409.804 | 255.1114 | -307.0629 | -307.0629 | 0
907134.573 | 248.6098 | -310.0519 | -310.0519 | 0
916964.724 | 241.844 | -312.4991 | -312.4991 | 0
926901.4 | 235.038 | -314.3332 | -314.3332 | 0
936945.754 | 228.1514 | -315.7108 | -315.7108 | 0
947098.953 | 221.1549 | -316.6396 | -316.6396 | 0
957362.178 | 214.1971 | -317.062 | -317.062 | 0
967736.62 | 207.2533 | -316.9938 | -316.9938 | 0
978223.484 | 200.4537 | -316.5798 | -316.5798 | 0
988823.99 | 193.7285 | -315.8135 | -315.8135 | 0
999539.367 | 187.1594 | -314.5905 | -314.5905 | 0
1010370.861 | 180.7896 | -312.9775 | -312.9775 | 0
1021319.731 | 174.433 | -311.1083 | -311.1083 | 0
1032387.248 | 168.4439 | -308.9994 | -308.9994 | 0
1043574.698 | 162.5888 | -306.5602 | -306.5602 | 0
1054883.381 | 156.9316 | -303.9449 | -303.9449 | 0
1066314.61 | 151.5064 | -301.0228 | -301.0228 | 0
1077869.714 | 146.2615 | -297.9468 | -297.9468 | 0
1089550.034 | 141.3253 | -294.7043 | -294.7043 | 0
1101356.928 | 136.4555 | -291.3376 | -291.3376 | 0
1113291.767 | 131.9469 | -287.8145 | -287.8145 | 0
1125355.937 | 127.6529 | -284.1755 | -284.1755 | 0
1137550.841 | 123.4393 | -280.4345 | -280.4345 | 0
1149877.895 | 119.537 | -276.7307 | -276.7307 | 0
1162338.531 | 115.7681 | -272.8018 | -272.8018 | 0
1174934.196 | 112.2736 | -268.8706 | -268.8706 | 0
1187666.354 | 108.8793 | -264.9601 | -264.9601 | 0
1200536.484 | 105.7538 | -260.9831 | -260.9831 | 0
1213546.081 | 102.7198 | -257.0216 | -257.0216 | 0
1226696.656 | 99.8829 | -252.9763 | -252.9763 | 0
1239989.738 | 97.1795 | -248.9592 | -248.9592 | 0
1253426.869 | 94.6778 | -244.9521 | -244.9521 | 0
1267009.612 | 92.288 | -240.9553 | -240.9553 | 0
1280739.544 | 90.1225 | -236.9291 | -236.9291 | 0
1294618.26 | 88.0049 | -232.9713 | -232.9713 | 0
1308647.373 | 86.0475 | -228.9776 | -228.9776 | 0
1322828.512 | 84.255 | -225.061 | -225.061 | 0
1337163.325 | 82.4681 | -221.1609 | -221.1609 | 0
1351653.477 | 80.9295 | -217.2661 | -217.2661 | 0
1366300.651 | 79.3944 | -213.4578 | -213.4578 | 0
1381106.549 | 78.0343 | -209.6269 | -209.6269 | 0
1396072.891 | 76.7023 | -205.8398 | -205.8398 | 0
1411201.415 | 75.5574 | -202.1101 | -202.1101 | 0
1426493.88 | 74.439 | -198.4268 | -198.4268 | 0
1441952.061 | 73.4191 | -194.7588 | -194.7588 | 0
1457577.754 | 72.4697 | -191.1275 | -191.1275 | 0
1473372.775 | 71.6502 | -187.5571 | -187.5571 | 0
1489338.959 | 70.8698 | -184.0053 | -184.0053 | 0
1505478.16 | 70.1611 | -180.4965 | -180.4965 | 0
1521792.253 | 69.59 | -177.0594 | -177.0594 | 0
1538283.134 | 69.0059 | -173.6189 | -173.6189 | 0
1554952.717 | 68.5241 | -170.2711 | -170.2711 | 0
1571802.941 | 68.1264 | -166.9171 | -166.9171 | 0
1588835.762 | 67.7853 | -163.6447 | -163.6447 | 0
1606053.158 | 67.4811 | -160.3959 | -160.3959 | 0
1623457.131 | 67.2788 | -157.1879 | -157.1879 | 0
1641049.702 | 67.103 | -154.0481 | -154.0481 | 0
1658832.914 | 66.9966 | -150.9243 | -150.9243 | 0
1676808.834 | 66.9654 | -147.8331 | -147.8331 | 0
1694979.549 | 66.9698 | -144.828 | -144.828 | 0
1713347.172 | 67.0064 | -141.8469 | -141.8469 | 0
1731913.834 | 67.1358 | -138.919 | -138.919 | 0
1750681.695 | 67.2924 | -136.0331 | -136.0331 | 0
1769652.932 | 67.4949 | -133.1895 | -133.1895 | 0
1788829.752 | 67.7582 | -130.3975 | -130.3975 | 0
1808214.38 | 68.0553 | -127.6484 | -127.6484 | 0
1827809.07 | 68.4179 | -124.958 | -124.958 | 0
1847616.098 | 68.8116 | -122.3225 | -122.3225 | 0
1867637.764 | 69.2745 | -119.7085 | -119.7085 | 0
1887876.395 | 69.7681 | -117.1688 | -117.1688 | 0
1908334.341 | 70.3105 | -114.7062 | -114.7062 | 0
1929013.98 | 70.8792 | -112.26 | -112.26 | 0
1949917.713 | 71.5313 | -109.8848 | -109.8848 | 0
1971047.969 | 72.1868 | -107.5709 | -107.5709 | 0
1992407.203 | 72.8839 | -105.3053 | -105.3053 | 0
2013997.896 | 73.6261 | -103.1058 | -103.1058 | 0
2035822.556 | 74.416 | -100.9617 | -100.9617 | 0
2057883.719 | 75.2126 | -98.9165 | -98.9165 | 0
2080183.947 | 76.0712 | -96.8964 | -96.8964 | 0
2102725.832 | 76.9487 | -94.9825 | -94.9825 | 0
2125511.991 | 77.842 | -93.1097 | -93.1097 | 0
2148545.072 | 78.7569 | -91.3213 | -91.3213 | 0
2171827.751 | 79.708 | -89.5998 | -89.5998 | 0
2195362.732 | 80.6449 | -87.965 | -87.965 | 0
2219152.75 | 81.6266 | -86.4026 | -86.4026 | 0
2243200.568 | 82.5847 | -84.9259 | -84.9259 | 0
2267508.979 | 83.5778 | -83.5138 | -83.5138 | 0
2292080.809 | 84.5445 | -82.1934 | -82.1934 | 0
2316918.911 | 85.5167 | -80.9528 | -80.9528 | 0
2342026.17 | 86.4613 | -79.7785 | -79.7785 | 0
2367405.504 | 87.4116 | -78.6763 | -78.6763 | 0
2393059.861 | 88.3117 | -77.6702 | -77.6702 | 0
2418992.221 | 89.1877 | -76.7211 | -76.7211 | 0
2445205.597 | 90.0227 | -75.8542 | -75.8542 | 0
2471703.033 | 90.8199 | -75.0375 | -75.0375 | 0
2498487.609 | 91.5869 | -74.2662 | -74.2662 | 0
2525562.435 | 92.2914 | -73.5559 | -73.5559 | 0
2552930.657 | 92.944 | -72.9229 | -72.9229 | 0
2580595.454 | 93.5259 | -72.2854 | -72.2854 | 0
2608560.041 | 94.064 | -71.7197 | -71.7197 | 0
2636827.666 | 94.5399 | -71.1593 | -71.1593 | 0
2665401.612 | 94.963 | -70.6172 | -70.6172 | 0
2694285.2 | 95.313 | -70.0949 | -70.0949 | 0
2723481.784 | 95.6232 | -69.5802 | -69.5802 | 0
2752994.756 | 95.8593 | -69.0501 | -69.0501 | 0
2782827.546 | 96.0515 | -68.5129 | -68.5129 | 0
2812983.618 | 96.2167 | -67.9501 | -67.9501 | 0
2843466.476 | 96.3173 | -67.3837 | -67.3837 | 0
2874279.66 | 96.3975 | -66.7836 | -66.7836 | 0
2905426.752 | 96.4648 | -66.1657 | -66.1657 | 0
2936911.369 | 96.4966 | -65.5026 | -65.5026 | 0
2968737.168 | 96.5019 | -64.8172 | -64.8172 | 0
3000907.847 | 96.5021 | -64.1023 | -64.1023 | 0
3033427.143 | 96.5093 | -63.349 | -63.349 | 0
3066298.834 | 96.5185 | -62.5783 | -62.5783 | 0
3099526.739 | 96.5418 | -61.789 | -61.789 | 0
3133114.717 | 96.5893 | -60.9652 | -60.9652 | 0
3167066.671 | 96.651 | -60.1258 | -60.1258 | 0
3201386.545 | 96.7144 | -59.2799 | -59.2799 | 0
3236078.326 | 96.8247 | -58.4187 | -58.4187 | 0
3271146.044 | 96.9624 | -57.5604 | -57.5604 | 0
3306593.772 | 97.1108 | -56.6905 | -56.6905 | 0
3342425.63 | 97.2909 | -55.837 | -55.837 | 0
3378645.779 | 97.4923 | -55.0014 | -55.0014 | 0
3415258.427 | 97.7214 | -54.1523 | -54.1523 | 0
3452267.827 | 97.9696 | -53.3275 | -53.3275 | 0
3489678.279 | 98.2354 | -52.5316 | -52.5316 | 0
3527494.129 | 98.5194 | -51.7549 | -51.7549 | 0
3565719.77 | 98.8072 | -50.9927 | -50.9927 | 0
3604359.643 | 99.112 | -50.2612 | -50.2612 | 0
3643418.236 | 99.4336 | -49.54 | -49.54 | 0
3682900.087 | 99.7398 | -48.8531 | -48.8531 | 0
3722809.783 | 100.0656 | -48.1744 | -48.1744 | 0
3763151.959 | 100.3832 | -47.5322 | -47.5322 | 0
3803931.303 | 100.6813 | -46.9023 | -46.9023 | 0
3845152.552 | 100.9957 | -46.2885 | -46.2885 | 0
3886820.494 | 101.3064 | -45.6883 | -45.6883 | 0
3928939.97 | 101.598 | -45.104 | -45.104 | 0
3971515.874 | 101.8943 | -44.5234 | -44.5234 | 0
4014553.15 | 102.1849 | -43.941 | -43.941 | 0
4058056.8 | 102.4799 | -43.3775 | -43.3775 | 0
4102031.876 | 102.7541 | -42.8029 | -42.8029 | 0
4146483.487 | 103.0502 | -42.2378 | -42.2378 | 0
4191416.798 | 103.3406 | -41.6892 | -41.6892 | 0
4236837.027 | 103.6408 | -41.1334 | -41.1334 | 0
4282749.453 | 103.9445 | -40.5989 | -40.5989 | 0
4329159.408 | 104.2493 | -40.0591 | -40.0591 | 0
4376072.284 | 104.5702 | -39.5245 | -39.5245 | 0
4423493.53 | 104.8928 | -38.9943 | -38.9943 | 0
4471428.656 | 105.2251 | -38.477 | -38.477 | 0
4519883.231 | 105.578 | -37.9827 | -37.9827 | 0
4568862.882 | 105.9296 | -37.4767 | -37.4767 | 0
4618373.301 | 106.2814 | -37.0063 | -37.0063 | 0
4668420.24 | 106.652 | -36.5242 | -36.5242 | 0
4719009.511 | 107.0311 | -36.0882 | -36.0882 | 0
4770146.991 | 107.4128 | -35.6429 | -35.6429 | 0
4821838.623 | 107.7854 | -35.225 | -35.225 | 0
4874090.41 | 108.1579 | -34.8306 | -34.8306 | 0
4926908.423 | 108.5451 | -34.4261 | -34.4261 | 0
4980298.798 | 108.9207 | -34.0615 | -34.0615 | 0
5034267.736 | 109.2337 | -33.6797 | -33.6797 | 0
5088821.509 | 109.6105 | -33.3406 | -33.3406 | 0
5143966.452 | 109.9774 | -32.9959 | -32.9959 | 0
5199708.973 | 110.3254 | -32.6537 | -32.6537 | 0
5256055.547 | 110.6811 | -32.3011 | -32.3011 | 0
5313012.72 | 111.0349 | -31.957 | -31.957 | 0
5370587.108 | 111.4039 | -31.6236 | -31.6236 | 0
5428785.401 | 111.7547 | -31.2863 | -31.2863 | 0
5487614.358 | 112.0993 | -30.9562 | -30.9562 | 0
5547080.815 | 112.4489 | -30.639 | -30.639 | 0
5607191.679 | 112.8037 | -30.2824 | -30.2824 | 0
5667953.934 | 113.1396 | -29.9179 | -29.9179 | 0
5729374.638 | 113.4828 | -29.5562 | -29.5562 | 0
5791460.926 | 113.8335 | -29.1712 | -29.1712 | 0
5854220.012 | 114.1763 | -28.7661 | -28.7661 | 0
5917659.186 | 114.542 | -28.3346 | -28.3346 | 0
5981785.817 | 114.9243 | -27.8543 | -27.8543 | 0
6046607.356 | 115.3381 | -27.3306 | -27.3306 | 0
6112131.333 | 115.7931 | -26.7675 | -26.7675 | 0
6178365.359 | 116.3015 | -26.1765 | -26.1765 | 0
6245317.129 | 116.8947 | -25.5421 | -25.5421 | 0
6312994.421 | 117.5578 | -24.8942 | -24.8942 | 0
6381405.098 | 118.3067 | -24.2088 | -24.2088 | 0
6450557.105 | 119.1588 | -23.5238 | -23.5238 | 0
6520458.478 | 120.1198 | -22.8346 | -22.8346 | 0
6591117.335 | 121.2029 | -22.1496 | -22.1496 | 0
6662541.887 | 122.4306 | -21.4712 | -21.4712 | 0
6734740.429 | 123.8043 | -20.8477 | -20.8477 | 0
6807721.35 | 125.3251 | -20.2829 | -20.2829 | 0
6881493.128 | 126.9898 | -19.8003 | -19.8003 | 0
6956064.332 | 128.8517 | -19.4171 | -19.4171 | 0
7031443.627 | 130.8677 | -19.186 | -19.186 | 0
7107639.768 | 133.0638 | -19.1391 | -19.1391 | 0
7184661.607 | 135.3965 | -19.2988 | -19.2988 | 0
7262518.093 | 137.877 | -19.7238 | -19.7238 | 0
7341218.269 | 140.4807 | -20.4727 | -20.4727 | 0
7420771.279 | 143.1348 | -21.5359 | -21.5359 | 0
7501186.364 | 145.7945 | -23.002 | -23.002 | 0
7582472.866 | 148.4045 | -24.868 | -24.868 | 0
7664640.227 | 150.8674 | -27.1961 | -27.1961 | 0
7747697.994 | 152.9848 | -29.9359 | -29.9359 | 0
7831655.816 | 154.6951 | -32.9083 | -32.9083 | 0
7916523.445 | 156.1207 | -35.9983 | -35.9983 | 0
8002310.742 | 157.2469 | -39.2758 | -39.2758 | 0
8089027.671 | 157.9453 | -42.7532 | -42.7532 | 0
8176684.307 | 158.1868 | -46.2904 | -46.2904 | 0
8265290.832 | 157.9701 | -49.7715 | -49.7715 | 0
8354857.541 | 157.3573 | -53.0662 | -53.0662 | 0
8445394.839 | 156.3702 | -56.1237 | -56.1237 | 0
8536913.243 | 155.1396 | -58.8964 | -58.8964 | 0
8629423.384 | 153.7293 | -61.3328 | -61.3328 | 0
8722936.011 | 152.2768 | -63.4231 | -63.4231 | 0
8817461.986 | 150.7896 | -65.2087 | -65.2087 | 0
8913012.29 | 149.4518 | -66.7208 | -66.7208 | 0
9009598.024 | 148.2512 | -68.0337 | -68.0337 | 0
9107230.407 | 147.2395 | -69.2067 | -69.2067 | 0
9205920.783 | 146.4171 | -70.3731 | -70.3731 | 0
9305680.615 | 145.8503 | -71.5105 | -71.5105 | 0
9406521.494 | 145.4345 | -72.7827 | -72.7827 | 0
9508455.133 | 145.1846 | -74.2133 | -74.2133 | 0
9611493.375 | 145.0387 | -75.8797 | -75.8797 | 0
9715648.189 | 144.9223 | -77.7889 | -77.7889 | 0
9820931.676 | 144.7748 | -79.9809 | -79.9809 | 0
9927356.065 | 144.4686 | -82.4801 | -82.4801 | 0
10034933.721 | 143.9926 | -85.199 | -85.199 | 0
10143677.141 | 143.2649 | -88.1987 | -88.1987 | 0
10253598.957 | 142.2175 | -91.3584 | -91.3584 | 0
10364711.94 | 140.769 | -94.6381 | -94.6381 | 0
10477028.997 | 138.9287 | -98.013 | -98.013 | 0
10590563.176 | 136.6799 | -101.3313 | -101.3313 | 0
10705327.666 | 134.0035 | -104.5643 | -104.5643 | 0
10821335.801 | 130.9087 | -107.6292 | -107.6292 | 0
10938601.056 | 127.467 | -110.4655 | -110.4655 | 0
11057137.054 | 123.7151 | -113.0059 | -113.0059 | 0
11176957.566 | 119.674 | -115.1988 | -115.1988 | 0
11298076.511 | 115.4252 | -117.0438 | -117.0438 | 0
11420507.96 | 111.0214 | -118.502 | -118.502 | 0
11544266.136 | 106.5172 | -119.6003 | -119.6003 | 0
11669365.415 | 101.9334 | -120.2682 | -120.2682 | 0
11795820.331 | 97.3796 | -120.474 | -120.474 | 0
11923645.574 | 92.9746 | -120.3377 | -120.3377 | 0
12052855.993 | 88.7394 | -119.9504 | -119.9504 | 0
12183466.6 | 84.625 | -119.2683 | -119.2683 | 0
12315492.566 | 80.6718 | -118.3962 | -118.3962 | 0
12448949.23 | 76.8682 | -117.3242 | -117.3242 | 0
12583852.095 | 73.2331 | -116.0935 | -116.0935 | 0
12720216.834 | 69.7653 | -114.7031 | -114.7031 | 0
12858059.286 | 66.46 | -113.2029 | -113.2029 | 0
12997395.467 | 63.2921 | -111.6047 | -111.6047 | 0
13138241.562 | 60.2879 | -109.92 | -109.92 | 0
13280613.934 | 57.4124 | -108.1539 | -108.1539 | 0
13424529.122 | 54.6604 | -106.3329 | -106.3329 | 0
13570003.846 | 52.0483 | -104.4569 | -104.4569 | 0
13717055.004 | 49.5285 | -102.5233 | -102.5233 | 0
13865699.679 | 47.1351 | -100.5375 | -100.5375 | 0
14015955.141 | 44.8648 | -98.4901 | -98.4901 | 0
14167838.844 | 42.7009 | -96.4053 | -96.4053 | 0
14321368.433 | 40.6281 | -94.272 | -94.272 | 0
14476561.742 | 38.6939 | -92.0943 | -92.0943 | 0
14633436.802 | 36.867 | -89.892 | -89.892 | 0
14792011.837 | 35.1803 | -87.6534 | -87.6534 | 0
14952305.267 | 33.6102 | -85.4013 | -85.4013 | 0
15114335.715 | 32.1882 | -83.1617 | -83.1617 | 0
15278122.004 | 30.868 | -80.9478 | -80.9478 | 0
15443683.161 | 29.6321 | -78.7293 | -78.7293 | 0
15611038.419 | 28.5433 | -76.5303 | -76.5303 | 0
15780207.219 | 27.5578 | -74.3686 | -74.3686 | 0
15951209.215 | 26.6949 | -72.266 | -72.266 | 0
16124064.272 | 25.9453 | -70.2622 | -70.2622 | 0
16298792.471 | 25.2523 | -68.4209 | -68.4209 | 0
16475414.109 | 24.4428 | -66.6826 | -66.6826 | 0
16653949.704 | 23.5926 | -64.8921 | -64.8921 | 0
16834419.999 | 22.7579 | -63.0509 | -63.0509 | 0
17016845.957 | 22.001 | -61.1657 | -61.1657 | 0
17201248.771 | 21.3237 | -59.3433 | -59.3433 | 0
17387649.865 | 20.6468 | -57.5251 | -57.5251 | 0
17576070.891 | 20.0385 | -55.6686 | -55.6686 | 0
17766533.738 | 19.5333 | -53.8489 | -53.8489 | 0
17959060.534 | 19.0289 | -52.0578 | -52.0578 | 0
18153673.644 | 18.6117 | -50.2498 | -50.2498 | 0
18350395.676 | 18.3007 | -48.5125 | -48.5125 | 0
18549249.483 | 18.1425 | -46.8561 | -46.8561 | 0
18750258.167 | 18.1355 | -45.5137 | -45.5137 | 0
18953445.079 | 17.9538 | -44.4881 | -44.4881 | 0
19158833.823 | 17.3116 | -43.6133 | -43.6133 | 0
19366448.26 | 16.2265 | -42.452 | -42.452 | 0
19576312.507 | 15.1303 | -40.8155 | -40.8155 | 0
19788450.945 | 14.3209 | -38.9819 | -38.9819 | 0
20002888.218 | 13.7328 | -37.1839 | -37.1839 | 0
20219649.238 | 13.2105 | -35.4327 | -35.4327 | 0
20438759.186 | 12.708 | -33.6721 | -33.6721 | 0
20660243.516 | 12.2397 | -31.8745 | -31.8745 | 0
20884127.957 | 11.8384 | -30.044 | -30.044 | 0
21110438.52 | 11.5308 | -28.2252 | -28.2252 | 0
21339201.493 | 11.3073 | -26.4329 | -26.4329 | 0
21570443.453 | 11.1689 | -24.6957 | -24.6957 | 0
21804191.264 | 11.1057 | -23.0558 | -23.0558 | 0
22040472.079 | 11.0108 | -21.5591 | -21.5591 | 0
22279313.348 | 10.7864 | -20.0961 | -20.0961 | 0
22520742.818 | 10.5178 | -18.5729 | -18.5729 | 0
22764788.534 | 10.2545 | -17.0394 | -17.0394 | 0
23011478.848 | 9.9751 | -15.4985 | -15.4985 | 0
23260842.419 | 9.684 | -13.93 | -13.93 | 0
23512908.214 | 9.3977 | -12.3231 | -12.3231 | 0
23767705.517 | 9.1407 | -10.6903 | -10.6903 | 0
24025263.927 | 8.8615 | -9.0379 | -9.0379 | 0
24285613.366 | 8.6309 | -7.3212 | -7.3212 | 0
24548784.077 | 8.4443 | -5.6008 | -5.6008 | 0
24814806.635 | 8.2746 | -3.8875 | -3.8875 | 0
25083711.942 | 8.1163 | -2.1573 | -2.1573 | 0
25355531.237 | 7.9927 | -0.41112 | -0.41112 | 0
25630296.099 | 7.887 | 1.3293 | 1.3293 | 0
25908038.446 | 7.7812 | 3.0843 | 3.0843 | 0
26188790.544 | 7.7048 | 4.868 | 4.868 | 0
26472585.009 | 7.6609 | 6.651 | 6.651 | 0
26759454.808 | 7.6316 | 8.4272 | 8.4272 | 0
27049433.268 | 7.607 | 10.2008 | 10.2008 | 0
27342554.075 | 7.5808 | 11.9817 | 11.9817 | 0
27638851.282 | 7.5629 | 13.7721 | 13.7721 | 0
27938359.31 | 7.5405 | 15.5604 | 15.5604 | 0
28241112.952 | 7.5032 | 17.3566 | 17.3566 | 0
28547147.38 | 7.4209 | 19.1618 | 19.1618 | 0
28856498.145 | 7.2816 | 21.021 | 21.021 | 0
29169201.186 | 7.1153 | 22.9738 | 22.9738 | 0
29485292.829 | 6.9585 | 25.0202 | 25.0202 | 0
29804809.795 | 6.8234 | 27.1423 | 27.1423 | 0
30127789.202 | 6.7076 | 29.3551 | 29.3551 | 0
30454268.571 | 6.6427 | 31.6651 | 31.6651 | 0
30784285.828 | 6.637 | 34.044 | 34.044 | 0
31117879.314 | 6.6941 | 36.4823 | 36.4823 | 0
31455087.78 | 6.8143 | 38.9501 | 38.9501 | 0
31795950.401 | 6.9704 | 41.4416 | 41.4416 | 0
32140506.776 | 7.1303 | 43.9929 | 43.9929 | 0
32488796.93 | 7.327 | 46.6095 | 46.6095 | 0
32840861.326 | 7.5412 | 49.3001 | 49.3001 | 0
33196740.864 | 7.7674 | 52.0643 | 52.0643 | 0
33556476.884 | 8.0314 | 54.9357 | 54.9357 | 0
33920111.179 | 8.3397 | 57.9101 | 57.9101 | 0
34287685.992 | 8.7028 | 60.9933 | 60.9933 | 0
34659244.025 | 9.1261 | 64.1794 | 64.1794 | 0
35034828.441 | 9.5882 | 67.4502 | 67.4502 | 0
35414482.872 | 10.0739 | 70.8734 | 70.8734 | 0
35798251.423 | 10.6558 | 74.4422 | 74.4422 | 0
36186178.677 | 11.3095 | 78.1155 | 78.1155 | 0
36578309.699 | 11.9635 | 81.8956 | 81.8956 | 0
36974690.043 | 12.581 | 85.8797 | 85.8797 | 0
37375365.757 | 13.1583 | 90.1955 | 90.1955 | 0
37780383.389 | 13.8361 | 94.9497 | 94.9497 | 0
38189789.988 | 14.7696 | 100.1626 | 100.1626 | 0
38603633.116 | 16.088 | 105.7238 | 105.7238 | 0
39021960.849 | 17.8257 | 111.5227 | 111.5227 | 0
39444821.785 | 19.9203 | 117.4388 | 117.4388 | 0
39872265.048 | 22.2089 | 123.3966 | 123.3966 | 0
40304340.294 | 24.3499 | 129.5781 | 129.5781 | 0
40741097.717 | 26.3647 | 136.4333 | 136.4333 | 0
41182588.056 | 28.5673 | 144.4585 | 144.4585 | 0
41628862.598 | 31.5709 | 153.6555 | 153.6555 | 0
42079973.189 | 35.6168 | 163.7803 | 163.7803 | 0
42535972.233 | 40.7514 | 174.8067 | 174.8067 | 0
42996912.705 | 47.2471 | 186.6028 | 186.6028 | 0
43462848.151 | 54.9229 | 199.2729 | 199.2729 | 0
43933832.701 | 64.0519 | 213.33 | 213.33 | 0
44409921.068 | 75.0709 | 229.296 | 229.296 | 0
44891168.56 | 88.7026 | 247.5765 | 247.5765 | 0
45377631.084 | 106.027 | 270.2919 | 270.2919 | 0
45869365.152 | 132.7666 | 299.3225 | 299.3225 | 0
46366427.89 | 176.5305 | 330.5992 | 330.5992 | 0
46868877.041 | 244.3092 | 355.4326 | 355.4326 | 0
47376770.975 | 336.2082 | 354.6432 | 354.6432 | 0
47890168.695 | 438.3854 | 314.1364 | 314.1364 | 0
48409129.842 | 528.4771 | 222.1084 | 222.1084 | 0
48933714.704 | 575.0444 | 86.5429 | 86.5429 | 0
49463984.223 | 547.4385 | -69.0975 | -69.0975 | 0
50000000 | 437.8419 | -170.8543 | -170.8543 | 0