## 03-Feb-16 16h 17m 3s
4294A REV1.11
DATE: Feb 3 2016
MEASURE PARAMETER: IMPEDANCE RESISTANCE - REACTANCE
ADAPTER: PROBE
SWEEP TYPE: LOG FREQ
NUMBER of POINTS: 801
POINT DELAY TIME: 0 Sec
SWEEP DELAY TIME: 0 Sec
OSC LEVEL: 500 mVolt
DC BIAS: OFF
BW: 3
SWEEP AVERAGING: OFF
POINT AVERAGING: OFF
TRACE: A
FORMAT: LINEAR
Frequency | Data Real | Data Imag | Data Trace Real | Data Trace Imag
9000 | 1.4509 | 10.3778 | 1.4509 | 0
9097.528 | 1.4714 | 10.482 | 1.4714 | 0
9196.114 | 1.4901 | 10.5866 | 1.4901 | 0
9295.767 | 1.5121 | 10.6918 | 1.5121 | 0
9396.501 | 1.5325 | 10.7986 | 1.5325 | 0
9498.326 | 1.5551 | 10.9066 | 1.5551 | 0
9601.254 | 1.5724 | 11.0173 | 1.5724 | 0
9705.298 | 1.5956 | 11.1274 | 1.5956 | 0
9810.469 | 1.6207 | 11.2383 | 1.6207 | 0
9916.78 | 1.6399 | 11.3497 | 1.6399 | 0
10024.243 | 1.668 | 11.462 | 1.668 | 0
10132.871 | 1.6864 | 11.5734 | 1.6864 | 0
10242.676 | 1.7079 | 11.6904 | 1.7079 | 0
10353.67 | 1.7327 | 11.8085 | 1.7327 | 0
10465.868 | 1.7561 | 11.9227 | 1.7561 | 0
10579.281 | 1.778 | 12.0426 | 1.778 | 0
10693.923 | 1.8076 | 12.1624 | 1.8076 | 0
10809.808 | 1.8327 | 12.2862 | 1.8327 | 0
10926.948 | 1.8559 | 12.4052 | 1.8559 | 0
11045.358 | 1.8799 | 12.5273 | 1.8799 | 0
11165.051 | 1.9099 | 12.6511 | 1.9099 | 0
11286.041 | 1.9333 | 12.7788 | 1.9333 | 0
11408.342 | 1.9593 | 12.9025 | 1.9593 | 0
11531.968 | 1.991 | 13.034 | 1.991 | 0
11656.934 | 2.0172 | 13.1601 | 2.0172 | 0
11783.254 | 2.0465 | 13.2917 | 2.0465 | 0
11910.943 | 2.0769 | 13.4205 | 2.0769 | 0
12040.016 | 2.1023 | 13.5568 | 2.1023 | 0
12170.487 | 2.1339 | 13.6898 | 2.1339 | 0
12302.373 | 2.1621 | 13.8262 | 2.1621 | 0
12435.687 | 2.1904 | 13.9575 | 2.1904 | 0
12570.446 | 2.224 | 14.0997 | 2.224 | 0
12706.666 | 2.2502 | 14.233 | 2.2502 | 0
12844.361 | 2.2832 | 14.3795 | 2.2832 | 0
12983.549 | 2.3176 | 14.5182 | 2.3176 | 0
13124.245 | 2.3517 | 14.6633 | 2.3517 | 0
13266.466 | 2.3853 | 14.8043 | 2.3853 | 0
13410.228 | 2.4195 | 14.949 | 2.4195 | 0
13555.548 | 2.4504 | 15.1005 | 2.4504 | 0
13702.442 | 2.4848 | 15.2481 | 2.4848 | 0
13850.928 | 2.5188 | 15.3971 | 2.5188 | 0
14001.024 | 2.5538 | 15.5481 | 2.5538 | 0
14152.746 | 2.5927 | 15.7014 | 2.5927 | 0
14306.112 | 2.6277 | 15.8562 | 2.6277 | 0
14461.14 | 2.6649 | 16.0095 | 2.6649 | 0
14617.848 | 2.6983 | 16.1663 | 2.6983 | 0
14776.254 | 2.7419 | 16.3227 | 2.7419 | 0
14936.376 | 2.7775 | 16.4868 | 2.7775 | 0
15098.234 | 2.8229 | 16.6473 | 2.8229 | 0
15261.846 | 2.8533 | 16.8089 | 2.8533 | 0
15427.231 | 2.8994 | 16.972 | 2.8994 | 0
15594.408 | 2.9396 | 17.137 | 2.9396 | 0
15763.396 | 2.9777 | 17.3077 | 2.9777 | 0
15934.216 | 3.0232 | 17.477 | 3.0232 | 0
16106.887 | 3.0716 | 17.6444 | 3.0716 | 0
16281.429 | 3.1059 | 17.8187 | 3.1059 | 0
16457.863 | 3.1515 | 17.9918 | 3.1515 | 0
16636.208 | 3.2019 | 18.1654 | 3.2019 | 0
16816.486 | 3.2452 | 18.3422 | 3.2452 | 0
16998.718 | 3.2862 | 18.5172 | 3.2862 | 0
17182.924 | 3.3308 | 18.7004 | 3.3308 | 0
17369.127 | 3.3811 | 18.8823 | 3.3811 | 0
17557.347 | 3.4287 | 19.0667 | 3.4287 | 0
17747.607 | 3.4765 | 19.2479 | 3.4765 | 0
17939.929 | 3.5288 | 19.4352 | 3.5288 | 0
18134.334 | 3.5789 | 19.6265 | 3.5789 | 0
18330.847 | 3.6311 | 19.8157 | 3.6311 | 0
18529.489 | 3.6783 | 20.0065 | 3.6783 | 0
18730.283 | 3.7351 | 20.2006 | 3.7351 | 0
18933.254 | 3.7886 | 20.3952 | 3.7886 | 0
19138.424 | 3.8423 | 20.5882 | 3.8423 | 0
19345.817 | 3.8932 | 20.7852 | 3.8932 | 0
19555.458 | 3.9461 | 20.9846 | 3.9461 | 0
19767.37 | 4.0037 | 21.1909 | 4.0037 | 0
19981.579 | 4.0596 | 21.3928 | 4.0596 | 0
20198.109 | 4.1179 | 21.5984 | 4.1179 | 0
20416.986 | 4.1739 | 21.8048 | 4.1739 | 0
20638.234 | 4.2318 | 22.0139 | 4.2318 | 0
20861.88 | 4.2997 | 22.2246 | 4.2997 | 0
21087.949 | 4.3583 | 22.4361 | 4.3583 | 0
21316.469 | 4.421 | 22.6526 | 4.421 | 0
21547.464 | 4.4796 | 22.8692 | 4.4796 | 0
21780.963 | 4.5478 | 23.0836 | 4.5478 | 0
22016.992 | 4.6149 | 23.3043 | 4.6149 | 0
22255.579 | 4.6762 | 23.53 | 4.6762 | 0
22496.751 | 4.7409 | 23.7501 | 4.7409 | 0
22740.537 | 4.812 | 23.9792 | 4.812 | 0
22986.964 | 4.8767 | 24.2086 | 4.8767 | 0
23236.062 | 4.9461 | 24.4333 | 4.9461 | 0
23487.86 | 5.0191 | 24.6671 | 5.0191 | 0
23742.386 | 5.0868 | 24.9013 | 5.0868 | 0
23999.67 | 5.1609 | 25.1364 | 5.1609 | 0
24259.742 | 5.2382 | 25.3722 | 5.2382 | 0
24522.632 | 5.31 | 25.6162 | 5.31 | 0
24788.371 | 5.3869 | 25.8574 | 5.3869 | 0
25056.99 | 5.4613 | 26.0991 | 5.4613 | 0
25328.52 | 5.543 | 26.348 | 5.543 | 0
25602.992 | 5.622 | 26.5902 | 5.622 | 0
25880.438 | 5.7034 | 26.8452 | 5.7034 | 0
26160.891 | 5.7797 | 27.0966 | 5.7797 | 0
26444.383 | 5.8649 | 27.3524 | 5.8649 | 0
26730.948 | 5.9449 | 27.61 | 5.9449 | 0
27020.617 | 6.0309 | 27.8676 | 6.0309 | 0
27313.426 | 6.1131 | 28.1294 | 6.1131 | 0
27609.407 | 6.2128 | 28.3877 | 6.2128 | 0
27908.596 | 6.2883 | 28.6582 | 6.2883 | 0
28211.027 | 6.3732 | 28.9208 | 6.3732 | 0
28516.736 | 6.4676 | 29.191 | 6.4676 | 0
28825.757 | 6.5625 | 29.4634 | 6.5625 | 0
29138.127 | 6.6611 | 29.7373 | 6.6611 | 0
29453.882 | 6.743 | 30.0175 | 6.743 | 0
29773.058 | 6.8393 | 30.293 | 6.8393 | 0
30095.694 | 6.9402 | 30.5747 | 6.9402 | 0
30421.825 | 7.0437 | 30.8561 | 7.0437 | 0
30751.491 | 7.1295 | 31.1422 | 7.1295 | 0
31084.729 | 7.2347 | 31.4325 | 7.2347 | 0
31421.578 | 7.335 | 31.7257 | 7.335 | 0
31762.078 | 7.4449 | 32.0103 | 7.4449 | 0
32106.267 | 7.5469 | 32.3079 | 7.5469 | 0
32454.186 | 7.6559 | 32.6064 | 7.6559 | 0
32805.876 | 7.7542 | 32.9028 | 7.7542 | 0
33161.376 | 7.871 | 33.2041 | 7.871 | 0
33520.729 | 7.9731 | 33.5068 | 7.9731 | 0
33883.976 | 8.0838 | 33.8157 | 8.0838 | 0
34251.159 | 8.2005 | 34.1252 | 8.2005 | 0
34622.321 | 8.3059 | 34.4361 | 8.3059 | 0
34997.505 | 8.4346 | 34.7484 | 8.4346 | 0
35376.755 | 8.5379 | 35.0725 | 8.5379 | 0
35760.115 | 8.6658 | 35.3922 | 8.6658 | 0
36147.629 | 8.7794 | 35.7047 | 8.7794 | 0
36539.342 | 8.9123 | 36.025 | 8.9123 | 0
36935.301 | 9.0301 | 36.3563 | 9.0301 | 0
37335.549 | 9.1564 | 36.6851 | 9.1564 | 0
37740.136 | 9.2865 | 37.0137 | 9.2865 | 0
38149.106 | 9.4027 | 37.3548 | 9.4027 | 0
38562.508 | 9.5351 | 37.6884 | 9.5351 | 0
38980.39 | 9.6665 | 38.028 | 9.6665 | 0
39402.801 | 9.8001 | 38.3663 | 9.8001 | 0
39829.789 | 9.9332 | 38.7201 | 9.9332 | 0
40261.404 | 10.0751 | 39.0617 | 10.0751 | 0
40697.696 | 10.2111 | 39.4096 | 10.2111 | 0
41138.716 | 10.3603 | 39.7672 | 10.3603 | 0
41584.515 | 10.4894 | 40.1244 | 10.4894 | 0
42035.145 | 10.6317 | 40.478 | 10.6317 | 0
42490.658 | 10.7882 | 40.838 | 10.7882 | 0
42951.108 | 10.9337 | 41.2046 | 10.9337 | 0
43416.547 | 11.0854 | 41.571 | 11.0854 | 0
43887.03 | 11.2244 | 41.9433 | 11.2244 | 0
44362.611 | 11.3779 | 42.314 | 11.3779 | 0
44843.346 | 11.5395 | 42.683 | 11.5395 | 0
45329.29 | 11.6905 | 43.0626 | 11.6905 | 0
45820.5 | 11.8532 | 43.434 | 11.8532 | 0
46317.033 | 12.0136 | 43.8239 | 12.0136 | 0
46818.947 | 12.1613 | 44.2064 | 12.1613 | 0
47326.3 | 12.335 | 44.5979 | 12.335 | 0
47839.151 | 12.5033 | 44.9746 | 12.5033 | 0
48357.559 | 12.6648 | 45.3755 | 12.6648 | 0
48881.585 | 12.8235 | 45.7649 | 12.8235 | 0
49411.29 | 12.9876 | 46.1745 | 12.9876 | 0
49946.734 | 13.1598 | 46.5709 | 13.1598 | 0
50487.982 | 13.3137 | 46.9895 | 13.3137 | 0
51035.094 | 13.5012 | 47.395 | 13.5012 | 0
51588.135 | 13.6745 | 47.8101 | 13.6745 | 0
52147.169 | 13.8603 | 48.2304 | 13.8603 | 0
52712.261 | 14.0371 | 48.6574 | 14.0371 | 0
53283.477 | 14.216 | 49.0805 | 14.216 | 0
53860.882 | 14.4083 | 49.508 | 14.4083 | 0
54444.545 | 14.5992 | 49.937 | 14.5992 | 0
55034.533 | 14.7858 | 50.3685 | 14.7858 | 0
55630.914 | 14.987 | 50.8077 | 14.987 | 0
56233.757 | 15.1734 | 51.2423 | 15.1734 | 0
56843.134 | 15.3704 | 51.6942 | 15.3704 | 0
57459.113 | 15.5776 | 52.1396 | 15.5776 | 0
58081.768 | 15.7732 | 52.59 | 15.7732 | 0
58711.171 | 15.976 | 53.0526 | 15.976 | 0
59347.393 | 16.1738 | 53.5045 | 16.1738 | 0
59990.511 | 16.383 | 53.9675 | 16.383 | 0
60640.597 | 16.5825 | 54.428 | 16.5825 | 0
61297.728 | 16.7982 | 54.9019 | 16.7982 | 0
61961.98 | 17.0352 | 55.3602 | 17.0352 | 0
62633.43 | 17.2443 | 55.8369 | 17.2443 | 0
63312.156 | 17.4609 | 56.3275 | 17.4609 | 0
63998.238 | 17.6816 | 56.804 | 17.6816 | 0
64691.754 | 17.9047 | 57.2873 | 17.9047 | 0
65392.785 | 18.1342 | 57.7767 | 18.1342 | 0
66101.413 | 18.3619 | 58.2717 | 18.3619 | 0
66817.72 | 18.5913 | 58.7706 | 18.5913 | 0
67541.789 | 18.8235 | 59.272 | 18.8235 | 0
68273.705 | 19.0569 | 59.7766 | 19.0569 | 0
69013.552 | 19.3079 | 60.2793 | 19.3079 | 0
69761.416 | 19.5328 | 60.7978 | 19.5328 | 0
70517.385 | 19.7896 | 61.3236 | 19.7896 | 0
71281.546 | 20.0389 | 61.834 | 20.0389 | 0
72053.987 | 20.2857 | 62.3625 | 20.2857 | 0
72834.799 | 20.5224 | 62.8979 | 20.5224 | 0
73624.072 | 20.7897 | 63.4223 | 20.7897 | 0
74421.899 | 21.0365 | 63.9625 | 21.0365 | 0
75228.371 | 21.2982 | 64.5059 | 21.2982 | 0
76043.582 | 21.5552 | 65.0587 | 21.5552 | 0
76867.627 | 21.828 | 65.6157 | 21.828 | 0
77700.602 | 22.0967 | 66.1645 | 22.0967 | 0
78542.603 | 22.3675 | 66.7226 | 22.3675 | 0
79393.729 | 22.6429 | 67.278 | 22.6429 | 0
80254.078 | 22.905 | 67.8606 | 22.905 | 0
81123.75 | 23.1981 | 68.438 | 23.1981 | 0
82002.847 | 23.4804 | 69.0114 | 23.4804 | 0
82891.47 | 23.7635 | 69.6036 | 23.7635 | 0
83789.722 | 24.0503 | 70.1825 | 24.0503 | 0
84697.708 | 24.3594 | 70.7753 | 24.3594 | 0
85615.534 | 24.6558 | 71.3772 | 24.6558 | 0
86543.305 | 24.963 | 71.9731 | 24.963 | 0
87481.13 | 25.247 | 72.5736 | 25.247 | 0
88429.118 | 25.5623 | 73.193 | 25.5623 | 0
89387.379 | 25.8756 | 73.8141 | 25.8756 | 0
90356.024 | 26.1797 | 74.4344 | 26.1797 | 0
91335.166 | 26.5046 | 75.0683 | 26.5046 | 0
92324.919 | 26.8259 | 75.6852 | 26.8259 | 0
93325.396 | 27.1493 | 76.3399 | 27.1493 | 0
94336.716 | 27.4812 | 76.9693 | 27.4812 | 0
95358.994 | 27.8 | 77.6303 | 27.8 | 0
96392.35 | 28.1335 | 78.2979 | 28.1335 | 0
97436.905 | 28.4608 | 78.9524 | 28.4608 | 0
98492.779 | 28.8254 | 79.6087 | 28.8254 | 0
99560.094 | 29.1691 | 80.2926 | 29.1691 | 0
100638.976 | 29.5196 | 80.975 | 29.5196 | 0
101729.549 | 29.8633 | 81.6562 | 29.8633 | 0
102831.939 | 30.2303 | 82.3497 | 30.2303 | 0
103946.276 | 30.5852 | 83.0489 | 30.5852 | 0
105072.689 | 30.9587 | 83.7471 | 30.9587 | 0
106211.307 | 31.3433 | 84.4545 | 31.3433 | 0
107362.265 | 31.708 | 85.1728 | 31.708 | 0
108525.694 | 32.1087 | 85.8765 | 32.1087 | 0
109701.732 | 32.4963 | 86.6137 | 32.4963 | 0
110890.513 | 32.8742 | 87.3566 | 32.8742 | 0
112092.176 | 33.2647 | 88.088 | 33.2647 | 0
113306.862 | 33.644 | 88.8422 | 33.644 | 0
114534.71 | 34.0626 | 89.5908 | 34.0626 | 0
115775.864 | 34.4668 | 90.3588 | 34.4668 | 0
117030.467 | 34.8931 | 91.1286 | 34.8931 | 0
118298.666 | 35.3054 | 91.895 | 35.3054 | 0
119580.608 | 35.7351 | 92.6763 | 35.7351 | 0
120876.442 | 36.1623 | 93.4746 | 36.1623 | 0
122186.318 | 36.614 | 94.272 | 36.614 | 0
123510.388 | 37.0466 | 95.0536 | 37.0466 | 0
124848.807 | 37.4945 | 95.8832 | 37.4945 | 0
126201.729 | 37.9724 | 96.6954 | 37.9724 | 0
127569.312 | 38.4239 | 97.5143 | 38.4239 | 0
128951.715 | 38.8972 | 98.3578 | 38.8972 | 0
130349.099 | 39.3645 | 99.1902 | 39.3645 | 0
131761.625 | 39.8594 | 100.0453 | 39.8594 | 0
133189.458 | 40.3061 | 100.8963 | 40.3061 | 0
134632.764 | 40.8187 | 101.7546 | 40.8187 | 0
136091.71 | 41.2986 | 102.6153 | 41.2986 | 0
137566.466 | 41.812 | 103.5123 | 41.812 | 0
139057.203 | 42.3464 | 104.3869 | 42.3464 | 0
140564.094 | 42.8478 | 105.2963 | 42.8478 | 0
142087.315 | 43.3649 | 106.195 | 43.3649 | 0
143627.042 | 43.9017 | 107.1232 | 43.9017 | 0
145183.455 | 44.4756 | 108.0285 | 44.4756 | 0
146756.733 | 45.0054 | 108.956 | 45.0054 | 0
148347.061 | 45.5719 | 109.909 | 45.5719 | 0
149954.621 | 46.116 | 110.8658 | 46.116 | 0
151579.603 | 46.7092 | 111.8045 | 46.7092 | 0
153222.193 | 47.2966 | 112.7764 | 47.2966 | 0
154882.583 | 47.8668 | 113.7649 | 47.8668 | 0
156560.966 | 48.4845 | 114.7411 | 48.4845 | 0
158257.537 | 49.0921 | 115.7468 | 49.0921 | 0
159972.492 | 49.7104 | 116.7439 | 49.7104 | 0
161706.032 | 50.345 | 117.7609 | 50.345 | 0
163458.357 | 50.9972 | 118.7901 | 50.9972 | 0
165229.671 | 51.6186 | 119.8177 | 51.6186 | 0
167020.18 | 52.274 | 120.8713 | 52.274 | 0
168830.092 | 52.9564 | 121.9212 | 52.9564 | 0
170659.617 | 53.6439 | 122.9931 | 53.6439 | 0
172508.968 | 54.3415 | 124.0925 | 54.3415 | 0
174378.359 | 55.0344 | 125.1464 | 55.0344 | 0
176268.007 | 55.7628 | 126.2484 | 55.7628 | 0
178178.133 | 56.4896 | 127.3557 | 56.4896 | 0
180108.958 | 57.1982 | 128.484 | 57.1982 | 0
182060.706 | 57.9806 | 129.6008 | 57.9806 | 0
184033.605 | 58.7594 | 130.7497 | 58.7594 | 0
186027.882 | 59.495 | 131.9013 | 59.495 | 0
188043.771 | 60.3185 | 133.0609 | 60.3185 | 0
190081.504 | 61.0702 | 134.2643 | 61.0702 | 0
192141.32 | 61.8899 | 135.4419 | 61.8899 | 0
194223.457 | 62.7383 | 136.6322 | 62.7383 | 0
196328.157 | 63.5851 | 137.8443 | 63.5851 | 0
198455.664 | 64.4291 | 139.0712 | 64.4291 | 0
200606.226 | 65.3053 | 140.2994 | 65.3053 | 0
202780.093 | 66.1891 | 141.5587 | 66.1891 | 0
204977.516 | 67.1095 | 142.8049 | 67.1095 | 0
207198.752 | 68.0246 | 144.0969 | 68.0246 | 0
209444.059 | 68.9618 | 145.3842 | 68.9618 | 0
211713.696 | 69.9134 | 146.6883 | 69.9134 | 0
214007.929 | 70.8988 | 148.0064 | 70.8988 | 0
216327.023 | 71.9183 | 149.3119 | 71.9183 | 0
218671.247 | 72.9251 | 150.6636 | 72.9251 | 0
221040.875 | 73.9366 | 152.0255 | 73.9366 | 0
223436.182 | 74.9985 | 153.389 | 74.9985 | 0
225857.445 | 76.0617 | 154.7706 | 76.0617 | 0
228304.946 | 77.1352 | 156.1835 | 77.1352 | 0
230778.969 | 78.2578 | 157.608 | 78.2578 | 0
233279.802 | 79.4059 | 159.0527 | 79.4059 | 0
235807.736 | 80.5421 | 160.4984 | 80.5421 | 0
238363.063 | 81.7346 | 161.9375 | 81.7346 | 0
240946.081 | 82.892 | 163.445 | 82.892 | 0
243557.09 | 84.192 | 164.9035 | 84.192 | 0
246196.393 | 85.4152 | 166.429 | 85.4152 | 0
248864.297 | 86.7066 | 167.9586 | 86.7066 | 0
251561.111 | 88.0142 | 169.494 | 88.0142 | 0
254287.15 | 89.3452 | 171.0613 | 89.3452 | 0
257042.729 | 90.6925 | 172.6411 | 90.6925 | 0
259828.169 | 92.0975 | 174.23 | 92.0975 | 0
262643.793 | 93.5179 | 175.8307 | 93.5179 | 0
265489.929 | 94.9985 | 177.4693 | 94.9985 | 0
268366.907 | 96.4625 | 179.1042 | 96.4625 | 0
271275.061 | 97.9964 | 180.7796 | 97.9964 | 0
274214.729 | 99.5367 | 182.4667 | 99.5367 | 0
277186.254 | 101.165 | 184.1108 | 101.165 | 0
280189.979 | 102.8023 | 185.8344 | 102.8023 | 0
283226.253 | 104.4136 | 187.5773 | 104.4136 | 0
286295.431 | 106.1455 | 189.3303 | 106.1455 | 0
289397.867 | 107.8941 | 191.1118 | 107.8941 | 0
292533.923 | 109.6983 | 192.895 | 109.6983 | 0
295703.963 | 111.5511 | 194.6958 | 111.5511 | 0
298908.355 | 113.3951 | 196.5571 | 113.3951 | 0
302147.471 | 115.2991 | 198.3977 | 115.2991 | 0
305421.688 | 117.2969 | 200.2417 | 117.2969 | 0
308731.386 | 119.3089 | 202.1292 | 119.3089 | 0
312076.949 | 121.3613 | 204.0624 | 121.3613 | 0
315458.767 | 123.5234 | 205.9486 | 123.5234 | 0
318877.231 | 125.6889 | 207.8863 | 125.6889 | 0
322332.74 | 127.9255 | 209.8914 | 127.9255 | 0
325825.694 | 130.2625 | 211.855 | 130.2625 | 0
329356.5 | 132.6335 | 213.853 | 132.6335 | 0
332925.567 | 135.0581 | 215.8619 | 135.0581 | 0
336533.31 | 137.561 | 217.878 | 137.561 | 0
340180.149 | 140.0716 | 219.9712 | 140.0716 | 0
343866.506 | 142.7335 | 222.0552 | 142.7335 | 0
347592.811 | 145.4435 | 224.162 | 145.4435 | 0
351359.495 | 148.2735 | 226.2394 | 148.2735 | 0
355166.998 | 151.0633 | 228.3651 | 151.0633 | 0
359015.76 | 154.0656 | 230.4856 | 154.0656 | 0
362906.229 | 157.1103 | 232.6424 | 157.1103 | 0
366838.858 | 160.2651 | 234.8857 | 160.2651 | 0
370814.102 | 163.5118 | 237.0391 | 163.5118 | 0
374832.424 | 166.8309 | 239.2168 | 166.8309 | 0
378894.29 | 170.2801 | 241.4227 | 170.2801 | 0
383000.173 | 173.7387 | 243.6665 | 173.7387 | 0
387150.549 | 177.3847 | 245.8796 | 177.3847 | 0
391345.9 | 181.1719 | 248.1241 | 181.1719 | 0
395586.715 | 185.054 | 250.3617 | 185.054 | 0
399873.485 | 189.0478 | 252.5751 | 189.0478 | 0
404206.708 | 193.2256 | 254.7965 | 193.2256 | 0
408586.888 | 197.4836 | 257.0188 | 197.4836 | 0
413014.535 | 201.8435 | 259.2411 | 201.8435 | 0
417490.161 | 206.4673 | 261.4665 | 206.4673 | 0
422014.287 | 211.2038 | 263.7211 | 211.2038 | 0
426587.439 | 216.058 | 265.9168 | 216.058 | 0
431210.148 | 221.162 | 268.0382 | 221.162 | 0
435882.951 | 226.3712 | 270.1893 | 226.3712 | 0
440606.39 | 231.7408 | 272.2941 | 231.7408 | 0
445381.015 | 237.2976 | 274.3572 | 237.2976 | 0
450207.38 | 243.1959 | 276.3903 | 243.1959 | 0
455086.046 | 249.0858 | 278.3608 | 249.0858 | 0
460017.58 | 255.3197 | 280.2103 | 255.3197 | 0
465002.554 | 261.7424 | 282.0048 | 261.7424 | 0
470041.548 | 268.3888 | 283.8231 | 268.3888 | 0
475135.147 | 275.2913 | 285.4382 | 275.2913 | 0
480283.942 | 282.4667 | 286.9571 | 282.4667 | 0
485488.532 | 289.8355 | 288.4141 | 289.8355 | 0
490749.522 | 297.4659 | 289.6383 | 297.4659 | 0
496067.522 | 305.3946 | 290.7816 | 305.3946 | 0
501443.151 | 313.6792 | 291.6638 | 313.6792 | 0
506877.033 | 322.1619 | 292.3793 | 322.1619 | 0
512369.799 | 330.9752 | 293.0317 | 330.9752 | 0
517922.087 | 340.0639 | 293.2708 | 340.0639 | 0
523534.542 | 349.462 | 293.3633 | 349.462 | 0
529207.817 | 359.1105 | 293.0639 | 359.1105 | 0
534942.57 | 369.2549 | 292.3694 | 369.2549 | 0
540739.468 | 379.6214 | 291.4677 | 379.6214 | 0
546599.184 | 390.167 | 290.192 | 390.167 | 0
552522.398 | 401.1237 | 288.4658 | 401.1237 | 0
558509.8 | 412.3949 | 286.2299 | 412.3949 | 0
564562.083 | 423.8816 | 283.5374 | 423.8816 | 0
570679.952 | 435.8145 | 280.1383 | 435.8145 | 0
576864.118 | 447.8072 | 276.2914 | 447.8072 | 0
583115.298 | 460.2004 | 271.7254 | 460.2004 | 0
589434.219 | 472.611 | 266.4913 | 472.611 | 0
595821.614 | 485.3171 | 260.5132 | 485.3171 | 0
602278.227 | 498.0836 | 253.7779 | 498.0836 | 0
608804.807 | 510.9812 | 246.018 | 510.9812 | 0
615402.111 | 523.863 | 237.5387 | 523.863 | 0
622070.908 | 536.6182 | 228.1042 | 536.6182 | 0
628811.971 | 549.2614 | 217.6516 | 549.2614 | 0
635626.083 | 561.7454 | 206.2445 | 561.7454 | 0
642514.036 | 573.7743 | 193.7836 | 573.7743 | 0
649476.63 | 585.4967 | 180.1768 | 585.4967 | 0
656514.675 | 596.7169 | 165.5057 | 596.7169 | 0
663628.987 | 607.1925 | 150.0154 | 607.1925 | 0
670820.393 | 616.8789 | 133.3471 | 616.8789 | 0
678089.729 | 625.7023 | 115.672 | 625.7023 | 0
685437.839 | 633.5117 | 97.1082 | 633.5117 | 0
692865.577 | 640.1187 | 77.8589 | 640.1187 | 0
700373.805 | 645.6207 | 57.6709 | 645.6207 | 0
707963.396 | 649.5743 | 36.8795 | 649.5743 | 0
715635.231 | 652.1694 | 15.6388 | 652.1694 | 0
723390.203 | 653.2953 | -5.8646 | 653.2953 | 0
731229.21 | 652.7273 | -27.7363 | 652.7273 | 0
739153.166 | 650.6245 | -49.4572 | 650.6245 | 0
747162.989 | 646.8904 | -71.0368 | 646.8904 | 0
755259.61 | 641.6028 | -92.4309 | 641.6028 | 0
763443.97 | 634.8142 | -113.1332 | 634.8142 | 0
771717.02 | 626.4628 | -133.2156 | 626.4628 | 0
780079.721 | 616.7849 | -152.5963 | 616.7849 | 0
788533.044 | 605.7655 | -170.9945 | 605.7655 | 0
797077.971 | 593.7247 | -188.2754 | 593.7247 | 0
805715.496 | 580.6139 | -204.4351 | 580.6139 | 0
814446.62 | 566.6326 | -219.5115 | 566.6326 | 0
823272.36 | 551.9022 | -233.1466 | 551.9022 | 0
832193.739 | 536.5955 | -245.5963 | 536.5955 | 0
841211.795 | 520.8317 | -256.7399 | 520.8317 | 0
850327.575 | 504.8181 | -266.6074 | 504.8181 | 0
859542.138 | 488.6379 | -275.095 | 488.6379 | 0
868856.555 | 472.329 | -282.3964 | 472.329 | 0
878271.907 | 456.1642 | -288.4625 | 456.1642 | 0
887789.288 | 440.0432 | -293.5138 | 440.0432 | 0
897409.804 | 424.2099 | -297.4145 | 424.2099 | 0
907134.573 | 408.7249 | -300.3343 | 408.7249 | 0
916964.724 | 393.5628 | -302.4117 | 393.5628 | 0
926901.4 | 378.8416 | -303.6215 | 378.8416 | 0
936945.754 | 364.5031 | -304.0164 | 364.5031 | 0
947098.953 | 350.6605 | -303.7343 | 350.6605 | 0
957362.178 | 337.2875 | -302.7766 | 337.2875 | 0
967736.62 | 324.5513 | -301.2247 | 324.5513 | 0
978223.484 | 312.2166 | -299.2437 | 312.2166 | 0
988823.99 | 300.483 | -296.7315 | 300.483 | 0
999539.367 | 289.2403 | -293.8897 | 289.2403 | 0
1010370.861 | 278.4629 | -290.6456 | 278.4629 | 0
1021319.731 | 268.2902 | -287.0064 | 268.2902 | 0
1032387.248 | 258.5206 | -283.2085 | 258.5206 | 0
1043574.698 | 249.3153 | -279.1608 | 249.3153 | 0
1054883.381 | 240.5245 | -274.934 | 240.5245 | 0
1066314.61 | 232.2634 | -270.5707 | 232.2634 | 0
1077869.714 | 224.4464 | -266.0345 | 224.4464 | 0
1089550.034 | 216.9645 | -261.4186 | 216.9645 | 0
1101356.928 | 209.9368 | -256.6343 | 209.9368 | 0
1113291.767 | 203.3228 | -251.9078 | 203.3228 | 0
1125355.937 | 197.0669 | -247.1045 | 197.0669 | 0
1137550.841 | 191.1446 | -242.2224 | 191.1446 | 0
1149877.895 | 185.5847 | -237.3684 | 185.5847 | 0
1162338.531 | 180.3728 | -232.4472 | 180.3728 | 0
1174934.196 | 175.4449 | -227.6151 | 175.4449 | 0
1187666.354 | 170.8469 | -222.6978 | 170.8469 | 0
1200536.484 | 166.4664 | -217.9009 | 166.4664 | 0
1213546.081 | 162.4221 | -213.0598 | 162.4221 | 0
1226696.656 | 158.6165 | -208.314 | 158.6165 | 0
1239989.738 | 155.0323 | -203.5905 | 155.0323 | 0
1253426.869 | 151.7327 | -198.9009 | 151.7327 | 0
1267009.612 | 148.6495 | -194.2426 | 148.6495 | 0
1280739.544 | 145.752 | -189.6804 | 145.752 | 0
1294618.26 | 143.1216 | -185.1813 | 143.1216 | 0
1308647.373 | 140.6466 | -180.712 | 140.6466 | 0
1322828.512 | 138.3549 | -176.3364 | 138.3549 | 0
1337163.325 | 136.2942 | -171.9893 | 136.2942 | 0
1351653.477 | 134.4126 | -167.7627 | 134.4126 | 0
1366300.651 | 132.6693 | -163.5588 | 132.6693 | 0
1381106.549 | 131.1315 | -159.4228 | 131.1315 | 0
1396072.891 | 129.6974 | -155.4132 | 129.6974 | 0
1411201.415 | 128.4525 | -151.4224 | 128.4525 | 0
1426493.88 | 127.3322 | -147.5441 | 127.3322 | 0
1441952.061 | 126.3707 | -143.7238 | 126.3707 | 0
1457577.754 | 125.5669 | -140.0099 | 125.5669 | 0
1473372.775 | 124.8716 | -136.3422 | 124.8716 | 0
1489338.959 | 124.3038 | -132.7547 | 124.3038 | 0
1505478.16 | 123.8733 | -129.2783 | 123.8733 | 0
1521792.253 | 123.5681 | -125.8818 | 123.5681 | 0
1538283.134 | 123.3753 | -122.5593 | 123.3753 | 0
1554952.717 | 123.321 | -119.3324 | 123.321 | 0
1571802.941 | 123.3859 | -116.183 | 123.3859 | 0
1588835.762 | 123.5602 | -113.1163 | 123.5602 | 0
1606053.158 | 123.8217 | -110.1737 | 123.8217 | 0
1623457.131 | 124.2171 | -107.3155 | 124.2171 | 0
1641049.702 | 124.6892 | -104.5453 | 124.6892 | 0
1658832.914 | 125.2708 | -101.9019 | 125.2708 | 0
1676808.834 | 125.9646 | -99.3419 | 125.9646 | 0
1694979.549 | 126.7332 | -96.9291 | 126.7332 | 0
1713347.172 | 127.6055 | -94.6286 | 127.6055 | 0
1731913.834 | 128.5798 | -92.4167 | 128.5798 | 0
1750681.695 | 129.6196 | -90.354 | 129.6196 | 0
1769652.932 | 130.7406 | -88.4203 | 130.7406 | 0
1788829.752 | 131.9571 | -86.636 | 131.9571 | 0
1808214.38 | 133.202 | -84.9807 | 133.202 | 0
1827809.07 | 134.5409 | -83.4688 | 134.5409 | 0
1847616.098 | 135.9249 | -82.1289 | 135.9249 | 0
1867637.764 | 137.3623 | -80.937 | 137.3623 | 0
1887876.395 | 138.8416 | -79.897 | 138.8416 | 0
1908334.341 | 140.3204 | -79.0385 | 140.3204 | 0
1929013.98 | 141.8471 | -78.3805 | 141.8471 | 0
1949917.713 | 143.3893 | -77.8457 | 143.3893 | 0
1971047.969 | 144.9117 | -77.5572 | 144.9117 | 0
1992407.203 | 146.4283 | -77.4323 | 146.4283 | 0
2013997.896 | 147.879 | -77.4738 | 147.879 | 0
2035822.556 | 149.283 | -77.723 | 149.283 | 0
2057883.719 | 150.6532 | -78.1297 | 150.6532 | 0
2080183.947 | 151.9333 | -78.7838 | 151.9333 | 0
2102725.832 | 153.0821 | -79.5644 | 153.0821 | 0
2125511.991 | 154.1402 | -80.513 | 154.1402 | 0
2148545.072 | 155.0604 | -81.6702 | 155.0604 | 0
2171827.751 | 155.8077 | -82.9571 | 155.8077 | 0
2195362.732 | 156.397 | -84.3786 | 156.397 | 0
2219152.75 | 156.7934 | -85.9586 | 156.7934 | 0
2243200.568 | 156.9623 | -87.612 | 156.9623 | 0
2267508.979 | 156.9527 | -89.3392 | 156.9527 | 0
2292080.809 | 156.7066 | -91.1468 | 156.7066 | 0
2316918.911 | 156.2422 | -93.016 | 156.2422 | 0
2342026.17 | 155.5193 | -94.8792 | 155.5193 | 0
2367405.504 | 154.5627 | -96.6926 | 154.5627 | 0
2393059.861 | 153.3434 | -98.4999 | 153.3434 | 0
2418992.221 | 151.9591 | -100.2447 | 151.9591 | 0
2445205.597 | 150.3045 | -101.9063 | 150.3045 | 0
2471703.033 | 148.4425 | -103.3853 | 148.4425 | 0
2498487.609 | 146.3809 | -104.7906 | 146.3809 | 0
2525562.435 | 144.1845 | -106.0096 | 144.1845 | 0
2552930.657 | 141.801 | -107.0406 | 141.801 | 0
2580595.454 | 139.3288 | -107.9003 | 139.3288 | 0
2608560.041 | 136.6842 | -108.5668 | 136.6842 | 0
2636827.666 | 133.9638 | -109.027 | 133.9638 | 0
2665401.612 | 131.2168 | -109.2707 | 131.2168 | 0
2694285.2 | 128.4325 | -109.3104 | 128.4325 | 0
2723481.784 | 125.599 | -109.1413 | 125.599 | 0
2752994.756 | 122.7897 | -108.7619 | 122.7897 | 0
2782827.546 | 119.997 | -108.1845 | 119.997 | 0
2812983.618 | 117.2346 | -107.424 | 117.2346 | 0
2843466.476 | 114.5583 | -106.4631 | 114.5583 | 0
2874279.66 | 111.931 | -105.3382 | 111.931 | 0
2905426.752 | 109.4179 | -104.0752 | 109.4179 | 0
2936911.369 | 106.9686 | -102.6538 | 106.9686 | 0
2968737.168 | 104.6252 | -101.0898 | 104.6252 | 0
3000907.847 | 102.3772 | -99.4226 | 102.3772 | 0
3033427.143 | 100.2715 | -97.6229 | 100.2715 | 0
3066298.834 | 98.2625 | -95.7571 | 98.2625 | 0
3099526.739 | 96.3885 | -93.7903 | 96.3885 | 0
3133114.717 | 94.6534 | -91.749 | 94.6534 | 0
3167066.671 | 93.0157 | -89.646 | 93.0157 | 0
3201386.545 | 91.5055 | -87.4911 | 91.5055 | 0
3236078.326 | 90.1349 | -85.2799 | 90.1349 | 0
3271146.044 | 88.8702 | -83.0552 | 88.8702 | 0
3306593.772 | 87.7048 | -80.7798 | 87.7048 | 0
3342425.63 | 86.691 | -78.4978 | 86.691 | 0
3378645.779 | 85.7781 | -76.1775 | 85.7781 | 0
3415258.427 | 84.9758 | -73.8657 | 84.9758 | 0
3452267.827 | 84.2628 | -71.522 | 84.2628 | 0
3489678.279 | 83.6695 | -69.1858 | 83.6695 | 0
3527494.129 | 83.1838 | -66.8526 | 83.1838 | 0
3565719.77 | 82.8045 | -64.5137 | 82.8045 | 0
3604359.643 | 82.517 | -62.193 | 82.517 | 0
3643418.236 | 82.3303 | -59.8578 | 82.3303 | 0
3682900.087 | 82.234 | -57.5554 | 82.234 | 0
3722809.783 | 82.2409 | -55.2367 | 82.2409 | 0
3763151.959 | 82.3392 | -52.956 | 82.3392 | 0
3803931.303 | 82.5423 | -50.6579 | 82.5423 | 0
3845152.552 | 82.8484 | -48.3871 | 82.8484 | 0
3886820.494 | 83.2581 | -46.1361 | 83.2581 | 0
3928939.97 | 83.7679 | -43.8989 | 83.7679 | 0
3971515.874 | 84.3954 | -41.6684 | 84.3954 | 0
4014553.15 | 85.1195 | -39.4797 | 85.1195 | 0
4058056.8 | 85.9728 | -37.3221 | 85.9728 | 0
4102031.876 | 86.9595 | -35.1851 | 86.9595 | 0
4146483.487 | 88.0851 | -33.0967 | 88.0851 | 0
4191416.798 | 89.3294 | -31.0638 | 89.3294 | 0
4236837.027 | 90.7295 | -29.1121 | 90.7295 | 0
4282749.453 | 92.2683 | -27.2269 | 92.2683 | 0
4329159.408 | 93.949 | -25.4615 | 93.949 | 0
4376072.284 | 95.788 | -23.7945 | 95.788 | 0
4423493.53 | 97.7586 | -22.2907 | 97.7586 | 0
4471428.656 | 99.8626 | -20.934 | 99.8626 | 0
4519883.231 | 102.0926 | -19.7623 | 102.0926 | 0
4568862.882 | 104.427 | -18.8095 | 104.427 | 0
4618373.301 | 106.8474 | -18.0796 | 106.8474 | 0
4668420.24 | 109.3225 | -17.5922 | 109.3225 | 0
4719009.511 | 111.8092 | -17.3764 | 111.8092 | 0
4770146.991 | 114.2721 | -17.4059 | 114.2721 | 0
4821838.623 | 116.7051 | -17.7144 | 116.7051 | 0
4874090.41 | 119.0287 | -18.3008 | 119.0287 | 0
4926908.423 | 121.2249 | -19.1064 | 121.2249 | 0
4980298.798 | 123.2382 | -20.1345 | 123.2382 | 0
5034267.736 | 124.9743 | -21.3782 | 124.9743 | 0
5088821.509 | 126.5553 | -22.7158 | 126.5553 | 0
5143966.452 | 127.8921 | -24.1701 | 127.8921 | 0
5199708.973 | 128.9753 | -25.691 | 128.9753 | 0
5256055.547 | 129.8384 | -27.2105 | 129.8384 | 0
5313012.72 | 130.4749 | -28.7067 | 130.4749 | 0
5370587.108 | 130.9281 | -30.1365 | 130.9281 | 0
5428785.401 | 131.181 | -31.4744 | 131.181 | 0
5487614.358 | 131.2905 | -32.7161 | 131.2905 | 0
5547080.815 | 131.2631 | -33.8064 | 131.2631 | 0
5607191.679 | 131.1738 | -34.776 | 131.1738 | 0
5667953.934 | 131.028 | -35.5633 | 131.028 | 0
5729374.638 | 130.8561 | -36.2339 | 130.8561 | 0
5791460.926 | 130.7155 | -36.7735 | 130.7155 | 0
5854220.012 | 130.5884 | -37.1635 | 130.5884 | 0
5917659.186 | 130.5463 | -37.4484 | 130.5463 | 0
5981785.817 | 130.5926 | -37.6441 | 130.5926 | 0
6046607.356 | 130.7514 | -37.7768 | 130.7514 | 0
6112131.333 | 131.0562 | -37.8648 | 131.0562 | 0
6178365.359 | 131.4878 | -37.9603 | 131.4878 | 0
6245317.129 | 132.0544 | -38.0788 | 132.0544 | 0
6312994.421 | 132.7679 | -38.2594 | 132.7679 | 0
6381405.098 | 133.5998 | -38.5418 | 133.5998 | 0
6450557.105 | 134.5633 | -38.947 | 134.5633 | 0
6520458.478 | 135.5991 | -39.4867 | 135.5991 | 0
6591117.335 | 136.7059 | -40.2066 | 136.7059 | 0
6662541.887 | 137.8703 | -41.119 | 137.8703 | 0
6734740.429 | 139.0374 | -42.2272 | 139.0374 | 0
6807721.35 | 140.2025 | -43.5731 | 140.2025 | 0
6881493.128 | 141.2516 | -45.172 | 141.2516 | 0
6956064.332 | 142.2082 | -46.9609 | 142.2082 | 0
7031443.627 | 142.9988 | -48.9735 | 142.9988 | 0
7107639.768 | 143.5693 | -51.1867 | 143.5693 | 0
7184661.607 | 143.9066 | -53.519 | 143.9066 | 0
7262518.093 | 143.9703 | -55.9961 | 143.9703 | 0
7341218.269 | 143.7249 | -58.4894 | 143.7249 | 0
7420771.279 | 143.1584 | -60.9601 | 143.1584 | 0
7501186.364 | 142.3097 | -63.3784 | 142.3097 | 0
7582472.866 | 141.1803 | -65.6437 | 141.1803 | 0
7664640.227 | 139.7962 | -67.7451 | 139.7962 | 0
7747697.994 | 138.2453 | -69.6235 | 138.2453 | 0
7831655.816 | 136.5295 | -71.2543 | 136.5295 | 0
7916523.445 | 134.7498 | -72.6332 | 134.7498 | 0
8002310.742 | 132.908 | -73.7421 | 132.908 | 0
8089027.671 | 131.0774 | -74.6053 | 131.0774 | 0
8176684.307 | 129.3187 | -75.207 | 129.3187 | 0
8265290.832 | 127.6909 | -75.5691 | 127.6909 | 0
8354857.541 | 126.2401 | -75.751 | 126.2401 | 0
8445394.839 | 125.0289 | -75.8232 | 125.0289 | 0
8536913.243 | 124.037 | -75.85 | 124.037 | 0
8629423.384 | 123.2468 | -75.9106 | 123.2468 | 0
8722936.011 | 122.6121 | -75.9938 | 122.6121 | 0
8817461.986 | 122.1599 | -76.1874 | 122.1599 | 0
8913012.29 | 121.8348 | -76.4775 | 121.8348 | 0
9009598.024 | 121.6409 | -76.9122 | 121.6409 | 0
9107230.407 | 121.5406 | -77.5193 | 121.5406 | 0
9205920.783 | 121.4416 | -78.3165 | 121.4416 | 0
9305680.615 | 121.3945 | -79.3047 | 121.3945 | 0
9406521.494 | 121.3107 | -80.4776 | 121.3107 | 0
9508455.133 | 121.1547 | -81.891 | 121.1547 | 0
9611493.375 | 120.8742 | -83.4677 | 120.8742 | 0
9715648.189 | 120.4511 | -85.2223 | 120.4511 | 0
9820931.676 | 119.8389 | -87.1439 | 119.8389 | 0
9927356.065 | 119.011 | -89.164 | 119.011 | 0
10034933.721 | 117.9255 | -91.2813 | 117.9255 | 0
10143677.141 | 116.5929 | -93.4159 | 116.5929 | 0
10253598.957 | 115.0101 | -95.5554 | 115.0101 | 0
10364711.94 | 113.1627 | -97.6305 | 113.1627 | 0
10477028.997 | 111.09 | -99.6508 | 111.09 | 0
10590563.176 | 108.7447 | -101.5512 | 108.7447 | 0
10705327.666 | 106.2078 | -103.2892 | 106.2078 | 0
10821335.801 | 103.4625 | -104.8538 | 103.4625 | 0
10938601.056 | 100.5567 | -106.2032 | 100.5567 | 0
11057137.054 | 97.5395 | -107.3528 | 97.5395 | 0
11176957.566 | 94.4097 | -108.2505 | 94.4097 | 0
11298076.511 | 91.2301 | -108.9291 | 91.2301 | 0
11420507.96 | 88.0198 | -109.3707 | 88.0198 | 0
11544266.136 | 84.8111 | -109.5749 | 84.8111 | 0
11669365.415 | 81.6143 | -109.5808 | 81.6143 | 0
11795820.331 | 78.5084 | -109.3291 | 78.5084 | 0
11923645.574 | 75.5093 | -108.9633 | 75.5093 | 0
12052855.993 | 72.5885 | -108.4598 | 72.5885 | 0
12183466.6 | 69.7322 | -107.8311 | 69.7322 | 0
12315492.566 | 66.9534 | -107.1055 | 66.9534 | 0
12448949.23 | 64.2502 | -106.2842 | 64.2502 | 0
12583852.095 | 61.626 | -105.3675 | 61.626 | 0
12720216.834 | 59.0754 | -104.3654 | 59.0754 | 0
12858059.286 | 56.588 | -103.2963 | 56.588 | 0
12997395.467 | 54.1592 | -102.1513 | 54.1592 | 0
13138241.562 | 51.8195 | -100.9388 | 51.8195 | 0
13280613.934 | 49.5224 | -99.6605 | 49.5224 | 0
13424529.122 | 47.2952 | -98.318 | 47.2952 | 0
13570003.846 | 45.143 | -96.9046 | 45.143 | 0
13717055.004 | 43.0516 | -95.4214 | 43.0516 | 0
13865699.679 | 41.0436 | -93.8898 | 41.0436 | 0
14015955.141 | 39.1122 | -92.2793 | 39.1122 | 0
14167838.844 | 37.2731 | -90.6348 | 37.2731 | 0
14321368.433 | 35.5068 | -88.9416 | 35.5068 | 0
14476561.742 | 33.8402 | -87.2099 | 33.8402 | 0
14633436.802 | 32.2458 | -85.4453 | 32.2458 | 0
14792011.837 | 30.7626 | -83.6556 | 30.7626 | 0
14952305.267 | 29.3603 | -81.8569 | 29.3603 | 0
15114335.715 | 28.0447 | -80.0397 | 28.0447 | 0
15278122.004 | 26.8053 | -78.2189 | 26.8053 | 0
15443683.161 | 25.6511 | -76.3807 | 25.6511 | 0
15611038.419 | 24.582 | -74.5566 | 24.582 | 0
15780207.219 | 23.5821 | -72.7508 | 23.5821 | 0
15951209.215 | 22.6597 | -70.9463 | 22.6597 | 0
16124064.272 | 21.8248 | -69.1637 | 21.8248 | 0
16298792.471 | 21.0561 | -67.4245 | 21.0561 | 0
16475414.109 | 20.2907 | -65.703 | 20.2907 | 0
16653949.704 | 19.5875 | -63.9835 | 19.5875 | 0
16834419.999 | 18.9321 | -62.2525 | 18.9321 | 0
17016845.957 | 18.3716 | -60.5072 | 18.3716 | 0
17201248.771 | 17.9126 | -58.8006 | 17.9126 | 0
17387649.865 | 17.5507 | -57.1219 | 17.5507 | 0
17576070.891 | 17.3207 | -55.5184 | 17.3207 | 0
17766533.738 | 17.2268 | -54.075 | 17.2268 | 0
17959060.534 | 17.177 | -52.9101 | 17.177 | 0
18153673.644 | 16.9545 | -52.054 | 16.9545 | 0
18350395.676 | 16.3233 | -51.2928 | 16.3233 | 0
18549249.483 | 15.3608 | -50.2627 | 15.3608 | 0
18750258.167 | 14.3814 | -48.8837 | 14.3814 | 0
18953445.079 | 13.5528 | -47.294 | 13.5528 | 0
19158833.823 | 12.9433 | -45.6006 | 12.9433 | 0
19366448.26 | 12.5197 | -43.9244 | 12.5197 | 0
19576312.507 | 12.2277 | -42.321 | 12.2277 | 0
19788450.945 | 12.0218 | -40.7997 | 12.0218 | 0
20002888.218 | 11.8528 | -39.395 | 11.8528 | 0
20219649.238 | 11.6775 | -38.1056 | 11.6775 | 0
20438759.186 | 11.4218 | -36.9176 | 11.4218 | 0
20660243.516 | 11.0305 | -35.7344 | 11.0305 | 0
20884127.957 | 10.5472 | -34.4364 | 10.5472 | 0
21110438.52 | 10.097 | -32.9993 | 10.097 | 0
21339201.493 | 9.7514 | -31.4981 | 9.7514 | 0
21570443.453 | 9.4895 | -29.9864 | 9.4895 | 0
21804191.264 | 9.3036 | -28.4898 | 9.3036 | 0
22040472.079 | 9.1843 | -27.0302 | 9.1843 | 0
22279313.348 | 9.1102 | -25.6178 | 9.1102 | 0
22520742.818 | 9.0531 | -24.2699 | 9.0531 | 0
22764788.534 | 8.9771 | -22.9726 | 8.9771 | 0
23011478.848 | 8.8498 | -21.694 | 8.8498 | 0
23260842.419 | 8.6906 | -20.3838 | 8.6906 | 0
23512908.214 | 8.5317 | -19.031 | 8.5317 | 0
23767705.517 | 8.3953 | -17.6492 | 8.3953 | 0
24025263.927 | 8.2687 | -16.2348 | 8.2687 | 0
24285613.366 | 8.1831 | -14.7913 | 8.1831 | 0
24548784.077 | 8.1242 | -13.3292 | 8.1242 | 0
24814806.635 | 8.0911 | -11.8356 | 8.0911 | 0
25083711.942 | 8.0995 | -10.3076 | 8.0995 | 0
25355531.237 | 8.1587 | -8.7481 | 8.1587 | 0
25630296.099 | 8.2675 | -7.1527 | 8.2675 | 0
25908038.446 | 8.4392 | -5.5101 | 8.4392 | 0
26188790.544 | 8.6977 | -3.8142 | 8.6977 | 0
26472585.009 | 9.0561 | -2.0704 | 9.0561 | 0
26759454.808 | 9.5424 | -0.25676 | 9.5424 | 0
27049433.268 | 10.2175 | 1.6506 | 10.2175 | 0
27342554.075 | 11.1884 | 3.6451 | 11.1884 | 0
27638851.282 | 12.6171 | 5.6592 | 12.6171 | 0
27938359.31 | 14.6714 | 7.5073 | 14.6714 | 0
28241112.952 | 17.488 | 8.8249 | 17.488 | 0
28547147.38 | 20.9782 | 9.0134 | 20.9782 | 0
28856498.145 | 24.5167 | 7.3496 | 24.5167 | 0
29169201.186 | 26.6608 | 3.6982 | 26.6608 | 0
29485292.829 | 26.0882 | -0.60616 | 26.0882 | 0
29804809.795 | 23.166 | -3.5573 | 23.166 | 0
30127789.202 | 19.4865 | -4.4348 | 19.4865 | 0
30454268.571 | 16.1802 | -3.7444 | 16.1802 | 0
30784285.828 | 13.5947 | -2.1952 | 13.5947 | 0
31117879.314 | 11.6729 | -0.26913 | 11.6729 | 0
31455087.78 | 10.2689 | 1.7858 | 10.2689 | 0
31795950.401 | 9.2408 | 3.8561 | 9.2408 | 0
32140506.776 | 8.4813 | 5.8939 | 8.4813 | 0
32488796.93 | 7.9238 | 7.8852 | 7.9238 | 0
32840861.326 | 7.511 | 9.8286 | 7.511 | 0
33196740.864 | 7.2124 | 11.722 | 7.2124 | 0
33556476.884 | 6.9971 | 13.5762 | 6.9971 | 0
33920111.179 | 6.8355 | 15.4054 | 6.8355 | 0
34287685.992 | 6.729 | 17.2037 | 6.729 | 0
34659244.025 | 6.6657 | 19.0087 | 6.6657 | 0
35034828.441 | 6.6527 | 20.8113 | 6.6527 | 0
35414482.872 | 6.6901 | 22.6097 | 6.6901 | 0
35798251.423 | 6.7918 | 24.3929 | 6.7918 | 0
36186178.677 | 6.9242 | 26.1307 | 6.9242 | 0
36578309.699 | 7.0405 | 27.8428 | 7.0405 | 0
36974690.043 | 7.129 | 29.5693 | 7.129 | 0
37375365.757 | 7.2176 | 31.3716 | 7.2176 | 0
37780383.389 | 7.3533 | 33.2363 | 7.3533 | 0
38189789.988 | 7.5655 | 35.1346 | 7.5655 | 0
38603633.116 | 7.849 | 37.0244 | 7.849 | 0
39021960.849 | 8.1684 | 38.9013 | 8.1684 | 0
39444821.785 | 8.501 | 40.7699 | 8.501 | 0
39872265.048 | 8.8377 | 42.6561 | 8.8377 | 0
40304340.294 | 9.1832 | 44.5845 | 9.1832 | 0
40741097.717 | 9.5868 | 46.5848 | 9.5868 | 0
41182588.056 | 10.0796 | 48.6057 | 10.0796 | 0
41628862.598 | 10.6729 | 50.5911 | 10.6729 | 0
42079973.189 | 11.2978 | 52.482 | 11.2978 | 0
42535972.233 | 11.85 | 54.2769 | 11.85 | 0
42996912.705 | 12.2825 | 56.1035 | 12.2825 | 0
43462848.151 | 12.5879 | 57.9989 | 12.5879 | 0
43933832.701 | 12.7718 | 60.0787 | 12.7718 | 0
44409921.068 | 12.9439 | 62.4339 | 12.9439 | 0
44891168.56 | 13.2591 | 65.0477 | 13.2591 | 0
45377631.084 | 13.7719 | 67.8409 | 13.7719 | 0
45869365.152 | 14.4616 | 70.8128 | 14.4616 | 0
46366427.89 | 15.4454 | 73.8824 | 15.4454 | 0
46868877.041 | 16.7251 | 76.9814 | 16.7251 | 0
47376770.975 | 18.3165 | 80.0905 | 18.3165 | 0
47890168.695 | 20.2155 | 83.2058 | 20.2155 | 0
48409129.842 | 22.6147 | 86.1774 | 22.6147 | 0
48933714.704 | 25.5551 | 88.548 | 25.5551 | 0
49463984.223 | 28.7745 | 89.9636 | 28.7745 | 0
50000000 | 31.0702 | 89.9433 | 31.0702 | 0
TRACE: B
FORMAT: LINEAR
Frequency | Data Real | Data Imag | Data Trace Real | Data Trace Imag
9000 | 1.4509 | 10.3778 | 10.3778 | 0
9097.528 | 1.4714 | 10.482 | 10.482 | 0
9196.114 | 1.4901 | 10.5866 | 10.5866 | 0
9295.767 | 1.5121 | 10.6918 | 10.6918 | 0
9396.501 | 1.5325 | 10.7986 | 10.7986 | 0
9498.326 | 1.5551 | 10.9066 | 10.9066 | 0
9601.254 | 1.5724 | 11.0173 | 11.0173 | 0
9705.298 | 1.5956 | 11.1274 | 11.1274 | 0
9810.469 | 1.6207 | 11.2383 | 11.2383 | 0
9916.78 | 1.6399 | 11.3497 | 11.3497 | 0
10024.243 | 1.668 | 11.462 | 11.462 | 0
10132.871 | 1.6864 | 11.5734 | 11.5734 | 0
10242.676 | 1.7079 | 11.6904 | 11.6904 | 0
10353.67 | 1.7327 | 11.8085 | 11.8085 | 0
10465.868 | 1.7561 | 11.9227 | 11.9227 | 0
10579.281 | 1.778 | 12.0426 | 12.0426 | 0
10693.923 | 1.8076 | 12.1624 | 12.1624 | 0
10809.808 | 1.8327 | 12.2862 | 12.2862 | 0
10926.948 | 1.8559 | 12.4052 | 12.4052 | 0
11045.358 | 1.8799 | 12.5273 | 12.5273 | 0
11165.051 | 1.9099 | 12.6511 | 12.6511 | 0
11286.041 | 1.9333 | 12.7788 | 12.7788 | 0
11408.342 | 1.9593 | 12.9025 | 12.9025 | 0
11531.968 | 1.991 | 13.034 | 13.034 | 0
11656.934 | 2.0172 | 13.1601 | 13.1601 | 0
11783.254 | 2.0465 | 13.2917 | 13.2917 | 0
11910.943 | 2.0769 | 13.4205 | 13.4205 | 0
12040.016 | 2.1023 | 13.5568 | 13.5568 | 0
12170.487 | 2.1339 | 13.6898 | 13.6898 | 0
12302.373 | 2.1621 | 13.8262 | 13.8262 | 0
12435.687 | 2.1904 | 13.9575 | 13.9575 | 0
12570.446 | 2.224 | 14.0997 | 14.0997 | 0
12706.666 | 2.2502 | 14.233 | 14.233 | 0
12844.361 | 2.2832 | 14.3795 | 14.3795 | 0
12983.549 | 2.3176 | 14.5182 | 14.5182 | 0
13124.245 | 2.3517 | 14.6633 | 14.6633 | 0
13266.466 | 2.3853 | 14.8043 | 14.8043 | 0
13410.228 | 2.4195 | 14.949 | 14.949 | 0
13555.548 | 2.4504 | 15.1005 | 15.1005 | 0
13702.442 | 2.4848 | 15.2481 | 15.2481 | 0
13850.928 | 2.5188 | 15.3971 | 15.3971 | 0
14001.024 | 2.5538 | 15.5481 | 15.5481 | 0
14152.746 | 2.5927 | 15.7014 | 15.7014 | 0
14306.112 | 2.6277 | 15.8562 | 15.8562 | 0
14461.14 | 2.6649 | 16.0095 | 16.0095 | 0
14617.848 | 2.6983 | 16.1663 | 16.1663 | 0
14776.254 | 2.7419 | 16.3227 | 16.3227 | 0
14936.376 | 2.7775 | 16.4868 | 16.4868 | 0
15098.234 | 2.8229 | 16.6473 | 16.6473 | 0
15261.846 | 2.8533 | 16.8089 | 16.8089 | 0
15427.231 | 2.8994 | 16.972 | 16.972 | 0
15594.408 | 2.9396 | 17.137 | 17.137 | 0
15763.396 | 2.9777 | 17.3077 | 17.3077 | 0
15934.216 | 3.0232 | 17.477 | 17.477 | 0
16106.887 | 3.0716 | 17.6444 | 17.6444 | 0
16281.429 | 3.1059 | 17.8187 | 17.8187 | 0
16457.863 | 3.1515 | 17.9918 | 17.9918 | 0
16636.208 | 3.2019 | 18.1654 | 18.1654 | 0
16816.486 | 3.2452 | 18.3422 | 18.3422 | 0
16998.718 | 3.2862 | 18.5172 | 18.5172 | 0
17182.924 | 3.3308 | 18.7004 | 18.7004 | 0
17369.127 | 3.3811 | 18.8823 | 18.8823 | 0
17557.347 | 3.4287 | 19.0667 | 19.0667 | 0
17747.607 | 3.4765 | 19.2479 | 19.2479 | 0
17939.929 | 3.5288 | 19.4352 | 19.4352 | 0
18134.334 | 3.5789 | 19.6265 | 19.6265 | 0
18330.847 | 3.6311 | 19.8157 | 19.8157 | 0
18529.489 | 3.6783 | 20.0065 | 20.0065 | 0
18730.283 | 3.7351 | 20.2006 | 20.2006 | 0
18933.254 | 3.7886 | 20.3952 | 20.3952 | 0
19138.424 | 3.8423 | 20.5882 | 20.5882 | 0
19345.817 | 3.8932 | 20.7852 | 20.7852 | 0
19555.458 | 3.9461 | 20.9846 | 20.9846 | 0
19767.37 | 4.0037 | 21.1909 | 21.1909 | 0
19981.579 | 4.0596 | 21.3928 | 21.3928 | 0
20198.109 | 4.1179 | 21.5984 | 21.5984 | 0
20416.986 | 4.1739 | 21.8048 | 21.8048 | 0
20638.234 | 4.2318 | 22.0139 | 22.0139 | 0
20861.88 | 4.2997 | 22.2246 | 22.2246 | 0
21087.949 | 4.3583 | 22.4361 | 22.4361 | 0
21316.469 | 4.421 | 22.6526 | 22.6526 | 0
21547.464 | 4.4796 | 22.8692 | 22.8692 | 0
21780.963 | 4.5478 | 23.0836 | 23.0836 | 0
22016.992 | 4.6149 | 23.3043 | 23.3043 | 0
22255.579 | 4.6762 | 23.53 | 23.53 | 0
22496.751 | 4.7409 | 23.7501 | 23.7501 | 0
22740.537 | 4.812 | 23.9792 | 23.9792 | 0
22986.964 | 4.8767 | 24.2086 | 24.2086 | 0
23236.062 | 4.9461 | 24.4333 | 24.4333 | 0
23487.86 | 5.0191 | 24.6671 | 24.6671 | 0
23742.386 | 5.0868 | 24.9013 | 24.9013 | 0
23999.67 | 5.1609 | 25.1364 | 25.1364 | 0
24259.742 | 5.2382 | 25.3722 | 25.3722 | 0
24522.632 | 5.31 | 25.6162 | 25.6162 | 0
24788.371 | 5.3869 | 25.8574 | 25.8574 | 0
25056.99 | 5.4613 | 26.0991 | 26.0991 | 0
25328.52 | 5.543 | 26.348 | 26.348 | 0
25602.992 | 5.622 | 26.5902 | 26.5902 | 0
25880.438 | 5.7034 | 26.8452 | 26.8452 | 0
26160.891 | 5.7797 | 27.0966 | 27.0966 | 0
26444.383 | 5.8649 | 27.3524 | 27.3524 | 0
26730.948 | 5.9449 | 27.61 | 27.61 | 0
27020.617 | 6.0309 | 27.8676 | 27.8676 | 0
27313.426 | 6.1131 | 28.1294 | 28.1294 | 0
27609.407 | 6.2128 | 28.3877 | 28.3877 | 0
27908.596 | 6.2883 | 28.6582 | 28.6582 | 0
28211.027 | 6.3732 | 28.9208 | 28.9208 | 0
28516.736 | 6.4676 | 29.191 | 29.191 | 0
28825.757 | 6.5625 | 29.4634 | 29.4634 | 0
29138.127 | 6.6611 | 29.7373 | 29.7373 | 0
29453.882 | 6.743 | 30.0175 | 30.0175 | 0
29773.058 | 6.8393 | 30.293 | 30.293 | 0
30095.694 | 6.9402 | 30.5747 | 30.5747 | 0
30421.825 | 7.0437 | 30.8561 | 30.8561 | 0
30751.491 | 7.1295 | 31.1422 | 31.1422 | 0
31084.729 | 7.2347 | 31.4325 | 31.4325 | 0
31421.578 | 7.335 | 31.7257 | 31.7257 | 0
31762.078 | 7.4449 | 32.0103 | 32.0103 | 0
32106.267 | 7.5469 | 32.3079 | 32.3079 | 0
32454.186 | 7.6559 | 32.6064 | 32.6064 | 0
32805.876 | 7.7542 | 32.9028 | 32.9028 | 0
33161.376 | 7.871 | 33.2041 | 33.2041 | 0
33520.729 | 7.9731 | 33.5068 | 33.5068 | 0
33883.976 | 8.0838 | 33.8157 | 33.8157 | 0
34251.159 | 8.2005 | 34.1252 | 34.1252 | 0
34622.321 | 8.3059 | 34.4361 | 34.4361 | 0
34997.505 | 8.4346 | 34.7484 | 34.7484 | 0
35376.755 | 8.5379 | 35.0725 | 35.0725 | 0
35760.115 | 8.6658 | 35.3922 | 35.3922 | 0
36147.629 | 8.7794 | 35.7047 | 35.7047 | 0
36539.342 | 8.9123 | 36.025 | 36.025 | 0
36935.301 | 9.0301 | 36.3563 | 36.3563 | 0
37335.549 | 9.1564 | 36.6851 | 36.6851 | 0
37740.136 | 9.2865 | 37.0137 | 37.0137 | 0
38149.106 | 9.4027 | 37.3548 | 37.3548 | 0
38562.508 | 9.5351 | 37.6884 | 37.6884 | 0
38980.39 | 9.6665 | 38.028 | 38.028 | 0
39402.801 | 9.8001 | 38.3663 | 38.3663 | 0
39829.789 | 9.9332 | 38.7201 | 38.7201 | 0
40261.404 | 10.0751 | 39.0617 | 39.0617 | 0
40697.696 | 10.2111 | 39.4096 | 39.4096 | 0
41138.716 | 10.3603 | 39.7672 | 39.7672 | 0
41584.515 | 10.4894 | 40.1244 | 40.1244 | 0
42035.145 | 10.6317 | 40.478 | 40.478 | 0
42490.658 | 10.7882 | 40.838 | 40.838 | 0
42951.108 | 10.9337 | 41.2046 | 41.2046 | 0
43416.547 | 11.0854 | 41.571 | 41.571 | 0
43887.03 | 11.2244 | 41.9433 | 41.9433 | 0
44362.611 | 11.3779 | 42.314 | 42.314 | 0
44843.346 | 11.5395 | 42.683 | 42.683 | 0
45329.29 | 11.6905 | 43.0626 | 43.0626 | 0
45820.5 | 11.8532 | 43.434 | 43.434 | 0
46317.033 | 12.0136 | 43.8239 | 43.8239 | 0
46818.947 | 12.1613 | 44.2064 | 44.2064 | 0
47326.3 | 12.335 | 44.5979 | 44.5979 | 0
47839.151 | 12.5033 | 44.9746 | 44.9746 | 0
48357.559 | 12.6648 | 45.3755 | 45.3755 | 0
48881.585 | 12.8235 | 45.7649 | 45.7649 | 0
49411.29 | 12.9876 | 46.1745 | 46.1745 | 0
49946.734 | 13.1598 | 46.5709 | 46.5709 | 0
50487.982 | 13.3137 | 46.9895 | 46.9895 | 0
51035.094 | 13.5012 | 47.395 | 47.395 | 0
51588.135 | 13.6745 | 47.8101 | 47.8101 | 0
52147.169 | 13.8603 | 48.2304 | 48.2304 | 0
52712.261 | 14.0371 | 48.6574 | 48.6574 | 0
53283.477 | 14.216 | 49.0805 | 49.0805 | 0
53860.882 | 14.4083 | 49.508 | 49.508 | 0
54444.545 | 14.5992 | 49.937 | 49.937 | 0
55034.533 | 14.7858 | 50.3685 | 50.3685 | 0
55630.914 | 14.987 | 50.8077 | 50.8077 | 0
56233.757 | 15.1734 | 51.2423 | 51.2423 | 0
56843.134 | 15.3704 | 51.6942 | 51.6942 | 0
57459.113 | 15.5776 | 52.1396 | 52.1396 | 0
58081.768 | 15.7732 | 52.59 | 52.59 | 0
58711.171 | 15.976 | 53.0526 | 53.0526 | 0
59347.393 | 16.1738 | 53.5045 | 53.5045 | 0
59990.511 | 16.383 | 53.9675 | 53.9675 | 0
60640.597 | 16.5825 | 54.428 | 54.428 | 0
61297.728 | 16.7982 | 54.9019 | 54.9019 | 0
61961.98 | 17.0352 | 55.3602 | 55.3602 | 0
62633.43 | 17.2443 | 55.8369 | 55.8369 | 0
63312.156 | 17.4609 | 56.3275 | 56.3275 | 0
63998.238 | 17.6816 | 56.804 | 56.804 | 0
64691.754 | 17.9047 | 57.2873 | 57.2873 | 0
65392.785 | 18.1342 | 57.7767 | 57.7767 | 0
66101.413 | 18.3619 | 58.2717 | 58.2717 | 0
66817.72 | 18.5913 | 58.7706 | 58.7706 | 0
67541.789 | 18.8235 | 59.272 | 59.272 | 0
68273.705 | 19.0569 | 59.7766 | 59.7766 | 0
69013.552 | 19.3079 | 60.2793 | 60.2793 | 0
69761.416 | 19.5328 | 60.7978 | 60.7978 | 0
70517.385 | 19.7896 | 61.3236 | 61.3236 | 0
71281.546 | 20.0389 | 61.834 | 61.834 | 0
72053.987 | 20.2857 | 62.3625 | 62.3625 | 0
72834.799 | 20.5224 | 62.8979 | 62.8979 | 0
73624.072 | 20.7897 | 63.4223 | 63.4223 | 0
74421.899 | 21.0365 | 63.9625 | 63.9625 | 0
75228.371 | 21.2982 | 64.5059 | 64.5059 | 0
76043.582 | 21.5552 | 65.0587 | 65.0587 | 0
76867.627 | 21.828 | 65.6157 | 65.6157 | 0
77700.602 | 22.0967 | 66.1645 | 66.1645 | 0
78542.603 | 22.3675 | 66.7226 | 66.7226 | 0
79393.729 | 22.6429 | 67.278 | 67.278 | 0
80254.078 | 22.905 | 67.8606 | 67.8606 | 0
81123.75 | 23.1981 | 68.438 | 68.438 | 0
82002.847 | 23.4804 | 69.0114 | 69.0114 | 0
82891.47 | 23.7635 | 69.6036 | 69.6036 | 0
83789.722 | 24.0503 | 70.1825 | 70.1825 | 0
84697.708 | 24.3594 | 70.7753 | 70.7753 | 0
85615.534 | 24.6558 | 71.3772 | 71.3772 | 0
86543.305 | 24.963 | 71.9731 | 71.9731 | 0
87481.13 | 25.247 | 72.5736 | 72.5736 | 0
88429.118 | 25.5623 | 73.193 | 73.193 | 0
89387.379 | 25.8756 | 73.8141 | 73.8141 | 0
90356.024 | 26.1797 | 74.4344 | 74.4344 | 0
91335.166 | 26.5046 | 75.0683 | 75.0683 | 0
92324.919 | 26.8259 | 75.6852 | 75.6852 | 0
93325.396 | 27.1493 | 76.3399 | 76.3399 | 0
94336.716 | 27.4812 | 76.9693 | 76.9693 | 0
95358.994 | 27.8 | 77.6303 | 77.6303 | 0
96392.35 | 28.1335 | 78.2979 | 78.2979 | 0
97436.905 | 28.4608 | 78.9524 | 78.9524 | 0
98492.779 | 28.8254 | 79.6087 | 79.6087 | 0
99560.094 | 29.1691 | 80.2926 | 80.2926 | 0
100638.976 | 29.5196 | 80.975 | 80.975 | 0
101729.549 | 29.8633 | 81.6562 | 81.6562 | 0
102831.939 | 30.2303 | 82.3497 | 82.3497 | 0
103946.276 | 30.5852 | 83.0489 | 83.0489 | 0
105072.689 | 30.9587 | 83.7471 | 83.7471 | 0
106211.307 | 31.3433 | 84.4545 | 84.4545 | 0
107362.265 | 31.708 | 85.1728 | 85.1728 | 0
108525.694 | 32.1087 | 85.8765 | 85.8765 | 0
109701.732 | 32.4963 | 86.6137 | 86.6137 | 0
110890.513 | 32.8742 | 87.3566 | 87.3566 | 0
112092.176 | 33.2647 | 88.088 | 88.088 | 0
113306.862 | 33.644 | 88.8422 | 88.8422 | 0
114534.71 | 34.0626 | 89.5908 | 89.5908 | 0
115775.864 | 34.4668 | 90.3588 | 90.3588 | 0
117030.467 | 34.8931 | 91.1286 | 91.1286 | 0
118298.666 | 35.3054 | 91.895 | 91.895 | 0
119580.608 | 35.7351 | 92.6763 | 92.6763 | 0
120876.442 | 36.1623 | 93.4746 | 93.4746 | 0
122186.318 | 36.614 | 94.272 | 94.272 | 0
123510.388 | 37.0466 | 95.0536 | 95.0536 | 0
124848.807 | 37.4945 | 95.8832 | 95.8832 | 0
126201.729 | 37.9724 | 96.6954 | 96.6954 | 0
127569.312 | 38.4239 | 97.5143 | 97.5143 | 0
128951.715 | 38.8972 | 98.3578 | 98.3578 | 0
130349.099 | 39.3645 | 99.1902 | 99.1902 | 0
131761.625 | 39.8594 | 100.0453 | 100.0453 | 0
133189.458 | 40.3061 | 100.8963 | 100.8963 | 0
134632.764 | 40.8187 | 101.7546 | 101.7546 | 0
136091.71 | 41.2986 | 102.6153 | 102.6153 | 0
137566.466 | 41.812 | 103.5123 | 103.5123 | 0
139057.203 | 42.3464 | 104.3869 | 104.3869 | 0
140564.094 | 42.8478 | 105.2963 | 105.2963 | 0
142087.315 | 43.3649 | 106.195 | 106.195 | 0
143627.042 | 43.9017 | 107.1232 | 107.1232 | 0
145183.455 | 44.4756 | 108.0285 | 108.0285 | 0
146756.733 | 45.0054 | 108.956 | 108.956 | 0
148347.061 | 45.5719 | 109.909 | 109.909 | 0
149954.621 | 46.116 | 110.8658 | 110.8658 | 0
151579.603 | 46.7092 | 111.8045 | 111.8045 | 0
153222.193 | 47.2966 | 112.7764 | 112.7764 | 0
154882.583 | 47.8668 | 113.7649 | 113.7649 | 0
156560.966 | 48.4845 | 114.7411 | 114.7411 | 0
158257.537 | 49.0921 | 115.7468 | 115.7468 | 0
159972.492 | 49.7104 | 116.7439 | 116.7439 | 0
161706.032 | 50.345 | 117.7609 | 117.7609 | 0
163458.357 | 50.9972 | 118.7901 | 118.7901 | 0
165229.671 | 51.6186 | 119.8177 | 119.8177 | 0
167020.18 | 52.274 | 120.8713 | 120.8713 | 0
168830.092 | 52.9564 | 121.9212 | 121.9212 | 0
170659.617 | 53.6439 | 122.9931 | 122.9931 | 0
172508.968 | 54.3415 | 124.0925 | 124.0925 | 0
174378.359 | 55.0344 | 125.1464 | 125.1464 | 0
176268.007 | 55.7628 | 126.2484 | 126.2484 | 0
178178.133 | 56.4896 | 127.3557 | 127.3557 | 0
180108.958 | 57.1982 | 128.484 | 128.484 | 0
182060.706 | 57.9806 | 129.6008 | 129.6008 | 0
184033.605 | 58.7594 | 130.7497 | 130.7497 | 0
186027.882 | 59.495 | 131.9013 | 131.9013 | 0
188043.771 | 60.3185 | 133.0609 | 133.0609 | 0
190081.504 | 61.0702 | 134.2643 | 134.2643 | 0
192141.32 | 61.8899 | 135.4419 | 135.4419 | 0
194223.457 | 62.7383 | 136.6322 | 136.6322 | 0
196328.157 | 63.5851 | 137.8443 | 137.8443 | 0
198455.664 | 64.4291 | 139.0712 | 139.0712 | 0
200606.226 | 65.3053 | 140.2994 | 140.2994 | 0
202780.093 | 66.1891 | 141.5587 | 141.5587 | 0
204977.516 | 67.1095 | 142.8049 | 142.8049 | 0
207198.752 | 68.0246 | 144.0969 | 144.0969 | 0
209444.059 | 68.9618 | 145.3842 | 145.3842 | 0
211713.696 | 69.9134 | 146.6883 | 146.6883 | 0
214007.929 | 70.8988 | 148.0064 | 148.0064 | 0
216327.023 | 71.9183 | 149.3119 | 149.3119 | 0
218671.247 | 72.9251 | 150.6636 | 150.6636 | 0
221040.875 | 73.9366 | 152.0255 | 152.0255 | 0
223436.182 | 74.9985 | 153.389 | 153.389 | 0
225857.445 | 76.0617 | 154.7706 | 154.7706 | 0
228304.946 | 77.1352 | 156.1835 | 156.1835 | 0
230778.969 | 78.2578 | 157.608 | 157.608 | 0
233279.802 | 79.4059 | 159.0527 | 159.0527 | 0
235807.736 | 80.5421 | 160.4984 | 160.4984 | 0
238363.063 | 81.7346 | 161.9375 | 161.9375 | 0
240946.081 | 82.892 | 163.445 | 163.445 | 0
243557.09 | 84.192 | 164.9035 | 164.9035 | 0
246196.393 | 85.4152 | 166.429 | 166.429 | 0
248864.297 | 86.7066 | 167.9586 | 167.9586 | 0
251561.111 | 88.0142 | 169.494 | 169.494 | 0
254287.15 | 89.3452 | 171.0613 | 171.0613 | 0
257042.729 | 90.6925 | 172.6411 | 172.6411 | 0
259828.169 | 92.0975 | 174.23 | 174.23 | 0
262643.793 | 93.5179 | 175.8307 | 175.8307 | 0
265489.929 | 94.9985 | 177.4693 | 177.4693 | 0
268366.907 | 96.4625 | 179.1042 | 179.1042 | 0
271275.061 | 97.9964 | 180.7796 | 180.7796 | 0
274214.729 | 99.5367 | 182.4667 | 182.4667 | 0
277186.254 | 101.165 | 184.1108 | 184.1108 | 0
280189.979 | 102.8023 | 185.8344 | 185.8344 | 0
283226.253 | 104.4136 | 187.5773 | 187.5773 | 0
286295.431 | 106.1455 | 189.3303 | 189.3303 | 0
289397.867 | 107.8941 | 191.1118 | 191.1118 | 0
292533.923 | 109.6983 | 192.895 | 192.895 | 0
295703.963 | 111.5511 | 194.6958 | 194.6958 | 0
298908.355 | 113.3951 | 196.5571 | 196.5571 | 0
302147.471 | 115.2991 | 198.3977 | 198.3977 | 0
305421.688 | 117.2969 | 200.2417 | 200.2417 | 0
308731.386 | 119.3089 | 202.1292 | 202.1292 | 0
312076.949 | 121.3613 | 204.0624 | 204.0624 | 0
315458.767 | 123.5234 | 205.9486 | 205.9486 | 0
318877.231 | 125.6889 | 207.8863 | 207.8863 | 0
322332.74 | 127.9255 | 209.8914 | 209.8914 | 0
325825.694 | 130.2625 | 211.855 | 211.855 | 0
329356.5 | 132.6335 | 213.853 | 213.853 | 0
332925.567 | 135.0581 | 215.8619 | 215.8619 | 0
336533.31 | 137.561 | 217.878 | 217.878 | 0
340180.149 | 140.0716 | 219.9712 | 219.9712 | 0
343866.506 | 142.7335 | 222.0552 | 222.0552 | 0
347592.811 | 145.4435 | 224.162 | 224.162 | 0
351359.495 | 148.2735 | 226.2394 | 226.2394 | 0
355166.998 | 151.0633 | 228.3651 | 228.3651 | 0
359015.76 | 154.0656 | 230.4856 | 230.4856 | 0
362906.229 | 157.1103 | 232.6424 | 232.6424 | 0
366838.858 | 160.2651 | 234.8857 | 234.8857 | 0
370814.102 | 163.5118 | 237.0391 | 237.0391 | 0
374832.424 | 166.8309 | 239.2168 | 239.2168 | 0
378894.29 | 170.2801 | 241.4227 | 241.4227 | 0
383000.173 | 173.7387 | 243.6665 | 243.6665 | 0
387150.549 | 177.3847 | 245.8796 | 245.8796 | 0
391345.9 | 181.1719 | 248.1241 | 248.1241 | 0
395586.715 | 185.054 | 250.3617 | 250.3617 | 0
399873.485 | 189.0478 | 252.5751 | 252.5751 | 0
404206.708 | 193.2256 | 254.7965 | 254.7965 | 0
408586.888 | 197.4836 | 257.0188 | 257.0188 | 0
413014.535 | 201.8435 | 259.2411 | 259.2411 | 0
417490.161 | 206.4673 | 261.4665 | 261.4665 | 0
422014.287 | 211.2038 | 263.7211 | 263.7211 | 0
426587.439 | 216.058 | 265.9168 | 265.9168 | 0
431210.148 | 221.162 | 268.0382 | 268.0382 | 0
435882.951 | 226.3712 | 270.1893 | 270.1893 | 0
440606.39 | 231.7408 | 272.2941 | 272.2941 | 0
445381.015 | 237.2976 | 274.3572 | 274.3572 | 0
450207.38 | 243.1959 | 276.3903 | 276.3903 | 0
455086.046 | 249.0858 | 278.3608 | 278.3608 | 0
460017.58 | 255.3197 | 280.2103 | 280.2103 | 0
465002.554 | 261.7424 | 282.0048 | 282.0048 | 0
470041.548 | 268.3888 | 283.8231 | 283.8231 | 0
475135.147 | 275.2913 | 285.4382 | 285.4382 | 0
480283.942 | 282.4667 | 286.9571 | 286.9571 | 0
485488.532 | 289.8355 | 288.4141 | 288.4141 | 0
490749.522 | 297.4659 | 289.6383 | 289.6383 | 0
496067.522 | 305.3946 | 290.7816 | 290.7816 | 0
501443.151 | 313.6792 | 291.6638 | 291.6638 | 0
506877.033 | 322.1619 | 292.3793 | 292.3793 | 0
512369.799 | 330.9752 | 293.0317 | 293.0317 | 0
517922.087 | 340.0639 | 293.2708 | 293.2708 | 0
523534.542 | 349.462 | 293.3633 | 293.3633 | 0
529207.817 | 359.1105 | 293.0639 | 293.0639 | 0
534942.57 | 369.2549 | 292.3694 | 292.3694 | 0
540739.468 | 379.6214 | 291.4677 | 291.4677 | 0
546599.184 | 390.167 | 290.192 | 290.192 | 0
552522.398 | 401.1237 | 288.4658 | 288.4658 | 0
558509.8 | 412.3949 | 286.2299 | 286.2299 | 0
564562.083 | 423.8816 | 283.5374 | 283.5374 | 0
570679.952 | 435.8145 | 280.1383 | 280.1383 | 0
576864.118 | 447.8072 | 276.2914 | 276.2914 | 0
583115.298 | 460.2004 | 271.7254 | 271.7254 | 0
589434.219 | 472.611 | 266.4913 | 266.4913 | 0
595821.614 | 485.3171 | 260.5132 | 260.5132 | 0
602278.227 | 498.0836 | 253.7779 | 253.7779 | 0
608804.807 | 510.9812 | 246.018 | 246.018 | 0
615402.111 | 523.863 | 237.5387 | 237.5387 | 0
622070.908 | 536.6182 | 228.1042 | 228.1042 | 0
628811.971 | 549.2614 | 217.6516 | 217.6516 | 0
635626.083 | 561.7454 | 206.2445 | 206.2445 | 0
642514.036 | 573.7743 | 193.7836 | 193.7836 | 0
649476.63 | 585.4967 | 180.1768 | 180.1768 | 0
656514.675 | 596.7169 | 165.5057 | 165.5057 | 0
663628.987 | 607.1925 | 150.0154 | 150.0154 | 0
670820.393 | 616.8789 | 133.3471 | 133.3471 | 0
678089.729 | 625.7023 | 115.672 | 115.672 | 0
685437.839 | 633.5117 | 97.1082 | 97.1082 | 0
692865.577 | 640.1187 | 77.8589 | 77.8589 | 0
700373.805 | 645.6207 | 57.6709 | 57.6709 | 0
707963.396 | 649.5743 | 36.8795 | 36.8795 | 0
715635.231 | 652.1694 | 15.6388 | 15.6388 | 0
723390.203 | 653.2953 | -5.8646 | -5.8646 | 0
731229.21 | 652.7273 | -27.7363 | -27.7363 | 0
739153.166 | 650.6245 | -49.4572 | -49.4572 | 0
747162.989 | 646.8904 | -71.0368 | -71.0368 | 0
755259.61 | 641.6028 | -92.4309 | -92.4309 | 0
763443.97 | 634.8142 | -113.1332 | -113.1332 | 0
771717.02 | 626.4628 | -133.2156 | -133.2156 | 0
780079.721 | 616.7849 | -152.5963 | -152.5963 | 0
788533.044 | 605.7655 | -170.9945 | -170.9945 | 0
797077.971 | 593.7247 | -188.2754 | -188.2754 | 0
805715.496 | 580.6139 | -204.4351 | -204.4351 | 0
814446.62 | 566.6326 | -219.5115 | -219.5115 | 0
823272.36 | 551.9022 | -233.1466 | -233.1466 | 0
832193.739 | 536.5955 | -245.5963 | -245.5963 | 0
841211.795 | 520.8317 | -256.7399 | -256.7399 | 0
850327.575 | 504.8181 | -266.6074 | -266.6074 | 0
859542.138 | 488.6379 | -275.095 | -275.095 | 0
868856.555 | 472.329 | -282.3964 | -282.3964 | 0
878271.907 | 456.1642 | -288.4625 | -288.4625 | 0
887789.288 | 440.0432 | -293.5138 | -293.5138 | 0
897409.804 | 424.2099 | -297.4145 | -297.4145 | 0
907134.573 | 408.7249 | -300.3343 | -300.3343 | 0
916964.724 | 393.5628 | -302.4117 | -302.4117 | 0
926901.4 | 378.8416 | -303.6215 | -303.6215 | 0
936945.754 | 364.5031 | -304.0164 | -304.0164 | 0
947098.953 | 350.6605 | -303.7343 | -303.7343 | 0
957362.178 | 337.2875 | -302.7766 | -302.7766 | 0
967736.62 | 324.5513 | -301.2247 | -301.2247 | 0
978223.484 | 312.2166 | -299.2437 | -299.2437 | 0
988823.99 | 300.483 | -296.7315 | -296.7315 | 0
999539.367 | 289.2403 | -293.8897 | -293.8897 | 0
1010370.861 | 278.4629 | -290.6456 | -290.6456 | 0
1021319.731 | 268.2902 | -287.0064 | -287.0064 | 0
1032387.248 | 258.5206 | -283.2085 | -283.2085 | 0
1043574.698 | 249.3153 | -279.1608 | -279.1608 | 0
1054883.381 | 240.5245 | -274.934 | -274.934 | 0
1066314.61 | 232.2634 | -270.5707 | -270.5707 | 0
1077869.714 | 224.4464 | -266.0345 | -266.0345 | 0
1089550.034 | 216.9645 | -261.4186 | -261.4186 | 0
1101356.928 | 209.9368 | -256.6343 | -256.6343 | 0
1113291.767 | 203.3228 | -251.9078 | -251.9078 | 0
1125355.937 | 197.0669 | -247.1045 | -247.1045 | 0
1137550.841 | 191.1446 | -242.2224 | -242.2224 | 0
1149877.895 | 185.5847 | -237.3684 | -237.3684 | 0
1162338.531 | 180.3728 | -232.4472 | -232.4472 | 0
1174934.196 | 175.4449 | -227.6151 | -227.6151 | 0
1187666.354 | 170.8469 | -222.6978 | -222.6978 | 0
1200536.484 | 166.4664 | -217.9009 | -217.9009 | 0
1213546.081 | 162.4221 | -213.0598 | -213.0598 | 0
1226696.656 | 158.6165 | -208.314 | -208.314 | 0
1239989.738 | 155.0323 | -203.5905 | -203.5905 | 0
1253426.869 | 151.7327 | -198.9009 | -198.9009 | 0
1267009.612 | 148.6495 | -194.2426 | -194.2426 | 0
1280739.544 | 145.752 | -189.6804 | -189.6804 | 0
1294618.26 | 143.1216 | -185.1813 | -185.1813 | 0
1308647.373 | 140.6466 | -180.712 | -180.712 | 0
1322828.512 | 138.3549 | -176.3364 | -176.3364 | 0
1337163.325 | 136.2942 | -171.9893 | -171.9893 | 0
1351653.477 | 134.4126 | -167.7627 | -167.7627 | 0
1366300.651 | 132.6693 | -163.5588 | -163.5588 | 0
1381106.549 | 131.1315 | -159.4228 | -159.4228 | 0
1396072.891 | 129.6974 | -155.4132 | -155.4132 | 0
1411201.415 | 128.4525 | -151.4224 | -151.4224 | 0
1426493.88 | 127.3322 | -147.5441 | -147.5441 | 0
1441952.061 | 126.3707 | -143.7238 | -143.7238 | 0
1457577.754 | 125.5669 | -140.0099 | -140.0099 | 0
1473372.775 | 124.8716 | -136.3422 | -136.3422 | 0
1489338.959 | 124.3038 | -132.7547 | -132.7547 | 0
1505478.16 | 123.8733 | -129.2783 | -129.2783 | 0
1521792.253 | 123.5681 | -125.8818 | -125.8818 | 0
1538283.134 | 123.3753 | -122.5593 | -122.5593 | 0
1554952.717 | 123.321 | -119.3324 | -119.3324 | 0
1571802.941 | 123.3859 | -116.183 | -116.183 | 0
1588835.762 | 123.5602 | -113.1163 | -113.1163 | 0
1606053.158 | 123.8217 | -110.1737 | -110.1737 | 0
1623457.131 | 124.2171 | -107.3155 | -107.3155 | 0
1641049.702 | 124.6892 | -104.5453 | -104.5453 | 0
1658832.914 | 125.2708 | -101.9019 | -101.9019 | 0
1676808.834 | 125.9646 | -99.3419 | -99.3419 | 0
1694979.549 | 126.7332 | -96.9291 | -96.9291 | 0
1713347.172 | 127.6055 | -94.6286 | -94.6286 | 0
1731913.834 | 128.5798 | -92.4167 | -92.4167 | 0
1750681.695 | 129.6196 | -90.354 | -90.354 | 0
1769652.932 | 130.7406 | -88.4203 | -88.4203 | 0
1788829.752 | 131.9571 | -86.636 | -86.636 | 0
1808214.38 | 133.202 | -84.9807 | -84.9807 | 0
1827809.07 | 134.5409 | -83.4688 | -83.4688 | 0
1847616.098 | 135.9249 | -82.1289 | -82.1289 | 0
1867637.764 | 137.3623 | -80.937 | -80.937 | 0
1887876.395 | 138.8416 | -79.897 | -79.897 | 0
1908334.341 | 140.3204 | -79.0385 | -79.0385 | 0
1929013.98 | 141.8471 | -78.3805 | -78.3805 | 0
1949917.713 | 143.3893 | -77.8457 | -77.8457 | 0
1971047.969 | 144.9117 | -77.5572 | -77.5572 | 0
1992407.203 | 146.4283 | -77.4323 | -77.4323 | 0
2013997.896 | 147.879 | -77.4738 | -77.4738 | 0
2035822.556 | 149.283 | -77.723 | -77.723 | 0
2057883.719 | 150.6532 | -78.1297 | -78.1297 | 0
2080183.947 | 151.9333 | -78.7838 | -78.7838 | 0
2102725.832 | 153.0821 | -79.5644 | -79.5644 | 0
2125511.991 | 154.1402 | -80.513 | -80.513 | 0
2148545.072 | 155.0604 | -81.6702 | -81.6702 | 0
2171827.751 | 155.8077 | -82.9571 | -82.9571 | 0
2195362.732 | 156.397 | -84.3786 | -84.3786 | 0
2219152.75 | 156.7934 | -85.9586 | -85.9586 | 0
2243200.568 | 156.9623 | -87.612 | -87.612 | 0
2267508.979 | 156.9527 | -89.3392 | -89.3392 | 0
2292080.809 | 156.7066 | -91.1468 | -91.1468 | 0
2316918.911 | 156.2422 | -93.016 | -93.016 | 0
2342026.17 | 155.5193 | -94.8792 | -94.8792 | 0
2367405.504 | 154.5627 | -96.6926 | -96.6926 | 0
2393059.861 | 153.3434 | -98.4999 | -98.4999 | 0
2418992.221 | 151.9591 | -100.2447 | -100.2447 | 0
2445205.597 | 150.3045 | -101.9063 | -101.9063 | 0
2471703.033 | 148.4425 | -103.3853 | -103.3853 | 0
2498487.609 | 146.3809 | -104.7906 | -104.7906 | 0
2525562.435 | 144.1845 | -106.0096 | -106.0096 | 0
2552930.657 | 141.801 | -107.0406 | -107.0406 | 0
2580595.454 | 139.3288 | -107.9003 | -107.9003 | 0
2608560.041 | 136.6842 | -108.5668 | -108.5668 | 0
2636827.666 | 133.9638 | -109.027 | -109.027 | 0
2665401.612 | 131.2168 | -109.2707 | -109.2707 | 0
2694285.2 | 128.4325 | -109.3104 | -109.3104 | 0
2723481.784 | 125.599 | -109.1413 | -109.1413 | 0
2752994.756 | 122.7897 | -108.7619 | -108.7619 | 0
2782827.546 | 119.997 | -108.1845 | -108.1845 | 0
2812983.618 | 117.2346 | -107.424 | -107.424 | 0
2843466.476 | 114.5583 | -106.4631 | -106.4631 | 0
2874279.66 | 111.931 | -105.3382 | -105.3382 | 0
2905426.752 | 109.4179 | -104.0752 | -104.0752 | 0
2936911.369 | 106.9686 | -102.6538 | -102.6538 | 0
2968737.168 | 104.6252 | -101.0898 | -101.0898 | 0
3000907.847 | 102.3772 | -99.4226 | -99.4226 | 0
3033427.143 | 100.2715 | -97.6229 | -97.6229 | 0
3066298.834 | 98.2625 | -95.7571 | -95.7571 | 0
3099526.739 | 96.3885 | -93.7903 | -93.7903 | 0
3133114.717 | 94.6534 | -91.749 | -91.749 | 0
3167066.671 | 93.0157 | -89.646 | -89.646 | 0
3201386.545 | 91.5055 | -87.4911 | -87.4911 | 0
3236078.326 | 90.1349 | -85.2799 | -85.2799 | 0
3271146.044 | 88.8702 | -83.0552 | -83.0552 | 0
3306593.772 | 87.7048 | -80.7798 | -80.7798 | 0
3342425.63 | 86.691 | -78.4978 | -78.4978 | 0
3378645.779 | 85.7781 | -76.1775 | -76.1775 | 0
3415258.427 | 84.9758 | -73.8657 | -73.8657 | 0
3452267.827 | 84.2628 | -71.522 | -71.522 | 0
3489678.279 | 83.6695 | -69.1858 | -69.1858 | 0
3527494.129 | 83.1838 | -66.8526 | -66.8526 | 0
3565719.77 | 82.8045 | -64.5137 | -64.5137 | 0
3604359.643 | 82.517 | -62.193 | -62.193 | 0
3643418.236 | 82.3303 | -59.8578 | -59.8578 | 0
3682900.087 | 82.234 | -57.5554 | -57.5554 | 0
3722809.783 | 82.2409 | -55.2367 | -55.2367 | 0
3763151.959 | 82.3392 | -52.956 | -52.956 | 0
3803931.303 | 82.5423 | -50.6579 | -50.6579 | 0
3845152.552 | 82.8484 | -48.3871 | -48.3871 | 0
3886820.494 | 83.2581 | -46.1361 | -46.1361 | 0
3928939.97 | 83.7679 | -43.8989 | -43.8989 | 0
3971515.874 | 84.3954 | -41.6684 | -41.6684 | 0
4014553.15 | 85.1195 | -39.4797 | -39.4797 | 0
4058056.8 | 85.9728 | -37.3221 | -37.3221 | 0
4102031.876 | 86.9595 | -35.1851 | -35.1851 | 0
4146483.487 | 88.0851 | -33.0967 | -33.0967 | 0
4191416.798 | 89.3294 | -31.0638 | -31.0638 | 0
4236837.027 | 90.7295 | -29.1121 | -29.1121 | 0
4282749.453 | 92.2683 | -27.2269 | -27.2269 | 0
4329159.408 | 93.949 | -25.4615 | -25.4615 | 0
4376072.284 | 95.788 | -23.7945 | -23.7945 | 0
4423493.53 | 97.7586 | -22.2907 | -22.2907 | 0
4471428.656 | 99.8626 | -20.934 | -20.934 | 0
4519883.231 | 102.0926 | -19.7623 | -19.7623 | 0
4568862.882 | 104.427 | -18.8095 | -18.8095 | 0
4618373.301 | 106.8474 | -18.0796 | -18.0796 | 0
4668420.24 | 109.3225 | -17.5922 | -17.5922 | 0
4719009.511 | 111.8092 | -17.3764 | -17.3764 | 0
4770146.991 | 114.2721 | -17.4059 | -17.4059 | 0
4821838.623 | 116.7051 | -17.7144 | -17.7144 | 0
4874090.41 | 119.0287 | -18.3008 | -18.3008 | 0
4926908.423 | 121.2249 | -19.1064 | -19.1064 | 0
4980298.798 | 123.2382 | -20.1345 | -20.1345 | 0
5034267.736 | 124.9743 | -21.3782 | -21.3782 | 0
5088821.509 | 126.5553 | -22.7158 | -22.7158 | 0
5143966.452 | 127.8921 | -24.1701 | -24.1701 | 0
5199708.973 | 128.9753 | -25.691 | -25.691 | 0
5256055.547 | 129.8384 | -27.2105 | -27.2105 | 0
5313012.72 | 130.4749 | -28.7067 | -28.7067 | 0
5370587.108 | 130.9281 | -30.1365 | -30.1365 | 0
5428785.401 | 131.181 | -31.4744 | -31.4744 | 0
5487614.358 | 131.2905 | -32.7161 | -32.7161 | 0
5547080.815 | 131.2631 | -33.8064 | -33.8064 | 0
5607191.679 | 131.1738 | -34.776 | -34.776 | 0
5667953.934 | 131.028 | -35.5633 | -35.5633 | 0
5729374.638 | 130.8561 | -36.2339 | -36.2339 | 0
5791460.926 | 130.7155 | -36.7735 | -36.7735 | 0
5854220.012 | 130.5884 | -37.1635 | -37.1635 | 0
5917659.186 | 130.5463 | -37.4484 | -37.4484 | 0
5981785.817 | 130.5926 | -37.6441 | -37.6441 | 0
6046607.356 | 130.7514 | -37.7768 | -37.7768 | 0
6112131.333 | 131.0562 | -37.8648 | -37.8648 | 0
6178365.359 | 131.4878 | -37.9603 | -37.9603 | 0
6245317.129 | 132.0544 | -38.0788 | -38.0788 | 0
6312994.421 | 132.7679 | -38.2594 | -38.2594 | 0
6381405.098 | 133.5998 | -38.5418 | -38.5418 | 0
6450557.105 | 134.5633 | -38.947 | -38.947 | 0
6520458.478 | 135.5991 | -39.4867 | -39.4867 | 0
6591117.335 | 136.7059 | -40.2066 | -40.2066 | 0
6662541.887 | 137.8703 | -41.119 | -41.119 | 0
6734740.429 | 139.0374 | -42.2272 | -42.2272 | 0
6807721.35 | 140.2025 | -43.5731 | -43.5731 | 0
6881493.128 | 141.2516 | -45.172 | -45.172 | 0
6956064.332 | 142.2082 | -46.9609 | -46.9609 | 0
7031443.627 | 142.9988 | -48.9735 | -48.9735 | 0
7107639.768 | 143.5693 | -51.1867 | -51.1867 | 0
7184661.607 | 143.9066 | -53.519 | -53.519 | 0
7262518.093 | 143.9703 | -55.9961 | -55.9961 | 0
7341218.269 | 143.7249 | -58.4894 | -58.4894 | 0
7420771.279 | 143.1584 | -60.9601 | -60.9601 | 0
7501186.364 | 142.3097 | -63.3784 | -63.3784 | 0
7582472.866 | 141.1803 | -65.6437 | -65.6437 | 0
7664640.227 | 139.7962 | -67.7451 | -67.7451 | 0
7747697.994 | 138.2453 | -69.6235 | -69.6235 | 0
7831655.816 | 136.5295 | -71.2543 | -71.2543 | 0
7916523.445 | 134.7498 | -72.6332 | -72.6332 | 0
8002310.742 | 132.908 | -73.7421 | -73.7421 | 0
8089027.671 | 131.0774 | -74.6053 | -74.6053 | 0
8176684.307 | 129.3187 | -75.207 | -75.207 | 0
8265290.832 | 127.6909 | -75.5691 | -75.5691 | 0
8354857.541 | 126.2401 | -75.751 | -75.751 | 0
8445394.839 | 125.0289 | -75.8232 | -75.8232 | 0
8536913.243 | 124.037 | -75.85 | -75.85 | 0
8629423.384 | 123.2468 | -75.9106 | -75.9106 | 0
8722936.011 | 122.6121 | -75.9938 | -75.9938 | 0
8817461.986 | 122.1599 | -76.1874 | -76.1874 | 0
8913012.29 | 121.8348 | -76.4775 | -76.4775 | 0
9009598.024 | 121.6409 | -76.9122 | -76.9122 | 0
9107230.407 | 121.5406 | -77.5193 | -77.5193 | 0
9205920.783 | 121.4416 | -78.3165 | -78.3165 | 0
9305680.615 | 121.3945 | -79.3047 | -79.3047 | 0
9406521.494 | 121.3107 | -80.4776 | -80.4776 | 0
9508455.133 | 121.1547 | -81.891 | -81.891 | 0
9611493.375 | 120.8742 | -83.4677 | -83.4677 | 0
9715648.189 | 120.4511 | -85.2223 | -85.2223 | 0
9820931.676 | 119.8389 | -87.1439 | -87.1439 | 0
9927356.065 | 119.011 | -89.164 | -89.164 | 0
10034933.721 | 117.9255 | -91.2813 | -91.2813 | 0
10143677.141 | 116.5929 | -93.4159 | -93.4159 | 0
10253598.957 | 115.0101 | -95.5554 | -95.5554 | 0
10364711.94 | 113.1627 | -97.6305 | -97.6305 | 0
10477028.997 | 111.09 | -99.6508 | -99.6508 | 0
10590563.176 | 108.7447 | -101.5512 | -101.5512 | 0
10705327.666 | 106.2078 | -103.2892 | -103.2892 | 0
10821335.801 | 103.4625 | -104.8538 | -104.8538 | 0
10938601.056 | 100.5567 | -106.2032 | -106.2032 | 0
11057137.054 | 97.5395 | -107.3528 | -107.3528 | 0
11176957.566 | 94.4097 | -108.2505 | -108.2505 | 0
11298076.511 | 91.2301 | -108.9291 | -108.9291 | 0
11420507.96 | 88.0198 | -109.3707 | -109.3707 | 0
11544266.136 | 84.8111 | -109.5749 | -109.5749 | 0
11669365.415 | 81.6143 | -109.5808 | -109.5808 | 0
11795820.331 | 78.5084 | -109.3291 | -109.3291 | 0
11923645.574 | 75.5093 | -108.9633 | -108.9633 | 0
12052855.993 | 72.5885 | -108.4598 | -108.4598 | 0
12183466.6 | 69.7322 | -107.8311 | -107.8311 | 0
12315492.566 | 66.9534 | -107.1055 | -107.1055 | 0
12448949.23 | 64.2502 | -106.2842 | -106.2842 | 0
12583852.095 | 61.626 | -105.3675 | -105.3675 | 0
12720216.834 | 59.0754 | -104.3654 | -104.3654 | 0
12858059.286 | 56.588 | -103.2963 | -103.2963 | 0
12997395.467 | 54.1592 | -102.1513 | -102.1513 | 0
13138241.562 | 51.8195 | -100.9388 | -100.9388 | 0
13280613.934 | 49.5224 | -99.6605 | -99.6605 | 0
13424529.122 | 47.2952 | -98.318 | -98.318 | 0
13570003.846 | 45.143 | -96.9046 | -96.9046 | 0
13717055.004 | 43.0516 | -95.4214 | -95.4214 | 0
13865699.679 | 41.0436 | -93.8898 | -93.8898 | 0
14015955.141 | 39.1122 | -92.2793 | -92.2793 | 0
14167838.844 | 37.2731 | -90.6348 | -90.6348 | 0
14321368.433 | 35.5068 | -88.9416 | -88.9416 | 0
14476561.742 | 33.8402 | -87.2099 | -87.2099 | 0
14633436.802 | 32.2458 | -85.4453 | -85.4453 | 0
14792011.837 | 30.7626 | -83.6556 | -83.6556 | 0
14952305.267 | 29.3603 | -81.8569 | -81.8569 | 0
15114335.715 | 28.0447 | -80.0397 | -80.0397 | 0
15278122.004 | 26.8053 | -78.2189 | -78.2189 | 0
15443683.161 | 25.6511 | -76.3807 | -76.3807 | 0
15611038.419 | 24.582 | -74.5566 | -74.5566 | 0
15780207.219 | 23.5821 | -72.7508 | -72.7508 | 0
15951209.215 | 22.6597 | -70.9463 | -70.9463 | 0
16124064.272 | 21.8248 | -69.1637 | -69.1637 | 0
16298792.471 | 21.0561 | -67.4245 | -67.4245 | 0
16475414.109 | 20.2907 | -65.703 | -65.703 | 0
16653949.704 | 19.5875 | -63.9835 | -63.9835 | 0
16834419.999 | 18.9321 | -62.2525 | -62.2525 | 0
17016845.957 | 18.3716 | -60.5072 | -60.5072 | 0
17201248.771 | 17.9126 | -58.8006 | -58.8006 | 0
17387649.865 | 17.5507 | -57.1219 | -57.1219 | 0
17576070.891 | 17.3207 | -55.5184 | -55.5184 | 0
17766533.738 | 17.2268 | -54.075 | -54.075 | 0
17959060.534 | 17.177 | -52.9101 | -52.9101 | 0
18153673.644 | 16.9545 | -52.054 | -52.054 | 0
18350395.676 | 16.3233 | -51.2928 | -51.2928 | 0
18549249.483 | 15.3608 | -50.2627 | -50.2627 | 0
18750258.167 | 14.3814 | -48.8837 | -48.8837 | 0
18953445.079 | 13.5528 | -47.294 | -47.294 | 0
19158833.823 | 12.9433 | -45.6006 | -45.6006 | 0
19366448.26 | 12.5197 | -43.9244 | -43.9244 | 0
19576312.507 | 12.2277 | -42.321 | -42.321 | 0
19788450.945 | 12.0218 | -40.7997 | -40.7997 | 0
20002888.218 | 11.8528 | -39.395 | -39.395 | 0
20219649.238 | 11.6775 | -38.1056 | -38.1056 | 0
20438759.186 | 11.4218 | -36.9176 | -36.9176 | 0
20660243.516 | 11.0305 | -35.7344 | -35.7344 | 0
20884127.957 | 10.5472 | -34.4364 | -34.4364 | 0
21110438.52 | 10.097 | -32.9993 | -32.9993 | 0
21339201.493 | 9.7514 | -31.4981 | -31.4981 | 0
21570443.453 | 9.4895 | -29.9864 | -29.9864 | 0
21804191.264 | 9.3036 | -28.4898 | -28.4898 | 0
22040472.079 | 9.1843 | -27.0302 | -27.0302 | 0
22279313.348 | 9.1102 | -25.6178 | -25.6178 | 0
22520742.818 | 9.0531 | -24.2699 | -24.2699 | 0
22764788.534 | 8.9771 | -22.9726 | -22.9726 | 0
23011478.848 | 8.8498 | -21.694 | -21.694 | 0
23260842.419 | 8.6906 | -20.3838 | -20.3838 | 0
23512908.214 | 8.5317 | -19.031 | -19.031 | 0
23767705.517 | 8.3953 | -17.6492 | -17.6492 | 0
24025263.927 | 8.2687 | -16.2348 | -16.2348 | 0
24285613.366 | 8.1831 | -14.7913 | -14.7913 | 0
24548784.077 | 8.1242 | -13.3292 | -13.3292 | 0
24814806.635 | 8.0911 | -11.8356 | -11.8356 | 0
25083711.942 | 8.0995 | -10.3076 | -10.3076 | 0
25355531.237 | 8.1587 | -8.7481 | -8.7481 | 0
25630296.099 | 8.2675 | -7.1527 | -7.1527 | 0
25908038.446 | 8.4392 | -5.5101 | -5.5101 | 0
26188790.544 | 8.6977 | -3.8142 | -3.8142 | 0
26472585.009 | 9.0561 | -2.0704 | -2.0704 | 0
26759454.808 | 9.5424 | -0.25676 | -0.25676 | 0
27049433.268 | 10.2175 | 1.6506 | 1.6506 | 0
27342554.075 | 11.1884 | 3.6451 | 3.6451 | 0
27638851.282 | 12.6171 | 5.6592 | 5.6592 | 0
27938359.31 | 14.6714 | 7.5073 | 7.5073 | 0
28241112.952 | 17.488 | 8.8249 | 8.8249 | 0
28547147.38 | 20.9782 | 9.0134 | 9.0134 | 0
28856498.145 | 24.5167 | 7.3496 | 7.3496 | 0
29169201.186 | 26.6608 | 3.6982 | 3.6982 | 0
29485292.829 | 26.0882 | -0.60616 | -0.60616 | 0
29804809.795 | 23.166 | -3.5573 | -3.5573 | 0
30127789.202 | 19.4865 | -4.4348 | -4.4348 | 0
30454268.571 | 16.1802 | -3.7444 | -3.7444 | 0
30784285.828 | 13.5947 | -2.1952 | -2.1952 | 0
31117879.314 | 11.6729 | -0.26913 | -0.26913 | 0
31455087.78 | 10.2689 | 1.7858 | 1.7858 | 0
31795950.401 | 9.2408 | 3.8561 | 3.8561 | 0
32140506.776 | 8.4813 | 5.8939 | 5.8939 | 0
32488796.93 | 7.9238 | 7.8852 | 7.8852 | 0
32840861.326 | 7.511 | 9.8286 | 9.8286 | 0
33196740.864 | 7.2124 | 11.722 | 11.722 | 0
33556476.884 | 6.9971 | 13.5762 | 13.5762 | 0
33920111.179 | 6.8355 | 15.4054 | 15.4054 | 0
34287685.992 | 6.729 | 17.2037 | 17.2037 | 0
34659244.025 | 6.6657 | 19.0087 | 19.0087 | 0
35034828.441 | 6.6527 | 20.8113 | 20.8113 | 0
35414482.872 | 6.6901 | 22.6097 | 22.6097 | 0
35798251.423 | 6.7918 | 24.3929 | 24.3929 | 0
36186178.677 | 6.9242 | 26.1307 | 26.1307 | 0
36578309.699 | 7.0405 | 27.8428 | 27.8428 | 0
36974690.043 | 7.129 | 29.5693 | 29.5693 | 0
37375365.757 | 7.2176 | 31.3716 | 31.3716 | 0
37780383.389 | 7.3533 | 33.2363 | 33.2363 | 0
38189789.988 | 7.5655 | 35.1346 | 35.1346 | 0
38603633.116 | 7.849 | 37.0244 | 37.0244 | 0
39021960.849 | 8.1684 | 38.9013 | 38.9013 | 0
39444821.785 | 8.501 | 40.7699 | 40.7699 | 0
39872265.048 | 8.8377 | 42.6561 | 42.6561 | 0
40304340.294 | 9.1832 | 44.5845 | 44.5845 | 0
40741097.717 | 9.5868 | 46.5848 | 46.5848 | 0
41182588.056 | 10.0796 | 48.6057 | 48.6057 | 0
41628862.598 | 10.6729 | 50.5911 | 50.5911 | 0
42079973.189 | 11.2978 | 52.482 | 52.482 | 0
42535972.233 | 11.85 | 54.2769 | 54.2769 | 0
42996912.705 | 12.2825 | 56.1035 | 56.1035 | 0
43462848.151 | 12.5879 | 57.9989 | 57.9989 | 0
43933832.701 | 12.7718 | 60.0787 | 60.0787 | 0
44409921.068 | 12.9439 | 62.4339 | 62.4339 | 0
44891168.56 | 13.2591 | 65.0477 | 65.0477 | 0
45377631.084 | 13.7719 | 67.8409 | 67.8409 | 0
45869365.152 | 14.4616 | 70.8128 | 70.8128 | 0
46366427.89 | 15.4454 | 73.8824 | 73.8824 | 0
46868877.041 | 16.7251 | 76.9814 | 76.9814 | 0
47376770.975 | 18.3165 | 80.0905 | 80.0905 | 0
47890168.695 | 20.2155 | 83.2058 | 83.2058 | 0
48409129.842 | 22.6147 | 86.1774 | 86.1774 | 0
48933714.704 | 25.5551 | 88.548 | 88.548 | 0
49463984.223 | 28.7745 | 89.9636 | 89.9636 | 0
50000000 | 31.0702 | 89.9433 | 89.9433 | 0