## 03-Feb-16 16h 45m 29s
4294A REV1.11
DATE: Feb 3 2016
MEASURE PARAMETER: IMPEDANCE RESISTANCE - REACTANCE
ADAPTER: PROBE
SWEEP TYPE: LOG FREQ
NUMBER of POINTS: 801
POINT DELAY TIME: 0 Sec
SWEEP DELAY TIME: 0 Sec
OSC LEVEL: 500 mVolt
DC BIAS: OFF
BW: 3
SWEEP AVERAGING: OFF
POINT AVERAGING: OFF
TRACE: A
FORMAT: LINEAR
Frequency | Data Real | Data Imag | Data Trace Real | Data Trace Imag
9000 | 1.9351 | 14.4154 | 1.9351 | 0
9097.528 | 1.9592 | 14.5569 | 1.9592 | 0
9196.114 | 1.989 | 14.6998 | 1.989 | 0
9295.767 | 2.0141 | 14.851 | 2.0141 | 0
9396.501 | 2.0417 | 15.0038 | 2.0417 | 0
9498.326 | 2.0678 | 15.1519 | 2.0678 | 0
9601.254 | 2.0965 | 15.3034 | 2.0965 | 0
9705.298 | 2.1283 | 15.4618 | 2.1283 | 0
9810.469 | 2.1585 | 15.6152 | 2.1585 | 0
9916.78 | 2.1855 | 15.7702 | 2.1855 | 0
10024.243 | 2.219 | 15.9275 | 2.219 | 0
10132.871 | 2.2501 | 16.0823 | 2.2501 | 0
10242.676 | 2.2819 | 16.2532 | 2.2819 | 0
10353.67 | 2.3092 | 16.4102 | 2.3092 | 0
10465.868 | 2.3485 | 16.5763 | 2.3485 | 0
10579.281 | 2.3722 | 16.7448 | 2.3722 | 0
10693.923 | 2.4109 | 16.9092 | 2.4109 | 0
10809.808 | 2.4437 | 17.076 | 2.4437 | 0
10926.948 | 2.477 | 17.2471 | 2.477 | 0
11045.358 | 2.5161 | 17.4185 | 2.5161 | 0
11165.051 | 2.5448 | 17.5941 | 2.5448 | 0
11286.041 | 2.5844 | 17.7681 | 2.5844 | 0
11408.342 | 2.6202 | 17.9441 | 2.6202 | 0
11531.968 | 2.6563 | 18.1295 | 2.6563 | 0
11656.934 | 2.6935 | 18.3088 | 2.6935 | 0
11783.254 | 2.7331 | 18.4878 | 2.7331 | 0
11910.943 | 2.7675 | 18.6733 | 2.7675 | 0
12040.016 | 2.8112 | 18.8641 | 2.8112 | 0
12170.487 | 2.8502 | 19.0478 | 2.8502 | 0
12302.373 | 2.8868 | 19.2352 | 2.8868 | 0
12435.687 | 2.9329 | 19.4278 | 2.9329 | 0
12570.446 | 2.9782 | 19.6231 | 2.9782 | 0
12706.666 | 3.0168 | 19.8201 | 3.0168 | 0
12844.361 | 3.0635 | 20.0168 | 3.0635 | 0
12983.549 | 3.1068 | 20.2089 | 3.1068 | 0
13124.245 | 3.1566 | 20.4124 | 3.1566 | 0
13266.466 | 3.1924 | 20.6107 | 3.1924 | 0
13410.228 | 3.2399 | 20.8223 | 3.2399 | 0
13555.548 | 3.2873 | 21.0264 | 3.2873 | 0
13702.442 | 3.3351 | 21.2308 | 3.3351 | 0
13850.928 | 3.375 | 21.4498 | 3.375 | 0
14001.024 | 3.4263 | 21.6564 | 3.4263 | 0
14152.746 | 3.4783 | 21.868 | 3.4783 | 0
14306.112 | 3.5236 | 22.085 | 3.5236 | 0
14461.14 | 3.5789 | 22.3012 | 3.5789 | 0
14617.848 | 3.6261 | 22.5209 | 3.6261 | 0
14776.254 | 3.6834 | 22.741 | 3.6834 | 0
14936.376 | 3.738 | 22.9695 | 3.738 | 0
15098.234 | 3.7815 | 23.1968 | 3.7815 | 0
15261.846 | 3.8398 | 23.4228 | 3.8398 | 0
15427.231 | 3.8951 | 23.653 | 3.8951 | 0
15594.408 | 3.952 | 23.8902 | 3.952 | 0
15763.396 | 4.0073 | 24.1194 | 4.0073 | 0
15934.216 | 4.0672 | 24.3628 | 4.0672 | 0
16106.887 | 4.1246 | 24.5987 | 4.1246 | 0
16281.429 | 4.1853 | 24.8423 | 4.1853 | 0
16457.863 | 4.242 | 25.0817 | 4.242 | 0
16636.208 | 4.3089 | 25.332 | 4.3089 | 0
16816.486 | 4.3716 | 25.574 | 4.3716 | 0
16998.718 | 4.4271 | 25.8307 | 4.4271 | 0
17182.924 | 4.501 | 26.0798 | 4.501 | 0
17369.127 | 4.5596 | 26.334 | 4.5596 | 0
17557.347 | 4.6267 | 26.6015 | 4.6267 | 0
17747.607 | 4.6972 | 26.8476 | 4.6972 | 0
17939.929 | 4.7694 | 27.1194 | 4.7694 | 0
18134.334 | 4.8349 | 27.3856 | 4.8349 | 0
18330.847 | 4.9024 | 27.6493 | 4.9024 | 0
18529.489 | 4.9724 | 27.9153 | 4.9724 | 0
18730.283 | 5.042 | 28.1945 | 5.042 | 0
18933.254 | 5.122 | 28.4591 | 5.122 | 0
19138.424 | 5.1957 | 28.7403 | 5.1957 | 0
19345.817 | 5.2722 | 29.0172 | 5.2722 | 0
19555.458 | 5.3465 | 29.3004 | 5.3465 | 0
19767.37 | 5.4241 | 29.5824 | 5.4241 | 0
19981.579 | 5.5052 | 29.8716 | 5.5052 | 0
20198.109 | 5.5877 | 30.1578 | 5.5877 | 0
20416.986 | 5.6706 | 30.4549 | 5.6706 | 0
20638.234 | 5.752 | 30.7472 | 5.752 | 0
20861.88 | 5.8315 | 31.0402 | 5.8315 | 0
21087.949 | 5.9132 | 31.3442 | 5.9132 | 0
21316.469 | 6.0049 | 31.642 | 6.0049 | 0
21547.464 | 6.0873 | 31.9482 | 6.0873 | 0
21780.963 | 6.1834 | 32.2606 | 6.1834 | 0
22016.992 | 6.2741 | 32.5727 | 6.2741 | 0
22255.579 | 6.3707 | 32.8751 | 6.3707 | 0
22496.751 | 6.4584 | 33.1971 | 6.4584 | 0
22740.537 | 6.5559 | 33.5178 | 6.5559 | 0
22986.964 | 6.6516 | 33.8286 | 6.6516 | 0
23236.062 | 6.7415 | 34.1632 | 6.7415 | 0
23487.86 | 6.8537 | 34.4876 | 6.8537 | 0
23742.386 | 6.9412 | 34.8189 | 6.9412 | 0
23999.67 | 7.0476 | 35.151 | 7.0476 | 0
24259.742 | 7.1526 | 35.4869 | 7.1526 | 0
24522.632 | 7.2583 | 35.8134 | 7.2583 | 0
24788.371 | 7.3668 | 36.1619 | 7.3668 | 0
25056.99 | 7.4687 | 36.5074 | 7.4687 | 0
25328.52 | 7.5893 | 36.8509 | 7.5893 | 0
25602.992 | 7.6853 | 37.2005 | 7.6853 | 0
25880.438 | 7.8026 | 37.5518 | 7.8026 | 0
26160.891 | 7.916 | 37.9113 | 7.916 | 0
26444.383 | 8.0319 | 38.2762 | 8.0319 | 0
26730.948 | 8.1521 | 38.6308 | 8.1521 | 0
27020.617 | 8.2741 | 39.0048 | 8.2741 | 0
27313.426 | 8.3854 | 39.3652 | 8.3854 | 0
27609.407 | 8.5233 | 39.7326 | 8.5233 | 0
27908.596 | 8.6333 | 40.1074 | 8.6333 | 0
28211.027 | 8.7755 | 40.4806 | 8.7755 | 0
28516.736 | 8.888 | 40.8705 | 8.888 | 0
28825.757 | 9.0275 | 41.2552 | 9.0275 | 0
29138.127 | 9.1566 | 41.6323 | 9.1566 | 0
29453.882 | 9.2977 | 42.0261 | 9.2977 | 0
29773.058 | 9.425 | 42.4208 | 9.425 | 0
30095.694 | 9.5552 | 42.8184 | 9.5552 | 0
30421.825 | 9.7027 | 43.2204 | 9.7027 | 0
30751.491 | 9.8446 | 43.6251 | 9.8446 | 0
31084.729 | 9.9914 | 44.0299 | 9.9914 | 0
31421.578 | 10.1326 | 44.4353 | 10.1326 | 0
31762.078 | 10.2921 | 44.8469 | 10.2921 | 0
32106.267 | 10.4319 | 45.2651 | 10.4319 | 0
32454.186 | 10.5789 | 45.6793 | 10.5789 | 0
32805.876 | 10.7281 | 46.1007 | 10.7281 | 0
33161.376 | 10.9051 | 46.5351 | 10.9051 | 0
33520.729 | 11.045 | 46.9586 | 11.045 | 0
33883.976 | 11.1972 | 47.3881 | 11.1972 | 0
34251.159 | 11.368 | 47.8323 | 11.368 | 0
34622.321 | 11.5428 | 48.2632 | 11.5428 | 0
34997.505 | 11.6962 | 48.7103 | 11.6962 | 0
35376.755 | 11.8616 | 49.1538 | 11.8616 | 0
35760.115 | 12.0226 | 49.6104 | 12.0226 | 0
36147.629 | 12.207 | 50.0735 | 12.207 | 0
36539.342 | 12.3906 | 50.513 | 12.3906 | 0
36935.301 | 12.5606 | 50.9738 | 12.5606 | 0
37335.549 | 12.7389 | 51.4467 | 12.7389 | 0
37740.136 | 12.9138 | 51.9104 | 12.9138 | 0
38149.106 | 13.102 | 52.3823 | 13.102 | 0
38562.508 | 13.2955 | 52.8629 | 13.2955 | 0
38980.39 | 13.4876 | 53.3443 | 13.4876 | 0
39402.801 | 13.658 | 53.8248 | 13.658 | 0
39829.789 | 13.8663 | 54.3099 | 13.8663 | 0
40261.404 | 14.0549 | 54.807 | 14.0549 | 0
40697.696 | 14.26 | 55.2975 | 14.26 | 0
41138.716 | 14.4658 | 55.7964 | 14.4658 | 0
41584.515 | 14.6737 | 56.2872 | 14.6737 | 0
42035.145 | 14.8919 | 56.7989 | 14.8919 | 0
42490.658 | 15.1038 | 57.2952 | 15.1038 | 0
42951.108 | 15.3032 | 57.8252 | 15.3032 | 0
43416.547 | 15.5119 | 58.3537 | 15.5119 | 0
43887.03 | 15.7445 | 58.8685 | 15.7445 | 0
44362.611 | 15.9677 | 59.3795 | 15.9677 | 0
44843.346 | 16.1759 | 59.9208 | 16.1759 | 0
45329.29 | 16.4169 | 60.4398 | 16.4169 | 0
45820.5 | 16.6445 | 60.9837 | 16.6445 | 0
46317.033 | 16.8806 | 61.5113 | 16.8806 | 0
46818.947 | 17.0972 | 62.0676 | 17.0972 | 0
47326.3 | 17.3486 | 62.5965 | 17.3486 | 0
47839.151 | 17.606 | 63.1496 | 17.606 | 0
48357.559 | 17.8185 | 63.6998 | 17.8185 | 0
48881.585 | 18.073 | 64.2516 | 18.073 | 0
49411.29 | 18.3031 | 64.8174 | 18.3031 | 0
49946.734 | 18.5555 | 65.3952 | 18.5555 | 0
50487.982 | 18.7875 | 65.9733 | 18.7875 | 0
51035.094 | 19.0419 | 66.5585 | 19.0419 | 0
51588.135 | 19.3128 | 67.1358 | 19.3128 | 0
52147.169 | 19.5809 | 67.7326 | 19.5809 | 0
52712.261 | 19.841 | 68.3303 | 19.841 | 0
53283.477 | 20.1141 | 68.9314 | 20.1141 | 0
53860.882 | 20.3905 | 69.5426 | 20.3905 | 0
54444.545 | 20.6438 | 70.1446 | 20.6438 | 0
55034.533 | 20.924 | 70.7493 | 20.924 | 0
55630.914 | 21.2107 | 71.3713 | 21.2107 | 0
56233.757 | 21.4991 | 71.9844 | 21.4991 | 0
56843.134 | 21.7937 | 72.6144 | 21.7937 | 0
57459.113 | 22.0778 | 73.2554 | 22.0778 | 0
58081.768 | 22.3693 | 73.8918 | 22.3693 | 0
58711.171 | 22.6751 | 74.5301 | 22.6751 | 0
59347.393 | 22.9668 | 75.1713 | 22.9668 | 0
59990.511 | 23.2875 | 75.8142 | 23.2875 | 0
60640.597 | 23.5871 | 76.4779 | 23.5871 | 0
61297.728 | 23.9006 | 77.1369 | 23.9006 | 0
61961.98 | 24.2256 | 77.8012 | 24.2256 | 0
62633.43 | 24.5262 | 78.4736 | 24.5262 | 0
63312.156 | 24.8539 | 79.1606 | 24.8539 | 0
63998.238 | 25.1956 | 79.8427 | 25.1956 | 0
64691.754 | 25.5179 | 80.5059 | 25.5179 | 0
65392.785 | 25.8479 | 81.2146 | 25.8479 | 0
66101.413 | 26.191 | 81.902 | 26.191 | 0
66817.72 | 26.5344 | 82.6168 | 26.5344 | 0
67541.789 | 26.8847 | 83.314 | 26.8847 | 0
68273.705 | 27.2183 | 84.0214 | 27.2183 | 0
69013.552 | 27.6015 | 84.7419 | 27.6015 | 0
69761.416 | 27.9532 | 85.477 | 27.9532 | 0
70517.385 | 28.3082 | 86.1954 | 28.3082 | 0
71281.546 | 28.6685 | 86.9393 | 28.6685 | 0
72053.987 | 29.0504 | 87.6822 | 29.0504 | 0
72834.799 | 29.4099 | 88.4401 | 29.4099 | 0
73624.072 | 29.7957 | 89.1886 | 29.7957 | 0
74421.899 | 30.1883 | 89.946 | 30.1883 | 0
75228.371 | 30.5766 | 90.701 | 30.5766 | 0
76043.582 | 30.9608 | 91.4917 | 30.9608 | 0
76867.627 | 31.346 | 92.2621 | 31.346 | 0
77700.602 | 31.765 | 93.0571 | 31.765 | 0
78542.603 | 32.1423 | 93.8612 | 32.1423 | 0
79393.729 | 32.5808 | 94.6416 | 32.5808 | 0
80254.078 | 32.9797 | 95.4528 | 32.9797 | 0
81123.75 | 33.3906 | 96.2836 | 33.3906 | 0
82002.847 | 33.825 | 97.0948 | 33.825 | 0
82891.47 | 34.2539 | 97.9109 | 34.2539 | 0
83789.722 | 34.7062 | 98.7498 | 34.7062 | 0
84697.708 | 35.1515 | 99.5833 | 35.1515 | 0
85615.534 | 35.5802 | 100.4421 | 35.5802 | 0
86543.305 | 36.0233 | 101.2965 | 36.0233 | 0
87481.13 | 36.4754 | 102.1564 | 36.4754 | 0
88429.118 | 36.9634 | 103.019 | 36.9634 | 0
89387.379 | 37.4095 | 103.8833 | 37.4095 | 0
90356.024 | 37.8825 | 104.7669 | 37.8825 | 0
91335.166 | 38.3704 | 105.6612 | 38.3704 | 0
92324.919 | 38.8549 | 106.5593 | 38.8549 | 0
93325.396 | 39.3363 | 107.4829 | 39.3363 | 0
94336.716 | 39.8259 | 108.4159 | 39.8259 | 0
95358.994 | 40.343 | 109.3281 | 40.343 | 0
96392.35 | 40.8087 | 110.2703 | 40.8087 | 0
97436.905 | 41.355 | 111.2031 | 41.355 | 0
98492.779 | 41.8354 | 112.1452 | 41.8354 | 0
99560.094 | 42.4061 | 113.0976 | 42.4061 | 0
100638.976 | 42.9491 | 114.0701 | 42.9491 | 0
101729.549 | 43.5118 | 115.0421 | 43.5118 | 0
102831.939 | 44 | 116.0424 | 44 | 0
103946.276 | 44.5679 | 117.0453 | 44.5679 | 0
105072.689 | 45.1243 | 118.0258 | 45.1243 | 0
106211.307 | 45.6919 | 119.0378 | 45.6919 | 0
107362.265 | 46.289 | 120.049 | 46.289 | 0
108525.694 | 46.8788 | 121.1083 | 46.8788 | 0
109701.732 | 47.4565 | 122.1381 | 47.4565 | 0
110890.513 | 48.0473 | 123.1702 | 48.0473 | 0
112092.176 | 48.6534 | 124.2445 | 48.6534 | 0
113306.862 | 49.28 | 125.3277 | 49.28 | 0
114534.71 | 49.909 | 126.3965 | 49.909 | 0
115775.864 | 50.5684 | 127.4675 | 50.5684 | 0
117030.467 | 51.2162 | 128.5625 | 51.2162 | 0
118298.666 | 51.8381 | 129.7004 | 51.8381 | 0
119580.608 | 52.5135 | 130.8206 | 52.5135 | 0
120876.442 | 53.1648 | 131.9521 | 53.1648 | 0
122186.318 | 53.8563 | 133.0802 | 53.8563 | 0
123510.388 | 54.5608 | 134.2359 | 54.5608 | 0
124848.807 | 55.25 | 135.3981 | 55.25 | 0
126201.729 | 55.9675 | 136.5706 | 55.9675 | 0
127569.312 | 56.6592 | 137.7876 | 56.6592 | 0
128951.715 | 57.4229 | 138.9807 | 57.4229 | 0
130349.099 | 58.1706 | 140.1734 | 58.1706 | 0
131761.625 | 58.9252 | 141.4018 | 58.9252 | 0
133189.458 | 59.6612 | 142.6379 | 59.6612 | 0
134632.764 | 60.4603 | 143.8995 | 60.4603 | 0
136091.71 | 61.2658 | 145.1353 | 61.2658 | 0
137566.466 | 62.0697 | 146.4422 | 62.0697 | 0
139057.203 | 62.8698 | 147.7175 | 62.8698 | 0
140564.094 | 63.7026 | 149.007 | 63.7026 | 0
142087.315 | 64.5408 | 150.3265 | 64.5408 | 0
143627.042 | 65.4026 | 151.6521 | 65.4026 | 0
145183.455 | 66.2886 | 152.9829 | 66.2886 | 0
146756.733 | 67.1389 | 154.3512 | 67.1389 | 0
148347.061 | 67.9995 | 155.7344 | 67.9995 | 0
149954.621 | 68.95 | 157.0742 | 68.95 | 0
151579.603 | 69.8982 | 158.4813 | 69.8982 | 0
153222.193 | 70.8109 | 159.8941 | 70.8109 | 0
154882.583 | 71.7894 | 161.3087 | 71.7894 | 0
156560.966 | 72.7879 | 162.7516 | 72.7879 | 0
158257.537 | 73.7428 | 164.2238 | 73.7428 | 0
159972.492 | 74.7961 | 165.6747 | 74.7961 | 0
161706.032 | 75.7829 | 167.1727 | 75.7829 | 0
163458.357 | 76.8454 | 168.6948 | 76.8454 | 0
165229.671 | 77.925 | 170.2013 | 77.925 | 0
167020.18 | 79.0344 | 171.7425 | 79.0344 | 0
168830.092 | 80.12 | 173.3055 | 80.12 | 0
170659.617 | 81.2691 | 174.829 | 81.2691 | 0
172508.968 | 82.3783 | 176.4589 | 82.3783 | 0
174378.359 | 83.5515 | 178.0405 | 83.5515 | 0
176268.007 | 84.7551 | 179.6913 | 84.7551 | 0
178178.133 | 86.0061 | 181.3016 | 86.0061 | 0
180108.958 | 87.2168 | 182.9461 | 87.2168 | 0
182060.706 | 88.4967 | 184.6229 | 88.4967 | 0
184033.605 | 89.7645 | 186.3151 | 89.7645 | 0
186027.882 | 91.0899 | 188.0273 | 91.0899 | 0
188043.771 | 92.4324 | 189.7537 | 92.4324 | 0
190081.504 | 93.7733 | 191.5472 | 93.7733 | 0
192141.32 | 95.2225 | 193.2355 | 95.2225 | 0
194223.457 | 96.6471 | 195.0672 | 96.6471 | 0
196328.157 | 98.0687 | 196.8556 | 98.0687 | 0
198455.664 | 99.5858 | 198.7042 | 99.5858 | 0
200606.226 | 101.1053 | 200.5436 | 101.1053 | 0
202780.093 | 102.7068 | 202.3975 | 102.7068 | 0
204977.516 | 104.254 | 204.2915 | 104.254 | 0
207198.752 | 105.8519 | 206.2034 | 105.8519 | 0
209444.059 | 107.5396 | 208.1245 | 107.5396 | 0
211713.696 | 109.2375 | 210.0811 | 109.2375 | 0
214007.929 | 110.9686 | 212.0388 | 110.9686 | 0
216327.023 | 112.7271 | 214.0451 | 112.7271 | 0
218671.247 | 114.5683 | 216.0749 | 114.5683 | 0
221040.875 | 116.3572 | 218.1212 | 116.3572 | 0
223436.182 | 118.28 | 220.1613 | 118.28 | 0
225857.445 | 120.2242 | 222.2455 | 120.2242 | 0
228304.946 | 122.217 | 224.3613 | 122.217 | 0
230778.969 | 124.2527 | 226.4619 | 124.2527 | 0
233279.802 | 126.3922 | 228.6592 | 126.3922 | 0
235807.736 | 128.4875 | 230.8557 | 128.4875 | 0
238363.063 | 130.642 | 233.0602 | 130.642 | 0
240946.081 | 132.8828 | 235.2994 | 132.8828 | 0
243557.09 | 135.2395 | 237.5429 | 135.2395 | 0
246196.393 | 137.5826 | 239.7919 | 137.5826 | 0
248864.297 | 140.0135 | 242.0956 | 140.0135 | 0
251561.111 | 142.4848 | 244.4323 | 142.4848 | 0
254287.15 | 145.0498 | 246.8133 | 145.0498 | 0
257042.729 | 147.637 | 249.1972 | 147.637 | 0
259828.169 | 150.3319 | 251.5884 | 150.3319 | 0
262643.793 | 153.1155 | 254.0049 | 153.1155 | 0
265489.929 | 156.0001 | 256.4155 | 156.0001 | 0
268366.907 | 158.9352 | 258.8966 | 158.9352 | 0
271275.061 | 161.9307 | 261.4116 | 161.9307 | 0
274214.729 | 164.9961 | 263.9532 | 164.9961 | 0
277186.254 | 168.2204 | 266.4907 | 168.2204 | 0
280189.979 | 171.4593 | 269.0605 | 171.4593 | 0
283226.253 | 174.8974 | 271.6025 | 174.8974 | 0
286295.431 | 178.3106 | 274.2479 | 178.3106 | 0
289397.867 | 181.9039 | 276.8849 | 181.9039 | 0
292533.923 | 185.5063 | 279.5038 | 185.5063 | 0
295703.963 | 189.4254 | 282.1398 | 189.4254 | 0
298908.355 | 193.314 | 284.8102 | 193.314 | 0
302147.471 | 197.3018 | 287.5132 | 197.3018 | 0
305421.688 | 201.4395 | 290.2008 | 201.4395 | 0
308731.386 | 205.8253 | 292.9077 | 205.8253 | 0
312076.949 | 210.1799 | 295.6447 | 210.1799 | 0
315458.767 | 214.7301 | 298.5005 | 214.7301 | 0
318877.231 | 219.5053 | 301.1915 | 219.5053 | 0
322332.74 | 224.3877 | 303.9791 | 224.3877 | 0
325825.694 | 229.4558 | 306.6495 | 229.4558 | 0
329356.5 | 234.6576 | 309.411 | 234.6576 | 0
332925.567 | 239.9842 | 312.131 | 239.9842 | 0
336533.31 | 245.7359 | 314.8636 | 245.7359 | 0
340180.149 | 251.3624 | 317.5385 | 251.3624 | 0
343866.506 | 257.3516 | 320.2686 | 257.3516 | 0
347592.811 | 263.5734 | 322.793 | 263.5734 | 0
351359.495 | 269.918 | 325.5157 | 269.918 | 0
355166.998 | 276.5309 | 328.0688 | 276.5309 | 0
359015.76 | 283.4158 | 330.5997 | 283.4158 | 0
362906.229 | 290.5525 | 332.9778 | 290.5525 | 0
366838.858 | 297.8632 | 335.4499 | 297.8632 | 0
370814.102 | 305.5967 | 337.5739 | 305.5967 | 0
374832.424 | 313.5428 | 339.7554 | 313.5428 | 0
378894.29 | 321.6326 | 341.8683 | 321.6326 | 0
383000.173 | 330.1226 | 343.8498 | 330.1226 | 0
387150.549 | 338.9551 | 345.5371 | 338.9551 | 0
391345.9 | 348.0433 | 347.1666 | 348.0433 | 0
395586.715 | 357.4853 | 348.7236 | 357.4853 | 0
399873.485 | 367.2341 | 349.9135 | 367.2341 | 0
404206.708 | 377.3007 | 350.9708 | 377.3007 | 0
408586.888 | 387.8025 | 351.6259 | 387.8025 | 0
413014.535 | 398.6364 | 352.0806 | 398.6364 | 0
417490.161 | 409.7494 | 352.2454 | 409.7494 | 0
422014.287 | 421.3833 | 352.0074 | 421.3833 | 0
426587.439 | 433.1815 | 351.4943 | 433.1815 | 0
431210.148 | 445.5454 | 350.4481 | 445.5454 | 0
435882.951 | 458.2487 | 348.9153 | 458.2487 | 0
440606.39 | 471.1861 | 346.9168 | 471.1861 | 0
445381.015 | 484.4848 | 344.3812 | 484.4848 | 0
450207.38 | 498.1837 | 341.1652 | 498.1837 | 0
455086.046 | 512.1914 | 337.3533 | 512.1914 | 0
460017.58 | 526.4288 | 332.74 | 526.4288 | 0
465002.554 | 541.0657 | 327.3606 | 541.0657 | 0
470041.548 | 555.7572 | 321.1362 | 555.7572 | 0
475135.147 | 570.632 | 314.0436 | 570.632 | 0
480283.942 | 585.6598 | 306.0799 | 585.6598 | 0
485488.532 | 600.6703 | 297.1142 | 600.6703 | 0
490749.522 | 615.6892 | 286.948 | 615.6892 | 0
496067.522 | 630.5638 | 275.8421 | 630.5638 | 0
501443.151 | 645.2805 | 263.4625 | 645.2805 | 0
506877.033 | 659.6058 | 249.9699 | 659.6058 | 0
512369.799 | 673.443 | 235.3737 | 673.443 | 0
517922.087 | 686.8234 | 219.6455 | 686.8234 | 0
523534.542 | 699.394 | 202.7281 | 699.394 | 0
529207.817 | 711.1304 | 184.5912 | 711.1304 | 0
534942.57 | 721.8744 | 165.2994 | 721.8744 | 0
540739.468 | 731.6077 | 145.0807 | 731.6077 | 0
546599.184 | 740.0006 | 124.0163 | 740.0006 | 0
552522.398 | 747.0281 | 102.1323 | 747.0281 | 0
558509.8 | 752.7284 | 79.5012 | 752.7284 | 0
564562.083 | 756.6783 | 56.2336 | 756.6783 | 0
570679.952 | 759.0708 | 32.8078 | 759.0708 | 0
576864.118 | 759.8218 | 9.0629 | 759.8218 | 0
583115.298 | 758.7689 | -14.5115 | 758.7689 | 0
589434.219 | 756.1345 | -38.0204 | 756.1345 | 0
595821.614 | 751.8315 | -61.2312 | 751.8315 | 0
602278.227 | 745.9237 | -83.9028 | 745.9237 | 0
608804.807 | 738.5059 | -105.6858 | 738.5059 | 0
615402.111 | 729.7299 | -126.7432 | 729.7299 | 0
622070.908 | 719.5847 | -146.72 | 719.5847 | 0
628811.971 | 708.4352 | -165.5993 | 708.4352 | 0
635626.083 | 696.145 | -183.4202 | 696.145 | 0
642514.036 | 683.2432 | -199.8781 | 683.2432 | 0
649476.63 | 669.6344 | -215.1331 | 669.6344 | 0
656514.675 | 655.3546 | -229.2038 | 655.3546 | 0
663628.987 | 640.8379 | -241.9462 | 640.8379 | 0
670820.393 | 626.1763 | -253.3496 | 626.1763 | 0
678089.729 | 611.3425 | -263.6063 | 611.3425 | 0
685437.839 | 596.5416 | -272.8957 | 596.5416 | 0
692865.577 | 581.8542 | -280.942 | 581.8542 | 0
700373.805 | 567.3651 | -288.2191 | 567.3651 | 0
707963.396 | 553.1484 | -294.4216 | 553.1484 | 0
715635.231 | 539.2675 | -299.8587 | 539.2675 | 0
723390.203 | 525.7579 | -304.5522 | 525.7579 | 0
731229.21 | 512.5824 | -308.6667 | 512.5824 | 0
739153.166 | 499.7812 | -312.3096 | 499.7812 | 0
747162.989 | 487.4777 | -315.3627 | 487.4777 | 0
755259.61 | 475.4193 | -318.1143 | 475.4193 | 0
763443.97 | 463.7702 | -320.4549 | 463.7702 | 0
771717.02 | 452.5267 | -322.4292 | 452.5267 | 0
780079.721 | 441.5121 | -324.1476 | 441.5121 | 0
788533.044 | 430.847 | -325.7067 | 430.847 | 0
797077.971 | 420.4259 | -327.0893 | 420.4259 | 0
805715.496 | 410.1326 | -328.2642 | 410.1326 | 0
814446.62 | 400.03 | -329.364 | 400.03 | 0
823272.36 | 390.1235 | -330.2494 | 390.1235 | 0
832193.739 | 380.2884 | -330.9512 | 380.2884 | 0
841211.795 | 370.6538 | -331.4305 | 370.6538 | 0
850327.575 | 360.9704 | -331.8452 | 360.9704 | 0
859542.138 | 351.4642 | -332.0345 | 351.4642 | 0
868856.555 | 341.9731 | -331.9661 | 341.9731 | 0
878271.907 | 332.5388 | -331.7437 | 332.5388 | 0
887789.288 | 323.1242 | -331.2761 | 323.1242 | 0
897409.804 | 313.9493 | -330.459 | 313.9493 | 0
907134.573 | 304.7282 | -329.4803 | 304.7282 | 0
916964.724 | 295.6384 | -328.219 | 295.6384 | 0
926901.4 | 286.7297 | -326.6811 | 286.7297 | 0
936945.754 | 277.9194 | -324.7919 | 277.9194 | 0
947098.953 | 269.1912 | -322.7008 | 269.1912 | 0
957362.178 | 260.7036 | -320.35 | 260.7036 | 0
967736.62 | 252.4356 | -317.7335 | 252.4356 | 0
978223.484 | 244.3314 | -314.7817 | 244.3314 | 0
988823.99 | 236.4049 | -311.6836 | 236.4049 | 0
999539.367 | 228.7682 | -308.4013 | 228.7682 | 0
1010370.861 | 221.3912 | -304.8586 | 221.3912 | 0
1021319.731 | 214.3355 | -301.1607 | 214.3355 | 0
1032387.248 | 207.3944 | -297.3125 | 207.3944 | 0
1043574.698 | 200.8249 | -293.2889 | 200.8249 | 0
1054883.381 | 194.5041 | -289.0839 | 194.5041 | 0
1066314.61 | 188.3993 | -284.8154 | 188.3993 | 0
1077869.714 | 182.5862 | -280.4954 | 182.5862 | 0
1089550.034 | 177.0576 | -276.0527 | 177.0576 | 0
1101356.928 | 171.7613 | -271.533 | 171.7613 | 0
1113291.767 | 166.7472 | -266.972 | 166.7472 | 0
1125355.937 | 161.979 | -262.3743 | 161.979 | 0
1137550.841 | 157.4489 | -257.7595 | 157.4489 | 0
1149877.895 | 153.2218 | -253.0664 | 153.2218 | 0
1162338.531 | 149.0803 | -248.4937 | 149.0803 | 0
1174934.196 | 145.2066 | -243.8111 | 145.2066 | 0
1187666.354 | 141.6155 | -239.2018 | 141.6155 | 0
1200536.484 | 138.2212 | -234.5612 | 138.2212 | 0
1213546.081 | 135.0235 | -229.9872 | 135.0235 | 0
1226696.656 | 131.99 | -225.3836 | 131.99 | 0
1239989.738 | 129.1548 | -220.8795 | 129.1548 | 0
1253426.869 | 126.4899 | -216.3944 | 126.4899 | 0
1267009.612 | 124.0323 | -211.9409 | 124.0323 | 0
1280739.544 | 121.6891 | -207.5117 | 121.6891 | 0
1294618.26 | 119.5499 | -203.178 | 119.5499 | 0
1308647.373 | 117.5703 | -198.8841 | 117.5703 | 0
1322828.512 | 115.7006 | -194.6653 | 115.7006 | 0
1337163.325 | 114.0063 | -190.469 | 114.0063 | 0
1351653.477 | 112.4563 | -186.3505 | 112.4563 | 0
1366300.651 | 111.0451 | -182.2802 | 111.0451 | 0
1381106.549 | 109.7158 | -178.307 | 109.7158 | 0
1396072.891 | 108.5331 | -174.3649 | 108.5331 | 0
1411201.415 | 107.4892 | -170.5022 | 107.4892 | 0
1426493.88 | 106.5389 | -166.73 | 106.5389 | 0
1441952.061 | 105.7504 | -162.9683 | 105.7504 | 0
1457577.754 | 104.9798 | -159.3333 | 104.9798 | 0
1473372.775 | 104.4022 | -155.7175 | 104.4022 | 0
1489338.959 | 103.8869 | -152.2646 | 103.8869 | 0
1505478.16 | 103.5038 | -148.7929 | 103.5038 | 0
1521792.253 | 103.1872 | -145.4406 | 103.1872 | 0
1538283.134 | 102.9993 | -142.1665 | 102.9993 | 0
1554952.717 | 102.8507 | -138.9288 | 102.8507 | 0
1571802.941 | 102.8615 | -135.8091 | 102.8615 | 0
1588835.762 | 102.91 | -132.7766 | 102.91 | 0
1606053.158 | 103.0698 | -129.8225 | 103.0698 | 0
1623457.131 | 103.2848 | -126.9293 | 103.2848 | 0
1641049.702 | 103.598 | -124.1626 | 103.598 | 0
1658832.914 | 104 | -121.4393 | 104 | 0
1676808.834 | 104.4469 | -118.8613 | 104.4469 | 0
1694979.549 | 104.9724 | -116.3941 | 104.9724 | 0
1713347.172 | 105.5461 | -113.9834 | 105.5461 | 0
1731913.834 | 106.1988 | -111.6809 | 106.1988 | 0
1750681.695 | 106.9193 | -109.4914 | 106.9193 | 0
1769652.932 | 107.6669 | -107.4455 | 107.6669 | 0
1788829.752 | 108.4866 | -105.5035 | 108.4866 | 0
1808214.38 | 109.3421 | -103.6453 | 109.3421 | 0
1827809.07 | 110.2296 | -101.915 | 110.2296 | 0
1847616.098 | 111.1345 | -100.3365 | 111.1345 | 0
1867637.764 | 112.0748 | -98.8643 | 112.0748 | 0
1887876.395 | 113.0231 | -97.5241 | 113.0231 | 0
1908334.341 | 113.9733 | -96.326 | 113.9733 | 0
1929013.98 | 114.9282 | -95.2531 | 114.9282 | 0
1949917.713 | 115.8434 | -94.328 | 115.8434 | 0
1971047.969 | 116.7608 | -93.5103 | 116.7608 | 0
1992407.203 | 117.6112 | -92.8043 | 117.6112 | 0
2013997.896 | 118.4233 | -92.2669 | 118.4233 | 0
2035822.556 | 119.1849 | -91.8084 | 119.1849 | 0
2057883.719 | 119.8687 | -91.5164 | 119.8687 | 0
2080183.947 | 120.4711 | -91.2788 | 120.4711 | 0
2102725.832 | 120.9758 | -91.1624 | 120.9758 | 0
2125511.991 | 121.3817 | -91.1393 | 121.3817 | 0
2148545.072 | 121.6578 | -91.1926 | 121.6578 | 0
2171827.751 | 121.8368 | -91.3008 | 121.8368 | 0
2195362.732 | 121.8941 | -91.4499 | 121.8941 | 0
2219152.75 | 121.816 | -91.6682 | 121.816 | 0
2243200.568 | 121.6039 | -91.8612 | 121.6039 | 0
2267508.979 | 121.25 | -92.0904 | 121.25 | 0
2292080.809 | 120.7831 | -92.2724 | 120.7831 | 0
2316918.911 | 120.1923 | -92.4437 | 120.1923 | 0
2342026.17 | 119.4891 | -92.563 | 119.4891 | 0
2367405.504 | 118.68 | -92.6107 | 118.68 | 0
2393059.861 | 117.7409 | -92.6076 | 117.7409 | 0
2418992.221 | 116.7419 | -92.5191 | 116.7419 | 0
2445205.597 | 115.6942 | -92.321 | 115.6942 | 0
2471703.033 | 114.5518 | -92.0384 | 114.5518 | 0
2498487.609 | 113.39 | -91.6453 | 113.39 | 0
2525562.435 | 112.2066 | -91.158 | 112.2066 | 0
2552930.657 | 110.9583 | -90.567 | 110.9583 | 0
2580595.454 | 109.76 | -89.8599 | 109.76 | 0
2608560.041 | 108.5424 | -89.045 | 108.5424 | 0
2636827.666 | 107.3547 | -88.1383 | 107.3547 | 0
2665401.612 | 106.2187 | -87.1365 | 106.2187 | 0
2694285.2 | 105.1236 | -86.0584 | 105.1236 | 0
2723481.784 | 104.0842 | -84.8969 | 104.0842 | 0
2752994.756 | 103.0981 | -83.6446 | 103.0981 | 0
2782827.546 | 102.1841 | -82.3649 | 102.1841 | 0
2812983.618 | 101.3302 | -81.0352 | 101.3302 | 0
2843466.476 | 100.5775 | -79.6414 | 100.5775 | 0
2874279.66 | 99.8752 | -78.2136 | 99.8752 | 0
2905426.752 | 99.2813 | -76.7726 | 99.2813 | 0
2936911.369 | 98.7601 | -75.3178 | 98.7601 | 0
2968737.168 | 98.2998 | -73.8451 | 98.2998 | 0
3000907.847 | 97.9236 | -72.3866 | 97.9236 | 0
3033427.143 | 97.6315 | -70.9339 | 97.6315 | 0
3066298.834 | 97.4044 | -69.4945 | 97.4044 | 0
3099526.739 | 97.2613 | -68.055 | 97.2613 | 0
3133114.717 | 97.1796 | -66.68 | 97.1796 | 0
3167066.671 | 97.158 | -65.3033 | 97.158 | 0
3201386.545 | 97.2061 | -63.9917 | 97.2061 | 0
3236078.326 | 97.2703 | -62.6847 | 97.2703 | 0
3271146.044 | 97.4062 | -61.4306 | 97.4062 | 0
3306593.772 | 97.588 | -60.2373 | 97.588 | 0
3342425.63 | 97.7995 | -59.0807 | 97.7995 | 0
3378645.779 | 98.0507 | -57.9571 | 98.0507 | 0
3415258.427 | 98.3218 | -56.877 | 98.3218 | 0
3452267.827 | 98.6161 | -55.8836 | 98.6161 | 0
3489678.279 | 98.9303 | -54.8946 | 98.9303 | 0
3527494.129 | 99.2585 | -53.9697 | 99.2585 | 0
3565719.77 | 99.6052 | -53.0834 | 99.6052 | 0
3604359.643 | 99.9669 | -52.2473 | 99.9669 | 0
3643418.236 | 100.3288 | -51.448 | 100.3288 | 0
3682900.087 | 100.6988 | -50.7227 | 100.6988 | 0
3722809.783 | 101.0634 | -50.0171 | 101.0634 | 0
3763151.959 | 101.4217 | -49.3523 | 101.4217 | 0
3803931.303 | 101.7733 | -48.7385 | 101.7733 | 0
3845152.552 | 102.1061 | -48.1547 | 102.1061 | 0
3886820.494 | 102.4396 | -47.6166 | 102.4396 | 0
3928939.97 | 102.7519 | -47.1067 | 102.7519 | 0
3971515.874 | 103.0394 | -46.6447 | 103.0394 | 0
4014553.15 | 103.2999 | -46.1896 | 103.2999 | 0
4058056.8 | 103.5347 | -45.763 | 103.5347 | 0
4102031.876 | 103.7298 | -45.3588 | 103.7298 | 0
4146483.487 | 103.9033 | -44.9687 | 103.9033 | 0
4191416.798 | 104.0409 | -44.5864 | 104.0409 | 0
4236837.027 | 104.1382 | -44.2004 | 104.1382 | 0
4282749.453 | 104.2133 | -43.8131 | 104.2133 | 0
4329159.408 | 104.2331 | -43.4218 | 104.2331 | 0
4376072.284 | 104.2325 | -43.0022 | 104.2325 | 0
4423493.53 | 104.1853 | -42.5523 | 104.1853 | 0
4471428.656 | 104.132 | -42.059 | 104.132 | 0
4519883.231 | 104.0571 | -41.523 | 104.0571 | 0
4568862.882 | 103.9539 | -40.9459 | 103.9539 | 0
4618373.301 | 103.8636 | -40.3143 | 103.8636 | 0
4668420.24 | 103.7873 | -39.6404 | 103.7873 | 0
4719009.511 | 103.7242 | -38.8705 | 103.7242 | 0
4770146.991 | 103.681 | -38.0627 | 103.681 | 0
4821838.623 | 103.6761 | -37.1877 | 103.6761 | 0
4874090.41 | 103.7219 | -36.2571 | 103.7219 | 0
4926908.423 | 103.8354 | -35.2599 | 103.8354 | 0
4980298.798 | 104.0127 | -34.2296 | 104.0127 | 0
5034267.736 | 104.2371 | -33.1303 | 104.2371 | 0
5088821.509 | 104.5896 | -31.9946 | 104.5896 | 0
5143966.452 | 105.0461 | -30.8425 | 105.0461 | 0
5199708.973 | 105.6187 | -29.6644 | 105.6187 | 0
5256055.547 | 106.3163 | -28.4761 | 106.3163 | 0
5313012.72 | 107.129 | -27.3041 | 107.129 | 0
5370587.108 | 108.0929 | -26.123 | 108.0929 | 0
5428785.401 | 109.1844 | -25.0139 | 109.1844 | 0
5487614.358 | 110.4208 | -23.9369 | 110.4208 | 0
5547080.815 | 111.806 | -22.9404 | 111.806 | 0
5607191.679 | 113.316 | -22.0378 | 113.316 | 0
5667953.934 | 114.9703 | -21.2316 | 114.9703 | 0
5729374.638 | 116.735 | -20.5578 | 116.735 | 0
5791460.926 | 118.6196 | -20.0314 | 118.6196 | 0
5854220.012 | 120.5943 | -19.6629 | 120.5943 | 0
5917659.186 | 122.6744 | -19.4559 | 122.6744 | 0
5981785.817 | 124.8129 | -19.4294 | 124.8129 | 0
6046607.356 | 127.0228 | -19.5762 | 127.0228 | 0
6112131.333 | 129.296 | -19.9202 | 129.296 | 0
6178365.359 | 131.6206 | -20.5253 | 131.6206 | 0
6245317.129 | 133.9854 | -21.3498 | 133.9854 | 0
6312994.421 | 136.3062 | -22.4441 | 136.3062 | 0
6381405.098 | 138.5687 | -23.7916 | 138.5687 | 0
6450557.105 | 140.7775 | -25.4348 | 140.7775 | 0
6520458.478 | 142.8651 | -27.3302 | 142.8651 | 0
6591117.335 | 144.7964 | -29.5006 | 144.7964 | 0
6662541.887 | 146.5303 | -31.9072 | 146.5303 | 0
6734740.429 | 148.0146 | -34.5492 | 148.0146 | 0
6807721.35 | 149.2483 | -37.3727 | 149.2483 | 0
6881493.128 | 150.169 | -40.3822 | 150.169 | 0
6956064.332 | 150.7671 | -43.4654 | 150.7671 | 0
7031443.627 | 151.037 | -46.6408 | 151.037 | 0
7107639.768 | 150.9444 | -49.8389 | 150.9444 | 0
7184661.607 | 150.4838 | -52.9932 | 150.4838 | 0
7262518.093 | 149.7082 | -56.0535 | 149.7082 | 0
7341218.269 | 148.5972 | -58.9796 | 148.5972 | 0
7420771.279 | 147.1973 | -61.7108 | 147.1973 | 0
7501186.364 | 145.5643 | -64.2249 | 145.5643 | 0
7582472.866 | 143.696 | -66.4661 | 143.696 | 0
7664640.227 | 141.7076 | -68.4209 | 141.7076 | 0
7747697.994 | 139.5855 | -70.1064 | 139.5855 | 0
7831655.816 | 137.4208 | -71.5139 | 137.4208 | 0
7916523.445 | 135.2235 | -72.6526 | 135.2235 | 0
8002310.742 | 133.035 | -73.5038 | 133.035 | 0
8089027.671 | 130.8951 | -74.0711 | 130.8951 | 0
8176684.307 | 128.861 | -74.3915 | 128.861 | 0
8265290.832 | 126.9587 | -74.4517 | 126.9587 | 0
8354857.541 | 125.2453 | -74.2794 | 125.2453 | 0
8445394.839 | 123.8092 | -73.9523 | 123.8092 | 0
8536913.243 | 122.6343 | -73.5737 | 122.6343 | 0
8629423.384 | 121.6607 | -73.135 | 121.6607 | 0
8722936.011 | 120.9483 | -72.7002 | 120.9483 | 0
8817461.986 | 120.4636 | -72.2864 | 120.4636 | 0
8913012.29 | 120.1974 | -71.9501 | 120.1974 | 0
9009598.024 | 120.1724 | -71.7257 | 120.1724 | 0
9107230.407 | 120.3434 | -71.6421 | 120.3434 | 0
9205920.783 | 120.6856 | -71.7782 | 120.6856 | 0
9305680.615 | 121.1858 | -72.1193 | 121.1858 | 0
9406521.494 | 121.7823 | -72.7515 | 121.7823 | 0
9508455.133 | 122.45 | -73.6868 | 122.45 | 0
9611493.375 | 123.1091 | -74.9056 | 123.1091 | 0
9715648.189 | 123.6943 | -76.49 | 123.6943 | 0
9820931.676 | 124.1315 | -78.382 | 124.1315 | 0
9927356.065 | 124.4293 | -80.5741 | 124.4293 | 0
10034933.721 | 124.4291 | -83.0447 | 124.4291 | 0
10143677.141 | 124.1211 | -85.7529 | 124.1211 | 0
10253598.957 | 123.4684 | -88.6173 | 123.4684 | 0
10364711.94 | 122.4221 | -91.5944 | 122.4221 | 0
10477028.997 | 120.97 | -94.6051 | 120.97 | 0
10590563.176 | 119.1041 | -97.597 | 119.1041 | 0
10705327.666 | 116.8531 | -100.486 | 116.8531 | 0
10821335.801 | 114.1697 | -103.2043 | 114.1697 | 0
10938601.056 | 111.2143 | -105.6987 | 111.2143 | 0
11057137.054 | 107.9343 | -107.9217 | 107.9343 | 0
11176957.566 | 104.3872 | -109.8375 | 104.3872 | 0
11298076.511 | 100.6866 | -111.4106 | 100.6866 | 0
11420507.96 | 96.8294 | -112.653 | 96.8294 | 0
11544266.136 | 92.8995 | -113.5258 | 92.8995 | 0
11669365.415 | 88.9498 | -114.0585 | 88.9498 | 0
11795820.331 | 84.9985 | -114.2433 | 84.9985 | 0
11923645.574 | 81.1804 | -114.1127 | 81.1804 | 0
12052855.993 | 77.4527 | -113.7524 | 77.4527 | 0
12183466.6 | 73.8097 | -113.1815 | 73.8097 | 0
12315492.566 | 70.3055 | -112.3797 | 70.3055 | 0
12448949.23 | 66.9231 | -111.3959 | 66.9231 | 0
12583852.095 | 63.6793 | -110.2581 | 63.6793 | 0
12720216.834 | 60.577 | -108.9651 | 60.577 | 0
12858059.286 | 57.6326 | -107.5808 | 57.6326 | 0
12997395.467 | 54.8157 | -106.0765 | 54.8157 | 0
13138241.562 | 52.153 | -104.4995 | 52.153 | 0
13280613.934 | 49.6032 | -102.8524 | 49.6032 | 0
13424529.122 | 47.1926 | -101.1311 | 47.1926 | 0
13570003.846 | 44.899 | -99.3747 | 44.899 | 0
13717055.004 | 42.7277 | -97.5747 | 42.7277 | 0
13865699.679 | 40.6645 | -95.7372 | 40.6645 | 0
14015955.141 | 38.7157 | -93.8643 | 38.7157 | 0
14167838.844 | 36.8537 | -91.9742 | 36.8537 | 0
14321368.433 | 35.1082 | -90.0611 | 35.1082 | 0
14476561.742 | 33.4685 | -88.1303 | 33.4685 | 0
14633436.802 | 31.921 | -86.1894 | 31.921 | 0
14792011.837 | 30.4606 | -84.2415 | 30.4606 | 0
14952305.267 | 29.1059 | -82.2904 | 29.1059 | 0
15114335.715 | 27.8331 | -80.3553 | 27.8331 | 0
15278122.004 | 26.6448 | -78.4204 | 26.6448 | 0
15443683.161 | 25.5335 | -76.4941 | 25.5335 | 0
15611038.419 | 24.4994 | -74.5807 | 24.4994 | 0
15780207.219 | 23.5539 | -72.681 | 23.5539 | 0
15951209.215 | 22.6779 | -70.8139 | 22.6779 | 0
16124064.272 | 21.8745 | -68.9764 | 21.8745 | 0
16298792.471 | 21.1348 | -67.184 | 21.1348 | 0
16475414.109 | 20.3968 | -65.4292 | 20.3968 | 0
16653949.704 | 19.6955 | -63.6607 | 19.6955 | 0
16834419.999 | 19.0408 | -61.8777 | 19.0408 | 0
17016845.957 | 18.4718 | -60.0647 | 18.4718 | 0
17201248.771 | 18.0038 | -58.2743 | 18.0038 | 0
17387649.865 | 17.634 | -56.4985 | 17.634 | 0
17576070.891 | 17.3974 | -54.7564 | 17.3974 | 0
17766533.738 | 17.3453 | -53.1045 | 17.3453 | 0
17959060.534 | 17.47 | -51.6757 | 17.47 | 0
18153673.644 | 17.6751 | -50.6181 | 17.6751 | 0
18350395.676 | 17.5914 | -50.0271 | 17.5914 | 0
18549249.483 | 16.9045 | -49.5173 | 16.9045 | 0
18750258.167 | 15.7919 | -48.6341 | 15.7919 | 0
18953445.079 | 14.6466 | -47.2816 | 14.6466 | 0
19158833.823 | 13.7469 | -45.6224 | 13.7469 | 0
19366448.26 | 13.1327 | -43.8844 | 13.1327 | 0
19576312.507 | 12.7185 | -42.1911 | 12.7185 | 0
19788450.945 | 12.4285 | -40.5732 | 12.4285 | 0
20002888.218 | 12.1984 | -39.0374 | 12.1984 | 0
20219649.238 | 12.0134 | -37.5795 | 12.0134 | 0
20438759.186 | 11.8719 | -36.1848 | 11.8719 | 0
20660243.516 | 11.7947 | -34.8734 | 11.7947 | 0
20884127.957 | 11.7372 | -33.7379 | 11.7372 | 0
21110438.52 | 11.5082 | -32.7763 | 11.5082 | 0
21339201.493 | 11.0237 | -31.7503 | 11.0237 | 0
21570443.453 | 10.4555 | -30.5138 | 10.4555 | 0
21804191.264 | 9.9732 | -29.1247 | 9.9732 | 0
22040472.079 | 9.6117 | -27.6843 | 9.6117 | 0
22279313.348 | 9.3601 | -26.2643 | 9.3601 | 0
22520742.818 | 9.1612 | -24.9058 | 9.1612 | 0
22764788.534 | 8.9639 | -23.6108 | 8.9639 | 0
23011478.848 | 8.7347 | -22.3407 | 8.7347 | 0
23260842.419 | 8.4808 | -21.0576 | 8.4808 | 0
23512908.214 | 8.2259 | -19.7525 | 8.2259 | 0
23767705.517 | 7.9929 | -18.4301 | 7.9929 | 0
24025263.927 | 7.772 | -17.0968 | 7.772 | 0
24285613.366 | 7.5791 | -15.7685 | 7.5791 | 0
24548784.077 | 7.3888 | -14.445 | 7.3888 | 0
24814806.635 | 7.2034 | -13.1194 | 7.2034 | 0
25083711.942 | 7.0324 | -11.7778 | 7.0324 | 0
25355531.237 | 6.8763 | -10.4434 | 6.8763 | 0
25630296.099 | 6.7242 | -9.1124 | 6.7242 | 0
25908038.446 | 6.5746 | -7.7739 | 6.5746 | 0
26188790.544 | 6.4371 | -6.4333 | 6.4371 | 0
26472585.009 | 6.2999 | -5.095 | 6.2999 | 0
26759454.808 | 6.1566 | -3.7495 | 6.1566 | 0
27049433.268 | 6.0052 | -2.3853 | 6.0052 | 0
27342554.075 | 5.8602 | -0.99121 | 5.8602 | 0
27638851.282 | 5.7348 | 0.42592 | 5.7348 | 0
27938359.31 | 5.6336 | 1.8589 | 5.6336 | 0
28241112.952 | 5.5555 | 3.2953 | 5.5555 | 0
28547147.38 | 5.4856 | 4.7282 | 5.4856 | 0
28856498.145 | 5.4178 | 6.1687 | 5.4178 | 0
29169201.186 | 5.3489 | 7.6184 | 5.3489 | 0
29485292.829 | 5.2816 | 9.0826 | 5.2816 | 0
29804809.795 | 5.2025 | 10.5707 | 5.2025 | 0
30127789.202 | 5.1219 | 12.104 | 5.1219 | 0
30454268.571 | 5.0695 | 13.6834 | 5.0695 | 0
30784285.828 | 5.0507 | 15.2901 | 5.0507 | 0
31117879.314 | 5.0582 | 16.917 | 5.0582 | 0
31455087.78 | 5.0934 | 18.5593 | 5.0934 | 0
31795950.401 | 5.1443 | 20.2176 | 5.1443 | 0
32140506.776 | 5.2174 | 21.8989 | 5.2174 | 0
32488796.93 | 5.308 | 23.6065 | 5.308 | 0
32840861.326 | 5.4173 | 25.3368 | 5.4173 | 0
33196740.864 | 5.5426 | 27.102 | 5.5426 | 0
33556476.884 | 5.6996 | 28.9088 | 5.6996 | 0
33920111.179 | 5.8905 | 30.748 | 5.8905 | 0
34287685.992 | 6.1269 | 32.628 | 6.1269 | 0
34659244.025 | 6.4187 | 34.5322 | 6.4187 | 0
35034828.441 | 6.767 | 36.4553 | 6.767 | 0
35414482.872 | 7.1697 | 38.3836 | 7.1697 | 0
35798251.423 | 7.6414 | 40.3006 | 7.6414 | 0
36186178.677 | 8.1507 | 42.1483 | 8.1507 | 0
36578309.699 | 8.6215 | 43.9197 | 8.6215 | 0
36974690.043 | 8.9472 | 45.696 | 8.9472 | 0
37375365.757 | 9.1566 | 47.6371 | 9.1566 | 0
37780383.389 | 9.3689 | 49.812 | 9.3689 | 0
38189789.988 | 9.7762 | 52.1918 | 9.7762 | 0
38603633.116 | 10.432 | 54.6038 | 10.432 | 0
39021960.849 | 11.2582 | 56.9124 | 11.2582 | 0
39444821.785 | 12.1229 | 59.0776 | 12.1229 | 0
39872265.048 | 12.8872 | 61.1542 | 12.8872 | 0
40304340.294 | 13.4747 | 63.2595 | 13.4747 | 0
40741097.717 | 13.9001 | 65.5948 | 13.9001 | 0
41182588.056 | 14.3503 | 68.327 | 14.3503 | 0
41628862.598 | 15.132 | 71.3996 | 15.132 | 0
42079973.189 | 16.3376 | 74.5489 | 16.3376 | 0
42535972.233 | 17.8799 | 77.5482 | 17.8799 | 0
42996912.705 | 19.6061 | 80.3216 | 19.6061 | 0
43462848.151 | 21.3213 | 82.8437 | 21.3213 | 0
43933832.701 | 22.8198 | 85.2751 | 22.8198 | 0
44409921.068 | 24.0816 | 87.8395 | 24.0816 | 0
44891168.56 | 25.2389 | 90.7462 | 25.2389 | 0
45377631.084 | 26.4081 | 94.0926 | 26.4081 | 0
45869365.152 | 27.8712 | 98.0637 | 27.8712 | 0
46366427.89 | 30.013 | 102.4071 | 30.013 | 0
46868877.041 | 32.8611 | 106.8329 | 32.8611 | 0
47376770.975 | 36.3496 | 111.1475 | 36.3496 | 0
47890168.695 | 40.2268 | 115.6545 | 40.2268 | 0
48409129.842 | 45.2674 | 120.4265 | 45.2674 | 0
48933714.704 | 52.0473 | 124.7254 | 52.0473 | 0
49463984.223 | 60.6608 | 127.7281 | 60.6608 | 0
50000000 | 71.0257 | 127.317 | 71.0257 | 0
TRACE: B
FORMAT: LINEAR
Frequency | Data Real | Data Imag | Data Trace Real | Data Trace Imag
9000 | 1.9351 | 14.4154 | 14.4154 | 0
9097.528 | 1.9592 | 14.5569 | 14.5569 | 0
9196.114 | 1.989 | 14.6998 | 14.6998 | 0
9295.767 | 2.0141 | 14.851 | 14.851 | 0
9396.501 | 2.0417 | 15.0038 | 15.0038 | 0
9498.326 | 2.0678 | 15.1519 | 15.1519 | 0
9601.254 | 2.0965 | 15.3034 | 15.3034 | 0
9705.298 | 2.1283 | 15.4618 | 15.4618 | 0
9810.469 | 2.1585 | 15.6152 | 15.6152 | 0
9916.78 | 2.1855 | 15.7702 | 15.7702 | 0
10024.243 | 2.219 | 15.9275 | 15.9275 | 0
10132.871 | 2.2501 | 16.0823 | 16.0823 | 0
10242.676 | 2.2819 | 16.2532 | 16.2532 | 0
10353.67 | 2.3092 | 16.4102 | 16.4102 | 0
10465.868 | 2.3485 | 16.5763 | 16.5763 | 0
10579.281 | 2.3722 | 16.7448 | 16.7448 | 0
10693.923 | 2.4109 | 16.9092 | 16.9092 | 0
10809.808 | 2.4437 | 17.076 | 17.076 | 0
10926.948 | 2.477 | 17.2471 | 17.2471 | 0
11045.358 | 2.5161 | 17.4185 | 17.4185 | 0
11165.051 | 2.5448 | 17.5941 | 17.5941 | 0
11286.041 | 2.5844 | 17.7681 | 17.7681 | 0
11408.342 | 2.6202 | 17.9441 | 17.9441 | 0
11531.968 | 2.6563 | 18.1295 | 18.1295 | 0
11656.934 | 2.6935 | 18.3088 | 18.3088 | 0
11783.254 | 2.7331 | 18.4878 | 18.4878 | 0
11910.943 | 2.7675 | 18.6733 | 18.6733 | 0
12040.016 | 2.8112 | 18.8641 | 18.8641 | 0
12170.487 | 2.8502 | 19.0478 | 19.0478 | 0
12302.373 | 2.8868 | 19.2352 | 19.2352 | 0
12435.687 | 2.9329 | 19.4278 | 19.4278 | 0
12570.446 | 2.9782 | 19.6231 | 19.6231 | 0
12706.666 | 3.0168 | 19.8201 | 19.8201 | 0
12844.361 | 3.0635 | 20.0168 | 20.0168 | 0
12983.549 | 3.1068 | 20.2089 | 20.2089 | 0
13124.245 | 3.1566 | 20.4124 | 20.4124 | 0
13266.466 | 3.1924 | 20.6107 | 20.6107 | 0
13410.228 | 3.2399 | 20.8223 | 20.8223 | 0
13555.548 | 3.2873 | 21.0264 | 21.0264 | 0
13702.442 | 3.3351 | 21.2308 | 21.2308 | 0
13850.928 | 3.375 | 21.4498 | 21.4498 | 0
14001.024 | 3.4263 | 21.6564 | 21.6564 | 0
14152.746 | 3.4783 | 21.868 | 21.868 | 0
14306.112 | 3.5236 | 22.085 | 22.085 | 0
14461.14 | 3.5789 | 22.3012 | 22.3012 | 0
14617.848 | 3.6261 | 22.5209 | 22.5209 | 0
14776.254 | 3.6834 | 22.741 | 22.741 | 0
14936.376 | 3.738 | 22.9695 | 22.9695 | 0
15098.234 | 3.7815 | 23.1968 | 23.1968 | 0
15261.846 | 3.8398 | 23.4228 | 23.4228 | 0
15427.231 | 3.8951 | 23.653 | 23.653 | 0
15594.408 | 3.952 | 23.8902 | 23.8902 | 0
15763.396 | 4.0073 | 24.1194 | 24.1194 | 0
15934.216 | 4.0672 | 24.3628 | 24.3628 | 0
16106.887 | 4.1246 | 24.5987 | 24.5987 | 0
16281.429 | 4.1853 | 24.8423 | 24.8423 | 0
16457.863 | 4.242 | 25.0817 | 25.0817 | 0
16636.208 | 4.3089 | 25.332 | 25.332 | 0
16816.486 | 4.3716 | 25.574 | 25.574 | 0
16998.718 | 4.4271 | 25.8307 | 25.8307 | 0
17182.924 | 4.501 | 26.0798 | 26.0798 | 0
17369.127 | 4.5596 | 26.334 | 26.334 | 0
17557.347 | 4.6267 | 26.6015 | 26.6015 | 0
17747.607 | 4.6972 | 26.8476 | 26.8476 | 0
17939.929 | 4.7694 | 27.1194 | 27.1194 | 0
18134.334 | 4.8349 | 27.3856 | 27.3856 | 0
18330.847 | 4.9024 | 27.6493 | 27.6493 | 0
18529.489 | 4.9724 | 27.9153 | 27.9153 | 0
18730.283 | 5.042 | 28.1945 | 28.1945 | 0
18933.254 | 5.122 | 28.4591 | 28.4591 | 0
19138.424 | 5.1957 | 28.7403 | 28.7403 | 0
19345.817 | 5.2722 | 29.0172 | 29.0172 | 0
19555.458 | 5.3465 | 29.3004 | 29.3004 | 0
19767.37 | 5.4241 | 29.5824 | 29.5824 | 0
19981.579 | 5.5052 | 29.8716 | 29.8716 | 0
20198.109 | 5.5877 | 30.1578 | 30.1578 | 0
20416.986 | 5.6706 | 30.4549 | 30.4549 | 0
20638.234 | 5.752 | 30.7472 | 30.7472 | 0
20861.88 | 5.8315 | 31.0402 | 31.0402 | 0
21087.949 | 5.9132 | 31.3442 | 31.3442 | 0
21316.469 | 6.0049 | 31.642 | 31.642 | 0
21547.464 | 6.0873 | 31.9482 | 31.9482 | 0
21780.963 | 6.1834 | 32.2606 | 32.2606 | 0
22016.992 | 6.2741 | 32.5727 | 32.5727 | 0
22255.579 | 6.3707 | 32.8751 | 32.8751 | 0
22496.751 | 6.4584 | 33.1971 | 33.1971 | 0
22740.537 | 6.5559 | 33.5178 | 33.5178 | 0
22986.964 | 6.6516 | 33.8286 | 33.8286 | 0
23236.062 | 6.7415 | 34.1632 | 34.1632 | 0
23487.86 | 6.8537 | 34.4876 | 34.4876 | 0
23742.386 | 6.9412 | 34.8189 | 34.8189 | 0
23999.67 | 7.0476 | 35.151 | 35.151 | 0
24259.742 | 7.1526 | 35.4869 | 35.4869 | 0
24522.632 | 7.2583 | 35.8134 | 35.8134 | 0
24788.371 | 7.3668 | 36.1619 | 36.1619 | 0
25056.99 | 7.4687 | 36.5074 | 36.5074 | 0
25328.52 | 7.5893 | 36.8509 | 36.8509 | 0
25602.992 | 7.6853 | 37.2005 | 37.2005 | 0
25880.438 | 7.8026 | 37.5518 | 37.5518 | 0
26160.891 | 7.916 | 37.9113 | 37.9113 | 0
26444.383 | 8.0319 | 38.2762 | 38.2762 | 0
26730.948 | 8.1521 | 38.6308 | 38.6308 | 0
27020.617 | 8.2741 | 39.0048 | 39.0048 | 0
27313.426 | 8.3854 | 39.3652 | 39.3652 | 0
27609.407 | 8.5233 | 39.7326 | 39.7326 | 0
27908.596 | 8.6333 | 40.1074 | 40.1074 | 0
28211.027 | 8.7755 | 40.4806 | 40.4806 | 0
28516.736 | 8.888 | 40.8705 | 40.8705 | 0
28825.757 | 9.0275 | 41.2552 | 41.2552 | 0
29138.127 | 9.1566 | 41.6323 | 41.6323 | 0
29453.882 | 9.2977 | 42.0261 | 42.0261 | 0
29773.058 | 9.425 | 42.4208 | 42.4208 | 0
30095.694 | 9.5552 | 42.8184 | 42.8184 | 0
30421.825 | 9.7027 | 43.2204 | 43.2204 | 0
30751.491 | 9.8446 | 43.6251 | 43.6251 | 0
31084.729 | 9.9914 | 44.0299 | 44.0299 | 0
31421.578 | 10.1326 | 44.4353 | 44.4353 | 0
31762.078 | 10.2921 | 44.8469 | 44.8469 | 0
32106.267 | 10.4319 | 45.2651 | 45.2651 | 0
32454.186 | 10.5789 | 45.6793 | 45.6793 | 0
32805.876 | 10.7281 | 46.1007 | 46.1007 | 0
33161.376 | 10.9051 | 46.5351 | 46.5351 | 0
33520.729 | 11.045 | 46.9586 | 46.9586 | 0
33883.976 | 11.1972 | 47.3881 | 47.3881 | 0
34251.159 | 11.368 | 47.8323 | 47.8323 | 0
34622.321 | 11.5428 | 48.2632 | 48.2632 | 0
34997.505 | 11.6962 | 48.7103 | 48.7103 | 0
35376.755 | 11.8616 | 49.1538 | 49.1538 | 0
35760.115 | 12.0226 | 49.6104 | 49.6104 | 0
36147.629 | 12.207 | 50.0735 | 50.0735 | 0
36539.342 | 12.3906 | 50.513 | 50.513 | 0
36935.301 | 12.5606 | 50.9738 | 50.9738 | 0
37335.549 | 12.7389 | 51.4467 | 51.4467 | 0
37740.136 | 12.9138 | 51.9104 | 51.9104 | 0
38149.106 | 13.102 | 52.3823 | 52.3823 | 0
38562.508 | 13.2955 | 52.8629 | 52.8629 | 0
38980.39 | 13.4876 | 53.3443 | 53.3443 | 0
39402.801 | 13.658 | 53.8248 | 53.8248 | 0
39829.789 | 13.8663 | 54.3099 | 54.3099 | 0
40261.404 | 14.0549 | 54.807 | 54.807 | 0
40697.696 | 14.26 | 55.2975 | 55.2975 | 0
41138.716 | 14.4658 | 55.7964 | 55.7964 | 0
41584.515 | 14.6737 | 56.2872 | 56.2872 | 0
42035.145 | 14.8919 | 56.7989 | 56.7989 | 0
42490.658 | 15.1038 | 57.2952 | 57.2952 | 0
42951.108 | 15.3032 | 57.8252 | 57.8252 | 0
43416.547 | 15.5119 | 58.3537 | 58.3537 | 0
43887.03 | 15.7445 | 58.8685 | 58.8685 | 0
44362.611 | 15.9677 | 59.3795 | 59.3795 | 0
44843.346 | 16.1759 | 59.9208 | 59.9208 | 0
45329.29 | 16.4169 | 60.4398 | 60.4398 | 0
45820.5 | 16.6445 | 60.9837 | 60.9837 | 0
46317.033 | 16.8806 | 61.5113 | 61.5113 | 0
46818.947 | 17.0972 | 62.0676 | 62.0676 | 0
47326.3 | 17.3486 | 62.5965 | 62.5965 | 0
47839.151 | 17.606 | 63.1496 | 63.1496 | 0
48357.559 | 17.8185 | 63.6998 | 63.6998 | 0
48881.585 | 18.073 | 64.2516 | 64.2516 | 0
49411.29 | 18.3031 | 64.8174 | 64.8174 | 0
49946.734 | 18.5555 | 65.3952 | 65.3952 | 0
50487.982 | 18.7875 | 65.9733 | 65.9733 | 0
51035.094 | 19.0419 | 66.5585 | 66.5585 | 0
51588.135 | 19.3128 | 67.1358 | 67.1358 | 0
52147.169 | 19.5809 | 67.7326 | 67.7326 | 0
52712.261 | 19.841 | 68.3303 | 68.3303 | 0
53283.477 | 20.1141 | 68.9314 | 68.9314 | 0
53860.882 | 20.3905 | 69.5426 | 69.5426 | 0
54444.545 | 20.6438 | 70.1446 | 70.1446 | 0
55034.533 | 20.924 | 70.7493 | 70.7493 | 0
55630.914 | 21.2107 | 71.3713 | 71.3713 | 0
56233.757 | 21.4991 | 71.9844 | 71.9844 | 0
56843.134 | 21.7937 | 72.6144 | 72.6144 | 0
57459.113 | 22.0778 | 73.2554 | 73.2554 | 0
58081.768 | 22.3693 | 73.8918 | 73.8918 | 0
58711.171 | 22.6751 | 74.5301 | 74.5301 | 0
59347.393 | 22.9668 | 75.1713 | 75.1713 | 0
59990.511 | 23.2875 | 75.8142 | 75.8142 | 0
60640.597 | 23.5871 | 76.4779 | 76.4779 | 0
61297.728 | 23.9006 | 77.1369 | 77.1369 | 0
61961.98 | 24.2256 | 77.8012 | 77.8012 | 0
62633.43 | 24.5262 | 78.4736 | 78.4736 | 0
63312.156 | 24.8539 | 79.1606 | 79.1606 | 0
63998.238 | 25.1956 | 79.8427 | 79.8427 | 0
64691.754 | 25.5179 | 80.5059 | 80.5059 | 0
65392.785 | 25.8479 | 81.2146 | 81.2146 | 0
66101.413 | 26.191 | 81.902 | 81.902 | 0
66817.72 | 26.5344 | 82.6168 | 82.6168 | 0
67541.789 | 26.8847 | 83.314 | 83.314 | 0
68273.705 | 27.2183 | 84.0214 | 84.0214 | 0
69013.552 | 27.6015 | 84.7419 | 84.7419 | 0
69761.416 | 27.9532 | 85.477 | 85.477 | 0
70517.385 | 28.3082 | 86.1954 | 86.1954 | 0
71281.546 | 28.6685 | 86.9393 | 86.9393 | 0
72053.987 | 29.0504 | 87.6822 | 87.6822 | 0
72834.799 | 29.4099 | 88.4401 | 88.4401 | 0
73624.072 | 29.7957 | 89.1886 | 89.1886 | 0
74421.899 | 30.1883 | 89.946 | 89.946 | 0
75228.371 | 30.5766 | 90.701 | 90.701 | 0
76043.582 | 30.9608 | 91.4917 | 91.4917 | 0
76867.627 | 31.346 | 92.2621 | 92.2621 | 0
77700.602 | 31.765 | 93.0571 | 93.0571 | 0
78542.603 | 32.1423 | 93.8612 | 93.8612 | 0
79393.729 | 32.5808 | 94.6416 | 94.6416 | 0
80254.078 | 32.9797 | 95.4528 | 95.4528 | 0
81123.75 | 33.3906 | 96.2836 | 96.2836 | 0
82002.847 | 33.825 | 97.0948 | 97.0948 | 0
82891.47 | 34.2539 | 97.9109 | 97.9109 | 0
83789.722 | 34.7062 | 98.7498 | 98.7498 | 0
84697.708 | 35.1515 | 99.5833 | 99.5833 | 0
85615.534 | 35.5802 | 100.4421 | 100.4421 | 0
86543.305 | 36.0233 | 101.2965 | 101.2965 | 0
87481.13 | 36.4754 | 102.1564 | 102.1564 | 0
88429.118 | 36.9634 | 103.019 | 103.019 | 0
89387.379 | 37.4095 | 103.8833 | 103.8833 | 0
90356.024 | 37.8825 | 104.7669 | 104.7669 | 0
91335.166 | 38.3704 | 105.6612 | 105.6612 | 0
92324.919 | 38.8549 | 106.5593 | 106.5593 | 0
93325.396 | 39.3363 | 107.4829 | 107.4829 | 0
94336.716 | 39.8259 | 108.4159 | 108.4159 | 0
95358.994 | 40.343 | 109.3281 | 109.3281 | 0
96392.35 | 40.8087 | 110.2703 | 110.2703 | 0
97436.905 | 41.355 | 111.2031 | 111.2031 | 0
98492.779 | 41.8354 | 112.1452 | 112.1452 | 0
99560.094 | 42.4061 | 113.0976 | 113.0976 | 0
100638.976 | 42.9491 | 114.0701 | 114.0701 | 0
101729.549 | 43.5118 | 115.0421 | 115.0421 | 0
102831.939 | 44 | 116.0424 | 116.0424 | 0
103946.276 | 44.5679 | 117.0453 | 117.0453 | 0
105072.689 | 45.1243 | 118.0258 | 118.0258 | 0
106211.307 | 45.6919 | 119.0378 | 119.0378 | 0
107362.265 | 46.289 | 120.049 | 120.049 | 0
108525.694 | 46.8788 | 121.1083 | 121.1083 | 0
109701.732 | 47.4565 | 122.1381 | 122.1381 | 0
110890.513 | 48.0473 | 123.1702 | 123.1702 | 0
112092.176 | 48.6534 | 124.2445 | 124.2445 | 0
113306.862 | 49.28 | 125.3277 | 125.3277 | 0
114534.71 | 49.909 | 126.3965 | 126.3965 | 0
115775.864 | 50.5684 | 127.4675 | 127.4675 | 0
117030.467 | 51.2162 | 128.5625 | 128.5625 | 0
118298.666 | 51.8381 | 129.7004 | 129.7004 | 0
119580.608 | 52.5135 | 130.8206 | 130.8206 | 0
120876.442 | 53.1648 | 131.9521 | 131.9521 | 0
122186.318 | 53.8563 | 133.0802 | 133.0802 | 0
123510.388 | 54.5608 | 134.2359 | 134.2359 | 0
124848.807 | 55.25 | 135.3981 | 135.3981 | 0
126201.729 | 55.9675 | 136.5706 | 136.5706 | 0
127569.312 | 56.6592 | 137.7876 | 137.7876 | 0
128951.715 | 57.4229 | 138.9807 | 138.9807 | 0
130349.099 | 58.1706 | 140.1734 | 140.1734 | 0
131761.625 | 58.9252 | 141.4018 | 141.4018 | 0
133189.458 | 59.6612 | 142.6379 | 142.6379 | 0
134632.764 | 60.4603 | 143.8995 | 143.8995 | 0
136091.71 | 61.2658 | 145.1353 | 145.1353 | 0
137566.466 | 62.0697 | 146.4422 | 146.4422 | 0
139057.203 | 62.8698 | 147.7175 | 147.7175 | 0
140564.094 | 63.7026 | 149.007 | 149.007 | 0
142087.315 | 64.5408 | 150.3265 | 150.3265 | 0
143627.042 | 65.4026 | 151.6521 | 151.6521 | 0
145183.455 | 66.2886 | 152.9829 | 152.9829 | 0
146756.733 | 67.1389 | 154.3512 | 154.3512 | 0
148347.061 | 67.9995 | 155.7344 | 155.7344 | 0
149954.621 | 68.95 | 157.0742 | 157.0742 | 0
151579.603 | 69.8982 | 158.4813 | 158.4813 | 0
153222.193 | 70.8109 | 159.8941 | 159.8941 | 0
154882.583 | 71.7894 | 161.3087 | 161.3087 | 0
156560.966 | 72.7879 | 162.7516 | 162.7516 | 0
158257.537 | 73.7428 | 164.2238 | 164.2238 | 0
159972.492 | 74.7961 | 165.6747 | 165.6747 | 0
161706.032 | 75.7829 | 167.1727 | 167.1727 | 0
163458.357 | 76.8454 | 168.6948 | 168.6948 | 0
165229.671 | 77.925 | 170.2013 | 170.2013 | 0
167020.18 | 79.0344 | 171.7425 | 171.7425 | 0
168830.092 | 80.12 | 173.3055 | 173.3055 | 0
170659.617 | 81.2691 | 174.829 | 174.829 | 0
172508.968 | 82.3783 | 176.4589 | 176.4589 | 0
174378.359 | 83.5515 | 178.0405 | 178.0405 | 0
176268.007 | 84.7551 | 179.6913 | 179.6913 | 0
178178.133 | 86.0061 | 181.3016 | 181.3016 | 0
180108.958 | 87.2168 | 182.9461 | 182.9461 | 0
182060.706 | 88.4967 | 184.6229 | 184.6229 | 0
184033.605 | 89.7645 | 186.3151 | 186.3151 | 0
186027.882 | 91.0899 | 188.0273 | 188.0273 | 0
188043.771 | 92.4324 | 189.7537 | 189.7537 | 0
190081.504 | 93.7733 | 191.5472 | 191.5472 | 0
192141.32 | 95.2225 | 193.2355 | 193.2355 | 0
194223.457 | 96.6471 | 195.0672 | 195.0672 | 0
196328.157 | 98.0687 | 196.8556 | 196.8556 | 0
198455.664 | 99.5858 | 198.7042 | 198.7042 | 0
200606.226 | 101.1053 | 200.5436 | 200.5436 | 0
202780.093 | 102.7068 | 202.3975 | 202.3975 | 0
204977.516 | 104.254 | 204.2915 | 204.2915 | 0
207198.752 | 105.8519 | 206.2034 | 206.2034 | 0
209444.059 | 107.5396 | 208.1245 | 208.1245 | 0
211713.696 | 109.2375 | 210.0811 | 210.0811 | 0
214007.929 | 110.9686 | 212.0388 | 212.0388 | 0
216327.023 | 112.7271 | 214.0451 | 214.0451 | 0
218671.247 | 114.5683 | 216.0749 | 216.0749 | 0
221040.875 | 116.3572 | 218.1212 | 218.1212 | 0
223436.182 | 118.28 | 220.1613 | 220.1613 | 0
225857.445 | 120.2242 | 222.2455 | 222.2455 | 0
228304.946 | 122.217 | 224.3613 | 224.3613 | 0
230778.969 | 124.2527 | 226.4619 | 226.4619 | 0
233279.802 | 126.3922 | 228.6592 | 228.6592 | 0
235807.736 | 128.4875 | 230.8557 | 230.8557 | 0
238363.063 | 130.642 | 233.0602 | 233.0602 | 0
240946.081 | 132.8828 | 235.2994 | 235.2994 | 0
243557.09 | 135.2395 | 237.5429 | 237.5429 | 0
246196.393 | 137.5826 | 239.7919 | 239.7919 | 0
248864.297 | 140.0135 | 242.0956 | 242.0956 | 0
251561.111 | 142.4848 | 244.4323 | 244.4323 | 0
254287.15 | 145.0498 | 246.8133 | 246.8133 | 0
257042.729 | 147.637 | 249.1972 | 249.1972 | 0
259828.169 | 150.3319 | 251.5884 | 251.5884 | 0
262643.793 | 153.1155 | 254.0049 | 254.0049 | 0
265489.929 | 156.0001 | 256.4155 | 256.4155 | 0
268366.907 | 158.9352 | 258.8966 | 258.8966 | 0
271275.061 | 161.9307 | 261.4116 | 261.4116 | 0
274214.729 | 164.9961 | 263.9532 | 263.9532 | 0
277186.254 | 168.2204 | 266.4907 | 266.4907 | 0
280189.979 | 171.4593 | 269.0605 | 269.0605 | 0
283226.253 | 174.8974 | 271.6025 | 271.6025 | 0
286295.431 | 178.3106 | 274.2479 | 274.2479 | 0
289397.867 | 181.9039 | 276.8849 | 276.8849 | 0
292533.923 | 185.5063 | 279.5038 | 279.5038 | 0
295703.963 | 189.4254 | 282.1398 | 282.1398 | 0
298908.355 | 193.314 | 284.8102 | 284.8102 | 0
302147.471 | 197.3018 | 287.5132 | 287.5132 | 0
305421.688 | 201.4395 | 290.2008 | 290.2008 | 0
308731.386 | 205.8253 | 292.9077 | 292.9077 | 0
312076.949 | 210.1799 | 295.6447 | 295.6447 | 0
315458.767 | 214.7301 | 298.5005 | 298.5005 | 0
318877.231 | 219.5053 | 301.1915 | 301.1915 | 0
322332.74 | 224.3877 | 303.9791 | 303.9791 | 0
325825.694 | 229.4558 | 306.6495 | 306.6495 | 0
329356.5 | 234.6576 | 309.411 | 309.411 | 0
332925.567 | 239.9842 | 312.131 | 312.131 | 0
336533.31 | 245.7359 | 314.8636 | 314.8636 | 0
340180.149 | 251.3624 | 317.5385 | 317.5385 | 0
343866.506 | 257.3516 | 320.2686 | 320.2686 | 0
347592.811 | 263.5734 | 322.793 | 322.793 | 0
351359.495 | 269.918 | 325.5157 | 325.5157 | 0
355166.998 | 276.5309 | 328.0688 | 328.0688 | 0
359015.76 | 283.4158 | 330.5997 | 330.5997 | 0
362906.229 | 290.5525 | 332.9778 | 332.9778 | 0
366838.858 | 297.8632 | 335.4499 | 335.4499 | 0
370814.102 | 305.5967 | 337.5739 | 337.5739 | 0
374832.424 | 313.5428 | 339.7554 | 339.7554 | 0
378894.29 | 321.6326 | 341.8683 | 341.8683 | 0
383000.173 | 330.1226 | 343.8498 | 343.8498 | 0
387150.549 | 338.9551 | 345.5371 | 345.5371 | 0
391345.9 | 348.0433 | 347.1666 | 347.1666 | 0
395586.715 | 357.4853 | 348.7236 | 348.7236 | 0
399873.485 | 367.2341 | 349.9135 | 349.9135 | 0
404206.708 | 377.3007 | 350.9708 | 350.9708 | 0
408586.888 | 387.8025 | 351.6259 | 351.6259 | 0
413014.535 | 398.6364 | 352.0806 | 352.0806 | 0
417490.161 | 409.7494 | 352.2454 | 352.2454 | 0
422014.287 | 421.3833 | 352.0074 | 352.0074 | 0
426587.439 | 433.1815 | 351.4943 | 351.4943 | 0
431210.148 | 445.5454 | 350.4481 | 350.4481 | 0
435882.951 | 458.2487 | 348.9153 | 348.9153 | 0
440606.39 | 471.1861 | 346.9168 | 346.9168 | 0
445381.015 | 484.4848 | 344.3812 | 344.3812 | 0
450207.38 | 498.1837 | 341.1652 | 341.1652 | 0
455086.046 | 512.1914 | 337.3533 | 337.3533 | 0
460017.58 | 526.4288 | 332.74 | 332.74 | 0
465002.554 | 541.0657 | 327.3606 | 327.3606 | 0
470041.548 | 555.7572 | 321.1362 | 321.1362 | 0
475135.147 | 570.632 | 314.0436 | 314.0436 | 0
480283.942 | 585.6598 | 306.0799 | 306.0799 | 0
485488.532 | 600.6703 | 297.1142 | 297.1142 | 0
490749.522 | 615.6892 | 286.948 | 286.948 | 0
496067.522 | 630.5638 | 275.8421 | 275.8421 | 0
501443.151 | 645.2805 | 263.4625 | 263.4625 | 0
506877.033 | 659.6058 | 249.9699 | 249.9699 | 0
512369.799 | 673.443 | 235.3737 | 235.3737 | 0
517922.087 | 686.8234 | 219.6455 | 219.6455 | 0
523534.542 | 699.394 | 202.7281 | 202.7281 | 0
529207.817 | 711.1304 | 184.5912 | 184.5912 | 0
534942.57 | 721.8744 | 165.2994 | 165.2994 | 0
540739.468 | 731.6077 | 145.0807 | 145.0807 | 0
546599.184 | 740.0006 | 124.0163 | 124.0163 | 0
552522.398 | 747.0281 | 102.1323 | 102.1323 | 0
558509.8 | 752.7284 | 79.5012 | 79.5012 | 0
564562.083 | 756.6783 | 56.2336 | 56.2336 | 0
570679.952 | 759.0708 | 32.8078 | 32.8078 | 0
576864.118 | 759.8218 | 9.0629 | 9.0629 | 0
583115.298 | 758.7689 | -14.5115 | -14.5115 | 0
589434.219 | 756.1345 | -38.0204 | -38.0204 | 0
595821.614 | 751.8315 | -61.2312 | -61.2312 | 0
602278.227 | 745.9237 | -83.9028 | -83.9028 | 0
608804.807 | 738.5059 | -105.6858 | -105.6858 | 0
615402.111 | 729.7299 | -126.7432 | -126.7432 | 0
622070.908 | 719.5847 | -146.72 | -146.72 | 0
628811.971 | 708.4352 | -165.5993 | -165.5993 | 0
635626.083 | 696.145 | -183.4202 | -183.4202 | 0
642514.036 | 683.2432 | -199.8781 | -199.8781 | 0
649476.63 | 669.6344 | -215.1331 | -215.1331 | 0
656514.675 | 655.3546 | -229.2038 | -229.2038 | 0
663628.987 | 640.8379 | -241.9462 | -241.9462 | 0
670820.393 | 626.1763 | -253.3496 | -253.3496 | 0
678089.729 | 611.3425 | -263.6063 | -263.6063 | 0
685437.839 | 596.5416 | -272.8957 | -272.8957 | 0
692865.577 | 581.8542 | -280.942 | -280.942 | 0
700373.805 | 567.3651 | -288.2191 | -288.2191 | 0
707963.396 | 553.1484 | -294.4216 | -294.4216 | 0
715635.231 | 539.2675 | -299.8587 | -299.8587 | 0
723390.203 | 525.7579 | -304.5522 | -304.5522 | 0
731229.21 | 512.5824 | -308.6667 | -308.6667 | 0
739153.166 | 499.7812 | -312.3096 | -312.3096 | 0
747162.989 | 487.4777 | -315.3627 | -315.3627 | 0
755259.61 | 475.4193 | -318.1143 | -318.1143 | 0
763443.97 | 463.7702 | -320.4549 | -320.4549 | 0
771717.02 | 452.5267 | -322.4292 | -322.4292 | 0
780079.721 | 441.5121 | -324.1476 | -324.1476 | 0
788533.044 | 430.847 | -325.7067 | -325.7067 | 0
797077.971 | 420.4259 | -327.0893 | -327.0893 | 0
805715.496 | 410.1326 | -328.2642 | -328.2642 | 0
814446.62 | 400.03 | -329.364 | -329.364 | 0
823272.36 | 390.1235 | -330.2494 | -330.2494 | 0
832193.739 | 380.2884 | -330.9512 | -330.9512 | 0
841211.795 | 370.6538 | -331.4305 | -331.4305 | 0
850327.575 | 360.9704 | -331.8452 | -331.8452 | 0
859542.138 | 351.4642 | -332.0345 | -332.0345 | 0
868856.555 | 341.9731 | -331.9661 | -331.9661 | 0
878271.907 | 332.5388 | -331.7437 | -331.7437 | 0
887789.288 | 323.1242 | -331.2761 | -331.2761 | 0
897409.804 | 313.9493 | -330.459 | -330.459 | 0
907134.573 | 304.7282 | -329.4803 | -329.4803 | 0
916964.724 | 295.6384 | -328.219 | -328.219 | 0
926901.4 | 286.7297 | -326.6811 | -326.6811 | 0
936945.754 | 277.9194 | -324.7919 | -324.7919 | 0
947098.953 | 269.1912 | -322.7008 | -322.7008 | 0
957362.178 | 260.7036 | -320.35 | -320.35 | 0
967736.62 | 252.4356 | -317.7335 | -317.7335 | 0
978223.484 | 244.3314 | -314.7817 | -314.7817 | 0
988823.99 | 236.4049 | -311.6836 | -311.6836 | 0
999539.367 | 228.7682 | -308.4013 | -308.4013 | 0
1010370.861 | 221.3912 | -304.8586 | -304.8586 | 0
1021319.731 | 214.3355 | -301.1607 | -301.1607 | 0
1032387.248 | 207.3944 | -297.3125 | -297.3125 | 0
1043574.698 | 200.8249 | -293.2889 | -293.2889 | 0
1054883.381 | 194.5041 | -289.0839 | -289.0839 | 0
1066314.61 | 188.3993 | -284.8154 | -284.8154 | 0
1077869.714 | 182.5862 | -280.4954 | -280.4954 | 0
1089550.034 | 177.0576 | -276.0527 | -276.0527 | 0
1101356.928 | 171.7613 | -271.533 | -271.533 | 0
1113291.767 | 166.7472 | -266.972 | -266.972 | 0
1125355.937 | 161.979 | -262.3743 | -262.3743 | 0
1137550.841 | 157.4489 | -257.7595 | -257.7595 | 0
1149877.895 | 153.2218 | -253.0664 | -253.0664 | 0
1162338.531 | 149.0803 | -248.4937 | -248.4937 | 0
1174934.196 | 145.2066 | -243.8111 | -243.8111 | 0
1187666.354 | 141.6155 | -239.2018 | -239.2018 | 0
1200536.484 | 138.2212 | -234.5612 | -234.5612 | 0
1213546.081 | 135.0235 | -229.9872 | -229.9872 | 0
1226696.656 | 131.99 | -225.3836 | -225.3836 | 0
1239989.738 | 129.1548 | -220.8795 | -220.8795 | 0
1253426.869 | 126.4899 | -216.3944 | -216.3944 | 0
1267009.612 | 124.0323 | -211.9409 | -211.9409 | 0
1280739.544 | 121.6891 | -207.5117 | -207.5117 | 0
1294618.26 | 119.5499 | -203.178 | -203.178 | 0
1308647.373 | 117.5703 | -198.8841 | -198.8841 | 0
1322828.512 | 115.7006 | -194.6653 | -194.6653 | 0
1337163.325 | 114.0063 | -190.469 | -190.469 | 0
1351653.477 | 112.4563 | -186.3505 | -186.3505 | 0
1366300.651 | 111.0451 | -182.2802 | -182.2802 | 0
1381106.549 | 109.7158 | -178.307 | -178.307 | 0
1396072.891 | 108.5331 | -174.3649 | -174.3649 | 0
1411201.415 | 107.4892 | -170.5022 | -170.5022 | 0
1426493.88 | 106.5389 | -166.73 | -166.73 | 0
1441952.061 | 105.7504 | -162.9683 | -162.9683 | 0
1457577.754 | 104.9798 | -159.3333 | -159.3333 | 0
1473372.775 | 104.4022 | -155.7175 | -155.7175 | 0
1489338.959 | 103.8869 | -152.2646 | -152.2646 | 0
1505478.16 | 103.5038 | -148.7929 | -148.7929 | 0
1521792.253 | 103.1872 | -145.4406 | -145.4406 | 0
1538283.134 | 102.9993 | -142.1665 | -142.1665 | 0
1554952.717 | 102.8507 | -138.9288 | -138.9288 | 0
1571802.941 | 102.8615 | -135.8091 | -135.8091 | 0
1588835.762 | 102.91 | -132.7766 | -132.7766 | 0
1606053.158 | 103.0698 | -129.8225 | -129.8225 | 0
1623457.131 | 103.2848 | -126.9293 | -126.9293 | 0
1641049.702 | 103.598 | -124.1626 | -124.1626 | 0
1658832.914 | 104 | -121.4393 | -121.4393 | 0
1676808.834 | 104.4469 | -118.8613 | -118.8613 | 0
1694979.549 | 104.9724 | -116.3941 | -116.3941 | 0
1713347.172 | 105.5461 | -113.9834 | -113.9834 | 0
1731913.834 | 106.1988 | -111.6809 | -111.6809 | 0
1750681.695 | 106.9193 | -109.4914 | -109.4914 | 0
1769652.932 | 107.6669 | -107.4455 | -107.4455 | 0
1788829.752 | 108.4866 | -105.5035 | -105.5035 | 0
1808214.38 | 109.3421 | -103.6453 | -103.6453 | 0
1827809.07 | 110.2296 | -101.915 | -101.915 | 0
1847616.098 | 111.1345 | -100.3365 | -100.3365 | 0
1867637.764 | 112.0748 | -98.8643 | -98.8643 | 0
1887876.395 | 113.0231 | -97.5241 | -97.5241 | 0
1908334.341 | 113.9733 | -96.326 | -96.326 | 0
1929013.98 | 114.9282 | -95.2531 | -95.2531 | 0
1949917.713 | 115.8434 | -94.328 | -94.328 | 0
1971047.969 | 116.7608 | -93.5103 | -93.5103 | 0
1992407.203 | 117.6112 | -92.8043 | -92.8043 | 0
2013997.896 | 118.4233 | -92.2669 | -92.2669 | 0
2035822.556 | 119.1849 | -91.8084 | -91.8084 | 0
2057883.719 | 119.8687 | -91.5164 | -91.5164 | 0
2080183.947 | 120.4711 | -91.2788 | -91.2788 | 0
2102725.832 | 120.9758 | -91.1624 | -91.1624 | 0
2125511.991 | 121.3817 | -91.1393 | -91.1393 | 0
2148545.072 | 121.6578 | -91.1926 | -91.1926 | 0
2171827.751 | 121.8368 | -91.3008 | -91.3008 | 0
2195362.732 | 121.8941 | -91.4499 | -91.4499 | 0
2219152.75 | 121.816 | -91.6682 | -91.6682 | 0
2243200.568 | 121.6039 | -91.8612 | -91.8612 | 0
2267508.979 | 121.25 | -92.0904 | -92.0904 | 0
2292080.809 | 120.7831 | -92.2724 | -92.2724 | 0
2316918.911 | 120.1923 | -92.4437 | -92.4437 | 0
2342026.17 | 119.4891 | -92.563 | -92.563 | 0
2367405.504 | 118.68 | -92.6107 | -92.6107 | 0
2393059.861 | 117.7409 | -92.6076 | -92.6076 | 0
2418992.221 | 116.7419 | -92.5191 | -92.5191 | 0
2445205.597 | 115.6942 | -92.321 | -92.321 | 0
2471703.033 | 114.5518 | -92.0384 | -92.0384 | 0
2498487.609 | 113.39 | -91.6453 | -91.6453 | 0
2525562.435 | 112.2066 | -91.158 | -91.158 | 0
2552930.657 | 110.9583 | -90.567 | -90.567 | 0
2580595.454 | 109.76 | -89.8599 | -89.8599 | 0
2608560.041 | 108.5424 | -89.045 | -89.045 | 0
2636827.666 | 107.3547 | -88.1383 | -88.1383 | 0
2665401.612 | 106.2187 | -87.1365 | -87.1365 | 0
2694285.2 | 105.1236 | -86.0584 | -86.0584 | 0
2723481.784 | 104.0842 | -84.8969 | -84.8969 | 0
2752994.756 | 103.0981 | -83.6446 | -83.6446 | 0
2782827.546 | 102.1841 | -82.3649 | -82.3649 | 0
2812983.618 | 101.3302 | -81.0352 | -81.0352 | 0
2843466.476 | 100.5775 | -79.6414 | -79.6414 | 0
2874279.66 | 99.8752 | -78.2136 | -78.2136 | 0
2905426.752 | 99.2813 | -76.7726 | -76.7726 | 0
2936911.369 | 98.7601 | -75.3178 | -75.3178 | 0
2968737.168 | 98.2998 | -73.8451 | -73.8451 | 0
3000907.847 | 97.9236 | -72.3866 | -72.3866 | 0
3033427.143 | 97.6315 | -70.9339 | -70.9339 | 0
3066298.834 | 97.4044 | -69.4945 | -69.4945 | 0
3099526.739 | 97.2613 | -68.055 | -68.055 | 0
3133114.717 | 97.1796 | -66.68 | -66.68 | 0
3167066.671 | 97.158 | -65.3033 | -65.3033 | 0
3201386.545 | 97.2061 | -63.9917 | -63.9917 | 0
3236078.326 | 97.2703 | -62.6847 | -62.6847 | 0
3271146.044 | 97.4062 | -61.4306 | -61.4306 | 0
3306593.772 | 97.588 | -60.2373 | -60.2373 | 0
3342425.63 | 97.7995 | -59.0807 | -59.0807 | 0
3378645.779 | 98.0507 | -57.9571 | -57.9571 | 0
3415258.427 | 98.3218 | -56.877 | -56.877 | 0
3452267.827 | 98.6161 | -55.8836 | -55.8836 | 0
3489678.279 | 98.9303 | -54.8946 | -54.8946 | 0
3527494.129 | 99.2585 | -53.9697 | -53.9697 | 0
3565719.77 | 99.6052 | -53.0834 | -53.0834 | 0
3604359.643 | 99.9669 | -52.2473 | -52.2473 | 0
3643418.236 | 100.3288 | -51.448 | -51.448 | 0
3682900.087 | 100.6988 | -50.7227 | -50.7227 | 0
3722809.783 | 101.0634 | -50.0171 | -50.0171 | 0
3763151.959 | 101.4217 | -49.3523 | -49.3523 | 0
3803931.303 | 101.7733 | -48.7385 | -48.7385 | 0
3845152.552 | 102.1061 | -48.1547 | -48.1547 | 0
3886820.494 | 102.4396 | -47.6166 | -47.6166 | 0
3928939.97 | 102.7519 | -47.1067 | -47.1067 | 0
3971515.874 | 103.0394 | -46.6447 | -46.6447 | 0
4014553.15 | 103.2999 | -46.1896 | -46.1896 | 0
4058056.8 | 103.5347 | -45.763 | -45.763 | 0
4102031.876 | 103.7298 | -45.3588 | -45.3588 | 0
4146483.487 | 103.9033 | -44.9687 | -44.9687 | 0
4191416.798 | 104.0409 | -44.5864 | -44.5864 | 0
4236837.027 | 104.1382 | -44.2004 | -44.2004 | 0
4282749.453 | 104.2133 | -43.8131 | -43.8131 | 0
4329159.408 | 104.2331 | -43.4218 | -43.4218 | 0
4376072.284 | 104.2325 | -43.0022 | -43.0022 | 0
4423493.53 | 104.1853 | -42.5523 | -42.5523 | 0
4471428.656 | 104.132 | -42.059 | -42.059 | 0
4519883.231 | 104.0571 | -41.523 | -41.523 | 0
4568862.882 | 103.9539 | -40.9459 | -40.9459 | 0
4618373.301 | 103.8636 | -40.3143 | -40.3143 | 0
4668420.24 | 103.7873 | -39.6404 | -39.6404 | 0
4719009.511 | 103.7242 | -38.8705 | -38.8705 | 0
4770146.991 | 103.681 | -38.0627 | -38.0627 | 0
4821838.623 | 103.6761 | -37.1877 | -37.1877 | 0
4874090.41 | 103.7219 | -36.2571 | -36.2571 | 0
4926908.423 | 103.8354 | -35.2599 | -35.2599 | 0
4980298.798 | 104.0127 | -34.2296 | -34.2296 | 0
5034267.736 | 104.2371 | -33.1303 | -33.1303 | 0
5088821.509 | 104.5896 | -31.9946 | -31.9946 | 0
5143966.452 | 105.0461 | -30.8425 | -30.8425 | 0
5199708.973 | 105.6187 | -29.6644 | -29.6644 | 0
5256055.547 | 106.3163 | -28.4761 | -28.4761 | 0
5313012.72 | 107.129 | -27.3041 | -27.3041 | 0
5370587.108 | 108.0929 | -26.123 | -26.123 | 0
5428785.401 | 109.1844 | -25.0139 | -25.0139 | 0
5487614.358 | 110.4208 | -23.9369 | -23.9369 | 0
5547080.815 | 111.806 | -22.9404 | -22.9404 | 0
5607191.679 | 113.316 | -22.0378 | -22.0378 | 0
5667953.934 | 114.9703 | -21.2316 | -21.2316 | 0
5729374.638 | 116.735 | -20.5578 | -20.5578 | 0
5791460.926 | 118.6196 | -20.0314 | -20.0314 | 0
5854220.012 | 120.5943 | -19.6629 | -19.6629 | 0
5917659.186 | 122.6744 | -19.4559 | -19.4559 | 0
5981785.817 | 124.8129 | -19.4294 | -19.4294 | 0
6046607.356 | 127.0228 | -19.5762 | -19.5762 | 0
6112131.333 | 129.296 | -19.9202 | -19.9202 | 0
6178365.359 | 131.6206 | -20.5253 | -20.5253 | 0
6245317.129 | 133.9854 | -21.3498 | -21.3498 | 0
6312994.421 | 136.3062 | -22.4441 | -22.4441 | 0
6381405.098 | 138.5687 | -23.7916 | -23.7916 | 0
6450557.105 | 140.7775 | -25.4348 | -25.4348 | 0
6520458.478 | 142.8651 | -27.3302 | -27.3302 | 0
6591117.335 | 144.7964 | -29.5006 | -29.5006 | 0
6662541.887 | 146.5303 | -31.9072 | -31.9072 | 0
6734740.429 | 148.0146 | -34.5492 | -34.5492 | 0
6807721.35 | 149.2483 | -37.3727 | -37.3727 | 0
6881493.128 | 150.169 | -40.3822 | -40.3822 | 0
6956064.332 | 150.7671 | -43.4654 | -43.4654 | 0
7031443.627 | 151.037 | -46.6408 | -46.6408 | 0
7107639.768 | 150.9444 | -49.8389 | -49.8389 | 0
7184661.607 | 150.4838 | -52.9932 | -52.9932 | 0
7262518.093 | 149.7082 | -56.0535 | -56.0535 | 0
7341218.269 | 148.5972 | -58.9796 | -58.9796 | 0
7420771.279 | 147.1973 | -61.7108 | -61.7108 | 0
7501186.364 | 145.5643 | -64.2249 | -64.2249 | 0
7582472.866 | 143.696 | -66.4661 | -66.4661 | 0
7664640.227 | 141.7076 | -68.4209 | -68.4209 | 0
7747697.994 | 139.5855 | -70.1064 | -70.1064 | 0
7831655.816 | 137.4208 | -71.5139 | -71.5139 | 0
7916523.445 | 135.2235 | -72.6526 | -72.6526 | 0
8002310.742 | 133.035 | -73.5038 | -73.5038 | 0
8089027.671 | 130.8951 | -74.0711 | -74.0711 | 0
8176684.307 | 128.861 | -74.3915 | -74.3915 | 0
8265290.832 | 126.9587 | -74.4517 | -74.4517 | 0
8354857.541 | 125.2453 | -74.2794 | -74.2794 | 0
8445394.839 | 123.8092 | -73.9523 | -73.9523 | 0
8536913.243 | 122.6343 | -73.5737 | -73.5737 | 0
8629423.384 | 121.6607 | -73.135 | -73.135 | 0
8722936.011 | 120.9483 | -72.7002 | -72.7002 | 0
8817461.986 | 120.4636 | -72.2864 | -72.2864 | 0
8913012.29 | 120.1974 | -71.9501 | -71.9501 | 0
9009598.024 | 120.1724 | -71.7257 | -71.7257 | 0
9107230.407 | 120.3434 | -71.6421 | -71.6421 | 0
9205920.783 | 120.6856 | -71.7782 | -71.7782 | 0
9305680.615 | 121.1858 | -72.1193 | -72.1193 | 0
9406521.494 | 121.7823 | -72.7515 | -72.7515 | 0
9508455.133 | 122.45 | -73.6868 | -73.6868 | 0
9611493.375 | 123.1091 | -74.9056 | -74.9056 | 0
9715648.189 | 123.6943 | -76.49 | -76.49 | 0
9820931.676 | 124.1315 | -78.382 | -78.382 | 0
9927356.065 | 124.4293 | -80.5741 | -80.5741 | 0
10034933.721 | 124.4291 | -83.0447 | -83.0447 | 0
10143677.141 | 124.1211 | -85.7529 | -85.7529 | 0
10253598.957 | 123.4684 | -88.6173 | -88.6173 | 0
10364711.94 | 122.4221 | -91.5944 | -91.5944 | 0
10477028.997 | 120.97 | -94.6051 | -94.6051 | 0
10590563.176 | 119.1041 | -97.597 | -97.597 | 0
10705327.666 | 116.8531 | -100.486 | -100.486 | 0
10821335.801 | 114.1697 | -103.2043 | -103.2043 | 0
10938601.056 | 111.2143 | -105.6987 | -105.6987 | 0
11057137.054 | 107.9343 | -107.9217 | -107.9217 | 0
11176957.566 | 104.3872 | -109.8375 | -109.8375 | 0
11298076.511 | 100.6866 | -111.4106 | -111.4106 | 0
11420507.96 | 96.8294 | -112.653 | -112.653 | 0
11544266.136 | 92.8995 | -113.5258 | -113.5258 | 0
11669365.415 | 88.9498 | -114.0585 | -114.0585 | 0
11795820.331 | 84.9985 | -114.2433 | -114.2433 | 0
11923645.574 | 81.1804 | -114.1127 | -114.1127 | 0
12052855.993 | 77.4527 | -113.7524 | -113.7524 | 0
12183466.6 | 73.8097 | -113.1815 | -113.1815 | 0
12315492.566 | 70.3055 | -112.3797 | -112.3797 | 0
12448949.23 | 66.9231 | -111.3959 | -111.3959 | 0
12583852.095 | 63.6793 | -110.2581 | -110.2581 | 0
12720216.834 | 60.577 | -108.9651 | -108.9651 | 0
12858059.286 | 57.6326 | -107.5808 | -107.5808 | 0
12997395.467 | 54.8157 | -106.0765 | -106.0765 | 0
13138241.562 | 52.153 | -104.4995 | -104.4995 | 0
13280613.934 | 49.6032 | -102.8524 | -102.8524 | 0
13424529.122 | 47.1926 | -101.1311 | -101.1311 | 0
13570003.846 | 44.899 | -99.3747 | -99.3747 | 0
13717055.004 | 42.7277 | -97.5747 | -97.5747 | 0
13865699.679 | 40.6645 | -95.7372 | -95.7372 | 0
14015955.141 | 38.7157 | -93.8643 | -93.8643 | 0
14167838.844 | 36.8537 | -91.9742 | -91.9742 | 0
14321368.433 | 35.1082 | -90.0611 | -90.0611 | 0
14476561.742 | 33.4685 | -88.1303 | -88.1303 | 0
14633436.802 | 31.921 | -86.1894 | -86.1894 | 0
14792011.837 | 30.4606 | -84.2415 | -84.2415 | 0
14952305.267 | 29.1059 | -82.2904 | -82.2904 | 0
15114335.715 | 27.8331 | -80.3553 | -80.3553 | 0
15278122.004 | 26.6448 | -78.4204 | -78.4204 | 0
15443683.161 | 25.5335 | -76.4941 | -76.4941 | 0
15611038.419 | 24.4994 | -74.5807 | -74.5807 | 0
15780207.219 | 23.5539 | -72.681 | -72.681 | 0
15951209.215 | 22.6779 | -70.8139 | -70.8139 | 0
16124064.272 | 21.8745 | -68.9764 | -68.9764 | 0
16298792.471 | 21.1348 | -67.184 | -67.184 | 0
16475414.109 | 20.3968 | -65.4292 | -65.4292 | 0
16653949.704 | 19.6955 | -63.6607 | -63.6607 | 0
16834419.999 | 19.0408 | -61.8777 | -61.8777 | 0
17016845.957 | 18.4718 | -60.0647 | -60.0647 | 0
17201248.771 | 18.0038 | -58.2743 | -58.2743 | 0
17387649.865 | 17.634 | -56.4985 | -56.4985 | 0
17576070.891 | 17.3974 | -54.7564 | -54.7564 | 0
17766533.738 | 17.3453 | -53.1045 | -53.1045 | 0
17959060.534 | 17.47 | -51.6757 | -51.6757 | 0
18153673.644 | 17.6751 | -50.6181 | -50.6181 | 0
18350395.676 | 17.5914 | -50.0271 | -50.0271 | 0
18549249.483 | 16.9045 | -49.5173 | -49.5173 | 0
18750258.167 | 15.7919 | -48.6341 | -48.6341 | 0
18953445.079 | 14.6466 | -47.2816 | -47.2816 | 0
19158833.823 | 13.7469 | -45.6224 | -45.6224 | 0
19366448.26 | 13.1327 | -43.8844 | -43.8844 | 0
19576312.507 | 12.7185 | -42.1911 | -42.1911 | 0
19788450.945 | 12.4285 | -40.5732 | -40.5732 | 0
20002888.218 | 12.1984 | -39.0374 | -39.0374 | 0
20219649.238 | 12.0134 | -37.5795 | -37.5795 | 0
20438759.186 | 11.8719 | -36.1848 | -36.1848 | 0
20660243.516 | 11.7947 | -34.8734 | -34.8734 | 0
20884127.957 | 11.7372 | -33.7379 | -33.7379 | 0
21110438.52 | 11.5082 | -32.7763 | -32.7763 | 0
21339201.493 | 11.0237 | -31.7503 | -31.7503 | 0
21570443.453 | 10.4555 | -30.5138 | -30.5138 | 0
21804191.264 | 9.9732 | -29.1247 | -29.1247 | 0
22040472.079 | 9.6117 | -27.6843 | -27.6843 | 0
22279313.348 | 9.3601 | -26.2643 | -26.2643 | 0
22520742.818 | 9.1612 | -24.9058 | -24.9058 | 0
22764788.534 | 8.9639 | -23.6108 | -23.6108 | 0
23011478.848 | 8.7347 | -22.3407 | -22.3407 | 0
23260842.419 | 8.4808 | -21.0576 | -21.0576 | 0
23512908.214 | 8.2259 | -19.7525 | -19.7525 | 0
23767705.517 | 7.9929 | -18.4301 | -18.4301 | 0
24025263.927 | 7.772 | -17.0968 | -17.0968 | 0
24285613.366 | 7.5791 | -15.7685 | -15.7685 | 0
24548784.077 | 7.3888 | -14.445 | -14.445 | 0
24814806.635 | 7.2034 | -13.1194 | -13.1194 | 0
25083711.942 | 7.0324 | -11.7778 | -11.7778 | 0
25355531.237 | 6.8763 | -10.4434 | -10.4434 | 0
25630296.099 | 6.7242 | -9.1124 | -9.1124 | 0
25908038.446 | 6.5746 | -7.7739 | -7.7739 | 0
26188790.544 | 6.4371 | -6.4333 | -6.4333 | 0
26472585.009 | 6.2999 | -5.095 | -5.095 | 0
26759454.808 | 6.1566 | -3.7495 | -3.7495 | 0
27049433.268 | 6.0052 | -2.3853 | -2.3853 | 0
27342554.075 | 5.8602 | -0.99121 | -0.99121 | 0
27638851.282 | 5.7348 | 0.42592 | 0.42592 | 0
27938359.31 | 5.6336 | 1.8589 | 1.8589 | 0
28241112.952 | 5.5555 | 3.2953 | 3.2953 | 0
28547147.38 | 5.4856 | 4.7282 | 4.7282 | 0
28856498.145 | 5.4178 | 6.1687 | 6.1687 | 0
29169201.186 | 5.3489 | 7.6184 | 7.6184 | 0
29485292.829 | 5.2816 | 9.0826 | 9.0826 | 0
29804809.795 | 5.2025 | 10.5707 | 10.5707 | 0
30127789.202 | 5.1219 | 12.104 | 12.104 | 0
30454268.571 | 5.0695 | 13.6834 | 13.6834 | 0
30784285.828 | 5.0507 | 15.2901 | 15.2901 | 0
31117879.314 | 5.0582 | 16.917 | 16.917 | 0
31455087.78 | 5.0934 | 18.5593 | 18.5593 | 0
31795950.401 | 5.1443 | 20.2176 | 20.2176 | 0
32140506.776 | 5.2174 | 21.8989 | 21.8989 | 0
32488796.93 | 5.308 | 23.6065 | 23.6065 | 0
32840861.326 | 5.4173 | 25.3368 | 25.3368 | 0
33196740.864 | 5.5426 | 27.102 | 27.102 | 0
33556476.884 | 5.6996 | 28.9088 | 28.9088 | 0
33920111.179 | 5.8905 | 30.748 | 30.748 | 0
34287685.992 | 6.1269 | 32.628 | 32.628 | 0
34659244.025 | 6.4187 | 34.5322 | 34.5322 | 0
35034828.441 | 6.767 | 36.4553 | 36.4553 | 0
35414482.872 | 7.1697 | 38.3836 | 38.3836 | 0
35798251.423 | 7.6414 | 40.3006 | 40.3006 | 0
36186178.677 | 8.1507 | 42.1483 | 42.1483 | 0
36578309.699 | 8.6215 | 43.9197 | 43.9197 | 0
36974690.043 | 8.9472 | 45.696 | 45.696 | 0
37375365.757 | 9.1566 | 47.6371 | 47.6371 | 0
37780383.389 | 9.3689 | 49.812 | 49.812 | 0
38189789.988 | 9.7762 | 52.1918 | 52.1918 | 0
38603633.116 | 10.432 | 54.6038 | 54.6038 | 0
39021960.849 | 11.2582 | 56.9124 | 56.9124 | 0
39444821.785 | 12.1229 | 59.0776 | 59.0776 | 0
39872265.048 | 12.8872 | 61.1542 | 61.1542 | 0
40304340.294 | 13.4747 | 63.2595 | 63.2595 | 0
40741097.717 | 13.9001 | 65.5948 | 65.5948 | 0
41182588.056 | 14.3503 | 68.327 | 68.327 | 0
41628862.598 | 15.132 | 71.3996 | 71.3996 | 0
42079973.189 | 16.3376 | 74.5489 | 74.5489 | 0
42535972.233 | 17.8799 | 77.5482 | 77.5482 | 0
42996912.705 | 19.6061 | 80.3216 | 80.3216 | 0
43462848.151 | 21.3213 | 82.8437 | 82.8437 | 0
43933832.701 | 22.8198 | 85.2751 | 85.2751 | 0
44409921.068 | 24.0816 | 87.8395 | 87.8395 | 0
44891168.56 | 25.2389 | 90.7462 | 90.7462 | 0
45377631.084 | 26.4081 | 94.0926 | 94.0926 | 0
45869365.152 | 27.8712 | 98.0637 | 98.0637 | 0
46366427.89 | 30.013 | 102.4071 | 102.4071 | 0
46868877.041 | 32.8611 | 106.8329 | 106.8329 | 0
47376770.975 | 36.3496 | 111.1475 | 111.1475 | 0
47890168.695 | 40.2268 | 115.6545 | 115.6545 | 0
48409129.842 | 45.2674 | 120.4265 | 120.4265 | 0
48933714.704 | 52.0473 | 124.7254 | 124.7254 | 0
49463984.223 | 60.6608 | 127.7281 | 127.7281 | 0
50000000 | 71.0257 | 127.317 | 127.317 | 0