## 03-Feb-16 16h 5m 57s
4294A REV1.11
DATE: Feb 3 2016
MEASURE PARAMETER: IMPEDANCE RESISTANCE - REACTANCE
ADAPTER: PROBE
SWEEP TYPE: LOG FREQ
NUMBER of POINTS: 801
POINT DELAY TIME: 0 Sec
SWEEP DELAY TIME: 0 Sec
OSC LEVEL: 500 mVolt
DC BIAS: OFF
BW: 3
SWEEP AVERAGING: OFF
POINT AVERAGING: OFF
TRACE: A
FORMAT: LINEAR
Frequency | Data Real | Data Imag | Data Trace Real | Data Trace Imag
9000 | 344.5635 | -20928.43 | 344.5635 | 0
9097.528 | 341.0533 | -20703.14 | 341.0533 | 0
9196.114 | 330.5186 | -20487.57 | 330.5186 | 0
9295.767 | 328.6146 | -20269.34 | 328.6146 | 0
9396.501 | 324.0533 | -20046.81 | 324.0533 | 0
9498.326 | 319.5366 | -19831.93 | 319.5366 | 0
9601.254 | 313.2778 | -19627.55 | 313.2778 | 0
9705.298 | 312.6906 | -19422.06 | 312.6906 | 0
9810.469 | 307.8251 | -19216.78 | 307.8251 | 0
9916.78 | 300.0473 | -19008.31 | 300.0473 | 0
10024.243 | 298.4748 | -18804.28 | 298.4748 | 0
10132.871 | 289.6617 | -18603.3 | 289.6617 | 0
10242.676 | 294.5544 | -18405.62 | 294.5544 | 0
10353.67 | 295.664 | -18213.92 | 295.664 | 0
10465.868 | 287.7166 | -18015.09 | 287.7166 | 0
10579.281 | 282.1312 | -17828.9 | 282.1312 | 0
10693.923 | 282.553 | -17633.07 | 282.553 | 0
10809.808 | 281.1986 | -17447.93 | 281.1986 | 0
10926.948 | 272.3999 | -17267.11 | 272.3999 | 0
11045.358 | 264.0532 | -17083.16 | 264.0532 | 0
11165.051 | 265.8061 | -16900.45 | 265.8061 | 0
11286.041 | 263.3083 | -16722.7 | 263.3083 | 0
11408.342 | 262.6404 | -16540.94 | 262.6404 | 0
11531.968 | 258.7884 | -16365.49 | 258.7884 | 0
11656.934 | 253.0127 | -16192.79 | 253.0127 | 0
11783.254 | 254.351 | -16018.84 | 254.351 | 0
11910.943 | 252.4903 | -15847.06 | 252.4903 | 0
12040.016 | 244.6106 | -15679.42 | 244.6106 | 0
12170.487 | 245.6513 | -15509.85 | 245.6513 | 0
12302.373 | 240.4281 | -15352.61 | 240.4281 | 0
12435.687 | 235.7985 | -15185.17 | 235.7985 | 0
12570.446 | 231.5249 | -15025.72 | 231.5249 | 0
12706.666 | 230.4149 | -14865.65 | 230.4149 | 0
12844.361 | 230.4912 | -14706.82 | 230.4912 | 0
12983.549 | 221.4457 | -14549.9 | 221.4457 | 0
13124.245 | 220.9697 | -14396.5 | 220.9697 | 0
13266.466 | 220.5064 | -14244.08 | 220.5064 | 0
13410.228 | 213.0568 | -14088.91 | 213.0568 | 0
13555.548 | 212.4719 | -13941.83 | 212.4719 | 0
13702.442 | 216.4723 | -13791.71 | 216.4723 | 0
13850.928 | 210.0481 | -13644.85 | 210.0481 | 0
14001.024 | 209.2792 | -13498.08 | 209.2792 | 0
14152.746 | 207.1083 | -13355.02 | 207.1083 | 0
14306.112 | 202.1572 | -13213.99 | 202.1572 | 0
14461.14 | 199.8287 | -13074.97 | 199.8287 | 0
14617.848 | 197.9249 | -12928.97 | 197.9249 | 0
14776.254 | 193.2614 | -12796.27 | 193.2614 | 0
14936.376 | 193.8953 | -12658.74 | 193.8953 | 0
15098.234 | 192.822 | -12525.69 | 192.822 | 0
15261.846 | 188.5398 | -12391.45 | 188.5398 | 0
15427.231 | 188.08 | -12256.96 | 188.08 | 0
15594.408 | 187.7878 | -12129.37 | 187.7878 | 0
15763.396 | 180.5034 | -12000.11 | 180.5034 | 0
15934.216 | 179.4894 | -11872.55 | 179.4894 | 0
16106.887 | 178.0796 | -11747.13 | 178.0796 | 0
16281.429 | 176.1543 | -11622.02 | 176.1543 | 0
16457.863 | 176.021 | -11496.07 | 176.021 | 0
16636.208 | 176.933 | -11374.22 | 176.933 | 0
16816.486 | 174.041 | -11254.93 | 174.041 | 0
16998.718 | 168.8355 | -11133.96 | 168.8355 | 0
17182.924 | 166.5455 | -11016.07 | 166.5455 | 0
17369.127 | 165.1387 | -10898.63 | 165.1387 | 0
17557.347 | 165.0665 | -10782.76 | 165.0665 | 0
17747.607 | 164.4015 | -10667.18 | 164.4015 | 0
17939.929 | 159.7007 | -10556.65 | 159.7007 | 0
18134.334 | 157.5942 | -10443.73 | 157.5942 | 0
18330.847 | 164.0776 | -10334.18 | 164.0776 | 0
18529.489 | 156.208 | -10219.13 | 156.208 | 0
18730.283 | 148.5876 | -10108.16 | 148.5876 | 0
18933.254 | 156.7725 | -10004.67 | 156.7725 | 0
19138.424 | 147.6604 | -9899.439 | 147.6604 | 0
19345.817 | 137.4341 | -9777.852 | 137.4341 | 0
19555.458 | 153.5706 | -9672.062 | 153.5706 | 0
19767.37 | 136.4491 | -9524.336 | 136.4491 | 0
19981.579 | 95.1162 | -9539.025 | 95.1162 | 0
20198.109 | 159.867 | -9387.467 | 159.867 | 0
20416.986 | 141.4755 | -9286.924 | 141.4755 | 0
20638.234 | 134.1263 | -9184.344 | 134.1263 | 0
20861.88 | 136.1778 | -9084.018 | 136.1778 | 0
21087.949 | 133.2155 | -8988.102 | 133.2155 | 0
21316.469 | 129.9072 | -8890.084 | 129.9072 | 0
21547.464 | 132.5602 | -8797.035 | 132.5602 | 0
21780.963 | 131.007 | -8702.07 | 131.007 | 0
22016.992 | 131.3249 | -8613.443 | 131.3249 | 0
22255.579 | 129.2874 | -8517.166 | 129.2874 | 0
22496.751 | 126.5098 | -8428.018 | 126.5098 | 0
22740.537 | 125.2201 | -8339.777 | 125.2201 | 0
22986.964 | 125.0513 | -8249.051 | 125.0513 | 0
23236.062 | 123.3244 | -8159.069 | 123.3244 | 0
23487.86 | 123.7974 | -8073.695 | 123.7974 | 0
23742.386 | 119.0531 | -7984.011 | 119.0531 | 0
23999.67 | 120.3939 | -7903.963 | 120.3939 | 0
24259.742 | 115.1347 | -7817.262 | 115.1347 | 0
24522.632 | 118.1818 | -7733.761 | 118.1818 | 0
24788.371 | 114.0759 | -7652.895 | 114.0759 | 0
25056.99 | 111.8492 | -7570.316 | 111.8492 | 0
25328.52 | 112.2166 | -7489.108 | 112.2166 | 0
25602.992 | 111.4031 | -7408.514 | 111.4031 | 0
25880.438 | 110.3001 | -7331.407 | 110.3001 | 0
26160.891 | 109.4195 | -7252.745 | 109.4195 | 0
26444.383 | 107.9998 | -7174.541 | 107.9998 | 0
26730.948 | 106.38 | -7097.979 | 106.38 | 0
27020.617 | 104.0717 | -7022.861 | 104.0717 | 0
27313.426 | 105.5238 | -6948.579 | 105.5238 | 0
27609.407 | 102.0048 | -6873.114 | 102.0048 | 0
27908.596 | 101.8321 | -6800.549 | 101.8321 | 0
28211.027 | 102.3493 | -6727.096 | 102.3493 | 0
28516.736 | 100.4963 | -6656.788 | 100.4963 | 0
28825.757 | 99.2476 | -6584.768 | 99.2476 | 0
29138.127 | 99.0012 | -6514.587 | 99.0012 | 0
29453.882 | 95.5602 | -6444.65 | 95.5602 | 0
29773.058 | 96.8469 | -6376.424 | 96.8469 | 0
30095.694 | 95.177 | -6307.102 | 95.177 | 0
30421.825 | 95.5706 | -6239.733 | 95.5706 | 0
30751.491 | 92.5414 | -6173.838 | 92.5414 | 0
31084.729 | 92.885 | -6107.182 | 92.885 | 0
31421.578 | 90.4434 | -6042.62 | 90.4434 | 0
31762.078 | 92.867 | -5979.085 | 92.867 | 0
32106.267 | 89.051 | -5914.356 | 89.051 | 0
32454.186 | 89.6937 | -5851.851 | 89.6937 | 0
32805.876 | 86.8981 | -5788.018 | 86.8981 | 0
33161.376 | 88.1452 | -5726.779 | 88.1452 | 0
33520.729 | 86.422 | -5665.48 | 86.422 | 0
33883.976 | 86.5715 | -5604.209 | 86.5715 | 0
34251.159 | 85.7221 | -5543.922 | 85.7221 | 0
34622.321 | 84.5614 | -5485.027 | 84.5614 | 0
34997.505 | 84.5772 | -5427.016 | 84.5772 | 0
35376.755 | 83.2472 | -5368.66 | 83.2472 | 0
35760.115 | 82.78 | -5310.995 | 82.78 | 0
36147.629 | 81.6847 | -5253.467 | 81.6847 | 0
36539.342 | 81.5217 | -5196.949 | 81.5217 | 0
36935.301 | 81.7353 | -5143.729 | 81.7353 | 0
37335.549 | 80.1467 | -5087.429 | 80.1467 | 0
37740.136 | 79.3359 | -5034.372 | 79.3359 | 0
38149.106 | 83.9179 | -4974.162 | 83.9179 | 0
38562.508 | 77.7923 | -4923.979 | 77.7923 | 0
38980.39 | 77.8879 | -4872.796 | 77.8879 | 0
39402.801 | 74.8467 | -4820.368 | 74.8467 | 0
39829.789 | 77.2384 | -4771.067 | 77.2384 | 0
40261.404 | 76.4036 | -4716.997 | 76.4036 | 0
40697.696 | 76.035 | -4670.072 | 76.035 | 0
41138.716 | 74.3399 | -4617.987 | 74.3399 | 0
41584.515 | 74.0486 | -4566.373 | 74.0486 | 0
42035.145 | 71.887 | -4518.988 | 71.887 | 0
42490.658 | 71.2971 | -4470.955 | 71.2971 | 0
42951.108 | 72.2814 | -4422.839 | 72.2814 | 0
43416.547 | 71.5302 | -4375.045 | 71.5302 | 0
43887.03 | 70.0209 | -4328.381 | 70.0209 | 0
44362.611 | 67.9085 | -4282.055 | 67.9085 | 0
44843.346 | 68.1689 | -4235.769 | 68.1689 | 0
45329.29 | 67.2363 | -4190.755 | 67.2363 | 0
45820.5 | 68.0349 | -4146.127 | 68.0349 | 0
46317.033 | 66.5052 | -4100.942 | 66.5052 | 0
46818.947 | 66.7069 | -4056.829 | 66.7069 | 0
47326.3 | 65.7884 | -4013.486 | 65.7884 | 0
47839.151 | 66.0076 | -3970.264 | 66.0076 | 0
48357.559 | 64.5249 | -3927.198 | 64.5249 | 0
48881.585 | 64.5857 | -3884.875 | 64.5857 | 0
49411.29 | 64.2904 | -3843.149 | 64.2904 | 0
49946.734 | 63.2906 | -3802.085 | 63.2906 | 0
50487.982 | 61.9439 | -3761.047 | 61.9439 | 0
51035.094 | 62.3253 | -3721.185 | 62.3253 | 0
51588.135 | 62.4229 | -3680.81 | 62.4229 | 0
52147.169 | 61.2724 | -3640.814 | 61.2724 | 0
52712.261 | 60.9407 | -3602.137 | 60.9407 | 0
53283.477 | 61.126 | -3563.488 | 61.126 | 0
53860.882 | 59.669 | -3524.633 | 59.669 | 0
54444.545 | 58.9349 | -3486.862 | 58.9349 | 0
55034.533 | 59.8943 | -3448.935 | 59.8943 | 0
55630.914 | 59.2605 | -3412.104 | 59.2605 | 0
56233.757 | 58.7093 | -3375.561 | 58.7093 | 0
56843.134 | 58.7511 | -3338.881 | 58.7511 | 0
57459.113 | 57.2849 | -3302.667 | 57.2849 | 0
58081.768 | 56.7531 | -3266.678 | 56.7531 | 0
58711.171 | 56.5896 | -3232.077 | 56.5896 | 0
59347.393 | 56.2522 | -3196.927 | 56.2522 | 0
59990.511 | 55.8768 | -3162.315 | 55.8768 | 0
60640.597 | 56.5032 | -3127.582 | 56.5032 | 0
61297.728 | 55.1392 | -3094.3 | 55.1392 | 0
61961.98 | 55.3864 | -3060.582 | 55.3864 | 0
62633.43 | 55.276 | -3027.293 | 55.276 | 0
63312.156 | 54.9798 | -2995.75 | 54.9798 | 0
63998.238 | 54.0031 | -2962.64 | 54.0031 | 0
64691.754 | 53.6206 | -2930.449 | 53.6206 | 0
65392.785 | 53.2762 | -2898.544 | 53.2762 | 0
66101.413 | 53.1787 | -2867.009 | 53.1787 | 0
66817.72 | 52.5276 | -2835.8 | 52.5276 | 0
67541.789 | 52.6674 | -2805.137 | 52.6674 | 0
68273.705 | 51.793 | -2775.125 | 51.793 | 0
69013.552 | 51.8736 | -2745.498 | 51.8736 | 0
69761.416 | 51.7166 | -2714.979 | 51.7166 | 0
70517.385 | 51.3357 | -2685.653 | 51.3357 | 0
71281.546 | 51.6428 | -2656.229 | 51.6428 | 0
72053.987 | 50.4045 | -2627.339 | 50.4045 | 0
72834.799 | 50.1624 | -2599.013 | 50.1624 | 0
73624.072 | 50.1003 | -2570.601 | 50.1003 | 0
74421.899 | 50.5079 | -2542.883 | 50.5079 | 0
75228.371 | 50.3681 | -2515.304 | 50.3681 | 0
76043.582 | 50.0129 | -2487.437 | 50.0129 | 0
76867.627 | 49.6143 | -2460.673 | 49.6143 | 0
77700.602 | 49.275 | -2433.97 | 49.275 | 0
78542.603 | 48.6208 | -2407.629 | 48.6208 | 0
79393.729 | 48.4667 | -2381.593 | 48.4667 | 0
80254.078 | 48.9835 | -2355.177 | 48.9835 | 0
81123.75 | 49.5765 | -2329.14 | 49.5765 | 0
82002.847 | 47.8596 | -2303.905 | 47.8596 | 0
82891.47 | 48.2432 | -2278.684 | 48.2432 | 0
83789.722 | 47.9137 | -2254.197 | 47.9137 | 0
84697.708 | 47.5018 | -2229.475 | 47.5018 | 0
85615.534 | 46.8282 | -2204.989 | 46.8282 | 0
86543.305 | 47.259 | -2180.245 | 47.259 | 0
87481.13 | 46.6223 | -2156.573 | 46.6223 | 0
88429.118 | 46.1964 | -2132.72 | 46.1964 | 0
89387.379 | 46.6618 | -2109.865 | 46.6618 | 0
90356.024 | 46.3043 | -2086.496 | 46.3043 | 0
91335.166 | 46.6801 | -2063.778 | 46.6801 | 0
92324.919 | 46.1371 | -2040.71 | 46.1371 | 0
93325.396 | 45.8829 | -2018.237 | 45.8829 | 0
94336.716 | 45.6516 | -1996.312 | 45.6516 | 0
95358.994 | 45.6728 | -1974.471 | 45.6728 | 0
96392.35 | 45.983 | -1952.526 | 45.983 | 0
97436.905 | 46.1421 | -1930.899 | 46.1421 | 0
98492.779 | 45.3197 | -1909.5 | 45.3197 | 0
99560.094 | 45.415 | -1888.59 | 45.415 | 0
100638.976 | 45.6836 | -1867.458 | 45.6836 | 0
101729.549 | 45.0962 | -1846.781 | 45.0962 | 0
102831.939 | 45.2592 | -1826.501 | 45.2592 | 0
103946.276 | 44.8022 | -1806.213 | 44.8022 | 0
105072.689 | 45.1555 | -1786.037 | 45.1555 | 0
106211.307 | 44.971 | -1766.365 | 44.971 | 0
107362.265 | 44.9782 | -1746.544 | 44.9782 | 0
108525.694 | 44.5179 | -1727.411 | 44.5179 | 0
109701.732 | 44.8461 | -1707.703 | 44.8461 | 0
110890.513 | 44.3244 | -1688.905 | 44.3244 | 0
112092.176 | 44.6872 | -1670.303 | 44.6872 | 0
113306.862 | 44.1711 | -1651.573 | 44.1711 | 0
114534.71 | 44.2055 | -1633.101 | 44.2055 | 0
115775.864 | 44.2551 | -1614.842 | 44.2551 | 0
117030.467 | 44.4287 | -1596.825 | 44.4287 | 0
118298.666 | 44.4245 | -1578.966 | 44.4245 | 0
119580.608 | 44.1994 | -1561.145 | 44.1994 | 0
120876.442 | 44.3161 | -1543.697 | 44.3161 | 0
122186.318 | 44.2574 | -1526.25 | 44.2574 | 0
123510.388 | 44.0765 | -1509.079 | 44.0765 | 0
124848.807 | 44.3737 | -1492.031 | 44.3737 | 0
126201.729 | 44.1565 | -1475.312 | 44.1565 | 0
127569.312 | 44.349 | -1458.577 | 44.349 | 0
128951.715 | 44.4148 | -1442.288 | 44.4148 | 0
130349.099 | 44.4134 | -1425.91 | 44.4134 | 0
131761.625 | 44.2913 | -1409.402 | 44.2913 | 0
133189.458 | 44.3344 | -1393.588 | 44.3344 | 0
134632.764 | 44.1944 | -1377.743 | 44.1944 | 0
136091.71 | 44.5331 | -1362.18 | 44.5331 | 0
137566.466 | 44.2871 | -1346.606 | 44.2871 | 0
139057.203 | 44.3235 | -1331.295 | 44.3235 | 0
140564.094 | 44.4748 | -1315.947 | 44.4748 | 0
142087.315 | 44.3745 | -1300.92 | 44.3745 | 0
143627.042 | 44.6894 | -1285.936 | 44.6894 | 0
145183.455 | 44.7857 | -1271.264 | 44.7857 | 0
146756.733 | 45 | -1256.759 | 45 | 0
148347.061 | 44.8613 | -1242.175 | 44.8613 | 0
149954.621 | 45.2938 | -1227.903 | 45.2938 | 0
151579.603 | 45.001 | -1213.67 | 45.001 | 0
153222.193 | 45.2981 | -1199.665 | 45.2981 | 0
154882.583 | 45.4303 | -1185.682 | 45.4303 | 0
156560.966 | 45.376 | -1172.03 | 45.376 | 0
158257.537 | 45.3503 | -1158.411 | 45.3503 | 0
159972.492 | 45.7287 | -1144.853 | 45.7287 | 0
161706.032 | 45.9663 | -1131.484 | 45.9663 | 0
163458.357 | 46.0975 | -1118.361 | 46.0975 | 0
165229.671 | 46.0341 | -1105.304 | 46.0341 | 0
167020.18 | 46.2924 | -1092.234 | 46.2924 | 0
168830.092 | 46.6864 | -1079.442 | 46.6864 | 0
170659.617 | 46.7678 | -1066.91 | 46.7678 | 0
172508.968 | 47.0562 | -1054.008 | 47.0562 | 0
174378.359 | 47.201 | -1041.793 | 47.201 | 0
176268.007 | 47.2177 | -1029.375 | 47.2177 | 0
178178.133 | 47.394 | -1017.06 | 47.394 | 0
180108.958 | 47.5841 | -1004.856 | 47.5841 | 0
182060.706 | 47.8583 | -993.0499 | 47.8583 | 0
184033.605 | 47.8791 | -981.0527 | 47.8791 | 0
186027.882 | 48.3421 | -969.4653 | 48.3421 | 0
188043.771 | 48.4074 | -957.844 | 48.4074 | 0
190081.504 | 48.7494 | -946.2639 | 48.7494 | 0
192141.32 | 48.9091 | -934.8199 | 48.9091 | 0
194223.457 | 49.1984 | -923.5026 | 49.1984 | 0
196328.157 | 49.4119 | -912.395 | 49.4119 | 0
198455.664 | 49.8032 | -901.1227 | 49.8032 | 0
200606.226 | 50.0098 | -890.1061 | 50.0098 | 0
202780.093 | 50.3439 | -879.2218 | 50.3439 | 0
204977.516 | 50.7294 | -868.4015 | 50.7294 | 0
207198.752 | 50.9584 | -857.8329 | 50.9584 | 0
209444.059 | 51.1949 | -847.2419 | 51.1949 | 0
211713.696 | 51.4603 | -836.7496 | 51.4603 | 0
214007.929 | 51.7673 | -826.3917 | 51.7673 | 0
216327.023 | 52.035 | -816.0795 | 52.035 | 0
218671.247 | 52.4616 | -805.9167 | 52.4616 | 0
221040.875 | 52.8984 | -795.7595 | 52.8984 | 0
223436.182 | 53.3165 | -785.6455 | 53.3165 | 0
225857.445 | 53.527 | -775.8641 | 53.527 | 0
228304.946 | 54.1527 | -766.001 | 54.1527 | 0
230778.969 | 54.4543 | -756.2371 | 54.4543 | 0
233279.802 | 54.8483 | -746.6279 | 54.8483 | 0
235807.736 | 55.2395 | -736.9968 | 55.2395 | 0
238363.063 | 55.6189 | -727.5905 | 55.6189 | 0
240946.081 | 56.1527 | -718.1998 | 56.1527 | 0
243557.09 | 56.515 | -708.9154 | 56.515 | 0
246196.393 | 57.1668 | -699.655 | 57.1668 | 0
248864.297 | 57.4919 | -690.5264 | 57.4919 | 0
251561.111 | 57.9572 | -681.5305 | 57.9572 | 0
254287.15 | 58.4983 | -672.426 | 58.4983 | 0
257042.729 | 59.0957 | -663.5958 | 59.0957 | 0
259828.169 | 59.5765 | -654.7863 | 59.5765 | 0
262643.793 | 60.1374 | -646.0801 | 60.1374 | 0
265489.929 | 60.6522 | -637.3807 | 60.6522 | 0
268366.907 | 61.2299 | -628.7256 | 61.2299 | 0
271275.061 | 61.7107 | -620.3269 | 61.7107 | 0
274214.729 | 62.3844 | -611.8831 | 62.3844 | 0
277186.254 | 63.0352 | -603.4614 | 63.0352 | 0
280189.979 | 63.7328 | -595.1594 | 63.7328 | 0
283226.253 | 64.3002 | -586.9349 | 64.3002 | 0
286295.431 | 64.8095 | -578.8075 | 64.8095 | 0
289397.867 | 65.6782 | -570.6641 | 65.6782 | 0
292533.923 | 66.2304 | -562.6877 | 66.2304 | 0
295703.963 | 67.0613 | -554.7211 | 67.0613 | 0
298908.355 | 67.7441 | -546.7765 | 67.7441 | 0
302147.471 | 68.5373 | -538.9803 | 68.5373 | 0
305421.688 | 69.2129 | -531.2266 | 69.2129 | 0
308731.386 | 70.1146 | -523.5664 | 70.1146 | 0
312076.949 | 70.7637 | -515.9126 | 70.7637 | 0
315458.767 | 71.8079 | -508.326 | 71.8079 | 0
318877.231 | 72.5426 | -500.7735 | 72.5426 | 0
322332.74 | 73.4004 | -493.3147 | 73.4004 | 0
325825.694 | 74.3763 | -485.9472 | 74.3763 | 0
329356.5 | 75.1644 | -478.6391 | 75.1644 | 0
332925.567 | 76.0779 | -471.3772 | 76.0779 | 0
336533.31 | 77.1403 | -464.0629 | 77.1403 | 0
340180.149 | 78.1141 | -456.9205 | 78.1141 | 0
343866.506 | 79.2024 | -449.7344 | 79.2024 | 0
347592.811 | 80.1801 | -442.7085 | 80.1801 | 0
351359.495 | 81.3088 | -435.7196 | 81.3088 | 0
355166.998 | 82.3821 | -428.7607 | 82.3821 | 0
359015.76 | 83.5372 | -421.8784 | 83.5372 | 0
362906.229 | 84.6984 | -415.019 | 84.6984 | 0
366838.858 | 85.9218 | -408.168 | 85.9218 | 0
370814.102 | 87.1405 | -401.4386 | 87.1405 | 0
374832.424 | 88.3597 | -394.7466 | 88.3597 | 0
378894.29 | 89.708 | -388.0693 | 89.708 | 0
383000.173 | 91.0094 | -381.4191 | 91.0094 | 0
387150.549 | 92.5189 | -374.9294 | 92.5189 | 0
391345.9 | 93.8912 | -368.4095 | 93.8912 | 0
395586.715 | 95.2963 | -361.9078 | 95.2963 | 0
399873.485 | 96.895 | -355.571 | 96.895 | 0
404206.708 | 98.4044 | -349.1727 | 98.4044 | 0
408586.888 | 100.0128 | -342.8233 | 100.0128 | 0
413014.535 | 101.656 | -336.5477 | 101.656 | 0
417490.161 | 103.4051 | -330.4074 | 103.4051 | 0
422014.287 | 105.1358 | -324.1824 | 105.1358 | 0
426587.439 | 106.9116 | -318.0952 | 106.9116 | 0
431210.148 | 108.7966 | -311.9814 | 108.7966 | 0
435882.951 | 110.6363 | -305.9738 | 110.6363 | 0
440606.39 | 112.7053 | -300.0157 | 112.7053 | 0
445381.015 | 114.7841 | -294.0264 | 114.7841 | 0
450207.38 | 116.848 | -288.1647 | 116.848 | 0
455086.046 | 119.0818 | -282.3209 | 119.0818 | 0
460017.58 | 121.2632 | -276.5186 | 121.2632 | 0
465002.554 | 123.6196 | -270.7684 | 123.6196 | 0
470041.548 | 126.0021 | -265.0963 | 126.0021 | 0
475135.147 | 128.506 | -259.4778 | 128.506 | 0
480283.942 | 131.1278 | -253.8775 | 131.1278 | 0
485488.532 | 133.7517 | -248.3595 | 133.7517 | 0
490749.522 | 136.4804 | -242.9366 | 136.4804 | 0
496067.522 | 139.2722 | -237.5754 | 139.2722 | 0
501443.151 | 142.2603 | -232.1987 | 142.2603 | 0
506877.033 | 145.3091 | -226.9817 | 145.3091 | 0
512369.799 | 148.4155 | -221.7758 | 148.4155 | 0
517922.087 | 151.7107 | -216.6774 | 151.7107 | 0
523534.542 | 155.0339 | -211.6373 | 155.0339 | 0
529207.817 | 158.5266 | -206.7221 | 158.5266 | 0
534942.57 | 162.1074 | -201.8567 | 162.1074 | 0
540739.468 | 165.8339 | -197.1244 | 165.8339 | 0
546599.184 | 169.702 | -192.4478 | 169.702 | 0
552522.398 | 173.6911 | -187.8783 | 173.6911 | 0
558509.8 | 177.7968 | -183.4886 | 177.7968 | 0
564562.083 | 182.0684 | -179.1624 | 182.0684 | 0
570679.952 | 186.4887 | -175.0257 | 186.4887 | 0
576864.118 | 191.0146 | -170.9816 | 191.0146 | 0
583115.298 | 195.7187 | -167.1367 | 195.7187 | 0
589434.219 | 200.5601 | -163.4408 | 200.5601 | 0
595821.614 | 205.5305 | -159.969 | 205.5305 | 0
602278.227 | 210.6904 | -156.6307 | 210.6904 | 0
608804.807 | 216.0281 | -153.5185 | 216.0281 | 0
615402.111 | 221.4721 | -150.5888 | 221.4721 | 0
622070.908 | 227.0613 | -147.935 | 227.0613 | 0
628811.971 | 232.7913 | -145.5432 | 232.7913 | 0
635626.083 | 238.6979 | -143.4748 | 238.6979 | 0
642514.036 | 244.7128 | -141.6162 | 244.7128 | 0
649476.63 | 250.866 | -140.1628 | 250.866 | 0
656514.675 | 257.1054 | -138.9764 | 257.1054 | 0
663628.987 | 263.4885 | -138.132 | 263.4885 | 0
670820.393 | 269.9066 | -137.7356 | 269.9066 | 0
678089.729 | 276.4684 | -137.6621 | 276.4684 | 0
685437.839 | 283.001 | -138.0368 | 283.001 | 0
692865.577 | 289.579 | -138.8539 | 289.579 | 0
700373.805 | 296.1183 | -140.1242 | 296.1183 | 0
707963.396 | 302.6573 | -141.8516 | 302.6573 | 0
715635.231 | 309.1016 | -143.9845 | 309.1016 | 0
723390.203 | 315.4239 | -146.6742 | 315.4239 | 0
731229.21 | 321.6154 | -149.8673 | 321.6154 | 0
739153.166 | 327.5718 | -153.559 | 327.5718 | 0
747162.989 | 333.3644 | -157.7414 | 333.3644 | 0
755259.61 | 338.8707 | -162.4483 | 338.8707 | 0
763443.97 | 343.9778 | -167.483 | 343.9778 | 0
771717.02 | 348.7783 | -173.1805 | 348.7783 | 0
780079.721 | 353.144 | -179.2518 | 353.144 | 0
788533.044 | 357.0919 | -185.7167 | 357.0919 | 0
797077.971 | 360.4658 | -192.5719 | 360.4658 | 0
805715.496 | 363.361 | -199.7147 | 363.361 | 0
814446.62 | 365.6281 | -207.3199 | 365.6281 | 0
823272.36 | 367.381 | -214.9715 | 367.381 | 0
832193.739 | 368.361 | -223.0369 | 368.361 | 0
841211.795 | 368.8768 | -231.1175 | 368.8768 | 0
850327.575 | 368.5946 | -239.3537 | 368.5946 | 0
859542.138 | 367.7396 | -247.6522 | 367.7396 | 0
868856.555 | 366.1146 | -255.8525 | 366.1146 | 0
878271.907 | 363.8122 | -264.0677 | 363.8122 | 0
887789.288 | 360.7459 | -272.0602 | 360.7459 | 0
897409.804 | 357.1418 | -279.9395 | 357.1418 | 0
907134.573 | 352.791 | -287.6066 | 352.791 | 0
916964.724 | 347.9368 | -294.8451 | 347.9368 | 0
926901.4 | 342.4435 | -301.7827 | 342.4435 | 0
936945.754 | 336.5037 | -308.2094 | 336.5037 | 0
947098.953 | 329.9223 | -314.2257 | 329.9223 | 0
957362.178 | 323.0298 | -319.7241 | 323.0298 | 0
967736.62 | 315.6813 | -324.7695 | 315.6813 | 0
978223.484 | 307.9783 | -329.1796 | 307.9783 | 0
988823.99 | 300.0792 | -333.1111 | 300.0792 | 0
999539.367 | 291.9298 | -336.3275 | 291.9298 | 0
1010370.861 | 283.5995 | -339.1144 | 283.5995 | 0
1021319.731 | 275.1223 | -341.2756 | 275.1223 | 0
1032387.248 | 266.7453 | -342.8167 | 266.7453 | 0
1043574.698 | 258.331 | -343.8213 | 258.331 | 0
1054883.381 | 249.9782 | -344.2733 | 249.9782 | 0
1066314.61 | 241.6432 | -344.2449 | 241.6432 | 0
1077869.714 | 233.5244 | -343.769 | 233.5244 | 0
1089550.034 | 225.4971 | -342.8438 | 225.4971 | 0
1101356.928 | 217.6302 | -341.5195 | 217.6302 | 0
1113291.767 | 209.9971 | -339.6909 | 209.9971 | 0
1125355.937 | 202.6534 | -337.5597 | 202.6534 | 0
1137550.841 | 195.4934 | -335.2877 | 195.4934 | 0
1149877.895 | 188.5767 | -332.4306 | 188.5767 | 0
1162338.531 | 182.0488 | -329.5305 | 182.0488 | 0
1174934.196 | 175.5868 | -326.3321 | 175.5868 | 0
1187666.354 | 169.5985 | -322.8 | 169.5985 | 0
1200536.484 | 163.7319 | -319.2903 | 163.7319 | 0
1213546.081 | 158.2391 | -315.5231 | 158.2391 | 0
1226696.656 | 152.843 | -311.6271 | 152.843 | 0
1239989.738 | 147.7831 | -307.6259 | 147.7831 | 0
1253426.869 | 143.0557 | -303.5298 | 143.0557 | 0
1267009.612 | 138.4605 | -299.386 | 138.4605 | 0
1280739.544 | 134.1706 | -295.1074 | 134.1706 | 0
1294618.26 | 130.1145 | -290.773 | 130.1145 | 0
1308647.373 | 126.1581 | -286.5055 | 126.1581 | 0
1322828.512 | 122.5731 | -282.155 | 122.5731 | 0
1337163.325 | 119.1383 | -277.7294 | 119.1383 | 0
1351653.477 | 115.9237 | -273.3289 | 115.9237 | 0
1366300.651 | 112.8474 | -268.9748 | 112.8474 | 0
1381106.549 | 109.9114 | -264.6285 | 109.9114 | 0
1396072.891 | 107.272 | -260.2479 | 107.272 | 0
1411201.415 | 104.7347 | -255.9155 | 104.7347 | 0
1426493.88 | 102.3691 | -251.631 | 102.3691 | 0
1441952.061 | 100.1869 | -247.2667 | 100.1869 | 0
1457577.754 | 98.0807 | -242.9951 | 98.0807 | 0
1473372.775 | 96.2094 | -238.7616 | 96.2094 | 0
1489338.959 | 94.3824 | -234.605 | 94.3824 | 0
1505478.16 | 92.7848 | -230.48 | 92.7848 | 0
1521792.253 | 91.2343 | -226.3387 | 91.2343 | 0
1538283.134 | 89.8237 | -222.2899 | 89.8237 | 0
1554952.717 | 88.5016 | -218.2723 | 88.5016 | 0
1571802.941 | 87.3695 | -214.3153 | 87.3695 | 0
1588835.762 | 86.2994 | -210.3877 | 86.2994 | 0
1606053.158 | 85.26 | -206.5292 | 85.26 | 0
1623457.131 | 84.4467 | -202.6856 | 84.4467 | 0
1641049.702 | 83.6373 | -198.9302 | 83.6373 | 0
1658832.914 | 82.9917 | -195.2094 | 82.9917 | 0
1676808.834 | 82.3934 | -191.5717 | 82.3934 | 0
1694979.549 | 81.8863 | -187.9713 | 81.8863 | 0
1713347.172 | 81.5142 | -184.4004 | 81.5142 | 0
1731913.834 | 81.1568 | -180.9105 | 81.1568 | 0
1750681.695 | 80.8826 | -177.5194 | 80.8826 | 0
1769652.932 | 80.7211 | -174.1017 | 80.7211 | 0
1788829.752 | 80.6252 | -170.7954 | 80.6252 | 0
1808214.38 | 80.6173 | -167.5429 | 80.6173 | 0
1827809.07 | 80.6667 | -164.3458 | 80.6667 | 0
1847616.098 | 80.7829 | -161.2086 | 80.7829 | 0
1867637.764 | 80.9643 | -158.146 | 80.9643 | 0
1887876.395 | 81.2434 | -155.1364 | 81.2434 | 0
1908334.341 | 81.5757 | -152.199 | 81.5757 | 0
1929013.98 | 81.965 | -149.3175 | 81.965 | 0
1949917.713 | 82.43 | -146.5232 | 82.43 | 0
1971047.969 | 82.932 | -143.809 | 82.932 | 0
1992407.203 | 83.5109 | -141.1576 | 83.5109 | 0
2013997.896 | 84.1498 | -138.5717 | 84.1498 | 0
2035822.556 | 84.834 | -136.071 | 84.834 | 0
2057883.719 | 85.5713 | -133.6717 | 85.5713 | 0
2080183.947 | 86.3683 | -131.3138 | 86.3683 | 0
2102725.832 | 87.2077 | -129.0794 | 87.2077 | 0
2125511.991 | 88.069 | -126.914 | 88.069 | 0
2148545.072 | 88.9801 | -124.8465 | 88.9801 | 0
2171827.751 | 89.9461 | -122.8393 | 89.9461 | 0
2195362.732 | 90.9174 | -120.9828 | 90.9174 | 0
2219152.75 | 91.9259 | -119.1817 | 91.9259 | 0
2243200.568 | 92.9468 | -117.5072 | 92.9468 | 0
2267508.979 | 93.9922 | -115.9245 | 93.9922 | 0
2292080.809 | 95.037 | -114.4341 | 95.037 | 0
2316918.911 | 96.0928 | -113.0369 | 96.0928 | 0
2342026.17 | 97.1635 | -111.7452 | 97.1635 | 0
2367405.504 | 98.1781 | -110.5777 | 98.1781 | 0
2393059.861 | 99.2025 | -109.4983 | 99.2025 | 0
2418992.221 | 100.2232 | -108.4961 | 100.2232 | 0
2445205.597 | 101.1766 | -107.6004 | 101.1766 | 0
2471703.033 | 102.1054 | -106.7837 | 102.1054 | 0
2498487.609 | 102.9748 | -106.0643 | 102.9748 | 0
2525562.435 | 103.8347 | -105.4087 | 103.8347 | 0
2552930.657 | 104.6244 | -104.819 | 104.6244 | 0
2580595.454 | 105.347 | -104.3046 | 105.347 | 0
2608560.041 | 106.0165 | -103.8423 | 106.0165 | 0
2636827.666 | 106.6272 | -103.4439 | 106.6272 | 0
2665401.612 | 107.1687 | -103.068 | 107.1687 | 0
2694285.2 | 107.6512 | -102.7244 | 107.6512 | 0
2723481.784 | 108.0714 | -102.4447 | 108.0714 | 0
2752994.756 | 108.4418 | -102.1457 | 108.4418 | 0
2782827.546 | 108.7394 | -101.8585 | 108.7394 | 0
2812983.618 | 108.9909 | -101.5993 | 108.9909 | 0
2843466.476 | 109.1861 | -101.3135 | 109.1861 | 0
2874279.66 | 109.3535 | -101.0595 | 109.3535 | 0
2905426.752 | 109.4644 | -100.7596 | 109.4644 | 0
2936911.369 | 109.5733 | -100.4786 | 109.5733 | 0
2968737.168 | 109.6535 | -100.1862 | 109.6535 | 0
3000907.847 | 109.7016 | -99.8705 | 109.7016 | 0
3033427.143 | 109.7549 | -99.5583 | 109.7549 | 0
3066298.834 | 109.8002 | -99.2436 | 109.8002 | 0
3099526.739 | 109.8243 | -98.9356 | 109.8243 | 0
3133114.717 | 109.8559 | -98.6149 | 109.8559 | 0
3167066.671 | 109.9162 | -98.3247 | 109.9162 | 0
3201386.545 | 109.9852 | -98.0256 | 109.9852 | 0
3236078.326 | 110.0285 | -97.7516 | 110.0285 | 0
3271146.044 | 110.1222 | -97.5007 | 110.1222 | 0
3306593.772 | 110.1918 | -97.2816 | 110.1918 | 0
3342425.63 | 110.2734 | -97.0781 | 110.2734 | 0
3378645.779 | 110.3669 | -96.9325 | 110.3669 | 0
3415258.427 | 110.4267 | -96.8121 | 110.4267 | 0
3452267.827 | 110.4738 | -96.7764 | 110.4738 | 0
3489678.279 | 110.5342 | -96.7538 | 110.5342 | 0
3527494.129 | 110.5508 | -96.774 | 110.5508 | 0
3565719.77 | 110.5426 | -96.8595 | 110.5426 | 0
3604359.643 | 110.4821 | -96.9752 | 110.4821 | 0
3643418.236 | 110.4075 | -97.1462 | 110.4075 | 0
3682900.087 | 110.2688 | -97.3514 | 110.2688 | 0
3722809.783 | 110.0835 | -97.6066 | 110.0835 | 0
3763151.959 | 109.8465 | -97.8854 | 109.8465 | 0
3803931.303 | 109.5414 | -98.178 | 109.5414 | 0
3845152.552 | 109.1553 | -98.5195 | 109.1553 | 0
3886820.494 | 108.7139 | -98.8588 | 108.7139 | 0
3928939.97 | 108.2051 | -99.2058 | 108.2051 | 0
3971515.874 | 107.6103 | -99.538 | 107.6103 | 0
4014553.15 | 106.982 | -99.8673 | 106.982 | 0
4058056.8 | 106.2523 | -100.1865 | 106.2523 | 0
4102031.876 | 105.4547 | -100.4937 | 105.4547 | 0
4146483.487 | 104.6074 | -100.7684 | 104.6074 | 0
4191416.798 | 103.6918 | -101.0205 | 103.6918 | 0
4236837.027 | 102.7328 | -101.2331 | 102.7328 | 0
4282749.453 | 101.6943 | -101.3959 | 101.6943 | 0
4329159.408 | 100.6337 | -101.5078 | 100.6337 | 0
4376072.284 | 99.4924 | -101.5998 | 99.4924 | 0
4423493.53 | 98.3157 | -101.6289 | 98.3157 | 0
4471428.656 | 97.0825 | -101.6013 | 97.0825 | 0
4519883.231 | 95.832 | -101.5204 | 95.832 | 0
4568862.882 | 94.5397 | -101.3954 | 94.5397 | 0
4618373.301 | 93.2149 | -101.1786 | 93.2149 | 0
4668420.24 | 91.8619 | -100.91 | 91.8619 | 0
4719009.511 | 90.4739 | -100.5588 | 90.4739 | 0
4770146.991 | 89.0538 | -100.1535 | 89.0538 | 0
4821838.623 | 87.6453 | -99.6474 | 87.6453 | 0
4874090.41 | 86.2016 | -99.0722 | 86.2016 | 0
4926908.423 | 84.7447 | -98.4059 | 84.7447 | 0
4980298.798 | 83.3167 | -97.6338 | 83.3167 | 0
5034267.736 | 81.8519 | -96.7442 | 81.8519 | 0
5088821.509 | 80.451 | -95.7951 | 80.451 | 0
5143966.452 | 79.0691 | -94.7499 | 79.0691 | 0
5199708.973 | 77.7231 | -93.607 | 77.7231 | 0
5256055.547 | 76.4433 | -92.3359 | 76.4433 | 0
5313012.72 | 75.2349 | -91.0027 | 75.2349 | 0
5370587.108 | 74.0785 | -89.5708 | 74.0785 | 0
5428785.401 | 73.0251 | -88.054 | 73.0251 | 0
5487614.358 | 72.0469 | -86.4703 | 72.0469 | 0
5547080.815 | 71.1945 | -84.7909 | 71.1945 | 0
5607191.679 | 70.4521 | -83.0702 | 70.4521 | 0
5667953.934 | 69.8231 | -81.2802 | 69.8231 | 0
5729374.638 | 69.3322 | -79.4593 | 69.3322 | 0
5791460.926 | 68.9659 | -77.603 | 68.9659 | 0
5854220.012 | 68.7412 | -75.7318 | 68.7412 | 0
5917659.186 | 68.6619 | -73.8422 | 68.6619 | 0
5981785.817 | 68.7262 | -71.9904 | 68.7262 | 0
6046607.356 | 68.9283 | -70.1182 | 68.9283 | 0
6112131.333 | 69.2868 | -68.2661 | 69.2868 | 0
6178365.359 | 69.8092 | -66.4591 | 69.8092 | 0
6245317.129 | 70.4822 | -64.7145 | 70.4822 | 0
6312994.421 | 71.3173 | -63.0239 | 71.3173 | 0
6381405.098 | 72.2924 | -61.4166 | 72.2924 | 0
6450557.105 | 73.4417 | -59.9067 | 73.4417 | 0
6520458.478 | 74.7474 | -58.4919 | 74.7474 | 0
6591117.335 | 76.2092 | -57.2186 | 76.2092 | 0
6662541.887 | 77.8179 | -56.0897 | 77.8179 | 0
6734740.429 | 79.5911 | -55.1189 | 79.5911 | 0
6807721.35 | 81.5031 | -54.3373 | 81.5031 | 0
6881493.128 | 83.5554 | -53.7655 | 83.5554 | 0
6956064.332 | 85.7446 | -53.4609 | 85.7446 | 0
7031443.627 | 88.0416 | -53.415 | 88.0416 | 0
7107639.768 | 90.4454 | -53.6872 | 90.4454 | 0
7184661.607 | 92.8887 | -54.3228 | 92.8887 | 0
7262518.093 | 95.3904 | -55.2984 | 95.3904 | 0
7341218.269 | 97.8498 | -56.7284 | 97.8498 | 0
7420771.279 | 100.2154 | -58.5885 | 100.2154 | 0
7501186.364 | 102.4234 | -60.8961 | 102.4234 | 0
7582472.866 | 104.3777 | -63.6727 | 104.3777 | 0
7664640.227 | 105.9637 | -66.9229 | 105.9637 | 0
7747697.994 | 107.065 | -70.5688 | 107.065 | 0
7831655.816 | 107.5775 | -74.4643 | 107.5775 | 0
7916523.445 | 107.5546 | -78.5119 | 107.5546 | 0
8002310.742 | 106.9337 | -82.6906 | 106.9337 | 0
8089027.671 | 105.6625 | -86.8883 | 105.6625 | 0
8176684.307 | 103.7281 | -90.9605 | 103.7281 | 0
8265290.832 | 101.156 | -94.7947 | 101.156 | 0
8354857.541 | 98.0273 | -98.2455 | 98.0273 | 0
8445394.839 | 94.4296 | -101.2536 | 94.4296 | 0
8536913.243 | 90.4621 | -103.7261 | 90.4621 | 0
8629423.384 | 86.2527 | -105.6452 | 86.2527 | 0
8722936.011 | 81.8937 | -107.0136 | 81.8937 | 0
8817461.986 | 77.493 | -107.8065 | 77.493 | 0
8913012.29 | 73.1697 | -108.1154 | 73.1697 | 0
9009598.024 | 68.9641 | -107.9502 | 68.9641 | 0
9107230.407 | 64.9174 | -107.3939 | 64.9174 | 0
9205920.783 | 61.0907 | -106.4916 | 61.0907 | 0
9305680.615 | 57.5151 | -105.3265 | 57.5151 | 0
9406521.494 | 54.1694 | -103.9292 | 54.1694 | 0
9508455.133 | 51.0819 | -102.3485 | 51.0819 | 0
9611493.375 | 48.2362 | -100.6251 | 48.2362 | 0
9715648.189 | 45.6221 | -98.8263 | 45.6221 | 0
9820931.676 | 43.2302 | -96.947 | 43.2302 | 0
9927356.065 | 41.036 | -95.0366 | 41.036 | 0
10034933.721 | 39.0177 | -93.1007 | 39.0177 | 0
10143677.141 | 37.1686 | -91.1794 | 37.1686 | 0
10253598.957 | 35.4826 | -89.2404 | 35.4826 | 0
10364711.94 | 33.9242 | -87.3391 | 33.9242 | 0
10477028.997 | 32.4926 | -85.4511 | 32.4926 | 0
10590563.176 | 31.1547 | -83.5925 | 31.1547 | 0
10705327.666 | 29.9337 | -81.7651 | 29.9337 | 0
10821335.801 | 28.7974 | -79.9731 | 28.7974 | 0
10938601.056 | 27.7346 | -78.2182 | 27.7346 | 0
11057137.054 | 26.7449 | -76.4951 | 26.7449 | 0
11176957.566 | 25.8037 | -74.8219 | 25.8037 | 0
11298076.511 | 24.9195 | -73.1742 | 24.9195 | 0
11420507.96 | 24.0624 | -71.5459 | 24.0624 | 0
11544266.136 | 23.2499 | -69.9335 | 23.2499 | 0
11669365.415 | 22.4876 | -68.3337 | 22.4876 | 0
11795820.331 | 21.7856 | -66.7616 | 21.7856 | 0
11923645.574 | 21.1297 | -65.2106 | 21.1297 | 0
12052855.993 | 20.5082 | -63.6944 | 20.5082 | 0
12183466.6 | 19.9235 | -62.2064 | 19.9235 | 0
12315492.566 | 19.3675 | -60.7581 | 19.3675 | 0
12448949.23 | 18.8369 | -59.3326 | 18.8369 | 0
12583852.095 | 18.3269 | -57.9463 | 18.3269 | 0
12720216.834 | 17.8231 | -56.5849 | 17.8231 | 0
12858059.286 | 17.3269 | -55.2489 | 17.3269 | 0
12997395.467 | 16.8365 | -53.9326 | 16.8365 | 0
13138241.562 | 16.3434 | -52.6328 | 16.3434 | 0
13280613.934 | 15.845 | -51.3456 | 15.845 | 0
13424529.122 | 15.349 | -50.0633 | 15.349 | 0
13570003.846 | 14.8376 | -48.7739 | 14.8376 | 0
13717055.004 | 14.3262 | -47.4752 | 14.3262 | 0
13865699.679 | 13.8217 | -46.1648 | 13.8217 | 0
14015955.141 | 13.3218 | -44.83 | 13.3218 | 0
14167838.844 | 12.8287 | -43.4777 | 12.8287 | 0
14321368.433 | 12.3531 | -42.0941 | 12.3531 | 0
14476561.742 | 11.8987 | -40.6912 | 11.8987 | 0
14633436.802 | 11.4838 | -39.2516 | 11.4838 | 0
14792011.837 | 11.1094 | -37.7836 | 11.1094 | 0
14952305.267 | 10.7887 | -36.2958 | 10.7887 | 0
15114335.715 | 10.5403 | -34.8132 | 10.5403 | 0
15278122.004 | 10.3301 | -33.3466 | 10.3301 | 0
15443683.161 | 10.1537 | -31.8683 | 10.1537 | 0
15611038.419 | 10.0538 | -30.3784 | 10.0538 | 0
15780207.219 | 10.023 | -28.9085 | 10.023 | 0
15951209.215 | 10.0716 | -27.4532 | 10.0716 | 0
16124064.272 | 10.2322 | -26.0418 | 10.2322 | 0
16298792.471 | 10.5344 | -24.7724 | 10.5344 | 0
16475414.109 | 10.7788 | -23.7256 | 10.7788 | 0
16653949.704 | 10.9249 | -22.7312 | 10.9249 | 0
16834419.999 | 10.9785 | -21.7608 | 10.9785 | 0
17016845.957 | 11.0386 | -20.7567 | 11.0386 | 0
17201248.771 | 11.1063 | -19.8449 | 11.1063 | 0
17387649.865 | 11.0889 | -18.9915 | 11.0889 | 0
17576070.891 | 11.0099 | -18.0858 | 11.0099 | 0
17766533.738 | 10.968 | -17.1832 | 10.968 | 0
17959060.534 | 10.8302 | -16.3051 | 10.8302 | 0
18153673.644 | 10.6917 | -15.3366 | 10.6917 | 0
18350395.676 | 10.5944 | -14.4017 | 10.5944 | 0
18549249.483 | 10.5688 | -13.4938 | 10.5688 | 0
18750258.167 | 10.6214 | -12.7907 | 10.6214 | 0
18953445.079 | 10.4866 | -12.3765 | 10.4866 | 0
19158833.823 | 9.9123 | -11.9483 | 9.9123 | 0
19366448.26 | 9.0448 | -11.221 | 9.0448 | 0
19576312.507 | 8.0904 | -10.1352 | 8.0904 | 0
19788450.945 | 7.2297 | -8.7464 | 7.2297 | 0
20002888.218 | 6.5625 | -7.186 | 6.5625 | 0
20219649.238 | 6.1103 | -5.5832 | 6.1103 | 0
20438759.186 | 5.8025 | -3.9835 | 5.8025 | 0
20660243.516 | 5.5986 | -2.3794 | 5.5986 | 0
20884127.957 | 5.5 | -0.78155 | 5.5 | 0
21110438.52 | 5.5097 | 0.77798 | 5.5097 | 0
21339201.493 | 5.6013 | 2.2435 | 5.6013 | 0
21570443.453 | 5.7243 | 3.5948 | 5.7243 | 0
21804191.264 | 5.8555 | 4.8362 | 5.8555 | 0
22040472.079 | 5.9032 | 5.9355 | 5.9032 | 0
22279313.348 | 5.7569 | 7.0298 | 5.7569 | 0
22520742.818 | 5.5146 | 8.2633 | 5.5146 | 0
22764788.534 | 5.2848 | 9.61 | 5.2848 | 0
23011478.848 | 5.091 | 11.0241 | 5.091 | 0
23260842.419 | 4.9486 | 12.4832 | 4.9486 | 0
23512908.214 | 4.8543 | 13.9541 | 4.8543 | 0
23767705.517 | 4.7948 | 15.4157 | 4.7948 | 0
24025263.927 | 4.695 | 16.8711 | 4.695 | 0
24285613.366 | 4.6276 | 18.3997 | 4.6276 | 0
24548784.077 | 4.5918 | 19.9307 | 4.5918 | 0
24814806.635 | 4.5625 | 21.4733 | 4.5625 | 0
25083711.942 | 4.5426 | 23.0428 | 4.5426 | 0
25355531.237 | 4.548 | 24.6445 | 4.548 | 0
25630296.099 | 4.5829 | 26.2459 | 4.5829 | 0
25908038.446 | 4.6077 | 27.8717 | 4.6077 | 0
26188790.544 | 4.6595 | 29.5406 | 4.6595 | 0
26472585.009 | 4.742 | 31.225 | 4.742 | 0
26759454.808 | 4.853 | 32.9244 | 4.853 | 0
27049433.268 | 4.9918 | 34.6285 | 4.9918 | 0
27342554.075 | 5.1458 | 36.3373 | 5.1458 | 0
27638851.282 | 5.3083 | 38.0489 | 5.3083 | 0
27938359.31 | 5.482 | 39.7489 | 5.482 | 0
28241112.952 | 5.6349 | 41.4391 | 5.6349 | 0
28547147.38 | 5.7445 | 43.1183 | 5.7445 | 0
28856498.145 | 5.7566 | 44.8355 | 5.7566 | 0
29169201.186 | 5.7014 | 46.6455 | 5.7014 | 0
29485292.829 | 5.6271 | 48.5877 | 5.6271 | 0
29804809.795 | 5.5475 | 50.634 | 5.5475 | 0
30127789.202 | 5.4848 | 52.816 | 5.4848 | 0
30454268.571 | 5.4689 | 55.1394 | 5.4689 | 0
30784285.828 | 5.5266 | 57.5579 | 5.5266 | 0
31117879.314 | 5.6763 | 60.066 | 5.6763 | 0
31455087.78 | 5.9006 | 62.6174 | 5.9006 | 0
31795950.401 | 6.1777 | 65.206 | 6.1777 | 0
32140506.776 | 6.4509 | 67.858 | 6.4509 | 0
32488796.93 | 6.789 | 70.6031 | 6.789 | 0
32840861.326 | 7.131 | 73.4235 | 7.131 | 0
33196740.864 | 7.4873 | 76.3431 | 7.4873 | 0
33556476.884 | 7.8784 | 79.3911 | 7.8784 | 0
33920111.179 | 8.3037 | 82.5815 | 8.3037 | 0
34287685.992 | 8.7991 | 85.9118 | 8.7991 | 0
34659244.025 | 9.3625 | 89.379 | 9.3625 | 0
35034828.441 | 9.9623 | 92.9825 | 9.9623 | 0
35414482.872 | 10.5916 | 96.7594 | 10.5916 | 0
35798251.423 | 11.3156 | 100.7794 | 11.3156 | 0
36186178.677 | 12.1261 | 104.9726 | 12.1261 | 0
36578309.699 | 12.9932 | 109.3661 | 12.9932 | 0
36974690.043 | 13.6206 | 113.4612 | 13.6206 | 0
37375365.757 | 14.5313 | 118.4797 | 14.5313 | 0
37780383.389 | 15.5939 | 123.9654 | 15.5939 | 0
38189789.988 | 16.9017 | 129.9269 | 16.9017 | 0
38603633.116 | 18.5254 | 136.2919 | 18.5254 | 0
39021960.849 | 20.4713 | 143.0929 | 20.4713 | 0
39444821.785 | 22.685 | 150.3956 | 22.685 | 0
39872265.048 | 25.2573 | 158.2614 | 25.2573 | 0
40304340.294 | 28.123 | 166.9367 | 28.123 | 0
40741097.717 | 31.631 | 176.6326 | 31.631 | 0
41182588.056 | 36.1112 | 187.3928 | 36.1112 | 0
41628862.598 | 41.8788 | 199.159 | 41.8788 | 0
42079973.189 | 48.9898 | 211.7812 | 48.9898 | 0
42535972.233 | 57.6545 | 225.6807 | 57.6545 | 0
42996912.705 | 68.8826 | 240.7925 | 68.8826 | 0
43462848.151 | 82.5544 | 256.5946 | 82.5544 | 0
43933832.701 | 98.8819 | 273.7086 | 98.8819 | 0
44409921.068 | 118.9024 | 292.4518 | 118.9024 | 0
44891168.56 | 143.7019 | 312.8593 | 143.7019 | 0
45377631.084 | 174.4057 | 337.8368 | 174.4057 | 0
45869365.152 | 220.7296 | 370.8254 | 220.7296 | 0
46366427.89 | 299.3486 | 402.9859 | 299.3486 | 0
46868877.041 | 423.572 | 405.7127 | 423.572 | 0
47376770.975 | 571.9216 | 325.931 | 571.9216 | 0
47890168.695 | 665.2424 | 151.1611 | 665.2424 | 0
48409129.842 | 636.9006 | -51.8649 | 636.9006 | 0
48933714.704 | 512.2855 | -185.4323 | 512.2855 | 0
49463984.223 | 369.431 | -225.9928 | 369.431 | 0
50000000 | 261.6449 | -198.7661 | 261.6449 | 0
TRACE: B
FORMAT: LINEAR
Frequency | Data Real | Data Imag | Data Trace Real | Data Trace Imag
9000 | 344.5635 | -20928.43 | -20928.43 | 0
9097.528 | 341.0533 | -20703.14 | -20703.14 | 0
9196.114 | 330.5186 | -20487.57 | -20487.57 | 0
9295.767 | 328.6146 | -20269.34 | -20269.34 | 0
9396.501 | 324.0533 | -20046.81 | -20046.81 | 0
9498.326 | 319.5366 | -19831.93 | -19831.93 | 0
9601.254 | 313.2778 | -19627.55 | -19627.55 | 0
9705.298 | 312.6906 | -19422.06 | -19422.06 | 0
9810.469 | 307.8251 | -19216.78 | -19216.78 | 0
9916.78 | 300.0473 | -19008.31 | -19008.31 | 0
10024.243 | 298.4748 | -18804.28 | -18804.28 | 0
10132.871 | 289.6617 | -18603.3 | -18603.3 | 0
10242.676 | 294.5544 | -18405.62 | -18405.62 | 0
10353.67 | 295.664 | -18213.92 | -18213.92 | 0
10465.868 | 287.7166 | -18015.09 | -18015.09 | 0
10579.281 | 282.1312 | -17828.9 | -17828.9 | 0
10693.923 | 282.553 | -17633.07 | -17633.07 | 0
10809.808 | 281.1986 | -17447.93 | -17447.93 | 0
10926.948 | 272.3999 | -17267.11 | -17267.11 | 0
11045.358 | 264.0532 | -17083.16 | -17083.16 | 0
11165.051 | 265.8061 | -16900.45 | -16900.45 | 0
11286.041 | 263.3083 | -16722.7 | -16722.7 | 0
11408.342 | 262.6404 | -16540.94 | -16540.94 | 0
11531.968 | 258.7884 | -16365.49 | -16365.49 | 0
11656.934 | 253.0127 | -16192.79 | -16192.79 | 0
11783.254 | 254.351 | -16018.84 | -16018.84 | 0
11910.943 | 252.4903 | -15847.06 | -15847.06 | 0
12040.016 | 244.6106 | -15679.42 | -15679.42 | 0
12170.487 | 245.6513 | -15509.85 | -15509.85 | 0
12302.373 | 240.4281 | -15352.61 | -15352.61 | 0
12435.687 | 235.7985 | -15185.17 | -15185.17 | 0
12570.446 | 231.5249 | -15025.72 | -15025.72 | 0
12706.666 | 230.4149 | -14865.65 | -14865.65 | 0
12844.361 | 230.4912 | -14706.82 | -14706.82 | 0
12983.549 | 221.4457 | -14549.9 | -14549.9 | 0
13124.245 | 220.9697 | -14396.5 | -14396.5 | 0
13266.466 | 220.5064 | -14244.08 | -14244.08 | 0
13410.228 | 213.0568 | -14088.91 | -14088.91 | 0
13555.548 | 212.4719 | -13941.83 | -13941.83 | 0
13702.442 | 216.4723 | -13791.71 | -13791.71 | 0
13850.928 | 210.0481 | -13644.85 | -13644.85 | 0
14001.024 | 209.2792 | -13498.08 | -13498.08 | 0
14152.746 | 207.1083 | -13355.02 | -13355.02 | 0
14306.112 | 202.1572 | -13213.99 | -13213.99 | 0
14461.14 | 199.8287 | -13074.97 | -13074.97 | 0
14617.848 | 197.9249 | -12928.97 | -12928.97 | 0
14776.254 | 193.2614 | -12796.27 | -12796.27 | 0
14936.376 | 193.8953 | -12658.74 | -12658.74 | 0
15098.234 | 192.822 | -12525.69 | -12525.69 | 0
15261.846 | 188.5398 | -12391.45 | -12391.45 | 0
15427.231 | 188.08 | -12256.96 | -12256.96 | 0
15594.408 | 187.7878 | -12129.37 | -12129.37 | 0
15763.396 | 180.5034 | -12000.11 | -12000.11 | 0
15934.216 | 179.4894 | -11872.55 | -11872.55 | 0
16106.887 | 178.0796 | -11747.13 | -11747.13 | 0
16281.429 | 176.1543 | -11622.02 | -11622.02 | 0
16457.863 | 176.021 | -11496.07 | -11496.07 | 0
16636.208 | 176.933 | -11374.22 | -11374.22 | 0
16816.486 | 174.041 | -11254.93 | -11254.93 | 0
16998.718 | 168.8355 | -11133.96 | -11133.96 | 0
17182.924 | 166.5455 | -11016.07 | -11016.07 | 0
17369.127 | 165.1387 | -10898.63 | -10898.63 | 0
17557.347 | 165.0665 | -10782.76 | -10782.76 | 0
17747.607 | 164.4015 | -10667.18 | -10667.18 | 0
17939.929 | 159.7007 | -10556.65 | -10556.65 | 0
18134.334 | 157.5942 | -10443.73 | -10443.73 | 0
18330.847 | 164.0776 | -10334.18 | -10334.18 | 0
18529.489 | 156.208 | -10219.13 | -10219.13 | 0
18730.283 | 148.5876 | -10108.16 | -10108.16 | 0
18933.254 | 156.7725 | -10004.67 | -10004.67 | 0
19138.424 | 147.6604 | -9899.439 | -9899.439 | 0
19345.817 | 137.4341 | -9777.852 | -9777.852 | 0
19555.458 | 153.5706 | -9672.062 | -9672.062 | 0
19767.37 | 136.4491 | -9524.336 | -9524.336 | 0
19981.579 | 95.1162 | -9539.025 | -9539.025 | 0
20198.109 | 159.867 | -9387.467 | -9387.467 | 0
20416.986 | 141.4755 | -9286.924 | -9286.924 | 0
20638.234 | 134.1263 | -9184.344 | -9184.344 | 0
20861.88 | 136.1778 | -9084.018 | -9084.018 | 0
21087.949 | 133.2155 | -8988.102 | -8988.102 | 0
21316.469 | 129.9072 | -8890.084 | -8890.084 | 0
21547.464 | 132.5602 | -8797.035 | -8797.035 | 0
21780.963 | 131.007 | -8702.07 | -8702.07 | 0
22016.992 | 131.3249 | -8613.443 | -8613.443 | 0
22255.579 | 129.2874 | -8517.166 | -8517.166 | 0
22496.751 | 126.5098 | -8428.018 | -8428.018 | 0
22740.537 | 125.2201 | -8339.777 | -8339.777 | 0
22986.964 | 125.0513 | -8249.051 | -8249.051 | 0
23236.062 | 123.3244 | -8159.069 | -8159.069 | 0
23487.86 | 123.7974 | -8073.695 | -8073.695 | 0
23742.386 | 119.0531 | -7984.011 | -7984.011 | 0
23999.67 | 120.3939 | -7903.963 | -7903.963 | 0
24259.742 | 115.1347 | -7817.262 | -7817.262 | 0
24522.632 | 118.1818 | -7733.761 | -7733.761 | 0
24788.371 | 114.0759 | -7652.895 | -7652.895 | 0
25056.99 | 111.8492 | -7570.316 | -7570.316 | 0
25328.52 | 112.2166 | -7489.108 | -7489.108 | 0
25602.992 | 111.4031 | -7408.514 | -7408.514 | 0
25880.438 | 110.3001 | -7331.407 | -7331.407 | 0
26160.891 | 109.4195 | -7252.745 | -7252.745 | 0
26444.383 | 107.9998 | -7174.541 | -7174.541 | 0
26730.948 | 106.38 | -7097.979 | -7097.979 | 0
27020.617 | 104.0717 | -7022.861 | -7022.861 | 0
27313.426 | 105.5238 | -6948.579 | -6948.579 | 0
27609.407 | 102.0048 | -6873.114 | -6873.114 | 0
27908.596 | 101.8321 | -6800.549 | -6800.549 | 0
28211.027 | 102.3493 | -6727.096 | -6727.096 | 0
28516.736 | 100.4963 | -6656.788 | -6656.788 | 0
28825.757 | 99.2476 | -6584.768 | -6584.768 | 0
29138.127 | 99.0012 | -6514.587 | -6514.587 | 0
29453.882 | 95.5602 | -6444.65 | -6444.65 | 0
29773.058 | 96.8469 | -6376.424 | -6376.424 | 0
30095.694 | 95.177 | -6307.102 | -6307.102 | 0
30421.825 | 95.5706 | -6239.733 | -6239.733 | 0
30751.491 | 92.5414 | -6173.838 | -6173.838 | 0
31084.729 | 92.885 | -6107.182 | -6107.182 | 0
31421.578 | 90.4434 | -6042.62 | -6042.62 | 0
31762.078 | 92.867 | -5979.085 | -5979.085 | 0
32106.267 | 89.051 | -5914.356 | -5914.356 | 0
32454.186 | 89.6937 | -5851.851 | -5851.851 | 0
32805.876 | 86.8981 | -5788.018 | -5788.018 | 0
33161.376 | 88.1452 | -5726.779 | -5726.779 | 0
33520.729 | 86.422 | -5665.48 | -5665.48 | 0
33883.976 | 86.5715 | -5604.209 | -5604.209 | 0
34251.159 | 85.7221 | -5543.922 | -5543.922 | 0
34622.321 | 84.5614 | -5485.027 | -5485.027 | 0
34997.505 | 84.5772 | -5427.016 | -5427.016 | 0
35376.755 | 83.2472 | -5368.66 | -5368.66 | 0
35760.115 | 82.78 | -5310.995 | -5310.995 | 0
36147.629 | 81.6847 | -5253.467 | -5253.467 | 0
36539.342 | 81.5217 | -5196.949 | -5196.949 | 0
36935.301 | 81.7353 | -5143.729 | -5143.729 | 0
37335.549 | 80.1467 | -5087.429 | -5087.429 | 0
37740.136 | 79.3359 | -5034.372 | -5034.372 | 0
38149.106 | 83.9179 | -4974.162 | -4974.162 | 0
38562.508 | 77.7923 | -4923.979 | -4923.979 | 0
38980.39 | 77.8879 | -4872.796 | -4872.796 | 0
39402.801 | 74.8467 | -4820.368 | -4820.368 | 0
39829.789 | 77.2384 | -4771.067 | -4771.067 | 0
40261.404 | 76.4036 | -4716.997 | -4716.997 | 0
40697.696 | 76.035 | -4670.072 | -4670.072 | 0
41138.716 | 74.3399 | -4617.987 | -4617.987 | 0
41584.515 | 74.0486 | -4566.373 | -4566.373 | 0
42035.145 | 71.887 | -4518.988 | -4518.988 | 0
42490.658 | 71.2971 | -4470.955 | -4470.955 | 0
42951.108 | 72.2814 | -4422.839 | -4422.839 | 0
43416.547 | 71.5302 | -4375.045 | -4375.045 | 0
43887.03 | 70.0209 | -4328.381 | -4328.381 | 0
44362.611 | 67.9085 | -4282.055 | -4282.055 | 0
44843.346 | 68.1689 | -4235.769 | -4235.769 | 0
45329.29 | 67.2363 | -4190.755 | -4190.755 | 0
45820.5 | 68.0349 | -4146.127 | -4146.127 | 0
46317.033 | 66.5052 | -4100.942 | -4100.942 | 0
46818.947 | 66.7069 | -4056.829 | -4056.829 | 0
47326.3 | 65.7884 | -4013.486 | -4013.486 | 0
47839.151 | 66.0076 | -3970.264 | -3970.264 | 0
48357.559 | 64.5249 | -3927.198 | -3927.198 | 0
48881.585 | 64.5857 | -3884.875 | -3884.875 | 0
49411.29 | 64.2904 | -3843.149 | -3843.149 | 0
49946.734 | 63.2906 | -3802.085 | -3802.085 | 0
50487.982 | 61.9439 | -3761.047 | -3761.047 | 0
51035.094 | 62.3253 | -3721.185 | -3721.185 | 0
51588.135 | 62.4229 | -3680.81 | -3680.81 | 0
52147.169 | 61.2724 | -3640.814 | -3640.814 | 0
52712.261 | 60.9407 | -3602.137 | -3602.137 | 0
53283.477 | 61.126 | -3563.488 | -3563.488 | 0
53860.882 | 59.669 | -3524.633 | -3524.633 | 0
54444.545 | 58.9349 | -3486.862 | -3486.862 | 0
55034.533 | 59.8943 | -3448.935 | -3448.935 | 0
55630.914 | 59.2605 | -3412.104 | -3412.104 | 0
56233.757 | 58.7093 | -3375.561 | -3375.561 | 0
56843.134 | 58.7511 | -3338.881 | -3338.881 | 0
57459.113 | 57.2849 | -3302.667 | -3302.667 | 0
58081.768 | 56.7531 | -3266.678 | -3266.678 | 0
58711.171 | 56.5896 | -3232.077 | -3232.077 | 0
59347.393 | 56.2522 | -3196.927 | -3196.927 | 0
59990.511 | 55.8768 | -3162.315 | -3162.315 | 0
60640.597 | 56.5032 | -3127.582 | -3127.582 | 0
61297.728 | 55.1392 | -3094.3 | -3094.3 | 0
61961.98 | 55.3864 | -3060.582 | -3060.582 | 0
62633.43 | 55.276 | -3027.293 | -3027.293 | 0
63312.156 | 54.9798 | -2995.75 | -2995.75 | 0
63998.238 | 54.0031 | -2962.64 | -2962.64 | 0
64691.754 | 53.6206 | -2930.449 | -2930.449 | 0
65392.785 | 53.2762 | -2898.544 | -2898.544 | 0
66101.413 | 53.1787 | -2867.009 | -2867.009 | 0
66817.72 | 52.5276 | -2835.8 | -2835.8 | 0
67541.789 | 52.6674 | -2805.137 | -2805.137 | 0
68273.705 | 51.793 | -2775.125 | -2775.125 | 0
69013.552 | 51.8736 | -2745.498 | -2745.498 | 0
69761.416 | 51.7166 | -2714.979 | -2714.979 | 0
70517.385 | 51.3357 | -2685.653 | -2685.653 | 0
71281.546 | 51.6428 | -2656.229 | -2656.229 | 0
72053.987 | 50.4045 | -2627.339 | -2627.339 | 0
72834.799 | 50.1624 | -2599.013 | -2599.013 | 0
73624.072 | 50.1003 | -2570.601 | -2570.601 | 0
74421.899 | 50.5079 | -2542.883 | -2542.883 | 0
75228.371 | 50.3681 | -2515.304 | -2515.304 | 0
76043.582 | 50.0129 | -2487.437 | -2487.437 | 0
76867.627 | 49.6143 | -2460.673 | -2460.673 | 0
77700.602 | 49.275 | -2433.97 | -2433.97 | 0
78542.603 | 48.6208 | -2407.629 | -2407.629 | 0
79393.729 | 48.4667 | -2381.593 | -2381.593 | 0
80254.078 | 48.9835 | -2355.177 | -2355.177 | 0
81123.75 | 49.5765 | -2329.14 | -2329.14 | 0
82002.847 | 47.8596 | -2303.905 | -2303.905 | 0
82891.47 | 48.2432 | -2278.684 | -2278.684 | 0
83789.722 | 47.9137 | -2254.197 | -2254.197 | 0
84697.708 | 47.5018 | -2229.475 | -2229.475 | 0
85615.534 | 46.8282 | -2204.989 | -2204.989 | 0
86543.305 | 47.259 | -2180.245 | -2180.245 | 0
87481.13 | 46.6223 | -2156.573 | -2156.573 | 0
88429.118 | 46.1964 | -2132.72 | -2132.72 | 0
89387.379 | 46.6618 | -2109.865 | -2109.865 | 0
90356.024 | 46.3043 | -2086.496 | -2086.496 | 0
91335.166 | 46.6801 | -2063.778 | -2063.778 | 0
92324.919 | 46.1371 | -2040.71 | -2040.71 | 0
93325.396 | 45.8829 | -2018.237 | -2018.237 | 0
94336.716 | 45.6516 | -1996.312 | -1996.312 | 0
95358.994 | 45.6728 | -1974.471 | -1974.471 | 0
96392.35 | 45.983 | -1952.526 | -1952.526 | 0
97436.905 | 46.1421 | -1930.899 | -1930.899 | 0
98492.779 | 45.3197 | -1909.5 | -1909.5 | 0
99560.094 | 45.415 | -1888.59 | -1888.59 | 0
100638.976 | 45.6836 | -1867.458 | -1867.458 | 0
101729.549 | 45.0962 | -1846.781 | -1846.781 | 0
102831.939 | 45.2592 | -1826.501 | -1826.501 | 0
103946.276 | 44.8022 | -1806.213 | -1806.213 | 0
105072.689 | 45.1555 | -1786.037 | -1786.037 | 0
106211.307 | 44.971 | -1766.365 | -1766.365 | 0
107362.265 | 44.9782 | -1746.544 | -1746.544 | 0
108525.694 | 44.5179 | -1727.411 | -1727.411 | 0
109701.732 | 44.8461 | -1707.703 | -1707.703 | 0
110890.513 | 44.3244 | -1688.905 | -1688.905 | 0
112092.176 | 44.6872 | -1670.303 | -1670.303 | 0
113306.862 | 44.1711 | -1651.573 | -1651.573 | 0
114534.71 | 44.2055 | -1633.101 | -1633.101 | 0
115775.864 | 44.2551 | -1614.842 | -1614.842 | 0
117030.467 | 44.4287 | -1596.825 | -1596.825 | 0
118298.666 | 44.4245 | -1578.966 | -1578.966 | 0
119580.608 | 44.1994 | -1561.145 | -1561.145 | 0
120876.442 | 44.3161 | -1543.697 | -1543.697 | 0
122186.318 | 44.2574 | -1526.25 | -1526.25 | 0
123510.388 | 44.0765 | -1509.079 | -1509.079 | 0
124848.807 | 44.3737 | -1492.031 | -1492.031 | 0
126201.729 | 44.1565 | -1475.312 | -1475.312 | 0
127569.312 | 44.349 | -1458.577 | -1458.577 | 0
128951.715 | 44.4148 | -1442.288 | -1442.288 | 0
130349.099 | 44.4134 | -1425.91 | -1425.91 | 0
131761.625 | 44.2913 | -1409.402 | -1409.402 | 0
133189.458 | 44.3344 | -1393.588 | -1393.588 | 0
134632.764 | 44.1944 | -1377.743 | -1377.743 | 0
136091.71 | 44.5331 | -1362.18 | -1362.18 | 0
137566.466 | 44.2871 | -1346.606 | -1346.606 | 0
139057.203 | 44.3235 | -1331.295 | -1331.295 | 0
140564.094 | 44.4748 | -1315.947 | -1315.947 | 0
142087.315 | 44.3745 | -1300.92 | -1300.92 | 0
143627.042 | 44.6894 | -1285.936 | -1285.936 | 0
145183.455 | 44.7857 | -1271.264 | -1271.264 | 0
146756.733 | 45 | -1256.759 | -1256.759 | 0
148347.061 | 44.8613 | -1242.175 | -1242.175 | 0
149954.621 | 45.2938 | -1227.903 | -1227.903 | 0
151579.603 | 45.001 | -1213.67 | -1213.67 | 0
153222.193 | 45.2981 | -1199.665 | -1199.665 | 0
154882.583 | 45.4303 | -1185.682 | -1185.682 | 0
156560.966 | 45.376 | -1172.03 | -1172.03 | 0
158257.537 | 45.3503 | -1158.411 | -1158.411 | 0
159972.492 | 45.7287 | -1144.853 | -1144.853 | 0
161706.032 | 45.9663 | -1131.484 | -1131.484 | 0
163458.357 | 46.0975 | -1118.361 | -1118.361 | 0
165229.671 | 46.0341 | -1105.304 | -1105.304 | 0
167020.18 | 46.2924 | -1092.234 | -1092.234 | 0
168830.092 | 46.6864 | -1079.442 | -1079.442 | 0
170659.617 | 46.7678 | -1066.91 | -1066.91 | 0
172508.968 | 47.0562 | -1054.008 | -1054.008 | 0
174378.359 | 47.201 | -1041.793 | -1041.793 | 0
176268.007 | 47.2177 | -1029.375 | -1029.375 | 0
178178.133 | 47.394 | -1017.06 | -1017.06 | 0
180108.958 | 47.5841 | -1004.856 | -1004.856 | 0
182060.706 | 47.8583 | -993.0499 | -993.0499 | 0
184033.605 | 47.8791 | -981.0527 | -981.0527 | 0
186027.882 | 48.3421 | -969.4653 | -969.4653 | 0
188043.771 | 48.4074 | -957.844 | -957.844 | 0
190081.504 | 48.7494 | -946.2639 | -946.2639 | 0
192141.32 | 48.9091 | -934.8199 | -934.8199 | 0
194223.457 | 49.1984 | -923.5026 | -923.5026 | 0
196328.157 | 49.4119 | -912.395 | -912.395 | 0
198455.664 | 49.8032 | -901.1227 | -901.1227 | 0
200606.226 | 50.0098 | -890.1061 | -890.1061 | 0
202780.093 | 50.3439 | -879.2218 | -879.2218 | 0
204977.516 | 50.7294 | -868.4015 | -868.4015 | 0
207198.752 | 50.9584 | -857.8329 | -857.8329 | 0
209444.059 | 51.1949 | -847.2419 | -847.2419 | 0
211713.696 | 51.4603 | -836.7496 | -836.7496 | 0
214007.929 | 51.7673 | -826.3917 | -826.3917 | 0
216327.023 | 52.035 | -816.0795 | -816.0795 | 0
218671.247 | 52.4616 | -805.9167 | -805.9167 | 0
221040.875 | 52.8984 | -795.7595 | -795.7595 | 0
223436.182 | 53.3165 | -785.6455 | -785.6455 | 0
225857.445 | 53.527 | -775.8641 | -775.8641 | 0
228304.946 | 54.1527 | -766.001 | -766.001 | 0
230778.969 | 54.4543 | -756.2371 | -756.2371 | 0
233279.802 | 54.8483 | -746.6279 | -746.6279 | 0
235807.736 | 55.2395 | -736.9968 | -736.9968 | 0
238363.063 | 55.6189 | -727.5905 | -727.5905 | 0
240946.081 | 56.1527 | -718.1998 | -718.1998 | 0
243557.09 | 56.515 | -708.9154 | -708.9154 | 0
246196.393 | 57.1668 | -699.655 | -699.655 | 0
248864.297 | 57.4919 | -690.5264 | -690.5264 | 0
251561.111 | 57.9572 | -681.5305 | -681.5305 | 0
254287.15 | 58.4983 | -672.426 | -672.426 | 0
257042.729 | 59.0957 | -663.5958 | -663.5958 | 0
259828.169 | 59.5765 | -654.7863 | -654.7863 | 0
262643.793 | 60.1374 | -646.0801 | -646.0801 | 0
265489.929 | 60.6522 | -637.3807 | -637.3807 | 0
268366.907 | 61.2299 | -628.7256 | -628.7256 | 0
271275.061 | 61.7107 | -620.3269 | -620.3269 | 0
274214.729 | 62.3844 | -611.8831 | -611.8831 | 0
277186.254 | 63.0352 | -603.4614 | -603.4614 | 0
280189.979 | 63.7328 | -595.1594 | -595.1594 | 0
283226.253 | 64.3002 | -586.9349 | -586.9349 | 0
286295.431 | 64.8095 | -578.8075 | -578.8075 | 0
289397.867 | 65.6782 | -570.6641 | -570.6641 | 0
292533.923 | 66.2304 | -562.6877 | -562.6877 | 0
295703.963 | 67.0613 | -554.7211 | -554.7211 | 0
298908.355 | 67.7441 | -546.7765 | -546.7765 | 0
302147.471 | 68.5373 | -538.9803 | -538.9803 | 0
305421.688 | 69.2129 | -531.2266 | -531.2266 | 0
308731.386 | 70.1146 | -523.5664 | -523.5664 | 0
312076.949 | 70.7637 | -515.9126 | -515.9126 | 0
315458.767 | 71.8079 | -508.326 | -508.326 | 0
318877.231 | 72.5426 | -500.7735 | -500.7735 | 0
322332.74 | 73.4004 | -493.3147 | -493.3147 | 0
325825.694 | 74.3763 | -485.9472 | -485.9472 | 0
329356.5 | 75.1644 | -478.6391 | -478.6391 | 0
332925.567 | 76.0779 | -471.3772 | -471.3772 | 0
336533.31 | 77.1403 | -464.0629 | -464.0629 | 0
340180.149 | 78.1141 | -456.9205 | -456.9205 | 0
343866.506 | 79.2024 | -449.7344 | -449.7344 | 0
347592.811 | 80.1801 | -442.7085 | -442.7085 | 0
351359.495 | 81.3088 | -435.7196 | -435.7196 | 0
355166.998 | 82.3821 | -428.7607 | -428.7607 | 0
359015.76 | 83.5372 | -421.8784 | -421.8784 | 0
362906.229 | 84.6984 | -415.019 | -415.019 | 0
366838.858 | 85.9218 | -408.168 | -408.168 | 0
370814.102 | 87.1405 | -401.4386 | -401.4386 | 0
374832.424 | 88.3597 | -394.7466 | -394.7466 | 0
378894.29 | 89.708 | -388.0693 | -388.0693 | 0
383000.173 | 91.0094 | -381.4191 | -381.4191 | 0
387150.549 | 92.5189 | -374.9294 | -374.9294 | 0
391345.9 | 93.8912 | -368.4095 | -368.4095 | 0
395586.715 | 95.2963 | -361.9078 | -361.9078 | 0
399873.485 | 96.895 | -355.571 | -355.571 | 0
404206.708 | 98.4044 | -349.1727 | -349.1727 | 0
408586.888 | 100.0128 | -342.8233 | -342.8233 | 0
413014.535 | 101.656 | -336.5477 | -336.5477 | 0
417490.161 | 103.4051 | -330.4074 | -330.4074 | 0
422014.287 | 105.1358 | -324.1824 | -324.1824 | 0
426587.439 | 106.9116 | -318.0952 | -318.0952 | 0
431210.148 | 108.7966 | -311.9814 | -311.9814 | 0
435882.951 | 110.6363 | -305.9738 | -305.9738 | 0
440606.39 | 112.7053 | -300.0157 | -300.0157 | 0
445381.015 | 114.7841 | -294.0264 | -294.0264 | 0
450207.38 | 116.848 | -288.1647 | -288.1647 | 0
455086.046 | 119.0818 | -282.3209 | -282.3209 | 0
460017.58 | 121.2632 | -276.5186 | -276.5186 | 0
465002.554 | 123.6196 | -270.7684 | -270.7684 | 0
470041.548 | 126.0021 | -265.0963 | -265.0963 | 0
475135.147 | 128.506 | -259.4778 | -259.4778 | 0
480283.942 | 131.1278 | -253.8775 | -253.8775 | 0
485488.532 | 133.7517 | -248.3595 | -248.3595 | 0
490749.522 | 136.4804 | -242.9366 | -242.9366 | 0
496067.522 | 139.2722 | -237.5754 | -237.5754 | 0
501443.151 | 142.2603 | -232.1987 | -232.1987 | 0
506877.033 | 145.3091 | -226.9817 | -226.9817 | 0
512369.799 | 148.4155 | -221.7758 | -221.7758 | 0
517922.087 | 151.7107 | -216.6774 | -216.6774 | 0
523534.542 | 155.0339 | -211.6373 | -211.6373 | 0
529207.817 | 158.5266 | -206.7221 | -206.7221 | 0
534942.57 | 162.1074 | -201.8567 | -201.8567 | 0
540739.468 | 165.8339 | -197.1244 | -197.1244 | 0
546599.184 | 169.702 | -192.4478 | -192.4478 | 0
552522.398 | 173.6911 | -187.8783 | -187.8783 | 0
558509.8 | 177.7968 | -183.4886 | -183.4886 | 0
564562.083 | 182.0684 | -179.1624 | -179.1624 | 0
570679.952 | 186.4887 | -175.0257 | -175.0257 | 0
576864.118 | 191.0146 | -170.9816 | -170.9816 | 0
583115.298 | 195.7187 | -167.1367 | -167.1367 | 0
589434.219 | 200.5601 | -163.4408 | -163.4408 | 0
595821.614 | 205.5305 | -159.969 | -159.969 | 0
602278.227 | 210.6904 | -156.6307 | -156.6307 | 0
608804.807 | 216.0281 | -153.5185 | -153.5185 | 0
615402.111 | 221.4721 | -150.5888 | -150.5888 | 0
622070.908 | 227.0613 | -147.935 | -147.935 | 0
628811.971 | 232.7913 | -145.5432 | -145.5432 | 0
635626.083 | 238.6979 | -143.4748 | -143.4748 | 0
642514.036 | 244.7128 | -141.6162 | -141.6162 | 0
649476.63 | 250.866 | -140.1628 | -140.1628 | 0
656514.675 | 257.1054 | -138.9764 | -138.9764 | 0
663628.987 | 263.4885 | -138.132 | -138.132 | 0
670820.393 | 269.9066 | -137.7356 | -137.7356 | 0
678089.729 | 276.4684 | -137.6621 | -137.6621 | 0
685437.839 | 283.001 | -138.0368 | -138.0368 | 0
692865.577 | 289.579 | -138.8539 | -138.8539 | 0
700373.805 | 296.1183 | -140.1242 | -140.1242 | 0
707963.396 | 302.6573 | -141.8516 | -141.8516 | 0
715635.231 | 309.1016 | -143.9845 | -143.9845 | 0
723390.203 | 315.4239 | -146.6742 | -146.6742 | 0
731229.21 | 321.6154 | -149.8673 | -149.8673 | 0
739153.166 | 327.5718 | -153.559 | -153.559 | 0
747162.989 | 333.3644 | -157.7414 | -157.7414 | 0
755259.61 | 338.8707 | -162.4483 | -162.4483 | 0
763443.97 | 343.9778 | -167.483 | -167.483 | 0
771717.02 | 348.7783 | -173.1805 | -173.1805 | 0
780079.721 | 353.144 | -179.2518 | -179.2518 | 0
788533.044 | 357.0919 | -185.7167 | -185.7167 | 0
797077.971 | 360.4658 | -192.5719 | -192.5719 | 0
805715.496 | 363.361 | -199.7147 | -199.7147 | 0
814446.62 | 365.6281 | -207.3199 | -207.3199 | 0
823272.36 | 367.381 | -214.9715 | -214.9715 | 0
832193.739 | 368.361 | -223.0369 | -223.0369 | 0
841211.795 | 368.8768 | -231.1175 | -231.1175 | 0
850327.575 | 368.5946 | -239.3537 | -239.3537 | 0
859542.138 | 367.7396 | -247.6522 | -247.6522 | 0
868856.555 | 366.1146 | -255.8525 | -255.8525 | 0
878271.907 | 363.8122 | -264.0677 | -264.0677 | 0
887789.288 | 360.7459 | -272.0602 | -272.0602 | 0
897409.804 | 357.1418 | -279.9395 | -279.9395 | 0
907134.573 | 352.791 | -287.6066 | -287.6066 | 0
916964.724 | 347.9368 | -294.8451 | -294.8451 | 0
926901.4 | 342.4435 | -301.7827 | -301.7827 | 0
936945.754 | 336.5037 | -308.2094 | -308.2094 | 0
947098.953 | 329.9223 | -314.2257 | -314.2257 | 0
957362.178 | 323.0298 | -319.7241 | -319.7241 | 0
967736.62 | 315.6813 | -324.7695 | -324.7695 | 0
978223.484 | 307.9783 | -329.1796 | -329.1796 | 0
988823.99 | 300.0792 | -333.1111 | -333.1111 | 0
999539.367 | 291.9298 | -336.3275 | -336.3275 | 0
1010370.861 | 283.5995 | -339.1144 | -339.1144 | 0
1021319.731 | 275.1223 | -341.2756 | -341.2756 | 0
1032387.248 | 266.7453 | -342.8167 | -342.8167 | 0
1043574.698 | 258.331 | -343.8213 | -343.8213 | 0
1054883.381 | 249.9782 | -344.2733 | -344.2733 | 0
1066314.61 | 241.6432 | -344.2449 | -344.2449 | 0
1077869.714 | 233.5244 | -343.769 | -343.769 | 0
1089550.034 | 225.4971 | -342.8438 | -342.8438 | 0
1101356.928 | 217.6302 | -341.5195 | -341.5195 | 0
1113291.767 | 209.9971 | -339.6909 | -339.6909 | 0
1125355.937 | 202.6534 | -337.5597 | -337.5597 | 0
1137550.841 | 195.4934 | -335.2877 | -335.2877 | 0
1149877.895 | 188.5767 | -332.4306 | -332.4306 | 0
1162338.531 | 182.0488 | -329.5305 | -329.5305 | 0
1174934.196 | 175.5868 | -326.3321 | -326.3321 | 0
1187666.354 | 169.5985 | -322.8 | -322.8 | 0
1200536.484 | 163.7319 | -319.2903 | -319.2903 | 0
1213546.081 | 158.2391 | -315.5231 | -315.5231 | 0
1226696.656 | 152.843 | -311.6271 | -311.6271 | 0
1239989.738 | 147.7831 | -307.6259 | -307.6259 | 0
1253426.869 | 143.0557 | -303.5298 | -303.5298 | 0
1267009.612 | 138.4605 | -299.386 | -299.386 | 0
1280739.544 | 134.1706 | -295.1074 | -295.1074 | 0
1294618.26 | 130.1145 | -290.773 | -290.773 | 0
1308647.373 | 126.1581 | -286.5055 | -286.5055 | 0
1322828.512 | 122.5731 | -282.155 | -282.155 | 0
1337163.325 | 119.1383 | -277.7294 | -277.7294 | 0
1351653.477 | 115.9237 | -273.3289 | -273.3289 | 0
1366300.651 | 112.8474 | -268.9748 | -268.9748 | 0
1381106.549 | 109.9114 | -264.6285 | -264.6285 | 0
1396072.891 | 107.272 | -260.2479 | -260.2479 | 0
1411201.415 | 104.7347 | -255.9155 | -255.9155 | 0
1426493.88 | 102.3691 | -251.631 | -251.631 | 0
1441952.061 | 100.1869 | -247.2667 | -247.2667 | 0
1457577.754 | 98.0807 | -242.9951 | -242.9951 | 0
1473372.775 | 96.2094 | -238.7616 | -238.7616 | 0
1489338.959 | 94.3824 | -234.605 | -234.605 | 0
1505478.16 | 92.7848 | -230.48 | -230.48 | 0
1521792.253 | 91.2343 | -226.3387 | -226.3387 | 0
1538283.134 | 89.8237 | -222.2899 | -222.2899 | 0
1554952.717 | 88.5016 | -218.2723 | -218.2723 | 0
1571802.941 | 87.3695 | -214.3153 | -214.3153 | 0
1588835.762 | 86.2994 | -210.3877 | -210.3877 | 0
1606053.158 | 85.26 | -206.5292 | -206.5292 | 0
1623457.131 | 84.4467 | -202.6856 | -202.6856 | 0
1641049.702 | 83.6373 | -198.9302 | -198.9302 | 0
1658832.914 | 82.9917 | -195.2094 | -195.2094 | 0
1676808.834 | 82.3934 | -191.5717 | -191.5717 | 0
1694979.549 | 81.8863 | -187.9713 | -187.9713 | 0
1713347.172 | 81.5142 | -184.4004 | -184.4004 | 0
1731913.834 | 81.1568 | -180.9105 | -180.9105 | 0
1750681.695 | 80.8826 | -177.5194 | -177.5194 | 0
1769652.932 | 80.7211 | -174.1017 | -174.1017 | 0
1788829.752 | 80.6252 | -170.7954 | -170.7954 | 0
1808214.38 | 80.6173 | -167.5429 | -167.5429 | 0
1827809.07 | 80.6667 | -164.3458 | -164.3458 | 0
1847616.098 | 80.7829 | -161.2086 | -161.2086 | 0
1867637.764 | 80.9643 | -158.146 | -158.146 | 0
1887876.395 | 81.2434 | -155.1364 | -155.1364 | 0
1908334.341 | 81.5757 | -152.199 | -152.199 | 0
1929013.98 | 81.965 | -149.3175 | -149.3175 | 0
1949917.713 | 82.43 | -146.5232 | -146.5232 | 0
1971047.969 | 82.932 | -143.809 | -143.809 | 0
1992407.203 | 83.5109 | -141.1576 | -141.1576 | 0
2013997.896 | 84.1498 | -138.5717 | -138.5717 | 0
2035822.556 | 84.834 | -136.071 | -136.071 | 0
2057883.719 | 85.5713 | -133.6717 | -133.6717 | 0
2080183.947 | 86.3683 | -131.3138 | -131.3138 | 0
2102725.832 | 87.2077 | -129.0794 | -129.0794 | 0
2125511.991 | 88.069 | -126.914 | -126.914 | 0
2148545.072 | 88.9801 | -124.8465 | -124.8465 | 0
2171827.751 | 89.9461 | -122.8393 | -122.8393 | 0
2195362.732 | 90.9174 | -120.9828 | -120.9828 | 0
2219152.75 | 91.9259 | -119.1817 | -119.1817 | 0
2243200.568 | 92.9468 | -117.5072 | -117.5072 | 0
2267508.979 | 93.9922 | -115.9245 | -115.9245 | 0
2292080.809 | 95.037 | -114.4341 | -114.4341 | 0
2316918.911 | 96.0928 | -113.0369 | -113.0369 | 0
2342026.17 | 97.1635 | -111.7452 | -111.7452 | 0
2367405.504 | 98.1781 | -110.5777 | -110.5777 | 0
2393059.861 | 99.2025 | -109.4983 | -109.4983 | 0
2418992.221 | 100.2232 | -108.4961 | -108.4961 | 0
2445205.597 | 101.1766 | -107.6004 | -107.6004 | 0
2471703.033 | 102.1054 | -106.7837 | -106.7837 | 0
2498487.609 | 102.9748 | -106.0643 | -106.0643 | 0
2525562.435 | 103.8347 | -105.4087 | -105.4087 | 0
2552930.657 | 104.6244 | -104.819 | -104.819 | 0
2580595.454 | 105.347 | -104.3046 | -104.3046 | 0
2608560.041 | 106.0165 | -103.8423 | -103.8423 | 0
2636827.666 | 106.6272 | -103.4439 | -103.4439 | 0
2665401.612 | 107.1687 | -103.068 | -103.068 | 0
2694285.2 | 107.6512 | -102.7244 | -102.7244 | 0
2723481.784 | 108.0714 | -102.4447 | -102.4447 | 0
2752994.756 | 108.4418 | -102.1457 | -102.1457 | 0
2782827.546 | 108.7394 | -101.8585 | -101.8585 | 0
2812983.618 | 108.9909 | -101.5993 | -101.5993 | 0
2843466.476 | 109.1861 | -101.3135 | -101.3135 | 0
2874279.66 | 109.3535 | -101.0595 | -101.0595 | 0
2905426.752 | 109.4644 | -100.7596 | -100.7596 | 0
2936911.369 | 109.5733 | -100.4786 | -100.4786 | 0
2968737.168 | 109.6535 | -100.1862 | -100.1862 | 0
3000907.847 | 109.7016 | -99.8705 | -99.8705 | 0
3033427.143 | 109.7549 | -99.5583 | -99.5583 | 0
3066298.834 | 109.8002 | -99.2436 | -99.2436 | 0
3099526.739 | 109.8243 | -98.9356 | -98.9356 | 0
3133114.717 | 109.8559 | -98.6149 | -98.6149 | 0
3167066.671 | 109.9162 | -98.3247 | -98.3247 | 0
3201386.545 | 109.9852 | -98.0256 | -98.0256 | 0
3236078.326 | 110.0285 | -97.7516 | -97.7516 | 0
3271146.044 | 110.1222 | -97.5007 | -97.5007 | 0
3306593.772 | 110.1918 | -97.2816 | -97.2816 | 0
3342425.63 | 110.2734 | -97.0781 | -97.0781 | 0
3378645.779 | 110.3669 | -96.9325 | -96.9325 | 0
3415258.427 | 110.4267 | -96.8121 | -96.8121 | 0
3452267.827 | 110.4738 | -96.7764 | -96.7764 | 0
3489678.279 | 110.5342 | -96.7538 | -96.7538 | 0
3527494.129 | 110.5508 | -96.774 | -96.774 | 0
3565719.77 | 110.5426 | -96.8595 | -96.8595 | 0
3604359.643 | 110.4821 | -96.9752 | -96.9752 | 0
3643418.236 | 110.4075 | -97.1462 | -97.1462 | 0
3682900.087 | 110.2688 | -97.3514 | -97.3514 | 0
3722809.783 | 110.0835 | -97.6066 | -97.6066 | 0
3763151.959 | 109.8465 | -97.8854 | -97.8854 | 0
3803931.303 | 109.5414 | -98.178 | -98.178 | 0
3845152.552 | 109.1553 | -98.5195 | -98.5195 | 0
3886820.494 | 108.7139 | -98.8588 | -98.8588 | 0
3928939.97 | 108.2051 | -99.2058 | -99.2058 | 0
3971515.874 | 107.6103 | -99.538 | -99.538 | 0
4014553.15 | 106.982 | -99.8673 | -99.8673 | 0
4058056.8 | 106.2523 | -100.1865 | -100.1865 | 0
4102031.876 | 105.4547 | -100.4937 | -100.4937 | 0
4146483.487 | 104.6074 | -100.7684 | -100.7684 | 0
4191416.798 | 103.6918 | -101.0205 | -101.0205 | 0
4236837.027 | 102.7328 | -101.2331 | -101.2331 | 0
4282749.453 | 101.6943 | -101.3959 | -101.3959 | 0
4329159.408 | 100.6337 | -101.5078 | -101.5078 | 0
4376072.284 | 99.4924 | -101.5998 | -101.5998 | 0
4423493.53 | 98.3157 | -101.6289 | -101.6289 | 0
4471428.656 | 97.0825 | -101.6013 | -101.6013 | 0
4519883.231 | 95.832 | -101.5204 | -101.5204 | 0
4568862.882 | 94.5397 | -101.3954 | -101.3954 | 0
4618373.301 | 93.2149 | -101.1786 | -101.1786 | 0
4668420.24 | 91.8619 | -100.91 | -100.91 | 0
4719009.511 | 90.4739 | -100.5588 | -100.5588 | 0
4770146.991 | 89.0538 | -100.1535 | -100.1535 | 0
4821838.623 | 87.6453 | -99.6474 | -99.6474 | 0
4874090.41 | 86.2016 | -99.0722 | -99.0722 | 0
4926908.423 | 84.7447 | -98.4059 | -98.4059 | 0
4980298.798 | 83.3167 | -97.6338 | -97.6338 | 0
5034267.736 | 81.8519 | -96.7442 | -96.7442 | 0
5088821.509 | 80.451 | -95.7951 | -95.7951 | 0
5143966.452 | 79.0691 | -94.7499 | -94.7499 | 0
5199708.973 | 77.7231 | -93.607 | -93.607 | 0
5256055.547 | 76.4433 | -92.3359 | -92.3359 | 0
5313012.72 | 75.2349 | -91.0027 | -91.0027 | 0
5370587.108 | 74.0785 | -89.5708 | -89.5708 | 0
5428785.401 | 73.0251 | -88.054 | -88.054 | 0
5487614.358 | 72.0469 | -86.4703 | -86.4703 | 0
5547080.815 | 71.1945 | -84.7909 | -84.7909 | 0
5607191.679 | 70.4521 | -83.0702 | -83.0702 | 0
5667953.934 | 69.8231 | -81.2802 | -81.2802 | 0
5729374.638 | 69.3322 | -79.4593 | -79.4593 | 0
5791460.926 | 68.9659 | -77.603 | -77.603 | 0
5854220.012 | 68.7412 | -75.7318 | -75.7318 | 0
5917659.186 | 68.6619 | -73.8422 | -73.8422 | 0
5981785.817 | 68.7262 | -71.9904 | -71.9904 | 0
6046607.356 | 68.9283 | -70.1182 | -70.1182 | 0
6112131.333 | 69.2868 | -68.2661 | -68.2661 | 0
6178365.359 | 69.8092 | -66.4591 | -66.4591 | 0
6245317.129 | 70.4822 | -64.7145 | -64.7145 | 0
6312994.421 | 71.3173 | -63.0239 | -63.0239 | 0
6381405.098 | 72.2924 | -61.4166 | -61.4166 | 0
6450557.105 | 73.4417 | -59.9067 | -59.9067 | 0
6520458.478 | 74.7474 | -58.4919 | -58.4919 | 0
6591117.335 | 76.2092 | -57.2186 | -57.2186 | 0
6662541.887 | 77.8179 | -56.0897 | -56.0897 | 0
6734740.429 | 79.5911 | -55.1189 | -55.1189 | 0
6807721.35 | 81.5031 | -54.3373 | -54.3373 | 0
6881493.128 | 83.5554 | -53.7655 | -53.7655 | 0
6956064.332 | 85.7446 | -53.4609 | -53.4609 | 0
7031443.627 | 88.0416 | -53.415 | -53.415 | 0
7107639.768 | 90.4454 | -53.6872 | -53.6872 | 0
7184661.607 | 92.8887 | -54.3228 | -54.3228 | 0
7262518.093 | 95.3904 | -55.2984 | -55.2984 | 0
7341218.269 | 97.8498 | -56.7284 | -56.7284 | 0
7420771.279 | 100.2154 | -58.5885 | -58.5885 | 0
7501186.364 | 102.4234 | -60.8961 | -60.8961 | 0
7582472.866 | 104.3777 | -63.6727 | -63.6727 | 0
7664640.227 | 105.9637 | -66.9229 | -66.9229 | 0
7747697.994 | 107.065 | -70.5688 | -70.5688 | 0
7831655.816 | 107.5775 | -74.4643 | -74.4643 | 0
7916523.445 | 107.5546 | -78.5119 | -78.5119 | 0
8002310.742 | 106.9337 | -82.6906 | -82.6906 | 0
8089027.671 | 105.6625 | -86.8883 | -86.8883 | 0
8176684.307 | 103.7281 | -90.9605 | -90.9605 | 0
8265290.832 | 101.156 | -94.7947 | -94.7947 | 0
8354857.541 | 98.0273 | -98.2455 | -98.2455 | 0
8445394.839 | 94.4296 | -101.2536 | -101.2536 | 0
8536913.243 | 90.4621 | -103.7261 | -103.7261 | 0
8629423.384 | 86.2527 | -105.6452 | -105.6452 | 0
8722936.011 | 81.8937 | -107.0136 | -107.0136 | 0
8817461.986 | 77.493 | -107.8065 | -107.8065 | 0
8913012.29 | 73.1697 | -108.1154 | -108.1154 | 0
9009598.024 | 68.9641 | -107.9502 | -107.9502 | 0
9107230.407 | 64.9174 | -107.3939 | -107.3939 | 0
9205920.783 | 61.0907 | -106.4916 | -106.4916 | 0
9305680.615 | 57.5151 | -105.3265 | -105.3265 | 0
9406521.494 | 54.1694 | -103.9292 | -103.9292 | 0
9508455.133 | 51.0819 | -102.3485 | -102.3485 | 0
9611493.375 | 48.2362 | -100.6251 | -100.6251 | 0
9715648.189 | 45.6221 | -98.8263 | -98.8263 | 0
9820931.676 | 43.2302 | -96.947 | -96.947 | 0
9927356.065 | 41.036 | -95.0366 | -95.0366 | 0
10034933.721 | 39.0177 | -93.1007 | -93.1007 | 0
10143677.141 | 37.1686 | -91.1794 | -91.1794 | 0
10253598.957 | 35.4826 | -89.2404 | -89.2404 | 0
10364711.94 | 33.9242 | -87.3391 | -87.3391 | 0
10477028.997 | 32.4926 | -85.4511 | -85.4511 | 0
10590563.176 | 31.1547 | -83.5925 | -83.5925 | 0
10705327.666 | 29.9337 | -81.7651 | -81.7651 | 0
10821335.801 | 28.7974 | -79.9731 | -79.9731 | 0
10938601.056 | 27.7346 | -78.2182 | -78.2182 | 0
11057137.054 | 26.7449 | -76.4951 | -76.4951 | 0
11176957.566 | 25.8037 | -74.8219 | -74.8219 | 0
11298076.511 | 24.9195 | -73.1742 | -73.1742 | 0
11420507.96 | 24.0624 | -71.5459 | -71.5459 | 0
11544266.136 | 23.2499 | -69.9335 | -69.9335 | 0
11669365.415 | 22.4876 | -68.3337 | -68.3337 | 0
11795820.331 | 21.7856 | -66.7616 | -66.7616 | 0
11923645.574 | 21.1297 | -65.2106 | -65.2106 | 0
12052855.993 | 20.5082 | -63.6944 | -63.6944 | 0
12183466.6 | 19.9235 | -62.2064 | -62.2064 | 0
12315492.566 | 19.3675 | -60.7581 | -60.7581 | 0
12448949.23 | 18.8369 | -59.3326 | -59.3326 | 0
12583852.095 | 18.3269 | -57.9463 | -57.9463 | 0
12720216.834 | 17.8231 | -56.5849 | -56.5849 | 0
12858059.286 | 17.3269 | -55.2489 | -55.2489 | 0
12997395.467 | 16.8365 | -53.9326 | -53.9326 | 0
13138241.562 | 16.3434 | -52.6328 | -52.6328 | 0
13280613.934 | 15.845 | -51.3456 | -51.3456 | 0
13424529.122 | 15.349 | -50.0633 | -50.0633 | 0
13570003.846 | 14.8376 | -48.7739 | -48.7739 | 0
13717055.004 | 14.3262 | -47.4752 | -47.4752 | 0
13865699.679 | 13.8217 | -46.1648 | -46.1648 | 0
14015955.141 | 13.3218 | -44.83 | -44.83 | 0
14167838.844 | 12.8287 | -43.4777 | -43.4777 | 0
14321368.433 | 12.3531 | -42.0941 | -42.0941 | 0
14476561.742 | 11.8987 | -40.6912 | -40.6912 | 0
14633436.802 | 11.4838 | -39.2516 | -39.2516 | 0
14792011.837 | 11.1094 | -37.7836 | -37.7836 | 0
14952305.267 | 10.7887 | -36.2958 | -36.2958 | 0
15114335.715 | 10.5403 | -34.8132 | -34.8132 | 0
15278122.004 | 10.3301 | -33.3466 | -33.3466 | 0
15443683.161 | 10.1537 | -31.8683 | -31.8683 | 0
15611038.419 | 10.0538 | -30.3784 | -30.3784 | 0
15780207.219 | 10.023 | -28.9085 | -28.9085 | 0
15951209.215 | 10.0716 | -27.4532 | -27.4532 | 0
16124064.272 | 10.2322 | -26.0418 | -26.0418 | 0
16298792.471 | 10.5344 | -24.7724 | -24.7724 | 0
16475414.109 | 10.7788 | -23.7256 | -23.7256 | 0
16653949.704 | 10.9249 | -22.7312 | -22.7312 | 0
16834419.999 | 10.9785 | -21.7608 | -21.7608 | 0
17016845.957 | 11.0386 | -20.7567 | -20.7567 | 0
17201248.771 | 11.1063 | -19.8449 | -19.8449 | 0
17387649.865 | 11.0889 | -18.9915 | -18.9915 | 0
17576070.891 | 11.0099 | -18.0858 | -18.0858 | 0
17766533.738 | 10.968 | -17.1832 | -17.1832 | 0
17959060.534 | 10.8302 | -16.3051 | -16.3051 | 0
18153673.644 | 10.6917 | -15.3366 | -15.3366 | 0
18350395.676 | 10.5944 | -14.4017 | -14.4017 | 0
18549249.483 | 10.5688 | -13.4938 | -13.4938 | 0
18750258.167 | 10.6214 | -12.7907 | -12.7907 | 0
18953445.079 | 10.4866 | -12.3765 | -12.3765 | 0
19158833.823 | 9.9123 | -11.9483 | -11.9483 | 0
19366448.26 | 9.0448 | -11.221 | -11.221 | 0
19576312.507 | 8.0904 | -10.1352 | -10.1352 | 0
19788450.945 | 7.2297 | -8.7464 | -8.7464 | 0
20002888.218 | 6.5625 | -7.186 | -7.186 | 0
20219649.238 | 6.1103 | -5.5832 | -5.5832 | 0
20438759.186 | 5.8025 | -3.9835 | -3.9835 | 0
20660243.516 | 5.5986 | -2.3794 | -2.3794 | 0
20884127.957 | 5.5 | -0.78155 | -0.78155 | 0
21110438.52 | 5.5097 | 0.77798 | 0.77798 | 0
21339201.493 | 5.6013 | 2.2435 | 2.2435 | 0
21570443.453 | 5.7243 | 3.5948 | 3.5948 | 0
21804191.264 | 5.8555 | 4.8362 | 4.8362 | 0
22040472.079 | 5.9032 | 5.9355 | 5.9355 | 0
22279313.348 | 5.7569 | 7.0298 | 7.0298 | 0
22520742.818 | 5.5146 | 8.2633 | 8.2633 | 0
22764788.534 | 5.2848 | 9.61 | 9.61 | 0
23011478.848 | 5.091 | 11.0241 | 11.0241 | 0
23260842.419 | 4.9486 | 12.4832 | 12.4832 | 0
23512908.214 | 4.8543 | 13.9541 | 13.9541 | 0
23767705.517 | 4.7948 | 15.4157 | 15.4157 | 0
24025263.927 | 4.695 | 16.8711 | 16.8711 | 0
24285613.366 | 4.6276 | 18.3997 | 18.3997 | 0
24548784.077 | 4.5918 | 19.9307 | 19.9307 | 0
24814806.635 | 4.5625 | 21.4733 | 21.4733 | 0
25083711.942 | 4.5426 | 23.0428 | 23.0428 | 0
25355531.237 | 4.548 | 24.6445 | 24.6445 | 0
25630296.099 | 4.5829 | 26.2459 | 26.2459 | 0
25908038.446 | 4.6077 | 27.8717 | 27.8717 | 0
26188790.544 | 4.6595 | 29.5406 | 29.5406 | 0
26472585.009 | 4.742 | 31.225 | 31.225 | 0
26759454.808 | 4.853 | 32.9244 | 32.9244 | 0
27049433.268 | 4.9918 | 34.6285 | 34.6285 | 0
27342554.075 | 5.1458 | 36.3373 | 36.3373 | 0
27638851.282 | 5.3083 | 38.0489 | 38.0489 | 0
27938359.31 | 5.482 | 39.7489 | 39.7489 | 0
28241112.952 | 5.6349 | 41.4391 | 41.4391 | 0
28547147.38 | 5.7445 | 43.1183 | 43.1183 | 0
28856498.145 | 5.7566 | 44.8355 | 44.8355 | 0
29169201.186 | 5.7014 | 46.6455 | 46.6455 | 0
29485292.829 | 5.6271 | 48.5877 | 48.5877 | 0
29804809.795 | 5.5475 | 50.634 | 50.634 | 0
30127789.202 | 5.4848 | 52.816 | 52.816 | 0
30454268.571 | 5.4689 | 55.1394 | 55.1394 | 0
30784285.828 | 5.5266 | 57.5579 | 57.5579 | 0
31117879.314 | 5.6763 | 60.066 | 60.066 | 0
31455087.78 | 5.9006 | 62.6174 | 62.6174 | 0
31795950.401 | 6.1777 | 65.206 | 65.206 | 0
32140506.776 | 6.4509 | 67.858 | 67.858 | 0
32488796.93 | 6.789 | 70.6031 | 70.6031 | 0
32840861.326 | 7.131 | 73.4235 | 73.4235 | 0
33196740.864 | 7.4873 | 76.3431 | 76.3431 | 0
33556476.884 | 7.8784 | 79.3911 | 79.3911 | 0
33920111.179 | 8.3037 | 82.5815 | 82.5815 | 0
34287685.992 | 8.7991 | 85.9118 | 85.9118 | 0
34659244.025 | 9.3625 | 89.379 | 89.379 | 0
35034828.441 | 9.9623 | 92.9825 | 92.9825 | 0
35414482.872 | 10.5916 | 96.7594 | 96.7594 | 0
35798251.423 | 11.3156 | 100.7794 | 100.7794 | 0
36186178.677 | 12.1261 | 104.9726 | 104.9726 | 0
36578309.699 | 12.9932 | 109.3661 | 109.3661 | 0
36974690.043 | 13.6206 | 113.4612 | 113.4612 | 0
37375365.757 | 14.5313 | 118.4797 | 118.4797 | 0
37780383.389 | 15.5939 | 123.9654 | 123.9654 | 0
38189789.988 | 16.9017 | 129.9269 | 129.9269 | 0
38603633.116 | 18.5254 | 136.2919 | 136.2919 | 0
39021960.849 | 20.4713 | 143.0929 | 143.0929 | 0
39444821.785 | 22.685 | 150.3956 | 150.3956 | 0
39872265.048 | 25.2573 | 158.2614 | 158.2614 | 0
40304340.294 | 28.123 | 166.9367 | 166.9367 | 0
40741097.717 | 31.631 | 176.6326 | 176.6326 | 0
41182588.056 | 36.1112 | 187.3928 | 187.3928 | 0
41628862.598 | 41.8788 | 199.159 | 199.159 | 0
42079973.189 | 48.9898 | 211.7812 | 211.7812 | 0
42535972.233 | 57.6545 | 225.6807 | 225.6807 | 0
42996912.705 | 68.8826 | 240.7925 | 240.7925 | 0
43462848.151 | 82.5544 | 256.5946 | 256.5946 | 0
43933832.701 | 98.8819 | 273.7086 | 273.7086 | 0
44409921.068 | 118.9024 | 292.4518 | 292.4518 | 0
44891168.56 | 143.7019 | 312.8593 | 312.8593 | 0
45377631.084 | 174.4057 | 337.8368 | 337.8368 | 0
45869365.152 | 220.7296 | 370.8254 | 370.8254 | 0
46366427.89 | 299.3486 | 402.9859 | 402.9859 | 0
46868877.041 | 423.572 | 405.7127 | 405.7127 | 0
47376770.975 | 571.9216 | 325.931 | 325.931 | 0
47890168.695 | 665.2424 | 151.1611 | 151.1611 | 0
48409129.842 | 636.9006 | -51.8649 | -51.8649 | 0
48933714.704 | 512.2855 | -185.4323 | -185.4323 | 0
49463984.223 | 369.431 | -225.9928 | -225.9928 | 0
50000000 | 261.6449 | -198.7661 | -198.7661 | 0