## 10-Jul-15 13h 19m 19s
4294A REV1.11
DATE: Jul 10 2015
MEASURE PARAMETER: IMPEDANCE RESISTANCE - REACTANCE
ADAPTER: 7mm
SWEEP TYPE: LOG FREQ
NUMBER of POINTS: 801
POINT DELAY TIME: 0 Sec
SWEEP DELAY TIME: 0 Sec
OSC LEVEL: 500 mVolt
DC BIAS: OFF
BW: 5
SWEEP AVERAGING: OFF
POINT AVERAGING: OFF
TRACE: A
FORMAT: LINEAR
Frequency | Data Real | Data Imag | Data Trace Real | Data Trace Imag
40 | 0.0044298 | 0.018756 | 0.0044298 | 0
40.748 | 0.0043546 | 0.019591 | 0.0043546 | 0
41.511 | 0.0044039 | 0.019673 | 0.0044039 | 0
42.287 | 0.0040628 | 0.019945 | 0.0040628 | 0
43.078 | 0.0042216 | 0.020558 | 0.0042216 | 0
43.884 | 0.0044837 | 0.020803 | 0.0044837 | 0
44.705 | 0.0046246 | 0.021384 | 0.0046246 | 0
45.541 | 0.0042029 | 0.02142 | 0.0042029 | 0
46.393 | 0.0039442 | 0.021929 | 0.0039442 | 0
47.261 | 0.0042536 | 0.022486 | 0.0042536 | 0
48.145 | 0.0043609 | 0.023088 | 0.0043609 | 0
49.046 | 0.0042665 | 0.023233 | 0.0042665 | 0
49.963 | 0.0046035 | 0.023373 | 0.0046035 | 0
50.898 | 0.0041434 | 0.024242 | 0.0041434 | 0
51.85 | 0.0044756 | 0.024932 | 0.0044756 | 0
52.82 | 0.0043078 | 0.02534 | 0.0043078 | 0
53.808 | 0.0042886 | 0.025767 | 0.0042886 | 0
54.815 | 0.0043723 | 0.026118 | 0.0043723 | 0
55.84 | 0.0044612 | 0.026695 | 0.0044612 | 0
56.885 | 0.0042246 | 0.027111 | 0.0042246 | 0
57.949 | 0.0042436 | 0.027638 | 0.0042436 | 0
59.033 | 0.0042281 | 0.028321 | 0.0042281 | 0
60.137 | 0.0043927 | 0.028817 | 0.0043927 | 0
61.262 | 0.0043635 | 0.029002 | 0.0043635 | 0
62.408 | 0.0043275 | 0.029886 | 0.0043275 | 0
63.575 | 0.0042015 | 0.030482 | 0.0042015 | 0
64.765 | 0.0043155 | 0.03111 | 0.0043155 | 0
65.976 | 0.0045674 | 0.031524 | 0.0045674 | 0
67.21 | 0.0045167 | 0.032097 | 0.0045167 | 0
68.468 | 0.0045581 | 0.032726 | 0.0045581 | 0
69.749 | 0.0043248 | 0.033234 | 0.0043248 | 0
71.053 | 0.0045345 | 0.034072 | 0.0045345 | 0
72.382 | 0.004496 | 0.034748 | 0.004496 | 0
73.736 | 0.0044602 | 0.035219 | 0.0044602 | 0
75.116 | 0.0045498 | 0.035832 | 0.0045498 | 0
76.521 | 0.0046037 | 0.036762 | 0.0046037 | 0
77.952 | 0.0045756 | 0.037231 | 0.0045756 | 0
79.411 | 0.0045923 | 0.037985 | 0.0045923 | 0
80.896 | 0.0046289 | 0.038769 | 0.0046289 | 0
82.41 | 0.0045915 | 0.039265 | 0.0045915 | 0
83.951 | 0.0045926 | 0.03991 | 0.0045926 | 0
85.522 | 0.0046591 | 0.040976 | 0.0046591 | 0
87.121 | 0.0045356 | 0.041778 | 0.0045356 | 0
88.751 | 0.0046527 | 0.042573 | 0.0046527 | 0
90.411 | 0.004775 | 0.043159 | 0.004775 | 0
92.103 | 0.004638 | 0.043762 | 0.004638 | 0
93.826 | 0.0047653 | 0.04446 | 0.0047653 | 0
95.581 | 0.0048317 | 0.045851 | 0.0048317 | 0
97.369 | 0.0047605 | 0.046734 | 0.0047605 | 0
99.19 | 0.004832 | 0.047229 | 0.004832 | 0
101.046 | 0.0047334 | 0.048504 | 0.0047334 | 0
102.936 | 0.004741 | 0.049158 | 0.004741 | 0
104.862 | 0.0049098 | 0.049845 | 0.0049098 | 0
106.823 | 0.0049509 | 0.050869 | 0.0049509 | 0
108.822 | 0.0049698 | 0.051874 | 0.0049698 | 0
110.857 | 0.0050219 | 0.052685 | 0.0050219 | 0
112.931 | 0.0052646 | 0.053905 | 0.0052646 | 0
115.044 | 0.0048372 | 0.054585 | 0.0048372 | 0
117.196 | 0.0050593 | 0.055899 | 0.0050593 | 0
119.388 | 0.0050894 | 0.056934 | 0.0050894 | 0
121.621 | 0.0050237 | 0.057849 | 0.0050237 | 0
123.897 | 0.0052076 | 0.05912 | 0.0052076 | 0
126.214 | 0.0052384 | 0.059851 | 0.0052384 | 0
128.575 | 0.0052712 | 0.061223 | 0.0052712 | 0
130.98 | 0.0051079 | 0.062331 | 0.0051079 | 0
133.431 | 0.0053044 | 0.063459 | 0.0053044 | 0
135.927 | 0.0052254 | 0.06462 | 0.0052254 | 0
138.469 | 0.0053068 | 0.065844 | 0.0053068 | 0
141.06 | 0.0051928 | 0.067238 | 0.0051928 | 0
143.699 | 0.0051572 | 0.06832 | 0.0051572 | 0
146.387 | 0.0053489 | 0.069767 | 0.0053489 | 0
149.125 | 0.0054144 | 0.071043 | 0.0054144 | 0
151.915 | 0.0054037 | 0.072379 | 0.0054037 | 0
154.757 | 0.005347 | 0.073635 | 0.005347 | 0
157.652 | 0.0052992 | 0.074972 | 0.0052992 | 0
160.601 | 0.0054518 | 0.076353 | 0.0054518 | 0
163.605 | 0.0055519 | 0.078004 | 0.0055519 | 0
166.666 | 0.0053938 | 0.079201 | 0.0053938 | 0
169.783 | 0.0054415 | 0.080822 | 0.0054415 | 0
172.959 | 0.0054212 | 0.082097 | 0.0054212 | 0
176.195 | 0.0055397 | 0.084027 | 0.0055397 | 0
179.491 | 0.0058882 | 0.085319 | 0.0058882 | 0
182.849 | 0.0055798 | 0.086882 | 0.0055798 | 0
186.269 | 0.0058284 | 0.088662 | 0.0058284 | 0
189.754 | 0.0057414 | 0.090036 | 0.0057414 | 0
193.303 | 0.0058825 | 0.092113 | 0.0058825 | 0
196.919 | 0.0057508 | 0.09366 | 0.0057508 | 0
200.603 | 0.005861 | 0.095437 | 0.005861 | 0
204.356 | 0.0059185 | 0.097378 | 0.0059185 | 0
208.178 | 0.0058998 | 0.099051 | 0.0058998 | 0
212.073 | 0.0060502 | 0.10096 | 0.0060502 | 0
216.04 | 0.0063059 | 0.10269 | 0.0063059 | 0
220.081 | 0.0062383 | 0.10469 | 0.0062383 | 0
224.198 | 0.006266 | 0.10648 | 0.006266 | 0
228.392 | 0.0061384 | 0.10852 | 0.0061384 | 0
232.665 | 0.0061784 | 0.11071 | 0.0061784 | 0
237.017 | 0.0064405 | 0.11246 | 0.0064405 | 0
241.451 | 0.0065016 | 0.11471 | 0.0065016 | 0
245.968 | 0.0067157 | 0.11682 | 0.0067157 | 0
250.569 | 0.0067259 | 0.11901 | 0.0067259 | 0
255.256 | 0.0068474 | 0.12133 | 0.0068474 | 0
260.031 | 0.0068457 | 0.12359 | 0.0068457 | 0
264.896 | 0.0070186 | 0.12588 | 0.0070186 | 0
269.851 | 0.0070338 | 0.12845 | 0.0070338 | 0
274.899 | 0.0070655 | 0.13091 | 0.0070655 | 0
280.042 | 0.0072373 | 0.13324 | 0.0072373 | 0
285.28 | 0.0071178 | 0.13557 | 0.0071178 | 0
290.617 | 0.0073161 | 0.13805 | 0.0073161 | 0
296.053 | 0.0074994 | 0.1406 | 0.0074994 | 0
301.591 | 0.0074066 | 0.14321 | 0.0074066 | 0
307.233 | 0.0077243 | 0.14592 | 0.0077243 | 0
312.981 | 0.0078089 | 0.14866 | 0.0078089 | 0
318.835 | 0.0078147 | 0.15138 | 0.0078147 | 0
324.8 | 0.0079713 | 0.15416 | 0.0079713 | 0
330.876 | 0.0081398 | 0.15711 | 0.0081398 | 0
337.065 | 0.0080082 | 0.16014 | 0.0080082 | 0
343.371 | 0.0083092 | 0.16302 | 0.0083092 | 0
349.794 | 0.0083795 | 0.1661 | 0.0083795 | 0
356.338 | 0.0084718 | 0.16913 | 0.0084718 | 0
363.003 | 0.0086273 | 0.17251 | 0.0086273 | 0
369.794 | 0.0086982 | 0.17554 | 0.0086982 | 0
376.712 | 0.0088848 | 0.17884 | 0.0088848 | 0
383.759 | 0.0088621 | 0.18218 | 0.0088621 | 0
390.938 | 0.0093226 | 0.18562 | 0.0093226 | 0
398.251 | 0.0092749 | 0.18879 | 0.0092749 | 0
405.701 | 0.0094473 | 0.19248 | 0.0094473 | 0
413.29 | 0.0095042 | 0.19598 | 0.0095042 | 0
421.021 | 0.0098133 | 0.19956 | 0.0098133 | 0
428.897 | 0.0099165 | 0.20349 | 0.0099165 | 0
436.92 | 0.010133 | 0.2073 | 0.010133 | 0
445.094 | 0.010256 | 0.21119 | 0.010256 | 0
453.42 | 0.010335 | 0.21487 | 0.010335 | 0
461.902 | 0.010515 | 0.21913 | 0.010515 | 0
470.543 | 0.010723 | 0.22317 | 0.010723 | 0
479.345 | 0.011089 | 0.22725 | 0.011089 | 0
488.312 | 0.011041 | 0.23152 | 0.011041 | 0
497.447 | 0.011302 | 0.23562 | 0.011302 | 0
506.752 | 0.011543 | 0.24031 | 0.011543 | 0
516.232 | 0.011628 | 0.24484 | 0.011628 | 0
525.889 | 0.012031 | 0.24928 | 0.012031 | 0
535.727 | 0.012223 | 0.25393 | 0.012223 | 0
545.748 | 0.012487 | 0.25875 | 0.012487 | 0
555.957 | 0.012679 | 0.26354 | 0.012679 | 0
566.358 | 0.012985 | 0.26853 | 0.012985 | 0
576.952 | 0.013171 | 0.27339 | 0.013171 | 0
587.745 | 0.013471 | 0.2786 | 0.013471 | 0
598.74 | 0.013721 | 0.28372 | 0.013721 | 0
609.94 | 0.014071 | 0.28906 | 0.014071 | 0
621.35 | 0.014255 | 0.29436 | 0.014255 | 0
632.974 | 0.01471 | 0.29996 | 0.01471 | 0
644.815 | 0.014853 | 0.30549 | 0.014853 | 0
656.877 | 0.015182 | 0.31121 | 0.015182 | 0
669.165 | 0.015866 | 0.31705 | 0.015866 | 0
681.683 | 0.015984 | 0.32296 | 0.015984 | 0
694.435 | 0.016216 | 0.32895 | 0.016216 | 0
707.425 | 0.016686 | 0.33494 | 0.016686 | 0
720.659 | 0.017189 | 0.34152 | 0.017189 | 0
734.14 | 0.017485 | 0.34768 | 0.017485 | 0
747.874 | 0.017813 | 0.35406 | 0.017813 | 0
761.864 | 0.018104 | 0.36074 | 0.018104 | 0
776.116 | 0.01876 | 0.36754 | 0.01876 | 0
790.634 | 0.019078 | 0.37431 | 0.019078 | 0
805.425 | 0.019545 | 0.38131 | 0.019545 | 0
820.491 | 0.019984 | 0.38827 | 0.019984 | 0
835.84 | 0.020529 | 0.39553 | 0.020529 | 0
851.476 | 0.020997 | 0.40305 | 0.020997 | 0
867.404 | 0.02168 | 0.41037 | 0.02168 | 0
883.63 | 0.022033 | 0.41819 | 0.022033 | 0
900.16 | 0.022716 | 0.42589 | 0.022716 | 0
916.999 | 0.023217 | 0.4338 | 0.023217 | 0
934.153 | 0.02363 | 0.44195 | 0.02363 | 0
951.628 | 0.024381 | 0.45004 | 0.024381 | 0
969.43 | 0.025031 | 0.45839 | 0.025031 | 0
987.565 | 0.025864 | 0.46693 | 0.025864 | 0
1006.039 | 0.026483 | 0.47557 | 0.026483 | 0
1024.859 | 0.027007 | 0.4847 | 0.027007 | 0
1044.03 | 0.027749 | 0.49358 | 0.027749 | 0
1063.561 | 0.028413 | 0.50281 | 0.028413 | 0
1083.457 | 0.029205 | 0.51203 | 0.029205 | 0
1103.724 | 0.030202 | 0.52143 | 0.030202 | 0
1124.372 | 0.030864 | 0.53129 | 0.030864 | 0
1145.405 | 0.031777 | 0.54106 | 0.031777 | 0
1166.832 | 0.032495 | 0.55118 | 0.032495 | 0
1188.659 | 0.033638 | 0.56117 | 0.033638 | 0
1210.895 | 0.034472 | 0.57171 | 0.034472 | 0
1233.547 | 0.035535 | 0.58226 | 0.035535 | 0
1256.623 | 0.036307 | 0.59311 | 0.036307 | 0
1280.13 | 0.037545 | 0.60409 | 0.037545 | 0
1304.077 | 0.03854 | 0.61526 | 0.03854 | 0
1328.472 | 0.039738 | 0.62674 | 0.039738 | 0
1353.323 | 0.041003 | 0.63831 | 0.041003 | 0
1378.639 | 0.042007 | 0.65017 | 0.042007 | 0
1404.429 | 0.043322 | 0.66222 | 0.043322 | 0
1430.701 | 0.044511 | 0.67439 | 0.044511 | 0
1457.465 | 0.045728 | 0.68666 | 0.045728 | 0
1484.729 | 0.047185 | 0.69961 | 0.047185 | 0
1512.504 | 0.048523 | 0.71237 | 0.048523 | 0
1540.798 | 0.049908 | 0.72567 | 0.049908 | 0
1569.621 | 0.051515 | 0.73897 | 0.051515 | 0
1598.984 | 0.053023 | 0.75264 | 0.053023 | 0
1628.895 | 0.054714 | 0.76657 | 0.054714 | 0
1659.367 | 0.056297 | 0.78076 | 0.056297 | 0
1690.408 | 0.058064 | 0.79513 | 0.058064 | 0
1722.03 | 0.059748 | 0.8098 | 0.059748 | 0
1754.243 | 0.061637 | 0.82485 | 0.061637 | 0
1787.059 | 0.063488 | 0.83994 | 0.063488 | 0
1820.489 | 0.065456 | 0.85542 | 0.065456 | 0
1854.545 | 0.067567 | 0.87126 | 0.067567 | 0
1889.237 | 0.069626 | 0.88723 | 0.069626 | 0
1924.579 | 0.071753 | 0.90356 | 0.071753 | 0
1960.581 | 0.074059 | 0.92029 | 0.074059 | 0
1997.257 | 0.076183 | 0.93704 | 0.076183 | 0
2034.619 | 0.078623 | 0.95431 | 0.078623 | 0
2072.68 | 0.081103 | 0.97194 | 0.081103 | 0
2111.453 | 0.083733 | 0.98982 | 0.083733 | 0
2150.952 | 0.086119 | 1.008 | 0.086119 | 0
2191.189 | 0.088958 | 1.0265 | 0.088958 | 0
2232.179 | 0.091745 | 1.0452 | 0.091745 | 0
2273.936 | 0.094607 | 1.0645 | 0.094607 | 0
2316.473 | 0.097569 | 1.0838 | 0.097569 | 0
2359.807 | 0.1008 | 1.1038 | 0.1008 | 0
2403.951 | 0.10413 | 1.1238 | 0.10413 | 0
2448.921 | 0.10726 | 1.1446 | 0.10726 | 0
2494.732 | 0.11096 | 1.1654 | 0.11096 | 0
2541.401 | 0.11437 | 1.1866 | 0.11437 | 0
2588.942 | 0.11804 | 1.2082 | 0.11804 | 0
2637.373 | 0.12195 | 1.2302 | 0.12195 | 0
2686.709 | 0.12578 | 1.2526 | 0.12578 | 0
2736.969 | 0.12987 | 1.2752 | 0.12987 | 0
2788.168 | 0.13416 | 1.2986 | 0.13416 | 0
2840.326 | 0.13841 | 1.3223 | 0.13841 | 0
2893.459 | 0.14293 | 1.3462 | 0.14293 | 0
2947.586 | 0.1478 | 1.3709 | 0.1478 | 0
3002.726 | 0.15244 | 1.3957 | 0.15244 | 0
3058.897 | 0.15735 | 1.4208 | 0.15735 | 0
3116.119 | 0.16269 | 1.4466 | 0.16269 | 0
3174.411 | 0.16772 | 1.4728 | 0.16772 | 0
3233.794 | 0.17329 | 1.4993 | 0.17329 | 0
3294.287 | 0.17902 | 1.5265 | 0.17902 | 0
3355.913 | 0.18476 | 1.554 | 0.18476 | 0
3418.691 | 0.19094 | 1.5819 | 0.19094 | 0
3482.643 | 0.19718 | 1.6106 | 0.19718 | 0
3547.792 | 0.20364 | 1.6394 | 0.20364 | 0
3614.159 | 0.21039 | 1.6688 | 0.21039 | 0
3681.768 | 0.21736 | 1.6988 | 0.21736 | 0
3750.642 | 0.22449 | 1.7295 | 0.22449 | 0
3820.804 | 0.23185 | 1.7602 | 0.23185 | 0
3892.279 | 0.23968 | 1.7918 | 0.23968 | 0
3965.091 | 0.24753 | 1.8237 | 0.24753 | 0
4039.264 | 0.25547 | 1.8561 | 0.25547 | 0
4114.826 | 0.26407 | 1.8893 | 0.26407 | 0
4191.801 | 0.27301 | 1.9228 | 0.27301 | 0
4270.215 | 0.28199 | 1.957 | 0.28199 | 0
4350.097 | 0.29142 | 1.9917 | 0.29142 | 0
4431.473 | 0.30092 | 2.0269 | 0.30092 | 0
4514.371 | 0.31074 | 2.0626 | 0.31074 | 0
4598.82 | 0.32117 | 2.0991 | 0.32117 | 0
4684.849 | 0.33194 | 2.1361 | 0.33194 | 0
4772.487 | 0.34267 | 2.1736 | 0.34267 | 0
4861.765 | 0.35397 | 2.2117 | 0.35397 | 0
4952.712 | 0.36568 | 2.2505 | 0.36568 | 0
5045.361 | 0.37757 | 2.2899 | 0.37757 | 0
5139.744 | 0.39037 | 2.3298 | 0.39037 | 0
5235.891 | 0.40307 | 2.3704 | 0.40307 | 0
5333.837 | 0.41665 | 2.4118 | 0.41665 | 0
5433.616 | 0.43029 | 2.4535 | 0.43029 | 0
5535.261 | 0.44431 | 2.4962 | 0.44431 | 0
5638.808 | 0.45905 | 2.5392 | 0.45905 | 0
5744.291 | 0.474 | 2.583 | 0.474 | 0
5851.748 | 0.48978 | 2.6273 | 0.48978 | 0
5961.215 | 0.50546 | 2.6723 | 0.50546 | 0
6072.73 | 0.52241 | 2.718 | 0.52241 | 0
6186.33 | 0.53941 | 2.7646 | 0.53941 | 0
6302.056 | 0.55741 | 2.8113 | 0.55741 | 0
6419.947 | 0.57559 | 2.8592 | 0.57559 | 0
6540.043 | 0.59427 | 2.9075 | 0.59427 | 0
6662.386 | 0.61379 | 2.9567 | 0.61379 | 0
6787.017 | 0.63405 | 3.0064 | 0.63405 | 0
6913.98 | 0.65432 | 3.0564 | 0.65432 | 0
7043.318 | 0.67601 | 3.1078 | 0.67601 | 0
7175.075 | 0.69775 | 3.1593 | 0.69775 | 0
7309.297 | 0.72045 | 3.2119 | 0.72045 | 0
7446.03 | 0.74378 | 3.2652 | 0.74378 | 0
7585.32 | 0.76738 | 3.319 | 0.76738 | 0
7727.217 | 0.79283 | 3.3733 | 0.79283 | 0
7871.768 | 0.81799 | 3.4283 | 0.81799 | 0
8019.022 | 0.84444 | 3.4844 | 0.84444 | 0
8169.032 | 0.87111 | 3.5409 | 0.87111 | 0
8321.848 | 0.89921 | 3.5982 | 0.89921 | 0
8477.522 | 0.9273 | 3.6561 | 0.9273 | 0
8636.109 | 0.95723 | 3.7145 | 0.95723 | 0
8797.662 | 0.9877 | 3.7737 | 0.9877 | 0
8962.237 | 1.0188 | 3.8335 | 1.0188 | 0
9129.891 | 1.0513 | 3.8935 | 1.0513 | 0
9300.681 | 1.0838 | 3.9547 | 1.0838 | 0
9474.666 | 1.1184 | 4.0163 | 1.1184 | 0
9651.906 | 1.1538 | 4.079 | 1.1538 | 0
9832.461 | 1.1894 | 4.1424 | 1.1894 | 0
10016.394 | 1.2267 | 4.2049 | 1.2267 | 0
10203.768 | 1.2638 | 4.2698 | 1.2638 | 0
10394.647 | 1.3033 | 4.3348 | 1.3033 | 0
10589.097 | 1.3434 | 4.4005 | 1.3434 | 0
10787.184 | 1.3845 | 4.467 | 1.3845 | 0
10988.977 | 1.4272 | 4.5328 | 1.4272 | 0
11194.544 | 1.4708 | 4.6002 | 1.4708 | 0
11403.957 | 1.5142 | 4.6678 | 1.5142 | 0
11617.288 | 1.5609 | 4.736 | 1.5609 | 0
11834.609 | 1.6072 | 4.8049 | 1.6072 | 0
12055.996 | 1.6551 | 4.8751 | 1.6551 | 0
12281.524 | 1.7053 | 4.9443 | 1.7053 | 0
12511.27 | 1.7564 | 5.0146 | 1.7564 | 0
12745.315 | 1.8081 | 5.085 | 1.8081 | 0
12983.738 | 1.8613 | 5.1561 | 1.8613 | 0
13226.621 | 1.9158 | 5.2274 | 1.9158 | 0
13474.047 | 1.9717 | 5.299 | 1.9717 | 0
13726.103 | 2.0279 | 5.3713 | 2.0279 | 0
13982.873 | 2.0866 | 5.4433 | 2.0866 | 0
14244.446 | 2.1464 | 5.5161 | 2.1464 | 0
14510.913 | 2.2078 | 5.5893 | 2.2078 | 0
14782.364 | 2.2707 | 5.6623 | 2.2707 | 0
15058.894 | 2.3337 | 5.7362 | 2.3337 | 0
15340.596 | 2.3993 | 5.8095 | 2.3993 | 0
15627.568 | 2.4662 | 5.8831 | 2.4662 | 0
15919.908 | 2.5344 | 5.9573 | 2.5344 | 0
16217.718 | 2.6042 | 6.0314 | 2.6042 | 0
16521.098 | 2.6749 | 6.1059 | 2.6749 | 0
16830.153 | 2.7484 | 6.1797 | 2.7484 | 0
17144.99 | 2.8221 | 6.2543 | 2.8221 | 0
17465.716 | 2.8983 | 6.328 | 2.8983 | 0
17792.442 | 2.9752 | 6.4027 | 2.9752 | 0
18125.28 | 3.0528 | 6.4763 | 3.0528 | 0
18464.344 | 3.1335 | 6.5503 | 3.1335 | 0
18809.752 | 3.2145 | 6.6243 | 3.2145 | 0
19161.62 | 3.2964 | 6.6977 | 3.2964 | 0
19520.071 | 3.3806 | 6.7711 | 3.3806 | 0
19885.227 | 3.4661 | 6.8436 | 3.4661 | 0
20257.214 | 3.5535 | 6.9165 | 3.5535 | 0
20636.16 | 3.6425 | 6.9885 | 3.6425 | 0
21022.195 | 3.7322 | 7.061 | 3.7322 | 0
21415.451 | 3.8244 | 7.1321 | 3.8244 | 0
21816.063 | 3.9169 | 7.2039 | 3.9169 | 0
22224.17 | 4.0113 | 7.2744 | 4.0113 | 0
22639.911 | 4.1068 | 7.3443 | 4.1068 | 0
23063.429 | 4.2046 | 7.4137 | 4.2046 | 0
23494.87 | 4.3021 | 7.4834 | 4.3021 | 0
23934.382 | 4.402 | 7.5508 | 4.402 | 0
24382.115 | 4.5035 | 7.6187 | 4.5035 | 0
24838.224 | 4.6048 | 7.6861 | 4.6048 | 0
25302.866 | 4.7082 | 7.7534 | 4.7082 | 0
25776.199 | 4.8141 | 7.818 | 4.8141 | 0
26258.387 | 4.919 | 7.8831 | 4.919 | 0
26749.595 | 5.0263 | 7.947 | 5.0263 | 0
27249.992 | 5.1329 | 8.0111 | 5.1329 | 0
27759.749 | 5.2448 | 8.0727 | 5.2448 | 0
28279.043 | 5.3543 | 8.1347 | 5.3543 | 0
28808.051 | 5.4659 | 8.1954 | 5.4659 | 0
29346.955 | 5.579 | 8.2562 | 5.579 | 0
29895.939 | 5.6916 | 8.3145 | 5.6916 | 0
30455.194 | 5.8061 | 8.3732 | 5.8061 | 0
31024.911 | 5.9215 | 8.4297 | 5.9215 | 0
31605.284 | 6.0369 | 8.4865 | 6.0369 | 0
32196.515 | 6.153 | 8.5412 | 6.153 | 0
32798.806 | 6.2708 | 8.5957 | 6.2708 | 0
33412.364 | 6.389 | 8.6488 | 6.389 | 0
34037.399 | 6.5077 | 8.7008 | 6.5077 | 0
34674.127 | 6.6278 | 8.752 | 6.6278 | 0
35322.766 | 6.748 | 8.803 | 6.748 | 0
35983.538 | 6.8686 | 8.8511 | 6.8686 | 0
36656.672 | 6.9897 | 8.8993 | 6.9897 | 0
37342.397 | 7.1116 | 8.9462 | 7.1116 | 0
38040.951 | 7.2335 | 8.993 | 7.2335 | 0
38752.572 | 7.3558 | 9.0375 | 7.3558 | 0
39477.505 | 7.4793 | 9.0813 | 7.4793 | 0
40215.999 | 7.6028 | 9.1248 | 7.6028 | 0
40968.308 | 7.7261 | 9.1676 | 7.7261 | 0
41734.69 | 7.8496 | 9.2085 | 7.8496 | 0
42515.409 | 7.9738 | 9.2492 | 7.9738 | 0
43310.732 | 8.0975 | 9.2881 | 8.0975 | 0
44120.933 | 8.222 | 9.3274 | 8.222 | 0
44946.291 | 8.3467 | 9.3649 | 8.3467 | 0
45787.088 | 8.4711 | 9.4018 | 8.4711 | 0
46643.613 | 8.5948 | 9.4374 | 8.5948 | 0
47516.162 | 8.719 | 9.4724 | 8.719 | 0
48405.033 | 8.8433 | 9.5057 | 8.8433 | 0
49310.532 | 8.9675 | 9.5394 | 8.9675 | 0
50232.969 | 9.0915 | 9.5719 | 9.0915 | 0
51172.663 | 9.2152 | 9.6043 | 9.2152 | 0
52129.935 | 9.3394 | 9.6353 | 9.3394 | 0
53105.114 | 9.462 | 9.6666 | 9.462 | 0
54098.536 | 9.586 | 9.697 | 9.586 | 0
55110.542 | 9.7089 | 9.7266 | 9.7089 | 0
56141.478 | 9.8303 | 9.756 | 9.8303 | 0
57191.701 | 9.9534 | 9.7838 | 9.9534 | 0
58261.569 | 10.0738 | 9.8142 | 10.0738 | 0
59351.451 | 10.1968 | 9.8414 | 10.1968 | 0
60461.722 | 10.3169 | 9.8695 | 10.3169 | 0
61592.761 | 10.4375 | 9.8973 | 10.4375 | 0
62744.959 | 10.5585 | 9.9236 | 10.5585 | 0
63918.711 | 10.6788 | 9.9505 | 10.6788 | 0
65114.419 | 10.799 | 9.9773 | 10.799 | 0
66332.496 | 10.9182 | 10.0028 | 10.9182 | 0
67573.358 | 11.036 | 10.0298 | 11.036 | 0
68837.434 | 11.1552 | 10.0569 | 11.1552 | 0
70125.155 | 11.2726 | 10.084 | 11.2726 | 0
71436.966 | 11.3902 | 10.1102 | 11.3902 | 0
72773.317 | 11.506 | 10.1377 | 11.506 | 0
74134.666 | 11.625 | 10.1635 | 11.625 | 0
75521.481 | 11.7405 | 10.1908 | 11.7405 | 0
76934.24 | 11.8573 | 10.2169 | 11.8573 | 0
78373.426 | 11.9723 | 10.2452 | 11.9723 | 0
79839.535 | 12.0883 | 10.273 | 12.0883 | 0
81333.069 | 12.2025 | 10.3003 | 12.2025 | 0
82854.543 | 12.3179 | 10.328 | 12.3179 | 0
84404.479 | 12.4324 | 10.3565 | 12.4324 | 0
85983.409 | 12.5469 | 10.3862 | 12.5469 | 0
87591.876 | 12.6607 | 10.4164 | 12.6607 | 0
89230.431 | 12.7753 | 10.4472 | 12.7753 | 0
90899.639 | 12.8889 | 10.4778 | 12.8889 | 0
92600.072 | 13.0025 | 10.5083 | 13.0025 | 0
94332.314 | 13.1166 | 10.5399 | 13.1166 | 0
96096.961 | 13.2296 | 10.5726 | 13.2296 | 0
97894.619 | 13.3416 | 10.6055 | 13.3416 | 0
99725.905 | 13.4561 | 10.6394 | 13.4561 | 0
101591.449 | 13.568 | 10.6744 | 13.568 | 0
103491.89 | 13.6819 | 10.7082 | 13.6819 | 0
105427.883 | 13.7943 | 10.7441 | 13.7943 | 0
107400.091 | 13.9079 | 10.7812 | 13.9079 | 0
109409.193 | 14.0219 | 10.818 | 14.0219 | 0
111455.879 | 14.1349 | 10.8562 | 14.1349 | 0
113540.852 | 14.2489 | 10.8958 | 14.2489 | 0
115664.827 | 14.3628 | 10.935 | 14.3628 | 0
117828.536 | 14.4764 | 10.9759 | 14.4764 | 0
120032.72 | 14.5898 | 11.0161 | 14.5898 | 0
122278.137 | 14.7042 | 11.0594 | 14.7042 | 0
124565.558 | 14.8193 | 11.1021 | 14.8193 | 0
126895.769 | 14.9344 | 11.1464 | 14.9344 | 0
129269.572 | 15.0498 | 11.1897 | 15.0498 | 0
131687.78 | 15.1659 | 11.2354 | 15.1659 | 0
134151.225 | 15.2817 | 11.2823 | 15.2817 | 0
136660.752 | 15.3989 | 11.3303 | 15.3989 | 0
139217.225 | 15.5147 | 11.3783 | 15.5147 | 0
141821.521 | 15.634 | 11.4263 | 15.634 | 0
144474.535 | 15.7519 | 11.4757 | 15.7519 | 0
147177.178 | 15.8711 | 11.529 | 15.8711 | 0
149930.378 | 15.9908 | 11.5812 | 15.9908 | 0
152735.082 | 16.1119 | 11.6323 | 16.1119 | 0
155592.253 | 16.2327 | 11.6865 | 16.2327 | 0
158502.871 | 16.3557 | 11.7401 | 16.3557 | 0
161467.938 | 16.4769 | 11.7958 | 16.4769 | 0
164488.472 | 16.6017 | 11.8499 | 16.6017 | 0
167565.51 | 16.7256 | 11.9073 | 16.7256 | 0
170700.109 | 16.8515 | 11.9643 | 16.8515 | 0
173893.346 | 16.9776 | 12.0228 | 16.9776 | 0
177146.318 | 17.1044 | 12.0806 | 17.1044 | 0
180460.142 | 17.2323 | 12.1412 | 17.2323 | 0
183835.957 | 17.3613 | 12.2015 | 17.3613 | 0
187274.923 | 17.4922 | 12.2609 | 17.4922 | 0
190778.22 | 17.6218 | 12.3243 | 17.6218 | 0
194347.053 | 17.7532 | 12.386 | 17.7532 | 0
197982.646 | 17.8864 | 12.4488 | 17.8864 | 0
201686.25 | 18.0198 | 12.513 | 18.0198 | 0
205459.135 | 18.1552 | 12.5763 | 18.1552 | 0
209302.599 | 18.2901 | 12.6432 | 18.2901 | 0
213217.962 | 18.4277 | 12.7077 | 18.4277 | 0
217206.568 | 18.5674 | 12.7715 | 18.5674 | 0
221269.788 | 18.7067 | 12.8391 | 18.7067 | 0
225409.017 | 18.8457 | 12.9085 | 18.8457 | 0
229625.678 | 18.9887 | 12.9742 | 18.9887 | 0
233921.218 | 19.131 | 13.0421 | 19.131 | 0
238297.114 | 19.2752 | 13.1109 | 19.2752 | 0
242754.869 | 19.4213 | 13.1803 | 19.4213 | 0
247296.013 | 19.5684 | 13.2492 | 19.5684 | 0
251922.107 | 19.7159 | 13.3192 | 19.7159 | 0
256634.741 | 19.8654 | 13.3874 | 19.8654 | 0
261435.532 | 20.0142 | 13.4596 | 20.0142 | 0
266326.13 | 20.1674 | 13.5299 | 20.1674 | 0
271308.215 | 20.3188 | 13.6006 | 20.3188 | 0
276383.499 | 20.4742 | 13.6735 | 20.4742 | 0
281553.724 | 20.63 | 13.7438 | 20.63 | 0
286820.667 | 20.7879 | 13.8143 | 20.7879 | 0
292186.138 | 20.9452 | 13.8857 | 20.9452 | 0
297651.978 | 21.1041 | 13.9571 | 21.1041 | 0
303220.067 | 21.2643 | 14.0288 | 21.2643 | 0
308892.316 | 21.4274 | 14.1005 | 21.4274 | 0
314670.675 | 21.5895 | 14.172 | 21.5895 | 0
320557.127 | 21.7548 | 14.2435 | 21.7548 | 0
326553.695 | 21.92 | 14.315 | 21.92 | 0
332662.44 | 22.0868 | 14.3857 | 22.0868 | 0
338885.459 | 22.2545 | 14.4565 | 22.2545 | 0
345224.89 | 22.4247 | 14.527 | 22.4247 | 0
351682.912 | 22.5937 | 14.598 | 22.5937 | 0
358261.741 | 22.7651 | 14.6691 | 22.7651 | 0
364963.639 | 22.9361 | 14.741 | 22.9361 | 0
371790.907 | 23.1104 | 14.8102 | 23.1104 | 0
378745.891 | 23.2846 | 14.8804 | 23.2846 | 0
385830.98 | 23.4594 | 14.9508 | 23.4594 | 0
393048.607 | 23.6355 | 15.0204 | 23.6355 | 0
400401.253 | 23.8127 | 15.089 | 23.8127 | 0
407891.442 | 23.9911 | 15.1578 | 23.9911 | 0
415521.748 | 24.1682 | 15.229 | 24.1682 | 0
423294.792 | 24.3468 | 15.2986 | 24.3468 | 0
431213.244 | 24.5271 | 15.3674 | 24.5271 | 0
439279.824 | 24.7078 | 15.4368 | 24.7078 | 0
447497.303 | 24.889 | 15.5061 | 24.889 | 0
455868.505 | 25.0716 | 15.5768 | 25.0716 | 0
464396.304 | 25.2547 | 15.644 | 25.2547 | 0
473083.63 | 25.4385 | 15.7157 | 25.4385 | 0
481933.467 | 25.6223 | 15.784 | 25.6223 | 0
490948.855 | 25.8058 | 15.8527 | 25.8058 | 0
500132.892 | 25.993 | 15.9237 | 25.993 | 0
509488.732 | 26.1807 | 15.9938 | 26.1807 | 0
519019.589 | 26.368 | 16.0644 | 26.368 | 0
528728.737 | 26.5578 | 16.1332 | 26.5578 | 0
538619.511 | 26.7488 | 16.2053 | 26.7488 | 0
548695.309 | 26.9385 | 16.2771 | 26.9385 | 0
558959.592 | 27.1309 | 16.349 | 27.1309 | 0
569415.885 | 27.3239 | 16.4196 | 27.3239 | 0
580067.782 | 27.519 | 16.4909 | 27.519 | 0
590918.941 | 27.7148 | 16.5648 | 27.7148 | 0
601973.089 | 27.9117 | 16.6343 | 27.9117 | 0
613234.023 | 28.1109 | 16.7069 | 28.1109 | 0
624705.613 | 28.3086 | 16.7771 | 28.3086 | 0
636391.799 | 28.5108 | 16.8481 | 28.5108 | 0
648296.594 | 28.7129 | 16.9187 | 28.7129 | 0
660424.089 | 28.9149 | 16.9882 | 28.9149 | 0
672778.45 | 29.1188 | 17.0587 | 29.1188 | 0
685363.919 | 29.3238 | 17.1273 | 29.3238 | 0
698184.822 | 29.5298 | 17.1961 | 29.5298 | 0
711245.562 | 29.7369 | 17.2658 | 29.7369 | 0
724550.625 | 29.9418 | 17.3344 | 29.9418 | 0
738104.581 | 30.1505 | 17.4039 | 30.1505 | 0
751912.088 | 30.359 | 17.4713 | 30.359 | 0
765977.888 | 30.5674 | 17.5402 | 30.5674 | 0
780306.813 | 30.7757 | 17.6114 | 30.7757 | 0
794903.784 | 30.9878 | 17.6796 | 30.9878 | 0
809773.817 | 31.2015 | 17.7472 | 31.2015 | 0
824922.019 | 31.413 | 17.8187 | 31.413 | 0
840353.595 | 31.6265 | 17.8885 | 31.6265 | 0
856073.844 | 31.8413 | 17.9574 | 31.8413 | 0
872088.167 | 32.056 | 18.0287 | 32.056 | 0
888402.066 | 32.2727 | 18.0993 | 32.2727 | 0
905021.144 | 32.4905 | 18.1709 | 32.4905 | 0
921951.11 | 32.7094 | 18.2434 | 32.7094 | 0
939197.78 | 32.9311 | 18.3168 | 32.9311 | 0
956767.078 | 33.153 | 18.3867 | 33.153 | 0
974665.041 | 33.381 | 18.456 | 33.381 | 0
992897.815 | 33.606 | 18.5257 | 33.606 | 0
1011471.664 | 33.833 | 18.5963 | 33.833 | 0
1030392.969 | 34.0638 | 18.6638 | 34.0638 | 0
1049668.229 | 34.2949 | 18.7334 | 34.2949 | 0
1069304.066 | 34.5252 | 18.7994 | 34.5252 | 0
1089307.225 | 34.7572 | 18.8698 | 34.7572 | 0
1109684.577 | 34.9951 | 18.9345 | 34.9951 | 0
1130443.122 | 35.2305 | 19.0018 | 35.2305 | 0
1151589.992 | 35.4667 | 19.067 | 35.4667 | 0
1173132.449 | 35.703 | 19.1333 | 35.703 | 0
1195077.895 | 35.9382 | 19.1974 | 35.9382 | 0
1217433.868 | 36.1752 | 19.2622 | 36.1752 | 0
1240208.048 | 36.4123 | 19.3262 | 36.4123 | 0
1263408.258 | 36.6505 | 19.3925 | 36.6505 | 0
1287042.467 | 36.8896 | 19.4551 | 36.8896 | 0
1311118.794 | 37.1301 | 19.5203 | 37.1301 | 0
1335645.511 | 37.3726 | 19.5884 | 37.3726 | 0
1360631.041 | 37.6174 | 19.6503 | 37.6174 | 0
1386083.968 | 37.8634 | 19.7141 | 37.8634 | 0
1412013.036 | 38.1093 | 19.7795 | 38.1093 | 0
1438427.152 | 38.3584 | 19.843 | 38.3584 | 0
1465335.388 | 38.6114 | 19.9067 | 38.6114 | 0
1492746.989 | 38.8619 | 19.9689 | 38.8619 | 0
1520671.371 | 39.1159 | 20.0302 | 39.1159 | 0
1549118.126 | 39.371 | 20.0902 | 39.371 | 0
1578097.027 | 39.6265 | 20.15 | 39.6265 | 0
1607618.027 | 39.8827 | 20.2083 | 39.8827 | 0
1637691.267 | 40.1407 | 20.265 | 40.1407 | 0
1668327.08 | 40.3985 | 20.3211 | 40.3985 | 0
1699535.987 | 40.6552 | 20.3792 | 40.6552 | 0
1731328.71 | 40.9144 | 20.4343 | 40.9144 | 0
1763716.171 | 41.1738 | 20.4889 | 41.1738 | 0
1796709.494 | 41.434 | 20.5447 | 41.434 | 0
1830320.013 | 41.696 | 20.6002 | 41.696 | 0
1864559.275 | 41.9594 | 20.6556 | 41.9594 | 0
1899439.041 | 42.2227 | 20.7093 | 42.2227 | 0
1934971.292 | 42.4907 | 20.7637 | 42.4907 | 0
1971168.235 | 42.7582 | 20.8151 | 42.7582 | 0
2008042.303 | 43.0273 | 20.8681 | 43.0273 | 0
2045606.164 | 43.2971 | 20.9203 | 43.2971 | 0
2083872.721 | 43.568 | 20.9696 | 43.568 | 0
2122855.119 | 43.8416 | 21.0167 | 43.8416 | 0
2162566.75 | 44.1143 | 21.0664 | 44.1143 | 0
2203021.254 | 44.3897 | 21.1124 | 44.3897 | 0
2244232.529 | 44.6661 | 21.1581 | 44.6661 | 0
2286214.732 | 44.9423 | 21.2002 | 44.9423 | 0
2328982.283 | 45.218 | 21.2457 | 45.218 | 0
2372549.874 | 45.4947 | 21.2877 | 45.4947 | 0
2416932.472 | 45.7738 | 21.331 | 45.7738 | 0
2462145.321 | 46.0524 | 21.3742 | 46.0524 | 0
2508203.954 | 46.332 | 21.4163 | 46.332 | 0
2555124.193 | 46.6137 | 21.4556 | 46.6137 | 0
2602922.155 | 46.8962 | 21.4959 | 46.8962 | 0
2651614.259 | 47.182 | 21.5372 | 47.182 | 0
2701217.233 | 47.4653 | 21.5749 | 47.4653 | 0
2751748.114 | 47.753 | 21.6095 | 47.753 | 0
2803224.263 | 48.0402 | 21.6456 | 48.0402 | 0
2855663.36 | 48.3284 | 21.6792 | 48.3284 | 0
2909083.42 | 48.6156 | 21.7101 | 48.6156 | 0
2963502.794 | 48.9031 | 21.7402 | 48.9031 | 0
3018940.175 | 49.1932 | 21.7708 | 49.1932 | 0
3075414.607 | 49.483 | 21.801 | 49.483 | 0
3132945.49 | 49.7746 | 21.8305 | 49.7746 | 0
3191552.586 | 50.0656 | 21.858 | 50.0656 | 0
3251256.028 | 50.3604 | 21.883 | 50.3604 | 0
3312076.324 | 50.6536 | 21.9081 | 50.6536 | 0
3374034.369 | 50.949 | 21.9316 | 50.949 | 0
3437151.444 | 51.2456 | 21.9554 | 51.2456 | 0
3501449.232 | 51.5446 | 21.9756 | 51.5446 | 0
3566949.82 | 51.8411 | 21.9952 | 51.8411 | 0
3633675.708 | 52.1392 | 22.0134 | 52.1392 | 0
3701649.818 | 52.4388 | 22.0305 | 52.4388 | 0
3770895.5 | 52.7382 | 22.0449 | 52.7382 | 0
3841436.541 | 53.039 | 22.0588 | 53.039 | 0
3913297.172 | 53.3408 | 22.0732 | 53.3408 | 0
3986502.079 | 53.6424 | 22.0843 | 53.6424 | 0
4061076.409 | 53.9445 | 22.0967 | 53.9445 | 0
4137045.779 | 54.2463 | 22.1067 | 54.2463 | 0
4214436.286 | 54.5507 | 22.116 | 54.5507 | 0
4293274.514 | 54.856 | 22.1204 | 54.856 | 0
4373587.546 | 55.1607 | 22.1262 | 55.1607 | 0
4455402.971 | 55.4661 | 22.1293 | 55.4661 | 0
4538748.893 | 55.7732 | 22.132 | 55.7732 | 0
4623653.943 | 56.0819 | 22.1312 | 56.0819 | 0
4710147.286 | 56.3906 | 22.13 | 56.3906 | 0
4798258.636 | 56.6974 | 22.1276 | 56.6974 | 0
4888018.258 | 57.0076 | 22.124 | 57.0076 | 0
4979456.988 | 57.3181 | 22.1178 | 57.3181 | 0
5072606.235 | 57.6223 | 22.1022 | 57.6223 | 0
5167497.998 | 57.9298 | 22.0929 | 57.9298 | 0
5264164.874 | 58.2405 | 22.0821 | 58.2405 | 0
5362640.068 | 58.552 | 22.0698 | 58.552 | 0
5462957.409 | 58.864 | 22.0566 | 58.864 | 0
5565151.358 | 59.1742 | 22.0409 | 59.1742 | 0
5669257.019 | 59.4894 | 22.0259 | 59.4894 | 0
5775310.154 | 59.8029 | 22.0047 | 59.8029 | 0
5883347.193 | 60.1173 | 21.9835 | 60.1173 | 0
5993405.251 | 60.4328 | 21.9615 | 60.4328 | 0
6105522.132 | 60.7494 | 21.9362 | 60.7494 | 0
6219736.351 | 61.0669 | 21.9079 | 61.0669 | 0
6336087.142 | 61.3837 | 21.8794 | 61.3837 | 0
6454614.473 | 61.7023 | 21.8461 | 61.7023 | 0
6575359.061 | 62.0198 | 21.8153 | 62.0198 | 0
6698362.382 | 62.338 | 21.7778 | 62.338 | 0
6823666.69 | 62.6578 | 21.7399 | 62.6578 | 0
6951315.03 | 62.9756 | 21.7022 | 62.9756 | 0
7081351.249 | 63.2936 | 21.6604 | 63.2936 | 0
7213820.018 | 63.6158 | 21.619 | 63.6158 | 0
7348766.842 | 63.9368 | 21.5727 | 63.9368 | 0
7486238.077 | 64.2578 | 21.526 | 64.2578 | 0
7626280.946 | 64.5763 | 21.4751 | 64.5763 | 0
7768943.556 | 64.8965 | 21.423 | 64.8965 | 0
7914274.913 | 65.2165 | 21.3691 | 65.2165 | 0
8062324.942 | 65.536 | 21.3108 | 65.536 | 0
8213144.5 | 65.8574 | 21.2523 | 65.8574 | 0
8366785.394 | 66.178 | 21.1903 | 66.178 | 0
8523300.405 | 66.4978 | 21.1256 | 66.4978 | 0
8682743.296 | 66.8209 | 21.0596 | 66.8209 | 0
8845168.838 | 67.1421 | 20.9893 | 67.1421 | 0
9010632.828 | 67.4627 | 20.9165 | 67.4627 | 0
9179192.104 | 67.7854 | 20.843 | 67.7854 | 0
9350904.569 | 68.1035 | 20.7654 | 68.1035 | 0
9525829.209 | 68.4254 | 20.6857 | 68.4254 | 0
9704026.113 | 68.7484 | 20.6034 | 68.7484 | 0
9885556.495 | 69.0707 | 20.5162 | 69.0707 | 0
10070482.713 | 69.3934 | 20.4287 | 69.3934 | 0
10258868.291 | 69.717 | 20.3384 | 69.717 | 0
10450777.943 | 70.0404 | 20.2467 | 70.0404 | 0
10646277.594 | 70.3627 | 20.1503 | 70.3627 | 0
10845434.398 | 70.6868 | 20.0521 | 70.6868 | 0
11048316.772 | 71.0084 | 19.951 | 71.0084 | 0
11254994.406 | 71.3312 | 19.8457 | 71.3312 | 0
11465538.299 | 71.6534 | 19.7376 | 71.6534 | 0
11680020.774 | 71.9754 | 19.6265 | 71.9754 | 0
11898515.511 | 72.2969 | 19.5127 | 72.2969 | 0
12121097.565 | 72.6175 | 19.3927 | 72.6175 | 0
12347843.396 | 72.9378 | 19.2729 | 72.9378 | 0
12578830.895 | 73.2571 | 19.1483 | 73.2571 | 0
12814139.41 | 73.5749 | 19.0216 | 73.5749 | 0
13053849.773 | 73.8943 | 18.8915 | 73.8943 | 0
13298044.327 | 74.2128 | 18.7553 | 74.2128 | 0
13546806.958 | 74.5321 | 18.6179 | 74.5321 | 0
13800223.119 | 74.8477 | 18.4765 | 74.8477 | 0
14058379.861 | 75.1658 | 18.3318 | 75.1658 | 0
14321365.866 | 75.4815 | 18.1823 | 75.4815 | 0
14589271.474 | 75.7947 | 18.03 | 75.7947 | 0
14862188.714 | 76.1095 | 17.8758 | 76.1095 | 0
15140211.336 | 76.4224 | 17.7158 | 76.4224 | 0
15423434.847 | 76.7365 | 17.5529 | 76.7365 | 0
15711956.537 | 77.0461 | 17.3847 | 77.0461 | 0
16005875.519 | 77.3553 | 17.2137 | 77.3553 | 0
16305292.756 | 77.667 | 17.0383 | 77.667 | 0
16610311.105 | 77.9777 | 16.8603 | 77.9777 | 0
16921035.342 | 78.287 | 16.6772 | 78.287 | 0
17237572.207 | 78.5947 | 16.4894 | 78.5947 | 0
17560030.435 | 78.9 | 16.3009 | 78.9 | 0
17888520.795 | 79.2062 | 16.1036 | 79.2062 | 0
18223156.128 | 79.5079 | 15.9069 | 79.5079 | 0
18564051.386 | 79.8103 | 15.7033 | 79.8103 | 0
18911323.673 | 80.1097 | 15.4943 | 80.1097 | 0
19265092.28 | 80.4095 | 15.2821 | 80.4095 | 0
19625478.734 | 80.7031 | 15.0663 | 80.7031 | 0
19992606.831 | 80.9976 | 14.8451 | 80.9976 | 0
20366602.687 | 81.2881 | 14.6151 | 81.2881 | 0
20747594.774 | 81.5827 | 14.3857 | 81.5827 | 0
21135713.969 | 81.8756 | 14.1494 | 81.8756 | 0
21531093.596 | 82.1659 | 13.9095 | 82.1659 | 0
21933869.474 | 82.4511 | 13.6639 | 82.4511 | 0
22344179.963 | 82.735 | 13.4104 | 82.735 | 0
22762166.01 | 83.0175 | 13.1555 | 83.0175 | 0
23187971.201 | 83.2961 | 12.8975 | 83.2961 | 0
23621741.804 | 83.5744 | 12.6321 | 83.5744 | 0
24063626.828 | 83.8506 | 12.3628 | 83.8506 | 0
24513778.065 | 84.1236 | 12.0877 | 84.1236 | 0
24972350.151 | 84.3922 | 11.8081 | 84.3922 | 0
25439500.61 | 84.6612 | 11.5232 | 84.6612 | 0
25915389.916 | 84.9268 | 11.233 | 84.9268 | 0
26400181.545 | 85.1899 | 10.9374 | 85.1899 | 0
26894042.029 | 85.4474 | 10.6357 | 85.4474 | 0
27397141.017 | 85.7055 | 10.3289 | 85.7055 | 0
27909651.331 | 85.9584 | 10.0147 | 85.9584 | 0
28431749.025 | 86.208 | 9.6978 | 86.208 | 0
28963613.449 | 86.456 | 9.3742 | 86.456 | 0
29505427.305 | 86.7001 | 9.0457 | 86.7001 | 0
30057376.714 | 86.9415 | 8.7106 | 86.9415 | 0
30619651.28 | 87.1782 | 8.3674 | 87.1782 | 0
31192444.152 | 87.4107 | 8.0213 | 87.4107 | 0
31775952.093 | 87.6429 | 7.6668 | 87.6429 | 0
32370375.546 | 87.8659 | 7.3102 | 87.8659 | 0
32975918.706 | 88.0876 | 6.9458 | 88.0876 | 0
33592789.584 | 88.3063 | 6.5725 | 88.3063 | 0
34221200.085 | 88.5216 | 6.1968 | 88.5216 | 0
34861366.079 | 88.7292 | 5.8133 | 88.7292 | 0
35513507.47 | 88.9344 | 5.4223 | 88.9344 | 0
36177848.28 | 89.1322 | 5.0252 | 89.1322 | 0
36854616.72 | 89.3264 | 4.6258 | 89.3264 | 0
37544045.269 | 89.5164 | 4.2141 | 89.5164 | 0
38246370.756 | 89.702 | 3.7976 | 89.702 | 0
38961834.441 | 89.88 | 3.3749 | 89.88 | 0
39690682.097 | 90.0531 | 2.9459 | 90.0531 | 0
40433164.092 | 90.2216 | 2.5097 | 90.2216 | 0
41189535.482 | 90.3849 | 2.064 | 90.3849 | 0
41960056.09 | 90.5393 | 1.6162 | 90.5393 | 0
42744990.601 | 90.6883 | 1.1601 | 90.6883 | 0
43544608.654 | 90.8311 | 0.69752 | 90.8311 | 0
44359184.928 | 90.9638 | 0.22717 | 90.9638 | 0
45188999.242 | 91.0931 | -0.25134 | 91.0931 | 0
46034336.65 | 91.2169 | -0.73715 | 91.2169 | 0
46895487.538 | 91.3303 | -1.2278 | 91.3303 | 0
47772747.725 | 91.4376 | -1.7246 | 91.4376 | 0
48666418.561 | 91.5372 | -2.2314 | 91.5372 | 0
49576807.036 | 91.6258 | -2.7432 | 91.6258 | 0
50504225.883 | 91.7109 | -3.2636 | 91.7109 | 0
51448993.684 | 91.783 | -3.7901 | 91.783 | 0
52411434.979 | 91.8477 | -4.3238 | 91.8477 | 0
53391880.383 | 91.9024 | -4.8645 | 91.9024 | 0
54390666.692 | 91.9486 | -5.4123 | 91.9486 | 0
55408137.005 | 91.9832 | -5.9678 | 91.9832 | 0
56444640.838 | 92.0099 | -6.5318 | 92.0099 | 0
57500534.246 | 92.0245 | -7.1014 | 92.0245 | 0
58576179.943 | 92.0284 | -7.6786 | 92.0284 | 0
59671947.43 | 92.0224 | -8.2601 | 92.0224 | 0
60788213.119 | 92.0014 | -8.8498 | 92.0014 | 0
61925360.465 | 91.9712 | -9.4456 | 91.9712 | 0
63083780.093 | 91.928 | -10.0486 | 91.928 | 0
64263869.939 | 91.8712 | -10.6575 | 91.8712 | 0
65466035.381 | 91.8045 | -11.27 | 91.8045 | 0
66690689.381 | 91.7213 | -11.8931 | 91.7213 | 0
67938252.626 | 91.6253 | -12.5174 | 91.6253 | 0
69209153.672 | 91.515 | -13.1488 | 91.515 | 0
70503829.092 | 91.3887 | -13.786 | 91.3887 | 0
71822723.627 | 91.2482 | -14.4258 | 91.2482 | 0
73166290.337 | 91.0905 | -15.073 | 91.0905 | 0
74534990.757 | 90.9203 | -15.7217 | 90.9203 | 0
75929295.056 | 90.734 | -16.3718 | 90.734 | 0
77349682.198 | 90.5311 | -17.0298 | 90.5311 | 0
78796640.108 | 90.3098 | -17.6919 | 90.3098 | 0
80270665.836 | 90.0716 | -18.3558 | 90.0716 | 0
81772265.733 | 89.816 | -19.0238 | 89.816 | 0
83301955.621 | 89.5421 | -19.6913 | 89.5421 | 0
84860260.97 | 89.2537 | -20.3594 | 89.2537 | 0
86447717.083 | 88.9413 | -21.0321 | 88.9413 | 0
88064869.273 | 88.6098 | -21.7015 | 88.6098 | 0
89712273.057 | 88.2651 | -22.3772 | 88.2651 | 0
91390494.342 | 87.8968 | -23.0495 | 87.8968 | 0
93100109.623 | 87.5069 | -23.7211 | 87.5069 | 0
94841706.177 | 87.0991 | -24.392 | 87.0991 | 0
96615882.27 | 86.6703 | -25.0598 | 86.6703 | 0
98423247.356 | 86.2208 | -25.7278 | 86.2208 | 0
100264422.293 | 85.7517 | -26.391 | 85.7517 | 0
102140039.551 | 85.2591 | -27.0473 | 85.2591 | 0
104050743.434 | 84.7479 | -27.7005 | 84.7479 | 0
105997190.296 | 84.2143 | -28.3501 | 84.2143 | 0
107980048.771 | 83.6568 | -28.9928 | 83.6568 | 0
110000000 | 83.08 | -29.6211 | 83.08 | 0
TRACE: B
FORMAT: LINEAR
Frequency | Data Real | Data Imag | Data Trace Real | Data Trace Imag
40 | 0.0044298 | 0.018756 | 0.018756 | 0
40.748 | 0.0043546 | 0.019591 | 0.019591 | 0
41.511 | 0.0044039 | 0.019673 | 0.019673 | 0
42.287 | 0.0040628 | 0.019945 | 0.019945 | 0
43.078 | 0.0042216 | 0.020558 | 0.020558 | 0
43.884 | 0.0044837 | 0.020803 | 0.020803 | 0
44.705 | 0.0046246 | 0.021384 | 0.021384 | 0
45.541 | 0.0042029 | 0.02142 | 0.02142 | 0
46.393 | 0.0039442 | 0.021929 | 0.021929 | 0
47.261 | 0.0042536 | 0.022486 | 0.022486 | 0
48.145 | 0.0043609 | 0.023088 | 0.023088 | 0
49.046 | 0.0042665 | 0.023233 | 0.023233 | 0
49.963 | 0.0046035 | 0.023373 | 0.023373 | 0
50.898 | 0.0041434 | 0.024242 | 0.024242 | 0
51.85 | 0.0044756 | 0.024932 | 0.024932 | 0
52.82 | 0.0043078 | 0.02534 | 0.02534 | 0
53.808 | 0.0042886 | 0.025767 | 0.025767 | 0
54.815 | 0.0043723 | 0.026118 | 0.026118 | 0
55.84 | 0.0044612 | 0.026695 | 0.026695 | 0
56.885 | 0.0042246 | 0.027111 | 0.027111 | 0
57.949 | 0.0042436 | 0.027638 | 0.027638 | 0
59.033 | 0.0042281 | 0.028321 | 0.028321 | 0
60.137 | 0.0043927 | 0.028817 | 0.028817 | 0
61.262 | 0.0043635 | 0.029002 | 0.029002 | 0
62.408 | 0.0043275 | 0.029886 | 0.029886 | 0
63.575 | 0.0042015 | 0.030482 | 0.030482 | 0
64.765 | 0.0043155 | 0.03111 | 0.03111 | 0
65.976 | 0.0045674 | 0.031524 | 0.031524 | 0
67.21 | 0.0045167 | 0.032097 | 0.032097 | 0
68.468 | 0.0045581 | 0.032726 | 0.032726 | 0
69.749 | 0.0043248 | 0.033234 | 0.033234 | 0
71.053 | 0.0045345 | 0.034072 | 0.034072 | 0
72.382 | 0.004496 | 0.034748 | 0.034748 | 0
73.736 | 0.0044602 | 0.035219 | 0.035219 | 0
75.116 | 0.0045498 | 0.035832 | 0.035832 | 0
76.521 | 0.0046037 | 0.036762 | 0.036762 | 0
77.952 | 0.0045756 | 0.037231 | 0.037231 | 0
79.411 | 0.0045923 | 0.037985 | 0.037985 | 0
80.896 | 0.0046289 | 0.038769 | 0.038769 | 0
82.41 | 0.0045915 | 0.039265 | 0.039265 | 0
83.951 | 0.0045926 | 0.03991 | 0.03991 | 0
85.522 | 0.0046591 | 0.040976 | 0.040976 | 0
87.121 | 0.0045356 | 0.041778 | 0.041778 | 0
88.751 | 0.0046527 | 0.042573 | 0.042573 | 0
90.411 | 0.004775 | 0.043159 | 0.043159 | 0
92.103 | 0.004638 | 0.043762 | 0.043762 | 0
93.826 | 0.0047653 | 0.04446 | 0.04446 | 0
95.581 | 0.0048317 | 0.045851 | 0.045851 | 0
97.369 | 0.0047605 | 0.046734 | 0.046734 | 0
99.19 | 0.004832 | 0.047229 | 0.047229 | 0
101.046 | 0.0047334 | 0.048504 | 0.048504 | 0
102.936 | 0.004741 | 0.049158 | 0.049158 | 0
104.862 | 0.0049098 | 0.049845 | 0.049845 | 0
106.823 | 0.0049509 | 0.050869 | 0.050869 | 0
108.822 | 0.0049698 | 0.051874 | 0.051874 | 0
110.857 | 0.0050219 | 0.052685 | 0.052685 | 0
112.931 | 0.0052646 | 0.053905 | 0.053905 | 0
115.044 | 0.0048372 | 0.054585 | 0.054585 | 0
117.196 | 0.0050593 | 0.055899 | 0.055899 | 0
119.388 | 0.0050894 | 0.056934 | 0.056934 | 0
121.621 | 0.0050237 | 0.057849 | 0.057849 | 0
123.897 | 0.0052076 | 0.05912 | 0.05912 | 0
126.214 | 0.0052384 | 0.059851 | 0.059851 | 0
128.575 | 0.0052712 | 0.061223 | 0.061223 | 0
130.98 | 0.0051079 | 0.062331 | 0.062331 | 0
133.431 | 0.0053044 | 0.063459 | 0.063459 | 0
135.927 | 0.0052254 | 0.06462 | 0.06462 | 0
138.469 | 0.0053068 | 0.065844 | 0.065844 | 0
141.06 | 0.0051928 | 0.067238 | 0.067238 | 0
143.699 | 0.0051572 | 0.06832 | 0.06832 | 0
146.387 | 0.0053489 | 0.069767 | 0.069767 | 0
149.125 | 0.0054144 | 0.071043 | 0.071043 | 0
151.915 | 0.0054037 | 0.072379 | 0.072379 | 0
154.757 | 0.005347 | 0.073635 | 0.073635 | 0
157.652 | 0.0052992 | 0.074972 | 0.074972 | 0
160.601 | 0.0054518 | 0.076353 | 0.076353 | 0
163.605 | 0.0055519 | 0.078004 | 0.078004 | 0
166.666 | 0.0053938 | 0.079201 | 0.079201 | 0
169.783 | 0.0054415 | 0.080822 | 0.080822 | 0
172.959 | 0.0054212 | 0.082097 | 0.082097 | 0
176.195 | 0.0055397 | 0.084027 | 0.084027 | 0
179.491 | 0.0058882 | 0.085319 | 0.085319 | 0
182.849 | 0.0055798 | 0.086882 | 0.086882 | 0
186.269 | 0.0058284 | 0.088662 | 0.088662 | 0
189.754 | 0.0057414 | 0.090036 | 0.090036 | 0
193.303 | 0.0058825 | 0.092113 | 0.092113 | 0
196.919 | 0.0057508 | 0.09366 | 0.09366 | 0
200.603 | 0.005861 | 0.095437 | 0.095437 | 0
204.356 | 0.0059185 | 0.097378 | 0.097378 | 0
208.178 | 0.0058998 | 0.099051 | 0.099051 | 0
212.073 | 0.0060502 | 0.10096 | 0.10096 | 0
216.04 | 0.0063059 | 0.10269 | 0.10269 | 0
220.081 | 0.0062383 | 0.10469 | 0.10469 | 0
224.198 | 0.006266 | 0.10648 | 0.10648 | 0
228.392 | 0.0061384 | 0.10852 | 0.10852 | 0
232.665 | 0.0061784 | 0.11071 | 0.11071 | 0
237.017 | 0.0064405 | 0.11246 | 0.11246 | 0
241.451 | 0.0065016 | 0.11471 | 0.11471 | 0
245.968 | 0.0067157 | 0.11682 | 0.11682 | 0
250.569 | 0.0067259 | 0.11901 | 0.11901 | 0
255.256 | 0.0068474 | 0.12133 | 0.12133 | 0
260.031 | 0.0068457 | 0.12359 | 0.12359 | 0
264.896 | 0.0070186 | 0.12588 | 0.12588 | 0
269.851 | 0.0070338 | 0.12845 | 0.12845 | 0
274.899 | 0.0070655 | 0.13091 | 0.13091 | 0
280.042 | 0.0072373 | 0.13324 | 0.13324 | 0
285.28 | 0.0071178 | 0.13557 | 0.13557 | 0
290.617 | 0.0073161 | 0.13805 | 0.13805 | 0
296.053 | 0.0074994 | 0.1406 | 0.1406 | 0
301.591 | 0.0074066 | 0.14321 | 0.14321 | 0
307.233 | 0.0077243 | 0.14592 | 0.14592 | 0
312.981 | 0.0078089 | 0.14866 | 0.14866 | 0
318.835 | 0.0078147 | 0.15138 | 0.15138 | 0
324.8 | 0.0079713 | 0.15416 | 0.15416 | 0
330.876 | 0.0081398 | 0.15711 | 0.15711 | 0
337.065 | 0.0080082 | 0.16014 | 0.16014 | 0
343.371 | 0.0083092 | 0.16302 | 0.16302 | 0
349.794 | 0.0083795 | 0.1661 | 0.1661 | 0
356.338 | 0.0084718 | 0.16913 | 0.16913 | 0
363.003 | 0.0086273 | 0.17251 | 0.17251 | 0
369.794 | 0.0086982 | 0.17554 | 0.17554 | 0
376.712 | 0.0088848 | 0.17884 | 0.17884 | 0
383.759 | 0.0088621 | 0.18218 | 0.18218 | 0
390.938 | 0.0093226 | 0.18562 | 0.18562 | 0
398.251 | 0.0092749 | 0.18879 | 0.18879 | 0
405.701 | 0.0094473 | 0.19248 | 0.19248 | 0
413.29 | 0.0095042 | 0.19598 | 0.19598 | 0
421.021 | 0.0098133 | 0.19956 | 0.19956 | 0
428.897 | 0.0099165 | 0.20349 | 0.20349 | 0
436.92 | 0.010133 | 0.2073 | 0.2073 | 0
445.094 | 0.010256 | 0.21119 | 0.21119 | 0
453.42 | 0.010335 | 0.21487 | 0.21487 | 0
461.902 | 0.010515 | 0.21913 | 0.21913 | 0
470.543 | 0.010723 | 0.22317 | 0.22317 | 0
479.345 | 0.011089 | 0.22725 | 0.22725 | 0
488.312 | 0.011041 | 0.23152 | 0.23152 | 0
497.447 | 0.011302 | 0.23562 | 0.23562 | 0
506.752 | 0.011543 | 0.24031 | 0.24031 | 0
516.232 | 0.011628 | 0.24484 | 0.24484 | 0
525.889 | 0.012031 | 0.24928 | 0.24928 | 0
535.727 | 0.012223 | 0.25393 | 0.25393 | 0
545.748 | 0.012487 | 0.25875 | 0.25875 | 0
555.957 | 0.012679 | 0.26354 | 0.26354 | 0
566.358 | 0.012985 | 0.26853 | 0.26853 | 0
576.952 | 0.013171 | 0.27339 | 0.27339 | 0
587.745 | 0.013471 | 0.2786 | 0.2786 | 0
598.74 | 0.013721 | 0.28372 | 0.28372 | 0
609.94 | 0.014071 | 0.28906 | 0.28906 | 0
621.35 | 0.014255 | 0.29436 | 0.29436 | 0
632.974 | 0.01471 | 0.29996 | 0.29996 | 0
644.815 | 0.014853 | 0.30549 | 0.30549 | 0
656.877 | 0.015182 | 0.31121 | 0.31121 | 0
669.165 | 0.015866 | 0.31705 | 0.31705 | 0
681.683 | 0.015984 | 0.32296 | 0.32296 | 0
694.435 | 0.016216 | 0.32895 | 0.32895 | 0
707.425 | 0.016686 | 0.33494 | 0.33494 | 0
720.659 | 0.017189 | 0.34152 | 0.34152 | 0
734.14 | 0.017485 | 0.34768 | 0.34768 | 0
747.874 | 0.017813 | 0.35406 | 0.35406 | 0
761.864 | 0.018104 | 0.36074 | 0.36074 | 0
776.116 | 0.01876 | 0.36754 | 0.36754 | 0
790.634 | 0.019078 | 0.37431 | 0.37431 | 0
805.425 | 0.019545 | 0.38131 | 0.38131 | 0
820.491 | 0.019984 | 0.38827 | 0.38827 | 0
835.84 | 0.020529 | 0.39553 | 0.39553 | 0
851.476 | 0.020997 | 0.40305 | 0.40305 | 0
867.404 | 0.02168 | 0.41037 | 0.41037 | 0
883.63 | 0.022033 | 0.41819 | 0.41819 | 0
900.16 | 0.022716 | 0.42589 | 0.42589 | 0
916.999 | 0.023217 | 0.4338 | 0.4338 | 0
934.153 | 0.02363 | 0.44195 | 0.44195 | 0
951.628 | 0.024381 | 0.45004 | 0.45004 | 0
969.43 | 0.025031 | 0.45839 | 0.45839 | 0
987.565 | 0.025864 | 0.46693 | 0.46693 | 0
1006.039 | 0.026483 | 0.47557 | 0.47557 | 0
1024.859 | 0.027007 | 0.4847 | 0.4847 | 0
1044.03 | 0.027749 | 0.49358 | 0.49358 | 0
1063.561 | 0.028413 | 0.50281 | 0.50281 | 0
1083.457 | 0.029205 | 0.51203 | 0.51203 | 0
1103.724 | 0.030202 | 0.52143 | 0.52143 | 0
1124.372 | 0.030864 | 0.53129 | 0.53129 | 0
1145.405 | 0.031777 | 0.54106 | 0.54106 | 0
1166.832 | 0.032495 | 0.55118 | 0.55118 | 0
1188.659 | 0.033638 | 0.56117 | 0.56117 | 0
1210.895 | 0.034472 | 0.57171 | 0.57171 | 0
1233.547 | 0.035535 | 0.58226 | 0.58226 | 0
1256.623 | 0.036307 | 0.59311 | 0.59311 | 0
1280.13 | 0.037545 | 0.60409 | 0.60409 | 0
1304.077 | 0.03854 | 0.61526 | 0.61526 | 0
1328.472 | 0.039738 | 0.62674 | 0.62674 | 0
1353.323 | 0.041003 | 0.63831 | 0.63831 | 0
1378.639 | 0.042007 | 0.65017 | 0.65017 | 0
1404.429 | 0.043322 | 0.66222 | 0.66222 | 0
1430.701 | 0.044511 | 0.67439 | 0.67439 | 0
1457.465 | 0.045728 | 0.68666 | 0.68666 | 0
1484.729 | 0.047185 | 0.69961 | 0.69961 | 0
1512.504 | 0.048523 | 0.71237 | 0.71237 | 0
1540.798 | 0.049908 | 0.72567 | 0.72567 | 0
1569.621 | 0.051515 | 0.73897 | 0.73897 | 0
1598.984 | 0.053023 | 0.75264 | 0.75264 | 0
1628.895 | 0.054714 | 0.76657 | 0.76657 | 0
1659.367 | 0.056297 | 0.78076 | 0.78076 | 0
1690.408 | 0.058064 | 0.79513 | 0.79513 | 0
1722.03 | 0.059748 | 0.8098 | 0.8098 | 0
1754.243 | 0.061637 | 0.82485 | 0.82485 | 0
1787.059 | 0.063488 | 0.83994 | 0.83994 | 0
1820.489 | 0.065456 | 0.85542 | 0.85542 | 0
1854.545 | 0.067567 | 0.87126 | 0.87126 | 0
1889.237 | 0.069626 | 0.88723 | 0.88723 | 0
1924.579 | 0.071753 | 0.90356 | 0.90356 | 0
1960.581 | 0.074059 | 0.92029 | 0.92029 | 0
1997.257 | 0.076183 | 0.93704 | 0.93704 | 0
2034.619 | 0.078623 | 0.95431 | 0.95431 | 0
2072.68 | 0.081103 | 0.97194 | 0.97194 | 0
2111.453 | 0.083733 | 0.98982 | 0.98982 | 0
2150.952 | 0.086119 | 1.008 | 1.008 | 0
2191.189 | 0.088958 | 1.0265 | 1.0265 | 0
2232.179 | 0.091745 | 1.0452 | 1.0452 | 0
2273.936 | 0.094607 | 1.0645 | 1.0645 | 0
2316.473 | 0.097569 | 1.0838 | 1.0838 | 0
2359.807 | 0.1008 | 1.1038 | 1.1038 | 0
2403.951 | 0.10413 | 1.1238 | 1.1238 | 0
2448.921 | 0.10726 | 1.1446 | 1.1446 | 0
2494.732 | 0.11096 | 1.1654 | 1.1654 | 0
2541.401 | 0.11437 | 1.1866 | 1.1866 | 0
2588.942 | 0.11804 | 1.2082 | 1.2082 | 0
2637.373 | 0.12195 | 1.2302 | 1.2302 | 0
2686.709 | 0.12578 | 1.2526 | 1.2526 | 0
2736.969 | 0.12987 | 1.2752 | 1.2752 | 0
2788.168 | 0.13416 | 1.2986 | 1.2986 | 0
2840.326 | 0.13841 | 1.3223 | 1.3223 | 0
2893.459 | 0.14293 | 1.3462 | 1.3462 | 0
2947.586 | 0.1478 | 1.3709 | 1.3709 | 0
3002.726 | 0.15244 | 1.3957 | 1.3957 | 0
3058.897 | 0.15735 | 1.4208 | 1.4208 | 0
3116.119 | 0.16269 | 1.4466 | 1.4466 | 0
3174.411 | 0.16772 | 1.4728 | 1.4728 | 0
3233.794 | 0.17329 | 1.4993 | 1.4993 | 0
3294.287 | 0.17902 | 1.5265 | 1.5265 | 0
3355.913 | 0.18476 | 1.554 | 1.554 | 0
3418.691 | 0.19094 | 1.5819 | 1.5819 | 0
3482.643 | 0.19718 | 1.6106 | 1.6106 | 0
3547.792 | 0.20364 | 1.6394 | 1.6394 | 0
3614.159 | 0.21039 | 1.6688 | 1.6688 | 0
3681.768 | 0.21736 | 1.6988 | 1.6988 | 0
3750.642 | 0.22449 | 1.7295 | 1.7295 | 0
3820.804 | 0.23185 | 1.7602 | 1.7602 | 0
3892.279 | 0.23968 | 1.7918 | 1.7918 | 0
3965.091 | 0.24753 | 1.8237 | 1.8237 | 0
4039.264 | 0.25547 | 1.8561 | 1.8561 | 0
4114.826 | 0.26407 | 1.8893 | 1.8893 | 0
4191.801 | 0.27301 | 1.9228 | 1.9228 | 0
4270.215 | 0.28199 | 1.957 | 1.957 | 0
4350.097 | 0.29142 | 1.9917 | 1.9917 | 0
4431.473 | 0.30092 | 2.0269 | 2.0269 | 0
4514.371 | 0.31074 | 2.0626 | 2.0626 | 0
4598.82 | 0.32117 | 2.0991 | 2.0991 | 0
4684.849 | 0.33194 | 2.1361 | 2.1361 | 0
4772.487 | 0.34267 | 2.1736 | 2.1736 | 0
4861.765 | 0.35397 | 2.2117 | 2.2117 | 0
4952.712 | 0.36568 | 2.2505 | 2.2505 | 0
5045.361 | 0.37757 | 2.2899 | 2.2899 | 0
5139.744 | 0.39037 | 2.3298 | 2.3298 | 0
5235.891 | 0.40307 | 2.3704 | 2.3704 | 0
5333.837 | 0.41665 | 2.4118 | 2.4118 | 0
5433.616 | 0.43029 | 2.4535 | 2.4535 | 0
5535.261 | 0.44431 | 2.4962 | 2.4962 | 0
5638.808 | 0.45905 | 2.5392 | 2.5392 | 0
5744.291 | 0.474 | 2.583 | 2.583 | 0
5851.748 | 0.48978 | 2.6273 | 2.6273 | 0
5961.215 | 0.50546 | 2.6723 | 2.6723 | 0
6072.73 | 0.52241 | 2.718 | 2.718 | 0
6186.33 | 0.53941 | 2.7646 | 2.7646 | 0
6302.056 | 0.55741 | 2.8113 | 2.8113 | 0
6419.947 | 0.57559 | 2.8592 | 2.8592 | 0
6540.043 | 0.59427 | 2.9075 | 2.9075 | 0
6662.386 | 0.61379 | 2.9567 | 2.9567 | 0
6787.017 | 0.63405 | 3.0064 | 3.0064 | 0
6913.98 | 0.65432 | 3.0564 | 3.0564 | 0
7043.318 | 0.67601 | 3.1078 | 3.1078 | 0
7175.075 | 0.69775 | 3.1593 | 3.1593 | 0
7309.297 | 0.72045 | 3.2119 | 3.2119 | 0
7446.03 | 0.74378 | 3.2652 | 3.2652 | 0
7585.32 | 0.76738 | 3.319 | 3.319 | 0
7727.217 | 0.79283 | 3.3733 | 3.3733 | 0
7871.768 | 0.81799 | 3.4283 | 3.4283 | 0
8019.022 | 0.84444 | 3.4844 | 3.4844 | 0
8169.032 | 0.87111 | 3.5409 | 3.5409 | 0
8321.848 | 0.89921 | 3.5982 | 3.5982 | 0
8477.522 | 0.9273 | 3.6561 | 3.6561 | 0
8636.109 | 0.95723 | 3.7145 | 3.7145 | 0
8797.662 | 0.9877 | 3.7737 | 3.7737 | 0
8962.237 | 1.0188 | 3.8335 | 3.8335 | 0
9129.891 | 1.0513 | 3.8935 | 3.8935 | 0
9300.681 | 1.0838 | 3.9547 | 3.9547 | 0
9474.666 | 1.1184 | 4.0163 | 4.0163 | 0
9651.906 | 1.1538 | 4.079 | 4.079 | 0
9832.461 | 1.1894 | 4.1424 | 4.1424 | 0
10016.394 | 1.2267 | 4.2049 | 4.2049 | 0
10203.768 | 1.2638 | 4.2698 | 4.2698 | 0
10394.647 | 1.3033 | 4.3348 | 4.3348 | 0
10589.097 | 1.3434 | 4.4005 | 4.4005 | 0
10787.184 | 1.3845 | 4.467 | 4.467 | 0
10988.977 | 1.4272 | 4.5328 | 4.5328 | 0
11194.544 | 1.4708 | 4.6002 | 4.6002 | 0
11403.957 | 1.5142 | 4.6678 | 4.6678 | 0
11617.288 | 1.5609 | 4.736 | 4.736 | 0
11834.609 | 1.6072 | 4.8049 | 4.8049 | 0
12055.996 | 1.6551 | 4.8751 | 4.8751 | 0
12281.524 | 1.7053 | 4.9443 | 4.9443 | 0
12511.27 | 1.7564 | 5.0146 | 5.0146 | 0
12745.315 | 1.8081 | 5.085 | 5.085 | 0
12983.738 | 1.8613 | 5.1561 | 5.1561 | 0
13226.621 | 1.9158 | 5.2274 | 5.2274 | 0
13474.047 | 1.9717 | 5.299 | 5.299 | 0
13726.103 | 2.0279 | 5.3713 | 5.3713 | 0
13982.873 | 2.0866 | 5.4433 | 5.4433 | 0
14244.446 | 2.1464 | 5.5161 | 5.5161 | 0
14510.913 | 2.2078 | 5.5893 | 5.5893 | 0
14782.364 | 2.2707 | 5.6623 | 5.6623 | 0
15058.894 | 2.3337 | 5.7362 | 5.7362 | 0
15340.596 | 2.3993 | 5.8095 | 5.8095 | 0
15627.568 | 2.4662 | 5.8831 | 5.8831 | 0
15919.908 | 2.5344 | 5.9573 | 5.9573 | 0
16217.718 | 2.6042 | 6.0314 | 6.0314 | 0
16521.098 | 2.6749 | 6.1059 | 6.1059 | 0
16830.153 | 2.7484 | 6.1797 | 6.1797 | 0
17144.99 | 2.8221 | 6.2543 | 6.2543 | 0
17465.716 | 2.8983 | 6.328 | 6.328 | 0
17792.442 | 2.9752 | 6.4027 | 6.4027 | 0
18125.28 | 3.0528 | 6.4763 | 6.4763 | 0
18464.344 | 3.1335 | 6.5503 | 6.5503 | 0
18809.752 | 3.2145 | 6.6243 | 6.6243 | 0
19161.62 | 3.2964 | 6.6977 | 6.6977 | 0
19520.071 | 3.3806 | 6.7711 | 6.7711 | 0
19885.227 | 3.4661 | 6.8436 | 6.8436 | 0
20257.214 | 3.5535 | 6.9165 | 6.9165 | 0
20636.16 | 3.6425 | 6.9885 | 6.9885 | 0
21022.195 | 3.7322 | 7.061 | 7.061 | 0
21415.451 | 3.8244 | 7.1321 | 7.1321 | 0
21816.063 | 3.9169 | 7.2039 | 7.2039 | 0
22224.17 | 4.0113 | 7.2744 | 7.2744 | 0
22639.911 | 4.1068 | 7.3443 | 7.3443 | 0
23063.429 | 4.2046 | 7.4137 | 7.4137 | 0
23494.87 | 4.3021 | 7.4834 | 7.4834 | 0
23934.382 | 4.402 | 7.5508 | 7.5508 | 0
24382.115 | 4.5035 | 7.6187 | 7.6187 | 0
24838.224 | 4.6048 | 7.6861 | 7.6861 | 0
25302.866 | 4.7082 | 7.7534 | 7.7534 | 0
25776.199 | 4.8141 | 7.818 | 7.818 | 0
26258.387 | 4.919 | 7.8831 | 7.8831 | 0
26749.595 | 5.0263 | 7.947 | 7.947 | 0
27249.992 | 5.1329 | 8.0111 | 8.0111 | 0
27759.749 | 5.2448 | 8.0727 | 8.0727 | 0
28279.043 | 5.3543 | 8.1347 | 8.1347 | 0
28808.051 | 5.4659 | 8.1954 | 8.1954 | 0
29346.955 | 5.579 | 8.2562 | 8.2562 | 0
29895.939 | 5.6916 | 8.3145 | 8.3145 | 0
30455.194 | 5.8061 | 8.3732 | 8.3732 | 0
31024.911 | 5.9215 | 8.4297 | 8.4297 | 0
31605.284 | 6.0369 | 8.4865 | 8.4865 | 0
32196.515 | 6.153 | 8.5412 | 8.5412 | 0
32798.806 | 6.2708 | 8.5957 | 8.5957 | 0
33412.364 | 6.389 | 8.6488 | 8.6488 | 0
34037.399 | 6.5077 | 8.7008 | 8.7008 | 0
34674.127 | 6.6278 | 8.752 | 8.752 | 0
35322.766 | 6.748 | 8.803 | 8.803 | 0
35983.538 | 6.8686 | 8.8511 | 8.8511 | 0
36656.672 | 6.9897 | 8.8993 | 8.8993 | 0
37342.397 | 7.1116 | 8.9462 | 8.9462 | 0
38040.951 | 7.2335 | 8.993 | 8.993 | 0
38752.572 | 7.3558 | 9.0375 | 9.0375 | 0
39477.505 | 7.4793 | 9.0813 | 9.0813 | 0
40215.999 | 7.6028 | 9.1248 | 9.1248 | 0
40968.308 | 7.7261 | 9.1676 | 9.1676 | 0
41734.69 | 7.8496 | 9.2085 | 9.2085 | 0
42515.409 | 7.9738 | 9.2492 | 9.2492 | 0
43310.732 | 8.0975 | 9.2881 | 9.2881 | 0
44120.933 | 8.222 | 9.3274 | 9.3274 | 0
44946.291 | 8.3467 | 9.3649 | 9.3649 | 0
45787.088 | 8.4711 | 9.4018 | 9.4018 | 0
46643.613 | 8.5948 | 9.4374 | 9.4374 | 0
47516.162 | 8.719 | 9.4724 | 9.4724 | 0
48405.033 | 8.8433 | 9.5057 | 9.5057 | 0
49310.532 | 8.9675 | 9.5394 | 9.5394 | 0
50232.969 | 9.0915 | 9.5719 | 9.5719 | 0
51172.663 | 9.2152 | 9.6043 | 9.6043 | 0
52129.935 | 9.3394 | 9.6353 | 9.6353 | 0
53105.114 | 9.462 | 9.6666 | 9.6666 | 0
54098.536 | 9.586 | 9.697 | 9.697 | 0
55110.542 | 9.7089 | 9.7266 | 9.7266 | 0
56141.478 | 9.8303 | 9.756 | 9.756 | 0
57191.701 | 9.9534 | 9.7838 | 9.7838 | 0
58261.569 | 10.0738 | 9.8142 | 9.8142 | 0
59351.451 | 10.1968 | 9.8414 | 9.8414 | 0
60461.722 | 10.3169 | 9.8695 | 9.8695 | 0
61592.761 | 10.4375 | 9.8973 | 9.8973 | 0
62744.959 | 10.5585 | 9.9236 | 9.9236 | 0
63918.711 | 10.6788 | 9.9505 | 9.9505 | 0
65114.419 | 10.799 | 9.9773 | 9.9773 | 0
66332.496 | 10.9182 | 10.0028 | 10.0028 | 0
67573.358 | 11.036 | 10.0298 | 10.0298 | 0
68837.434 | 11.1552 | 10.0569 | 10.0569 | 0
70125.155 | 11.2726 | 10.084 | 10.084 | 0
71436.966 | 11.3902 | 10.1102 | 10.1102 | 0
72773.317 | 11.506 | 10.1377 | 10.1377 | 0
74134.666 | 11.625 | 10.1635 | 10.1635 | 0
75521.481 | 11.7405 | 10.1908 | 10.1908 | 0
76934.24 | 11.8573 | 10.2169 | 10.2169 | 0
78373.426 | 11.9723 | 10.2452 | 10.2452 | 0
79839.535 | 12.0883 | 10.273 | 10.273 | 0
81333.069 | 12.2025 | 10.3003 | 10.3003 | 0
82854.543 | 12.3179 | 10.328 | 10.328 | 0
84404.479 | 12.4324 | 10.3565 | 10.3565 | 0
85983.409 | 12.5469 | 10.3862 | 10.3862 | 0
87591.876 | 12.6607 | 10.4164 | 10.4164 | 0
89230.431 | 12.7753 | 10.4472 | 10.4472 | 0
90899.639 | 12.8889 | 10.4778 | 10.4778 | 0
92600.072 | 13.0025 | 10.5083 | 10.5083 | 0
94332.314 | 13.1166 | 10.5399 | 10.5399 | 0
96096.961 | 13.2296 | 10.5726 | 10.5726 | 0
97894.619 | 13.3416 | 10.6055 | 10.6055 | 0
99725.905 | 13.4561 | 10.6394 | 10.6394 | 0
101591.449 | 13.568 | 10.6744 | 10.6744 | 0
103491.89 | 13.6819 | 10.7082 | 10.7082 | 0
105427.883 | 13.7943 | 10.7441 | 10.7441 | 0
107400.091 | 13.9079 | 10.7812 | 10.7812 | 0
109409.193 | 14.0219 | 10.818 | 10.818 | 0
111455.879 | 14.1349 | 10.8562 | 10.8562 | 0
113540.852 | 14.2489 | 10.8958 | 10.8958 | 0
115664.827 | 14.3628 | 10.935 | 10.935 | 0
117828.536 | 14.4764 | 10.9759 | 10.9759 | 0
120032.72 | 14.5898 | 11.0161 | 11.0161 | 0
122278.137 | 14.7042 | 11.0594 | 11.0594 | 0
124565.558 | 14.8193 | 11.1021 | 11.1021 | 0
126895.769 | 14.9344 | 11.1464 | 11.1464 | 0
129269.572 | 15.0498 | 11.1897 | 11.1897 | 0
131687.78 | 15.1659 | 11.2354 | 11.2354 | 0
134151.225 | 15.2817 | 11.2823 | 11.2823 | 0
136660.752 | 15.3989 | 11.3303 | 11.3303 | 0
139217.225 | 15.5147 | 11.3783 | 11.3783 | 0
141821.521 | 15.634 | 11.4263 | 11.4263 | 0
144474.535 | 15.7519 | 11.4757 | 11.4757 | 0
147177.178 | 15.8711 | 11.529 | 11.529 | 0
149930.378 | 15.9908 | 11.5812 | 11.5812 | 0
152735.082 | 16.1119 | 11.6323 | 11.6323 | 0
155592.253 | 16.2327 | 11.6865 | 11.6865 | 0
158502.871 | 16.3557 | 11.7401 | 11.7401 | 0
161467.938 | 16.4769 | 11.7958 | 11.7958 | 0
164488.472 | 16.6017 | 11.8499 | 11.8499 | 0
167565.51 | 16.7256 | 11.9073 | 11.9073 | 0
170700.109 | 16.8515 | 11.9643 | 11.9643 | 0
173893.346 | 16.9776 | 12.0228 | 12.0228 | 0
177146.318 | 17.1044 | 12.0806 | 12.0806 | 0
180460.142 | 17.2323 | 12.1412 | 12.1412 | 0
183835.957 | 17.3613 | 12.2015 | 12.2015 | 0
187274.923 | 17.4922 | 12.2609 | 12.2609 | 0
190778.22 | 17.6218 | 12.3243 | 12.3243 | 0
194347.053 | 17.7532 | 12.386 | 12.386 | 0
197982.646 | 17.8864 | 12.4488 | 12.4488 | 0
201686.25 | 18.0198 | 12.513 | 12.513 | 0
205459.135 | 18.1552 | 12.5763 | 12.5763 | 0
209302.599 | 18.2901 | 12.6432 | 12.6432 | 0
213217.962 | 18.4277 | 12.7077 | 12.7077 | 0
217206.568 | 18.5674 | 12.7715 | 12.7715 | 0
221269.788 | 18.7067 | 12.8391 | 12.8391 | 0
225409.017 | 18.8457 | 12.9085 | 12.9085 | 0
229625.678 | 18.9887 | 12.9742 | 12.9742 | 0
233921.218 | 19.131 | 13.0421 | 13.0421 | 0
238297.114 | 19.2752 | 13.1109 | 13.1109 | 0
242754.869 | 19.4213 | 13.1803 | 13.1803 | 0
247296.013 | 19.5684 | 13.2492 | 13.2492 | 0
251922.107 | 19.7159 | 13.3192 | 13.3192 | 0
256634.741 | 19.8654 | 13.3874 | 13.3874 | 0
261435.532 | 20.0142 | 13.4596 | 13.4596 | 0
266326.13 | 20.1674 | 13.5299 | 13.5299 | 0
271308.215 | 20.3188 | 13.6006 | 13.6006 | 0
276383.499 | 20.4742 | 13.6735 | 13.6735 | 0
281553.724 | 20.63 | 13.7438 | 13.7438 | 0
286820.667 | 20.7879 | 13.8143 | 13.8143 | 0
292186.138 | 20.9452 | 13.8857 | 13.8857 | 0
297651.978 | 21.1041 | 13.9571 | 13.9571 | 0
303220.067 | 21.2643 | 14.0288 | 14.0288 | 0
308892.316 | 21.4274 | 14.1005 | 14.1005 | 0
314670.675 | 21.5895 | 14.172 | 14.172 | 0
320557.127 | 21.7548 | 14.2435 | 14.2435 | 0
326553.695 | 21.92 | 14.315 | 14.315 | 0
332662.44 | 22.0868 | 14.3857 | 14.3857 | 0
338885.459 | 22.2545 | 14.4565 | 14.4565 | 0
345224.89 | 22.4247 | 14.527 | 14.527 | 0
351682.912 | 22.5937 | 14.598 | 14.598 | 0
358261.741 | 22.7651 | 14.6691 | 14.6691 | 0
364963.639 | 22.9361 | 14.741 | 14.741 | 0
371790.907 | 23.1104 | 14.8102 | 14.8102 | 0
378745.891 | 23.2846 | 14.8804 | 14.8804 | 0
385830.98 | 23.4594 | 14.9508 | 14.9508 | 0
393048.607 | 23.6355 | 15.0204 | 15.0204 | 0
400401.253 | 23.8127 | 15.089 | 15.089 | 0
407891.442 | 23.9911 | 15.1578 | 15.1578 | 0
415521.748 | 24.1682 | 15.229 | 15.229 | 0
423294.792 | 24.3468 | 15.2986 | 15.2986 | 0
431213.244 | 24.5271 | 15.3674 | 15.3674 | 0
439279.824 | 24.7078 | 15.4368 | 15.4368 | 0
447497.303 | 24.889 | 15.5061 | 15.5061 | 0
455868.505 | 25.0716 | 15.5768 | 15.5768 | 0
464396.304 | 25.2547 | 15.644 | 15.644 | 0
473083.63 | 25.4385 | 15.7157 | 15.7157 | 0
481933.467 | 25.6223 | 15.784 | 15.784 | 0
490948.855 | 25.8058 | 15.8527 | 15.8527 | 0
500132.892 | 25.993 | 15.9237 | 15.9237 | 0
509488.732 | 26.1807 | 15.9938 | 15.9938 | 0
519019.589 | 26.368 | 16.0644 | 16.0644 | 0
528728.737 | 26.5578 | 16.1332 | 16.1332 | 0
538619.511 | 26.7488 | 16.2053 | 16.2053 | 0
548695.309 | 26.9385 | 16.2771 | 16.2771 | 0
558959.592 | 27.1309 | 16.349 | 16.349 | 0
569415.885 | 27.3239 | 16.4196 | 16.4196 | 0
580067.782 | 27.519 | 16.4909 | 16.4909 | 0
590918.941 | 27.7148 | 16.5648 | 16.5648 | 0
601973.089 | 27.9117 | 16.6343 | 16.6343 | 0
613234.023 | 28.1109 | 16.7069 | 16.7069 | 0
624705.613 | 28.3086 | 16.7771 | 16.7771 | 0
636391.799 | 28.5108 | 16.8481 | 16.8481 | 0
648296.594 | 28.7129 | 16.9187 | 16.9187 | 0
660424.089 | 28.9149 | 16.9882 | 16.9882 | 0
672778.45 | 29.1188 | 17.0587 | 17.0587 | 0
685363.919 | 29.3238 | 17.1273 | 17.1273 | 0
698184.822 | 29.5298 | 17.1961 | 17.1961 | 0
711245.562 | 29.7369 | 17.2658 | 17.2658 | 0
724550.625 | 29.9418 | 17.3344 | 17.3344 | 0
738104.581 | 30.1505 | 17.4039 | 17.4039 | 0
751912.088 | 30.359 | 17.4713 | 17.4713 | 0
765977.888 | 30.5674 | 17.5402 | 17.5402 | 0
780306.813 | 30.7757 | 17.6114 | 17.6114 | 0
794903.784 | 30.9878 | 17.6796 | 17.6796 | 0
809773.817 | 31.2015 | 17.7472 | 17.7472 | 0
824922.019 | 31.413 | 17.8187 | 17.8187 | 0
840353.595 | 31.6265 | 17.8885 | 17.8885 | 0
856073.844 | 31.8413 | 17.9574 | 17.9574 | 0
872088.167 | 32.056 | 18.0287 | 18.0287 | 0
888402.066 | 32.2727 | 18.0993 | 18.0993 | 0
905021.144 | 32.4905 | 18.1709 | 18.1709 | 0
921951.11 | 32.7094 | 18.2434 | 18.2434 | 0
939197.78 | 32.9311 | 18.3168 | 18.3168 | 0
956767.078 | 33.153 | 18.3867 | 18.3867 | 0
974665.041 | 33.381 | 18.456 | 18.456 | 0
992897.815 | 33.606 | 18.5257 | 18.5257 | 0
1011471.664 | 33.833 | 18.5963 | 18.5963 | 0
1030392.969 | 34.0638 | 18.6638 | 18.6638 | 0
1049668.229 | 34.2949 | 18.7334 | 18.7334 | 0
1069304.066 | 34.5252 | 18.7994 | 18.7994 | 0
1089307.225 | 34.7572 | 18.8698 | 18.8698 | 0
1109684.577 | 34.9951 | 18.9345 | 18.9345 | 0
1130443.122 | 35.2305 | 19.0018 | 19.0018 | 0
1151589.992 | 35.4667 | 19.067 | 19.067 | 0
1173132.449 | 35.703 | 19.1333 | 19.1333 | 0
1195077.895 | 35.9382 | 19.1974 | 19.1974 | 0
1217433.868 | 36.1752 | 19.2622 | 19.2622 | 0
1240208.048 | 36.4123 | 19.3262 | 19.3262 | 0
1263408.258 | 36.6505 | 19.3925 | 19.3925 | 0
1287042.467 | 36.8896 | 19.4551 | 19.4551 | 0
1311118.794 | 37.1301 | 19.5203 | 19.5203 | 0
1335645.511 | 37.3726 | 19.5884 | 19.5884 | 0
1360631.041 | 37.6174 | 19.6503 | 19.6503 | 0
1386083.968 | 37.8634 | 19.7141 | 19.7141 | 0
1412013.036 | 38.1093 | 19.7795 | 19.7795 | 0
1438427.152 | 38.3584 | 19.843 | 19.843 | 0
1465335.388 | 38.6114 | 19.9067 | 19.9067 | 0
1492746.989 | 38.8619 | 19.9689 | 19.9689 | 0
1520671.371 | 39.1159 | 20.0302 | 20.0302 | 0
1549118.126 | 39.371 | 20.0902 | 20.0902 | 0
1578097.027 | 39.6265 | 20.15 | 20.15 | 0
1607618.027 | 39.8827 | 20.2083 | 20.2083 | 0
1637691.267 | 40.1407 | 20.265 | 20.265 | 0
1668327.08 | 40.3985 | 20.3211 | 20.3211 | 0
1699535.987 | 40.6552 | 20.3792 | 20.3792 | 0
1731328.71 | 40.9144 | 20.4343 | 20.4343 | 0
1763716.171 | 41.1738 | 20.4889 | 20.4889 | 0
1796709.494 | 41.434 | 20.5447 | 20.5447 | 0
1830320.013 | 41.696 | 20.6002 | 20.6002 | 0
1864559.275 | 41.9594 | 20.6556 | 20.6556 | 0
1899439.041 | 42.2227 | 20.7093 | 20.7093 | 0
1934971.292 | 42.4907 | 20.7637 | 20.7637 | 0
1971168.235 | 42.7582 | 20.8151 | 20.8151 | 0
2008042.303 | 43.0273 | 20.8681 | 20.8681 | 0
2045606.164 | 43.2971 | 20.9203 | 20.9203 | 0
2083872.721 | 43.568 | 20.9696 | 20.9696 | 0
2122855.119 | 43.8416 | 21.0167 | 21.0167 | 0
2162566.75 | 44.1143 | 21.0664 | 21.0664 | 0
2203021.254 | 44.3897 | 21.1124 | 21.1124 | 0
2244232.529 | 44.6661 | 21.1581 | 21.1581 | 0
2286214.732 | 44.9423 | 21.2002 | 21.2002 | 0
2328982.283 | 45.218 | 21.2457 | 21.2457 | 0
2372549.874 | 45.4947 | 21.2877 | 21.2877 | 0
2416932.472 | 45.7738 | 21.331 | 21.331 | 0
2462145.321 | 46.0524 | 21.3742 | 21.3742 | 0
2508203.954 | 46.332 | 21.4163 | 21.4163 | 0
2555124.193 | 46.6137 | 21.4556 | 21.4556 | 0
2602922.155 | 46.8962 | 21.4959 | 21.4959 | 0
2651614.259 | 47.182 | 21.5372 | 21.5372 | 0
2701217.233 | 47.4653 | 21.5749 | 21.5749 | 0
2751748.114 | 47.753 | 21.6095 | 21.6095 | 0
2803224.263 | 48.0402 | 21.6456 | 21.6456 | 0
2855663.36 | 48.3284 | 21.6792 | 21.6792 | 0
2909083.42 | 48.6156 | 21.7101 | 21.7101 | 0
2963502.794 | 48.9031 | 21.7402 | 21.7402 | 0
3018940.175 | 49.1932 | 21.7708 | 21.7708 | 0
3075414.607 | 49.483 | 21.801 | 21.801 | 0
3132945.49 | 49.7746 | 21.8305 | 21.8305 | 0
3191552.586 | 50.0656 | 21.858 | 21.858 | 0
3251256.028 | 50.3604 | 21.883 | 21.883 | 0
3312076.324 | 50.6536 | 21.9081 | 21.9081 | 0
3374034.369 | 50.949 | 21.9316 | 21.9316 | 0
3437151.444 | 51.2456 | 21.9554 | 21.9554 | 0
3501449.232 | 51.5446 | 21.9756 | 21.9756 | 0
3566949.82 | 51.8411 | 21.9952 | 21.9952 | 0
3633675.708 | 52.1392 | 22.0134 | 22.0134 | 0
3701649.818 | 52.4388 | 22.0305 | 22.0305 | 0
3770895.5 | 52.7382 | 22.0449 | 22.0449 | 0
3841436.541 | 53.039 | 22.0588 | 22.0588 | 0
3913297.172 | 53.3408 | 22.0732 | 22.0732 | 0
3986502.079 | 53.6424 | 22.0843 | 22.0843 | 0
4061076.409 | 53.9445 | 22.0967 | 22.0967 | 0
4137045.779 | 54.2463 | 22.1067 | 22.1067 | 0
4214436.286 | 54.5507 | 22.116 | 22.116 | 0
4293274.514 | 54.856 | 22.1204 | 22.1204 | 0
4373587.546 | 55.1607 | 22.1262 | 22.1262 | 0
4455402.971 | 55.4661 | 22.1293 | 22.1293 | 0
4538748.893 | 55.7732 | 22.132 | 22.132 | 0
4623653.943 | 56.0819 | 22.1312 | 22.1312 | 0
4710147.286 | 56.3906 | 22.13 | 22.13 | 0
4798258.636 | 56.6974 | 22.1276 | 22.1276 | 0
4888018.258 | 57.0076 | 22.124 | 22.124 | 0
4979456.988 | 57.3181 | 22.1178 | 22.1178 | 0
5072606.235 | 57.6223 | 22.1022 | 22.1022 | 0
5167497.998 | 57.9298 | 22.0929 | 22.0929 | 0
5264164.874 | 58.2405 | 22.0821 | 22.0821 | 0
5362640.068 | 58.552 | 22.0698 | 22.0698 | 0
5462957.409 | 58.864 | 22.0566 | 22.0566 | 0
5565151.358 | 59.1742 | 22.0409 | 22.0409 | 0
5669257.019 | 59.4894 | 22.0259 | 22.0259 | 0
5775310.154 | 59.8029 | 22.0047 | 22.0047 | 0
5883347.193 | 60.1173 | 21.9835 | 21.9835 | 0
5993405.251 | 60.4328 | 21.9615 | 21.9615 | 0
6105522.132 | 60.7494 | 21.9362 | 21.9362 | 0
6219736.351 | 61.0669 | 21.9079 | 21.9079 | 0
6336087.142 | 61.3837 | 21.8794 | 21.8794 | 0
6454614.473 | 61.7023 | 21.8461 | 21.8461 | 0
6575359.061 | 62.0198 | 21.8153 | 21.8153 | 0
6698362.382 | 62.338 | 21.7778 | 21.7778 | 0
6823666.69 | 62.6578 | 21.7399 | 21.7399 | 0
6951315.03 | 62.9756 | 21.7022 | 21.7022 | 0
7081351.249 | 63.2936 | 21.6604 | 21.6604 | 0
7213820.018 | 63.6158 | 21.619 | 21.619 | 0
7348766.842 | 63.9368 | 21.5727 | 21.5727 | 0
7486238.077 | 64.2578 | 21.526 | 21.526 | 0
7626280.946 | 64.5763 | 21.4751 | 21.4751 | 0
7768943.556 | 64.8965 | 21.423 | 21.423 | 0
7914274.913 | 65.2165 | 21.3691 | 21.3691 | 0
8062324.942 | 65.536 | 21.3108 | 21.3108 | 0
8213144.5 | 65.8574 | 21.2523 | 21.2523 | 0
8366785.394 | 66.178 | 21.1903 | 21.1903 | 0
8523300.405 | 66.4978 | 21.1256 | 21.1256 | 0
8682743.296 | 66.8209 | 21.0596 | 21.0596 | 0
8845168.838 | 67.1421 | 20.9893 | 20.9893 | 0
9010632.828 | 67.4627 | 20.9165 | 20.9165 | 0
9179192.104 | 67.7854 | 20.843 | 20.843 | 0
9350904.569 | 68.1035 | 20.7654 | 20.7654 | 0
9525829.209 | 68.4254 | 20.6857 | 20.6857 | 0
9704026.113 | 68.7484 | 20.6034 | 20.6034 | 0
9885556.495 | 69.0707 | 20.5162 | 20.5162 | 0
10070482.713 | 69.3934 | 20.4287 | 20.4287 | 0
10258868.291 | 69.717 | 20.3384 | 20.3384 | 0
10450777.943 | 70.0404 | 20.2467 | 20.2467 | 0
10646277.594 | 70.3627 | 20.1503 | 20.1503 | 0
10845434.398 | 70.6868 | 20.0521 | 20.0521 | 0
11048316.772 | 71.0084 | 19.951 | 19.951 | 0
11254994.406 | 71.3312 | 19.8457 | 19.8457 | 0
11465538.299 | 71.6534 | 19.7376 | 19.7376 | 0
11680020.774 | 71.9754 | 19.6265 | 19.6265 | 0
11898515.511 | 72.2969 | 19.5127 | 19.5127 | 0
12121097.565 | 72.6175 | 19.3927 | 19.3927 | 0
12347843.396 | 72.9378 | 19.2729 | 19.2729 | 0
12578830.895 | 73.2571 | 19.1483 | 19.1483 | 0
12814139.41 | 73.5749 | 19.0216 | 19.0216 | 0
13053849.773 | 73.8943 | 18.8915 | 18.8915 | 0
13298044.327 | 74.2128 | 18.7553 | 18.7553 | 0
13546806.958 | 74.5321 | 18.6179 | 18.6179 | 0
13800223.119 | 74.8477 | 18.4765 | 18.4765 | 0
14058379.861 | 75.1658 | 18.3318 | 18.3318 | 0
14321365.866 | 75.4815 | 18.1823 | 18.1823 | 0
14589271.474 | 75.7947 | 18.03 | 18.03 | 0
14862188.714 | 76.1095 | 17.8758 | 17.8758 | 0
15140211.336 | 76.4224 | 17.7158 | 17.7158 | 0
15423434.847 | 76.7365 | 17.5529 | 17.5529 | 0
15711956.537 | 77.0461 | 17.3847 | 17.3847 | 0
16005875.519 | 77.3553 | 17.2137 | 17.2137 | 0
16305292.756 | 77.667 | 17.0383 | 17.0383 | 0
16610311.105 | 77.9777 | 16.8603 | 16.8603 | 0
16921035.342 | 78.287 | 16.6772 | 16.6772 | 0
17237572.207 | 78.5947 | 16.4894 | 16.4894 | 0
17560030.435 | 78.9 | 16.3009 | 16.3009 | 0
17888520.795 | 79.2062 | 16.1036 | 16.1036 | 0
18223156.128 | 79.5079 | 15.9069 | 15.9069 | 0
18564051.386 | 79.8103 | 15.7033 | 15.7033 | 0
18911323.673 | 80.1097 | 15.4943 | 15.4943 | 0
19265092.28 | 80.4095 | 15.2821 | 15.2821 | 0
19625478.734 | 80.7031 | 15.0663 | 15.0663 | 0
19992606.831 | 80.9976 | 14.8451 | 14.8451 | 0
20366602.687 | 81.2881 | 14.6151 | 14.6151 | 0
20747594.774 | 81.5827 | 14.3857 | 14.3857 | 0
21135713.969 | 81.8756 | 14.1494 | 14.1494 | 0
21531093.596 | 82.1659 | 13.9095 | 13.9095 | 0
21933869.474 | 82.4511 | 13.6639 | 13.6639 | 0
22344179.963 | 82.735 | 13.4104 | 13.4104 | 0
22762166.01 | 83.0175 | 13.1555 | 13.1555 | 0
23187971.201 | 83.2961 | 12.8975 | 12.8975 | 0
23621741.804 | 83.5744 | 12.6321 | 12.6321 | 0
24063626.828 | 83.8506 | 12.3628 | 12.3628 | 0
24513778.065 | 84.1236 | 12.0877 | 12.0877 | 0
24972350.151 | 84.3922 | 11.8081 | 11.8081 | 0
25439500.61 | 84.6612 | 11.5232 | 11.5232 | 0
25915389.916 | 84.9268 | 11.233 | 11.233 | 0
26400181.545 | 85.1899 | 10.9374 | 10.9374 | 0
26894042.029 | 85.4474 | 10.6357 | 10.6357 | 0
27397141.017 | 85.7055 | 10.3289 | 10.3289 | 0
27909651.331 | 85.9584 | 10.0147 | 10.0147 | 0
28431749.025 | 86.208 | 9.6978 | 9.6978 | 0
28963613.449 | 86.456 | 9.3742 | 9.3742 | 0
29505427.305 | 86.7001 | 9.0457 | 9.0457 | 0
30057376.714 | 86.9415 | 8.7106 | 8.7106 | 0
30619651.28 | 87.1782 | 8.3674 | 8.3674 | 0
31192444.152 | 87.4107 | 8.0213 | 8.0213 | 0
31775952.093 | 87.6429 | 7.6668 | 7.6668 | 0
32370375.546 | 87.8659 | 7.3102 | 7.3102 | 0
32975918.706 | 88.0876 | 6.9458 | 6.9458 | 0
33592789.584 | 88.3063 | 6.5725 | 6.5725 | 0
34221200.085 | 88.5216 | 6.1968 | 6.1968 | 0
34861366.079 | 88.7292 | 5.8133 | 5.8133 | 0
35513507.47 | 88.9344 | 5.4223 | 5.4223 | 0
36177848.28 | 89.1322 | 5.0252 | 5.0252 | 0
36854616.72 | 89.3264 | 4.6258 | 4.6258 | 0
37544045.269 | 89.5164 | 4.2141 | 4.2141 | 0
38246370.756 | 89.702 | 3.7976 | 3.7976 | 0
38961834.441 | 89.88 | 3.3749 | 3.3749 | 0
39690682.097 | 90.0531 | 2.9459 | 2.9459 | 0
40433164.092 | 90.2216 | 2.5097 | 2.5097 | 0
41189535.482 | 90.3849 | 2.064 | 2.064 | 0
41960056.09 | 90.5393 | 1.6162 | 1.6162 | 0
42744990.601 | 90.6883 | 1.1601 | 1.1601 | 0
43544608.654 | 90.8311 | 0.69752 | 0.69752 | 0
44359184.928 | 90.9638 | 0.22717 | 0.22717 | 0
45188999.242 | 91.0931 | -0.25134 | -0.25134 | 0
46034336.65 | 91.2169 | -0.73715 | -0.73715 | 0
46895487.538 | 91.3303 | -1.2278 | -1.2278 | 0
47772747.725 | 91.4376 | -1.7246 | -1.7246 | 0
48666418.561 | 91.5372 | -2.2314 | -2.2314 | 0
49576807.036 | 91.6258 | -2.7432 | -2.7432 | 0
50504225.883 | 91.7109 | -3.2636 | -3.2636 | 0
51448993.684 | 91.783 | -3.7901 | -3.7901 | 0
52411434.979 | 91.8477 | -4.3238 | -4.3238 | 0
53391880.383 | 91.9024 | -4.8645 | -4.8645 | 0
54390666.692 | 91.9486 | -5.4123 | -5.4123 | 0
55408137.005 | 91.9832 | -5.9678 | -5.9678 | 0
56444640.838 | 92.0099 | -6.5318 | -6.5318 | 0
57500534.246 | 92.0245 | -7.1014 | -7.1014 | 0
58576179.943 | 92.0284 | -7.6786 | -7.6786 | 0
59671947.43 | 92.0224 | -8.2601 | -8.2601 | 0
60788213.119 | 92.0014 | -8.8498 | -8.8498 | 0
61925360.465 | 91.9712 | -9.4456 | -9.4456 | 0
63083780.093 | 91.928 | -10.0486 | -10.0486 | 0
64263869.939 | 91.8712 | -10.6575 | -10.6575 | 0
65466035.381 | 91.8045 | -11.27 | -11.27 | 0
66690689.381 | 91.7213 | -11.8931 | -11.8931 | 0
67938252.626 | 91.6253 | -12.5174 | -12.5174 | 0
69209153.672 | 91.515 | -13.1488 | -13.1488 | 0
70503829.092 | 91.3887 | -13.786 | -13.786 | 0
71822723.627 | 91.2482 | -14.4258 | -14.4258 | 0
73166290.337 | 91.0905 | -15.073 | -15.073 | 0
74534990.757 | 90.9203 | -15.7217 | -15.7217 | 0
75929295.056 | 90.734 | -16.3718 | -16.3718 | 0
77349682.198 | 90.5311 | -17.0298 | -17.0298 | 0
78796640.108 | 90.3098 | -17.6919 | -17.6919 | 0
80270665.836 | 90.0716 | -18.3558 | -18.3558 | 0
81772265.733 | 89.816 | -19.0238 | -19.0238 | 0
83301955.621 | 89.5421 | -19.6913 | -19.6913 | 0
84860260.97 | 89.2537 | -20.3594 | -20.3594 | 0
86447717.083 | 88.9413 | -21.0321 | -21.0321 | 0
88064869.273 | 88.6098 | -21.7015 | -21.7015 | 0
89712273.057 | 88.2651 | -22.3772 | -22.3772 | 0
91390494.342 | 87.8968 | -23.0495 | -23.0495 | 0
93100109.623 | 87.5069 | -23.7211 | -23.7211 | 0
94841706.177 | 87.0991 | -24.392 | -24.392 | 0
96615882.27 | 86.6703 | -25.0598 | -25.0598 | 0
98423247.356 | 86.2208 | -25.7278 | -25.7278 | 0
100264422.293 | 85.7517 | -26.391 | -26.391 | 0
102140039.551 | 85.2591 | -27.0473 | -27.0473 | 0
104050743.434 | 84.7479 | -27.7005 | -27.7005 | 0
105997190.296 | 84.2143 | -28.3501 | -28.3501 | 0
107980048.771 | 83.6568 | -28.9928 | -28.9928 | 0
110000000 | 83.08 | -29.6211 | -29.6211 | 0